## Title
GB Power Market Scenario Results
2019-06-01
Contents of this workbook
The results contained in this workbook are produced by LCP's EnVision model of the GB power market. It contains projections from 2019 to 2040 under scenarios based on assumptions provided by Ofgem or obtained from publicly available sources where possible.
Interpretation and Limitations
The results presented in this workbook are dependent on the assumptions used and the modelling methodology applied. In particular, long term forecasts are subject to significant uncertainty and actual market outcomes may differ materially from the forecasts presented. Frontier Economics and LCP can therefore accept no liability for losses suffered, direct or consequential, arising out of any reliance on the results presented.
In particular:
• The scenarios presented do not take into account all changes that could potentially occur in the power market. More extreme market outcomes than those presened are therefore possible.
• The relationship between the cost of generation and prevailing market prices has been assessed based on historical data and current forward power prices. To the extent that this relationship changes over time results could vary.
• The modelling results are based on all market participants having a common view on future market outcomes. To the extent that views vary between market participants the results could be considerably different to those presented in this report.
• The modelling makes use of a power plant database maintained by LCP. Assumptions on individual plant characteristics have been estimated where required.

## Installed Capacity
Installed Capacity
Note | All values are given in GW
Difference between Baseline (No CM) and Residual, TGR & Full BSUoS Reforms (No CM)
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
CCGT | 0 | 0 | -1.226 | -1.226 | -0.05 | -0.05 | -0.55 | -1.05 | -1.05 | -1.05 | -1.55 | -1.55 | -1.05 | -1.55 | -1.55 | -1.55 | -1.55 | -1.05 | -1.05 | -1.05 | -0.55 | -0.05
Coal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Biomass | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other RES | 0 | 0 | 0 | 0 | 0 | 0.07472 | 0.07472 | 0.07472 | 0.07472 | 0.07472 | 0.07472 | 0.02972 | 0.02972 | 0.02972 | -0.045 | -0.045 | 0 | 0 | 0 | 0 | 0 | 0
Storage | 0 | 0 | 0 | 0 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | 0.1 | 0.1 | 0.1 | -0.1 | -0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
Peaking | 0 | 0 | -0.245 | -0.245 | -0.2318 | -0.2318 | -0.2318 | -0.2318 | -0.2318 | 0.2682 | 0.7682 | 1.7682 | 1.7682 | 2.0062 | 2.5191 | 2.4361 | 2.4361 | 2.4361 | 2.4361 | 2.339 | 2.339 | 2.124
Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interconnector | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.028115 | -0.028115 | -0.028115 | -0.028115 | 0.024944
On-site Gas Recip | 0 | 0 | 0 | -0.2 | -0.4 | -0.6 | -0.8 | -1 | -1.2 | -1.36 | -1.52 | -1.52 | -1.72 | -1.9 | -2.1 | -2.3 | -2.5 | -2.7 | -2.7 | -2.7 | -2.7 | -2.7
On-site Gas CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.06 | -0.06 | -0.06 | -0.06 | -0.06 | -0.06 | -0.26 | -0.46 | -0.56 | -0.74
On-site Diesel | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.29 | -0.29 | -0.29 | -0.29 | -0.29 | -0.29 | -0.29 | -0.29 | -0.29

## Generation
Generation
Note | All values are given in TWh
Difference between Baseline (No CM) and Residual, TGR & Full BSUoS Reforms (No CM)
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
CCGT | 0 | 0 | 0.13422 | 1.1732 | 1.1717 | 1.2702 | 0.79533 | 0.57945 | 0.48416 | 0.94314 | 0.64756 | 0.014855 | 0.61522 | -0.013514 | 0.80606 | 0.58723 | 0.97772 | 1.2305 | 0.8284 | 1.3748 | 2.0358 | 2.1911
Coal | 0 | 0 | 0.2603 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Biomass | 0 | 0 | -0.036545 | -0.047604 | -0.022719 | -0.071748 | -0.058543 | -0.089873 | 0.015276 | 0.16482 | 0.021826 | 0.033124 | 0.021824 | -0.0014024 | 0.069133 | 0.074826 | 0.087436 | 0.22748 | 0.25626 | 0.19828 | 0.13857 | 0.029201
Nuclear | 0 | 0 | 0.0032886 | 0.0022882 | 0 | 0.014416 | 0 | 0 | 0 | -0.010981 | -0.054466 | 0.0039304 | -0.0012118 | -0.0025744 | -0.011186 | 0.0042081 | 0 | 0 | 0 | 0 | 0 | 0
Wind | 0 | 0 | -0.076687 | -0.077361 | -0.14835 | 0.16138 | -0.076228 | -0.20585 | -0.1509 | -0.38304 | -0.55575 | -0.61954 | -0.64333 | -0.83746 | -0.69618 | -1.05 | -1.4472 | -0.33318 | -0.45508 | 0.015912 | -0.16923 | -0.05632
Other RES | 0 | 0 | 0.00025698 | -0.0028386 | -0.0028678 | 0.32719 | 0.32552 | 0.3131 | 0.31696 | 0.31406 | -0.18956 | -0.28585 | -0.091813 | -0.29205 | -0.83868 | -1.0438 | -0.73783 | -0.72804 | -0.68322 | -0.61907 | -0.67939 | -0.6847
Storage | 0 | 0 | 0.031925 | 0.055317 | 0.053433 | 0.067227 | 0.037975 | 0.07439 | 0.055186 | 0.079672 | 0.049709 | 0.033035 | 0.074243 | 0.091458 | 0.11427 | 0.13051 | 0.12682 | 0.14467 | 0.12436 | 0.11591 | 0.17787 | 0.14099
Peaking | 0 | 0 | -0.16089 | -0.1568 | -0.22691 | -0.16818 | -0.16857 | -0.071095 | -0.0003775 | 0.090361 | 0.21281 | 0.7891 | 0.79923 | 0.8323 | 0.69636 | 0.70674 | 0.57887 | 0.49951 | 0.23024 | 0.29378 | 0.35459 | 0.38217
Solar | 0 | 0 | -0.0014658 | 0.0013888 | -0.0013082 | -0.00052595 | -0.00043596 | -0.00094813 | -0.002439 | -0.010305 | -0.0092007 | -0.014626 | -0.0069082 | -0.0058914 | 0.00048606 | -0.0037714 | -0.004284 | -0.00027883 | 0.00072396 | -0.00071313 | -1.1578e-05 | -4.9282e-08
Interconnector | 0 | 0 | -0.039112 | -0.77538 | -0.64067 | -1.2389 | -0.27392 | -0.15794 | -0.17207 | -0.21502 | 0.35057 | 0.96655 | 0.29862 | 0.24382 | 0.069611 | 0.4162 | 2.874 | 1.6633 | 1.0141 | 1.8235 | 0.74626 | 0.9017
CHP | 0 | 0 | 0 | 0.0030351 | 0.098112 | 0.0030351 | 0 | -0.0030351 | -0.0047109 | -0.0072247 | 0.097184 | 0.08753 | 0.11749 | 0.50959 | 0.63888 | 0.60027 | 0.027146 | -0.024996 | -0.023175 | -0.021229 | -0.028729 | 0.038701
On-site Gas Recip | 0 | 0 | -0.10113 | -0.15346 | -0.25792 | -0.34192 | -0.55759 | -0.57667 | -0.75919 | -0.93755 | -0.93651 | -0.97992 | -1.1034 | -1.0589 | -1.1269 | -1.2546 | -1.3921 | -1.4294 | -1.349 | -1.2758 | -1.1985 | -1.1362
On-site Gas CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16288 | 0.24369 | 0 | 0.39434 | 0 | -0.053153 | 0.56044 | 0.30381 | 0.85754 | -1.0654 | -1.2272 | 0.077306 | -1.8851 | -1.357 | -1.7892
On-site Diesel | 0 | 0 | -0.014145 | -0.021796 | -0.022469 | -0.022196 | -0.023538 | -0.024401 | -0.025683 | -0.027933 | -0.028509 | -0.028203 | -0.026851 | -0.025702 | -0.025658 | -0.02521 | -0.025218 | -0.022288 | -0.020956 | -0.020242 | -0.020323 | -0.017546

## Carbon
CO2 emissions
Note | All values are given in millions of tonnes
Difference between Baseline (No CM) and Residual, TGR & Full BSUoS Reforms (No CM)
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
CCGT | 0 | 0 | 0.04347 | 0.41171 | 0.42715 | 0.45249 | 0.31598 | 0.26032 | 0.21254 | 0.37677 | 0.25447 | 0.028877 | 0.22712 | 0.021177 | 0.30949 | 0.21441 | 0.33931 | 0.42181 | 0.28914 | 0.47498 | 0.70489 | 0.72299
Coal | 0 | 0 | 0.21882 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Biomass | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other RES | 0 | 0 | -0.00049248 | -0.00079192 | 9.475e-05 | 0.079394 | 0.078832 | 0.07654 | 0.077116 | 0.076822 | -0.046216 | -0.069108 | -0.021949 | -0.07077 | -0.20562 | -0.25593 | -0.18109 | -0.17875 | -0.16773 | -0.152 | -0.16685 | -0.16813
Storage | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Peaking | 0 | 0 | -0.076073 | -0.074239 | -0.11219 | -0.083232 | -0.082581 | -0.034449 | 0.0011733 | 0.045776 | 0.10574 | 0.38991 | 0.39529 | 0.4119 | 0.34448 | 0.35012 | 0.28644 | 0.24791 | 0.11372 | 0.14527 | 0.17556 | 0.18896
Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interconnector | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CHP | 0 | 0 | 0 | 0 | 0.050667 | 0 | 0 | 0 | 0 | 0 | 0.015095 | 0.039935 | 0.059002 | 0.1914 | 0.14892 | 0.14001 | 0.0029094 | -0.0044097 | -0.0035354 | -0.0028077 | -0.006744 | 0.0090851
On-site Gas Recip | 0 | 0 | -0.04745 | -0.071859 | -0.12058 | -0.15984 | -0.26025 | -0.26907 | -0.35417 | -0.43736 | -0.43694 | -0.45693 | -0.51461 | -0.49394 | -0.52549 | -0.58521 | -0.64964 | -0.66696 | -0.62939 | -0.59539 | -0.55908 | -0.53051
On-site Gas CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.074456 | 0.051749 | 0 | 0.18026 | 0 | 0.054303 | 0.31831 | 0.2005 | 0.26869 | -0.226 | -0.16255 | 0.088654 | -0.32564 | -0.28545 | -0.37645
On-site Diesel | 0 | 0 | -0.0099111 | -0.015215 | -0.015728 | -0.015504 | -0.016326 | -0.016922 | -0.017808 | -0.019361 | -0.019758 | -0.019542 | -0.018548 | -0.017805 | -0.017766 | -0.01745 | -0.01745 | -0.015435 | -0.014519 | -0.014035 | -0.014076 | -0.01216
Total | 0 | 0 | 0.12836 | 0.24961 | 0.22942 | 0.27331 | 0.035647 | 0.090874 | -0.029399 | 0.04264 | 0.052658 | -0.08686 | 0.1806 | 0.36028 | 0.25451 | 0.11464 | -0.44552 | -0.35838 | -0.32366 | -0.46963 | -0.15174 | -0.16621

## LOLE
Loss of Load Expectation
Note | All values are given in hours
Year | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Baseline (no CM) | 0.0026123 | 0.0045326 | 0.11916 | 0.24064 | 2.4815 | 1.4446 | 0.3849 | 0.37877 | 0.094707 | 0.53895 | 0.62163 | 3.3873 | 2.5696 | 1.509 | 1.0755 | 1.2359 | 0.89388 | 2.5637 | 1.9611 | 1.7328 | 1.4003 | 1.3471
Residual, TGR & Full BSUoS Reforms (No CM) | 0.0026123 | 0.0045326 | 0.37628 | 0.81637 | 3.8352 | 2.5444 | 1.1948 | 1.769 | 0.673 | 2.0414 | 2.4061 | 6.1622 | 4.5496 | 3.8779 | 2.4294 | 3.0796 | 2.4341 | 5.3735 | 4.5713 | 4.5501 | 3.2707 | 2.993

## System Costs
System Costs
Note | All values are given in £m, in £2016 real terms
All NPV values are calculated using a discount rate of 3.5%
Difference between Baseline (No CM) and Residual, TGR & Full BSUoS Reforms (No CM)
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | Total to 2040 | NPV to 2040
Fuel | 0 | 0 | -7.4022 | 15.8944 | 16.9024 | 10.5178 | -14.6361 | -10.3295 | -15.5036 | 1.752 | 4.5983 | -4.8371 | 17.9031 | 41.3984 | 51.3999 | 39.6369 | -27.2881 | -10.1492 | -1.0797 | -24.0718 | 11.3278 | 4.6445 | 100.6782 | 65.3418
VOM | 0 | 0 | -2.3893 | -3.7781 | -2.7382 | 5.4076 | 4.9248 | 3.1832 | 6.2864 | 0.6259 | -1.3022 | -13.2541 | -8.3261 | -4.3477 | -16.451 | -16.6229 | -36.1305 | -33.2999 | -20.7031 | -35.7462 | -33.4424 | -33.5705 | -241.6743 | -127.8696
Carbon | 0 | 0 | 1.5063 | 4.7474 | 6.0301 | 9.1693 | 1.4546 | 4.3665 | -1.6253 | 2.6659 | 3.6728 | -6.7189 | 15.3436 | 33.349 | 25.4946 | 12.3552 | -51.4056 | -44.0763 | -42.2688 | -64.9029 | -22.1253 | -25.4978 | -138.4656 | -55.6685
Capex | 0 | 0 | 0 | -8.3614 | -18.7499 | -27.1112 | -56.1752 | -85.2394 | -93.6006 | -75.8962 | -84.665 | -42.8587 | -39.6466 | -57.4934 | -62.3608 | -70.7221 | -79.0834 | -66.7419 | -85.1082 | -103.4745 | -90.4697 | -85.142 | -1232.9003 | -761.8694
Fixed Opex | 0 | 0 | -14.6899 | -16.9053 | -8.8508 | 1.7251 | -5.6764 | -13.0778 | -15.2932 | -9.513 | -10.9329 | -7.5595 | -7.4547 | -15.2981 | -21.8864 | -25.1382 | -19.6501 | -17.5599 | -20.3997 | -24.3148 | -20.5486 | -17.5456 | -290.57 | -182.101
Interconnection | 0 | 0 | 1.3408 | -26.1769 | -25.2614 | -39.601 | -4.4565 | 2.813 | 7.895 | 3.119 | 13.3657 | 36.7748 | -6.027 | -8.3845 | -11.9827 | 6.9023 | 92.5129 | 73.093 | 53.4683 | 93.5216 | 41.2742 | 46.6356 | 350.8264 | 160.469
EEU | 0 | 0 | 3.6918 | 12.2063 | 38.408 | 29.4675 | 19.0825 | 34.7947 | 12.5911 | 39.8198 | 49.7313 | 98.5551 | 68.1684 | 78.9208 | 42.8258 | 62.0801 | 52.0747 | 114.218 | 104.2126 | 114.3833 | 73.1628 | 65.2134 | 1113.608 | 670.4788
Total | 0 | 0 | -17.9426 | -22.3735 | 5.7402 | -10.4248 | -55.4824 | -63.4893 | -99.2502 | -37.4266 | -25.5321 | 60.1017 | 39.9606 | 68.1445 | 7.0393 | 8.4914 | -68.97 | 15.4838 | -11.8785 | -44.6052 | -40.8212 | -45.2624 | -338.136 | -230.8928

## Consumer Costs
Consumer Costs
Note | All values are given in £m, in £2016 real terms
All NPV values are calculated using a discount rate of 3.5%
Difference between Baseline (No CM) and Residual, TGR & Full BSUoS Reforms (No CM)
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | Total to 2040 | NPV to 2040
CM payments | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wholesale cost | 0 | 0 | -28.9624 | 53.6055 | 409.5385 | 253.1947 | 206.9387 | 464.6927 | 140.8788 | 408.0149 | 689.8683 | 989.6299 | 854.0522 | 996.1222 | 550.8394 | 723.7986 | 750.2432 | 1413.6704 | 1186.816 | 1293.862 | 962.5043 | 965.1425 | 13284.4505 | 7881.516
CfD payments | 0 | 0 | 3.0604 | 14.6994 | -4.9186 | 24.6845 | 49.7999 | 26.5953 | 65.9971 | 92.419 | 17.0174 | 52.1894 | 29.2288 | -9.7535 | 55.7516 | 70.144 | 48.1905 | -81.6241 | 3.0596 | -98.6055 | 74.1504 | 112.2535 | 544.3392 | 360.9915
Transmission charge avoidance | 0 | 0 | -32.0922 | -61.3428 | -78.1297 | -83.7687 | -97.9142 | -112.3597 | -125.7229 | -139.7423 | -149.9293 | -184.419 | -201.5021 | -185.9619 | -200.7509 | -216.5377 | -231.2315 | -281.2077 | -244.8341 | -248.6131 | -256.0908 | -263.1491 | -3395.2997 | -2063.4371
Distribution charge avoidance | 0 | 0 | -17.4157 | -28.2251 | -32.7199 | -36.5271 | -41.5665 | -44.8995 | -48.8645 | -54.6003 | -56.9512 | -62.6569 | -66.0126 | -61.192 | -66.1479 | -67.3913 | -75.0712 | -76.3286 | -72.9974 | -78.3647 | -76.2467 | -79.0497 | -1143.2286 | -712.1161
TDR payments | 0 | 0 | -237.2671 | -379.7035 | -449.5007 | -540.6897 | -582.9422 | -590.28 | -605.2942 | -597.1797 | -601.493 | -589.2251 | -609.9235 | -632.1464 | -649.5392 | -661.5548 | -688.5712 | -699.8942 | -716.1594 | -734.0346 | -746.6904 | -762.0453 | -12074.1341 | -7710.7802
Supplier BSUoS charges | 0 | 0 | -17.2801 | -25.218 | -26.4427 | -24.0148 | -17.4291 | -16.036 | -13.9852 | -14.7484 | -13.3763 | -14.4864 | -16.878 | -15.011 | -14.2001 | -9.7316 | -5.9329 | -18.1929 | -17.9916 | -16.6515 | -12.6761 | -16.9997 | -327.2823 | -223.8157
Supplier BSUoS avoidance payments | 0 | 0 | -105.7326 | -149.1781 | -159.212 | -160.6494 | -164.1843 | -168.8722 | -183.2948 | -203.5908 | -214.5071 | -227.1031 | -218.5919 | -203.2176 | -197.9612 | -186.6451 | -180.6931 | -177.1065 | -166.088 | -168.8151 | -166.5319 | -164.3587 | -3566.3337 | -2339.7813
Total | 0 | 0 | -435.6896 | -575.3627 | -341.3851 | -567.7706 | -647.2976 | -441.1594 | -770.2856 | -509.4277 | -329.3711 | -36.0711 | -229.6271 | -111.1601 | -522.0083 | -347.9179 | -383.0661 | 79.3165 | -28.1949 | -51.2224 | -221.5813 | -208.2066 | -6677.4887 | -4807.4231