|  |  |  |
| --- | --- | --- |
| Network Innovation Competition 2021 Supplementary Answer form | | |

|  |  |  |  |
| --- | --- | --- | --- |
| Project Name | EQUINOX | | |
| Question number | 17 | Pro forma section | 2 |
| Question date | 14/09/2021 | Answer date | 16/09/2021 |
| Question summary | What is the estimated cost for rollout of Equinox as BaU to other licencees? How long did you assume implementation as BaU will take other licencees? | | |

## 

## Answer (please retain document formatting and do not exceed 2 pages unless otherwise agreed with Ofgem)

As the trials design has not been undertaken , it is difficult to estimate costs for all licensees however we would not expect the rollout costs to be substantial for the following reasons:

1. It is being developed as far as possible within the context of Flexible Power taking the learnings from previous developments
2. The rollout will be relatively modest at first due to the level of residential heat flexibility that may be required early in the product lifecycle and of course it’s highly locational requirement
3. The level of integration with Flexible Power should limit cost and time to a modest level( c. 6-9 months ).