## SpC 3.2 Part O
Licence number and name: |  | SpC 3.2 Part O Hebrides & Orkney re-opener (SSEN)
Ofgem contact: |  | Jo Gaches
No. | Date raised | Comment from | Reference (Part X, Para Y) | Comment | Suggested alternative drafting (if necessary) | Due Date | Response | Issue closed?
1 | 2022-09-22 | SSEN | 3.2.101 a) | Definitions not needed to specify exact cables. |  | 2022-09-23 | Agreed. | Closed
2 | 2022-09-22 | SSEN | 3.2.102 | Check year references correct. |  | 2022-09-23 | Amended to refer to 1st and 2nd years of price control | Closed
3 | 2022-10-27 | SSEN | 3.2.105 | Suggest introducing a part (c) to make provision for the output / solution recommneded under the HOWS UM engineering study. An Engineering study is being undertaken to identify a long-term island strategy in-line with Net Zero. |  |  | See issue number 5. | Closed
4 | 2022-10-27 | SSEN | 3.2.105 (a) | Following various bilaterals, Pentland Firth East subsea cable replacement should be a named cable. | Include Pentland Firth East |  | Agreed, licence text amended to reflect this. | Closed
5 | 2022-10-27 | SSEN | 3.2.105 (a) | Part O, 3.2.105 only references five sub-sea cables listed below: i. Skye to South Uist (North); ii. Pentland Firth West; iii. Mainland Orkney – Hoy South; iv. Eriskay – Barra 2; and v. South Uist – Eriskay; and does not include any reference to Pentland Firth East (PFE) nor does it include any referencing to Skye to Uist (South) which Ofgem wish to be included and excluded from HVP listing by Ofgem for inclusion here too. | As this strategic work is only in design consideration, this should not be limited to these cables only if strategic solution identifies others. The outcome of this Hebrides and Orkney reopener shoul didentify the long term strategic solution to provide island resilience which achieving an optimum Net Zero outcome which meets stakeholder expectations. Initial suggested drafting as follows: " (a) where the licensee has incurred or expects to incur costs associated with the outcomes of additional whole system analysis in the Scottish Islands to meet net zero and ensure long-term security of supply" |  | Agreed on Skye-Uist (South) cable; amended. SSEN suggest a wider scope to this re-opener to include any costs associated with the outcome of the whole systems analysis SSEN outlined in their business plan. We disagree; this re-opener is solely to deal with costs that may arise relating to the named subsea cables as a result of that analysis, in line with SSEN's March 2022 subsea cable resubmission. | Closed
6 | 2022-10-27 | SSEN | General | Further work required to define exact time periods and triggers with Ofgem. |  |  | Windows and triggers are as set out in the licence text. No further suggestions have been made to Ofgem. | Closed
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25