## SpCs 1.1-1.3
Licence number and name: |  | SpCs1.1-1.3 - Interpretation, definitions and common procedures
Ofgem contact: |  | Clare Atkinson
No. | Date raised | Comment from | Reference (Part X, Para Y) | Comment | Suggested alternative drafting (if necessary) | Due Date | Response | Issue closed?
1 | 2021-09-29 | ENWL | 1.1.1 | query what Part 4 refers to? |  | 2021-10-27 | Come from the "Terms" of the ED licence, which is Part I. Part IV is the Special Conditions. Text amended to refer to 'special conditions' instead of 'Part IV'. | Closed
2 | 2021-09-29 | UKPN | 1.1.1(a) | Is the word 'some' clear - what others? |  | 2021-10-27 | There are other provisions in the standard conditions and the Terms. Text amended to clarify this. | Closed
3 | 2021-09-29 | WPD | 1.1.2, 1.1.3 | These paragraphs are very similar, should combine and/or clarify? |  | 2021-10-27 | They are two separate points: the meaning of 't', and the meaning of positive or negative numerical notations. | Closed
4 | 2021-09-29 | ENWL | 1.1.7 | Can this work if this condition does not come into force until April 23? |  | 2021-10-27 | It doesn't come into force until April, but can be satisfied by work done prior to April 23. | Closed
5 | 2021-09-29 | UKPN | 1.1.8 | Is the specified 2020/21 correct? May be useful to continue repeating in each relevant licence condition for clarity. |  | 2021-10-27 | Year is correct, and a change from ED1 which was in 'ordinary' prices as the PCFM converted to a constant price base. This allows drafting of conditions to match form in PCFM - values will be in that price base unless specifies otherwise. Allows for not repeating in each relevant licence condition. The purpose of an interpretation chapter is to avoid repeating the same text all the time, so we don't consider it necessary to repeat price base in all conditions. | Closed
6 | 2021-09-29 | WPD | 1.1.9 | Query re treatment nominal prices, passthrough costs not inflation indexed allowances? |  | 2021-10-27 | We'd value further detail on the concern here. What is now paragraph 1.1.7 specifies that when values are input in nominal, the model effectively "backsolves" to the 20/21 price base with outturn price indices. Please raise a new issue if required with further amendments. | Closed
7 | 2021-09-29 | UKPN | 1.1.10 | Specify here that defined terms will be capitalised throughout the special conditions. |  | 2021-10-27 | Agreed. | Closed
8 | 2021-09-29 | UKPN | 1.1.11 | Some defined terms in other documents are confidential - may depend on how it is drafted. | Include "unless stated otherwise" here, and in other document state that definitions are found in the relevant licence condition. | 2021-10-27 | Discussed at subequent LDWG and majority thought it best that confidential docs that use terms defined in the licence should have same definition. Ofgem agrees its best for clarity and certainty. | Closed
9 | 2021-09-29 | UKPN | 1.1.12 | Add Acts to the list. |  |  | Added | Closed
10 | 2021-09-29 | NPg | 1.1.13 | Should be NPg Northeast plc. |  |  | Amended. | Closed
11 | 2021-09-29 | ENWL | Definitions | If all definitions included in SpC1.1 main list, does that include definitions in Standards? |  |  | Definitions will remain in Standards, but be included in main list as "has the meaning given in SLC" etc. | Closed
12 | 2021-10-15 | SPEN | General | SPEN strongly disagrees with the suggestion that the AD procedure may be incorporated at the beginning of the SpCs. The correct procedure for respecitve ADs should be explained throughout the SpCs. |  |  | As discussed at LDWG, SPEN's comment related to documents that had the status of licence instruments, we will ensure the definition of AD excludes such documents. As a result we intend to move the common procedure to Chapter 1. | Closed
13 | 2021-10-15 | SPEN | 1.1.7 | The phrase 'relevant provision' should be 'relevant condition'. |  |  | I think relevant provision can work, however, this is now changed due to the restructure of Chapter 1 into three conditions. See final para of 1.3 | Closed
14 | 2021-10-15 | SPEN | 1.1.9 | We note this is subject to review in due course, and reserve the right to comment more fully at that point. |  |  | Noted | Closed
15 | 2021-10-15 | SPEN | 1.1.11 | The statement: 'unless stated otherwise in that document', should be deleted. This could create ambiguity and confusion regarding which definition should prevail due to the risk that parties may refer to the same term, but with different meanings. |  |  | Agree. Deleted. | Closed
16 | 2021-10-15 | SPEN | 1.1.12 | We note that this condition will require further review in due course. |  |  | Noted | Closed
17 | 2021-10-15 | SPEN | 1.1.13 | All other references to Part 4 are delete, should this therefore read as: "The following acronyms are used within this licence…" |  |  | Changed to "within the special conditions of this licence" | Closed
18 | 2021-10-15 | SPEN | New provision | Any reference in these special conditions to a numbered appendix is, unless otherwise stated, to the relevant numbered appendix to that special condition. |  |  | Already in 1.1.6 | Closed
19 | 2021-10-15 | SPEN | New provision | Any direction, consent, derogation, approval, designation or determination by the Authority will be given or made in writing. |  |  | Already in SLC 2.9 and applies to the specials | Closed
20 | 2021-10-15 | SPEN | SLC 2.1 | It is stated that CRC 1B currently incorporates this into the specials, but Ofgem's proposed approach to definitions means this isn’t needed for ED2. Please could this be explained? |  |  | This provision applies to the SLCs. Current CRC1B incorporated it into the Specials, but we don't need to replicate this in ED2 because our approach to definitions it to make it clear for each defined term whether we should be referring to an Act of Parliament for the definition. | Closed
21 | 2021-10-15 | SPEN | SLC 2.3 | This should be retained in SpCs. |  |  | Added new paragraph to SpC 1.1 | Closed
22 | 2021-10-15 | SPEN | SLC 2.4 | It would be easier for the reader to understand if each (a), (b) and (c ) were included explained in each instance in the SpCs, rather than in the definitions. |  |  | It’s a bit wordy to say every time "Where an application is made under paragraph 3.1.3(a) of this condition in these special conditions of this licence." I think any reader would be happy if this just ended at (a), but we can use the interpretation section to clarify if we think its helpful. If we wanted these I've added three new paragraphs to SpC 1.1 to consider. | Closed
23 | 2021-10-15 | SPEN | SLC 2.10 | This should be retained in SpCs. |  |  | Added new paragraph to SpC 1.1 | Closed
24 | 2021-10-15 | ENWL | AD | Is appropriate to have procedural paragraphs in Chapter 1 |  |  | Moved to Chapter 1 | Closed
25 | 2021-11-04 | UKPN | 1.1.9 | Should "ED2" be "RIIO-ED2"? If yes then applies in other locations such as 1.1.12 |  |  | No I don't think we use RIIO before this phrase. | Closed
26 | 2021-11-04 | UKPN | 2.3 of the appendix | Support a statement which says headings are for convenience and do not affect interpretation |  |  | Added new paragraph to SpC 1.1 | Closed
27 | 2021-11-01 | SPEN | 1.2.1 and 1.2.2 | Do we need to say twice that defined terms are capitalised throughout the SpCs? |  |  | Agreed, unnecessary. Removed from 1.2.1. | Closed
28 | 2022-10-11 | SPEN | 1.1.1 | Language improvement - substitute for suggested alternative. | TThe purpose of this condition is to provide some provisions of general interpretation for the special conditions of this licence (other provisions exist in the terms of this licence and the standard conditions). |  | We have amended to another alternative formulation of words suggested in response to the September informal consultation. | Closed
29 | 2022-10-27 | ENWL - common | 1.1.9 | The scope of this paragraph should be expanded to clarify that the paragraphs within the "Introduction" section of each condition are also not operative. Ofgem has previously confirmed that this is the case (for example in issue 3 of issues log for SLC48A) |  |  | Added 1.1.10. | Closed
30 | 2022-10-27 | ENWL - common | 1.2.4 | This list needs to be expanded to make sure that relevant documents issued under the Standard Conditions (e.g. RIGs) that do not meet the definition of an Associated Document also get included. |  |  | Added RIGs. No other documents need to be added. | Closed
31 | 2022-10-27 | ENWL - common | 1.3 | We believe that Ofgem should also take the opportunity afforded by the detailed review of the licence to build-in learning from COVID-19 in respect of derogations. Relevant licence conditions should have clauses built into them to enable them to be switched off on request of the licensee and consequent direction from Ofgem. An alternative solution to the clauses being added into each licence condition is to include an appropriate equivalent clause in SpC 1.3 (Common Procedure) and SLC2 (Interpretation of this licence). We provide further detail in our Annex 1 response to question 9. |  |  | Please see the reasons and effect document for our response to the request for additional derogations. | Closed
32 | 2022-10-27 | ENWL | 1.3 | The common process for the Authority directing a new re-opener application window, additional or otherwise under SpC 3.2 re-openers should be added here. We provide further detail in our Annex 1 response to question 9. |  |  | Added Part B | Closed
33 | 2022-10-27 | ENWL | 1.3 | The common process for Authority instigating a re-opener under SpC 3.2 and SpC3.6 re-openers. This differs from the directing a window. Presently this process is missing from the licence entirely. We provide further detail in our Annex 1 response to question 9. |  |  | This will be provided by the AD established by SpC 9.4 and we have added Part S of SpC 3.2. | Closed
34 | 2022-10-27 | ENWL | 1.3 | The common assessment process for PCDs should be set out in SpC 1.3 rather than where it currently resides in the draft of the licence shared for this consultation. We provide further detail in our Annex 1 response to question 9. |  |  | We disagree. We think putting the methodology for assessing evaluative PCDs in the licence condition that contains all the evaluative PCDs is sensible. | Closed
35 | 2022-10-27 | ENWL | 1.2 Definitions | All comments on the defined terms shared as part of the consultation are included in Annex 5 of the ENWL response in the same spreadsheet format as provided by Ofgem. These are also mentioned, where possible in the individual issues log where the defined term is used. |  |  | Noted. | Closed
36 | 2022-10-27 | NGED | 1.1.9 | The scope of this paragraph should be expanded to clarify that the paragraphs within the "Introduction" section of each condition are also not operative. Ofgem has previously confirmed that this is the case (for example in issue 3 of issues log for SLC48A) |  |  | Added 1.1.10. | Closed
37 | 2022-10-27 | NGED | 1.2.4 | This list needs to be expanded to make sure that relevant documents issued under the Standard Conditions (e.g. RIGs) that do not meet the definition of an Associated Document also get included. |  |  | Added RIGs. No other documents need to be added. | Closed
38 | 2022-10-27 | NGED | 1.3 | We believe that Ofgem should also take the opportunity afforded by the detailed review of the licence to build-in learning from COVID-19 in respect of derogations. Relevant licence conditions should have clauses built into them to enable them to be switched off on request of the licensee and consequent direction from Ofgem. An alternative solution to the clauses being added into each licence condition is to include an appropriate equivalent clause in SpC 1.3 (Common Procedure) and SLC2 (Interpretation of this licence). |  |  | Please see the reasons and effect document for our response to the request for additional derogations. | Closed
39 | 2022-10-26 | NPg | Part A, paragraph 1.1.3 | Terminology should be consistent | Amend references to "year" and "years" to "Regulatory Year" and "Regulatory Years" |  | Agreed. Change made. | Closed
40 | 2022-10-26 | NPg | Part A, paragraph 1.1.9 | The scope of this paragraph should be expanded to clarify that the paragraphs within the "Introduction" section of each condition are also not operative. Ofgem has previously confirmed that this is the case (for example in issue 3 of issues log for SLC48A) |  |  | Added 1.1.10. | Closed
41 | 2022-10-26 | NPg | Part A, paragraph 1.2.2 | Consistency of approach to referencing | Change "below" to "in paragraph 1.2.4" |  | The table isn't in the paragraph, so this doesn't work. | Closed
42 | 2022-10-26 | NPg | Part A, paragraph 1.2.3 | This paragraph is superflous due to the effect of paragraph 1.2.4 | Delete paragraph 1.2.3 and re-number subsequent paragraphs accordingly |  | 1.2.3+1.2.4 do different things. 1.2.3 says the definitions table has effect in confidential documents setting out PCDs. 1.2.4 says that where the definitions table refers you to another document, the meaning isn't fixed as of a particular date but can change if that other document changes i.e. the definition is ambulatory. | Closed
43 | 2022-10-26 | NPg | Part A, paragraph 1.2.4 | The list needs to be expanded to make sure that relevant documents issued under the Standard Conditions (e.g. RIGs) that do not meet the definition of an Associated Document are also included. | Expand list as appropriate |  | Added RIGs. No other documents need to be added. | Closed
44 | 2022-10-26 | NPg | Introduction, paragraph 1.3.1 | Bullet points are superfluous | Change to "The purpose of this condition is to provide a common procedure for the issuing and amending of Associated Documents." |  | Only superfluous if we don’t add to this condition. NPg and other respondents have suggested some additions. | Closed
45 | 2022-10-26 | NPg | Definition | Should be clear that the definition of "Associated Document" does not include the PCFH and PCFM | Change definition to "means a document, excluding the ED2 Price Control Financial Instruments, issued and amended by the Authority in accordance with the Special Condition 1.3 (Common procedure) and any reference to an Associated Document is to that document as amended from time to time unless otherwise specified." |  | Added to definition "This does not include the ED2 Price Control Financial Insturments." | Closed
46 | 2022-10-26 | NPg | General | We believe that Ofgem should also take the opportunity afforded by the detailed review of the licence to build-in learning from COVID-19 in respect of derogations. Relevant licence conditions should have clauses built into them to enable them to be switched off on request of the licensee and consequent direction from Ofgem. An alternative solution to the clauses being added into each licence condition is to include an appropriate equivalent clause in SpC 1.3 (Common Procedure) and SLC2 (Interpretation of this licence). |  |  | Please see the reasons and effect document for our response to the request for additional derogations. | Closed
47 | 2022-10-27 | SPEN | 1.1.9 | The scope of this paragraph should be expanded to clarify that the paragraphs within the "Introduction" section of each condition are also not operative. Ofgem has previously confirmed that this is the case (for example in issue 3 of issues log for SLC48A) |  |  | Added 1.1.10. | Closed
48 | 2022-10-11 | SPEN | 1.1.1 | Language improvement - substitute for suggested alternative. | TThe purpose of this condition is to provide some provisions of general interpretation for the special conditions of this licence (other provisions exist in the terms of this licence and the standard conditions). |  | Changed to "The purpose of this condition is to set out provisions of general interpretation for the special conditions of this licence. Note that other provisions exist in the terms of this licence and the standard conditions." | Closed
49 | 2022-10-27 | SPEN | 1.2.4 | This list needs to be expanded to make sure that relevant documents issued under the Standard Conditions (e.g. RIGs) that do not meet the definition of an Associated Document also get included. |  |  | Added RIGs. No other documents need to be added. | Closed
50 | 2022-10-11 | SPEN | 1.3.4 | Add additional wording to improve clarity of sentence - replace 1.3.4 with suggested alternative. | Following the period mentioned in 1.3.3 (c), the Authority must: |  | Changed 1.3.4 to "After issuing or amending an Associated Document" | Closed
51 | 2022-10-27 | SPEN | 1.3 | We believe that Ofgem should also take the opportunity afforded by the detailed review of the licence to build-in learning from COVID-19 in respect of derogations. Relevant licence conditions should have clauses built into them to enable them to be switched off on request of the licensee and consequent direction from Ofgem. An alternative solution to the clauses being added into each licence condition is to include an appropriate equivalent clause in SpC 1.3 (Common Procedure) and SLC2 (Interpretation of this licence). |  |  | Please see the reasons and effect document for our response to the request for additional derogations. | Closed
52 | 2022-10-27 | SSEN | 1.1.9 | The scope of this paragraph should be expanded to clarify that the paragraphs within the "Introduction" section of each condition are also not operative. Ofgem has previously confirmed that this is the case (for example in issue 3 of issues log for SLC48A) |  |  | Added 1.1.10. | Closed
53 | 2022-10-27 | SSEN | 1.2.4 | This list needs to be expanded to make sure that relevant documents issued under the Standard Conditions (e.g. RIGs) that do not meet the definition of an Associated Document also get included. |  |  | Added RIGs. No other documents need to be added. | Closed
54 | 2022-10-27 | SSEN | 1.3 | We believe that Ofgem should also take the opportunity afforded by the detailed review of the licence to build-in learning from COVID-19 in respect of derogations. Relevant licence conditions should have clauses built into them to enable them to be switched off on request of the licensee and consequent direction from Ofgem. An alternative solution to the clauses being added into each licence condition is to include an appropriate equivalent clause in SpC 1.3 (Common Procedure) and SLC2 (Interpretation of this licence). |  |  | Please see the reasons and effect document for our response to the request for additional derogations. | Closed
55 | 2022-10-27 | SSEN | 1.3 | Please see our further comments on SpC 1.3 in response to Question 9 of the consultation document. |  |  | Noted | Closed
56 | 2022-10-21 | UKPN | 1.1.1 | This sentence is not easy to read | The purpose of this condition is to set out provisions of general interpretation for the special conditions. Note that other provisions exist in the terms of this licence and the standard conditions. |  | Changed to: "The purpose of this condition is to set out provisions of general interpretation for the special conditions of this licence. Note that other provisions exist in the terms of this licence and the standard conditions." | Closed
57 | 2022-10-21 | UKPN | General | In the final version of the licence (standards and specials) please can page numbers be included. |  |  | Yes the contents page will have page numbers and so will the pages. | Closed
58 | 2022-10-21 | UKPN | General | At various points where "special conditions" are referred to it goes on to say "of this licence". However, there is not a consistent approach as in other places it simply refers to "special conditions" without the further reference to "of this licence". Please can a consistent approach be adopted throughout. |  |  | Will review at final checks. | Closed
59 | 2022-10-21 | UKPN | General | Please can you check to ensure any references to a "Charge Restriction Condition" throughout the Standard and Special Conditions are amended to "special condition". |  |  | No, when referring to ED1 CRCs the reference should remain to CRCs. | Closed
60 | 2022-10-21 | UKPN | 1.1.9 | The scope of this paragraph should be expanded to clarify that the paragraphs within the "Introduction" section of each condition are also not operative. Ofgem has previously confirmed that this is the case (for example in issue 3 of issues log for SLC48A) |  |  | Added 1.1.10. | Closed
61 | 2022-10-21 | UKPN | 1-in-20 Severe Weather Event | The reference to being wihtin the Earth's atmosphere should be removed as it is superfluous |  |  | This issue was discussed at the LDWG meeting. We believe that the current drafting is appropriate. | Closed
62 | 2022-10-21 | UKPN | 1-in-20 Severe Weather Event | In respect of "24 hour periods" should be singular |  |  | This has been amended | Closed | 3.10.
63 | 2022-10-21 | UKPN | ED2 Price Control Financial Model | There is a difference between the PCFM and PCFH definitions in that the PCFH includes a reference to "as modified from time to time", should this be added to the PCFM definition? |  |  | Deleted from PCFH because in fact it may be modified under 8.1 or statcon, which would be very wordy. | Closed
64 | 2022-10-21 | UKPN | Efficiency | This definition seems to be limited to the licensees' decision making rather than also including physcial actions which also resulted in a cost saving |  |  | Disagree. The term 'expenditure decision making' encompasses any sort of actions, so the definition for Efficiency is broad enough. Any action taken by the DNO, including 'physical' action, is ultimately linked to a decision-making process in the firm about how to use resources available, so unclear why licensee considers that it does not encompass 'physical' changes. | Closed | 3.3
65 | 2022-10-21 | UKPN | General Financial Adjustment Methodology | There are two entries for this term, the former does not make sense as it infers it is a separate document when it is a section in the PCFH |  |  | Deleted the first one | Closed
66 | 2022-10-21 | UKPN | Monetised Risk Benefit | The definition uses the defined term so becomes circular |  |  | Changed. | Closed
67 | 2022-10-21 | UKPN | Network Asset | Should be clear that in respect of NARM, these are not the only assets which form the Distribution System |  | 2022-12-07 | This has been addressed in the definitions list, see definition of NARM Asset. | Closed
68 | 2022-10-21 | UKPN | NIC Funding Mechanism/NIC Projects | Is the licence condition they are associated with correct or should it be 7.9? |  |  | For 'NIC Funding Mechanism', the assoc. condition is 7.8 (LCNF), so no change required. (The relevant definition for 7.9 is 'Return Funding Mechanism'.) For 'NIC Projects', licensee is correct that it should be 7.9 instead. Change made. | Closed | 7.9
69 | 2022-10-21 | UKPN | Other Exceptional Event | Re a "foreign object under the control or influence of a third party" - this should be made clearer that third parties include wildlife etc and therefore swapping the wording to be "not under the control or influence of the licensee" would be better |  |  | No change. We believe the current wording is more in keeping with FDs and is appropriate | Closed
70 | 2022-10-21 | UKPN | PCB | The reference to regulations needs clarifying as to what regulations they are |  | 2022-11-29 | This is included in the definitions spreadsheet. | Closed
71 | 2022-10-21 | UKPN | PCB Interventions | When is this being defined? |  | 2022-11-29 | We have decided that the volume driver should cover PCB Interventions that relate to any work undertaken by the licensee on pole-mounted transformers, associated poles and pole-mounted switchgear to comply with PCB Regulations and such work that may involve the installation of a ground-mounted transformer in circumstances where the forecast load growth exceeds the capacity that can be supplied by a pole-mounted transformer. | Closed
72 | 2022-10-21 | UKPN | RIIO-ED1 Period | This definition should be merged with that of RIIO-1 Price Control Period |  |  | Will review at final checks. | Closed
73 | 2022-10-21 | UKPN | Severe Weather Event | 24 hour periods should be singular |  |  | This has been amended | Closed | 3.10.
74 | 2022-10-21 | UKPN | Visual Amenity Project | We are unclear why there is a reference to the assets forming part of the distribution system on 1/4/23 |  |  | This is an update of the date in the ED1 condition from 2015 to 2023. | Closed
75 | 2022-10-21 | UKPN | Central Charge Database | Should the reference to the MRA be updated now the code no longer exists? |  |  | This was replaced in another modification to refer to the Retail Energy Code. | Closed
76 | 2022-10-21 | UKPN | 1.2.4 | This list needs to be expanded to make sure that relevant documents issued under the Standard Conditions (e.g. RIGs) that do not meet the definition of an Associated Document also get included. |  |  | Added RIGs. No other documents need to be added. | Closed
77 | 2022-10-21 | UKPN | 1.3 | It is not clear what is anticipated to go in paragraphs (b) and (c) as SPC1.3 is only about issuing and amending Associated Documents which is covered by para (a). |  |  | This was subject to a question in the condoc. | Closed
78 | 2022-10-21 | UKPN | 1.3 | We believe that Ofgem should also take the opportunity afforded by the detailed review of the licence to build-in learning from COVID-19 in respect of derogations. Relevant licence conditions should have clauses built into them to enable them to be switched off on request of the licensee and consequent direction from Ofgem. An alternative solution to the clauses being added into each licence condition is to include an appropriate equivalent clause in SpC 1.3 (Common Procedure) and SLC2 (Interpretation of this licence). |  |  | Please see the reasons and effect document for our response to the request for additional derogations. | Closed
79 | 2022-11-24 | SPEN |  | We remain concerned that the drafting of SpC 1.3 does not address the points we raised in Appendix 3 of our informal consultation log and the re-opener drafting does not contain the clarity needed for DNOs to be able to understand the time, manner and circumstances in or under which a modification can be made. Specifically, on SpC 1.3 Ofgem confirmed that the direction of an additional window and the instigation of a re-opener are separate issues. These should therefore be listed separately in SpC 1.3.1. “The purpose of this condition is to provide a common procedure for the following matters: (a) issuing and amending of Associated Documents; (b) the direction of additional Re-opener application windows by the Authority; and (c) the instigation of Re-opener application windows by the Authority." Although we welcome the inclusion of Part B of SpC 1. the level of detail on how the Authority will direct an additional re-opener window is currently insufficient. Suggestions for change include, changing heading of Part B to “Direction of additional Re-opener application periods by the Authority”. Amending SpC 1.3.7 to read “Where the special conditions of this licence provide for the licensee to apply under a Re-opener during specified periods and for the Authority to direct additional periods in which the licensee may make a Re-opener application, the Authority will: …”. The condition should then go on to set out the process for doing so, which needs to be expanded to explain: - The process that Ofgem will follow if the DNO requests an additional window be directed; - The factors that Ofgem may consider in deciding whether to direct an additional application window; and - Any minimum time period between the date of the direction and the application window (possibly, with a “unless otherwise agreed with relevant licensees” carve out) etc. On Part C, we welcome Ofgem’s acknowledgement at 1.3.8 that the process via which the Authority would itself instigate a Re-opener needs to be formally set out. However, we disagree with Ofgem’s proposal that this process can be set out in an Associated Document. The CMA’s Final Determination on the T2 energy licence modification appeals made clear that the time, manner and circumstances under which self-modification can take place should be set out in the licence condition itself (not in an Associated Document which can be amended without proper consultation). Furthermore, the DNOs do not have sight of this proposed guidance, nor do they understand Ofgem’s intent sufficiently to propose any drafting. The relegation of such a process to an Associated Document means that the licence fails to sufficiently specify the circumstances under which a modification can be made. Despite the above changes, it remains genuinely unclear as to the process Ofgem will follow when deciding to “self-modify” the licence. We remain deeply concerned that the licence, as currently drafted, permits Ofgem to unilaterally modify the licence, to a potentially material extent, based on unknown data sources and evidence and with just a notional 28 day consultation period on the proposed directed value during which the DNO can make representations. This process should be included as an additional, separate “Part C” to SpC 1.3. The current Part C should be re-named Part D and amended as noted below. The new Part C should have the heading “Instigation of Re-openers by the Authority” and a new paragraph 1.3.8 should be added that reads: “Where the special conditions of this licence provide for the Authority to instigate a Re-opener, the Authority will: …” The condition should then go on to set out the process for doing so, which should include: - The process Ofgem will follow; - The circumstances under which Ofgem would opt to follow this process as opposed to directing an additional re-opener window; and - The data and evidence that Ofgem will use and on which it will base its unilateral decision to modify the licence, etc. In addition to including the generic process as a separate Part in SpC 1.3, Ofgem must also include a new sub-clause within each relevant re-opener licence condition to clarify that, before making a modification as a result of instigating the re-opener, the Authority has: (i) requested from the licensee and been provided by the licensee with such detailed supporting evidence as is reasonable in the circumstances, (ii) given an explanation of the rationale for the proposed direction and the basis of the calculations used in any modified allowance, and (iii) clearly stated that the relevant circumstances under which the Authority may trigger the re-opener are the same as the circumstances under which a licensee may trigger the re-opener. |  |  | We have combined the AD that was established by Part C with that in SpC 9.4. We have changed the heading of Part B as suggested. We consider we have set out a proportionate process and level of detail, that will be supplemented by the AD, for directing an additional re-opener window. We have added a new Part S to SpC 3.2 on Authority instigated re-openers. | Closed
80 | 2022-11-24 | NPg | SpC 1.1, Part A, paragraph 1.1.10 | Clarification | Change to "The 'introduction' paragraph in a special condition, before Part A, is for convenience only." |  | There are 1-3 paragraphs in the introductions, so this isn’t accurated. No change. | Closed
81 | 2022-11-24 | NPg | SpC 1.3, Introduction, paragraph 1.3.1 | The direction of an additional window and the instigation of an additional window are separate issues so should be listed separately | Change to "The purpose of this condition is to provide a common procedure for the following matters: (a) issuing and amending of Associated Documents; (b) the direction of additional Re-opener application windows by the Authority; and (c) the instigation of Re-opener application windows by the Authority." |  | The condition doesn't do © so this would be inaccurate. No change. | Closed
82 | 2022-11-24 | NPg | SpC 1.3, Part B | We welcome the inclusion of Part B of SpC 1.3 in the licence. It is essential that the process via which the Authority will direct additional Re-opener application windows is clearly set out on the face of the licence such that it meets the CMA’s criteria. However, the level of detail currently proposed is insufficient. | Change heading of Part B to “Direction of additional Re-opener application periods by the Authority”. Change SpC 1.3.7 to “Where the special conditions of this licence provide for the licensee to apply under a Re-opener during specified periods and for the Authority to direct additional periods in which the licensee may make a Re-opener application, the Authority will: …”. The condition should then go on to set out the process for doing so, which needs to be expanded to explain: (i) the process that Ofgem will follow if the DNO requests an additional window be directed; (ii) the factors that Ofgem may consider in deciding whether to direct an additional application window; and (iii) any minimum time period between the date of the direction and the application window (possibly, with a “unless otherwise agreed with relevant licensees” carve out) etc. Ofgem could potentially evolve the drafting of Appendix 6 of the draft RIIO-2 Re-opener Guidance and Applications Requirements to achieve some of this. Additionally, cross-referencing will be required in all relevant conditions/Parts to “sign-post” this common procedure. |  | We consider there is a proportionate level of detail for directing an additional window, which will be supplemented by the AD. | Closed
83 | 2022-11-24 | NPg | SpC 1.3, New Part C | We welcome Ofgem’s acknowledgement at 1.3.8 that the process via which the Authority would itself instigate a Re-opener needs to be formally set out. However, we disagree with Ofgem’s proposal that this process can be set out in an Associated Document. Furthermore, the DNOs do not have sight of this proposed guidance, nor do they understand Ofgem’s intent sufficiently to propose any drafting. The CMA confirmed that, for any “self-modification” licence condition to be lawful, it must specify the time, manner and circumstances in or under which a modification can be made. If such criteria are correctly set out in the condition itself, the licensee in question should be able to understand the potential impact on it of a future modification at the outset of the price control simply by reference to the condition. The relegation of such a process to an Associated Document means that the licence fails to sufficiently specify the circumstances under which a modification can be made. Consequently, it remains genuinely unclear as to the process Ofgem will follow when deciding to “self-modify” the licence. We remain deeply concerned that the licence, as currently drafted, permits Ofgem to unilaterally modify the licence, to a potentially very material extent, based on unknown data sources and evidence and with just a notional 28 day consultation period on the proposed directed value during which the DNO can make representations. | This process should be included as an additional, separate “Part C” to SpC 1.3. The current Part C should be re-named Part D and amended as noted below. The new Part C should have the heading “Instigation of Re-openers by the Authority” and a new paragraph 1.3.8 should be added that reads: “Where the special conditions of this licence provide for the Authority to instigate a Re-opener, the Authority will: …”. The condition should then go on to set out the process for doing so, which should include: (i) the process Ofgem will follow; (ii) the circumstances under which Ofgem would opt to follow this process as opposed to directing an additional re-opener window; and (iii) the data and evidence that Ofgem will use and on which it will base its unilateral decision to modify the licence, etc. |  | We have added a new Part S to SpC 3.2 on Authority instigated re-openers. | Closed
84 | 2022-11-24 | NPg | SpC 1.3, current Part C, paragraph 1.3.8 | As noted above, amend heading to Part D and re-number and amend accordingly | The following changes should also be made: (i) The current Part C should be re-named Part D: RIIO-2 Re-opener Application Process Guidance"; (ii) Current paragraph 1.3.8 should be re-numbered 1.3.9; (iii) "Indicative" should be deleted from the first line; (iv) Bullet point (f) should be deleted in its entirety and "and” should be added to the end of bullet point (d); and (v) Current paragraph 1.3.9 should be re-numbered 1.3.10 and “RIIO-ED2” should be changed to “RIIO-2”. |  | This AD has been combined with that in SpC 9.4. We have not deleted (f) as we intend for the AD to include detail on this process. | Closed
85 | 2022-11-24 | NPg | New Part D | If it is to be included in the licence, the Associated Document must be made available as soon as possible and, in any event, alongside the licence condition at statutory consultation and should contain guidance specific to ED |  |  | Please see the reasons and effect document for proposed dates to share all ADs. | Closed
86 | 2022-11-24 | NPg | Other conditions | In addition to including the generic process as a separate Part in SpC 1.3, Ofgem must also include a new sub-clause within each relevant re-opener licence condition to clarify that, before making a modification as a result of instigating the re-opener, the Authority has: (i) requested from the licensee and been provided by the licensee with such detailed supporting evidence as is reasonable in the circumstances; (ii) given an explanation of the rationale for the proposed direction and the basis of the calculations used in any modified allowance, and (iii) clearly stated that the relevant circumstances under which the Authority may trigger the re-opener are the same as the circumstances under which a licensee may trigger the re-opener. Additionally, cross-referencing will be required in all relevant conditions/ Parts to “sign-post” this common procedure. |  |  | We have introduced a new Part S into SpC 3.2 and individual Re-openers cross reference to Part S as relevant. | Closed
87 | 2022-11-25 | NGED | 1.3.1 | The direction of an additional window and the instigation of an additional window are separate issues so should be listed separately in SpC 1.3.1. | Change Introduction SpC 1.3.1 to: “The purpose of this condition is to provide a common procedure for the following matters: (a) issuing and amending of Associated Documents; (b) the direction of additional Re-opener application windows by the Authority; and (c) the instigation of Re-opener application windows by the Authority." |  | Instigation is no longer dealt with by this condition. | Closed
88 | 2022-11-25 | NGED | 1.3 Part B | We welcome the inclusion of Part B of SpC 1.3 in the licence. It is essential that the process via which the Authority will direct additional Re-opener application windows is clearly set out on the face of the licence such that it meets the CMA’s criteria. However, the level of detail currently proposed is insufficient. | Change heading of Part B to “Direction of additional Re-opener application periods by the Authority”. Change SpC 1.3.7 to “Where the special conditions of this licence provide for the licensee to apply under a Re-opener during specified periods and for the Authority to direct additional periods in which the licensee may make a Re-opener application, the Authority will: …”. The condition should then go on to set out the process for doing so, which needs to be expanded to explain: - The process that Ofgem will follow if the DNO requests an additional window be directed; - The factors that Ofgem may consider in deciding whether to direct an additional application window; and - Any minimum time period between the date of the direction and the application window (possibly, with a “unless otherwise agreed with relevant licensees” carve out) etc. Ofgem could potentially evolve the drafting of Appendix 6 of the draft RIIO-2 Re-opener Guidance and Applications Requirements to achieve some of this. Additionally, cross-referencing will be required in all relevant conditions/ Parts to “sign-post” this common procedure. |  | Changed heading. We have provided a proportionate amount of detail, to be supplemented by the AD, for directing an additional window. | Closed
89 | 2022-11-25 | NGED | 1.3 Part C | We welcome Ofgem’s acknowledgement at 1.3.8 that the process via which the Authority would itself instigate a Re-opener needs to be formally set out. However, we disagree with Ofgem’s proposal that this process can be set out in an Associated Document. Furthermore, the DNOs do not have sight of this proposed guidance, nor do they understand Ofgem’s intent sufficiently to propose any drafting. The CMA confirmed that, for any “self-modification” licence condition to be lawful, it must specify the time, manner and circumstances in or under which a modification can be made. If such criteria are correctly set out in the condition itself, the licensee in question should be able to understand the potential impact on it of a future modification at the outset of the price control simply by reference to the condition. The relegation of such a process to an Associated Document means that the licence fails to sufficiently specify the circumstances under which a modification can be made. Consequently, it remains genuinely unclear as to the process Ofgem will follow when deciding to “self-modify” the licence. We remain deeply concerned that the licence, as currently drafted, permits Ofgem to unilaterally modify the licence, to a potentially very material extent, based on unknown data sources and evidence and with just a notional 28 day consultation period on the proposed directed value during which the DNO can make representations. | This process should be included as an additional, separate “Part C” to SpC 1.3. The current Part C should be re-named Part D and amended as noted below. The new Part C should have the heading “Instigation of Re-openers by the Authority” and a new paragraph 1.3.8 should be added that reads: “Where the special conditions of this licence provide for the Authority to instigate a Re-opener, the Authority will: …”. The condition should then go on to set out the process for doing so, which should include: - The process Ofgem will follow; - The circumstances under which Ofgem would opt to follow this process as opposed to directing an additional re-opener window; and - The data and evidence that Ofgem will use and on which it will base its unilateral decision to modify the licence, etc. As noted above, the following changes should also be made: - The current Part C should be re-named Part D: RIIO-2 Re-opener Application Process Guidance"; - Current paragraph 1.3.8 should be re-numbered 1.3.9; - "Indicative" should be deleted from the first line; - Bullet point (f) should be deleted in its entirety and "and” should be added to the end of bullet point (d); and - Current paragraph 1.3.9 should be re-numbered 1.3.10 and “RIIO-ED2” should be changed to “RIIO-2”. In addition to including the generic process as a separate Part in SpC 1.3, Ofgem should also include a new sub-clause within each relevant re-opener licence condition to clarify that, before making a modification as a result of instigating the re-opener, the Authority has: (i) requested from the licensee and been provided by the licensee with such detailed supporting evidence as is reasonable in the circumstances, (ii) given an explanation of the rationale for the proposed direction and the basis of the calculations used in any modified allowance, and (iii) clearly stated that the relevant circumstances under which the Authority may trigger the re-opener are the same as the circumstances under which a licensee may trigger the re-opener. Additionally, cross-referencing will be required in all relevant conditions/ Parts to “sign-post” this common procedure. |  | We have instead added a new Part S to SpC 3.2 | Closed
90 | 2022-11-23 | UKPN | 1.1.1 | A more precise cross reference to where in the standard conditions the other provisions are set out would be useful |  |  | Agree, but this might change and then be unhelpful. | Closed
91 | 2022-11-23 | UKPN | 1.1.10 | This should be more explicit i.e. that the introduction sections have no force and are for info only |  |  | This is the typical way in which provisions of this kind are drafted. | Closed
92 | 2022-11-23 | UKPN | 1.3.2 | The RIIO-2 Indicative Re-opener Application Process Guidance is not in the defined term list |  |  | Added | Closed
93 | 2022-11-25 | UKPN | 1.3.1 | The direction of an additional window and the instigation of an additional window are separate issues so should be listed separately in SpC 1.3.1. The introduction SpC 1.3.1 should be changed to: “The purpose of this condition is to provide a common procedure for the following matters: (a) issuing and amending of Associated Documents; (b) the direction of additional Re-opener application windows by the Authority; and (c) the instigation of Re-opener application windows by the Authority." |  |  | Instigation is no longer dealt with by this condition. | Closed
94 | 2022-11-25 | UKPN | 1.3 | We welcome the inclusion of Part B of SpC 1.3 in the licence. It is essential that the process via which the Authority will direct additional Re-opener application windows is clearly set out on the face of the licence such that it meets the CMA’s criteria. However, the level of detail currently proposed is insufficient. We believe Ofgem should: Change heading of Part B to “Direction of additional Re-opener application periods by the Authority”. and Change SpC 1.3.7 to “Where the special conditions of this licence provide for the licensee to apply under a Re-opener during specified periods and for the Authority to direct additional periods in which the licensee may make a Re-opener application, the Authority will: …”. The condition should then go on to set out the process for doing so, which needs to be expanded to explain: - The process that Ofgem will follow if the DNO requests an additional window be directed; - The factors that Ofgem may consider in deciding whether to direct an additional application window; and - Any minimum time period between the date of the direction and the application window (possibly, with a “unless otherwise agreed with relevant licensees” carve out) etc. Ofgem could potentially evolve the drafting of Appendix 6 of the draft RIIO-2 Re-opener Guidance and Applications Requirements to achieve some of this. [note: added by Sarah into John’s proposed wording] Additionally, cross-referencing will be required in all relevant conditions/ Parts to “sign-post” this common procedure. |  |  | Heading changed. We consider we have set out a proportionate process, to be supplemented by the AD, for directing a window. We think signposting would be heavyhanded and probably use more words than just writing out the consultation process in each place. We note we do signpost to the AD text, but we don't signpost to the interpretation provisions. We did the former because we felt it proportionate, but the latter wouldn't be, it is a judgement call and in this instance we don't think signposting is appropriate. | Closed
95 | 2022-11-25 | UKPN | 1.3.8 | We welcome Ofgem’s acknowledgement at 1.3.8 that the process via which the Authority would itself instigate a Re-opener needs to be formally set out. However, we disagree with Ofgem’s proposal that this process can be set out in an Associated Document. Furthermore, the DNOs do not have sight of this proposed guidance, nor do they understand Ofgem’s intent sufficiently to propose any drafting. The CMA confirmed that, for any “self-modification” licence condition to be lawful, it must specify the time, manner and circumstances in or under which a modification can be made. If such criteria are correctly set out in the condition itself, the licensee in question should be able to understand the potential impact on it of a future modification at the outset of the price control simply by reference to the condition. The relegation of such a process to an Associated Document means that the licence fails to sufficiently specify the circumstances under which a modification can be made. Consequently, it remains genuinely unclear as to the process Ofgem will follow when deciding to “self-modify” the licence. We remain deeply concerned that the licence, as currently drafted, permits Ofgem to unilaterally modify the licence, to a potentially very material extent, based on unknown data sources and evidence and with just a notional 28 day consultation period on the proposed directed value during which the DNO can make representations. This process should be included as an additional, separate “Part C” to SpC 1.3. The current Part C should be re-named Part D and amended as noted below. The new Part C should have the heading “Instigation of Re-openers by the Authority” and a new paragraph 1.3.8 should be added that reads: “Where the special conditions of this licence provide for the Authority to instigate a Re-opener, the Authority will: …”. The condition should then go on to set out the process for doing so, which should include: - The process Ofgem will follow; - The circumstances under which Ofgem would opt to follow this process as opposed to directing an additional re-opener window; and - The data and evidence that Ofgem will use and on which it will base its unilateral decision to modify the licence, etc. As noted above, the following changes should also be made: - The current Part C should be re-named Part D: RIIO-2 Re-opener Application Process Guidance"; - Current paragraph 1.3.8 should be re-numbered 1.3.9; - "Indicative" should be deleted from the first line; - Bullet point (f) should be deleted in its entirety and "and” should be added to the end of bullet point (d); and - Current paragraph 1.3.9 should be re-numbered 1.3.10 and “RIIO-ED2” should be changed to “RIIO-2”. In addition to including the generic process as a separate Part in SpC 1.3, Ofgem must also include a new sub-clause within each relevant re-opener licence condition to clarify that, before making a modification as a result of instigating the re-opener, the Authority has: (i) requested from the licensee and been provided by the licensee with such detailed supporting evidence as is reasonable in the circumstances, (ii) given an explanation of the rationale for the proposed direction and the basis of the calculations used in any modified allowance, and (iii) clearly stated that the relevant circumstances under which the Authority may trigger the re-opener are the same as the circumstances under which a licensee may trigger the re-opener. Additionally, cross-referencing will be required in all relevant conditions/ Parts to “sign-post” this common procedure. |  |  | We have added a new Part S to SpC 3.2 on Authority instigated re-openers. | Closed
96 | 2022-11-25 | ENWL - common | 1.3 Introduction | The direction of an additional window and the instigation of an additional window are separate issues so should be listed separately in SpC 1.3.1. Change Introduction SpC 1.3.1 to: “The purpose of this condition is to provide a common procedure for the following matters: (a) issuing and amending of Associated Documents; (b) the direction of additional Re-opener application windows by the Authority; and (c) the instigation of Re-opener application windows by the Authority." |  |  | Instigation is no longer dealt with by this condition. | Closed
97 | 2022-11-25 | ENWL - common | 1.3 Part B | We welcome the inclusion of Part B of SpC 1.3 in the licence. It is essential that the process via which the Authority will direct additional Re-opener application windows is clearly set out on the face of the licence such that it meets the CMA’s criteria. However, the level of detail currently proposed is insufficient. Change heading of Part B to “Direction of additional Re-opener application periods by the Authority”. Change SpC 1.3.7 to “Where the special conditions of this licence provide for the licensee to apply under a Re-opener during specified periods and for the Authority to direct additional periods in which the licensee may make a Re-opener application, the Authority will: …”. The condition should then go on to set out the process for doing so, which needs to be expanded to explain: - The process that Ofgem will follow if the DNO requests an additional window be directed; - The factors that Ofgem may consider in deciding whether to direct an additional application window; and - Any minimum time period between the date of the direction and the application window (possibly, with a “unless otherwise agreed with relevant licensees” carve out) etc. Ofgem could potentially evolve the drafting of Appendix 6 of the draft RIIO-2 Re-opener Guidance and Applications Requirements to achieve some of this. Additionally, cross-referencing will be required in all relevant conditions/ Parts to “sign-post” this common procedure. |  |  | Heading changed. We consider we have set out a proportionate process, to be supplemented by the AD, for directing a window. We think signposting would be heavyhanded and probably use more words than just writing out the consultation process in each place | Closed
98 | 2022-11-25 | ENWL - common | 1.3 Part C | We welcome Ofgem’s acknowledgement at 1.3.8 that the process via which the Authority would itself instigate a Re-opener needs to be formally set out. However, we disagree with Ofgem’s proposal that this process can be set out in an Associated Document. Furthermore, the DNOs do not have sight of this proposed guidance, nor do they understand Ofgem’s intent sufficiently to propose any drafting. The CMA confirmed that, for any “self-modification” licence condition to be lawful, it must specify the time, manner and circumstances in or under which a modification can be made. If such criteria are correctly set out in the condition itself, the licensee in question should be able to understand the potential impact on it of a future modification at the outset of the price control simply by reference to the condition. The relegation of such a process to an Associated Document means that the licence fails to sufficiently specify the circumstances under which a modification can be made. Consequently, it remains genuinely unclear as to the process Ofgem will follow when deciding to “self-modify” the licence. We remain deeply concerned that the licence, as currently drafted, permits Ofgem to unilaterally modify the licence, to a potentially very material extent, based on unknown data sources and evidence and with just a notional 28 day consultation period on the proposed directed value during which the DNO can make representations. This process should be included as an additional, separate “Part C” to SpC 1.3. The current Part C should be re-named Part D and amended as noted below. The new Part C should have the heading “Instigation of Re-openers by the Authority” and a new paragraph 1.3.8 should be added that reads: “Where the special conditions of this licence provide for the Authority to instigate a Re-opener, the Authority will: …”. The condition should then go on to set out the process for doing so, which should include: - The process Ofgem will follow; - The circumstances under which Ofgem would opt to follow this process as opposed to directing an additional re-opener window; and - The data and evidence that Ofgem will use and on which it will base its unilateral decision to modify the licence, etc. As noted above, the following changes should also be made: - The current Part C should be re-named Part D: RIIO-2 Re-opener Application Process Guidance"; - Current paragraph 1.3.8 should be re-numbered 1.3.9; - "Indicative" should be deleted from the first line; - Bullet point (f) should be deleted in its entirety and "and” should be added to the end of bullet point (d); and - Current paragraph 1.3.9 should be re-numbered 1.3.10 and “RIIO-ED2” should be changed to “RIIO-2”. In addition to including the generic process as a separate Part in SpC 1.3, Ofgem must also include a new sub-clause within each relevant re-opener licence condition to clarify that, before making a modification as a result of instigating the re-opener, the Authority has: (i) requested from the licensee and been provided by the licensee with such detailed supporting evidence as is reasonable in the circumstances, (ii) given an explanation of the rationale for the proposed direction and the basis of the calculations used in any modified allowance, and (iii) clearly stated that the relevant circumstances under which the Authority may trigger the re-opener are the same as the circumstances under which a licensee may trigger the re-opener. Additionally, cross-referencing will be required in all relevant conditions/ Parts to “sign-post” this common procedure. |  |  | Instead we have added a new Part S to SpC 3.2. | Closed
99 | 2022-11-25 | ENWL | 1.3 Part D | If a new Part D is to be created for the new AD, , then the AD must be seen as soon as possible, but certainly alongside the licence condition at statutory consultation – this must include any proposed changes as [Ofgem] indicated, and not just be a simple lift from GD/T. |  |  | Please see reasons and effect for a list of all ADs and proposed publication dates. | Closed
100 | 2022-11-24 | SSEN | 1.3.1 | The direction of an additional window and the instigation of an additional window are separate issues so should be listed separately in SpC 1.3.1 | Change SpC 1.3.1 to: “The purpose of this condition is to provide a common procedure for the following matters: (a) issuing and amending of Associated Documents; (b) the direction of additional Re-opener application windows by the Authority; and (c) the instigation of Re-opener application windows by the Authority." |  | Instigation is no longer dealt with by this condition. | Closed
101 | 2022-11-24 | SSEN | Part B | We welcome the inclusion of Part B of SpC 1.3 in the licence. It is essential that the process via which the Authority will direct additional Re-opener application windows is clearly set out on the face of the licence such that it meets the CMA’s criteria. However, the level of detail currently proposed is insufficient. | Change heading of Part B to “Direction of additional Re-opener application periods by the Authority”. |  | Heading changed. We consider we have set out a proportionate level of detail, to be supplemented by the AD, for directing an extra window. | Closed
102 | 2022-11-24 | SSEN | Part B |  | Change SpC 1.3.7 to “Where the special conditions of this licence provide for the licensee to apply under a Re-opener during specified periods and for the Authority to direct additional periods in which the licensee may make a Re-opener application, the Authority will: …”. |  | We prefer the use of "for such applications", it is more succinct. | Closed
103 | 2022-11-24 | SSEN | Part B | The condition should then go on to set out the process for doing so, which The process needs to be expanded to explain: - The process that Ofgem will follow if the DNO requests an additional window be directed; - The factors that Ofgem may consider in deciding whether to direct an additional application window;. and - Any minimum time period between the date of the direction and the application window (possibly, with a “unless otherwise agreed with relevant licensees” carve out) etc. |  |  | We consider we have set out a proportionate level of detail, to be supplemented by the AD, for directing an extra window. | Closed
104 | 2022-11-24 | SSEN | Part C | We welcome Ofgem’s acknowledgement at 1.3.8 that the process via which the Authority would itself instigate a Re-opener needs to be formally set out. However, we disagree with Ofgem’s proposal that this process can be set out in an Associated Document. Furthermore, the DNOs do not have sight of this proposed guidance, nor do they understand Ofgem’s intent sufficiently to propose any drafting. The CMA confirmed that, for any “self-modification” licence condition to be lawful, it must specify the time, manner and circumstances in or under which a modification can be made. If such criteria are correctly set out in the condition itself, the licensee in question should be able to understand the potential impact on it of a future modification at the outset of the price control simply by reference to the condition. The relegation of such a process to an Associated Document means that the licence fails to sufficiently specify the circumstances under which a modification can be made. Consequently, it remains genuinely unclear as to the process Ofgem will follow when deciding to “self-modify” the licence. We remain deeply concerned that the licence, as currently drafted, permits Ofgem to unilaterally modify the licence, to a potentially very material extent, based on unknown data sources and evidence and with just a notional 28 day consultation period on the proposed directed value during which the DNO can make representations. This process should be included as an additional, separate “Part C” to SpC 1.3. The current Part C should be re-named Part D and amended. |  |  | We have added a new Part S to SpC 3.2 on Authority instigated re-openers. | Closed
105 | 2022-11-24 | SSEN | Part C | The new Part C should have the heading “Instigation of Re-openers by the Authority” and a new paragraph 1.3.8 should be added that reads: “Where the special conditions of this licence provide for the Authority to instigate a Re-opener, the Authority will: …”. The condition should then go on to set out the process for doing so, which should include: - The process Ofgem will follow; - The circumstances under which Ofgem would opt to follow this process as opposed to directing an additional re-opener window; and - The data and evidence that Ofgem will use and on which it will base its unilateral decision to modify the licence, etc. |  |  | We have added a new Part S to SpC 3.2 on Authority instigated re-openers. | Closed
106 | 2022-11-24 | SSEN | Part C | The current Part C should be re-named Part D: RIIO-2 Re-opener Application Process Guidance"; |  |  | Instead we have added a new Part S to SpC 3.2. | Closed
107 | 2022-11-24 | SSEN | Part C | Current paragraph 1.3.8 should be re-numbered 1.3.9 |  |  | Instead we have added a new Part S to SpC 3.2. | Closed
108 | 2022-11-24 | SSEN | Part C | "Indicative" should be deleted from the first line |  |  | Deleted | Closed
109 | 2022-11-24 | SSEN | Part C | Bullet point (f) should be deleted in its entirety and "and” should be added to the end of bullet point (d); |  |  | We have retained (f) as we intend to cover this process in the AD. This is now in SpC 9.4. | Closed
110 | 2022-11-24 | SSEN | Part C | Current paragraph 1.3.9 should be re-numbered 1.3.10 and “RIIO-ED2” should be changed to “RIIO-2”. |  |  | We have changed it to RIIO-2. | Closed
111 | 2022-11-24 | SSEN | General | In addition to including the generic process as a separate Part in SpC 1.3, Ofgem must also include a new sub-clause within each relevant re-opener licence condition to clarify that, before making a modification as a result of instigating the re-opener, the Authority has: (i) requested from the licensee and been provided by the licensee with such detailed supporting evidence as is reasonable in the circumstances, (ii) given an explanation of the rationale for the proposed direction and the basis of the calculations used in any modified allowance, and (iii) clearly stated that the relevant circumstances under which the Authority may trigger the re-opener are the same as the circumstances under which a licensee may trigger the re-opener. |  |  | Instead we have added a new Part S to SpC 3.2. | Closed
112 | 2022-10-11 | SPEN | 1.3.4 | Add additional wording to improve clarity of sentence - replace 1.3.4 with suggested alternative. | Following the period mentioned in 1.3.3 (c), the Authority must: |  | Alternative used "After issuing or amending…" | Closed
113 | 2022-10-27 | SPEN | 1.3 | We believe that Ofgem should also take the opportunity afforded by the detailed review of the licence to build-in learning from COVID-19 in respect of derogations. Relevant licence conditions should have clauses built into them to enable them to be switched off on request of the licensee and consequent direction from Ofgem. An alternative solution to the clauses being added into each licence condition is to include an appropriate equivalent clause in SpC 1.3 (Common Procedure) and SLC2 (Interpretation of this licence). |  |  | Please see reasons and effect document in relation to derogations. | Closed
114 | 2022-10-27 | SPEN | 1.2.4 | This list needs to be expanded to make sure that relevant documents issued under the Standard Conditions (e.g. RIGs) that do not meet the definition of an Associated Document also get included. |  |  | RIGs have been added. | Closed