## ED01
Licence number and name: |  | SpC3.2 Digitalisation reopener
DNO: |  | SPEN
No. | Date raised | Comment from | Reference (Part X, Para Y) | Comment | Suggested alternative drafting (if necessary) | Due Date | Response | Issue closed?
1 | 2023-01-17 | SPEN | 3.2.66 | Any ‘self-modification’ licence condition must meet the requirements of section 7(5) of the EA89. In the RIIO-T2 appeal, the CMA confirmed, in line with the statutory requirements, that in order for such a condition to be lawful, the condition must specify the: (a) time; (b) manner; and (c) circumstances in or under which a modification can be made. Under the condition the Authority may only make modifications if the modification to allowances is "efficient". We do not believe that this wording, without change or elaboration, sufficiently specifies the circumstances under which a modification can be made. It is therefore not possible for licensees to understand the potential impact on them of a future modification. Specifically Ofgem does not specify a methodology or set of criteria for what is to be considered ‘efficient’. It is not enough that this detail is included in an accompanying guidance document. The CMA made clear during the T2 determination that the circumstances in which the modification can be made, must be clear from the face of the condition. Without a set methodology or criteria, TOs are concerned that Ofgem could make a highly arbitrary assessment of efficiency which may not reflect the actual efficient costs to individual licensees of the activities for which funding is being requested, or reflect wider benefits of any potential intervention (e.g. environmental or societal). The methodology through which efficiencies will be assessed should be expanded upon in the drafting of the licence condition itself, such that it meets the requirements of section 7(5) EA89.
2 | 2023-01-17 | SPEN | 3.2.65(b) | Typos: "33.2.61 and 33.2.62" should be "3.2.61 and 3.2.62"
3 | 2023-01-17 | SPEN |  | Under the reopener submission, the DNO has to provide evidence to justify why the expenditure is additional to that already provided for by ex ante allowances. Because of the different totex allocation process in ED2 compared to ED1, it is not easy for DNOs to identify specific allowances for all UM areas. We believe Ofgem need to list the relevant ex ante allowances for each UM area within the licence. Ofgem should provide this information to DNOs prior to the licence modification notice to give DNOs the opportunity to check the figures