## SpC3.2
Licence number and name: |  | SpC 3.2 Uncertain costs re-opener
Ofgem contact: |  | David McCrone
No. | Date raised | Comment from | Reference (Part X, Para Y) | Comment | Suggested alternative drafting (if necessary) | Due Date | Response | Issue closed?
1 | 2021-12-13 | UKPN | 3.2.11(b) and 3.2.19(b) | 3.2.9 not relevant where licensee invoked so need to make this "where relevant" or similar |  |  | The scope and criteria for making a Re-opener direction apply whether licensee/Authority triggered. | Closed
2 | 2021-12-13 | UKPN | 3.2.10 and 3.2.18 | clauses a and b seem to restrict the changes to only DUMREt value and confidential docs, but not other docs or elements of the licence condition which might also need to change |  |  | Each re-opener will specify what a direction under that re-opener is capable of changing. | Closed
3 | 2021-12-13 | UKPN | CA comment on 3.2 heading | Ofgem's proposed use of Materiality Threshold term - we believe that term is used in the SoLR suite of conditions so an alternative should be considered |  |  | Term no longer used for Materiality Threshold | Closed
4 | 2021-12-13 | UKPN | 3.2.1 | remove "certain" from "certain Uncertain Costs" as confusing |  |  | Agree, reworded. | Closed
5 | 2021-12-13 | UKPN | 3.2.13 (e) | These should be done under stat con or house keeping mod and not under the PCD/reopener conditioin |  |  | Tidying up should be done under the new SLC 3A Housekeeping condition, PCD adjustments after a failure to Fully Deliver should be done under SpC 3.3. However, in relation to cyber some amendments to baseline may be needed as part of the Re-opener, this reflects experience in the GD&T sector. | Closed
6 | 2021-12-13 | UKPN | 3.2.9 | What process will the Authority follow when it triggers a reopener? |  |  | This will be covered by the AD established by SpC 9.4. | Closed
7 | 2021-12-15 | NPg | 3.2.7 | "Writing" is a defined term | "… an application in Writing …" |  | "Writing" is no longer used. | Closed
8 | 2021-12-15 | NPg | 3.2.15 | "Writing" is a defined term | "… an application in Writing …" |  | "Writing" is no longer used. | Closed
9 | 2021-12-15 | SPEN | 3.2.1 | As above, we do not intend to provide detailed comments on this drafting until we are looking at specific conditions in due course. In the meantime, however, in light of Ofgem's suggestion that 3.2.1 could be rephrased, we wonder if in due course that this clause could be made more specific …eg 'calculate the term ###’?' |  |  | A list of terms is provided in Part A. | Closed
10 | 2021-12-15 | NPg | 3.2.2 | Clarify the paragraph | "This condition also explains the process the Authority will follow when making changes to XXX as a result of a Re-opener established under Parts B and C." |  | Drafting has since been amended with actual Re-openers. This was just a template. | Closed
11 | 2021-12-15 | SSEN | SpC 3.2/ SpC9.3 general | condition to be revisited once concrete examples available |  |  | We note your intention to revisit. | Closed
12 | 2021-12-15 | SSEN | 3.2.1 | Cpmment on materiality threshold being a defined term: not all UMs will necessarily involve a mteriality threshold so condition will need to reflect this | as above to revisit with concrete examples |  | Yes Materiality Threshold only mentioned where relevant. | Closed
13 | 2021-12-15 | SSEN | 3.2.6 | Dates to be added for all UMs, noting that these currently fall in the middle of the winter season. | revisit with full list of UMs, the spread of application dates needs to be practical and work for licencees. |  | Relevant dates have been added for all Re-openers. | Closed
14 | 2021-12-15 | SSEN | Numbering | General comment: licence itself says SpC 3.1. Log says SpC 3.2.I think log applies to SpC 3.1 and 3.2 (Or SpC 3.2 and 3.3?) |  |  | Uncertain Costs Re-opener is SpC 3.2 | Closed
15 | 2021-12-15 | SSEN | SpC3.2 Part D | Licence should be clear on timings for any decisions to be made in time for AIP, and licencees should be informed of that date so as to make representations should this have knock on impacts, e.g. ability for project to get started etc | (d) latest date at which a decision will be reached by the Authority to enable inclusion in the Annual Iteration Process. |  | We don't consider it appropriate to put timings for Authority decisions on Re-openers in the licence, as the licence is the licensee's and primarily it exists to impose obligations on the licensee. Also, changes to the AIP process make the timing of the decision less significant as the licensee can forecast PCFM Variable Values and completes AIP itself. | Closed
16 | 2021-12-15 | SSEN | SpC3.2 title/ scope | May need to be revisited if in the end this does not cover only re-openers. Condition to be revisited for further comments once concrete examples available. |  |  | We note your intention to revisit. | Closed
17 | 2021-12-15 | SSEN | 3.2.1 "certain uncertain costs" | Not clear why this would only apply to "certain" uncertain costs and think we need to be clear to differentiate PCDs and uncertainty mechanisms as two separate regulatory mechanisms which sometimes interact | Think this is best revisited at a later stage and will be easier to resolve with a clear example |  | Re-openers and PCDs are in two separate licence conditions. | Closed
18 | 2021-12-15 | SSEN | SpC 3.3/ SpC9.3 Part D | Post-CMA review drafting - please see feedback from SSEN transmission on this issue in particular with reference to (i) specificity of assessment criteria to ensure assessment is objective and robust, (ii) partial delivery formula must recognise that project spend profile is not always going to be linear. We do not consider that a self-modification process is appropriate as the current licence drafting allows significant discretion on assessment process and criteria. |  |  | Moved to relevant log | Closed
19 | 2021-12-15 | NPg | Comment CA3 | Prefer "the Re-opener established by this Part” |  |  | We think naming each Re-opener is clearer. | Closed
20 | 2021-12-15 | SSEN | SpC3.2 Part C | There is a risk here that we are accidentally creating a new mechanism caled "PCD Re-opener". We don’t think that a new mechanism is required tod eal with the introduction/ amendment of PCDs and or different capitalisation rates asscoated with some re-openers. | Include a section or two that cover "introduction/ removal/ amendment of PCDs: listing those reopeners where this is applicable and the process whereby this happens. Same with ca[italisation rate issue. |  | We consider some Re-openers should be capable of adding new PCDs: cyber and LRE. We also have experience from the GD&T sector that the cyber re-openers may need to amend PCDs. | Closed
21 | 2021-12-15 | NPg | 3.2.6 | Typo "Between" | Lower case "b" |  | Between is a defined term so is capitalised. | Closed
22 | 2021-12-15 | NPg | 3.2.14 | Typo "Between" | Lower case "b" |  | Between is a defined term so is capitalised. | Closed
23 | 2021-12-15 | SSEN | SpC3.1 n/a - guidance doc | Uncleat as yet whether guidance doc such as the T2/ GD2 guidance doc will be introduced | Suggest requires further discussion at a future working group |  | AD published alongside informal consultation | Closed
24 | 2021-12-15 | SPEN | 3.2 and 9.3 General | We note Ofgem's comments at the LDWG that this is a proposal for a pro forma style to be used for such conditions as they are developed. It was agreed at the LDWG that much of the drafting cannot be sensibly developed until we are considering specific re-opener / PCD conditions. As such SPEN reserves its position to comment on the drafting in relation to those specific conditions for the reopeners and Evaluative PCDs in due course to ensure the use of directions is in line with the CMA's FD for ET2. |  |  | We note your intention to revisit. | Closed
25 | 2022-09-30 | SPEN | 3.2.30 | In order for a ‘self-modification’ licence condition to be lawful, it must meet the requirements of section 7(5) of the EA. In the RIIO-T2 appeal, the CMA confirmed, in line with the statutory requirements, that in order for such a condition to be lawful, the condition must specify the: (a) time; (b) manner; and (c) circumstances in or under which a modification can be made. We believe there are a number of examples where the circumstances under which a modification can be made are unclear: The current licence drafting establishes 5 windows for licensees to submit proposals. However, the Reopener Guidance Appendix 7 says Ofgem 'will engage with relevant stakeholders to establish, in principle, the needs case before the re-opener is triggered'. Does Ofgem mean the needs case for directing another window outwith the 5 annual windows set out in 3.2.30? The current licence drafting establishes those 5 windows, therefore if Ofgem means they 'might' be windows then the licence drafting needs amended to reflect this |  |  | The guidance has been updated to reflect that the environment reopener is DNO triggered only. Ofgem will not therefore engage with stakeholders ahead of further windows as it has no powers to trigger them. | Closed
26 | 2022-10-04 | SPEN | 3.2.33 | in order for a ‘self-modification’ licence condition to be lawful, it must meet the requirements of section 7(5) of the EA. In the RIIO-T2 appeal, the CMA confirmed, in line with the statutory requirements, that in order for such a condition to be lawful, the condition must specify the: (a) time; (b) manner; and (c) circumstances in or under which a modification can be made. We believe there are a number of examples where the circumstances under which a modification can be made are unclear: The process around the Authority instigating a reopener(3.3.33) is not clear. For another reopener (ESR) we had previously asked Ofgem via the LDWG issues log to provide guidance on the process the Authority will follow when 'instigating' the re-opener . For ESR, Ofgem closed this issue on the basis that the guidance contains further info on the process around the Authority 'directing a re-opener window'. However, we remain confused, and this also applies to the Environment and other reopeners. Is the process for the Authority instigating a reopener (3.2.33) different to it directing a re-opener window (there is no text in 3.2.30 to suggest the Authority could direct another window, but this exists in other conditions eg ESR). We need guidance to explain the Authority 'instigating the re-opener process' vs 'directing a reopener window' for all reopeners where this applies.. |  |  | We have added Part S for Authority instigated re-openers and extended the scope of the AD in SpC 9.4 | Closed
27 | 2022-10-06 | SPEN | 3.2.73 | Any ‘self-modification’ licence condition must meet the requirements of section 7(5) of the EA89. In the RIIO-T2 appeal, the CMA confirmed, in line with the statutory requirements, that in order for such a condition to be lawful, the condition must specify the: (a) time; (b) manner; and (c) circumstances in or under which a modification can be made Under the condition the Authority may only make modifications if there is evidence to demonstrate that the modification to allowances is efficient. We do not believe that this wording, without change or elaboration, sufficiently specifies the circumstances in which a modification can be made. It is therefore not possible for licensees to understand the potential impact on them of a future modification. Specifically: (i) It is assumed that Ofgem would carry out an assessment of efficiency, after receipt of information on costs from the licensee. However, this is not what the condition says. (ii) Given the nature of uncertainty that exists in the areas that have re-opener conditions, it is very likely that there will be situations where it is difficult to show independent evidence or conduct analysis to prove that the modification to allowances is efficient. For instance, where a proposed project or activity is innovative or where there is a lack of historical or comparative data to allow analysis to demonstrate "efficient" costs but where it is obvious an allowance should be made. In addition, in a number of areas the need for additional allowances will be driven by changes in legislation or other requirements, which may not otherwise be justifiable as “efficient”. (iii)Ofgem does not specify a methodology or set of criteria for what is to be considered ‘efficient’. This has the potential to allow Ofgem to make a highly arbitrary assessment of efficiency which may not reflect the actual efficient costs to individual licensees of the activities for which funding is being requested, or reflect wider benefits of any potential intervention (e.g. environmental or societal). In all three points above, the wording requirement of “evidence” may result in a legitimate re-opener application being rejected by Ofgem. | We propose two alternative solutions, either of which would mitigate these concerns: •Replace the ‘evidence of efficiency’ test with a provision allowing Ofgem to assess that “the licensee has provided such detailed supporting evidence as is reasonable in the circumstances”. OR •Replace the ‘evidence of efficiency’ test with a (positive) power to apply adjustment for inefficiency to licensees' applications where Ofgem has conducted an assessment and has concerns. Suggested wording of a new sub-clause within each re-opener could be ‘Where the modification has been requested by the licensee under paragraph x.x.x, the Authority may undertake an assessment of the efficiency of those costs and, where inefficiency is found, the Authority may reduce the value requested by the corresponding amount" |  | We have removed the requirement for evidence as we acknowledge it is a combination of evidence and our cost assessment process that establishes efficiency. We don't consider this process arbitrary but in fact to be well documented throughout the ED2 process. We do not agree we would provide allowances that are inefficient. In relation to this particular provision for the Storm Arwen Re-opener, we have changed this to use the statmod procedure given its potentially wide application. | Closed
28 | 2022-10-06 | SPEN | 3.2.68(b) | As indicated in the issues we submitted via LDWG, during Working Group discussions when asked how Ofgem decided which reopeners had materiality thresholds and which should not, the guidance given was that compliance related activities would not have a materiality threshold. With this guidance in mind, we believe that the materiality threshold should be removed from this reopener, | (b) where change in the licensee's incurred or expected costs exceeds the Maternity Threshold |  | Not clear which re-opener this relates to, however, if its Storm Arwen then the materiality threshold has been removed. | Closed
29 | 2022-10-06 | SPEN | 3.2.68(a) | There are drafting inconsistencies across the common reopener conditions whereby only seven of the conditions in 3.2 state upfront that the re-opener ”may be used where the licensee has incurred or expects to incur” additional costs. Although this is stated later within the drafting of this condition, it is not immediately obvious and it is important that all re-opener conditions within the licence are drafted consistently to avoid any ambiguity. |  |  | We have attempted to resolve inconsistencies, whilst acknowledging not all re-openers can be drafted identically to reflect the different scopes, application of materiality thresholds, existence of baseline funding etc. | Closed
30 | 2022-10-06 | SPEN | 3.2.69 | We would support a second window later in ED2, say in January 2026, as some costs may still have a high degree of uncertainty during 2023 when submission for 2024 would need to be prepared. A second window would allow for all relevant costs to be included in the re-opener | Add "... or (b) Between 22 January 2026 and 26 January 2026." |  | We believe this relates to Storm Arwen. Please see Final Determinations for our policy decisions. | Closed
31 | 2022-10-07 | SPEN | 3.2.31 (d) | There is no definition for what constitutes evidence being 'as is reasonable' in the circumstances. Further explanation in the licence is required, or signposting to an appropriate Associated Document for Environmental Re-Opener guidance should be provided. |  |  | "Reasonable" is an exceptionally well understood legal term. | Closed
32 | 2022-10-10 | SPEN | Part (e) | This sub-clause should be contextualised in order to fit in with the "and" statements. | (e) if an error exists, in order to correct the error. |  | Not clear what provision this relates to. | Closed
33 | 2022-10-11 | SPEN | 3.2.73(b) | Cross referencing error. Should be "3.2.70". |  |  | There is no longer any cross referencing in this paragraph. | Closed
34 | 2022-10-21 | UKPN | 3.2 general | Twelve of the re-opener mechanisms set out that the Authority may only make modifications under each of the re-openers if (variations of) “there is evidence to demonstrate that the modification to allowances is efficient”. As further explained in our consultation response, without change or elaboration, we do not believe that this wording sufficiently specifies the circumstances under which a modification can be made. It is therefore not possible for licensees to understand the potential impact on them of a future modification. In the RIIO-T2 appeal, the CMA confirmed, in line with the statutory requirements, that, in order for any “self-modification” licence condition to be lawful, the condition must specify the: (a) time; (b) manner; and (c) circumstances in or under which a modification can be made. The text therefore fails to meet the requirements of section 7(5) of the EA89. | We propose two alternative solutions, either of which would mitigate these concerns: (1) Replace the “evidence of efficiency” test with a provision allowing Ofgem to assess that “the licensee has provided such detailed supporting evidence as is reasonable in the circumstances”; or (2) Replace the “evidence of efficiency” test with a (positive) power to apply an adjustment for inefficiency to licensees' applications where Ofgem has conducted an assessment and has concerns. Suggested wording of a new sub-clause within each re-opener could be “Where the modification has been requested by the licensee under paragraph x.x.x, the Authority may undertake an assessment of the efficiency of those costs and, where inefficiency is found, the Authority may reduce the value requested by the corresponding amount". These alternatives would allow Ofgem to act if either it felt that insufficient evidence had been provided, or it had undertaken an assessment and identified areas of inefficiency. For the second option, the re-opener guidance must then expand on the efficiency review process. |  | We have removed the requirement for evidence as we acknowledge it is a combination of evidence and our cost assessment process that establishes efficiency. We don't consider this process arbitrary but in fact to be well documented throughout the ED2 process. We do not agree we would provide allowances that are inefficient. | Closed
35 | 2022-10-21 | UKPN | 3.2 general | Seven of the re-openers set out in special condition 3.2 include provision for the Authority to “instigate the re-opener”. However, the conditions are silent on the process that the Authority would follow when instigating the re-opener and do not sufficiently specify the circumstances under which a modification can be made. It is therefore not possible for licensees to understand the potential impact of a future modification on them. As further explained in our consultation response, it is possible that when setting policy in each of these re-opener areas, there may have been some confusion and conflation of the process of Ofgem directing a new and additional window for the re-opener. | To clear up this confusion, we believe Ofgem needs to: (i) Confirm whether the processes around directing an additional window and instigating a re-opener are the same or different. (ii) Include a new additional sub-condition under SpC 1.3 Common Procedures in the licence, which clarifies the processes around directing an additional window and/or instigating a re-opener under SpC 3.2 (depending on the answer to (i) above). (iii) Include a new sub-clause within each relevant re-opener licence condition to clarify that, before making a modification as a result of instigating the re-opener, the Authority has: a. requested from the licensee and been provided by the licensee with such detailed supporting evidence as is reasonable in the circumstances, b. given an explanation of the rationale for the proposed direction and the basis of the calculations used in any modified allowance, and c. clearly stated that the relevant circumstances under which the Authority may trigger the re-opener are the same as the circumstances under which a licensee may trigger the re-opener. In the absence of providing this additional clarification, it is questionable whether this aspect of the relevant re-openers is consistent with the legal requirements of Section 7(5) of the EA89. |  | They are different. Part B of SpC 1.3 deals with windows. Part S of 3.2 deals with instigation. | Closed
36 | 2022-10-21 | UKPN | 3.2 general | The wording used to describe the application of the materiality test is phrased inconsistently in different re-openers. It is not always clear whether the materiality threshold is to be assessed relative to the amount of allowance that has previously been provided, either via baseline allowance or under an earlier re-opener application. This makes the scope of the re-opener unclear and some DNOs who may legitimately expect an allowance adjustment may not be entitled to one. | For those conditions where it is Ofgem’s policy that a materiality threshold should apply, we suggest that the following standard wording be used: “The [XXX] Re-opener may be used where there has been a change in the [XXX] costs the licensee has incurred or expects to incur, relative to any previous allowances for such costs, that exceeds the Materiality Threshold”. |  | We think this is relevant to: Rail, Streetworks, Wayleaves and Diversions, West Coast of Cumbria, Shetland Enduring Solution Shetland Extension Fixed Energy Costs. Change made. | Closed
37 | 2022-10-21 | UKPN | 3.2 general | There are drafting inconsistencies across the common re-opener conditions whereby only seven of the Parts in 3.2 state upfront that the re-opener “may be used where the licensee has incurred or expects to incur” additional costs. Although this is stated later within the drafting of the other conditions, it is not immediately obvious, and it is important that all re-opener conditions within the licence are drafted consistently to avoid any ambiguity. Consequently, a similar statement should be included in those conditions from which it is currently missing (Physical Security, Electricity System Restoration, Cyber OT, Cyber IT and Storm Arwen). |  |  | We have attempted to resolve inconsistencies, whilst acknowledging not all re-openers can be drafted identically to reflect the different scopes, application of materiality thresholds, existence of baseline funding etc. | Closed
38 | 2022-10-21 | UKPN | 3.2 general | A variety of similar, but not identical, phrases are used to set out the circumstances and conditions that must be met for a modification to be made. The variation in wording compounds the issues with the interpretation of SpC 3.2 explained elsewhere in our consultation response and also introduces more scope for differences in interpretation. Our consultation response includes a table that sets out aspects of the condition that are phrased inconsistently. Where appropriate, our response also includes our view of the form of words that should be used consistently throughout the condition. |  |  | We reviewed the table and made changes to increase consistency. | Closed
39 | 2022-10-21 | UKPN | 3.2 general | Some re-openers have materiality thresholds and others do not. Initial verbal clarification from Ofgem to allow DNOs to understand the rationale behind this was that those re-openers that relate to compliance-related activities would not have a materiality threshold as licensees should not have to face financial exposure from mandatory requirements. Following this logic through, the materiality thresholds should be removed from the Environmental and Storm Arwen re-openers. |  |  | Please see the environment re-opener log and storm arwen re-opener logs. | Closed
40 | 2022-10-26 | NPg | 3.2 general | All of the re-opener conditions should be worded consistently. | Change to "take account of allowed expenditure which can be avoided as a result of the modifications requested" |  | Not clear which paragraphs are inconsistent | Closed
41 | 2022-10-26 | NPg | 3.2 - General | It should be made clear on the face of the licence that, when assessing if the additional allowances are efficient (e.g. 3.2.27 (c)), the Authority cannot retrospectively review money already spent |  |  | We will assess all allowances requested for efficiency. | Closed
42 | 2022-10-26 | NPg | 3.2 - General | Where the Authority can trigger a reopener at any time (e.g. 3.2.26), the 'tests' that need to be met for it to do so should be set out on the face of the licence |  |  | They are. Part S perhaps makes this clearer than previously. | Closed
43 | 2022-10-26 | NPg | 3.2 - General | The framework for deciding if additional allowances are efficient (e.g. 3.2.27 (c)) should be made clear on the face of the licence. The current drafting does not align to the CMA decision on the modification process in the GD & T appeals |  |  | We consider it is sufficiently clear to satisfy the CMA Final Determination on self-mod. | Closed
44 | 2022-10-26 | NPg | 3.2 - General | In multiple locations, the circumstances in which reopener modifications can be made are drafted too widely e.g. 3.2.18 (c) is drafted too openly and allows the reopener to have access to all allowances and there does not seem to be a need for 3.2.18 (b) |  |  | We suggest comments on the scope of individual re-openers are made in the relevant logs. However, 3.2.18(b) was added at DNO request in LDWG to make the power more confined. So in this case only the value of RECt can be adjusted and only where the allowances relate to Rail Electrification Costs which are a defined term. | Closed
45 | 2022-10-26 | NPg | 3.2 - General | Twelve of the re-opener mechanisms set out that the Authority may only make modifications under each of the re-openers if (variations of) “there is evidence to demonstrate that the modification to allowances is efficient”. As further explained in our consultation response, without change or elaboration, we do not believe that this wording sufficiently specifies the circumstances under which a modification can be made. It is therefore not possible for licensees to understand the potential impact on them of a future modification. In the RIIO-T2 appeal, the CMA confirmed, in line with the statutory requirements, that, in order for any “self-modification” licence condition to be lawful, the condition must specify the: (a) time; (b) manner; and (c) circumstances in or under which a modification can be made. The text therefore fails to meet the requirements of section 7(5) of the EA89. | We propose two alternative solutions, either of which would mitigate these concerns: (1) Replace the “evidence of efficiency” test with a provision allowing Ofgem to assess that “the licensee has provided such detailed supporting evidence as is reasonable in the circumstances”; or (2) Replace the “evidence of efficiency” test with a (positive) power to apply an adjustment for inefficiency to licensees' applications where Ofgem has conducted an assessment and has concerns. Suggested wording of a new sub-clause within each re-opener could be “Where the modification has been requested by the licensee under paragraph x.x.x, the Authority may undertake an assessment of the efficiency of those costs and, where inefficiency is found, the Authority may reduce the value requested by the corresponding amount". These alternatives would allow Ofgem to act if either it felt that insufficient evidence had been provided, or it had undertaken an assessment and identified areas of inefficiency. For the second option, the re-opener guidance must then expand on the efficiency review process. |  | We have removed the requirement for evidence as we acknowledge it is a combination of evidence and our cost assessment process that establishes efficiency. We don't consider this process arbitrary but in fact to be well documented throughout the ED2 process. We do not agree we would provide allowances that are inefficient. | Closed
46 | 2022-10-26 | NPg | 3.2 - General | Seven of the re-openers set out in special condition 3.2 include provision for the Authority to “instigate the re-opener”. However, the conditions are silent on the process that the Authority would follow when instigating the re-opener and do not sufficiently specify the circumstances under which a modification can be made. It is therefore not possible for licensees to understand the potential impact of a future modification on them. As further explained in our consultation response, it is possible that when setting policy in each of these re-opener areas, there may have been some confusion and conflation of the process of Ofgem directing a new and additional window for the re-opener. | To clear up this confusion, we believe Ofgem needs to: (i) Confirm whether the processes around directing an additional window and instigating a re-opener are the same or different. (ii) Include a new additional sub-condition under SpC 1.3 Common Procedures in the licence, which clarifies the processes around directing an additional window and/or instigating a re-opener under SpC 3.2 (depending on the answer to (i) above). (iii) Include a new sub-clause within each relevant re-opener licence condition to clarify that, before making a modification as a result of instigating the re-opener, the Authority has: a) requested from the licensee and been provided by the licensee with such detailed supporting evidence as is reasonable in the circumstances, b) given an explanation of the rationale for the proposed direction and the basis of the calculations used in any modified allowance, and c) clearly stated that the relevant circumstances under which the Authority may trigger the re-opener are the same as the circumstances under which a licensee may trigger the re-opener. In the absence of providing this additional clarification, it is questionable whether this aspect of the relevant re-openers is consistent with the legal requirements of Section 7(5) of the EA89. |  | They are different. Part B of SpC 1.3 deals with windows. Part S of 3.2 deals with instigation. | Closed
47 | 2022-10-26 | NPg | 3.2 - General | The wording used to describe the application of the materiality test is phrased inconsistently in different re-openers. It is not always clear whether the materiality threshold is to be assessed relative to the amount of allowance that has previously been provided, either via baseline allowance or under an earlier re-opener application. This makes the scope of the re-opener unclear and some DNOs who may legitimately expect an allowance adjustment may not be entitled to one. | For those conditions where it is Ofgem’s policy that a materiality threshold should apply, we suggest that the following standard wording be used: “The [XXX] Re-opener may be used where there has been a change in the [XXX] costs the licensee has incurred or expects to incur, relative to any previous allowances for such costs, that exceeds the Materiality Threshold”. |  | We think this is relevant to: Rail, Streetworks, Wayleaves and Diversions, West Coast of Cumbria, Shetland Enduring Solution Shetland Extension Fixed Energy Costs. Change made. | Closed
48 | 2022-10-26 | NPg | 3.2 - General | There are drafting inconsistencies across the common re-opener conditions whereby only seven of the Parts in 3.2 state upfront that the re-opener “may be used where the licensee has incurred or expects to incur” additional costs. Although this is stated later within the drafting of the other conditions, it is not immediately obvious, and it is important that all re-opener conditions within the licence are drafted consistently to avoid any ambiguity. Consequently, a similar statement should be included in those conditions from which it is currently missing (Physical Security, Electricity System Restoration, Cyber OT, Cyber IT and Storm Arwen). |  |  | We have attempted to resolve inconsistencies, whilst acknowledging not all re-openers can be drafted identically to reflect the different scopes, application of materiality thresholds, existence of baseline funding etc. | Closed
49 | 2022-10-26 | NPg | 3.2 - General | A variety of similar, but not identical, phrases are used to set out the circumstances and conditions that must be met for a modification to be made. The variation in wording compounds the issues with the interpretation of SpC 3.2 explained elsewhere in our consultation response and also introduces more scope for differences in interpretation. Our consultation response includes a table that sets out aspects of the condition that are phrased inconsistently. Where appropriate, our response also includes our view of the form of words that should be used consistently throughout the condition. |  |  | We reviewed the table and made changes to increase consistency. | Closed
50 | 2022-10-26 | NPg | 3.2 - General | Some re-openers have materiality thresholds and others do not. Initial verbal clarification from Ofgem to allow DNOs to understand the rationale behind this was that those re-openers that relate to compliance-related activities would not have a materiality threshold as licensees should not have to face financial exposure from mandatory requirements. | Following this logic through, the materiality thresholds should be removed from the Environmental and Storm Arwen re-openers. |  | Please see the environment re-opener log and storm arwen re-opener logs. | Closed
51 | 2022-10-26 | NPg | 3.2 - General | The definition of Materiality Threshold is currently not populated. We are unclear whether Ofgem’s intention is to include a table in the definitions list showing the Materiality Threshold that is applicable to each DNO. Given that these are key values that are relied on by many different mechanisms they would merit a more prominent location in the Licence. | We suggest adding a new appendix to special condition 3.2. |  | We don't agree that this is the best place, as definitions are located in SpC 1.2 and if MT is used outside of SpC 3.2 it will be easier to find it there, so this future proofs that possibility. It will be a value. | Closed
52 | 2022-10-27 | NGED | 3.2 general | A variety of similar, but not identical, phrases are used to set out the circumstances and conditions that must be met for a modification to be made. The variation in wording compounds the issues with the interpretation of SpC 3.2 explained elsewhere in our consultation response and also introduces more scope for differences in interpretation. Our consultation response includes a table that sets out aspects of the condition that are phrased inconsistently. Where appropriate, our response also includes our view of the form of words that should be used consistently throughout the condition. |  |  | Changes made to enhance consistency | Closed
53 | 2022-10-27 | NGED | 3.2 | Because the re-openers relate to novel areas or compliance, sometimes allowances will have to be provided that aren't efficient. |  |  | We do not agree that we will provide allowances that are inefficient. | Closed
54 | 2022-10-27 | NGED | 3.2 | Before instigating a re-opener the Authority should a) have requested and been provided information by the licensee; b) have given a reason for the proposed direction and c) the circs for triggering should be the same as for the licensee. |  |  | On a) the Re-opener Guidance AD will set out how the Authority will obtain information necessary to instigate a Re-opener itself. On b) and c) this was already provided for by the drafting, but in any event we have now introduced Part S for Authority instigated re-openers. | Closed
55 | 2022-10-27 | NGED | 3.2 | Confusion between directing additional windows and instigating a re-opener. Extra section in SpC 1.3. |  |  | Yes there has at times been conflation of these two processes. The first allows the Authority to direct an additional time period during which the licensee can submit an application. The second allows the Authority to instigate the re-opener without an application. We acknowledge your request for more detail on how this second process is likely to work and intend to set this out in the Re-opener Guidance AD. We have also added new Parts to SpC 1.3 for discussion at LDWG. | Closed
56 | 2022-10-27 | NGED | 3.2 | In all three points above, the wording requirement of “evidence” may result in a legitimate re-opener application being rejected by Ofgem. |  |  | We have removed the requirement for evidence as we acknowledge it is a combination of evidence and our cost assessment process that establishes efficiency. | Closed
57 | 2022-10-27 | NGED | 3.2.4 | Inconsistencies in description of list of items set out in appendix 1. Sub-clause (l) missing "the" at the start. Sub-clause (m) typo of double spacing. Sub-clause (o) missing "the" at the start and missing "term" after Re-opener; also re-opener is not capitalised. Sub-clause (p) missing "the" at the start and brackets should be after "Re-opener term". |  |  | Added the "the"s and "term". Capitalised "Re-opener". Moved brackets. (m) not a typo, just m is a wider letter than others so Word spaces it differently. | Closed
58 | 2022-10-27 | Various | 3.2 | Inconsistency in referencing changes to costs the licensee has incurred or expects to incur. | Add to PSUP, electricity system restoration, cyber OT and cyber IT and storm arwen. [RORY please can you add this to individual logs too.] |  | Wording added to PSUP, electricity system restoration and storm arwen. Not added to cyber IT or cyber OT because its feasible those re-openers could be triggered without a change to costs/allowances e.g. there could be an error to an output or delivery date. | Closed
59 | 2022-10-27 | Various, quotes from NGED | 3.2 | Inconsistency -some Parts say "during such other periods as the Authority may direct", whilst others say "during such other periods as the Authority directs" |  |  | Made consistent "may direct". | Closed
60 | 2022-10-27 | Various, quotes from NGED | 3.2 | Inconsistency -some Parts say "may only apply to the Authority for modifications to this licence", whilst others say "may only apply for modifications to this licence |  |  | Made consistent by adding "to the Authority" | Closed
61 | 2022-10-27 | Various, quotes from NGED | 3.2 | Inconsistent on "explains the basis for calculating any modifications requested to allowances and the profiling of those allowances" |  |  | Made consistent by adding "calculating". | Closed
62 | 2022-10-27 | Various, quotes from NGED | 3.2 | Inconsistent on "sets out any modifications to the value of DIGIt in Appendix 1 being sought;" |  |  | Made consistent by changing requested to "being sought". | Closed
63 | 2022-10-27 | Various, quotes from NGED | 3.2 | Inconsistent on "such detailed supporting evidence as is reasonable in the circumstances", |  |  | The only inconsistent sentences we identified were deliberately inconsistent to list a specific requirement. | Closed
64 | 2022-10-27 | Various | 3.2 | Inconsistent on "the requirements in paragraphs xx have been met" |  |  | As noted, the drafting is dependent on whether the re-opener is licensee and/or Authority triggered. So cannot be entirely consistent across all re-openers. | Closed
65 | 2022-10-27 | Various | 3.2 | Inconsistent on whether first sub-bullet on when modifications can be made references second paragraph of the re-opener or not. |  |  | Made consistent by cross referencing. | Closed
66 | 2022-10-27 | Various, quotes from NGED | 3.2 | Inconssitent on paragraph that starts "The following modifications to this licence may be made". |  |  | Made consistent. | Closed
67 | 2022-10-27 | Various | 3.2 | Materiality Threshold definition should be an appendix to 3.2. |  |  | We don't agree that this is the best place, as definitions are located in SpC 1.2 and if MT is used outside of SpC 3.2 it will be easier to find it there, so this future proofs that possibility. It will be a value. | Closed
68 | 2022-10-27 | Various | 3.2 | Materiality Thresholds: inconsistent application. Should not apply to regulatory/compliance based re-openers. |  |  | Please see the environment re-opener log and storm arwen re-opener logs. | Closed
69 | 2022-10-27 | Various | 3.2 | Not all of the paragraphs relating to when modifications may be made start with "where". |  |  | This is deliberate because not all the sub-paragraphs make sense after "where". | Closed
70 | 2022-10-27 | NGED | 3.2 general | Seven of the re-openers set out in special condition 3.2 include provision for the Authority to “instigate the re-opener”. However, the conditions are silent on the process that the Authority would follow when instigating the re-opener and do not sufficiently specify the circumstances under which a modification can be made. It is therefore not possible for licensees to understand the potential impact of a future modification on them. As further explained in our consultation response, it is possible that when setting policy in each of these re-opener areas, there may have been some confusion and conflation of the process of Ofgem directing a new and additional window for the re-opener. | To clear up this confusion, we believe Ofgem needs to: (i) Confirm whether the processes around directing an additional window and instigating a re-opener are the same or different. (ii) Include a new additional sub-condition under SpC 1.3 Common Procedures in the licence, which clarifies the processes around directing an additional window and/or instigating a re-opener under SpC 3.2 (depending on the answer to (i) above). (iii) Include a new sub-clause within each relevant re-opener licence condition to clarify that, before making a modification as a result of instigating the re-opener, the Authority has: a. requested from the licensee and been provided by the licensee with such detailed supporting evidence as is reasonable in the circumstances, b. given an explanation of the rationale for the proposed direction and the basis of the calculations used in any modified allowance, and c. clearly stated that the relevant circumstances under which the Authority may trigger the re-opener are the same as the circumstances under which a licensee may trigger the re-opener. In the absence of providing this additional clarification, it is questionable whether this aspect of the relevant re-openers is consistent with the legal requirements of Section 7(5) of the EA89. |  | They are different. Part B of SpC 1.3 deals with windows. Part S of 3.2 deals with instigation. | Closed
71 | 2022-10-27 | NGED | 3.2 general | Some re-openers have materiality thresholds and others do not. Initial verbal clarification from Ofgem to allow DNOs to understand the rationale behind this was that those re-openers that relate to compliance-related activities would not have a materiality threshold as licensees should not have to face financial exposure from mandatory requirements. Following this logic through, the materiality thresholds should be removed from the Environmental and Storm Arwen re-openers. |  |  | Please see the environment re-opener log and storm arwen re-opener logs. | Closed
72 | 2022-10-27 | NGED | Materiality Threshold defined term | The definition of Materiality Threshold is currently not populated. We are unclear whether Ofgem’s intention is to include a table in the definitions list showing the Materiality Threshold that is applicable to each DNO. Given that these are key values that are relied on by many different mechanisms they would merit a more prominent location in the Licence. We suggest adding a new appendix to special condition 3.2. |  |  | We don't agree that this is the best place, as definitions are located in SpC 1.2 and if MT is used outside of SpC 3.2 it will be easier to find it there, so this future proofs that possibility. It will be a value. | Closed
73 | 2022-10-27 | Various, quotes from NGED | 3.2 | The evidence of efficiency test isn't sufficiently specific. Does evidence have to be submitted or will the Authority assess efficiency itself? The Auhtority hasn't explained what is "efficient". | Replace the evidence test with "the licensee has provided such detailed supporting evidence as is reasonable in the circumstances" or with a statement that the Authority may undertake an assessment of efficiency and reduce allowances where there is evidence of inefficiency. |  | Efficiency would be assessed by the Authority on the basis of evidence submitted by the licensee and using the cost assessment toolkit approach extensively described as part of setting the ED2 price control. We acknowledge your concern about whether this is "evidence" or a combination of evidence and assessment, and so have amended the draft to omit the words about "evidence" and refer only "efficiency". In relation to the alternative drafting, the requirement for the licensee to have discharged the duty to provide adequate evidence is provided for by the preceding sub-paragraph that requires where the licensee has triggered a re-opener that they have discharged the various requirements for their application, so there is no need to replicate this. The CMA requires the licence to state when the Authority will modify the licence, therefore, we consider it correct to state that we will modify the licence to provide efficient allowances. | Closed
74 | 2022-10-27 | Various | 3.2 | The licence doesn't specify the process for the Authority to instigate a re-opener. |  |  | This is dealt with by the AD in SpC 9.4. | Closed
75 | 2022-10-27 | NGED | 3.2 general | The wording used to describe the application of the materiality test is phrased inconsistently in different re-openers. It is not always clear whether the materiality threshold is to be assessed relative to the amount of allowance that has previously been provided, either via baseline allowance or under an earlier re-opener application. This makes the scope of the re-opener unclear and some DNOs who may legitimately expect an allowance adjustment may not be entitled to one. | For those conditions where it is Ofgem’s policy that a materiality threshold should apply, we suggest that the following standard wording be used: “The [XXX] Re-opener may be used where there has been a change in the [XXX] costs the licensee has incurred or expects to incur, relative to any previous allowances for such costs, that exceeds the Materiality Threshold”. |  | We think this is relevant to: Rail, Streetworks, Wayleaves and Diversions, West Coast of Cumbria, Shetland Enduring Solution Shetland Extension Fixed Energy Costs. Change made. | Closed
76 | 2022-10-27 | NGED | 3.2 general | There are drafting inconsistencies across the common re-opener conditions whereby only seven of the Parts in 3.2 state upfront that the re-opener “may be used where the licensee has incurred or expects to incur” additional costs. Although this is stated later within the drafting of the other conditions, it is not immediately obvious, and it is important that all re-opener conditions within the licence are drafted consistently to avoid any ambiguity. Consequently, a similar statement should be included in those conditions from which it is currently missing (Physical Security, Electricity System Restoration, Cyber OT, Cyber IT and Storm Arwen). |  |  | We have attempted to resolve inconsistencies, whilst acknowledging not all re-openers can be drafted identically to reflect the different scopes, application of materiality thresholds, existence of baseline funding etc. | Closed
77 | 2022-10-27 | NGED | 3.2 general | Twelve of the re-opener mechanisms set out that the Authority may only make modifications under each of the re-openers if (variations of) “there is evidence to demonstrate that the modification to allowances is efficient”. As further explained in our consultation response, without change or elaboration, we do not believe that this wording sufficiently specifies the circumstances under which a modification can be made. It is therefore not possible for licensees to understand the potential impact on them of a future modification. In the RIIO-T2 appeal, the CMA confirmed, in line with the statutory requirements, that, in order for any “self-modification” licence condition to be lawful, the condition must specify the: (a) time; (b) manner; and (c) circumstances in or under which a modification can be made. The text therefore fails to meet the requirements of section 7(5) of the EA89. | We propose two alternative solutions, either of which would mitigate these concerns: (1) Replace the “evidence of efficiency” test with a provision allowing Ofgem to assess that “the licensee has provided such detailed supporting evidence as is reasonable in the circumstances”; or (2) Replace the “evidence of efficiency” test with a (positive) power to apply an adjustment for inefficiency to licensees' applications where Ofgem has conducted an assessment and has concerns. Suggested wording of a new sub-clause within each re-opener could be “Where the modification has been requested by the licensee under paragraph x.x.x, the Authority may undertake an assessment of the efficiency of those costs and, where inefficiency is found, the Authority may reduce the value requested by the corresponding amount". These alternatives would allow Ofgem to act if either it felt that insufficient evidence had been provided, or it had undertaken an assessment and identified areas of inefficiency. For the second option, the re-opener guidance must then expand on the efficiency review process. |  | We have removed the requirement for evidence as we acknowledge it is a combination of evidence and our cost assessment process that establishes efficiency. We don't consider this process arbitrary but in fact to be well documented throughout the ED2 process. We do not agree we would provide allowances that are inefficient. | Closed
78 | 2022-10-27 | Various, quotes from NGED | 3.2 | Under the condition the Authority may only make modifications if there is evidence to demonstrate that the modification to allowances is efficient. |  |  | Efficiency would be assessed by the Authority on the basis of evidence submitted by the licensee and using the cost assessment toolkit approach extensively described as part of setting the ED2 price control. We acknowledge your concern about whether this is "evidence" or a combination of evidence and assessment, and so have amended the draft to omit the words about "evidence" and refer only "efficiency". In relation to the alternative drafting, the requirement for the licensee to have discharged the duty to provide adequate evidence is provided for by the preceding sub-paragraph that requires where the licensee has triggered a re-opener that they have discharged the various requirements for their application, so there is no need to replicate this. The CMA requires the licence to state when the Authority will modify the licence, therefore, we consider it correct to state that we will modify the licence to provide efficient allowances. | Closed
79 | 2022-10-27 | SSEN | 3.2 general | Twelve of the re-opener mechanisms set out that the Authority may only make modifications under each of the re-openers if (variations of) “there is evidence to demonstrate that the modification to allowances is efficient”. As further explained in our consultation response, without change or elaboration, we do not believe that this wording sufficiently specifies the circumstances under which a modification can be made. It is therefore not possible for licensees to understand the potential impact on them of a future modification. In the RIIO-T2 appeal, the CMA confirmed, in line with the statutory requirements, that, in order for any “self-modification” licence condition to be lawful, the condition must specify the: (a) time; (b) manner; and (c) circumstances in or under which a modification can be made. The text therefore fails to meet the requirements of section 7(5) of the EA89. | We propose two alternative solutions, either of which would mitigate these concerns: (1) Replace the “evidence of efficiency” test with a provision allowing Ofgem to assess that “the licensee has provided such detailed supporting evidence as is reasonable in the circumstances”; or (2) Replace the “evidence of efficiency” test with a (positive) power to apply an adjustment for inefficiency to licensees' applications where Ofgem has conducted an assessment and has concerns. Suggested wording of a new sub-clause within each re-opener could be “Where the modification has been requested by the licensee under paragraph x.x.x, the Authority may undertake an assessment of the efficiency of those costs and, where inefficiency is found, the Authority may reduce the value requested by the corresponding amount". These alternatives would allow Ofgem to act if either it felt that insufficient evidence had been provided, or it had undertaken an assessment and identified areas of inefficiency. For the second option, the re-opener guidance must then expand on the efficiency review process. |  | We have removed the requirement for evidence as we acknowledge it is a combination of evidence and our cost assessment process that establishes efficiency. We don't consider this process arbitrary but in fact to be well documented throughout the ED2 process. We do not agree we would provide allowances that are inefficient. | Closed
80 | 2022-10-27 | SSEN | 3.2 general | Seven of the re-openers set out in special condition 3.2 include provision for the Authority to “instigate the re-opener”. However, the conditions are silent on the process that the Authority would follow when instigating the re-opener and do not sufficiently specify the circumstances under which a modification can be made. It is therefore not possible for licensees to understand the potential impact of a future modification on them. As further explained in our consultation response, it is possible that when setting policy in each of these re-opener areas, there may have been some confusion and conflation of the process of Ofgem directing a new and additional window for the re-opener. | To clear up this confusion, we believe Ofgem needs to: (i) Confirm whether the processes around directing an additional window and instigating a re-opener are the same or different. (ii) Include a new additional sub-condition under SpC 1.3 Common Procedures in the licence, which clarifies the processes around directing an additional window and/or instigating a re-opener under SpC 3.2 (depending on the answer to (i) above). (iii) Include a new sub-clause within each relevant re-opener licence condition to clarify that, before making a modification as a result of instigating the re-opener, the Authority has: a. requested from the licensee and been provided by the licensee with such detailed supporting evidence as is reasonable in the circumstances, b. given an explanation of the rationale for the proposed direction and the basis of the calculations used in any modified allowance, and c. clearly stated that the relevant circumstances under which the Authority may trigger the re-opener are the same as the circumstances under which a licensee may trigger the re-opener. In the absence of providing this additional clarification, it is questionable whether this aspect of the relevant re-openers is consistent with the legal requirements of Section 7(5) of the EA89. |  | They are different. Part B of SpC 1.3 deals with windows. Part S of 3.2 deals with instigation. | Closed
81 | 2022-10-27 | SSEN | 3.2 general | The wording used to describe the application of the materiality test is phrased inconsistently in different re-openers. It is not always clear whether the materiality threshold is to be assessed relative to the amount of allowance that has previously been provided, either via baseline allowance or under an earlier re-opener application. This makes the scope of the re-opener unclear and some DNOs who may legitimately expect an allowance adjustment may not be entitled to one. | For those conditions where it is Ofgem’s policy that a materiality threshold should apply, we suggest that the following standard wording be used: “The [XXX] Re-opener may be used where there has been a change in the [XXX] costs the licensee has incurred or expects to incur, relative to any previous allowances for such costs, that exceeds the Materiality Threshold”. |  | We think this is relevant to: Rail, Streetworks, Wayleaves and Diversions, West Coast of Cumbria, Shetland Enduring Solution Shetland Extension Fixed Energy Costs. Change made. | Closed
82 | 2022-10-27 | SSEN | 3.2 general | There are drafting inconsistencies across the common re-opener conditions whereby only seven of the Parts in 3.2 state upfront that the re-opener “may be used where the licensee has incurred or expects to incur” additional costs. Although this is stated later within the drafting of the other conditions, it is not immediately obvious, and it is important that all re-opener conditions within the licence are drafted consistently to avoid any ambiguity. Consequently, a similar statement should be included in those conditions from which it is currently missing (Physical Security, Electricity System Restoration, Cyber OT, Cyber IT and Storm Arwen). |  |  | We have attempted to resolve inconsistencies, whilst acknowledging not all re-openers can be drafted identically to reflect the different scopes, application of materiality thresholds, existence of baseline funding etc. | Closed
83 | 2022-10-27 | SSEN | 3.2 general | A variety of similar, but not identical, phrases are used to set out the circumstances and conditions that must be met for a modification to be made. The variation in wording compounds the issues with the interpretation of SpC 3.2 explained elsewhere in our consultation response and also introduces more scope for differences in interpretation. Our consultation response includes a table that sets out aspects of the condition that are phrased inconsistently. Where appropriate, our response also includes our view of the form of words that should be used consistently throughout the condition. |  |  | We reviewed the table and made changes to increase consistency. | Closed
84 | 2022-10-27 | SSEN | 3.2 general | Some re-openers have materiality thresholds and others do not. Initial verbal clarification from Ofgem to allow DNOs to understand the rationale behind this was that those re-openers that relate to compliance-related activities would not have a materiality threshold as licensees should not have to face financial exposure from mandatory requirements. Following this logic through, the materiality thresholds should be removed from the Environmental and Storm Arwen re-openers. |  |  | Please see the environment re-opener log and storm arwen re-opener logs. | Closed
85 | 2022-10-27 | SSEN | Materiality Threshold defined term | The definition of Materiality Threshold is currently not populated. We are unclear whether Ofgem’s intention is to include a table in the definitions list showing the Materiality Threshold that is applicable to each DNO. Given that these are key values that are relied on by many different mechanisms they would merit a more prominent location in the Licence. We suggest adding a new appendix to special condition 3.2. |  |  | We don't agree that this is the best place, as definitions are located in SpC 1.2 and if MT is used outside of SpC 3.2 it will be easier to find it there, so this future proofs that possibility. It will be a value. | Closed
86 | 2022-10-27 | ENWL - common | 3.2 general | Twelve of the re-opener mechanisms set out that the Authority may only make modifications under each of the re-openers if (variations of) “there is evidence to demonstrate that the modification to allowances is efficient”. As further explained in our consultation response, without change or elaboration, we do not believe that this wording sufficiently specifies the circumstances under which a modification can be made. It is therefore not possible for licensees to understand the potential impact on them of a future modification. In the RIIO-T2 appeal, the CMA confirmed, in line with the statutory requirements, that, in order for any “self-modification” licence condition to be lawful, the condition must specify the: (a) time; (b) manner; and (c) circumstances in or under which a modification can be made. The text therefore fails to meet the requirements of section 7(5) of the EA89. | We propose two alternative solutions, either of which would mitigate these concerns: (1) Replace the “evidence of efficiency” test with a provision allowing Ofgem to assess that “the licensee has provided such detailed supporting evidence as is reasonable in the circumstances”; or (2) Replace the “evidence of efficiency” test with a (positive) power to apply an adjustment for inefficiency to licensees' applications where Ofgem has conducted an assessment and has concerns. Suggested wording of a new sub-clause within each re-opener could be “Where the modification has been requested by the licensee under paragraph x.x.x, the Authority may undertake an assessment of the efficiency of those costs and, where inefficiency is found, the Authority may reduce the value requested by the corresponding amount". These alternatives would allow Ofgem to act if either it felt that insufficient evidence had been provided, or it had undertaken an assessment and identified areas of inefficiency. For the second option, the re-opener guidance must then expand on the efficiency review process. |  | We have removed the requirement for evidence as we acknowledge it is a combination of evidence and our cost assessment process that establishes efficiency. We don't consider this process arbitrary but in fact to be well documented throughout the ED2 process. We do not agree we would provide allowances that are inefficient. | Closed
87 | 2022-10-27 | ENWL - common | 3.2 general | Seven of the re-openers set out in special condition 3.2 include provision for the Authority to “instigate the re-opener”. However, the conditions are silent on the process that the Authority would follow when instigating the re-opener and do not sufficiently specify the circumstances under which a modification can be made. It is therefore not possible for licensees to understand the potential impact of a future modification on them. As further explained in our consultation response, it is possible that when setting policy in each of these re-opener areas, there may have been some confusion and conflation of the process of Ofgem directing a new and additional window for the re-opener. | To clear up this confusion, we believe Ofgem needs to: (i) Confirm whether the processes around directing an additional window and instigating a re-opener are the same or different. (ii) Include a new additional sub-condition under SpC 1.3 Common Procedures in the licence, which clarifies the processes around directing an additional window and/or instigating a re-opener under SpC 3.2 (depending on the answer to (i) above). (iii) Include a new sub-clause within each relevant re-opener licence condition to clarify that, before making a modification as a result of instigating the re-opener, the Authority has: a. requested from the licensee and been provided by the licensee with such detailed supporting evidence as is reasonable in the circumstances, b. given an explanation of the rationale for the proposed direction and the basis of the calculations used in any modified allowance, and c. clearly stated that the relevant circumstances under which the Authority may trigger the re-opener are the same as the circumstances under which a licensee may trigger the re-opener. In the absence of providing this additional clarification, it is questionable whether this aspect of the relevant re-openers is consistent with the legal requirements of Section 7(5) of the EA89. |  | They are different. Part B of SpC 1.3 deals with windows. Part S of 3.2 deals with instigation. | Closed
88 | 2022-10-27 | ENWL - common | 3.2 general | The wording used to describe the application of the materiality test is phrased inconsistently in different re-openers. It is not always clear whether the materiality threshold is to be assessed relative to the amount of allowance that has previously been provided, either via baseline allowance or under an earlier re-opener application. This makes the scope of the re-opener unclear and some DNOs who may legitimately expect an allowance adjustment may not be entitled to one. | For those conditions where it is Ofgem’s policy that a materiality threshold should apply, we suggest that the following standard wording be used: “The [XXX] Re-opener may be used where there has been a change in the [XXX] costs the licensee has incurred or expects to incur, relative to any previous allowances for such costs, that exceeds the Materiality Threshold”. |  | We think this is relevant to: Rail, Streetworks, Wayleaves and Diversions, West Coast of Cumbria, Shetland Enduring Solution Shetland Extension Fixed Energy Costs. Change made. | Closed
89 | 2022-10-27 | ENWL - common | 3.2 general | There are drafting inconsistencies across the common re-opener conditions whereby only seven of the Parts in 3.2 state upfront that the re-opener “may be used where the licensee has incurred or expects to incur” additional costs. Although this is stated later within the drafting of the other conditions, it is not immediately obvious, and it is important that all re-opener conditions within the licence are drafted consistently to avoid any ambiguity. Consequently, a similar statement should be included in those conditions from which it is currently missing (Physical Security, Electricity System Restoration, Cyber OT, Cyber IT and Storm Arwen). |  |  | We have attempted to resolve inconsistencies, whilst acknowledging not all re-openers can be drafted identically to reflect the different scopes, application of materiality thresholds, existence of baseline funding etc. | Closed
90 | 2022-10-27 | ENWL - common | 3.2 general | A variety of similar, but not identical, phrases are used to set out the circumstances and conditions that must be met for a modification to be made. The variation in wording compounds the issues with the interpretation of SpC 3.2 explained elsewhere in our consultation response and also introduces more scope for differences in interpretation. Our consultation response includes a table that sets out aspects of the condition that are phrased inconsistently. Where appropriate, our response also includes our view of the form of words that should be used consistently throughout the condition. |  |  | We reviewed the table and made changes to increase consistency. | Closed
91 | 2022-10-27 | ENWL - common | 3.2 general | Some re-openers have materiality thresholds and others do not. Initial verbal clarification from Ofgem to allow DNOs to understand the rationale behind this was that those re-openers that relate to compliance-related activities would not have a materiality threshold as licensees should not have to face financial exposure from mandatory requirements. Following this logic through, the materiality thresholds should be removed from the Environmental and Storm Arwen re-openers. |  |  | Please see the environment re-opener log and storm arwen re-opener logs. | Closed
92 | 2022-10-27 | ENWL - common | Materiality Threshold defined term | The definition of Materiality Threshold is currently not populated. We are unclear whether Ofgem’s intention is to include a table in the definitions list showing the Materiality Threshold that is applicable to each DNO. Given that these are key values that are relied on by many different mechanisms they would merit a more prominent location in the Licence. We suggest adding a new appendix to special condition 3.2. |  |  | We don't agree that this is the best place, as definitions are located in SpC 1.2 and if MT is used outside of SpC 3.2 it will be easier to find it there, so this future proofs that possibility. It will be a value. | Closed
93 | 2022-10-27 | ENWL | 3.2.1 (a) - Definition - "Uncertain Costs" | We have reviewed the definition of the term set out in column D and provide detailed comments on this in Annex 5 to our response 'Annex 5: Definitions'. Please refer here for ENWL definitional views and comments. |  |  | PCFM VV is a defined term. | Closed
94 | 2022-10-27 | ENWL | 3.2.1 (a) | Evaluative Price Control Deliverable - This part is still contradictory as long as section 3.2 includes the two cyber re-openers which have a PCD. | We suggest that parts G and H are separated out into their own condition, in the same way that NARMs has been. We also propose that SINV is removed as a default PCD and instead treated in the same way that 3.6 is, that the correct regulatory treatment is consulted on and added as a licence modification. If these two elements are done, then the wording in 3.2.1a becomes accurate and does not change. If only one or neither are actioned, then this wording and other aspects of the condition will need to be adapted to reflect the fact that there are evaluative PCDs as part of the condition |  | There's nothing contradictory about saying we list the re-opener terms that don’t have evaluative PCDs. That is true. The re-opener terms with evaluative pcds are in 3.3. We appreciate there are alternative views on the best way to structure these related re-openers and PCDs, but it isn't inaccurate or contradictory the way it is. | Closed
95 | 2022-10-27 | ENWL | 3.2.1 (a) | (in relation to which see the ED2 Price Control Financial Model) - uncessary wording - remove |  |  | This was added at the request of DNOs at an LDWG as Totex Allowances are not calculated on the face of the licence like for example ODIt or ORAt and so in order to achieve maximum transparency, we point readers to the model instead. | Closed
96 | 2022-10-27 | ENWL | 3.2.1 (b) - Definition - "Re-openers" | We have reviewed the definition of the term set out in column D and provide detailed comments on this in Annex 5 to our response 'Annex 5: Definitions'. Please refer here for ENWL definitional views and comments. |  |  | We will review as part of final checks. | Closed
97 | 2022-10-27 | ENWL | 3.2.2 - "Re-openers" | As the defined term re-openers covers more than just the content of 3.2 this wording may need to be changed as the process in this condition should be limited to this condition only. |  |  | We say "these Re-openers" and its non operative text since its in the introduction. | Closed
98 | 2022-10-27 | ENWL | 3.2.3 - Definition - "Re-opener Guidance and Application Requirements Document" | We have reviewed the definition of the term set out in column D and provide detailed comments on this in Annex 5 to our response 'Annex 5: Definitions'. Please refer here for ENWL definitional views and comments. |  |  | Agreed, change made. | Closed
99 | 2022-10-27 | ENWL | 3.2.4 (a) - (p) | Suggest that this list becomes roman numerals rather than letters. The letters are different to the Part numbers for each re-opener which can be confusing for the reader. |  |  | No. We are not having inconsistent paragraph numbering for one single paragraph in the licence. | Closed
100 | 2022-10-27 | ENWL | 3.2.4 (f) and (g) | These are not in Appendix 1. Either remove from this list or include in Appendix 1 and state as redacted. |  |  | Deleted. | Closed
101 | 2022-10-27 | ENWL | General | We provide further information within our Annex 2 document as part of our consultation response. |  |  | Change made. | Closed
102 | 2022-11-23 | SSEN | 3.2 General | We note Ofgem’s change to standard wording in SpC 3.2 to require that a modification may only be made “where the modification to allowances is efficient”. The removal of the requirement for “evidence of efficiency” is sensible and would avoid the circumstances where Ofgem is unable to modify allowances due to absence of explicit evidence of efficiency, for example where the investment is mandated by legislation. However, the revised wording still does not allow licensees to understand the potential impact on them of a future modification. Ofgem does not specify a methodology or set of criteria for what is to be considered “efficient”. This has the potential to allow Ofgem to make an arbitrary assessment of efficiency which may not reflect the actual efficient costs to individual licensees of the activities for which funding is being requested, or reflect wider benefits of any potential intervention (e.g., environmental or societal) In particular, for several re-openers, there is no established cost assessment process. And even where there is an established process, the wording of the licence would not prevent Ofgem from using a different process. Whilst section 7(5) is intended to allow for modifications whose scale is uncertain at the outset of the price control period, there should not be uncertainty about the tests to be applied in determining whether such a modification should be made. The inherent ambiguity in the language proposed by Ofgem does not provide the requisite level of specificity. The uncertainty in the process, combined with the lack of clear methodology or criteria relating to the substance of any potential assessment by Ofgem of this evidence, means that it is difficult to fully understand the implications of any proposed modification, including the circumstances in or under which a modification can be made. The process that Ofgem will follow should be clear on the face of the licence. Where appropriate, this could include cross-reference to detailed assessment processes set out in Associated Documents. |  |  | The CMA held that the Act requires the licence to state (in addition to the time and manner) the circumstances in which the Authority may modify the licence. The condition states that those circumstances include where the modification is efficient. Efficiency will be assessed by the Authority on the basis of evidence submitted by the licensee (including information explaining the basis on which any requested modification to the allowance has been calculated as is required by the licence as part of a reopener application) and using the cost assessment toolkit approach extensively described as part of setting the ED2 price control. We consider that requirement and the information the Authority has provided about its approach to cost assessment provides sufficient certainty on when expenditure will be considered efficient. | Closed
103 | 2022-11-24 | NPg | General | We note Ofgem’s change to standard wording in SpC 3.2 to require that a modification may only be made “where the modification to allowances is efficient”. The removal of the requirement for “evidence of efficiency” is sensible and would avoid the circumstances where Ofgem is unable to modify allowances due to absence of explicit evidence of efficiency, for example where the investment is mandated by legislation. However, the revised wording still does not allow licensees to understand the potential impact on them of a future modification. Ofgem does not specify a methodology or set of criteria for what is to be considered “efficient”. This has the potential to allow Ofgem to make an arbitrary assessment of efficiency which may not reflect the actual efficient costs to individual licensees of the activities for which funding is being requested, or reflect wider benefits of any potential intervention (e.g., environmental or societal). There should not be uncertainty about the tests to be applied in determining whether a self-modification should be made but the inherent ambiguity in the language proposed by Ofgem does not provide the requisite level of specificity. The uncertainty in the process, combined with the lack of clear methodology or criteria relating to the substance of any potential assessment by Ofgem of this evidence, means that it is difficult to fully understand the implications of any proposed modification, including the circumstances in or under which a modification can be made. | The process that Ofgem will follow should be clear on the face of the licence. |  | We do not agree that the word "efficient" is insufficiently clear, particularly given the significant detail we have provided throughout setting ED2 on our cost assessment processes. | Closed
104 | 2022-11-25 | ENWL | 3.2 | We note Ofgem’s change to standard wording in SpC 3.2 to require that a modification may only be made “where the modification to allowances is efficient”. The removal of the requirement for “evidence of efficiency” is sensible and would avoid the circumstances where Ofgem is unable to modify allowances due to absence of explicit evidence of efficiency, for example where the investment is mandated by legislation. However, the revised wording still does not allow licensees to understand the potential impact on them of a future modification. Ofgem does not specify a methodology or set of criteria for what is to be considered “efficient”. This has the potential to allow Ofgem to make an arbitrary assessment of efficiency which may not reflect the actual efficient costs to individual licensees of the activities for which funding is being requested, or reflect wider benefits of any potential intervention (e.g., environmental or societal) There should not be uncertainty about the tests to be applied in determining whether a self-modification should be made but the inherent ambiguity in the language proposed by Ofgem does not provide the requisite level of specificity. The uncertainty in the process, combined with the lack of clear methodology or criteria relating to the substance of any potential assessment by Ofgem of this evidence, means that it is difficult to fully understand the implications of any proposed modification, including the circumstances in or under which a modification can be made. The process that Ofgem will follow should be clear on the face of the licence. |  |  | We do not agree that the word "efficient" is insufficiently clear, particularly given the significant detail we have provided throughout setting ED2 on our cost assessment processes. | Closed
105 | 2022-11-25 | ENWL | 3.2 | In addition to our above comment, we consider that Ofgem should expand its cost assessment section/efficiency assessment section in the re-opener guidance document to provide greater clarity and transparency to the process to all stakeholders in the re-opener guidance. |  |  | We are publishing this document alongside the statcon and welcome feedback. | Closed
106 | 2022-11-25 | ENWL | 3.2.76g | Para 3.2.76g still has a referene to providing evidence of efficiency. In line with the adjustments on all re-openers on the wording of evidence, we propose that this sub-para is also revised | “provides such detailed supporting evidence as is reasonable in the circumstances, including evidence of the efficiency of the Load Related Expenditure.” |  | Please refer to the LRE Re-opener log. | Closed
107 | 2022-11-25 | UKPN | 3.2 | General observation which might need moving to a different element of 3.2 logs: We note Ofgem’s change to standard wording in SpC 3.2 to require that a modification may only be made “where the modification to allowances is efficient”. The removal of the requirement for “evidence of efficiency” is sensible and would avoid the circumstances where Ofgem is unable to modify allowances due to absence of explicit evidence of efficiency, for example where the investment is mandated by legislation. However, the revised wording still does not allow licensees to understand the potential impact on them of a future modification. Ofgem does not specify a methodology or set of criteria for what is to be considered “efficient”. This has the potential to allow Ofgem to make an arbitrary assessment of efficiency which may not reflect the actual efficient costs to individual licensees of the activities for which funding is being requested, or reflect wider benefits of any potential intervention (e.g., environmental or societal) There should not be uncertainty about the tests to be applied in determining whether a self-modification should be made but the inherent ambiguity in the language proposed by Ofgem does not provide the requisite level of specificity. The uncertainty in the process, combined with the lack of clear methodology or criteria relating to the substance of any potential assessment by Ofgem of this evidence, means that it is difficult to fully understand the implications of any proposed modification, including the circumstances in or under which a modification can be made. The process that Ofgem will follow should be clear on the face of the licence. Additionally with reference to the same point on efficiency test, there is also a sentence in 3.2.76 (g) in Part K of 3.2 which is “provides such detailed supporting evidence as is reasonable in the circumstances, including evidence of the efficiency of the Load Related Expenditure.”. The second part of this sentence should be deleted |  |  | We do not agree that the word "efficient" is insufficiently clear, particularly given the significant detail we have provided throughout setting ED2 on our cost assessment processes. | Closed
108 | 2022-11-26 | NGED | Various | We note Ofgem’s change to standard wording in SpC 3.2 to require that a modification may only be made “where the modification to allowances is efficient”. The removal of the requirement for “evidence of efficiency” is sensible and would avoid the circumstances where Ofgem is unable to modify allowances due to absence of explicit evidence of efficiency, for example where the investment is mandated by legislation. However, the revised wording still does not allow licensees to understand the potential impact on them of a future modification. Ofgem does not specify a methodology or set of criteria for what is to be considered “efficient”. This has the potential to allow Ofgem to make an arbitrary assessment of efficiency which may not reflect the actual efficient costs to individual licensees of the activities for which funding is being requested, or reflect wider benefits of any potential intervention (e.g., environmental or societal) In particular, for several re-openers, there is no established cost assessment process. And even where there is an established process, the wording of the licence would not prevent Ofgem from using a different process. Whilst section 7(5) is intended to allow for modifications whose scale is uncertain at the outset of the price control period, there should not be uncertainty about the tests to be applied in determining whether such a modification should be made. The inherent ambiguity in the language proposed by Ofgem does not provide the requisite level of specificity. The uncertainty in the process, combined with the lack of clear methodology or criteria relating to the substance of any potential assessment by Ofgem of this evidence, means that it is difficult to fully understand the implications of any proposed modification, including the circumstances in or under which a modification can be made. The process that Ofgem will follow should be clear on the face of the licence. |  |  | If licensees believe there are particular Re-openers where the subject matter is likely to be so novel that despite the significant information we have shared about cost assessment processes during the process of setting ED2 mean they are still unable to foresee how we will assess their applications, we would welcome those being identified. | Closed
109 | TBC | SPEN | 3.2.9 | There is no certainty as to the circumstances that will trigger the Authority instigated reopener in this condition since Ofgem can instigate a reopener "at any time". We are concerned that this would be contrary to the terms of the CMA appeal in ET2. We understand the drafting will be developed for the specific reopeners so the timing of an Authority trigger for each reopener is a point we will need to come back to. |  |  | Each re-opener specifies the scope that applies whether it is triggered by the licensee or the Authority. The paragraph in question simply relates to timing. | Closed
110 | 2022-10-21 | UKPN | Appendix 1 | How will the costs for each Uncertain Cost area be broken down for each DNO across each year of the price control? At the moment, all costs across GB for each term seem to be bundled together? |  |  | These will be the figures for each licensee in their respective licence and will be updated for the stat con | Closed
111 | 2022-11-26 | NGED | 3.2.76 (g) | In relation to efficiency, 3.2.76 (g) also states “provides such detailed supporting evidence as is reasonable in the circumstances, including evidence of the efficiency of the Load Related Expenditure.” This is not consistent with the revised wording elsewhere in 3.2. | Propose the wording in 3.2.76 is updated to: "provides such detailed supporting evidence as is reasonable in the circumstances, including evidence of the efficiency of the Load Related Expenditure." |  | Please refer to the LRE Re-opener log. | Closed
112 | 2022-11-24 | NPg | Part K, 3.2.76 (g) | Consistency | Delete "…, including evidence of the efficiency of the Load Related Expenditure" |  | Please refer to the LRE Re-opener log. | Closed
113 | 2023-01-17 | SPEN | SpC3.2 Reopeners (See for example ESR Re-opener, Digitilisation re-opener etc) | Under the reopener submission, the DNO has to provide evidence to justify why the expenditure is additional to that already provided for by ex ante allowances. Because of the different totex allocation process in ED2 compared to ED1, it is not easy for DNOs to identify specific allowances for all UM areas. We believe Ofgem need to list the relevant ex ante allowances for each UM area within the licence. Ofgem should provide this information to DNOs prior to the licence modification notice to give DNOs the opportunity to check the figures |  |  | We will provide this information alongside the licence modifications. | Closed
114 | 2023-01-17 | ENWL | 3.2.1 (a) | Drafting of "(a) set out the value of those Uncertain Costs terms that do not have a related Evaluative Price Control Deliverable" is incorrect. The section contains Cyber OT and IT (parts G and H) which do have Evaluative PCDs as per SpC3.4. Ofgem need to correct drafting through revision or 3.2.1 (a) |  |  | Yes, the cyber re-openers are part of this condition, but the related values are not set out in 3.2. | Closed
115 | 2023-01-17 | ENWL | 3.2.4 (l) (m) (n) | These are uncessary in ENWL version of specials as not included in Appendix 1 and therefore aren’t needed to be referenced in this section (3.2.4) | delete (l) (m) and (n) |  | We use [not used], where paragraphs are irrelevant to a particular licensee to maintain paragraph numbering in case of any future additions to the licence. | Closed
116 | 2023-01-17 | DNO Common | SpC 3.2 RIIO-2 Re-opener Guidance and Application Requirements Document PCFM | RPE allowances are not being calculated in the Price Control Financial Model (PCFM) for reopeners (these are classed as ‘RPEs Don’t Apply’). At the time of making a re-opener application, DNOs may have already incurred some actual costs. DNOs may be applying for modified allowances to reflect both actual and forecast costs. Depending on the nature of the re-opener and the manner in which the DNO proposes to deliver the associated activities, there may be a need to reflect RPE allowances for forecast cost elements of a re-opener. This creates a potential disconnect between allowances for incurred actual costs, which rightly should not have RPEs applied as they will be implicitly included in actual costs, and allowances for forecast costs, which should be uplifted for RPEs. Rather than a change in the PCFM (which may be complex across the actual and forecast costs included in the re-opener), we propose that an amendment is made to the RIIO-2 Re-opener Guidance and Application Requirements Document. An additional bullet point should be included in para 3.20 of this document allowing DNOs to apply for allowance adjustments that are inclusive of RPEs: Including Real Price Effects for both actual costs and forecast costs This would ensure RPEs are accounted for in both actual and forecast costs with no further amendments being required in the PCFM. | Extra bullet under para 3.20 of RIIO-2 Re-opener Guidance and Application Requirements Document: Including Real Price Effects for both actual costs and forecast costs |  | See SpC 9.4 Reopener Guidance issues log | Closed
117 | 2023-01-17 | DNO Common | SpC 3.2 | Most of the re-openers in SpC 3.2 (Uncertain Costs Re-openers) require that the DNO provides evidence that the allowances that are being applied for are not included within ex ante (non-variant) allowances that are provided in the Final Determination. The various Parts of SpC 3.2 require this in different ways, depending on the nature of the re-opener, for example: • “additional costs associated with such changes” (SpC 3.2.6) • “relative to the assumptions used by Ofgem to set allowances” (SpC 3.2.14) • “is not provided for by ex ante allowances” (SpC 3.2.75(c)) With the exception of those re-openers that have opening Price Control Deliverables (PCDs) ascribed in SpC 3.3, the value of the relevant ex ante allowances is neither set out on the face of the licence nor elsewhere. It is also not possible to infer the value of those ex ante allowances from any of the other licence documents. The relevant values can also not be identified or inferred from the cost assessment output files that Ofgem has shared with DNOs, because the ultimate allowances are not presented at a sufficient level of disaggregation. The DNOs, therefore in almost all circumstances, have no visibility of the relevant values that must be considered when demonstrating that the “tests” in SpC 3.2 have been met, or in proposing the values of allowance modifications that are required by the associated application requirements. This creates the risk of protracted discussions at the time of re-opener applications and the potential for applications to be inappropriately disallowed or reduced. Given how the licence conditions have been expressed with regards to ex ante allowances, the relevant ex ante allowance values for each re-opener need to be formally recorded. DNOs must be provided with the annual allowances that align to the scope of each re-opener that are included in ex ante allowances in order that they can meet the requirement to provide an annual profile for the proposed allowance adjustments, for example by providing DNOs with an updated version of the RIIO-ED2 Licence values and calculations document with these values included. The associated allowance calculations must also be provided for full transparency on the basis by which they have been derived. It is imperative that DNOs are given the opportunity to check these values prior to modification notices being issued. |  |  | We will provide this information alongside the licence modifications. | Closed
118 | 2023-01-17 | DNO Common | SpC 3.2 | Each Part of SpC 3.2 also makes reference to modifications to allowances being made relative to the re-opener terms in Appendix 1. Appendix 1 is currently completed as showing ‘N/A’ across all terms and years. Modifications cannot be requested against ‘N/A’. Therefore, these need to be amended to show zero. |  |  | Change made. | Closed
119 | 2023-01-17 | DNO Common | SpC 3.2 | The changes to reflect the introduction of new Part S (Authority instigated Re-openers) have not been enacted consistently. For example, paragraphs 3.2.12(b) and 3.2.73(b) still include the wording “if the modification has been requested by…” whereas this text has been removed for some of the other Parts where Part S can apply. Consistent wording should be used throughout to avoid confusion. |  |  | Change made. | Closed
120 | 2023-01-17 | NGED | SpC 3.2 RIIO-2 Re-opener Guidance and Application Requirements Document | For re-openers, it is critical that the basis of re-opener values is described, including whether these are stated before or after Non Price Control Allocations (NPCA). The Reopener Guidance then also needs to be clear on the basis of preparation of costs (including whether these are before or after NPCA) to make it consistent with the reference values. |  |  | See SpC 9.4 Reopener Guidance issues log | closed
121 | 2023-01-17 | NPg | SpC 3.2, paragraph 3.2.4 | The Cyber Resilience OT Re-opener and the Cyber Resilience IT Re-opener are missing from the list | Add The Cyber Resilience OT Re-opener as (f) and the Cyber Resilience IT Re-opener as (g) and re-number the following bullets accordingly |  | This is deliberate, as their values are not set out in this condition. | Closed
122 | 2023-01-17 | NPg | SpC 3.2, Appendix 1 | SpC 3.2.4 refers to values in Appendix 1 but N/A is not a value | Change all references to "N/A" to "0" |  | Change made | Closed
124 | 2023-01-17 | DNO Common (SSEN) | Re-opener Guidance and Application Requirements Document | There is a conflict between the guidance document and SpC3.12 Indirect Scalar. In the Re-opener document paragraph 3.20 bullet 3 states that re-opener applications should be on a gross basis including both direct and indirect costs except where the Re- opener mechanism is listed under the opex escalator (for GT and ET) or indirects scaler (for ED) term, where only direct costs should be included. However this causes a conflict in the case of Strategic Investment as the SINV term is created under the Load Re-opener. The licence does not list the Re-openers, rather it lists the variable value term of LRE, SRVD and LVSVD and so the licence is clear, however as the Guidance refers to the Re-openers, this means that any part of the Load Related Re-opener (of which SINV is a part) should be on a direct basis only. We recommend the guidance is revised to make it explicit that the indirects scalar only applies to three specific terms listed in SpC3.12 and Appendix 9 should explicitly state that any Strategic Investment component of the Load Related Re-opener should be on a gross cost basis, including both direct and indirect costs. | Revise para 3.20 to refer to the terms stated within SpC3.12. Include a new para in Appendix 9 stating that any Strategic Investment component of the Load Related Re-opener should include both direct and indirect costs (including business support costs). |  | See SpC 9.4 Reopener Guidance issues log | closed
125 | 2023-01-17 | DNO Common (SSEN) | Re-opener Guidance and Application Requirements Document | Paragraph 3.19 of the Guidance document states: When the adjustment sought relates to the level of allowances, a Re-opener application must include sufficient cost information to provide: • evidence to justify why the expenditure is additional to that already provided for by ex ante allowances, or that will be provided through other mechanisms • evidence to justify why the level of costs is efficient. Please note, the efficient level of costs will be determined at the time of any determination of a Re-opener application. Two revisions are needed to this para. Bullet one is clarification, and bullet two should remove the words "evidence to justify why the level of costs is efficient". These words have been agreed with Ofgem to be removed in the relevant sections of each of the SpC3.2 Re-openers, and so to have them included in the guidance is inconsistent with LDWG decisions and discussions, and the consultation on SpC3.2. | When the adjustment sought relates to the level of allowances, a Re-opener application must include sufficient cost information to provide: • evidence to justify why the expenditure is additional to that already provided for by relevant ex ante allowances, or that will be provided through other uncertainty mechanisms • evidence to justify why the level of costs is efficient. Please note, the efficient level of costs will be determined at the time of any determination of a Re-opener application. |  | See SpC 9.4 Reopener Guidance issues log | closed
126 | 2023-01-17 | DNO Common (SSEN) | Re-opener Guidance and Application Requirements Document | Appendix 10 for HVP para 1.4 states: Ofgem’s assessment of the efficient level of HVP expenditure will cover the total amount spent over the life of the project(s), and may include any adjustments to expenditure to reflect delayed or deferred projects The licence conditions do not make provision for such an adjustment, and neither does the FD refer to this policy. | Remove para 1.4 |  | Text amended in guidance | Closed
127 | 2023-01-17 | SSEN | 3.2 " where the modification to allowances is efficient." | Firstly, this wording could be read to mean that it is the modification or the modification process itself that must be efficient, rather than the revised costs which we believe to be the intent. Secondly, and more importantly, Ofgem does not specify a methodology or set of criteria for what is to be considered “efficient”. Under section 7(5) of the Electricity Act 1989, the condition must specify the: (a) time; (b) manner; and (c) circumstances in or under which a modification can be made. If such criteria are correctly set out in the condition itself, the licensee in question should be able to understand the potential impact on it of a future modification at the outset of the price control simply by reference to the condition. The inherent ambiguity in the language proposed by Ofgem does not provide the requisite level of specificity. The uncertainty in the process, combined with the lack of clear methodology or criteria relating to the substance of any potential assessment by Ofgem of efficiency means that it is difficult to fully understand the implications of any proposed modification, including the circumstances in or under which a modification can be made. | “the licensee has provided such detailed supporting evidence as is reasonable in the circumstances” |  | The CMA held that the Act requires the licence to state (in addition to the time and manner) the circumstances in which the Authority may modify the licence. The condition states that those circumstances include where the modification is efficient. Efficiency will be assessed by the Authority on the basis of evidence submitted by the licensee (including information explaining the basis on which any requested modification to the allowance has been calculated as is required by the licence as part of a reopener application) and using the cost assessment toolkit approach extensively described as part of setting the ED2 price control. We consider that requirement and the information the Authority has provided about its approach to cost assessment provides sufficient certainty on when expenditure will be considered efficient. | Closed
128 | 2023-01-17 | SSEN | 3.2 general - timing | The current drafting of SpC 3.2 does not provide any timescales in which a decision on a re-opener application will be made by the Authority. Given the number of uncertainty mechanisms in ED2, the new ‘best endeavours’ obligation in relation to tariff setting and the potentially large sums involved, uncertainty on the timing of decisions creates a significant issue for licensees. We recognise that some information is provided in the RIIO-2 Re-opener Guidance and Application Requirements, but considering the significance of this, we consider that information relating to the timing of decisions should be on the face of the licence. | “the Authority will, within three to six months of the close of the relevant application window.” |  | We do not agree that the timing for our decision on Re-opener applications should appear on the face of the licence. Further guidance on the timelines and the ways in which these will vary in relation to the complexity and completeness of the applications is provided in the Re-opener Guidance. | Closed
129 | 2023-01-17 | SPEN | 3.2.35 | Any ‘self-modification’ licence condition must meet the requirements of section 7(5) of the EA89. In the RIIO-T2 appeal, the CMA confirmed, in line with the statutory requirements, that in order for such a condition to be lawful, the condition must specify the: (a) time; (b) manner; and (c) circumstances in or under which a modification can be made. Under the condition the Authority may only make modifications if the modification to allowances is ""efficient"". We do not believe that this wording, without change or elaboration, sufficiently specifies the circumstances under which a modification can be made. It is therefore not possible for licensees to understand the potential impact on them of a future modification. Specifically Ofgem does not specify a methodology or set of criteria for what is to be considered ‘efficient’. It is not enough that this detail is included in an accompanying guidance document. The CMA made clear during the T2 determination that the circumstances in which the modification can be made, must be clear from the face of the condition. Without a set methodology or criteria, TOs are concerned that Ofgem could make a highly arbitrary assessment of efficiency which may not reflect the actual efficient costs to individual licensees of the activities for which funding is being requested, or reflect wider benefits of any potential intervention (e.g. environmental or societal). Further, with respect to the Environmental Reopener in particular, the need for additional allowances will be driven by changes in legislation or other requirements, which may not otherwise be justifiable as “efficient”. The methodology through which efficiencies will be assessed should be expanded upon in the drafting of the licene condition itself, such that it meets the requirements of section 7(5) EA89] |  |  | The CMA held that the Act requires the licence to state (in addition to the time and manner) the circumstances in which the Authority may modify the licence. The condition states that those circumstances include where the modification is efficient. Efficiency will be assessed by the Authority on the basis of evidence submitted by the licensee (including information explaining the basis on which any requested modification to the allowance has been calculated as is required by the licence as part of a reopener application) and using the cost assessment toolkit approach extensively described as part of setting the ED2 price control. We consider that requirement and the information the Authority has provided about its approach to cost assessment provides sufficient certainty on when expenditure will be considered efficient. In relation to the environmental re-opener, we still expect expenditure to meet legislative requirements to be efficient. | Closed
130 | 2023-01-17 | SPEN |  | Under the reopener submission, the DNO has to provide evidence to justify why the expenditure is additional to that already provided for by ex ante allowances. Because of the different totex allocation process in ED2 compared to ED1, it is not easy for DNOs to identify specific allowances for all UM areas. We believe Ofgem need to list the relevant ex ante allowances for each UM area within the licence. Ofgem should provide this information to DNOs prior to the licence modification notice to give DNOs the opportunity to check the figures |  |  | We will provide this information with licence modifications. | Closed