## SpC 3.10
Licence number and name: |  | Sp.C. 3.10 - 1-in-20 Severe Weather
Ofgem contact: |  | Herpreet Bhamra
No. | Date raised | Comment from | Reference (Part X, Para Y) | Comment | Suggested alternative drafting (if necessary) | Due Date | Response | Issue closed?
1 | 2022-08-24 | NPG | 3.10.1 Definition for 1-in-20 Severe Weather Event - Definitions Spreadsheet | Whether the term 'terrestrial' is necessary when describing a Severe Weather 1-20 event. There should be alignment between the SW 1-20 definition and the definition of a SW event under the IIS. | exclude 'extra terrestrial' events |  | Resolved as per issue no. 9. | Closed
2 | 2022-08-24 | NPG | 3.10.1 Definition for 1-in-20 Severe Weather Event - Definitions Spreadsheet | In Part B of the definition, the first element is missing (in comparison to the IIS definition) |  |  | We propose to add the following text to the definition of a 1-in-20 SW Event: "the event ends at a time determined by the Authority having regard to: such time as the licensee may have declared was the end of the severe weather event in its statement of facts submitted under paragraph 4.4.10(b) of Special Condition 4.4." This will align the definition of a SW event and a 1-in-20 SW event. | Closed
3 | 2022-08-24 | SSE | 3.10.3 Definition for "Restoration Costs" - RIGs | Suggest additions to the definition of the 'restoration costs': mobile generation and batteries to be included. |  |  | Resolved as per issue no. 10. | Closed
4 | 2022-08-24 | NPG | 3.10.2 | Suggest adding incurred 'restoration' and 'temporary accommodation' costs in this paragraph of the condition |  |  | Resolved as per issue no.19. | Closed
5 | 2022-08-24 | NPG | 3.10.3 Definition for "Temporary Accommodation Costs" - RIGs | definition of temporary accommodation costs: does it include direct payments to a hotel? Will propose wording. |  |  | Resolved as per issue no. 11. | Closed
6 | 2022-08-24 | UKPN | 3.10.3 Definition for "Restoration Costs" - RIGs | Definitions on restoration costs: back office support staff should be included to the definition to make it clear |  |  | Resolved as per issue no. 10. | Closed
7 | 2022-08-24 | ENWL | 3.10.3 Definition for "Temporary Accommodation Costs" - RIGs | Clarification on temporary accommodation costs: is it costs for food of customers that are offered temporary accommodation, or does it refer also to food tracks etc.? |  |  | Resolved as per issue no. 11. | Closed
8 | 2022-08-24 | UKPN | 3.10.3 Definition for "Temporary Accommodation Costs" - RIGs | Definition of temporary welfare costs: does it include public or members of staff welfare costs? |  |  | Resolved as per issue no. 11. | Closed
9 | 2022-08-31 | WPD | 3.10.1 Definition for 1-in-20 Severe Weather Event - Definitions Spreadsheet |  | 1-in-20 Severe Weather Event means a weather-related event that: (a) starts at the beginning of a 24-hour period when the number of Incidents caused by the weather-related event at Distribution Higher Voltage in that period is equal to or greater than the commencement threshold number specified in Appendix 1 to Special Condition 3.11 (Allowed Expenditure for 1-in-20 Severe Weather Events); and ( b) ends at a time determined by the Authority having regard to: i) such time as the licensee may have declared was the end of the 1-in-20 Severe Weather Event in its statement of facts; ii) the time of Restoration of the last Customer off supply due to a low voltage Incident linked to the underlying cause of the 1-in-20 Severe Weather Event (provided that the supply have been restored to all Customers off supply due to high voltage Incidents linked to the underlying cause of the 1-in-20 Severe Weather Event); and iii) the end of a 48-hour period, when the number of Customers off supply due to high voltage Incidents linked to the underlying cause of the 1-in-20 Severe Weather Event has fallen to zero. |  | We have amended the definition of a 1-in-20 Severe Weather Event as follows: "means a weather event that originates in the Earth's atmosphere, that causes a number of Incidents at Distribution Higher Voltage in any 24 hour periods, which exceeds the number specified in Appendix 1 to Special Condition 3.11 (Allowed Expenditure for 1-in-20 Severe Weather Events). The duration of the event is determined in accordance with the following: (a) the event starts at the beginning of a 24-hour period where the number of Incidents at Distribution Higher Voltage in that period is equal to or greater than the commencement threshold specified in Appendix 1 to Special Condition 3.11; and (b) the event ends at a time determined by the Authority having regard to: i) such time as the licensee may have declared was the end of the Severe Weather Event in its statement of facts submitted under paragraph 4.4.14(b) of Special Condition 4.4 (Interruptions incentives scheme output delivery incentive); ii) the time of restoration of the last Customer off supply due to a Low Voltage Incident linked to the underlying cause of the severe weather (provided that all Customers off supply due to Incidents at Distribution Higher Voltage linked to the underlying cause of the event have been restored); and iii) the end of a 48-hour period, when the number of Customers off supply due to Incidents at Distribution Higher Voltage linked to the underlying cause of the 1-in-20 Severe Weather Event has fallen to zero. | Closed
10 | 2022-08-31 | WPD | 3.10.3 Definition for "Restoration Costs" - RIGs |  | Restoration Costs means any costs incurred by the licensee in respect of a 1-in-20 Severe Weather Event in order to: i) restore supplies to any affected Customers, including any staff-related and contractor-related costs over and above those the licensee incurs in the normal course of its business, the carrying out of any necessary switching activity and the provision of temporary supplies via, but not limited to, mobile generation and facilities for the storage of electricity that are not owned by the licensee; ii) repair any faulted assets in order to return such assets to their Pre-Fault Availability; iii) replace faulted assets; iv) undertake work on any associated assets that is required due to the circumstances of the faulted asset, including factors such as the configuration, location or access constraints associated with the faulted asset; and v) undertake work on the same asset at the same time as the work set out in iv), including replacement of additional components or full replacement of the asset concerned even if repair of that asset would be possible. |  | We propose to amend the definition of Restoration Costs as follows: Restoration Costs means any costs incurred by the licensee in respect of a 1-in-20 Severe Weather Event in order to restore supplies to any affected Customers. This includes: i) staff-related and contractor-related costs over and above those the licensee incurs in the normal course of its business. This includes contact centre and support staff. ii) the carrying out of any necessary switching activity; iii) the provision of temporary supplies via, but not limited to, mobile generation and facilities for the storage of electricity that are not owned by the licensee; iv) undertaking work on faulted asset to return them to their Pre-Fault Availability. This includes the repair or replacement of additional components or full replacement of the asset concerned even if repair of that asset would be possible. v) undertaking work on any associated asset that is required due to the circumstances of the faulted asset, including factors such as the configuration, location or access constraints associated with the faulted asset. We propose to add this text to the ED2 LC Definitions spreadsheet. | Closed
11 | 2022-08-31 | WPD | 3.10.3 Definition for "Temporary Accommodation Costs" - RIGs |  | Customer Support Costs means the cost of payments made by the licensee to any Customer or other person for food, drink and/or temporary accommodation, in a hotel or otherwise, during a 1-in-20 Severe Weather Event, including as reimbursement to the Customer for such costs incurred or as payments made directly to the provider of such food, drink or temporary accommodation. |  | We propose to amend the definition as follows: Customer Support Costs means the cost of payments made by the licensee to any Customer for food, drink and/or temporary accommodation, in a hotel or otherwise, during a 1-in-20 Severe Weather Event. This includes reimbursement to the Customer for such costs incurred or as payments made directly to the provider of such food, drink or temporary accommodation. We propose to add this text to the ED2 LC Definitions spreadsheet. | Closed
12 | 2022-08-31 | WPD | RIGs |  | Other definitions required re terms currently in the RIGs: Incident means any occurrence on the licensee’s Distribution System or other connected distributed generation, transmission or distribution systems, which: i) results in a loss of supply of electricity to one or more Customers for three minutes or longer; or ii) prevents a circuit or item of equipment from carrying normal load current or being able to withstand through fault current for three minutes or longer. Pre-Fault Availability means the return of an asset to service with the same level of functionality it had before an Incident occurred. Restoration means the supply to any premises that has been interrupted has been restored such that the Customer is able to use the supply to the premises in the same manner as the supply could have been used before it was interrupted. |  | We propose to keep these definitions in the RIGs as they are used by multiple LCs / cost areas. | Closed
13 | 2022-09-05 | NPg | 3.10.1 Definition for 1-in-20 Severe Weather Event - Definitions Spreadsheet | Amend definition | Propose: "1-in-20 Severe Weather Event means a weather-related event that: (a) starts at the beginning of a 24-hour period when the number of Incidents caused by the weather-related event at Distribution Higher Voltage in that period is equal to or greater than the commencement threshold number specified in Appendix 1 to Special Condition 3.11 (Allowed Expenditure for 1-in-20 Severe Weather Events); and (b) ends at a time determined by the Authority having regard to: i) such time as the licensee may have declared was the end of the 1-in-20 Severe Weather Event in its statement of facts; ii) the time of Restoration of the last Customer off supply due to a low voltage Incident linked to the underlying cause of the 1-in-20 Severe Weather Event (provided that the supply has been restored to all Customers off supply due to high voltage Incidents linked to the underlying cause of the 1-in-20 Severe Weather Event); and iii) the end of a 48-hour period, when the number of Customers off supply due to high voltage Incidents linked to the underlying cause of the 1-in-20 Severe Weather Event has fallen to zero." |  | Resolved as per issue no.9. | Closed
14 | 2022-09-05 | NPg | 3.10.3 Definition for "Restoration Costs" - RIGs | Amend definition | Propose: Restoration Costs means any costs incurred by the licensee in respect of a 1-in-20 Severe Weather Event in order to: i) restore supplies to any affected Customers, including but not limited to any staff-related and contractor-related costs, costs relating to any contact centre operated by the licensee and costs of any necessary support staff, the carrying out of any necessary switching activity and the provision of temporary supplies via, but not limited to, mobile generation and facilities for the storage of electricity that are not owned by the licensee; ii) repair any faulted assets in order to return such assets to their Pre-Fault Availability; iii) replace faulted assets; iv) undertake work on any associated assets that is required due to the circumstances of the faulted asset, including factors such as the configuration, location or access constraints associated with the faulted asset; and v) undertake work on the same asset at the same time as the work set out in iv), including replacement of additional components or full replacement of the asset concerned even if repair of that asset would be possible. |  | Resolved as per issue no. 10. | Closed
15 | 2022-09-05 | NPg | 3.10.3 Definition for "Temporary Accommodation Costs" - RIGs | Change defined term and amend definition | Propose change defined term to be “Customer Support Costs” and “Customer Support Costs means the cost of payments made by the licensee to any Customer or other person for food, drink and/or temporary accommodation, in a hotel or otherwise, during a 1-in-20 Severe Weather Event, including as reimbursement to the Customer for such costs incurred or as payments made directly to the provider of such food, drink or temporary accommodation.” |  | Resolved as per issue no. 11. We have also amended para 3.10.3 and changed "Temporary Accommodation Costs" to "Customer Support Costs" | Closed
16 | 2022-09-05 | NPg | Definitions Spreadsheet / RIGs | Definition of "Incident" based on that in the RIGs will be required | Propose “Incident means any occurrence on the licensee’s Distribution System or other connected distributed generation, transmission or distribution systems, which: i) results in a loss of supply of electricity to one or more Customers for three minutes or longer; or ii) prevents a circuit or item of equipment from carrying normal load current or being able to withstand through fault current for three minutes or longer. |  | Resolved as per issue no. 12 above. | Closed
17 | 2022-09-05 | NPg | Definitions Spreadsheet / RIGs | Definition of "Pre-Fault Availability" based on that in the RIGs will be required | Propose: "Pre-Fault Availability means the return of an asset to service with the same level of functionality it had before an Incident occurred." |  | Resolved as per issue no. 12 above. | Closed
18 | 2022-09-05 | NPg | Definitions Spreadsheet / RIGs | Definition of "Restoration" based on that in the RIGs will be required | Propose: “Restoration means the supply to any premises that has been interrupted has been restored such that the Customer is able to use the supply to the premises in the same manner as the supply could have been used before it was interrupted.” |  | Resolved as per issue no. 12 above. | Closed
19 | 2022-09-05 | NPg | 3.10.2 | Reference Restoration Costs and Customer Support Costs | Change “… incurred costs as a result …” to “… incurred Restoration Costs and Customer Support Costs as a result …” |  | We have amended para 3.10.2 as follows: The effect of this condition is to provide additional allowances where the licensee has incurred Restoration Costs and Customer Support Costs as a result of a 1-in-20 Severe Weather Event. | Closed
20 | 2022-09-05 | NPg | 3.10.3 | Reference Customer Support Costs in definition of VAEWt | Change “… the Temporary Accommodation Costs incurred …” to “… the Customer Support Costs incurred …” |  | Resolved as per issue no. 15. | Closed
21 | 2022-09-05 | SSEN | 3.10.1 Definition for 1-in-20 Severe Weather Event - Definitions Spreadsheet | Suggested amendments to the definition. | 1-in-20 Severe Weather Event means a weather-related event that: (a) starts at the beginning of a 24-hour period when the number of Incidents caused by the weather-related event at Distribution Higher Voltage in that period is equal to or greater than the commencement threshold number specified in Appendix 1 to Special Condition 3.11 (Allowed Expenditure for 1-in-20 Severe Weather Events); and (b) ends at a time determined by the Authority having regard to: i) such time as the licensee may have declared was the end of the 1-in-20 Severe Weather Event in its statement of facts; ii) the time of Restoration of the last Customer off supply due to a low voltage Incident linked to the underlying cause of the 1-in-20 Severe Weather Event (provided that the supply have been restored to all Customers off supply due to high voltage Incidents linked to the underlying cause of the 1-in-20 Severe Weather Event); and iii) the end of a 48-hour period, when the number of Customers off supply due to high voltage Incidents linked to the underlying cause of the 1-in-20 Severe Weather Event has fallen to zero. |  | Resolved as per issue no. 9. | Closed
22 | 2022-09-05 | SSEN | 3.10.3 Definition for "Restoration Costs" - RIGs | Suggested amendments to the definition to for clarity on the costs that are included. | Restoration Costs means any costs incurred by the licensee in respect of a 1-in-20 Severe Weather Event in order to: i) restore supplies to any affected Customers, including but not limited to any staff-related and contractor-related costs, costs relating to any contact centre operated by the licensee and costs of any necessary support staff, the carrying out of any necessary switching activity and the provision of temporary supplies via, but not limited to, mobile generation and facilities for the storage of electricity that are not owned by the licensee; ii) repair any faulted assets in order to return such assets to their Pre-Fault Availability; iii) replace faulted assets; iv) undertake work on any associated assets that is required due to the circumstances of the faulted asset, including factors such as the configuration, location or access constraints associated with the faulted asset; and v) undertake work on the same asset at the same time as the work set out in iv), including replacement of additional components or full replacement of the asset concerned even if repair of that asset would be possible. |  | Resolved as per issue no. 10. | Closed
23 | 2022-09-05 | SSEN | 3.10.3 Definition for "Temporary Accommodation Costs" - RIGs | Suggest rename to Customer Support Costs (as this definition includes food/drink as well as accommodation costs. Also suggest amendments to the definition. | Customer Support Costs means the cost of payments made by the licensee to any Customer or other person for food, drink and/or temporary accommodation, in a hotel or otherwise, during a 1-in-20 Severe Weather Event, including as reimbursement to the Customer for such costs incurred or as payments made directly to the provider of such food, drink or temporary accommodation. Other definitions required re terms currently in the RIGs: Incident means any occurrence on the licensee’s Distribution System or other connected distributed generation, transmission or distribution systems, which: i) results in a loss of supply of electricity to one or more Customers for three minutes or longer; or ii) prevents a circuit or item of equipment from carrying normal load current or being able to withstand through fault current for three minutes or longer. Pre-Fault Availability means the return of an asset to service with the same level of functionality it had before an Incident occurred. Restoration means the supply to any premises that has been interrupted has been restored such that the Customer is able to use the supply to the premises in the same manner as the supply could have been used before it was interrupted. |  | Resolved as per issues 11 and 12. | Closed
24 | 2022-09-05 | SPEN | 3.10.1 Definition for 1-in-20 Severe Weather Event - Definitions Spreadsheet | A more suitable definition has been discussed and drafted amongst DNOs | Proposed amended definitions: 1-in-20 Severe Weather Event means a weather-related event that: (a) starts at the beginning of a 24-hour period when the number of Incidents caused by the weather-related event at Distribution Higher Voltage in that period is equal to or greater than the commencement threshold number specified in Appendix 1 to Special Condition 3.11 (Allowed Expenditure for 1-in-20 Severe Weather Events); and (b) ends at a time determined by the Authority having regard to: i) such time as the licensee may have declared was the end of the 1-in-20 Severe Weather Event in its statement of facts; ii) the time of Restoration of the last Customer off supply due to a low voltage Incident linked to the underlying cause of the 1-in-20 Severe Weather Event (provided that the supply have been restored to all Customers off supply due to high voltage Incidents linked to the underlying cause of the 1-in-20 Severe Weather Event); and iii) the end of a 48-hour period, when the number of Customers off supply due to high voltage Incidents linked to the underlying cause of the 1-in-20 Severe Weather Event has fallen to zero. |  | Resolved as per issue no.9. | Closed
25 | 2022-09-05 | SPEN | 3.10.3 Definition for "Restoration Costs" - RIGs |  | Restoration Costs means any costs incurred by the licensee in respect of a 1-in-20 Severe Weather Event in order to: i) restore supplies to any affected Customers, including any staff-related and contractor-related costs over and above those the licensee incurs in the normal course of its business, the carrying out of any necessary switching activity and the provision of temporary supplies via, but not limited to, mobile generation and facilities for the storage of electricity that are not owned by the licensee; ii) repair any faulted assets in order to return such assets to their Pre-Fault Availability; iii) replace faulted assets; iv) undertake work on any associated assets that is required due to the circumstances of the faulted asset, including factors such as the configuration, location or access constraints associated with the faulted asset; and v) undertake work on the same asset at the same time as the work set out in iv), including replacement of additional components or full replacement of the asset concerned even if repair of that asset would be possible. |  | Resolved as per issue no. 10. | Closed
26 | 2022-09-05 | SPEN | 3.10.3 Definition for "Temporary Accommodation Costs" - RIGs |  | Customer Support Costs means the cost of payments made by the licensee to any Customer or other person for food, drink and/or temporary accommodation, in a hotel or otherwise, during a 1-in-20 Severe Weather Event, including as reimbursement to the Customer for such costs incurred or as payments made directly to the provider of such food, drink or temporary accommodation. |  | Resolved as per issue no. 11. | Closed
27 | 2022-09-05 | SPEN | Definitions Spreadsheet / RIGs |  | Other definitions required re terms currently in the RIGs: Incident means any occurrence on the licensee’s Distribution System or other connected distributed generation, transmission or distribution systems, which: i) results in a loss of supply of electricity to one or more Customers for three minutes or longer; or ii) prevents a circuit or item of equipment from carrying normal load current or being able to withstand through fault current for three minutes or longer. Pre-Fault Availability means the return of an asset to service with the same level of functionality it had before an Incident occurred. Restoration means the supply to any premises that has been interrupted has been restored such that the Customer is able to use the supply to the premises in the same manner as the supply could have been used before it was interrupted. |  | Resolved as per issue no. 12. | Closed
28 | 2022-09-05 | SPEN | 3.10.1 Definition for 1-in-20 Severe Weather Event - Definitions Spreadsheet | Whether the term 'terrestrial' is necessary when describing a Severe Weather 1-20 event. There should be alignment between the SW 1-20 definition and the definition of a SW event under the IIS. | exclude 'extra terrestrial' events |  | Resolved as per issue no. 1. | Closed
29 | 2022-09-02 | UKPN | 3.10.1 Definition for 1-in-20 Severe Weather Event - Definitions Spreadsheet | Proposed amended definition: 1-in-20 Severe Weather Event means a weather-related event that: (a) starts at the beginning of a 24-hour period when the number of Incidents caused by the weather-related event at Distribution Higher Voltage in that period is equal to or greater than the commencement threshold number specified in Appendix 1 to Special Condition 3.11 (Allowed Expenditure for 1-in-20 Severe Weather Events); and (b) ends at a time determined by the Authority having regard to: i) such time as the licensee may have declared was the end of the 1-in-20 Severe Weather Event in its statement of facts; ii) the time of Restoration of the last Customer off supply due to a low voltage Incident linked to the underlying cause of the 1-in-20 Severe Weather Event (provided that the supply have been restored to all Customers off supply due to high voltage Incidents linked to the underlying cause of the 1-in-20 Severe Weather Event); and iii) the end of a 48-hour period, when the number of Customers off supply due to high voltage Incidents linked to the underlying cause of the 1-in-20 Severe Weather Event has fallen to zero. |  |  | Resolved as per issue no. 9. | Closed
30 | 2022-09-02 | UKPN | 3.10.3 Definition for "Restoration Costs" - RIGs | Proposed amended definition: Restoration Costs means any costs incurred by the licensee in respect of a 1-in-20 Severe Weather Event in order to: i) restore supplies to any affected Customers, including any staff-related and contractor-related costs over and above those the licensee incurs in the normal course of its business, the carrying out of any necessary switching activity and the provision of temporary supplies via, but not limited to, mobile generation and facilities for the storage of electricity that are not owned by the licensee; ii) repair any faulted assets in order to return such assets to their Pre-Fault Availability; iii) replace faulted assets; iv) undertake work on any associated assets that is required due to the circumstances of the faulted asset, including factors such as the configuration, location or access constraints associated with the faulted asset; and v) undertake work on the same asset at the same time as the work set out in iv), including replacement of additional components or full replacement of the asset concerned even if repair of that asset would be possible. |  |  | Resolved as per issue no. 10. | Closed
31 | 2022-09-02 | UKPN | Definitions Spreadsheet / RIGs | Other definitions required re terms currently in the RIGs: Incident means any occurrence on the licensee’s Distribution System or other connected distributed generation, transmission or distribution systems, which: i) results in a loss of supply of electricity to one or more Customers for three minutes or longer; or ii) prevents a circuit or item of equipment from carrying normal load current or being able to withstand through fault current for three minutes or longer. Pre-Fault Availability means the return of an asset to service with the same level of functionality it had before an Incident occurred. Restoration means the supply to any premises that has been interrupted has been restored such that the Customer is able to use the supply to the premises in the same manner as the supply could have been used before it was interrupted. |  |  | Resolved as per issue no. 12. | Closed
32 | 2022-09-05 | ENWL | 3.11.1 | Can Ofgem please explain why this is treated in Ch 3 totex and not Ch6 pass-through? |  |  | We have situated this licence condition in Chapter 3 because it is a variable totex allowance. | Closed
33 | 2022-09-05 | ENWL | 3.10.1 Definition for 1-in-20 Severe Weather Event - Definitions Spreadsheet | Proposed revision to the 1-in-20 Severe Weather Event definition | 1-in-20 Severe Weather Event means a weather-related event that: (a) starts at the beginning of a 24-hour period when the number of Incidents caused by the weather-related event at Distribution Higher Voltage in that period is equal to or greater than the commencement threshold number specified in Appendix 1 to Special Condition 3.11 (Allowed Expenditure for 1-in-20 Severe Weather Events); and (b) ends at a time determined by the Authority having regard to: i) such time as the licensee may have declared was the end of the 1-in-20 Severe Weather Event in its statement of facts; ii) the time of Restoration of the last Customer off supply due to a low voltage Incident linked to the underlying cause of the 1-in-20 Severe Weather Event (provided that the supply has been restored to all Customers off supply due to high voltage Incidents linked to the underlying cause of the 1-in-20 Severe Weather Event); and iii) the end of a 48-hour period, when the number of Customers off supply due to high voltage Incidents linked to the underlying cause of the 1-in-20 Severe Weather Event has fallen to zero. |  | Resolved as per issue no.9. | Closed
34 | 2022-09-05 | ENWL | 3.10.3 Definition for "Restoration Costs" - RIGs | We recognise that it is the intent to define Restoration Costs in the RIGS rather than the licence, however as this is new, suggest that the definition is recorded and agreed at LDWG for transparency when reviewing the licence. Our proposed definition for Restoration Costs is shown here | Restoration Costs means any costs incurred by the licensee in respect of a 1-in-20 Severe Weather Event in order to: i) restore supplies to any affected Customers, including but not limited to any staff-related and contractor-related costs, costs relating to any contact centre operated by the licensee and costs of any necessary support staff, the carrying out of any necessary switching activity and the provision of temporary supplies via, but not limited to, mobile generation and facilities for the storage of electricity that are not owned by the licensee; ii) repair any faulted assets in order to return such assets to their Pre-Fault Availability; iii) replace faulted assets; iv) undertake work on any associated assets that is required due to the circumstances of the faulted asset, including factors such as the configuration, location or access constraints associated with the faulted asset; and v) undertake work on the same asset at the same time as the work set out in iv), including replacement of additional components or full replacement of the asset concerned even if repair of that asset would be possible. |  | Resolved as per issue no. 10. We think that the additional text (costs relating to any contact centre operated by the licensee and costs of any necessary support staff) is incorporated in the definition proposed under issue no. 10. | Closed
35 | 2022-09-05 | ENWL | Definitions | We recognise that it is the intent to define Temporary Accommodation Costs in the RIGS rather than the licence, however as this is new, suggest that the definition is recorded and agreed at LDWG for transparency when reviewing the licence. We propose an alternative title which we consider is more reflective of the activity and change from Temporary Accommodation Costs to Customer Support Costs. Our proposed definition is shared here | Customer Support Costs means the cost of payments made by the licensee to any Customer or other person for food, drink and/or temporary accommodation, in a hotel or otherwise, during a 1-in-20 Severe Weather Event, including as reimbursement to the Customer for such costs incurred or as payments made directly to the provider of such food, drink or temporary accommodation. |  | Proposed as per issue no. 11. | Closed
36 | 2022-10-27 | ENWL | Appendix 1 | Align table header to definition of 1 in 20 Severe Weather Event by replacing the words high voltage with Distribution Higher Voltage | Commencement threshold number (number of Distribution Higher Voltage weather related incidents in a 24 hour period) |  | We have amended the header of Table to read: "Commencement threshold number (number of Distribution Higher Voltage weather related incidents in a 24 hour period)" | Closed
37 | 2022-11-10 | SPEN | Definitions | Customer Support Costs - requires inclusion of "Welfare" to ensure covering all potential costs incurred. Including welfare costs such as portable toilets, blankets, gas heaters, torches, fuel for customer generators. | means the cost of payments made by the licensee to any Customer for food, drink, welfare and/or temporary accommodation, in a hotel or otherwise, during a 1-in-20 Severe Weather Event. This includes reimbursement to the Customer for such costs incurred or as payments made directly to the provider of such food, drink or temporary accommodation. |  | We haven't included the term welfare. This is because DNOs may procure these capabilities in BAU (ready for any storm response) and may use these capabilities for storm response that do not meet the 1-in-20 thresholds. | Closed
38 | 2022-10-26 | NPg | Definition of "1-in-20 Severe Weather Event" | "periods" should be singular, capitalise "restoration" and make it a defined term and "low voltage" is a defined term | Change definition to "means ... a number of Incidents at Distribution Higher Voltage in any 24-hour period, ... ii) the time of Restoration of the last Customer off supply due to a Low Voltage Incident...” |  | We have made the proposed changes in relation to the text referring to "period" and "low voltage". We have also defined and capitalised the term Restoration. | Closed
39 | 2022-10-26 | NPg | Definition of "Restoration" | Ofgem has said in the issues log that the definition should be by reference to the definition in the RIGs but the definition in the RIGs is caveated by the words "For the purposes of the IIS", which means that definition does not apply to this condition | Either remove the words "For the purposes of the IIS from the RIGs and insert a definition into the spreadsheet that is "has the meaning given to that term in the RIGs." or insert a definition that is "means the supply to any premises that has been interrupted has been restored such that the Customer is able to use the supply to the premises in the same manner as the supply could have been used before it was interrupted.” |  | We have defined the term Restoration and included this in the ED2 Definitions spreadsheet | Closed
40 | 2022-10-26 | NPg | Definition of "Restoration Costs" | "asset" should be plural | Change to "(iv) undertaking work on faulted assets to …" |  | We have made the proposed change | Closed
41 | 2022-10-26 | NPg | Definition of "Pre-fault Availability" | Ofgem has said in the issues log that the definition should be by reference to the definition in the RIGs | Insert a definition into the spreadsheet that is "has the meaning given to that term in the RIGs." |  | We have defined the term Pre-fault Availability and included this in the ED2 Definitions spreadsheet. The definition in the spreadsheet says that this term has the meaning given to that term in the RIGs | Closed
42 | 2022-10-26 | NPg | Definition of "Customer Support Costs" | Clarification that the definition includes payments made to the Customer and directly to the provider | Change to "means the cost of payments made by the licensee for food, drink and/or temporary accommodation, in a hotel or otherwise, during a 1-in-20 Severe Weather Event, including reimbursement to the Customer for such costs incurred and payments made directly to the provider of such food, drink or temporary accommodation" |  | We have kept the original drafting. We believe that the definition is clear. | Closed
43 | 2022-10-21 | UKPN | Para 3.10.2 | Definition of Restoration Costs. Sub clause i) contradicts sub clause iv) and is vague - normal course of business is not a defined term and includes storm related restorations. | means any costs incurred by the licensee in respect of a 1-in-20 Severe Weather Event in order to restore supplies to any affected Customers. This includes: i) staff-related and contractor-related costs over and above those the licensee incurs in the normal course of its business. This includes contact centre and support staff. i) The cost of staff, contractors, materials and other costs in relation to the activities defined in points ii to v below. ii) the carrying out of any necessary switching activity; iii) the provision of temporary supplies via, but not limited to, mobile generation and facilities for the storage of electricity that are not owned by the licensee; iv) undertaking work on faulted asset to return them to their Pre-Fault Availability. This includes the repair or replacement of additional components or full replacement of the asset concerned even if repair of that asset would be possible. v) undertaking work on any associated asset that is required due to the circumstances of the faulted asset, including factors such as the configuration, location or access constraints associated with the faulted asset. |  | We are proposing to implement part of the proposed changes. We do not think there is a contradiction between sub-clause (i) and (iv), therefore we have not included the proposed text for sub-clause (i). We think there is precedence for using the term "normal course of business," noting that the definition of a Mature Innovation Project, includes reference to business-as-usual operations. Our intention in using this term is to ensure that staff costs incurred through the normal course of business (i.e. wages), are not passed-through this mechanism. We think that the drafted text achieves this, therefore we have not included the proposed text for sub-clause (i). We have decided to move reference to contact centre and support staff into the definition for Customer Support Costs. We think that these costs better match the description of this category. | Closed
44 | 2022-10-21 | UKPN | Para 3.10.2 | Suggest extension of definition of Customer Support Costs to exclude compensation payments. Repetition removed. | means the cost of payments made reimbursing expenses by the licensee to any Customer or supplier to a customer for food, drink and/or temporary accommodation, in a hotel or otherwise, during a 1-in-20 Severe Weather Event. This includes reimbursement to the Customer for such costs incurred or as payments made directly to the provider of such food, drink or temporary accommodation. This also includes additional contact centre and support staff incurred during a 1-in-20 Severe Weather Event. [For the avoidance of doubt this does not include compensation payments made to customers under the relevant GSOP standard, but does include voluntary compensation payments made over and above the GSOP requirements]. |  | We have amended the definition to include the cost of contact centre and support staff over and above those the licensee incurs in the normal course of its business. For the avoidance of doubt, this category does not include voluntary compensation payments made over and above the GSoP requirements, unless this relates to reimbursing expenses made to a customer for food, drink or temporary accommodation. | Closed
45 | 2022-10-21 | UKPN | 3.10.1 | The reference to being within the Earth's atmosphere should be removed as it is superfluous |  |  | This issue was discussed at the LDWG meeting. We believe that the current drafting is appropriate. | Closed
FORMAL LICENCE CONDITION RESPONSES BELOW
46 | 2023-01-17 | DNO Common | Customer Support Costs | DNOs had requested that Customer Support Costs also includes "Welfare" to ensure covering all potential costs incurred, such as portable toilets, blankets, gas heaters, torches, fuel for customer generators. Via the issues logs Ofgem said ‘We haven't included the term welfare. This is because DNOs may procure these capabilities in BAU (ready for any storm response) and may use these capabilities for storm response that do not meet the 1-in-20 thresholds. However, by its very nature, a 1 in 20 event is not BAU and that is why additional Customer Support Expenditure is incurred. It cannot be assumed that DNOs will have a stockpile of welfare items that can cover everything a customer would need. The defined term should be updated to include welfare costs. | Update defined term |  | We have added the following sup-paragraph to the definition to Customer Support Costs: "(b) providing a Customer with welfare items during a 1-in-20 Severe Weather Event. This includes the procurement of items such as portable toilets, blankets, gas heaters, torches, fuel for customer generators; and" | Closed
47 | 2023-01-17 | ENWL | Appendix 1 | Should be correctly named to Severe Weather 1-in-20 threshold |  |  | We have changed the title of Appendix to "1-in-20 Severe Weather Event thresholds" | Closed
48 | 2023-01-17 | DNO Common | SpC 3.10 | The values in Appendix 1 need to be updated for the latest figures (after incorporation of the latest year’s performance data in calculations). |  |  | Appendix 1 will be updated together with the GSoPs later in 2023. | Closed
49 | 2023-01-17 | NPg | SpC 1.2.4, definition of Restoration Costs bullet iv) | "Pre-fault Availability" is the defined term | Change "Pre-Fault" to "Pre-fault" |  | We have made the proposed change. | Closed
50 | 2023-01-17 | SPEN | Definitions | We had requested that Customer Support Costs also includes "Welfare" to ensure covering all potential costs incurred such as portable toilets, blankets, gas heaters, torches, fuel for customer generators. Via the issues logs Ofgem said ‘We haven't included the term welfare. This is because DNOs may procure these capabilities in BAU (ready for any storm response) and may use these capabilities for storm response that do not meet the 1-in-20 thresholds. However, by its very nature, a 1 in 20 event is not BAU and that is why additional Customer Support Expenditure is incurred. It cannot be assumed that DNOs will have a stockpile of welfare items that can cover everything a customer would need. | means the cost of payments made by the licensee to any Customer for food, drink, welfare and/or temporary accommodation, in a hotel or otherwise, during a 1-in-20 Severe Weather Event. T accommodation. |  | Resolved as per item 46. | Closed
51 | 2022-12-29 | UKPN | 1-in-20 Severe Weather Event | Decapitalise Earth as it is not defined |  |  | We note that the term Earth is capitalised when in reference to the planet and not capitalised when referring to the ground. Therefore we have not made the proposed change. | Closed
52 | 2022-12-16 | UKPN | Defined term of Restoration (in definitions condition) | The term "restoration" is used elsewhere in the licence in both non-capitalised IIS form and as part of a defined term - if the defined term of "Restoration" is only for this condition then this should be made clearer in the definition to avoid reading it across in error to other uses of the same word |  |  | We note that the term Restoration is used in the definition for a 1-in-20 Severe Weather Event. We have capitalised this instance of its use. We also note that the term restoration is used in its capitalised and non-capitalised form in other licence conditions. We have reviewed these instances to ensure that the term is being used in its correct form across the licence. | Closed