## SpC 3.5
Licence number and name: |  | SLC3.5 PCB volume driver
Ofgem contact: |  | Zoe Cornish
No. | Date raised | Comment from | Reference (Part X, Para Y) | Comment | Suggested alternative drafting (if necessary) | Due Date | Response | Issue closed?
1 | 2022-08-24 | WPD | General | Does the unit cost factor in things like real price effects? |  |  | Question directed to Cost Team - RPEs confirmed to be applied post modelling. | Closed
2 | 2022-08-24 | SPEN | General | Unit rate needs to allow for the replacement of associated assets, not just PMTs |  |  | We have not currently included 'associated assets' with the replacement of a PMT as we believe associated assets in poor condition should already be captured in other areas of the busines plan, i.e. within NARMs. Discussions ongoing in this area. We are proposing to calculate unit costs for PMTs and to include a menu of unit rates to accommodate upsizing where justified. This is sitting with the cost team and discussions are ongoing. | Closed
3 | 2022-08-24 | NPg | General | What is the definition of PCB interventions? | WPD "there may be a previous document submitted to Ofgem earlier this year that helps this" |  | The 'PCB Interventions' definition proposed by DNOs includes the replacement of associated assets. We have not currently included associated assets within the volume driver scope. We will consider the feedback provided by DNOs and confirm the definition of 'PCB Interventions' following further discussions. | Closed
4 | 2022-09-05 | SPEN | General | 1. The volume driver drafting does not capture need for Pole Mounted Transformers (PMTs) AND associated asset interventions (specifically poles and switchgear). Ofgem said this was raised at the policy group and they were considering. | 1. The PCBA term should include terms to capture costs associated with poles and with switchgear. The definition should also reference these. |  | We have not currently included 'associated assets' with the replacement of a PMT as we believe associated assets in poor condition should already be captured in other areas of the busines plan, i.e. within NARMs. Discussions ongoing in this area. We are proposing to calculate unit costs for PMTs and to include a menu of unit rates to accommodate upsizing where justified. This is sitting with the cost team and discussions are ongoing. | Closed
5 | 2022-09-05 | SPEN | General | 2. In some instances, DNOs will choose to replace a PMT with a Ground Mounted Transformer (GMT) where this is more efficient. This point was not raised at LDWG. | 2. The PCBA term should include terms to capture costs associated with GMTs. In some cases, DNOs may be required to replace a PMT with a GMT if the forecast load growth exceeds the capacity that can be supplied by a PMT. The definition below should also reference this. |  | We have not currently included 'associated assets' with the replacement of a PMT as we believe associated assets in poor condition should already be captured in other areas of the busines plan, i.e. within NARMs. Discussions ongoing in this area. We are proposing to calculate unit costs for PMTs and to include a menu of unit rates to accommodate upsizing where justified. This is sitting with the cost team and discussions are ongoing. | Closed
6 | 2022-09-05 | SPEN | General | 3. A clear definition for the term “PCB Interventions” is required in the licence. Ofgem requested DNO suggestions on this. | “PCB Interventions”, in the context and scope of the PCBs Volume Driver, means any work undertaken by the licensee on pole-mounted transformers and associated poles and pole-mounted switchgear in order to comply with the PCBs Regulations and such work may involve the installation of a ground-mounted transformer in some circumstances where the forecast load growth exceeds the capacity that can be supplied by a pole-mounted transformer. “PCBs” has meaning given to that term at Regulation 2(1) of either of the PCBs Regulations. “PCBs Regulations” means: In the case of England and Wales, the Environmental Protection (Disposal of Polychlorinated Biphenyls and other Dangerous Substances) (England and Wales) Regulations 2000, and any amendment to it. In the case of Scotland, the Environmental Protection (Disposal of Polychlorinated Biphenyls and other Dangerous Substances) (Scotland) Regulations 2000, and any amendment to it |  | The 'PCB Interventions' definition proposed by DNOs includes the replacement of associated assets. We have not currently included associated assets within the volume driver scope. We will consider the feedback provided by DNOs and confirm the definition of 'PCB Interventions' following further discussions. | Closed
7 | 2022-09-05 | SPEN | General | 4. PMTs, GMTs, poles and switchgear will each have multiple different unit cost options. Ofgem said this was recognised and the exact number of unit cost categories is being considered by Ofgem. | The number of unit costs within each asset category and the level of unit costs should be taken from DNOs CV22 submission or Ofgem’s disaggregated assessment of CV7 costs. This would result in the following cost categories: a. PMTs: 10 categories, unit costs taken from CV22 table rows 175-186 b. GMTs: 2 categories, unit costs taken from Ofgem’s disaggregated assessment of CV7 costs c. Poles: 2 categories, unit costs taken from Ofgem’s disaggregated assessment of CV7 costs d. Switchgear: 6 categories, unit costs taken from Ofgem’s disaggregated assessment of CV7 costs |  | We are proposing to calculate unit costs for PMTs and to include a menu of unit rates to accommodate upsizing where justified. This is sitting with the cost team and discussions are ongoing in this area. | Closed
8 | 2022-09-05 | SPEN | General | SPEN paper copied to help with context |  |  | The feedback will be considered as part of our discussions. | Closed
9 | 2022-09-05 | SSEN | 3.5.3 | It would be helpful to confirm that the Authority could allow the volume driver to apply in the last two years of the price control. | For regulatory years 2026/27 and 2027/28 the authority has the sole discretion to continue to apply the formula in paragraph 3.5.3. |  | Due to the legislative compliance deadline, in our view, it is not appropriate for this mechanism to exist beyond the legislative compliance deadline. We believe that it is in the best interest of consumers to ensure that consumers only pay for the assets that are mandated to be replaced relative to the DNOs’ compliance obligation with the PCB Regulations. We expect for this activity to be aligned with the legislation, and any extension to the legislation may also result in an extension to the mechanism. | Closed
10 | 2022-09-05 | SSEN | 3.5.3 | We are unclear how the tiered unit rates in the DD (para 3.177 of the Core Methodology) will be captured. |  |  | We are proposing to calculate unit costs for PMTs and to include a menu of unit rates to accommodate upsizing where justified. This is sitting with the cost team and discussions are ongoing. | Closed
11 | 2022-09-05 | SSEN | Definition of PCB Intervention | See proposed definition. | “PCBs Interventions”, in the context and scope of the PCBs Volume Driver, means any work undertaken by the licensee on pole mounted transformers and associated pole and pole mounted switchgear in order to comply with the PCBs Regulations, and such work may involve the installation of a ground mounted transformer in some circumstances if the forecast load growth exceeds the capacity that can be supplied by a pole mounted transformer. “PCBs” has meaning given to that term at Regulation 2(1) of either of the PCB Regulations. “PCBs Regulations” means: In the case of England and Wales, the Environmental Protection (Disposal of Polychlorinated Biphenyls and other Dangerous Substances) (England and Wales) Regulations 2000, and any amendment to it. In the case of Scotland, the Environmental Protection (Disposal of Polychlorinated Biphenyls and other Dangerous Substances) (Scotland) Regulations 2000, and any amendment to it. |  | The 'PCB Interventions' definition proposed by DNOs includes the replacement of associated assets. We have not currently included associated assets within the volume driver scope. We will consider the feedback provided by DNOs and confirm the definition of 'PCB Interventions' following further discussions. | Closed
12 | 2022-09-05 | SSEN | Unit costs | The number of unit costs within each asset category and the level of unit costs should be taken from DNOs CV22 submission or Ofgem’s disaggregated assessment of CV7 costs |  |  | We are proposing to calculate unit costs for PMTs and to include a menu of unit rates to accommodate upsizing where justified. This is sitting with the cost team and discussions are ongoing. | Closed
13 | 2022-09-05 | NPg | Definition of PCB Interventions | Clarify definition | Propose: “PCB Interventions means any work undertaken by the licensee on pole-mounted transformers and associated poles and pole-mounted switchgear in order to comply with the PCBs Regulations and any work that involves the installation of a ground-mounted transformer in circumstances where the forecast load growth exceeds the capacity that can be supplied by the relevant pole-mounted transformer." |  | The 'PCB Interventions' definition proposed by DNOs includes the replacement of associated assets. We have not currently included associated assets within the volume driver scope. We will consider the feedback provided by DNOs and confirm the definition of 'PCB Interventions' following further discussions. | Closed
14 | 2022-09-05 | NPg | Definition of PCBs | Use defintion from the regulations for consistency of interpretation | Propose: "PCBs has meaning given to that term at Regulation 2(1) of either of the PCBs Regulations." |  | PCB definition included in the definition of Regulations spreadsheet | Closed
15 | 2022-09-05 | NPg | Definition of PCBs | Add definition of the regulations | Propose: "PCBs Regulations means, in the case of England and Wales, the Environmental Protection (Disposal of Polychlorinated Biphenyls and other Dangerous Substances) (England and Wales) Regulations 2000, and any amendment to it and, in the case of Scotland, the Environmental Protection (Disposal of Polychlorinated Biphenyls and other Dangerous Substances) (Scotland) Regulations 2000, and any amendment to it." |  | PCB Regulations is included in the definition of ED2 Definitions spreadsheet | Closed
16 | 2022-09-05 | NPg | 3.5.2 | Using proposed definition of "PCB Interventions" would mean that reference to "asset replacement work" is not needed | Change to "The effect of this condition is to fund the licensee to undertake PCB Interventions during the Price Control Period relative to baseline allowances." |  | The 'PCB Interventions' definition proposed by DNOs includes the replacement of associated assets. We have not currently included associated assets within the volume driver scope. We will consider the feedback provided by DNOs and confirm the definition of 'PCB Interventions' following further discussions. | Closed
17 | 2022-09-05 | NPg | 3.5.3 | Should 1 April 2025 say 1 April 2026? |  |  | The text is referring to the regulatory year 2025/26 and as the compliance deadline is 31/12/2025 this should remain as 2025. | Closed
18 | 2022-09-05 | NPg | 3.5.3, definitions of PCBVAt and PCBVBt | Using proposed definition of "PCB Interventions" would mean that reference to "in the licensee's Distribution Services Area" is not needed | Change to "means the total number of PCB Interventions for [rating/size of PMT A]" and to "means the total number of PCB Interventions for [rating/size of PMT B]" respectively |  | The 'PCB Interventions' definition proposed by DNOs includes the replacement of associated assets. We have not currently included associated assets within the volume driver scope. We will consider the feedback provided by DNOs and confirm the definition of 'PCB Interventions' following further discussions. | Closed
19 | 2022-09-05 | ENWL | 3.5.2 | Suggestion to better describe the effect. Current drafting says "The effect of this condition is to adjust revenue to fund the licensee for asset replacement work made to reduce PCB contamination on its overhead network during the Price Control Period relative to baseline allowances." | “The effect of this condition is to adjust revenue to fund the licensee for asset replacement work undertaken to remove PCB contaminated PMTs from its overhead network during the Price Control Period relative to baseline allowances.” |  | Updated in Licence Condition | Closed
20 | 2022-09-05 | ENWL | Definitions | We noted in LDWG that PCB Interventions is not yet defined, and suggest an option. Care will need to be taken to ensure that the definition within the volume driver is distinct from other PCB related work which would fall within baseline allowances. | “PCB Interventions”, in the context and scope of the PCB Volume Driver, means any work undertaken by the licensee on pole-mounted transformers and associated poles and pole-mounted switchgear in order to comply with the PCBs Regulations and any work that involves the installation of a ground-mounted transformer in circumstances where the forecast load growth exceeds the capacity that can be supplied by the relevant pole-mounted transformer. |  | The 'PCB Interventions' definition proposed by DNOs includes the replacement of associated assets. We have not currently included associated assets within the volume driver scope. We will consider the feedback provided by DNOs and confirm the definition of 'PCB Interventions' following further discussions. | Closed
21 | 2022-08-31 | WPD | Proposed amended definition | “PCBs Interventions”, in the context and scope of the PCBs Volume Driver, means any work undertaken by the licensee on pole-mounted transformers and associated poles and pole-mounted switchgear in order to comply with the PCBs Regulations, and such work may involve the installation of a ground-mounted transformer in some circumstances if the forecast load growth exceeds the capacity that can be supplied by a pole-mounted transformer. “PCBs” has meaning given to that term at Regulation 2(1) of either of the PCBs Regulations. “PCBs Regulations” means: In the case of England and Wales, the Environmental Protection (Disposal of Polychlorinated Biphenyls and other Dangerous Substances) (England and Wales) Regulations 2000, and any amendment to it. In the case of Scotland, the Environmental Protection (Disposal of Polychlorinated Biphenyls and other Dangerous Substances) (Scotland) Regulations 2000, and any amendment to it. |  |  | The 'PCB Interventions' definition proposed by DNOs includes the replacement of associated assets. We have not currently included associated assets within the volume driver scope. We will consider the feedback provided by DNOs and confirm the definition of 'PCB Interventions' following further discussions. | Closed
INFORMAL CONSULTATION RESPONSES BELOW THIS LINE (ANSWERS BELOW MAY SUPERSEDE THE ABOVE DUE TO THE DEVELOPMENT OF POLICY SINCE DISCUSSION AT PREVIOUS LDWG MEETINGS)
22 | 2022-10-27 | ENWL - common | SpC 3.5 Defined terms | Ofgem has recently acknowledged that both associated asset interventions and ground-mounted transformers may be required as part of PCB Interventions work in certain circumstances, but the definition of PCB Interventions does not currently allow for: - Associated asset interventions required to support the pole-mounted transformers (such as poles and associated equipment). There will be instances where the pole mounted transformers can not be replaced without these associated assets also being replaced; or - Replacement of ground-mounted transformers where the forecast load growth exceeds the capacity that can be supplied by a PMT. | We suggest the PCB Interventions definition is amended as follows: “in the context and scope of the PCB Interventions Volume Driver, means any work undertaken by the licensee on pole-mounted transformers and associated poles and pole-mounted switchgear in order to comply with the PCBs Regulations and such work may involve the installation of a ground-mounted transformer in circumstances where the forecast load growth exceeds the capacity that can be supplied by a pole-mounted transformer.” PCBs “has meaning given to that term at Regulation 2(1) of either of the PCBs Regulations.” PCBs Regulations means: “In the case of England and Wales, the Environmental Protection (Disposal of Polychlorinated Biphenyls and other Dangerous Substances) (England and Wales) Regulations 2000, and any amendment to it. In the case of Scotland, the Environmental Protection (Disposal of Polychlorinated Biphenyls and other Dangerous Substances) (Scotland) Regulations 2000, and any amendment to it.” | 2022-11-16 | We have updated the 'PCB Intervention' definition following further discussions at DEWG. In our RIIO-2 ED FDs, we have decided that the volume driver should cover PCB Interventions that relate to any work undertaken by the licensee on pole-mounted transformers, associated poles and pole-mounted switchgear to comply with PCB Regulations and such work that may involve the installation of a ground-mounted transformer in circumstances where the forecast load growth exceeds the capacity that can be supplied by a pole-mounted transformer. | Closed
23 | 2022-10-27 | ENWL | 3.5.3 | We assume that the formula can be flexed to reflect the agreed number of unit rates which will apply. This will need to be reflected for Formal Consultation when policy decisions are made. |  | 2022-11-16 | Yes, unit costs A and B shown in the version that went to consultation were illustrative to show how the formula would work if multiple unit rates were used. | Closed
24 | 2022-10-27 | ENWL | 3.5.4 | We disagree with the use of a sunset clause we set out our position in more detail in "Annex 3: Outstanding policy challenges with licence drafting interaction" |  | 2022-11-16 | Sunset clause has now been removed. Please refer to our RIIO-2 ED FDs for further information. | Closed
25 | 2022-10-27 | ENWL | Appendix 1 and 2 | Additional appendices will be needed if additional unit rates are agreed as part of the policy decisions for PCB volume driver. |  | 2022-11-16 | In RIIO-2 ED FDs, we have decided to use a single unit rate as we believe this to be in the best longer-term interest of consumers, when considering wider decarbonisation objectives. We have decided that this should be set at £4k/unit in line with our modelled RIIO-ED2 expert asset replacement unit cost for 6.6/11kV PMTs. We consider that the unit cost of PMT replacements should be consistent across the RIIO-ED2 package to drive the most efficient behaviour. | Closed
26 | 2022-10-27 | NGED | 3.52 | This paragraph contains reference to baseline allowances ('..relative to baseline allowances..'). It is unclear how this adjustment works in relation to baseline allowances> There is no reference to baseline allowances within the calculation formula in paragraph 3.5.3. | This volume driver should operate in relation to baseline allowances. Ofgem need to amend the formula in paragraph 3.5.3 to recognise the baseline allowances agreed at Final Determination. | 2022-11-16 | Reference to baseline allowances has been amended. | Closed
27 | 2022-10-27 | NGED | Definition | Re: Ofgem's response to issues about PCB Interventions Definition The definition of PCB interventions needs to recognise that the replacement of pole mounted transformers for PCBs will require the replacement of other network assets such as poles. The driver for these additional works is only the replacement of the PCB asset, and therefore it is not appropriate to suggest that these assets should be included in other areas such as condition based asset replacement. These additional assets should be managed in the same way as consequential assets are included within the prime asset in condition based asset replacement. The definition of PCB interventions, and the unit costs in the volume driver, should recognise the inclusion of consequential assets. |  | 2022-11-16 | We have updated the 'PCB Intervention' definition following further discussions at DEWG. In our RIIO-2 ED FDs, we decided that the volume driver should cover PCB Interventions that relate to any work undertaken by the licensee on pole-mounted transformers, associated poles and pole-mounted switchgear to comply with PCB Regulations and such work that may involve the installation of a ground-mounted transformer in circumstances where the forecast load growth exceeds the capacity that can be supplied by a pole-mounted transformer. As per our our RIIO-2 ED FDs, while associated asset replacements are now in the scope of the volume driver, from the data provided by DNOs on these assets we do not consider that the unit rates of such assets should be significantly higher than that for PMT replacement. | Closed
28 | 2022-10-27 | NGED | Definition | As the volume driver applies different unit rates for different sizes of transformer, it needs to be clarified that the intervention should be based upon the transformer being removed. This may, however, be more appropriate for the RRP RIGs rather than in the licence. | Include clarificaition in annual reporting RIGs | 2022-11-16 | No longer applicable as we have decided to use a single unit rate as we believe this to be in the best longer-term interest of consumers, when considering wider decarbonisation objectives. For more information see our RIIO-2 ED FDs. | Closed
29 | 2022-10-27 | NGED | SpC 3.5 PCB Interventions defined term | Ofgem has recently acknowledged that both associated asset interventions and ground-mounted transformers may be required as part of PCB Interventions work in certain circumstances, but the definition of PCB Interventions does not currently allow for: - Associated asset interventions required to support the pole-mounted transformers (such as poles and pole-mounted transformers). There will be instances where the pole mounted transformers can not be replaced without these associated assets also being replaced; or - Replacement of ground-mounted transformers where the forecast load growth exceeds the capacity that can be supplied by a PMT. | We suggest the PCB Interventions definition is amended as follows: “in the context and scope of the PCB Interventions Volume Driver, means any work undertaken by the licensee on pole-mounted transformers and associated poles and pole-mounted switchgear in order to comply with the PCBs Regulations and such work may involve the installation of a ground-mounted transformer in circumstances where the forecast load growth exceeds the capacity that can be supplied by a pole-mounted transformer.” PCBs “has meaning given to that term at Regulation 2(1) of either of the PCBs Regulations.” PCBs Regulations means: “In the case of England and Wales, the Environmental Protection (Disposal of Polychlorinated Biphenyls and other Dangerous Substances) (England and Wales) Regulations 2000, and any amendment to it. In the case of Scotland, the Environmental Protection (Disposal of Polychlorinated Biphenyls and other Dangerous Substances) (Scotland) Regulations 2000, and any amendment to it.” | 2022-11-16 | We have updated the 'PCB Intervention' definition following further discussions at DEWG. In our RIIO-2 ED FDs, we decided that the volume driver should cover PCB Interventions that relate to any work undertaken by the licensee on pole-mounted transformers, associated poles and pole-mounted switchgear to comply with PCB Regulations and such work that may involve the installation of a ground-mounted transformer in circumstances where the forecast load growth exceeds the capacity that can be supplied by a pole-mounted transformer. | Closed
30 | 2022-10-26 | NPg | Definition of "PCB Interventions" | Ofgem has recently acknowledged that both associated asset interventions and ground-mounted transformers may be required as part of PCB Interventions work in certain circumstances, but the definition of PCB Interventions does not currently allow for: Associated asset interventions required to support the pole-mounted transformers (such as poles and pole-mounted switchgear). There will be instances where the pole mounted transformers can not be replaced with these associated assets also being replaced; | We suggest the PCB Interventions definition is amended as follows: "in the context and scope of the PCB Interventions Volume Driver, means any work undertaken by the licensee on pole-mounted transformers and associated poles and pole-mounted switchgear in order to comply with the PCBs Regulations and such work may involve the installation of a ground-mounted transformer in circumstances where the forecast load growth exceeds the capacity that can be supplied by a pole-mounted transformer." | 2022-11-16 | We have updated the 'PCB Intervention' definition following further discussions at DEWG. In our RIIO-2 ED FDs, we decided that the volume driver should cover PCB Interventions that relate to any work undertaken by the licensee on pole-mounted transformers, associated poles and pole-mounted switchgear to comply with PCB Regulations and such work that may involve the installation of a ground-mounted transformer in circumstances where the forecast load growth exceeds the capacity that can be supplied by a pole-mounted transformer. | Closed
31 | 2022-10-26 | NPg | Definition of "PCBs Regulations" | See above | Define as "In the case of England and Wales, the Environmental Protection (Disposal of Polychlorinated Biphenyls and other Dangerous Substances) (England and Wales) Regulations 2000, and any amendment to it. In the case of Scotland, the Environmental Protection (Disposal of Polychlorinated Biphenyls and other Dangerous Substances) (Scotland) Regulations 2000, and any amendment to it." | 2022-11-16 | PCB definition has been added | Closed
32 | 2022-10-26 | NPg | Defintion of "PCBs" | See above | Define as "has meaning given to that term at Regulation 2(1) of either of the PCBs Regulations." | 2022-11-16 | PCB definition has been added | Closed
33 | 2022-10-26 | NPg | Paragraph 3.5.2 | Using "PCB Interventions" would simplify the condition | Change to "The effect of this condition is to fund the licensee to carry out PCB Interventions during the Price Control Period relative to baseline allowances." | 2022-11-16 | PCB definition has been added | Closed
34 | 2022-10-26 | NPg | Paragraph 3.5.2 | References to "in the licensee's Distribution Services Area" are superfluous | Delete references to "in the licensee's Distribution Services Area" | 2022-11-16 | Removed | Closed
35 | 2022-10-26 | NPg | Paragraph 3.5.2 | The term "baseline allowances" needs to be defined | Define "baseline allowances" | 2022-11-16 | Updated to "ex ante allowances" | Closed
36 | 2022-10-27 | SSEN | Timings | SSEN believes there may be value in not explicitly closing off Years 3-5 from the licence as drafted, for the reasons as discussed at the DEWG re risk. Whilst it could well be zero in years 3-5, if there was statistical evidence that required a previous cohort to be replaced, this could happen after year 2, but funding wouldn't be allowed in this formula. |  | 2022-11-16 | Sunset clause has now been removed. Please refer to our RIIO-2 ED FDs for further information. | Closed
37 | 2022-10-27 | SSEN | SpC 3.5 PCB Interventions defined term | Ofgem has recently acknowledged that both associated asset interventions and ground-mounted transformers may be required as part of PCB Interventions work in certain circumstances, but the definition of PCB Interventions does not currently allow for: - Associated asset interventions required to support the pole-mounted transformers (such as poles and pole-mounted transformers). There will be instances where the pole mounted transformers can not be replaced without these associated assets also being replaced; or - Replacement of ground-mounted transformers where the forecast load growth exceeds the capacity that can be supplied by a PMT. | We suggest the PCB Interventions definition is amended as follows: “in the context and scope of the PCB Interventions Volume Driver, means any work undertaken by the licensee on pole-mounted transformers and associated poles and pole-mounted switchgear in order to comply with the PCBs Regulations and such work may involve the installation of a ground-mounted transformer in circumstances where the forecast load growth exceeds the capacity that can be supplied by a pole-mounted transformer.” PCBs “has meaning given to that term at Regulation 2(1) of either of the PCBs Regulations.” PCBs Regulations means: “In the case of England and Wales, the Environmental Protection (Disposal of Polychlorinated Biphenyls and other Dangerous Substances) (England and Wales) Regulations 2000, and any amendment to it. In the case of Scotland, the Environmental Protection (Disposal of Polychlorinated Biphenyls and other Dangerous Substances) (Scotland) Regulations 2000, and any amendment to it.” | 2022-11-16 | We have updated the 'PCB Intervention' definition following further discussions at DEWG. In our RIIO-2 ED FDs, we decided that the volume driver should cover PCB Interventions that relate to any work undertaken by the licensee on pole-mounted transformers, associated poles and pole-mounted switchgear to comply with PCB Regulations and such work that may involve the installation of a ground-mounted transformer in circumstances where the forecast load growth exceeds the capacity that can be supplied by a pole-mounted transformer. | Closed
38 | 2022-10-21 | UKPN | Part A, 3.5.3 | We understand that Ofgem have are working on a menu of unit costs to be inserted here - we are happy to support work in this area if that will be of use |  | 2022-11-16 | No longer applicable as we have decided to use a single unit rate as we believe this to be in the best longer-term interest of consumers, when considering wider decarbonisation objectives. For more information see our RIIO-2 ED FDs. | Closed
39 | 2022-10-21 | UKPN | Part A, 3.5.3 | For term PCBUA the A falls outside the square brackets (noting this will naturally resolve itself once the asset types have been finalised. | means the licensee's allowed unit cost of PCB Interventions for [rating/size of PMT A] as specified in Appendix 1; | 2022-11-16 | As we have decided to use a single unit rate, the PCBUA term is no longer applicable. This has been reflected in the Licence Condition. | Closed
40 | 2022-10-21 | UKPN | Part A, 3.5.3 | For term PCBUB the B falls outside the square brackets (noting this will naturally resolve itself once the asset types have been finalised. Furthermore, missing 'as' to ensure consistency with definition used for PCBUA | means the licensee's allowed unit cost of PCB Interventions for [rating/size of PMT B] as specified in Appendix 2. | 2022-11-16 | As we have decided in our RIIO-2 ED FDs to use a single unit rate, the PCBUB term is no longer applicable. This has been reflected in the Licence Condition. | Closed
41 | 2022-10-21 | UKPN | Appendix 2 | Title incorrectly references the term PCBUA | Allowed Unit Cost of PCB Interventions for [rating/size of PMT B] (PCBUB) (£/intervention) | 2022-11-16 | As we have decided in our RIIO-2 ED FDs to use a single unit rate, the PCBUA term is no longer applicable. This has been reflected in the Licence Condition. | Closed
42 | 2022-10-21 | UKPN | 3.5.4 | Add "unless otherwsie directed by the Authority" to allow Ofgem to reprofile allowances or provide for additional allowances |  | 2022-11-16 | Sunset clause has now been removed. Please refer to our RIIO-2 ED FDs for further information. | Closed
43 | 2022-10-21 | UKPN | SpC 3.5 PCB Interventions defined term | Ofgem has recently acknowledged that both associated asset interventions and ground-mounted transformers may be required as part of PCB Interventions work in certain circumstances, but the definition of PCB Interventions does not currently allow for: - Associated asset interventions required to support the pole-mounted transformers (such as poles and pole-mounted transformers). There will be instances where the pole mounted transformers can not be replaced with these associated assets also being replaced; or - Replacement of ground-mounted transformers where the forecast load growth exceeds the capacity that can be supplied by a PMT. | We suggest the PCB Interventions definition is amended as follows: “in the context and scope of the PCB Interventions Volume Driver, means any work undertaken by the licensee on pole-mounted transformers and associated poles and pole-mounted switchgear in order to comply with the PCBs Regulations and such work may involve the installation of a ground-mounted transformer in circumstances where the forecast load growth exceeds the capacity that can be supplied by a pole-mounted transformer.” PCBs “has meaning given to that term at Regulation 2(1) of either of the PCBs Regulations.” PCBs Regulations means: “In the case of England and Wales, the Environmental Protection (Disposal of Polychlorinated Biphenyls and other Dangerous Substances) (England and Wales) Regulations 2000, and any amendment to it. In the case of Scotland, the Environmental Protection (Disposal of Polychlorinated Biphenyls and other Dangerous Substances) (Scotland) Regulations 2000, and any amendment to it.” | 2022-11-16 | We have updated the 'PCB Intervention' definition following further discussions at DEWG. In our RIIO-2 ED FDs, we decided that the volume driver should cover PCB Interventions that relate to any work undertaken by the licensee on pole-mounted transformers, associated poles and pole-mounted switchgear to comply with PCB Regulations and such work that may involve the installation of a ground-mounted transformer in circumstances where the forecast load growth exceeds the capacity that can be supplied by a pole-mounted transformer. | Closed
44 | 2022-10-10 | SPEN | 3.5.3 | The volume driver drafting does not capture need for Pole Mounted Transformers (PMTs) AND associated asset interventions (specifically poles and switchgear). Ofgem said they have not currently included 'associated assets' with the replacement of a PMT as they believe associated assets in poor condition should already be captured in other areas of the busines plan, i.e. within NARMs. This is not the case as different reporting tables are involved (CV22 as opposed to NARMs related tables of CV7a and CV9), as well as the calculation of Adjusted Outturn Network Risk Output under Special Condition Paragraph 3.1.29 which excludes non-NARM asset interventions. The PCBA term should include terms to capture costs associated with poles and with switchgear. The definition should also reference these. |  | 2022-11-16 | We have updated the 'PCB Intervention' definition following further discussions at DEWG. In our RIIO-2 ED FDs, we decided that the volume driver should cover PCB Interventions that relate to any work undertaken by the licensee on pole-mounted transformers, associated poles and pole-mounted switchgear to comply with PCB Regulations and such work that may involve the installation of a ground-mounted transformer in circumstances where the forecast load growth exceeds the capacity that can be supplied by a pole-mounted transformer. As per our RIIO-2 ED FDs, while associated asset replacements are now in the scope of the volume driver, from the data provided by DNOs on these assets we do not consider that the unit rates of such assets should be significantly higher than that for PMT replacement. | Closed
45 | 2022-10-10 | SPEN | 3.5.3 | In some instances, DNOs will choose to replace a PMT with a Ground Mounted Transformer (GMT) where this is more efficient. In some cases, DNOs may be required to replace a PMT with a GMT if the forecast load growth exceeds the capacity that can be supplied by a PMT. The PCBA term should include terms to capture costs associated with GMTs. |  | 2022-11-16 | Definition of PCB Interventions has been updated to include the replacement of a pole mounted transformer with a ground-mounted transformer in circumstances where the forecast load growth exceeds the capacity that can be supplied by a pole-mounted transformer | Closed
46 | 2022-10-10 | SPEN | definitions | A clear definition for the term “PCB Interventions” is required to capture the associated assets and GMT points above | “PCB Interventions”, in the context and scope of the PCBs Volume Driver, means any work undertaken by the licensee on pole-mounted transformers and associated poles and pole-mounted switchgear in order to comply with the PCBs Regulations and such work may involve the installation of a ground-mounted transformer in some circumstances where the forecast load growth exceeds the capacity that can be supplied by a pole-mounted transformer. “PCBs” has meaning given to that term at Regulation 2(1) of either of the PCBs Regulations. “PCBs Regulations” means: In the case of England and Wales, the Environmental Protection (Disposal of Polychlorinated Biphenyls and other Dangerous Substances) (England and Wales) Regulations 2000, and any amendment to it. In the case of Scotland, the Environmental Protection (Disposal of Polychlorinated Biphenyls and other Dangerous Substances) (Scotland) Regulations 2000, and any amendment to it | 2022-11-16 | We have updated the 'PCB Intervention' definition following further discussions at DEWG. In our RIIO-2 ED FDs we decided that the volume driver should cover PCB Interventions that relate to any work undertaken by the licensee on pole-mounted transformers, associated poles and pole-mounted switchgear to comply with PCB Regulations and such work that may involve the installation of a ground-mounted transformer in circumstances where the forecast load growth exceeds the capacity that can be supplied by a pole-mounted transformer. | Closed
47 | 2022-10-10 | SPEN | Appendices | PMTs, GMTs, poles and switchgear will each have multiple different unit cost options. Ofgem said this was recognised and the exact number of unit cost categories is being considered by Ofgem. The number of unit costs within each asset category and the level of unit costs should be taken from DNOs CV22 submission or Ofgem’s disaggregated assessment of CV7 costs. This would result in the following cost categories: a. PMTs: 10 categories, unit costs taken from CV22 table rows 175-186 b. GMTs: 2 categories, unit costs taken from Ofgem’s disaggregated assessment of CV7 costs c. Poles: 2 categories, unit costs taken from Ofgem’s disaggregated assessment of CV7 costs d. Switchgear: 6 categories, unit costs taken from Ofgem’s disaggregated assessment of CV7 costs |  | 2022-11-16 | No longer applicable as we have decided to use a single unit rate as we believe this to be in the best longer-term interest of consumers, when considering wider decarbonisation objectives. For more information see our RIIO-2 ED FDs. | Closed
48 | 2023-01-17 | ENWL | 3.5.3 | Change formula format to make formula formatting consistent across the licence | PCBt = (PCBVt ∙ PCBU) 1,000,000 |  | Agreed and updated in Licence Condition. | Closed
49 | 2023-01-17 | ENWL | PCB Interventions | There is an inherent inconsistency between the defined term and the licence and stated policy intent within FD. The licence condition provides one single unit rate for a PMT, and the FD states GMT are out of scope, then the defined term needs to be updated to reflect these two points. | means any work undertaken by the licensee on pole-mounted transformers, associated poles and pole-mounted switchgear in order to comply with the PCBs Regulations, and such work that may involve the installation of a ground-mounted transformer in circumstances where the forecast load growth exceeds the capacity that can be supplied by a pole-mounted transformer. |  | We do not agree that there is an inconsistency. GMT replacements are out of scope for the PCB volume driver. However, where the forecast load growth exceeds the capacity that can be supplied by a pole-mounted transformer then the PMT can be replaced with a GMT. We do not consider the volume impacted by this to be sufficiently material to merit multiple unit rates. | Closed
50 | 2023-01-17 | NGED | 3.5.2 | This paragraph currently suggests that the volume driver calculates allowances relative to ex ante allowances. The formula in 3.5.3 calculates the full value of the allowance, so it is not relative to ex-ante allowances. The wording "relative to ex ante allowances" should be deleted. | 3.5.2 The effect of this condition is to fund the licensee to carry out PCB Interventions during the Price Control Period relative to ex ante allowances. |  | We have updated 3.5.2 of the Licence Condition. | Closed
51 | 2023-01-17 | NPg | SpC 3.5, paragraph 3.5.3 | Wording should be consistent with other conditions that include a formula | Change to "The value of PCBRt is derived in accordance with the following formula:" |  | Agreed and updated in Licence Condition. | Closed
52 | 17/01/23 | SPEN |  | For further comments please see Appendix 7 |  |  | We do not agree that the £4k unit cost for replacement of pole mounted transformers (PMTs) contaminated with PCBs is insufficient. The unit cost of PMT replacements is consistent across the RIIO-ED2 package to drive the most efficient behaviour. | Closed