## LTDS Classes and Attributes
|  | Classes and Attributes of the LTDS Merged Profiles: Equipment, Short Circuit, Steady State Hypothesis, Geographical Location, and System Capacity Profiles grouped by grid element to be represented updated 2023-06-01 |  |  |  |  | KEY
Profile group | [7 empty] | REQUIRED | attribute must be populated
| Grid element | [6 empty] | OPTIONAL | attribute may have to be populated - specific rules are provided in the LTDS Modelling Guide
|  | CIM class to be populated | [5 empty] | TOOL | attribute is populated and maintained (to be persistent) by the tool used to produce LTDS modelling
|  |  | attribute population required? | CIM class defining attribute (may be parent class) | attribute name | profile
Physical profiles group | [6 empty] | ConductingEquipment child class |  |  | class is created in Equipment profile
| Bus and bus group | [5 empty] | Equipment detail-related class
|  | BusbarSection |  |  |  |  | Containment-related class
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile | Limit-related class
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile | Physical generator-related class
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile | Location-related class |  |  | class is created in Geographical Location profile
|  | BusbarGroup |  |  |  |  | System Capacity-related class |  |  | class is created in System Capacity profile
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile |  |  | attribute belongs to Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile |  |  | attribute belongs to Short Circuit profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile |  |  | attribute belongs to Geographical Location profile
attribute belongs to Steady State Hypothesis profile
| Switching device | [7 empty] | attribute belongs to System Capacity profile
Disconnector
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile | classes assumed to be automatically populated by modelling tool
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile |  | Terminal and ConnectivityNode in the Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile |  | all Topology and StateVariables profile classes
|  |  | REQUIRED | Switch | normalOpen | Equipment profile |  | all DiagramLayout profile classes
|  |  | REQUIRED | Switch | ratedCurrent | Equipment profile
Fuse
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | Switch | normalOpen | Equipment profile
|  |  | REQUIRED | Switch | ratedCurrent | Equipment profile
GroundDisconnector
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | Switch | normalOpen | Equipment profile
|  |  | REQUIRED | Switch | ratedCurrent | Equipment profile
Breaker
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | Equipment | aggregate | Equipment profile
|  |  | REQUIRED | Switch | normalOpen | Equipment profile
|  |  | REQUIRED | Switch | ratedCurrent | Equipment profile
|  |  | REQUIRED | ProtectedSwitch | breakingCapacity | Short Circuit profile
|  |  | REQUIRED | ProtectedSwitch | makingCapacity | Short Circuit profile
DisconnectingCircuitBreaker
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | Switch | normalOpen | Equipment profile
|  |  | REQUIRED | Switch | ratedCurrent | Equipment profile
|  |  | REQUIRED | ProtectedSwitch | breakingCapacity | Short Circuit profile
|  |  | REQUIRED | ProtectedSwitch | makingCapacity | Short Circuit profile
LoadBreakSwitch
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | Switch | normalOpen | Equipment profile
|  |  | REQUIRED | Switch | ratedCurrent | Equipment profile
|  |  | REQUIRED | ProtectedSwitch | breakingCapacity | Short Circuit profile
|  |  | REQUIRED | ProtectedSwitch | makingCapacity | Short Circuit profile
Circuit
Line
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
ACLineSegment
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | Conductor | length | Equipment profile
|  |  | REQUIRED | ACLineSegment | bch | Equipment profile
|  |  | OPTIONAL | ACLineSegment | gch | Equipment profile
|  |  | REQUIRED | ACLineSegment | r | Equipment profile
|  |  | REQUIRED | ACLineSegment | x | Equipment profile
|  |  | REQUIRED | ACLineSegment | r0 | Short Circuit profile
|  |  | REQUIRED | ACLineSegment | x0 | Short Circuit profile
Circuit limits
OperationalLimitSet
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | OperationalLimitSet | validFrom | Equipment profile
|  |  | REQUIRED | OperationalLimitSet | validTo | Equipment profile
CurrentLimit
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | CurrentLimit | normalValue | Equipment profile
OperationalLimitType (one)
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | OperationalLimitType | direction (must=absoluteValue) | Equipment profile
|  |  | REQUIRED | OperationalLimitType | isInfiniteDuration (must=true) | Equipment profile
|  |  | REQUIRED | OperationalLimitType | kind (must=patl) | Equipment profile
Transformer
PowerTransformer
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | PowerTransformer | reverseFlowCapability | Equipment profile
PowerTransformerEnd
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | TransformerEnd | endNumber | Equipment profile
|  |  | REQUIRED | TransformerEnd | earthingMethod | Equipment profile
|  |  | REQUIRED | PowerTransformerEnd | b | Equipment profile
|  |  | REQUIRED | PowerTransformerEnd | connectionKind | Equipment profile
|  |  | OPTIONAL | PowerTransformerEnd | g | Equipment profile
|  |  | REQUIRED | PowerTransformerEnd | r | Equipment profile
|  |  | REQUIRED | PowerTransformerEnd | ratedS | Equipment profile
|  |  | REQUIRED | PowerTransformerEnd | ratedU | Equipment profile
|  |  | REQUIRED | PowerTransformerEnd | x | Equipment profile
|  |  | REQUIRED | PowerTransformerEnd | phaseAngleClock | Short Circuit profile
|  |  | REQUIRED | PowerTransformerEnd | x0 | Short Circuit profile
Transformer Tap Changer
PhaseTapChangerLinear
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | TapChanger | highStep | Equipment profile
|  |  | REQUIRED | TapChanger | lowStep | Equipment profile
|  |  | REQUIRED | TapChanger | ltcFlag | Equipment profile
|  |  | REQUIRED | TapChanger | neutralStep | Equipment profile
|  |  | REQUIRED | TapChanger | neutralU | Equipment profile
|  |  | REQUIRED | TapChanger | normalStep | Equipment profile
|  |  | REQUIRED | PhaseTapChangerLinear | stepPhaseShiftIncrement | Equipment profile
|  |  | REQUIRED | PhaseTapChangerLinear | xMax | Equipment profile
PhaseTapChangerAsymmetrical
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | TapChanger | highStep | Equipment profile
|  |  | REQUIRED | TapChanger | lowStep | Equipment profile
|  |  | REQUIRED | TapChanger | ltcFlag | Equipment profile
|  |  | REQUIRED | TapChanger | neutralStep | Equipment profile
|  |  | REQUIRED | TapChanger | neutralU | Equipment profile
|  |  | REQUIRED | TapChanger | normalStep | Equipment profile
|  |  | REQUIRED | PhaseTapChangerNonLinear | voltageStepIncrement | Equipment profile
|  |  | REQUIRED | PhaseTapChangerNonLinear | xMax | Equipment profile
|  |  | REQUIRED | PhaseTapChangerAsymmetrical | windingConnectionAngle | Equipment profile
PhaseTapChangerSymmetrical
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | TapChanger | highStep | Equipment profile
|  |  | REQUIRED | TapChanger | lowStep | Equipment profile
|  |  | REQUIRED | TapChanger | ltcFlag | Equipment profile
|  |  | REQUIRED | TapChanger | neutralStep | Equipment profile
|  |  | REQUIRED | TapChanger | neutralU | Equipment profile
|  |  | REQUIRED | TapChanger | normalStep | Equipment profile
|  |  | REQUIRED | PhaseTapChangerNonLinear | voltageStepIncrement | Equipment profile
|  |  | REQUIRED | PhaseTapChangerNonLinear | xMax | Equipment profile
PhaseTapChangerTabular
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | TapChanger | highStep | Equipment profile
|  |  | REQUIRED | TapChanger | lowStep | Equipment profile
|  |  | REQUIRED | TapChanger | ltcFlag | Equipment profile
|  |  | REQUIRED | TapChanger | neutralStep | Equipment profile
|  |  | REQUIRED | TapChanger | neutralU | Equipment profile
|  |  | REQUIRED | TapChanger | normalStep | Equipment profile
PhaseTapChangerTable
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
PhaseTapChangerTablePoint
|  |  | OPTIONAL | TapChangerTablePoint | b | Equipment profile
|  |  | OPTIONAL | TapChangerTablePoint | g | Equipment profile
|  |  | OPTIONAL | TapChangerTablePoint | r | Equipment profile
|  |  | OPTIONAL | TapChangerTablePoint | ratio | Equipment profile
|  |  | REQUIRED | TapChangerTablePoint | step | Equipment profile
|  |  | OPTIONAL | TapChangerTablePoint | x | Equipment profile
|  |  | REQUIRED | PhaseTapChangerTablePoint | angle | Equipment profile
RatioTapChanger
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | TapChanger | highStep | Equipment profile
|  |  | REQUIRED | TapChanger | lowStep | Equipment profile
|  |  | REQUIRED | TapChanger | ltcFlag | Equipment profile
|  |  | REQUIRED | TapChanger | neutralStep | Equipment profile
|  |  | REQUIRED | TapChanger | neutralU | Equipment profile
|  |  | REQUIRED | TapChanger | normalStep | Equipment profile
|  |  | REQUIRED | RatioTapChanger | stepVoltageIncrement | Equipment profile
RatioTapChangerTable
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
RatioTapChangerTablePoint
|  |  | OPTIONAL | TapChangerTablePoint | b | Equipment profile
|  |  | OPTIONAL | TapChangerTablePoint | g | Equipment profile
|  |  | OPTIONAL | TapChangerTablePoint | r | Equipment profile
|  |  | OPTIONAL | TapChangerTablePoint | ratio | Equipment profile
|  |  | REQUIRED | TapChangerTablePoint | step | Equipment profile
|  |  | OPTIONAL | TapChangerTablePoint | x | Equipment profile
TapChangerControl
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | RegulatingControl | mode (must=voltage) | Equipment profile
Transformer limits
OperationalLimitSet
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | OperationalLimitSet | validFrom | Equipment profile
|  |  | REQUIRED | OperationalLimitSet | validTo | Equipment profile
ApparentPowerLimit
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | ApparentPowerLimit | normalValue | Equipment profile
OperationalLimitType (two)
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | OperationalLimitType | direction (must=high) | Equipment profile
|  |  | REQUIRED | OperationalLimitType | isInfiniteDuration (must=true) | Equipment profile
|  |  | REQUIRED | OperationalLimitType | kind (must=patl) | Equipment profile
|  |  | REQUIRED | OperationalLimitType | transformerReverseFlow (one must=true, one must=false) | Equipment profile
Load
EnergyConsumer
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | Equipment | aggregate | Equipment profile
Generation - individual
Generator electrical characteristics
SynchronousMachine
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | Equipment | aggregate | Equipment profile
|  |  | REQUIRED | RotatingMachine | ratedPowerFactor | Equipment profile
|  |  | REQUIRED | RotatingMachine | ratedS | Equipment profile
|  |  | REQUIRED | RotatingMachine | ratedU | Equipment profile
|  |  | REQUIRED | SynchronousMachine | maxQ | Equipment profile
|  |  | REQUIRED | SynchronousMachine | minQ | Equipment profile
|  |  | REQUIRED | SynchronousMachine | qPercent | Equipment profile
|  |  | REQUIRED | SynchronousMachine | type | Equipment profile
ReactiveCapabilityCurve
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | Curve | curveStyle | Equipment profile
|  |  | REQUIRED | Curve | xUnit | Equipment profile
|  |  | REQUIRED | Curve | y1Unit | Equipment profile
|  |  | REQUIRED | Curve | y2Unit | Equipment profile
CurveData
|  |  | REQUIRED | CurveData | xvalue | Equipment profile
|  |  | REQUIRED | CurveData | y1value | Equipment profile
|  |  | REQUIRED | CurveData | y2value | Equipment profile
AsynchronousMachine
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | Equipment | aggregate | Equipment profile
|  |  | REQUIRED | RotatingMachine | ratedPowerFactor | Equipment profile
|  |  | REQUIRED | RotatingMachine | ratedS | Equipment profile
|  |  | REQUIRED | RotatingMachine | ratedU | Equipment profile
|  |  | REQUIRED | AsynchronousMachine | nominalFrequency | Equipment profile
|  |  | REQUIRED | AsynchronousMachine | nominalSpeed | Equipment profile
PowerElectronicsConnection
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | Equipment | aggregate | Equipment profile
|  |  | REQUIRED | PowerElectronicsConnection | maxQ | Equipment profile
|  |  | REQUIRED | PowerElectronicsConnection | minQ | Equipment profile
|  |  | REQUIRED | PowerElectronicsConnection | ratedS | Equipment profile
|  |  | REQUIRED | PowerElectronicsConnection | ratedU | Equipment profile
RegulatingControl
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | RegulatingControl | mode | Equipment profile
Generator physical characteristics
GeneratingUnit
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | GeneratingUnit | maxOperatingP | Equipment profile
|  |  | REQUIRED | GeneratingUnit | minOperatingP | Equipment profile
|  |  | REQUIRED | GeneratingUnit | ratedNetMaxP | Equipment profile
FlywheelUnit <<GB>>
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | GeneratingUnit | maxOperatingP | Equipment profile
|  |  | REQUIRED | GeneratingUnit | minOperatingP | Equipment profile
|  |  | REQUIRED | GeneratingUnit | ratedNetMaxP | Equipment profile
|  |  | REQUIRED | FlywheelUnit | energyStorageCapacity | Equipment profile
GeothermalGeneratingUnit <<NC>>
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | GeneratingUnit | maxOperatingP | Equipment profile
|  |  | REQUIRED | GeneratingUnit | minOperatingP | Equipment profile
|  |  | REQUIRED | GeneratingUnit | ratedNetMaxP | Equipment profile
HydroGeneratingUnit
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | GeneratingUnit | maxOperatingP | Equipment profile
|  |  | REQUIRED | GeneratingUnit | minOperatingP | Equipment profile
|  |  | REQUIRED | GeneratingUnit | ratedNetMaxP | Equipment profile
HydroPowerPlant
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | HydroPowerPlant | hydroPlantStorageType | Equipment profile
|  |  | REQUIRED | HydroPowerPlant | energyStorageCapacity | Equipment profile
NuclearGeneratingUnit
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | GeneratingUnit | maxOperatingP | Equipment profile
|  |  | REQUIRED | GeneratingUnit | minOperatingP | Equipment profile
|  |  | REQUIRED | GeneratingUnit | ratedNetMaxP | Equipment profile
SolarGeneratingUnit
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | GeneratingUnit | maxOperatingP | Equipment profile
|  |  | REQUIRED | GeneratingUnit | minOperatingP | Equipment profile
|  |  | REQUIRED | GeneratingUnit | ratedNetMaxP | Equipment profile
ThermalGeneratingUnit
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | GeneratingUnit | maxOperatingP | Equipment profile
|  |  | REQUIRED | GeneratingUnit | minOperatingP | Equipment profile
|  |  | REQUIRED | GeneratingUnit | ratedNetMaxP | Equipment profile
BioFuel <<GB>>
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | BioFuel | bioFuelType | Equipment profile
FossilFuel
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | FossilFuel | fossilFuelType | Equipment profile
CAESPlant
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | CAESPlant | energyStorageCapacity | Equipment profile
OtherFuel <<GB>>
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | OtherFuel | otherFuelType | Equipment profile
WindGeneratingUnit
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | GeneratingUnit | maxOperatingP | Equipment profile
|  |  | REQUIRED | GeneratingUnit | minOperatingP | Equipment profile
|  |  | REQUIRED | GeneratingUnit | ratedNetMaxP | Equipment profile
BatteryUnit
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | PowerElectronicsUnit | maxP | Equipment profile
|  |  | REQUIRED | PowerElectronicsUnit | minP | Equipment profile
|  |  | REQUIRED | BatteryUnit | ratedE | Equipment profile
PhotoVoltaicUnit
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | PowerElectronicsUnit | maxP | Equipment profile
|  |  | REQUIRED | PowerElectronicsUnit | minP | Equipment profile
PowerElectricalChemicalUnit <<NC>>
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | PowerElectronicsUnit | maxP | Equipment profile
|  |  | REQUIRED | PowerElectronicsUnit | minP | Equipment profile
PowerElectronicsWindUnit
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | PowerElectronicsUnit | maxP | Equipment profile
|  |  | REQUIRED | PowerElectronicsUnit | minP | Equipment profile
Generation - aggregate
Generator electrical characteristics
SynchronousMachine
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | Equipment | aggregate | Equipment profile
|  |  | REQUIRED | SynchronousMachine | type | Equipment profile
AsynchronousMachine
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | Equipment | aggregate | Equipment profile
PowerElectronicsConnection
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | Equipment | aggregate | Equipment profile
Generator physical characteristics
GeneratingUnit
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | GeneratingUnit | ratedNetMaxP | Equipment profile
FlywheelUnit <<GB>>
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | GeneratingUnit | ratedNetMaxP | Equipment profile
|  |  | REQUIRED | FlywheelUnit | energyStorageCapacity | Equipment profile
GeothermalGeneratingUnit <<NC>>
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | GeneratingUnit | ratedNetMaxP | Equipment profile
HydroGeneratingUnit
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | GeneratingUnit | ratedNetMaxP | Equipment profile
HydroPowerPlant
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | HydroPowerPlant | hydroPlantStorageType | Equipment profile
|  |  | REQUIRED | HydroPowerPlant | energyStorageCapacity | Equipment profile
NuclearGeneratingUnit
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | GeneratingUnit | ratedNetMaxP | Equipment profile
SolarGeneratingUnit
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | GeneratingUnit | ratedNetMaxP | Equipment profile
ThermalGeneratingUnit
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | GeneratingUnit | ratedNetMaxP | Equipment profile
BioFuel <<GB>>
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | BioFuel | bioFuelType | Equipment profile
FossilFuel
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | FossilFuel | fossilFuelType | Equipment profile
CAESPlant
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | CAESPlant | energyStorageCapacity | Equipment profile
OtherFuel <<GB>>
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | OtherFuel | otherFuelType | Equipment profile
WindGeneratingUnit
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | GeneratingUnit | ratedNetMaxP | Equipment profile
BatteryUnit
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | PowerElectronicsUnit | maxP | Equipment profile
|  |  | REQUIRED | BatteryUnit | ratedE | Equipment profile
PhotoVoltaicUnit
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | PowerElectronicsUnit | maxP | Equipment profile
PowerElectricalChemicalUnit <<NC>>
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | PowerElectronicsUnit | maxP | Equipment profile
PowerElectronicsWindUnit
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | PowerElectronicsUnit | maxP | Equipment profile
Compensator
Series
SeriesCompensator
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | SeriesCompensator | r | Equipment profile
|  |  | REQUIRED | SeriesCompensator | x | Equipment profile
Shunt
LinearShuntCompensator
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | OPTIONAL | ShuntCompensator | aVRDelay | Equipment profile
|  |  | OPTIONAL | ShuntCompensator | grounded | Equipment profile
|  |  | REQUIRED | ShuntCompensator | maximumSections | Equipment profile
|  |  | REQUIRED | ShuntCompensator | nomU | Equipment profile
|  |  | REQUIRED | ShuntCompensator | normalSections | Equipment profile
|  |  | OPTIONAL | ShuntCompensator | voltageSensitivity | Equipment profile
|  |  | REQUIRED | LinearShuntCompensator | bPerSection | Equipment profile
|  |  | REQUIRED | LinearShuntCompensator | gPerSection | Equipment profile
NonLinearShuntCompensator
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | OPTIONAL | ShuntCompensator | aVRDelay | Equipment profile
|  |  | OPTIONAL | ShuntCompensator | grounded | Equipment profile
|  |  | REQUIRED | ShuntCompensator | maximumSections | Equipment profile
|  |  | REQUIRED | ShuntCompensator | nomU | Equipment profile
|  |  | REQUIRED | ShuntCompensator | normalSections | Equipment profile
|  |  | OPTIONAL | ShuntCompensator | voltageSensitivity | Equipment profile
NonLinearShuntCompensatorPoint
|  |  | REQUIRED | NonLinearShuntCompensatorPoint | b | Equipment profile
|  |  | REQUIRED | NonLinearShuntCompensatorPoint | g | Equipment profile
|  |  | REQUIRED | NonLinearShuntCompensatorPoint | sectionNumber | Equipment profile
StaticVarCompensator
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | StaticVarCompensator | capacitiveRating | Equipment profile
|  |  | REQUIRED | StaticVarCompensator | inductiveRating | Equipment profile
|  |  | REQUIRED | StaticVarCompensator | slope | Equipment profile
Controls
RegulatingControl
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | RegulatingControl | mode | Equipment profile
Substation containment
GeographicalRegion
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
SubGeographicalRegion
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
Substation
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
PSRType
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
VoltageLevel
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
Reference data
Voltage level
BaseVoltage
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | REQUIRED | BaseVoltage | nominalVoltage | Equipment profile
External connections
BoundaryPoint
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
EquivalentInjection
|  |  | OPTIONAL | IdentifiedObject | description | Equipment profile
|  |  | TOOL | IdentifiedObject | mRID | Equipment profile
|  |  | REQUIRED | IdentifiedObject | name | Equipment profile
|  |  | OPTIONAL | EquivalentInjection | maxP | Equipment profile
|  |  | OPTIONAL | EquivalentInjection | maxQ | Equipment profile
|  |  | OPTIONAL | EquivalentInjection | minP | Equipment profile
|  |  | OPTIONAL | EquivalentInjection | minQ | Equipment profile
|  |  | REQUIRED | EquivalentInjection | regulationCapability | Equipment profile
Location
Location
|  |  | OPTIONAL | IdentifiedObject | description | Geographical Location profile
|  |  | TOOL | IdentifiedObject | mRID | Geographical Location profile
|  |  | OPTIONAL | IdentifiedObject | name | Geographical Location profile
PositionPoint
|  |  | OPTIONAL | PositionPoint | sequenceNumber | Geographical Location profile
|  |  | REQUIRED | PositionPoint | xPosition | Geographical Location profile
|  |  | REQUIRED | PositionPoint | yPosition | Geographical Location profile
|  |  | OPTIONAL | PositionPoint | zPosition | Geographical Location profile
CoordinateSystem
|  |  | OPTIONAL | IdentifiedObject | description | Geographical Location profile
|  |  | TOOL | IdentifiedObject | mRID | Geographical Location profile
|  |  | OPTIONAL | IdentifiedObject | name | Geographical Location profile
|  |  | REQUIRED | CoordinateSystem | crsUrn (must=urn:ogc:def:crs:EPSG::4326) | Geographical Location profile
Situation profile group
Bus and bus group
BusbarSection
|  |  | REQUIRED | Equipment | inService | Steady State Hypothesis profile
Switching device
Disconnector
|  |  | REQUIRED | Equipment | inService | Steady State Hypothesis profile
|  |  | REQUIRED | Switch | open | Steady State Hypothesis profile
Fuse
|  |  | REQUIRED | Equipment | inService | Steady State Hypothesis profile
|  |  | REQUIRED | Switch | open | Steady State Hypothesis profile
GroundDisconnector
|  |  | REQUIRED | Equipment | inService | Steady State Hypothesis profile
|  |  | REQUIRED | Switch | open | Steady State Hypothesis profile
Breaker
|  |  | REQUIRED | Equipment | inService | Steady State Hypothesis profile
|  |  | REQUIRED | Switch | open | Steady State Hypothesis profile
DisconnectingCircuitBreaker
|  |  | REQUIRED | Equipment | inService | Steady State Hypothesis profile
|  |  | REQUIRED | Switch | open | Steady State Hypothesis profile
LoadBreakSwitch
|  |  | REQUIRED | Equipment | inService | Steady State Hypothesis profile
|  |  | REQUIRED | Switch | open | Steady State Hypothesis profile
Circuit
ACLineSegment
|  |  | REQUIRED | Equipment | inService | Steady State Hypothesis profile
CurrentLimit
|  |  | REQUIRED | CurrentLimit | value | Steady State Hypothesis profile
Transformer
PowerTransformer
|  |  | REQUIRED | Equipment | inService | SteadyStateHypothesis profile
ApparentPowerLimit
|  |  | REQUIRED | ApparentPowerLimit | value | Steady State Hypothesis profile
Transformer Tap Changer
PhaseTapChangerLinear
|  |  | REQUIRED | TapChanger | controlEnabled | Steady State Hypothesis profile
|  |  | REQUIRED | TapChanger | step | Steady State Hypothesis profile
PhaseTapChangerAsymmetrical
|  |  | REQUIRED | TapChanger | controlEnabled | Steady State Hypothesis profile
|  |  | REQUIRED | TapChanger | step | Steady State Hypothesis profile
PhaseTapChangerSymmetrical
|  |  | REQUIRED | TapChanger | controlEnabled | Steady State Hypothesis profile
|  |  | REQUIRED | TapChanger | step | Steady State Hypothesis profile
PhaseTapChangerTabular
|  |  | REQUIRED | TapChanger | controlEnabled | Steady State Hypothesis profile
|  |  | REQUIRED | TapChanger | step | Steady State Hypothesis profile
RatioTapChanger
|  |  | REQUIRED | TapChanger | controlEnabled | Steady State Hypothesis profile
|  |  | REQUIRED | TapChanger | step | Steady State Hypothesis profile
TapChangerControl
|  |  | REQUIRED | RegulatingControl | discrete | Steady State Hypothesis profile
|  |  | REQUIRED | RegulatingControl | enabled | Steady State Hypothesis profile
|  |  | OPTIONAL | RegulatingControl | maxAllowedTargetValue | Steady State Hypothesis profile
|  |  | OPTIONAL | RegulatingControl | minAllowedTargetValue | Steady State Hypothesis profile
|  |  | OPTIONAL | RegulatingControl | targetDeadband | Steady State Hypothesis profile
|  |  | REQUIRED | RegulatingControl | targetValue | Steady State Hypothesis profile
|  |  | REQUIRED | RegulatingControl | targetValueUnitMultiplier | Steady State Hypothesis profile
Load
EnergyConsumer
|  |  | REQUIRED | Equipment | inService | Steady State Hypothesis profile
|  |  | REQUIRED | EnergyConsumer | p | Steady State Hypothesis profile
|  |  | REQUIRED | EnergyConsumer | q | Steady State Hypothesis profile
Generation - individual and aggregate
Generator electrical characteristics
SynchronousMachine
|  |  | REQUIRED | Equipment | inService | Steady State Hypothesis profile
|  |  | REQUIRED | RegulatingCondEq | controlEnabled | Steady State Hypothesis profile
|  |  | REQUIRED | RotatingMachine | p | Steady State Hypothesis profile
|  |  | REQUIRED | RotatingMachine | q | Steady State Hypothesis profile
|  |  | REQUIRED | SynchronousMachine | operatingMode | Steady State Hypothesis profile
|  |  | REQUIRED | SynchronousMachine | referencePriority | Steady State Hypothesis profile
AsynchronousMachine
|  |  | REQUIRED | Equipment | inService | Steady State Hypothesis profile
|  |  | REQUIRED | RegulatingCondEq | controlEnabled | Steady State Hypothesis profile
|  |  | REQUIRED | RotatingMachine | p | Steady State Hypothesis profile
|  |  | REQUIRED | RotatingMachine | q | Steady State Hypothesis profile
|  |  | REQUIRED | AsynchronousMachine | asynchronousMachineType | Steady State Hypothesis profile
PowerElectronicsConnection
|  |  | REQUIRED | Equipment | inService | Steady State Hypothesis profile
|  |  | REQUIRED | RegulatingCondEq | controlEnabled | Steady State Hypothesis profile
|  |  | REQUIRED | PowerElectronicsConnection | p | Steady State Hypothesis profile
|  |  | REQUIRED | PowerElectronicsConnection | q | Steady State Hypothesis profile
Controls
RegulatingControl (not required for aggregate generation)
|  |  | REQUIRED | RegulatingControl | discrete | Steady State Hypothesis profile
|  |  | REQUIRED | RegulatingControl | enabled | Steady State Hypothesis profile
|  |  | OPTIONAL | RegulatingControl | maxAllowedTargetValue | Steady State Hypothesis profile
|  |  | OPTIONAL | RegulatingControl | minAllowedTargetValue | Steady State Hypothesis profile
|  |  | OPTIONAL | RegulatingControl | targetDeadband | Steady State Hypothesis profile
|  |  | REQUIRED | RegulatingControl | targetValue | Steady State Hypothesis profile
|  |  | REQUIRED | RegulatingControl | targetValueUnitMultiplier | Steady State Hypothesis profile
Generator physical characteristics
GeneratingUnit
|  |  | REQUIRED | Equipment | inService | Steady State Hypothesis profile
|  |  | REQUIRED | GeneratingUnit | normalPF | Steady State Hypothesis profile
FlywheelUnit <<GB>>
|  |  | REQUIRED | Equipment | inService | Steady State Hypothesis profile
|  |  | REQUIRED | GeneratingUnit | normalPF | Steady State Hypothesis profile
GeothermalGeneratingUnit <<NC>>
|  |  | REQUIRED | Equipment | inService | Steady State Hypothesis profile
|  |  | REQUIRED | GeneratingUnit | normalPF | Steady State Hypothesis profile
HydroGeneratingUnit
|  |  | REQUIRED | Equipment | inService | Steady State Hypothesis profile
|  |  | REQUIRED | GeneratingUnit | normalPF | Steady State Hypothesis profile
NuclearGeneratingUnit
|  |  | REQUIRED | Equipment | inService | Steady State Hypothesis profile
|  |  | REQUIRED | GeneratingUnit | normalPF | Steady State Hypothesis profile
SolarGeneratingUnit
|  |  | REQUIRED | Equipment | inService | Steady State Hypothesis profile
|  |  | REQUIRED | GeneratingUnit | normalPF | Steady State Hypothesis profile
ThermalGeneratingUnit
|  |  | REQUIRED | Equipment | inService | Steady State Hypothesis profile
|  |  | REQUIRED | GeneratingUnit | normalPF | Steady State Hypothesis profile
WindGeneratingUnit
|  |  | REQUIRED | Equipment | inService | Steady State Hypothesis profile
|  |  | REQUIRED | GeneratingUnit | normalPF | Steady State Hypothesis profile
BatteryUnit
|  |  | REQUIRED | Equipment | inService | Steady State Hypothesis profile
|  |  | REQUIRED | BatteryUnit | storedE | Steady State Hypothesis profile
PhotoVoltaicUnit
|  |  | REQUIRED | Equipment | inService | SteadyStateHypothesis profile
PowerElectricalChemicalUnit <<NC>>
|  |  | REQUIRED | Equipment | inService | SteadyStateHypothesis profile
PowerElectronicsWindUnit
|  |  | REQUIRED | Equipment | inService | SteadyStateHypothesis profile
Compensator
Series
SeriesCompensator
|  |  | REQUIRED | Equipment | inService | SteadyStateHypothesis profile
Shunt
LinearShuntCompensator
|  |  | REQUIRED | Equipment | inService | Steady State Hypothesis profile
|  |  | REQUIRED | RegulatingCondEq | controlEnabled | Steady State Hypothesis profile
|  |  | REQUIRED | ShuntCompensator | sections | Steady State Hypothesis profile
NonLinearShuntCompensator
|  |  | REQUIRED | Equipment | inService | Steady State Hypothesis profile
|  |  | REQUIRED | RegulatingCondEq | controlEnabled | Steady State Hypothesis profile
|  |  | REQUIRED | ShuntCompensator | sections | Steady State Hypothesis profile
StaticVarCompensator
|  |  | REQUIRED | Equipment | inService | Steady State Hypothesis profile
|  |  | REQUIRED | RegulatingCondEq | controlEnabled | Steady State Hypothesis profile
|  |  | REQUIRED | StaticVarCompensator | q | Steady State Hypothesis profile
Controls
RegulatingControl
|  |  | REQUIRED | RegulatingControl | discrete | Steady State Hypothesis profile
|  |  | REQUIRED | RegulatingControl | enabled | Steady State Hypothesis profile
|  |  | OPTIONAL | RegulatingControl | maxAllowedTargetValue | Steady State Hypothesis profile
|  |  | OPTIONAL | RegulatingControl | minAllowedTargetValue | Steady State Hypothesis profile
|  |  | OPTIONAL | RegulatingControl | targetDeadband | Steady State Hypothesis profile
|  |  | REQUIRED | RegulatingControl | targetValue | Steady State Hypothesis profile
|  |  | REQUIRED | RegulatingControl | targetValueUnitMultiplier | Steady State Hypothesis profile
External connections
EquivalentInjection
|  |  | REQUIRED | Equipment | inService | Steady State Hypothesis profile
|  |  | REQUIRED | EquivalentInjection | p | Steady State Hypothesis profile
|  |  | REQUIRED | EquivalentInjection | q | Steady State Hypothesis profile
|  |  | OPTIONAL | EquivalentInjection | regulationStatus | Steady State Hypothesis profile
|  |  | OPTIONAL | EquivalentInjection | regulationTarget | Steady State Hypothesis profile
System Capacity
SummaryShortCircuitResult <<GB>>
|  |  | OPTIONAL | IdentifiedObject | description | System Capacity profile
|  |  | TOOL | IdentifiedObject | mRID | System Capacity profile
|  |  | OPTIONAL | IdentifiedObject | name | System Capacity profile
|  |  | REQUIRED | ShortCircuitResult | faultKind | System Capacity profile
|  |  | REQUIRED | ShortCircuitResult | peakCurrent | System Capacity profile
|  |  | REQUIRED | ShortCircuitResult | symmetricalBreakingCurrent | System Capacity profile
|  |  | REQUIRED | ShortCircuitResult | symmetricalBreakingCurrentAngle | System Capacity profile
FirmCapacity <<GB>>
|  |  | OPTIONAL | IdentifiedObject | description | System Capacity profile
|  |  | TOOL | IdentifiedObject | mRID | System Capacity profile
|  |  | OPTIONAL | IdentifiedObject | name | System Capacity profile
|  |  | REQUIRED | FirmCapacity | firmCapacitySummer | System Capacity profile
|  |  | REQUIRED | FirmCapacity | firmCapacityWinter | System Capacity profile
MaximumLoading <<GB>>
|  |  | OPTIONAL | IdentifiedObject | description | System Capacity profile
|  |  | TOOL | IdentifiedObject | mRID | System Capacity profile
|  |  | OPTIONAL | IdentifiedObject | name | System Capacity profile
|  |  | REQUIRED | MaximumLoading | maxLoadingSummer | System Capacity profile
|  |  | REQUIRED | MaximumLoading | maxLoadingWinter | System Capacity profile
|  |  | REQUIRED | MaximumLoading | qAtMaxLoadingSummer | System Capacity profile
|  |  | REQUIRED | MaximumLoading | qAtMaxLoadingWinter | System Capacity profile
PastYearConnectionActivity <<GB>>
|  |  | OPTIONAL | IdentifiedObject | description | System Capacity profile
|  |  | TOOL | IdentifiedObject | mRID | System Capacity profile
|  |  | OPTIONAL | IdentifiedObject | name | System Capacity profile
|  |  | REQUIRED | PastYearConnectionActivty | generationBudgetEstimatesProvidedCapacity | System Capacity profile
|  |  | REQUIRED | PastYearConnectionActivty | generationBudgetEstimatesProvidedCount | System Capacity profile
|  |  | REQUIRED | PastYearConnectionActivty | generationConnectionOffersAcceptedCapacity | System Capacity profile
|  |  | REQUIRED | PastYearConnectionActivty | generationConnectionOffersAcceptedCount | System Capacity profile
|  |  | REQUIRED | PastYearConnectionActivty | generationConnectionOffersMadeCapacity | System Capacity profile
|  |  | REQUIRED | PastYearConnectionActivty | generationConnectionOffersMadeCount | System Capacity profile
|  |  | REQUIRED | PastYearConnectionActivty | loadBudgetEstimatesProvidedCapacity | System Capacity profile
|  |  | REQUIRED | PastYearConnectionActivty | loadBudgetEstimatesProvidedCount | System Capacity profile
|  |  | REQUIRED | PastYearConnectionActivty | loadConnectionOffersAcceptedCapacity | System Capacity profile
|  |  | REQUIRED | PastYearConnectionActivty | loadConnectionOffersAcceptedCount | System Capacity profile
|  |  | REQUIRED | PastYearConnectionActivty | loadConnectionOffersMadeCapacity | System Capacity profile
|  |  | REQUIRED | PastYearConnectionActivty | loadConnectionOffersMadeCount | System Capacity profile

## LTDS vs CGMES Classes
1 | in Equipment/ ShortCircuit/ SteadyStateHypothesis display group -or- Topology/ StateVariables/ SystemCapacity/ DiagramLayout profile | in CGMES v3.0 Equipment | in LTDS Equipment | in CGMES v3.0 ShortCircuit | in LTDS Short Circuit | in CGMES v3.0 GeographicalLocation | in LTDS GeographicalLocation | in CGMES v3.0 SteadyStateHypothesis | in LTDS SteadyState Hypothesis | in CGMES v3.0 Topology | in LTDS Topology | in CGMES v3.0 StateVariables | in LTDS State Variables | in LTDS SystemCapacity | in CGMES v3.0 DiagramLayout | in LTDS DiagramLayout | Key
2 | - none - DC | ACDCConverter | N |  |  |  |  | ACDCConverter | N |  |  | ACDCConverter | N |  |  |  | in CGMES v3.0 and in LTDS profile
3 | - none - DC | ACDCConverterDCTerminal | N |  |  |  |  | ACDCConverterDCTerminal<<Description>> | N | ACDCConverterDCTerminal<<Description>> | N | [5 empty] | in CGMES v3.0 and not in LTDS profile
4 | BuildingBlock | ACDCTerminal | Y | ACDCTerminal | N |  |  | ACDCTerminal | N | ACDCTerminal | Y | ACDCTerminal | Y |  |  |  | in CGMES v3.0 profile and not in CIM information model
5 | ACLineSegment | ACLineSegment | Y | ACLineSegment<<Description>> | Y |  |  | ACLineSegment | Y | [7 empty] | not in CGMES v3.0 profile but in CIM information model
6 | OperationalLimitSet | ActivePowerLimit | N |  |  |  |  | ActivePowerLimit<<Description>> | N | [7 empty] | added by LTDS to information model and profile
7 | OperationalLimitSet | ApparentPowerLimit | Y |  |  |  |  | ApparentPowerLimit<<Description>> | Y
8 | RegulatingCondEq | AsynchronousMachine | Y | AsynchronousMachine<<Description>> | N |  |  | AsynchronousMachine<<Description>> | Y | [7 empty] | not explicitly in CGMES v3.0 profile but should be (class has Equipment.inService)
9 | - none - Aux Equip | AuxiliaryEquipment | N |  |  |  |  | AuxiliaryEquipment | N
10 | BuildingBlock | BaseVoltage | Y | [6 empty] | BaseVoltage | Y
11 | - none - Schedules | BasicIntervalSchedule | N
12 | GeneratingUnit | BatteryUnit | Y |  |  |  |  | BatteryUnit<<Description>> | Y
13 | EquipmentContainer | Bay | N
14 | GeneratingUnit | BioFuel <<GB>> | Y
15 | CondEq Control External | BoundaryPoint<<European>> | Y
16 | Switch | Breaker | Y |  |  |  |  | Breaker<<Description>> | Y
17 | SystemCapacity profile | [12 empty] | BusbarGroup <<GB>>
18 | CondEq Control External | BusbarSection | Y | BusbarSection<<Description>> | N |  |  | BusbarSection | Y |  |  |  |  | BusbarSection
19 | BuildingBlock | BusNameMarker | N
20 | GeneratingUnit | CAESPlant | Y
21 | CondEq Control External | Clamp | N |  |  |  |  | Clamp | N
22 | GeneratingUnit | CogenerationPlant | N
23 | GeneratingUnit | CombinedCyclePlant | N
24 | BuildingBlock | ConductingEquipment | Y | ConductingEquipment | N |  |  | ConductingEquipment | Y |  |  | ConductingEquipment | Y
25 | ACLineSegment | Conductor | Y | Conductor | N |  |  | Conductor | Y
26 | EnergyConsumer | ConformLoad | N |  |  |  |  | ConformLoad<<Description>> | N
27 | EnergyConsumer | ConformLoadGroup | N
28 | EnergyConsumer | ConformLoadSchedule | N
29 | BuildingBlock | ConnectivityNode | Y | [6 empty] | ConnectivityNode <<Description>> | Y
30 | EquipmentContainer | ConnectivityNodeContainer | Y | [6 empty] | ConnectivityNodeContainer | Y
31 | CondEq Control External | Connector | Y | Connector | N |  |  | Connector | Y
32 | - none - Control Area | ControlArea | N |  |  |  |  | ControlArea<<Description>> | N
33 | - none - Control Area | ControlAreaGeneratingUnit | N
34 | GeographicalLocation profile |  |  |  |  | CoordinateSystem | Y
35 | - none - DC | CsConverter | N |  |  |  |  | CsConverter<<Description>> | N |  |  | CsConverter<<Description>> | N
36 | OperationalLimitSet | CurrentLimit | Y |  |  |  |  | CurrentLimit<<Description>> | Y
37 | - none - Aux Equip | CurrentTransformer | N |  |  |  |  | CurrentTransformer | N
38 | RegulatingCondEq | Curve | Y
39 | RegulatingCondEq | CurveData | Y
40 | Switch | Cut | N |  |  |  |  | Cut <<odd, it's the only Switch subtype not in SSH | N
41 | - none - Schedules | DayType | N
42 | - none - DC | DCBaseTerminal | N |  |  |  |  | DCBaseTerminal | N | DCBaseTerminal | N
43 | - none - DC | DCBreaker | N |  |  |  |  | DCBreaker | N
44 | - none - DC | DCBusbar | N |  |  |  |  | DCBusbar | N
45 | - none - DC | DCChopper | N |  |  |  |  | DCChopper | N
46 | - none - DC | DCConductingEquipment | N |  |  |  |  | DCConductingEquipment | N
47 | - none - DC | DCConverterUnit | N
48 | - none - DC | DCDisconnector | N |  |  |  |  | DCDisconnector | N
49 | - none - DC | DCEquipmentContainer | N | [6 empty] | DCEquipmentContainer | N
50 | - none - DC | DCGround | N |  |  |  |  | DCGround | N
51 | - none - DC | DCLine | N
52 | - none - DC | DCLineSegment | N |  |  |  |  | DCLineSegment | N
53 | - none - DC | DCNode | N | [6 empty] | DCNode <<Description>> | N
54 | - none - DC | DCSeriesDevice | N |  |  |  |  | DCSeriesDevice | N
55 | - none - DC | DCShunt | N |  |  |  |  | DCShunt | N
56 | - none - DC | DCSwitch | N |  |  |  |  | DCSwitch | N
57 | - none - DC | DCTerminal | N |  |  |  |  | DCTerminal<<Description>> | N | DCTerminal<<Description>> | N
58 | Topology profile | [10 empty] | DCTopologicalIsland | N
59 | Topology profile/ StateVariables profile | [8 empty] | DCTopologicalNode | N | DCTopologicalNode | N
60 | DiagramLayout profile | [13 empty] | Diagram | Y
61 | DiagramLayout profile | [13 empty] | DiagramObject | Y
62 | DiagramLayout profile | [13 empty] | DiagramObjectGluePoint | Y
63 | DiagramLayout profile | [13 empty] | DiagramObjectPoint | Y
64 | DiagramLayout profile | [13 empty] | DiagramObjectStyle | Y
65 | DiagramLayout profile | [13 empty] | DiagramStyle | Y
66 | Switch | DisconnectingCircuitBreaker | Y |  |  |  |  | DisconnectingCircuitBreaker<<Description>> | Y
67 | Switch | Disconnector | Y |  |  |  |  | Disconnector<<Description>> | Y
68 | PowerTransformer | EarthFaultCompensator | N | EarthFaultCompensator | N |  |  | EarthFaultCompensator | N
69 | EnergyConsumer | EnergyArea | N
70 | RegulatingCondEq/ EnergyConsumer | EnergyConnection | Y | EnergyConnection | N |  |  | EnergyConnection | Y
71 | EnergyConsumer | EnergyConsumer | Y |  |  |  |  | EnergyConsumer<<Description>> | Y
72 | - none - Schedules | EnergySchedulingType | N
73 | - none - Equiv Ext | EnergySource | N | EnergySource<<Description>> | N |  |  | EnergySource<<Description>> | N
74 | BuildingBlock | Equipment | Y | Equipment | N |  |  | Equipment | Y
75 | EquipmentContainer | EquipmentContainer | Y
76 | - none - Equiv Ext | EquivalentBranch | N | EquivalentBranch<<Description>> | N |  |  | EquivalentBranch | N
77 | CondEq Control External | EquivalentEquipment | Y | EquivalentEquipment | N |  |  | EquivalentEquipment | Y
78 | CondEq Control External | EquivalentInjection | Y | EquivalentInjection<<Description>> | N |  |  | EquivalentInjection<<Description>> | Y
79 | EquipmentContainer | EquivalentNetwork | N
80 | - none - Equiv Ext | EquivalentShunt | N |  |  |  |  | EquivalentShunt | N
81 | RegulatingCondEq | ExternalNetworkInjection | N | ExternalNetworkInjection<<Description>> | N |  |  | ExternalNetworkInjection<<Description>> | N
82 | - none - Aux Equip | FaultIndicator | N |  |  |  |  | FaultIndicator | N
83 | GeneratingUnit | FlywheelUnit <<GB>> | Y |  |  |  |  | FlywheelUnit <<GB>> | Y
84 | GeneratingUnit | FossilFuel | Y
85 | Switch | Fuse | Y |  |  |  |  | Fuse<<Description>> | Y
86 | GeneratingUnit | GeneratingUnit | Y |  |  |  |  | GeneratingUnit<<Description>> | Y
87 | EquipmentContainer | GeographicalRegion | Y
88 | GeneratingUnit | GeothermalGeneratingUnit <<NC>> | Y |  |  |  |  | GeothermalGeneratingUnit <<NC>> | Y
89 | GeneratingUnit | GrossToNetActivePowerCurve | N
90 | CondEq Control External | Ground | N |  |  |  |  | Ground | N
91 | Switch | GroundDisconnector | Y |  |  |  |  | GroundDisconnector<<Description>> | Y
92 | PowerTransformer | GroundingImpedance | N | GroundingImpedance<<Description>> | N |  |  | GroundingImpedance | N
93 | GeneratingUnit | HydroGeneratingUnit | Y |  |  |  |  | HydroGeneratingUnit<<Description>> | Y
94 | GeneratingUnit | HydroPowerPlant | Y
95 | GeneratingUnit | HydroPump | N |  |  |  |  | HydroPump | N
96 | BuildingBlock | IdentifiedObject | Y | IdentifiedObject | N | IdentifiedObject | Y | IdentifiedObject | Y | IdentifiedObject | Y | IdentifiedObject | Y | IdentifiedObject | IdentifiedObject | Y
97 | Switch | Jumper | N |  |  |  |  | Jumper<<Description>> | N
98 | CondEq Control External | Junction | N |  |  |  |  | Junction | N
99 | EquipmentContainer | Line | Y
100 | ShuntCompensator | LinearShuntCompensator | Y | LinearShuntCompensator<<Description>> | N |  |  | LinearShuntCompensator<<Description>> | Y
101 | EnergyConsumer | LoadArea | N
102 | Switch | LoadBreakSwitch | Y |  |  |  |  | LoadBreakSwitch<<Description>> | Y
103 | EnergyConsumer | LoadGroup | N
104 | EnergyConsumer | LoadResponseCharacteristic | N
105 | GeographicalLocation profile |  |  |  |  | Location | Y
106 | ACLineSegment |  |  | MutualCoupling | N
107 | EnergyConsumer | NonConformLoad | N |  |  |  |  | NonConformLoad<<Description>> | N
108 | EnergyConsumer | NonConformLoadGroup | N
109 | EnergyConsumer | NonConformLoadSchedule | N
110 | ShuntCompensator | NonlinearShuntCompensator | Y |  |  |  |  | NonlinearShuntCompensator<<Description>> | Y
111 | ShuntCompensator | NonlinearShuntCompensatorPoint | Y | NonlinearShuntCompensatorPoint<<Description>> | N
112 | GeographicalLocation profile |  |  |  |  | StreetAddress <<Compound>> | N
113 | GeneratingUnit | NuclearGeneratingUnit | Y |  |  |  |  | NuclearGeneratingUnit<<Description>> | Y
114 | OperationalLimitSet | OperationalLimit | Y |  |  |  |  | OperationalLimit | Y
115 | OperationalLimitSet | OperationalLimitSet | Y
116 | OperationalLimitSet | OperationalLimitType | Y
117 | GeneratingUnit | OtherFuel <<GB>> | Y
118 | PowerTransformer | PetersenCoil | N | PetersenCoil<<Description>> | N |  |  | PetersenCoil | N
119 | TapChanger | PhaseTapChanger | Y |  |  |  |  | PhaseTapChanger | Y
120 | TapChanger | PhaseTapChangerAsymmetrical | Y |  |  |  |  | PhaseTapChangerAsymmetrical<<Description>> | Y
121 | TapChanger | PhaseTapChangerLinear | Y |  |  |  |  | PhaseTapChangerLinear<<Description>> | Y
122 | TapChanger | PhaseTapChangerNonLinear | Y |  |  |  |  | PhaseTapChangerNonLinear | Y
123 | TapChanger | PhaseTapChangerSymmetrical | Y |  |  |  |  | PhaseTapChangerSymmetrical<<Description>> | Y
124 | TapChanger | PhaseTapChangerTable | Y
125 | TapChanger | PhaseTapChangerTablePoint | Y
126 | TapChanger | PhaseTapChangerTabular | Y |  |  |  |  | PhaseTapChangerTabular<<Description>> | Y
127 | GeographicalLocation profile |  |  |  |  | TownDetail <<Compound>> | N
128 | GeneratingUnit | PhotoVoltaicUnit | Y |  |  |  |  | PhotoVoltaicUnit | Y
129 | GeographicalLocation profile |  |  |  |  | PositionPoint | Y
130 | - none - Aux Equip | PostLineSensor | N |  |  |  |  | PostLineSensor | N
131 | - none - Aux Equip | PotentialTransformer | N |  |  |  |  | PotentialTransformer | N
132 | GeneratingUnit | PowerElectricalChemicalUnit <<NC>> | Y |  |  |  |  | PowerElectricalChemicalUnit <<NC>> | Y
133 | RegulatingCondEq | PowerElectronicsConnection | Y |  |  |  |  | PowerElectronicsConnection<<Description>> | Y
134 | GeneratingUnit | PowerElectronicsUnit | Y |  |  |  |  | PowerElectronicsUnit | Y
135 | GeneratingUnit | PowerElectronicsWindUnit | Y |  |  |  |  | PowerElectronicsWindUnit | Y
136 | BuildingBlock | PowerSystemResource | Y | PowerSystemResource | N | PowerSystemResource | Y | PowerSystemResource | Y
137 | PowerTransformer | PowerTransformer | Y | PowerTransformer<<Description>> | N |  |  | PowerTransformer | Y
138 | PowerTransformer | PowerTransformerEnd | Y | PowerTransformerEnd<<Description>> | Y
139 | Switch | ProtectedSwitch | Y |  |  |  |  | ProtectedSwitch | Y
140 | EquipmentContainer | PSRType | Y
141 | TapChanger | RatioTapChanger | Y |  |  |  |  | RatioTapChanger<<Description>> | Y
142 | TapChanger | RatioTapChangerTable | Y
143 | TapChanger | RatioTapChangerTablePoint | Y
144 | RegulatingCondEq | ReactiveCapabilityCurve | Y
145 | - none - Schedules | RegularIntervalSchedule | N
146 | - none - Schedules | RegularTimePoint | N
147 | RegulatingCondEq | RegulatingCondEq | Y | RegulatingCondEq | N |  |  | RegulatingCondEq<<Description>> | Y
148 | CondEq Control External | RegulatingControl | Y |  |  |  |  | RegulatingControl<<Description>> | Y
149 | - none - Schedules | RegulationSchedule | N
150 | BuildingBlock | ReportingGroup | N | [6 empty] | ReportingGroup | Y
151 | RegulatingCondEq | RotatingMachine | Y | RotatingMachine | N |  |  | RotatingMachine | Y
152 | - none - Schedules | Season | N
153 | - none - Schedules | SeasonDayTypeSchedule | N
154 | - none - Aux Equip | Sensor | N |  |  |  |  | Sensor | N
155 | CondEq Control External | SeriesCompensator | Y | SeriesCompensator<<Description>> | N |  |  | SeriesCompensator | Y
156 | GeographicalLocation profile |  |  |  |  | ServiceLocation | N
157 | SystemCapacity profile | [12 empty] | ShortCircuitResult <<GB>>
158 | ShuntCompensator | ShuntCompensator | Y | ShuntCompensator | N |  |  | ShuntCompensator | Y |  |  | ShuntCompensator | Y
159 | GeneratingUnit | SolarGeneratingUnit | Y |  |  |  |  | SolarGeneratingUnit<<Description>> | Y
160 | GeneratingUnit | SolarPowerPlant<<European>> | N
161 | ShuntCompensator | StaticVarCompensator | Y |  |  |  |  | StaticVarCompensator<<Description>> | Y
162 | EnergyConsumer | StationSupply | N |  |  |  |  | StationSupply<<Description>> | N
163 | GeographicalLocation profile |  |  |  |  | StreetDetail <<Compound>> | N
164 | GeographicalLocation profile |  |  |  |  | Status <<Compound>> | N
165 | EquipmentContainer | SubGeographicalRegion | Y
166 | EnergyConsumer | SubLoadArea | N
167 | EquipmentContainer | Substation | Y
168 | SystemCapacity profile | [12 empty] | Summary ShortCircuitResult <<GB>>
169 | - none - Aux Equip | SurgeArrester | N |  |  |  |  | SurgeArrester | N
170 | StateVariables profile | [10 empty] | SvInjection | Y
171 | StateVariables profile | [10 empty] | SvPowerFlow | Y
172 | StateVariables profile | [10 empty] | SvShuntCompensatorSections | Y
173 | StateVariables profile | [10 empty] | SvStatus | Y
174 | StateVariables profile | [10 empty] | SvSwitch | Y
175 | StateVariables profile | [10 empty] | SvTapStep | Y
176 | StateVariables profile | [10 empty] | SvVoltage | Y
177 | Switch | Switch | Y |  |  |  |  | Switch<<Description>> | Y |  |  | Switch | Y
178 | - none - Schedules | SwitchSchedule | N
179 | RegulatingCondEq | SynchronousMachine | Y | SynchronousMachine<<Description>> | N |  |  | SynchronousMachine<<Description>> | Y
180 | TapChanger | TapChanger | Y |  |  |  |  | TapChanger | Y |  |  | TapChanger | Y
181 | TapChanger | TapChangerControl | Y |  |  |  |  | TapChangerControl<<Description>> | Y
182 | TapChanger | TapChangerTablePoint | Y
183 | TapChanger | TapSchedule | N
184 | BuildingBlock | Terminal | Y | Terminal | N |  |  | Terminal<<Description>> | N | Terminal <<DescriptIon>> | N | Terminal | Y
185 | DiagramLayout profile | [13 empty] | TextDiagramObject | Y
186 | GeneratingUnit | ThermalGeneratingUnit | Y |  |  |  |  | ThermalGeneratingUnit<<Description>> | Y
187 | - none - Control Area | TieFlow | N
188 | StateVariables profile | [10 empty] | TopologicalIsland | Y
189 | Topology profile/ StateVariables profile | [8 empty] | TopologicalNode | Y | TopologicalNode | Y
190 | PowerTransformer | TransformerEnd | Y | TransformerEnd | N
191 | DiagramLayout profile | [13 empty] | VisibilityLayer | Y
192 | EquipmentContainer | VoltageLevel | Y
193 | OperationalLimitSet | VoltageLimit | N |  |  |  |  | VoltageLimit<<Description>> | N
194 | - none - DC | VsCapabilityCurve | N
195 | - none - DC | VsConverter | N |  |  |  |  | VsConverter<<Description>> | N |  |  | VsConverter<<Description>> | N
196 | - none - Aux Equip | WaveTrap | N |  |  |  |  | WaveTrap | N
197 | GeneratingUnit | WindGeneratingUnit | Y |  |  |  |  | WindGeneratingUnit<<Description>> | Y
198 | GeneratingUnit | WindPowerPlant<<European>> | N
199 | GeographicalLocation profile |  |  |  |  | WorkLocation | N

## LTDS vs CGMES Enumerations
1 | in display group | in CGMES v3.0 Equipment | in LTDS Equipment | in CGMES v3.0 ShortCircuit | in LTDS Short Circuit | in CGMES v3.0 Geographical Location | in LTDS Geographical Location | in CGMES v3.0 SteadyStateHypothesis | in LTDS SteadyState Hypothesis | in CGMES v3.0 Topology | in LTDS Topology | in CGMES v3.0 StateVariables | in LTDS State Variables | in LTDS SystemCapacity | in CGMES v3.0 DiagramLayout | in LTDS Diagram Layout | Key
2 | RegulatingCondEq | [6 empty] | AsynchronousMachineKind<<enumeration>> | Y | [7 empty] | in CGMES v3.0 and in LTDS profile
3 | GeneratingUnit | [6 empty] | BatteryStateKind<<enumeration>> | N | [7 empty] | in CGMES v3.0 and not in LTDS profile
4 | GeneratingUnit | BioFuelKind <<GB>> | Y | [13 empty] | in CGMES v3.0 profile and not in CIM information model
5 | EnergyConsumer | ConnectionProjectStatusKind <<enumeration>> | Y | [13 empty] | not in CGMES v3.0 profile but in CIM information model
6 | - none - Control Area | ControlAreaTypeKind<<enumeration>> | N | [13 empty] | added by LTDS to information model and profile
7 | - none - DC | [6 empty] | CsOperatingModeKind<<enumeration>> | N
8 | - none - DC | [6 empty] | CsPpccControlKind<<enumeration>> | N
9 | RegulatingCondEq | CurveStyle<<enumeration>> | Y
10 | - none - DC | DCConverterOperatingModeKind<<enumeration>> | N
11 | - none - DC | DCPolarityKind<<enumeration>> | N
12 | PowerTransformer | EarthingMethodKind<<enumeration,GB>> | Y
13 | GeneratingUnit | FuelType<<enumeration>> | Y
14 | GeneratingUnit | GeneratorControlSource<<enumeration>> | N
15 | GeneratingUnit | HydroEnergyConversionKind<<enumeration>> | N
16 | GeneratingUnit | HydroPlantStorageKind<<enumeration>> | Y
17 | GeneratingUnit | HydroTurbineKind<<enumeration>> | N
18 | OperationalLimitSet | LimitKind<<enumeration, European>> | Y
19 | OperationalLimitSet | OperationalLimitDirectionKind<<enumeration>> | Y
20 | DiagramLayout | [13 empty] | OrientationKind <<enumeration>> | Y
21 | GeneratingUnit | OtherFuelKind <<GB>> | Y
22 | PowerTransformer |  |  | PetersenCoilModeKind<<enumeration>> | N
23 | BuildingBlock | PhaseCode<<enumeration>> | Y
24 | BuildingBlock | RegulatingControlModeKind<<enumeration>> | Y
25 | PowerTransformer | ReverseFlowCapabilityKind<<enumeration,GB>> | Y
26 | SystemCapacity | [12 empty] | ShortCircuitFaultKind <<enumeration,GB>>
27 | RegulatingCondEq |  |  | ShortCircuitRotorKind<<enumeration>> | N
28 | ShuntCompensator | SVCControlMode<<enumeration>> | N
29 | RegulatingCondEq | SynchronousMachineKind<<enumeration>> | Y
30 | RegulatingCondEq | [6 empty] | SynchronousMachineOperatingMode<<enumeration>> | Y
31 | GeneratingUnit | WindGenUnitKind<<enumeration>> | N
32 | PowerTransformer | WindingConnection<<enumeration>> | Y
33 | - none - DC | [6 empty] | VsPpccControlKind<<enumeration>> | N
34 | - none - DC | [6 empty] | VsQpccControlKind<<enumeration>> | N