## ED01
Licence number and name: |  | Special and Standard Conditions of the Electricity Distribution Licence
DNO: |  | Northern Powergrid
No. | Date raised | Comment from | Reference (Part X, Para Y) | Comment | Suggested alternative drafting (if necessary) | Due Date | Response | Issue closed?
1 | 2024-01-15 | NPg | SpC1.2.4 - Definition of "National Electricity Transmission System" | "Transmission Licensee" is a defined term and is capitalised elsewhere in the licence | Capitalise "transmission licensees" and "transmission licensee"
2 | 2024-01-15 | NPg | SpC4.4.7 - definition of CICt | Clarification due to change in definition of "National Electricity Transmission System" | Change "… on the systems of the Transmission Licensees …" to "… on the National Electricity Transmission System …"
3 | 2024-01-15 | NPg | SpC4.4.10 - definition of CMLCt | Clarification because the ISOP will not be a Transmission Licensee and due to change in definition of "National Electricity Transmission System" | Change "… on the systems of the Transmission Licensees …" to "… on the National Electricity Transmission System …"
4 | 2024-01-15 | NPg | SpC9.4.4 | The reference to "… the Transmission Licence held by the ISOP …" is not consistent with the other changes | Change "… the Transmission Licence held by the ISOP …" to "… the Electricity System Operator Licence held by the ISOP …"
5 | 2024-01-15 | NPg | SLC1.3 - definition of "Authorised Electricity Operator" | "Electricity System Operator Licence" is a defined term and is capitalised elsewhere in the licence | Capitalise "electricity system operator licence"
6 | 2024-01-15 | NPg | SLC1.3 - definition of "ISOP" | "Electricity System Operator Licence" is a defined term and is capitalised elsewhere in the licence and "gas system planner licence" should be a defined term for consistency | Capitalise "electricity system operator licence" and add definition of "gas system planner licence"
7 | 2024-01-15 | NPg | SLC1.3 - definition of "National Electricity Transmission System Operator Area" | "Electricity System Operator Licence" is a defined term and is capitalised elsewhere in the licence | Capitalise "licence"
8 | 2024-01-15 | NPg | SLC37.7 | As "the ISOP" has been introduced into the licence, it should be added to SLC37.7 for consistency | Change "References to an Electricity Supplier or a Transmission Licensee include references to any agent of that supplier or that licensee." to "References to an Electricity Supplier, a Transmission Licensee or the ISOP include references to any agent of that supplier, that licensee or the ISOP."
9 | 2024-01-15 | NPg | SLC43A.4(a) | As "the ISOP" has been introduced into the licence, its licences should be added to SLC43A.4(a) for consistency | Change "(a) an Associate of the licensee that is the holder of a gas transporter licence or an electricity transmission licence or an electricity distribution licence;" to "(a) an Associate of the licensee that is the holder of a gas transporter licence or a gas system planner licence or an Electricity System Operator Licence or a Transmission Licence or an electricity distribution licence;
10 | 2024-01-15 | NPg | SLC43A.12 - definition of "Qualifying Group Company" | As "the ISOP" has been introduced into the licence, its licences should be added to definition of "Qualifying Group Company" for consistency | Change "(a) … each of which is the holder of a gas transporter licence or an electricity transmission licence or an electricity distribution licence;" to "(a) … each of which is the holder of a gas transporter licence or a gas system planner licence or an Electricity System Operator Licence or a Transmission Licence or an electricity distribution licence;
11 | 2024-01-15 | NPg | SLC48A.10 - definition of "RIIO-1 Network Innovation Allowance" | The defined term "GB System Operator" has been deleted and "the ISOP" wil hold an "Electricity System Operator Licence." | Change "… the GB System Operator's Transmission Licence …" to "… the ISOP's Electricity System Operator Licence." and update the references to the associated Special Conditions accordingly
12 | 2024-01-15 | NPg | SLC48A.10 - definition of "RIIO-1 Network Innovation Competition" | The defined term "GB System Operator" has been deleted and "the ISOP" wil hold an "Electricity System Operator Licence." | Change "… the GB System Operator's Electricity Transmission Licence …" to "… the ISOP's Electricity System Operator Licence." and update the reference to the associated Special Condition accordingly
13 | 2024-01-15 | NPg | SLC48A.10 - definition of "RIIO-2 Network Innovation Allowance" | The defined term "GB System Operator" has been deleted and "the ISOP" wil hold an "Electricity System Operator Licence." | Change "… the GB System Operator's Transmission Licence …" to "… the ISOP's Electricity System Operator Licence." and update the reference to the associated Special Condition accordingly
14 | 2024-01-15 | NPg | SLC48A.10 - definition of "SIF" | The defined term "GB System Operator" has been deleted and "the ISOP" wil hold an "Electricity System Operator Licence." | Change "… of GB System Operator's Transmission Licence …" to "… of the ISOP's Electricity System Operator Licence." and update the reference to the associated Special Condition accordingly