## Instructions
Instructions
Colour Coding
Plan | These columns are for referencing to the Business Plan Data Template (BPDT) predominantly including the Ofgem Scheme Reference (OSR).
Historic Funding | To use to fill in any information regarding previous interventions or funding requests.
Asset Data | For all asset data. Should licensees need to add more data, this colour coding will be used for Asset Data. Noting that for Overhead Line (OHL) some assets will not have Network Asset Risk Metric (NARM) scores. Provide OHL and cable in km lengths and other assets as
Optioneering | For the licensees to highlight their preferred option and associated cost.
Link to Major Project | To be used to highlight link to major/lead project.
Ofgem Review | To provide feedback on the proposed investments from Ofgem to Licensees.
Specific Considerations
Asset Data | All assets will be submitted in the EJP with the associated asset data. This is to limit the need for significant narrative to highlight options selected.
Optioneering | Optioneering will be provided only for the interventions which are proposed in T3. For assets which are included in Major Project EJPs Optioneering will be reviewed as part of those EJPs.
Drawings | We expect all drawings to be entered as a reference we do not expect the drawings to be included in the spreadsheet. This will reduce the size of the spreadsheet, hyperlinks are permitted by referencing should be clear as to the relationship required.
Costs | Only direct costs to be used for Supergrid Transformers (SGTs), Circuit Breakers (CBs), Reactors (Rx) and Underground (UG) Cables. OHL costs to be reviewed via BPDT
Changelog | Please add any of your changes to the format/layout to the changelog table. Please do not remove any columns.

## Changelog
Please add any changes that you've made to the format in here.
Update | Completed | Date
Typos | Done | 2024-06-27
Acronyms | Done | 2024-06-27
Instructions | Done | 2024-06-27
Drop Down Menu to (Refurb, Replace, Other) | Done | 2024-06-27
Add Major Projects Column prior to Ofgem review as described in instructions | Done | 2024-06-27

## SGT Example
Lead Asset Portfolio - SGT
Plan References |  | Historic Funding |  | Asset Data | [20 empty] | Optioneering | [16 empty] | Major/Lead Projects | Ofgem Review
[10 empty] | P Band @ 2026 |  |  |  |  | P Band @ 2031 |  |  |  |  | R Band @ 2031
OSR Reference | Project Reference | T1 Investment | T2 Investment | Substation | Asset ID | Asset Heading | Asset Category | Asset Sub-Category Primary | Voltage | P1-P2 | P3-P4 | P5-P6 | P7-P8 | P9-P10 | P1-P2 | P3-P4 | P5-P6 | P7-P8 | P9-P10 | R1-R2 | R3-R4 | R5-R6 | R7-R8 | R9-R10 | Intervention Proposed RIIO T3 | Intervention Description | Civils | Present Ratings (MVA) | Future Ratings (MVA) | As found design (Drawing No. or Link) | Proposed Design (Drawing No. or Link) | Asset Direct Cost Estimate (£m) | Incremental Costs (£m) | Cost Drivers | Other Cost (Direct) | Intervention Discarded RIIO T3 - Option Baseline | Intervention Discarded RIIO T3 - Option 1 | Intervention Discarded RIIO T3 - Option 2 | Link to associated asset replacement | T4 Intervention Planned | T5 intervention Planned | Project Type | Need Case | Optioneering | Cost | Incremental Cost | Control
OFGEMET001 | Major Project 001 - ABCD Site Replacement | Planned-Not Delivered |  | ABCD | SGT1 | Assets | Wound plant | Transformer | 275kV |  |  |  |  | 1 |  |  |  |  | 1 |  |  |  | 1 | [15 empty] | Major Projects 001 ABCD Replacement EJP |  |  | Major Project
OFGEMET001 | Major Project 001 - ABCD Site Replacement |  |  | ABCD | SGT2 | Assets | Wound plant | Transformer | 275kV |  | 1 | [5 empty] | 1 | [24 empty] | Major Project
OFGEMET001 | Major Project 001 - ABCD Site Replacement |  |  | ABCD | SGT3 | Assets | Wound plant | Transformer | 275kV |  |  |  | 1 | [5 empty] | 1 | [22 empty] | Major Project
OFGEMET001 | Major Project 001 - ABCD Site Replacement |  |  | ABCD | SGT4 | Assets | Wound plant | Transformer | 275kV |  |  |  |  | 1 |  |  |  |  | 1 | [22 empty] | Major Project
OFGEMET001 | Major Project 001 - ABCD Site Replacement |  |  | ABCD | SGT5 | Assets | Wound plant | Transformer | 275kV |  |  |  |  | 1 |  |  |  |  | 1 | [22 empty] | Major Project
|  | Replaced |  | EFGH | SGT1 | Assets | Wound plant | Transformer | 400kV |  |  |  |  | 1 |  |  |  |  | 1
|  |  | Replaced | EFGH | SGT2 | Assets | Wound plant | Transformer | 400kV
OFGEMET005 | EFGHSGT3 Replacement |  |  | EFGH | SGT3 | Assets | Wound plant | Transformer | 400kV |  |  |  | 1 | [5 empty] | 1 |  |  |  | 1 |  | Replacement | Replacement will address EoL risks on core windings. Offline replacement with new double bus bar bay extension. | New bund, plinth and bund wall. Associated bund ancillaries. | 240 | 240 | *Insert Link* | *Insert Link* | 5.8 (as per BPDT Project cost) | N/A | Civils and associated switchgear for new SGT bay. Site Gradient is split level with a 5m difference between platform heights. |  | Do Nothing | In situ Replacement - not possible due to outage constraints. | Refurbishment - not cost effective due to core winding issues driving risk score. | Various NL EJPs & CB Portfolio Paper.
|  |  |  | EFGH | SGT4 | Assets | Wound plant | Transformer | 400kV | [12 empty] | 1 | [17 empty] | Replace
|  |  |  | EFGH | SGT5 | Assets | Wound plant | Transformer | 400kV |  | 1 |  |  |  |  | 1 |  |  |  |  | 1 | [19 empty] | Replace
|  |  |  | IJKL | SGT1 | Assets | Wound plant | Transformer | 400kV |  | 1 |  |  |  |  | 1 |  |  |  |  | 1
|  |  |  | IJKL | SGT2 | Assets | Wound plant | Transformer | 400kV |  | 1 | [5 empty] | 1 |  |  |  | 1
|  |  |  | IJKL | SGT3 | Assets | Wound plant | Transformer | 400kV | 1 | [6 empty] | 1
|  |  | Refurbished | IJKL | SGT4 | Assets | Wound plant | Transformer | 400kV | 1
|  | Replaced |  | IJKL | SGT5 | Assets | Wound plant | Transformer | 400kV | 1
OFGEMET007 | MNOPSGT1 Refurbishment | Replaced |  | MNOP | SGT1 | Assets | Wound plant | Transformer | 132kV |  |  |  | 1 |  |  |  |  | 1 | [6 empty] | Refurb Major | Oil Regeneration, full scrape and paint, Tap Changer overhaul, cooler bank and fans replacement. | Minor repairs to bund. | 240 | 240 | *Insert Link* | *Insert Link* | 1.1 | N/A | Normal major refurb. | N/A | Do Nothing | In situ Replacement - not required. Core healthy. | N/A | N/A
|  |  |  | MNOP | SGT2 | Assets | Wound plant | Transformer | 132kV |  |  |  | 1 |  |  |  |  | 1 | [22 empty] | Refurb
|  |  |  | MNOP | SGT3 | Assets | Wound plant | Transformer | 132kV |  |  |  | 1 |  |  |  |  | 1 | [22 empty] | Replace
|  |  |  | MNOP | SGT4 | Assets | Wound plant | Transformer | 132kV |  |  | 1 | [5 empty] | 1
|  |  |  | MNOP | SGT5 | Assets | Wound plant | Transformer | 132kV |  | 1 | [6 empty] | 1
|  | Refurbished |  | QRST | SGT1 | Assets | Wound plant | Transformer | 400kV | 1 |  |  |  |  | 1 | [25 empty] | Replace
|  |  |  | QRST | SGT2 | Assets | Wound plant | Transformer | 400kV |  |  |  |  | 1 |  |  |  |  | 1 | [21 empty] | Replace
|  |  |  | QRST | SGT3 | Assets | Wound plant | Transformer | 400kV |  | 1 | [5 empty] | 1 | [23 empty] | Replace
|  |  |  | QRST | SGT4 | Assets | Wound plant | Transformer | 400kV |  | 1 | [5 empty] | 1 | [23 empty] | Replace

## OHL Example
Lead Asset Portfolio - OHL
Plan References |  | Historic Investment |  | Proposed Investment | Asset Data | [22 empty] | Optioneering | [16 empty] | Major/Lead Projects | Ofgem Review
[13 empty] | P Band @ 2026 |  |  |  |  | P Band @ 2031 |  |  |  |  | R Band @ 2031
BPDT Reference | Project Reference | T1 Investment | T2 Investment | T3 Investment (Total Project Cost - Direct) £m | Route Id. | Circuit Id. | Asset Heading | Asset Category | Asset Sub-Category Primary | Voltage | Existing Asset Type | Volume of Assets | P1-P2 | P3-P4 | P5-P6 | P7-P8 | P9-P10 | P1-P2 | P3-P4 | P5-P6 | P7-P8 | P9-P10 | R1-R2 | R3-R4 | R5-R6 | R7-R8 | R9-R10 | Intervention Proposed RIIO T3 | Volume of Intervention | Intervention Description | New Asset Type / Description | Present Ratings MVA (Summer Pre Fault) / kV | Future Ratings MVA (Summer Pre Fault) / kV | As found design | Proposed Design | Civils | Temporary Civils | Cost Driver | Other Cost (Direct) | Intervention Discarded RIIO T3 - Option Baseline | Intervention Discarded RIIO T3 - Option 1 | Link to associated asset replacement | T4 Intervention Planned | T5 intervention Planned | Project Type | Need Case | Optioneering | Cost | Incirmental Cost | Control
[5 empty] | BP Route | BHIL-EWEH-HAWI-1 | Assets | Overhead Tower Line | 132kV OHL (Tower Line) Conductor | 132 | ACSR 400mm2 ‘Zebra’ | 3.85 |  |  |  |  | 3.85 |  |  |  | 3.85 |  |  |  |  | 3.85 | [16 empty] | Yes
[5 empty] | BP Route | BHIL-EWEH-HAWI-2 | Assets | Overhead Tower Line | Fittings | 132 | Glass | 19 |  |  |  | 19 |  |  |  |  | 19 |  |  |  |  | 19 | [16 empty] | Yes
[5 empty] | BP Route | BHIL-EWEH-HAWI-1 | Assets | Overhead Tower Line | 132kV OHL (Tower Line) Conductor | 132 | ACSR 400mm2 ‘Zebra’ | 3.85 |  |  |  |  | 3.85 |  |  |  | 3.85 |  |  |  |  | 3.85 | [16 empty] | Yes
[5 empty] | BP Route | BHIL-EWEH-HAWI-2 | Assets | Overhead Tower Line | Fittings | 132 | Glass | 19 |  |  |  | 19 |  |  |  |  | 3.85 |  |  |  |  | 3.85 | [16 empty] | Yes
[5 empty] | BP Route | - | Assets | Overhead Tower Line | OHL (Tower Line) Earth Wire | 132 | AACSR 160mm2 ‘Keziah’ OPGW | 3.85 | [30 empty] | Yes
[5 empty] | BP Route | - | Assets | Overhead Tower Line | Earth Wire Fittings | 132 | - | 19 | [30 empty] | Yes
[5 empty] | BP Route | - | Assets | Overhead Tower Line | Tower | 132 | Double Circuit Steel Tower | 19 |  |  |  |  | 19 |  |  |  | 19 |  |  |  |  | 19 | [16 empty] | Yes
OFGEMET010 | 4DEREP01 |  |  | 98 | 4DE Route | JORD-SALT-1 | Assets | Overhead Tower Line | 400kV OHL (Tower Line) Conductor | 400 | 4xACSR 400mm2 ‘Zebra’ | 77 |  |  |  | 77 | [5 empty] | 77 |  |  |  | 77 |  | Replacement | 77 |  | 3xAAAC 425mm2 'Totara' | 2876 | 3200 | ASCR | AAAC
OFGEMET010 | 4DEREP01 |  |  | 98 | 4DE Route | JORD-SALT-2 | Assets | Overhead Tower Line | Fittings | 400 | Glass | 380 |  |  |  | 380 | [5 empty] | 380 |  |  |  | 380 |  | Replacement | 380 |  | Conductor End Fittings | 400kV | 400kV
OFGEMET010 | 4DEREP01 |  |  | 98 | 4DE Route | JORD-SALT-1 | Assets | Overhead Tower Line | 400kV OHL (Tower Line) Conductor | 400 | 4xACSR 400mm2 ‘Zebra’ | 77 |  |  |  | 77 | [5 empty] | 77 |  |  |  | 77 |  | Repalcement | 77 |  | 3xAAAC 425mm2 'Totara' | 2876 | 3200 | ASCR | AAAC
OFGEMET010 | 4DEREP01 |  |  | 98 | 4DE Route | JORD-SALT-2 | Assets | Overhead Tower Line | Fittings | 400 | Glass | 380 |  |  |  | 380 | [5 empty] | 380 |  |  |  | 380 |  | Replacement | 380 |  | Conductor End Fittings | 400kV | 400kV
OFGEMET010 | 4DEREP01 |  |  | 98 | 4DE Route | - | Assets | Overhead Tower Line | OHL (Tower Line) Earth Wire | 400 | AACSR 160mm2 ‘Keziah’ OPGW | 77 |  |  |  |  | 77 |  |  |  |  | 77 |  |  |  | 77 |  | Replacement | 77 |  |  | N/A | N/A
OFGEMET010 | 4DEREP01 |  |  | 98 | 4DE Route | - | Assets | Overhead Tower Line | Earth Wire Fittings | 400 | - | 380 |  |  |  |  | 380 |  |  |  |  | 380 |  |  |  | 380 |  | Replacement | 380 |  |  | N/A | N/A
OFGEMET010 | 4DEREP01 |  |  | 98 | 4DE Route | - | Assets | Overhead Tower Line | Tower | 400 | Double Circuit Steel Tower | 321 |  | 25 | 75 | 201 | 20 |  |  | 25 | 286 | 10 |  |  |  | 321 |  | Refurbishment | 310 |  | Double Circuit Steel Tower - Painting | 77 | N/A |  |  | Includes Tower foundations and signage works. | Access | N/A |  | Do Noting | Replacement of Route | N/A
[5 empty] | SS Route | SRAT-LOCH-ITRG-1 | Assets | Overhead Pole Line | 132kV OHL (Pole Line) Conductor | 132 | AAAC 200mm2 | 25.5 | 25.5 |  |  |  |  | 25.5 |  |  |  |  | 25.5
[5 empty] | SS Route | SRAT-LOCH-ITRG-2 | Assets | Overhead Pole Line | Fittings | 132 | Glass | 260
[5 empty] | SS Route | SRAT-LOCH-ITRG-1 | Assets | Overhead Pole Line | 132kV OHL (Pole Line) Conductor | 132 | AAAC 200mm2 | 25.5 | 25.5 |  |  |  |  | 25.5 |  |  |  |  | 25.5
[5 empty] | SS Route | SRAT-LOCH-ITRG-2 | Assets | Overhead Pole Line | Fittings | 132 | Glass | 260
[5 empty] | SS Route | - | Assets | Overhead Pole Line | Pole | 132 | AACSR 160mm2 ‘Keziah’ OPGW | 25.5
[5 empty] | SS Route | - | Assets | Overhead Pole Line | Earth Wire Fittings | 132 | - | 260
OFGEMET011 | Major Project 002 - JS Substation Replacement and OHL Refurb |  |  |  | 4JS Route | JERY-SMIT-1 | Assets | Overhead Tower Line | 400kV OHL (Tower Line) Conductor | 400 | 4xACSR 400mm2 ‘Zebra’ | 77 |  |  |  | 77 | [5 empty] | 77 |  |  |  | 77 | [18 empty] | Major Project
OFGEMET011 | Major Project 002 - JS Substation Replacement and OHL Refurb |  |  |  | 4JS Route | JERY-SMIT-2 | Assets | Overhead Tower Line | Fittings | 400 | Glass | 380 |  |  |  | 380 | [5 empty] | 380 |  |  |  | 380 | [18 empty] | Major Project
OFGEMET011 | Major Project 002 - JS Substation Replacement and OHL Refurb |  |  |  | 4JS Route | JERY-SMIT-1 | Assets | Overhead Tower Line | 400kV OHL (Tower Line) Conductor | 400 | 4xACSR 400mm2 ‘Zebra’ | 77 |  |  |  | 77 | [5 empty] | 77 |  |  |  | 77 | [18 empty] | Major Project
OFGEMET011 | Major Project 002 - JS Substation Replacement and OHL Refurb |  |  |  | 4JS Route | JERY-SMIT-2 | Assets | Overhead Tower Line | Fittings | 400 | Glass | 380 |  |  |  | 380 | [5 empty] | 380 |  |  |  | 380 | [18 empty] | Major Project
OFGEMET011 | Major Project 002 - JS Substation Replacement and OHL Refurb |  |  |  | 4JS Route | - | Assets | Overhead Tower Line | OHL (Tower Line) Earth Wire | 400 | AACSR 160mm2 ‘Keziah’ OPGW | 77 |  |  |  |  | 77 |  |  |  |  | 77 |  |  |  | 77 | [18 empty] | Major Project
OFGEMET011 | Major Project 002 - JS Substation Replacement and OHL Refurb |  |  |  | 4JS Route | - | Assets | Overhead Tower Line | Earth Wire Fittings | 400 | - | 380 |  |  |  |  | 380 |  |  |  |  | 380 |  |  |  | 380 | [18 empty] | Major Project
OFGEMET011 | Major Project 002 - JS Substation Replacement and OHL Refurb |  |  |  | 4JS Route | - | Assets | Overhead Tower Line | Tower | 400 | Double Circuit Steel Tower | 321 |  | 25 | 75 | 201 | 20 |  |  | 25 | 286 | 10 |  |  |  | 321 | [18 empty] | Major Project

## ET2 Performance
ET2 Performance Table
| ET2 Allowance (£m) | ET2 Requested Volume (Unit/km) | ET2 Spend to Date (£m) | ET2 Volumes Delivered to Date | ET2 Forecast Total Spend (£m) | ET2 Forecast Completed Volume
SGTs
CB
Rx
OHL
Cable

## SGT
Lead Asset Portfolio - SGT
Plan References |  | Historic Funding |  | Asset Data | [20 empty] | Optioneering | [16 empty] | Major/Lead Projects | Ofgem Review
[10 empty] | P Band @ 2026 |  |  |  |  | P Band @ 2031 |  |  |  |  | R Band @ 2031
OSR | Additional Project Reference (If Needed) | T1 Investment | T2 Investment | Substation | Asset ID | Asset Heading | Asset Category | Asset Sub-Category Primary | Voltage | P1-P2 | P3-P4 | P5-P6 | P7-P8 | P9-P10 | P1-P2 | P3-P4 | P5-P6 | P7-P8 | P9-P10 | R1-R2 | R3-R4 | R5-R6 | R7-R8 | R9-R10 | Intervention Proposed RIIO T3 | Intervention Description | Civils Scope | Present Ratings (MVA) | Future Ratings (MVA) | As found design (Drawing No. or Link) | Proposed Design (Drawing No. or Link) | Asset Direct Cost Estimate (£m) | Incremental Costs (£m) | Cost Drivers | Other Cost (Direct) | Intervention Discarded RIIO T3 - Option Baseline | Intervention Discarded RIIO T3 - Option 1 | Intervention Discarded RIIO T3 - Option 2 | Link to associated asset replacement | T4 Intervention Planned | T5 intervention Planned | Project Type | Need Case | Optioneering | Cost | Incremental Cost | Control

## Rx
Lead Asset Portfolio - Rx
Plan References |  | Historic Investment |  | Asset Data | [20 empty] | Optioneering | [10 empty] | Major/Lead Projects | Ofgem Review
|  |  |  | Asset ID | [5 empty] | P Band @ 2026 |  |  |  |  | P Band @ 2031 |  |  |  |  | R Band @ 2031
OSR | Additional Project Reference (If Needed) | T1 Investment | T2 Investment | Substation | Asset ID | Asset Heading | Asset Category | Asset Sub-Category Primary | Voltage | P1-P2 | P3-P4 | P5-P6 | P7-P8 | P9-P10 | P1-P2 | P3-P4 | P5-P6 | P7-P8 | P9-P10 | R1-R2 | R3-R4 | R5-R6 | R7-R8 | R9-R10 | Replace/Refurb | In Situ | Offline | Present Ratings - MVAr | Future ratings MVAr | As found design | Proposed Design | Cost Drivers | Link to associated asset replacement | T4 Intervention | T5 Intervention | Project Type | Need Case | Optioneering | Cost | Incremental Cost | Control

## CB
Lead Asset Portfolio - CBs
Plan References |  | Historic Investment |  | Asset Data | [20 empty] | Optioneering | [16 empty] | Major/Lead Projects | Ofgem Review
|  |  |  | Asset ID | [5 empty] | P Band @ 2026 |  |  |  |  | P Band @ 2031 |  |  |  |  | R Band @ 2031
OSR | Additional Project Reference (If Needed) | T1 Investment | T2 Investment | Substation | Asset ID | Asset Heading | Asset Category | Asset Sub-Category Primary | Voltage | P1-P2 | P3-P4 | P5-P6 | P7-P8 | P9-P10 | P1-P2 | P3-P4 | P5-P6 | P7-P8 | P9-P10 | R1-R2 | R3-R4 | R5-R6 | R7-R8 | R9-R10 | Intervention Proposed RIIO T3 | Intervention Description | Civils | As found design | Proposed Design | Asset Direct Cost Estimate (£m) | Incremental Costs (£m) | Cost Drivers | Other Cost (Direct) | Intervention Discarded RIIO T3 - Option Baseline | Intervention Discarded RIIO T3 - Option 1a | Intervention Discarded RIIO T3 - Option 1b | Intervention Discarded RIIO T3 - Option 2a | Intervention Discarded RIIO T3 - Option 2b | Link to associated asset replacement | T4 Intervention | T5 Intervention | Project Type | Need Case | Optioneering | Cost | Incremental Cost | Control

## OHL
Lead Asset Portfolio - OHL
Plan References |  | Historic Investment |  | Proposed Investment | Asset Data | [22 empty] | Optioneering | [15 empty] | Major/Lead Projects | Ofgem Review
[13 empty] | P Band @ 2026 |  |  |  |  | P Band @ 2031 |  |  |  |  | R Band @ 2031
OSR | Additional Project Reference (If Needed) | T1 Investment | T2 Investment | T3 Investment (Total Project Cost - Direct) | Route Id. | Circuit Id. | Asset Heading | Asset Category | Asset Sub-Category Primary | Voltage | Existing Asset Type | Volume of Assets | P1-P2 | P3-P4 | P5-P6 | P7-P8 | P9-P10 | P1-P2 | P3-P4 | P5-P6 | P7-P8 | P9-P10 | R1-R2 | R3-R4 | R5-R6 | R7-R8 | R9-R10 | Intervention Proposed RIIO T3 | Volume of Intervention | Intervention Description | New Asset Type / Description | Present Ratings MVA (Summer Pre Fault) / kV | Future Ratings MVA (Summer Pre Fault) / kV | As found design (link/reference) | Proposed Design (link/reference) | Civils Scope | Temporary Civils | Cost Driver | Intervention Discarded RIIO T3 - Option Baseline | Intervention Discarded RIIO T3 - Option 1 | Link to associated asset replacement | T4 Intervention Planned | T5 intervention Planned | Project Type | Need Case | Optioneering | Cost | Incirmental Cost | Control

## Cable
Lead Asset Portfolio - Cable
Plan References |  | Historic Funding |  | Asset Data | [21 empty] | Optioneering | [17 empty] | Major/Lead Projects | Ofgem Review
[11 empty] | P Band @ 2026 |  |  |  |  | P Band @ 2031 |  |  |  |  | R Band @ 2031
OSR | Additional Project Reference (If Needed) | T1 Investment | T2 Investment | Route | Circuit ID | Asset Heading | Asset Category | Asset Sub-Category Primary | Voltage | Volume of Assets | P1-P2 | P3-P4 | P5-P6 | P7-P8 | P9-P10 | P1-P2 | P3-P4 | P5-P6 | P7-P8 | P9-P10 | R1-R2 | R3-R4 | R5-R6 | R7-R8 | R9-R10 | Intervention Proposed RIIO T3 | Volume of Intervention | Intervention Description | New Asset Type / Description | Civils | Present Ratings MVA (Summer) | Future Ratings MVA (Summer) | As found Route (link/reference) | Proposed Route (link/reference) | Asset Direct Cost Estimate (£m) | Incremental Costs (£m) | Cost Drivers | Intervention Discarded RIIO T3 - Option Baseline | Intervention Discarded RIIO T3 - Option 1 | Intervention Discarded RIIO T3 - Option 2 | Link to associated asset replacement | T4 Intervention Planned | T5 Intervention Planned | Project Type | Need Case | Optioneering | Cost | Incremental Cost | Control

## Hoja4 (hidden)
Intervention | Cost Driver Tx
Replacement | In Situ
Refurb Major | Offline
Refurb Minor
Maintenance
Addition
Disposal
New Build