## Instructions
Instructions
There are 11 tabs to be populated. 'List of Substations' to be populated with all Substation names, voltages and locations. Where different Substations have the same name, please amend the name to differentiate. Eg. ABCD1, ABCD2, ABCD3 etc. The 10 asset tabs thereafter cover assets to be reported. These are split into colour coded sections below. All data is to be completed as per the instructions below under the heading 'colour coding'.
Where a column heading is not applicable to the line item, please leave this data entry blank. Where data requested in a column heading is applicable, but not availible, please list 'Unavailable'.
Colour Coding
Plan References (Light Green) | To be populated for all assets planned for intervention in ED3. For referencing to; the Business Plan Data Template (BPDT) for specific Projects, Cost/Volume Codes, investment covered by a Major Project EJPs, or a Portfolio Narrative EJP for further narrative.
Historic Funding (Dark Green) | To be populated for all assets held in asset register. Used to indicate any historic interventions (ED1 or ED2) on the asset or circuit. Where there has been historic intervention on an asset or circuit proposed for intervention in ED3, we expect the historic intervention to be outlined in the comment column of the ED3 Intervention section.
Asset and Condition Data (Orange) | To be populated for all assets held in asset register. Asset Sub-Categories for each table can be found in the "Categories" tab. Should licensees need to add more data, additional columns can be added, this colour coding will be used for Asset and Condition Data. Additional columns to be added to denote the health of non-CNAIM Asset Sub-Categories where Licensees method of scoring asset health does not align to HI1-5 as per CNAIM.
Investment Signals (Yellow) | To be used to indicate proposed ED3 and future price control interventions. Data provided should be current best view of likely intervention yearly to 2035 (aligning to single tRESP forecast), and price control period thereafter to the end of ED5 in 2043 (assuming 5-year price controls). For avoidance of doubt, no assets listed beyond ED3 are being assessed in this price control period.
ED3 Intervention (Blue) | To be populated for proposed interventions in ED3 only. Additional column(s) to be added to denote the health post intervention of non-CNAIM Asset Sub-Categories where Licensees method of scoring asset health does not align to HI1-5 as per CNAIM.
Comment (Grey) | Used to include any additional commentary or context that may be of interest to Ofgem
Additional Information (Purple) | To be used where licensees seek to provide additional information.
Specific Considerations
Changelog | Please add any of your changes to the format/layout to the changelog table. Please do not remove any columns.

## Categories
Workbook Tab | Asset Sub Categories | Volume of Assets | Current Asset Data | Forecast & Intervention Data | Key
LV Circuits (incl. Supports) | LV Poles | High Volume | Y | N | CNAIM
| LV Main (OHL) Conductor | High Volume | Y | N | non-CNAIM
| LV Service (OHL) | High Volume | Y | N
| LV Service (UG) | High Volume | Y | N
| LV Cutout | High Volume | Y | N
| LV Main (UG Consac) | High Volume | Y | N
| LV Main (UG Plastic) | High Volume | Y | N
| LV Main (UG Paper) | High Volume | Y | N
LV UGB | LV UGB | High Volume | Y | N
LV Switchgear and Other | LV Transformers/Regulators | High Volume | Y | Y
HV Circuits (incl. Supports) | 6.6/11kV Poles | High Volume | Y | N
| 20kV Poles | High Volume | Y | N
| 6.6/11kV OHL (Conventional Conductor) | High Volume | Y | N
| 6.6/11kV OHL (BLX or similar Conductor) | High Volume | Y | N
| 20kV OHL (Conventional Conductor) | High Volume | Y | N
| 20kV OHL (BLX or similar Conductor) | High Volume | Y | N
| 6.6/11kV UG Cable | High Volume | Y | N
| 20kV UG Cable | High Volume | Y | N
HV Switchgear | 6.6/11kV CB (PM) | High Volume | Y | Y
| 6.6/11kV Switch (PM) | High Volume | Y | Y
| 6.6/11kV Switchgear - Other (PM) | High Volume | Y | Y
| 20kV CB (PM) | High Volume | Y | Y
| 20kV Switch (PM) | High Volume | Y | Y
| 20kV Switchgear - Other (PM) | High Volume | Y | Y
HV Transformer | 6.6/11kV Transformer (PM) | High Volume | Y | Y
| 20kV Transformer (PM) | High Volume | Y | Y
EHV Circuits (incl. Supports) | 33kV Pole | High Volume | Y | N
| 66kV Pole | High Volume | Y | N
| 33kV OHL (Pole Line) Conductor | High Volume | Y | N
| 66kV OHL (Pole Line) Conductor | High Volume | Y | N
EHV Switchgear | 33kV Switchgear - Other | High Volume | Y | Y
| 33kV Switch (PM) | High Volume | Y | Y
| 66kV Switchgear - Other | High Volume | Y | Y
EHV Transformer | 33kV Transformer (PM) | High Volume | Y | Y
132kV Switchgear | 132kV Switchgear - Other | High Volume | Y | Y

## Changelog
Please add any changes that you've made to the format here.
Update | Completed | Date
Example | Yes | 2025-09-24
Template updates based on DNO feedback (Ofgem) | Yes | 2026-05-08

## List of Substations
Substation | Voltage | Postcode

## LV Circuits (incl. Supports)
LV Circuits (incl. Supports)
Plan References |  |  | Historic Funding |  | Asset and Condition Data | [19 empty] | Comment | Additional Information
BPDT Reference | EJP Reference | CV Code | ED1 Investment | ED2 Investment | Asset Sub-Category | Asset ID | Source Substation | Route ID | Circuit ID | Length (km) | Voltage (kV) | Rating (MVA) | Manufacturer | Conductor Type | Install Date | Distance From Coast (km) | Altitude (m) | Corrosion Factor | Customers Supplied (#) | Utilisation (%) | Health Index (2028) | Health Index (2033) | Criticality Index (2028) | Criticality Index (2033) | Comment(s)
Text | Text | Text | Text | Text | Dropdown | Text | Text | Text | Text | Number | Number | Number | Text | Text | Date | Number | Number | Number | Number | Number | Number | Number | Number | Number | Text | Text | Text | Text

## LV UGB
LV UGB
Plan References |  |  | Historic Funding |  | Asset and Condition Data | [24 empty] | Comment | Additional Information
BPDT Reference | EJP Reference | CV Code | ED1 Investment | ED2 Investment | Asset Sub-Category | Asset ID | Source Substation | Route ID | Circuit ID | Voltage (kV) | Rating (MVA) | Manufacturer | Type / Model | Install Date | Distance From Coast (km) | Altitude (m) | Corrosion Factor | Customers Supplied (#) | Health Index (2028) | Health Index (2033) | Criticality Index (2028) | Criticality Index (2033) | Steel Cover & Pit Condition | Water / Moisture | Bell Condition | Insulation Condition | Signs of Heating | Phase Barriers | Operational Adequacy | Comment(s)
Text | Text | Text | Text | Text | Dropdown | Text | Text | Text | Text | Number | Number | Text | Text | Date | Number | Number | Text | Number | Number | Number | Number | Number | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text

## LV Switchgear and Other
LV Switchgear and Other
Plan References |  |  | Historic Funding |  | Asset and Condition Data | [27 empty] | Investment Signals | [6 empty] | ED3 Intervention | [7 empty] | Comment | Additional Information
BPDT Reference | EJP Reference | CV Code | ED1 Investment | ED2 Investment | Asset Sub-Category | Asset ID | Substation | Route ID | Circuit ID | Voltage (kV) | Rating (MVA) | Manufacturer | Type / Model | Install Date | Indoor / Outdoor | Duty Factor | Distance From Coast (km) | Altitude (m) | Corrosion Factor | Customers Supplied (#) | Health Index 2028 | Health Index 2033 (No intervention) | Criticality Index (2028) | Criticality Index (2033) | Switchgear External Condition | Compound Leaks | Switchgear Internal Condition & Operation | Insulation Condition | Signs of Heating | Phase Barriers | Operational Adequacy | Other External Condition | ED3 (2028-) | ED4 (2033) | ED4 (2034) | ED4 (2035) | ED4 (2036-) | ED5 (2038-) | Investment Driver (Load/Non-Load) | Replace / Refurbish / New | HI 2033 (Post intervention) | Future Ratings (MVA) | Asset ID (New assets) | Voltage (kV) | Futureproofing Scope | Cost Estimate (£m) | Futureproofing Cost (£m) | Comment(s)
Text | Text | Text | Text | Text | Dropdown | Text | Text | Text | Text | Number | Number | Text | Text | Date | Dropdown | Number | Number | Number | Number | Number | Number | Number | Number | Number | Text | Text | Text | Text | Text | Text | Text | Text | Number (Optional) | Number (Optional) | Number (Optional) | Number (Optional) | Number (Optional) | Number (Optional) | Dropdown | Dropdown | Number | Number (Optional) | Text | Number | Text | Number | Number | Text | Text | Text | Text

## HV Circuits (incl. Supports)
HV Circuits (incl. Supports)
Plan References |  |  | Historic Funding |  | Asset and Condition Data | [19 empty] | Comment | Additional Information
BPDT Reference | EJP Reference | CV Code | ED1 Investment | ED2 Investment | Asset Sub-Category | Asset ID | Source Substation | Route ID | Circuit ID | Length (km) | Voltage (kV) | Rating (MVA) | Manufacturer | Conductor Type | Install Date | Distance From Coast (km) | Altitude (m) | Corrosion Factor | Customers Supplied (#) | Utilisation (%) | Health Index (2028) | Health Index (2033) | Criticality Index (2028) | Criticality Index (2033) | Comment(s)
Text | Text | Text | Text | Text | Dropdown | Text | Text | Text | Text | Number | Number | Number | Text | Text | Date | Number | Number | Number | Number | Number | Number | Number | Number | Number | Text | Text | Text | Text

## HV Switchgear
HV Switchgear
Plan References |  |  | Historic Funding |  | Asset and Condition Data | [31 empty] | Investment Signals | [6 empty] | ED3 Intervention | [7 empty] | Comment | Additional Information
BPDT Reference | EJP Reference | CV Code | ED1 Investment | ED2 Investment | Asset Sub-Category | Asset ID | Substation | Route ID | Circuit ID | Voltage (kV) | Rating (MVA) | Manufacturer | Type / Model | Install Date | Indoor / Outdoor | Duty Factor | Distance From Coast (km) | Altitude (m) | Corrosion Factor | Customers Supplied (#) | Health Index 2028 | Health Index 2033 (No intervention) | Criticality Index (2028) | Criticality Index (2033) | Switchgear External Condition | Oil Leaks / Gas Pressure | Thermographic Assessment | Switchgear Internal Condition & Operation | Indoor Environment | Cable Boxes Condition | Partial Discharge | Ductor Test | IR Test | Oil Tests | Temperature Readings | Trip Test | ED3 (2028-) | ED4 (2033) | ED4 (2034) | ED4 (2035) | ED4 (2036-) | ED5 (2038-) | Investment Driver (Load/Non-Load) | Replace / Refurbish / New | HI 2033 (Post intervention) | Future Ratings (MVA) | Asset ID (New assets) | Voltage (kV) | Futureproofing Scope | Cost Estimate (£m) | Futureproofing Cost (£m) | Comment(s)
Text | Text | Text | Text | Text | Dropdown | Text | Text | Text | Text | Number | Number | Text | Text | Date | Dropdown | Number | Number | Number | Number | Number | Number | Number | Number | Number | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Number (Optional) | Number (Optional) | Number (Optional) | Number (Optional) | Number (Optional) | Number (Optional) | Dropdown | Dropdown | Number | Number (Optional) | Text | Number | Text | Number | Number | Text | Text | Text | Text

## HV Transformer
HV Transformer
Plan References |  |  | Historic Funding |  | Asset and Condition Data | [24 empty] | Investment Signals | [6 empty] | ED3 Intervention | [13 empty] | Comment | Additional Information
BPDT Reference | EJP Reference | CV Code | ED1 Investment | ED2 Investment | Asset Sub-Category | Asset ID | Substation | Route ID | Circuit ID | Voltage-HV (kV) | Voltage-LV (kV) | Rating (MVA) | Manufacturer | Type / Model | Install Date | Indoor / Outdoor | Distance From Coast (km) | Altitude (m) | Corrosion Factor | Customers Supplied (#) | Utilisation (%) | Health Index 2028 | Health Index 2033 (No intervention) | Criticality Index (2028) | Criticality Index (2033) | Transformer External Condition | Cable Boxes Condition | Partial Discharge | Temparature Readings | ED3 (2028-) | ED4 (2033) | ED4 (2034) | ED4 (2035) | ED4 (2036-) | ED5 (2038-) | Investment Driver (Load/Non-Load) | Year of Intervention | Replace / Refurbish / New | Asset Sub-Category | HI 2033 (Post-intervention) | Future Rating (MVA) | New Asset ID | New Substation | New Route ID | New Circuit ID | Voltage (kV) | Scope | Alternative Option Considered | Cost Estimate (£m) | Futureproofing Cost (£m) | Comment(s)
Text | Text | Text | Text | Text | Dropdown | Text | Text | Text | Text | Number | Number | Number | Text | Text | Date | Dropdown | Number | Number | Number | Number | Number | Number | Number | Number | Number | Text | Text | Text | Text | Text (Optional) | Text (Optional) | Text (Optional) | Text (Optional) | Text (Optional) | Text (Optional) | Dropdown | Date | Dropdown | Dropdown | Text | Number | Text | Text | Text | Text | Number | Text | Text | Number | Number | Text | Text | Text | Text

## EHV Circuits (incl. Supports)
EHV Circuits (incl. Supports)
Plan References |  |  | Historic Funding |  | Asset and Condition Data | [19 empty] | Comment | Additional Information
BPDT Reference | EJP Reference | CV Code | ED1 Investment | ED2 Investment | Asset Sub-Category | Asset ID | Source Substation | Route ID | Circuit ID | Length (km) | Voltage (kV) | Rating (MVA) | Manufacturer | Conductor Type | Install Date | Distance From Coast (km) | Altitude (m) | Corrosion Factor | Customers Supplied (#) | Utilisation (%) | Health Index (2028) | Health Index No Intervention (2033) | Criticality Index (2028) | Criticality Index (2033) | Comment(s)
Text | Text | Text | Text | Text | Dropdown | Text | Text | Text | Text | Number | Number | Number | Text | Text | Date | Number | Number | Number | Number | Number | Number | Number | Number | Number | Text | Text | Text | Text

## EHV Switchgear
EHV Switchgear
Plan References |  |  | Historic Funding |  | Asset and Condition Data | [32 empty] | Investment Signals | [6 empty] | ED3 Intervention | [14 empty] | Comment | Additional Information
BPDT Reference | EJP Reference | CV Code | ED1 Investment | ED2 Investment | Asset Sub-Category | Asset ID | Substation | Route ID | Circuit ID | Voltage (kV) | Rating (MVA) | Manufacturer | Type / Model | Install Date | Indoor / Outdoor | Duty Factor | Distance From Coast (km) | Altitude (m) | Corrosion Factor | Customers Supplied (#) | Health Index 2028 | Health Index 2033 (No intervention) | Criticality Index (2028) | Criticality Index (2033) | Switchgear External Condition | Oil Leaks / Gas Pressure | Thermographic Assessment | Switchgear Internal Condition & Operation | Indoor Environment | Support Structures | Cable Boxes Condition | Partial Discharge | Ductor Test | IR Test | Oil Tests / Gas Tests | Temperature Readings | Trip Test | ED3 (2028-) | ED4 (2033) | ED4 (2034) | ED4 (2035) | ED4 (2036-) | ED5 (2038-) | Investment Driver (Load/Non-Load) | Year of Intervention | Replace / Refurbish / New | Asset Sub-Category (New assets) | HI 2033 (Post-Intervention) | Future Ratings (MVA) | New Asset ID | New Substation | New Route ID | New Circuit ID | Voltage (kV) | Scope | Futureproofing Scope | Alternative Option Considered | Cost Estimate (£m) | Futureproofing Cost (£m) | Comment(s)
Text | Text | Text | Text | Text | Dropdown | Text | Text | Text | Text | Number | Number | Text | Text | Date | Dropdown | Number | Number | Number | Number | Number | Number | Number | Number | Number | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Dropdown | Number | Dropdown | Text | Number | Number | Text | Text | Text | Text | Number | Text | Text | Text | Number | Number | Text | Text | Text | Text

## EHV Transformer
EHV Transformer
Plan References |  |  | Historic Funding |  | Asset and Condition Data | [37 empty] | Investment Signals | [6 empty] | ED3 Intervention | [13 empty] | Comment | Additional Information
BPDT Reference | EJP Reference | CV Code | ED1 Investment | ED2 Investment | Asset Sub-Category | Asset ID | Substation | Route ID | Circuit ID | Voltage-HV (kV) | Voltage-LV (kV) | Rating (MVA) | Manufacturer | Type / Model | Install Date | Indoor / Outdoor | Distance From Coast (km) | Altitude (m) | Corrosion Factor | Customers Supplied (#) | Utilisation (%) | Health Index 2028 | Health Index 2033 (No intervention) | Criticality Index (2028) | Criticality Index (2033) | Tapchanger Duty Factor | DGA Test | Oil Test | FFA Test | Main Tank Condition | Coolers / Radiator Condition | Bushings Condition | Kiosk Condition | Cable Boxes Condition | Tapchanger External Condition | Internal Condition | Drive Mechanism Condition | Condition of Selector & Diverter Contacts | Condition of Selector & Diverter Braids | Main Transformer Partial Discharge | Temparature Readings | Tapchanger Partial Discharge | ED3 (2028-) | ED4 (2033) | ED4 (2034) | ED4 (2035) | ED4 (2036-) | ED5 (2038-) | Investment Driver (Load/Non-Load) | Year of Intervention | Replace / Refurbish / New | Asset Sub-Category (New assets) | HI 2033 (Post-intervention) | Future Rating (MVA) | New Asset ID | New Substation | New Route ID | New Circuit ID | Voltage (kV) | Scope | Alternative Option Considered | Cost Estimate (£m) | Futureproofing Cost (£m) | Comment(s)
Text | Text | Text | Text | Text | Dropdown | Text | Text | Text | Text | Number | Number | Number | Text | Text | Date | Dropdown | Number | Number | Number | Number | Number | Number | Number | Number | Number | Number | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text (Optional) | Text (Optional) | Text (Optional) | Text (Optional) | Text (Optional) | Text (Optional) | Dropdown | Date | Dropdown | Text | Text | Number | Text | Text | Text | Text | Number | Text | Optional | Number | Number | Text | Text | Text | Text

## 132kV Switchgear
132kV Switchgear
Plan References |  |  | Historic Funding |  | Asset and Condition Data | [33 empty] | Investment Signals | [6 empty] | ED3 Intervention | [14 empty] | Comment | Additional Information
BPDT Reference | EJP Reference | CV Code | ED1 Investment | ED2 Investment | Asset Sub-Category | Asset ID | Substation | Route ID | Circuit ID | Voltage (kV) | Rating (MVA) | Manufacturer | Type / Model | Install Date | Indoor / Outdoor | Duty Factor | Distance From Coast (km) | Altitude (m) | Corrosion Factor | Customers Supplied (#) | Health Index 2028 | Health Index 2033 (No intervention) | Criticality Index (2028) | Criticality Index (2033) | Switchgear External Condition | Oil Leaks / Gas Pressure | Thermographic Assessment | Switchgear Internal Condition & Operation | Indoor Environment | Support Structures | Air Systems | Cable Boxes Condition | Partial Discharge | Ductor Test | IR Test | Oil Tests / Gas Tests | Temperature Readings | Trip Test | ED3 (2028-) | ED4 (2033) | ED4 (2034) | ED4 (2035) | ED4 (2036-) | ED5 (2038-) | Investment Driver (Load/Non-Load) | Year of Intervention | Replace / Refurbish / New | Asset Sub-Category (New assets) | HI 2033 (Post-Intervention) | Future Ratings (MVA) | New Asset ID | New Substation | New Route ID | New Circuit ID | Voltage (kV) | Scope | Futureproofing Scope | Alternative Option Considered | Cost Estimate (£m) | Futureproofing Cost (£m) | Comment(s)
Text | Text | Text | Text | Text | Dropdown | Text | Text | Text | Text | Number | Number | Text | Text | Date | Dropdown | Number | Number | Number | Number | Number | Number | Number | Number | Number | [20 empty] | Dropdown | Number | Dropdown | Text | Number | Number | Text | Text | Text | Text | Number | Text | Text | Text | Number | Number | Text | Text | Text | Text