## Instructions
Instructions
There are 11 tabs to be populated. 'List of Substations' to be populated with all Substation names, voltages and locations. Where different Substations have the same name, please amend the name to differentiate. Eg. ABCD1, ABCD2, ABCD3 etc. The 10 asset tabs thereafter cover assets to be reported. These are split into colour coded sections below. All data is to be completed as per the instructions below under the heading 'colour coding'.
Where a column heading is not applicable to the line item, please leave this data entry blank. Where data requested in a column heading is applicable, but not availible, please list 'Unavailable'.
Colour Coding
Plan References (Light Green) | To be populated for all assets planned for intervention in ED3. For referencing to; the Business Plan Data Template (BPDT) for specific Projects, Cost/Volume Codes, investment covered by a Major Project EJPs, or a Portfolio Narrative EJP for further narrative.
Historic Funding (Dark Green) | To be populated for all assets held in asset register. Used to indicate any historic interventions (ED1 or ED2) on the asset or circuit. Where there has been historic intervention on an asset or circuit proposed for intervention in ED3, we expect the historic intervention to be outlined in the comment column of the ED3 Intervention section.
Asset and Condition Data (Orange) | To be populated for all assets held in asset register. Asset Sub-Categories for each table can be found in the "Categories" tab. Should licensees need to add more data, additional columns can be added, this colour coding will be used for Asset and Condition Data. Additional columns to be added to denote the health of non-CNAIM Asset Sub-Categories where Licensees method of scoring asset health does not align to HI1-5 as per CNAIM.
Investment Signals (Yellow) | To be used to indicate proposed ED3 and future price control interventions. Data provided should be current best view of likely intervention yearly to 2035 (aligning to single tRESP forecast), and price control period thereafter to the end of ED5 in 2043 (assuming 5-year price controls). For avoidance of doubt, no assets listed beyond ED3 are being assessed in this price control period.
ED3 Intervention (Blue) | To be populated for proposed interventions in ED3 only. Additional column(s) to be added to denote the health post intervention of non-CNAIM Asset Sub-Categories where Licensees method of scoring asset health does not align to HI1-5 as per CNAIM.
Comment (Grey) | Used to include any additional commentary or context that may be of interest to Ofgem
Additional Information (Purple) | To be used where licensees seek to provide additional information.
Specific Considerations
Changelog | Please add any of your changes to the format/layout to the changelog table. Please do not remove any columns.

## Categories
Workbook Tab | Asset Sub Categories | Volume of Assets | Current Asset Data | Forecast & Intervention Data | Key
LV Switchgear and Other | LV Board (WM) | Low Volume | Y | Y | CNAIM
| LV Board (X-type Network) (WM) | Low Volume | Y | Y | non-CNAIM
| LV Circuit Breaker | Low Volume | Y | Y
| LV Pillar (ID) | Low Volume | Y | Y
| LV Pillar (OD at Substation) | Low Volume | Y | Y
HV Circuits (incl. Supports) | HV Sub Cable | Atypical | Y | Y
HV Switchgear | 6.6/11kV CB (GM) Primary | Low Volume | Y | Y
| 20kV CB (GM) Primary | Low Volume | Y | Y
| 6.6/11kV CB (GM) Secondary | Low Volume | Y | Y
| 6.6/11kV RMU | Low Volume | Y | Y
| 6.6/11kV X-type RMU | Low Volume | Y | Y
| 6.6/11kV Switch (GM) | Low Volume | Y | Y
| 20kV CB (GM) Secondary | Low Volume | Y | Y
| 20kV RMU | Low Volume | Y | Y
| 20kV Switch (GM) | Low Volume | Y | Y
HV Transformer | 6.6/11kV Transformer (GM) | Low Volume | Y | Y
| 20kV Transformer (GM) | Low Volume | Y | Y
EHV Circuits (incl. Supports) | 33kV Fittings | Low Volume | Y | Y
| 66kV Fittings | Low Volume | Y | Y
| 33kV OHL (Tower Line) Conductor | Low Volume | Y | Y
| 66kV OHL (Tower Line) Conductor | Low Volume | Y | Y
| 33kV Tower | Low Volume | Y | Y
| 66kV Tower | Low Volume | Y | Y
| 33kV UG Cable (Gas) | Low Volume | Y | Y
| 66kV UG Cable (Gas) | Low Volume | Y | Y
| 33kV UG Cable (Non Pressurised) | Low Volume | Y | Y
| 66kV UG Cable (Non Pressurised) | Low Volume | Y | Y
| 33kV UG Cable (Oil) | Low Volume | Y | Y
| 66kV UG Cable (Oil) | Low Volume | Y | Y
| EHV Sub Cable | Atypical | Y | Y
EHV Switchgear | 33kV CB (Air Insulated Busbars)(ID)(GM) | Low Volume | Y | Y
| 33kV CB (Air Insulated Busbars)(OD)(GM) | Low Volume | Y | Y
| 33kV CB (Gas Insulated Busbars)(ID)(GM) | Low Volume | Y | Y
| 33kV CB (Gas Insulated Busbars)(OD)(GM) | Low Volume | Y | Y
| 33kV RMU | Low Volume | Y | Y
| 33kV Switch (GM) | Low Volume | Y | Y
| 66kV CB (Air Insulated Busbars)(ID)(GM) | Low Volume | Y | Y
| 66kV CB (Air Insulated Busbars)(OD)(GM) | Low Volume | Y | Y
| 66kV CB (Gas Insulated Busbars)(ID)(GM) | Low Volume | Y | Y
| 66kV CB (Gas Insulated Busbars)(OD)(GM) | Low Volume | Y | Y
EHV Transformer | 33kV Transformer (GM) | Low Volume | Y | Y
| 66kV Transformer (GM) | Low Volume | Y | Y
132kV Circuits (incl. Supports) | 132kV Fittings | Low Volume | Y | Y
| 132kV OHL (Tower Line) Conductor | Low Volume | Y | Y
| 132kV Tower | Low Volume | Y | Y
| 132kV UG Cable (Gas) | Low Volume | Y | Y
| 132kV UG Cable (Non Pressurised) | Low Volume | Y | Y
| 132kV UG Cable (Oil) | Low Volume | Y | Y
| 132kV Sub Cable | Atypical | Y | Y
| 132kV OHL (Pole Line) Conductor | Low Volume | Y | Y
| 132kV Pole | Low Volume | Y | Y
132kV Switchgear | 132kV CB (Air Insulated Busbars)(ID)(GM) | Low Volume | Y | Y
| 132kV CB (Air Insulated Busbars)(OD)(GM) | Low Volume | Y | Y
| 132kV CB (Gas Insulated Busbars)(ID)(GM) | Low Volume | Y | Y
| 132kV CB (Gas Insulated Busbars)(OD)(GM) | Low Volume | Y | Y
132kV Transformer | 132kV Transformer (GM) | Low Volume | Y | Y
Other - Atypicals | Pilot Wire Overhead | Atypical | Y | Where available
| Pilot Wire Underground | Atypical | Y | Where available
| Cable Tunnel (DNO owned) | Atypical | Y | Where available
| Cable Bridge (DNO owned) | Atypical | Y | Where available
| Electrical Energy Storage | Atypical | Y | Where available
| LV Pillar (OD not at a Substation) | Atypical | Y | Where available
| Rising & Lateral Mains | Atypical | Y | Where available
| LV Service Associated with RLM | Atypical | Y | Where available
| Batteries at GM HV substations | Atypical | Y | Where available
| Batteries at 33kV substations | Atypical | Y | Where available
| Batteries at 66kV substations | Atypical | Y | Where available
| Batteries at 132kV substations | Atypical | Y | Where available
| Protection | Atypical | Y | Where available

## List of Substations
Substation | Voltage | Postcode

## HV Switchgear
HV Switchgear
Plan References |  |  | Historic Funding |  | Asset and Condition Data | [31 empty] | Investment Signals | [6 empty] | ED3 Intervention | [7 empty] | Comment | Additional Information
BPDT Reference | EJP Reference | CV Code | ED1 Investment | ED2 Investment | Asset Sub-Category | Asset ID | Substation | Route ID | Circuit ID | Voltage (kV) | Rating (MVA) | Manufacturer | Type / Model | Install Date | Indoor / Outdoor | Duty Factor | Distance From Coast (km) | Altitude (m) | Corrosion Factor | Customers Supplied (#) | Health Index 2028 | Health Index 2033 (No intervention) | Criticality Index (2028) | Criticality Index (2033) | Switchgear External Condition | Oil Leaks / Gas Pressure | Thermographic Assessment | Switchgear Internal Condition & Operation | Indoor Environment | Cable Boxes Condition | Partial Discharge | Ductor Test | IR Test | Oil Tests | Temperature Readings | Trip Test | ED3 (2028-) | ED4 (2033) | ED4 (2034) | ED4 (2035) | ED4 (2036-) | ED5 (2038-) | Investment Driver (Load/Non-Load) | Replace / Refurbish / New | HI 2033 (Post intervention) | Future Ratings (MVA) | Asset ID (New assets) | Voltage (kV) | Futureproofing Scope | Cost Estimate (£m) | Futureproofing Cost (£m) | Comment(s) | Limited Site Access | Building/Housing Needed | Off Plumb
Text | Text | Text | Text | Text | Dropdown | Text | Text | Text | Text | Number | Number | Text | Text | Date | Dropdown | Number | Number | Number | Number | Number | Number | Number | Number | Number | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Number | Number | Number | Number | Number | Number | Dropdown | Dropdown | Number | Number (Optional) | Text | Number | Text | Number | Number | Text | Text | Text | Text
[5 empty] | 6.6/11kV CB (GM) Primary | 300101 | Ashfield Rd | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk1 | 1990 | Outdoor | 0.5 | 72 | 9 | 0.5 | 226 | 4 | 4 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text |  | Indicative |  |  |  |  | Load | Refurbish | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300102 | Brookstone Drive | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk2 | 1990 | Indoor | 0.5 | 8 | 19 | 0.5 | 143 | 5 | 5 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Yes | [5 empty] | Non-Load | Refurbish | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300103 | Cedarwood Court | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk3 | 1990 | Outdoor | 0.5 | 78 | 8 | 0.5 | 84 | 1 | 1 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300104 | Maple Grove Street | N/A | N/A | 11 | 1 | Switchgear Inc. | Type A | 1990 | Indoor | 0.5 | 36 | 14 | 0.5 | 67 | 4 | 4 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text |  | Indicative |  |  |  |  | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300105 | Oakridge Main | N/A | N/A | 11 | 1 | Switchgear Inc. | Type B | 1990 | Outdoor | 0.5 | 83 | 15 | 0.5 | 116 | 4 | 4 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Yes | [5 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300106 | Willowbank Rd | N/A | N/A | 11 | 1 | Switchgear Inc. | Type C | 1990 | Indoor | 0.5 | 15 | 15 | 0.5 | 297 | 4 | 4 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text |  | Inidicative |  |  |  |  | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300107 | Pinecrest Drive | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk1 | 1990 | Outdoor | 0.5 | 66 | 12 | 0.5 | 250 | 5 | 5 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300108 | Hawthorn Court | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk2 | 1990 | Indoor | 0.5 | 88 | 12 | 0.5 | 55 | 1 | 2 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300109 | Elmwood Street | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk3 | 1990 | Outdoor | 0.5 | 8 | 19 | 0.5 | 270 | 3 | 3 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300110 | Riverbank Main | N/A | N/A | 11 | 1 | Switchgear Inc. | Type A | 1990 | Indoor | 0.5 | 97 | 13 | 0.5 | 152 | 1 | 2 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300111 | Birchwood Rd | N/A | N/A | 11 | 1 | Switchgear Inc. | Type B | 1990 | Outdoor | 0.5 | 73 | 19 | 0.5 | 47 | 4 | 5 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Yes | [5 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300112 | Kingsbury Drive | N/A | N/A | 11 | 1 | Switchgear Inc. | Type C | 1990 | Indoor | 0.5 | 33 | 10 | 0.5 | 257 | 4 | 5 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Yes | [5 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300113 | Meadowview Court | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk1 | 1990 | Outdoor | 0.5 | 75 | 16 | 0.5 | 68 | 4 | 5 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text |  | Inidicative |  |  |  |  | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300114 | Foxglove Street | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk2 | 1990 | Indoor | 0.5 | 12 | 8 | 0.5 | 45 | 1 | 1 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300115 | Hillcrest Main | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk3 | 1990 | Outdoor | 0.5 | 38 | 5 | 0.5 | 74 | 3 | 3 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300116 | Silverbrook Rd | N/A | N/A | 11 | 1 | Switchgear Inc. | Type A | 1990 | Indoor | 0.5 | 99 | 14 | 0.5 | 226 | 5 | 5 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300117 | Redstone Drive | N/A | N/A | 11 | 1 | Switchgear Inc. | Type B | 1990 | Outdoor | 0.5 | 5 | 16 | 0.5 | 265 | 4 | 4 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Yes | [5 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300118 | Greenfield Court | N/A | N/A | 11 | 1 | Switchgear Inc. | Type C | 1990 | Indoor | 0.5 | 16 | 54 | 0.5 | 235 | 4 | 4 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text |  | Inidicative |  |  |  |  | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300119 | Sunnyvale Street | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk1 | 1990 | Outdoor | 0.5 | 28 | 18 | 0.5 | 157 | 4 | 4 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text |  | Inidicative |  |  |  |  | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300120 | Thornhill Main | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk2 | 1990 | Indoor | 0.5 | 9 | 12 | 0.5 | 296 | 5 | 5 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300121 | Parkside Rd | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk3 | 1990 | Outdoor | 0.5 | 38 | 8 | 0.5 | 133 | 4 | 4 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text |  | Inidicative |  |  |  |  | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300122 | Lakeshore Drive | N/A | N/A | 11 | 1 | Switchgear Inc. | Type A | 1990 | Indoor | 0.5 | 78 | 13 | 0.5 | 264 | 1 | 1 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300123 | Westfield Court | N/A | N/A | 11 | 1 | Switchgear Inc. | Type B | 1990 | Outdoor | 0.5 | 30 | 8 | 0.5 | 157 | 2 | 2 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300124 | Ivybridge Street | N/A | N/A | 11 | 1 | Switchgear Inc. | Type C | 1990 | Indoor | 0.5 | 59 | 9 | 0.5 | 21 | 4 | 4 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text |  | Inidicative |  |  |  |  | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300125 | Eastwood Main | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk1 | 1990 | Outdoor | 0.5 | 7 | 14 | 0.5 | 137 | 5 | 5 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300126 | Grantham Rd | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk2 | 1990 | Indoor | 0.5 | 96 | 14 | 0.5 | 213 | 2 | 2 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300127 | Millstone Drive | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk3 | 1990 | Outdoor | 0.5 | 1 | 15 | 0.5 | 43 | 3 | 3 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300128 | Rosewood Court | N/A | N/A | 11 | 1 | Switchgear Inc. | Type A | 1990 | Indoor | 0.5 | 7 | 7 | 0.5 | 163 | 1 | 2 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300129 | Highbury Street | N/A | N/A | 11 | 1 | Switchgear Inc. | Type B | 1990 | Outdoor | 0.5 | 83 | 18 | 0.5 | 160 | 3 | 3 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300130 | Fairfield Main | N/A | N/A | 11 | 1 | Switchgear Inc. | Type C | 1990 | Indoor | 0.5 | 24 | 9 | 0.5 | 275 | 1 | 1 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300131 | Woodhaven Rd | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk1 | 1990 | Outdoor | 0.5 | 26 | 5 | 0.5 | 48 | 2 | 2 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300132 | Brightwell Drive | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk2 | 1990 | Indoor | 0.5 | 49 | 176 | 0.5 | 206 | 1 | 1 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300133 | Stonebridge Court | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk3 | 1990 | Outdoor | 0.5 | 64 | 14 | 0.5 | 52 | 5 | 5 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300134 | Amberley Street | N/A | N/A | 11 | 1 | Switchgear Inc. | Type A | 1990 | Indoor | 0.5 | 29 | 180 | 0.5 | 197 | 4 | 5 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text |  | Inidicative |  |  |  |  | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300135 | Northgate Main | N/A | N/A | 11 | 1 | Switchgear Inc. | Type B | 1990 | Outdoor | 0.5 | 22 | 6 | 0.5 | 243 | 4 | 4 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text |  | Inidicative |  |  |  |  | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300136 | Southridge Rd | N/A | N/A | 11 | 1 | Switchgear Inc. | Type C | 1990 | Indoor | 0.5 | 2 | 15 | 0.5 | 58 | 2 | 2 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300137 | Claymore Drive | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk1 | 1990 | Outdoor | 0.5 | 78 | 13 | 0.5 | 204 | 3 | 3 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300138 | Bluebell Court | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk2 | 1990 | Indoor | 0.5 | 17 | 10 | 0.5 | 168 | 4 | 4 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text |  | Inidicative |  |  |  |  | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300139 | Pennington Street | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk3 | 1990 | Outdoor | 0.5 | 48 | 8 | 0.5 | 259 | 5 | 5 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300140 | Longford Main | N/A | N/A | 11 | 1 | Switchgear Inc. | Type A | 1990 | Indoor | 0.5 | 56 | 5 | 0.5 | 166 | 2 | 2 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300141 | Whitehall Rd | N/A | N/A | 11 | 1 | Switchgear Inc. | Type B | 1990 | Outdoor | 0.5 | 1 | 5 | 0.5 | 70 | 4 | 4 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text |  | Inidicative |  |  |  |  | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300142 | Vinewood Drive | N/A | N/A | 11 | 1 | Switchgear Inc. | Type C | 1990 | Indoor | 0.5 | 1 | 16 | 0.5 | 130 | 5 | 5 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300143 | Cedarfield Court | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk1 | 1990 | Outdoor | 0.5 | 73 | 5 | 0.5 | 135 | 3 | 3 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300144 | Belmont Street | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk2 | 1990 | Indoor | 0.5 | 7 | 140 | 0.5 | 130 | 1 | 1 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300145 | Oakfield Main | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk3 | 1990 | Outdoor | 0.5 | 56 | 17 | 0.5 | 91 | 4 | 4 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text |  | Inidicative |  |  |  |  | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300146 | Greenway Rd | N/A | N/A | 11 | 1 | Switchgear Inc. | Type A | 1990 | Indoor | 0.5 | 37 | 11 | 0.5 | 168 | 5 | 5 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300147 | Ashgrove Drive | N/A | N/A | 11 | 1 | Switchgear Inc. | Type B | 1990 | Outdoor | 0.5 | 3 | 10 | 0.5 | 102 | 3 | 3 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300148 | Hilltop Court | N/A | N/A | 11 | 1 | Switchgear Inc. | Type C | 1990 | Indoor | 0.5 | 4 | 17 | 0.5 | 253 | 3 | 3 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300149 | Kingsway Street | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk1 | 1990 | Outdoor | 0.5 | 30 | 150 | 0.5 | 36 | 1 | 1 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300150 | Riverdale Main | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk2 | 1990 | Indoor | 0.5 | 6 | 18 | 0.5 | 159 | 3 | 3 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300151 | Chester Rd | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk3 | 1990 | Outdoor | 0.5 | 1 | 17 | 0.5 | 153 | 4 | 5 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Yes | [5 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300152 | Blackwood Drive | N/A | N/A | 11 | 1 | Switchgear Inc. | Type A | 1990 | Indoor | 0.5 | 69 | 6 | 0.5 | 240 | 4 | 4 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text |  | Inidicative |  |  |  |  | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300153 | Fairfield Court | N/A | N/A | 11 | 1 | Switchgear Inc. | Type B | 1990 | Outdoor | 0.5 | 1 | 11 | 0.5 | 21 | 3 | 3 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300154 | Mapleton Street | N/A | N/A | 11 | 1 | Switchgear Inc. | Type C | 1990 | Indoor | 0.5 | 80 | 20 | 0.5 | 138 | 4 | 4 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text |  | Inidicative |  |  |  |  | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300155 | Glenwood Main | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk1 | 1990 | Outdoor | 0.5 | 31 | 123 | 0.5 | 207 | 1 | 1 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300156 | Broadmoor Rd | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk2 | 1990 | Indoor | 0.5 | 51 | 181 | 0.5 | 88 | 2 | 2 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300157 | Riverside Drive | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk3 | 1990 | Outdoor | 0.5 | 41 | 10 | 0.5 | 268 | 5 | 5 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Yes | [5 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300158 | Silverton Court | N/A | N/A | 11 | 1 | Switchgear Inc. | Type A | 1990 | Indoor | 0.5 | 52 | 110 | 0.5 | 143 | 3 | 3 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300159 | Elmbridge Street | N/A | N/A | 11 | 1 | Switchgear Inc. | Type B | 1990 | Outdoor | 0.5 | 60 | 15 | 0.5 | 84 | 1 | 2 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300160 | Fairview Main | N/A | N/A | 11 | 1 | Switchgear Inc. | Type C | 1990 | Indoor | 0.5 | 36 | 120 | 0.5 | 89 | 2 | 2 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300161 | Westbrook Rd | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk1 | 1990 | Outdoor | 0.5 | 83 | 6 | 0.5 | 217 | 2 | 3 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300162 | Pinehill Drive | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk2 | 1990 | Indoor | 0.5 | 26 | 19 | 0.5 | 56 | 3 | 3 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300163 | Summerfield Court | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk3 | 1990 | Outdoor | 0.5 | 92 | 7 | 0.5 | 165 | 1 | 1 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300164 | Northfield Street | N/A | N/A | 11 | 1 | Switchgear Inc. | Type A | 1990 | Indoor | 0.5 | 71 | 17 | 0.5 | 79 | 5 | 5 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300165 | Southgate Main | N/A | N/A | 11 | 1 | Switchgear Inc. | Type B | 1990 | Outdoor | 0.5 | 95 | 198 | 0.5 | 255 | 3 | 4 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300166 | Eastbrook Rd | N/A | N/A | 11 | 1 | Switchgear Inc. | Type C | 1990 | Indoor | 0.5 | 2 | 6 | 0.5 | 52 | 1 | 2 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300167 | Willowcrest Drive | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk1 | 1990 | Outdoor | 0.5 | 42 | 15 | 0.5 | 289 | 3 | 3 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300168 | Heathfield Court | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk2 | 1990 | Indoor | 0.5 | 87 | 6 | 0.5 | 132 | 2 | 3 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300169 | Brookfield Street | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk3 | 1990 | Outdoor | 0.5 | 72 | 14 | 0.5 | 30 | 1 | 1 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300170 | Woodside Main | N/A | N/A | 11 | 1 | Switchgear Inc. | Type A | 1990 | Indoor | 0.5 | 89 | 17 | 0.5 | 134 | 3 | 3 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300171 | Redhill Rd | N/A | N/A | 11 | 1 | Switchgear Inc. | Type B | 1990 | Outdoor | 0.5 | 83 | 32 | 0.5 | 65 | 2 | 3 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300172 | Ashbourne Drive | N/A | N/A | 11 | 1 | Switchgear Inc. | Type C | 1990 | Indoor | 0.5 | 4 | 6 | 0.5 | 63 | 4 | 4 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Yes | [5 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300173 | Greenleigh Court | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk1 | 1990 | Outdoor | 0.5 | 7 | 17 | 0.5 | 246 | 5 | 5 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300174 | Stonehaven Street | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk2 | 1990 | Indoor | 0.5 | 17 | 19 | 0.5 | 229 | 4 | 4 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Yes | [5 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300175 | Parkview Main | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk3 | 1990 | Outdoor | 0.5 | 12 | 18 | 0.5 | 172 | 4 | 4 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Yes | [5 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300176 | Foxhill Rd | N/A | N/A | 11 | 1 | Switchgear Inc. | Type A | 1990 | Indoor | 0.5 | 91 | 20 | 0.5 | 208 | 5 | 6 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Yes | [5 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300177 | Birchfield Drive | N/A | N/A | 11 | 1 | Switchgear Inc. | Type B | 1990 | Outdoor | 0.5 | 64 | 37 | 0.5 | 149 | 1 | 1 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300178 | Elmhurst Court | N/A | N/A | 11 | 1 | Switchgear Inc. | Type C | 1990 | Indoor | 0.5 | 45 | 13 | 0.5 | 104 | 3 | 4 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300179 | Mosswood Street | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk1 | 1990 | Outdoor | 0.5 | 27 | 16 | 0.5 | 49 | 5 | 5 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Yes | [5 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300180 | Highfield Main | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk2 | 1990 | Indoor | 0.5 | 30 | 6 | 0.5 | 90 | 4 | 4 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text |  | Inidicative |  |  |  |  | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300181 | Silverdale Rd | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk3 | 1990 | Outdoor | 0.5 | 58 | 5 | 0.5 | 48 | 1 | 1 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300182 | Oakmont Drive | N/A | N/A | 11 | 1 | Switchgear Inc. | Type A | 1990 | Indoor | 0.5 | 21 | 139 | 0.5 | 117 | 5 | 5 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300183 | Whitestone Court | N/A | N/A | 11 | 1 | Switchgear Inc. | Type B | 1990 | Outdoor | 0.5 | 44 | 13 | 0.5 | 284 | 5 | 5 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300184 | Rosehill Street | N/A | N/A | 11 | 1 | Switchgear Inc. | Type C | 1990 | Indoor | 0.5 | 2 | 9 | 0.5 | 199 | 1 | 1 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300185 | Meadowbrook Main | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk1 | 1990 | Outdoor | 0.5 | 33 | 13 | 0.5 | 74 | 2 | 3 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300186 | Kingsford Rd | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk2 | 1990 | Indoor | 0.5 | 44 | 8 | 0.5 | 288 | 2 | 2 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300187 | Pinewood Drive | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk3 | 1990 | Outdoor | 0.5 | 87 | 7 | 0.5 | 80 | 3 | 3 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300188 | Amberfield Court | N/A | N/A | 11 | 1 | Switchgear Inc. | Type A | 1990 | Indoor | 0.5 | 63 | 66 | 0.5 | 195 | 4 | 4 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text |  | Inidicative |  |  |  |  | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300189 | Springvale Street | N/A | N/A | 11 | 1 | Switchgear Inc. | Type B | 1990 | Outdoor | 0.5 | 76 | 14 | 0.5 | 112 | 5 | 6 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300190 | Glenfield Main | N/A | N/A | 11 | 1 | Switchgear Inc. | Type C | 1990 | Indoor | 0.5 | 83 | 13 | 0.5 | 259 | 4 | 4 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text |  | Inidicative |  |  |  |  | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300191 | Brookhaven Rd | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk1 | 1990 | Outdoor | 0.5 | 90 | 11 | 0.5 | 141 | 5 | 5 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300192 | Cedarbrook Drive | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk2 | 1990 | Indoor | 0.5 | 16 | 16 | 0.5 | 166 | 4 | 5 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text |  | Inidicative |  |  |  |  | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300193 | Thornwood Court | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk3 | 1990 | Outdoor | 0.5 | 89 | 16 | 0.5 | 126 | 1 | 1 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300194 | Willowbend Street | N/A | N/A | 11 | 1 | Switchgear Inc. | Type A | 1990 | Indoor | 0.5 | 2 | 6 | 0.5 | 161 | 4 | 4 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text |  | Inidicative |  |  |  |  | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300195 | Greenhaven Main | N/A | N/A | 11 | 1 | Switchgear Inc. | Type B | 1990 | Outdoor | 0.5 | 47 | 11 | 0.5 | 96 | 2 | 2 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300196 | Ashridge Rd | N/A | N/A | 11 | 1 | Switchgear Inc. | Type C | 1990 | Indoor | 0.5 | 33 | 14 | 0.5 | 83 | 5 | 5 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300197 | Longmeadow Drive | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk1 | 1990 | Outdoor | 0.5 | 14 | 20 | 0.5 | 86 | 3 | 3 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300198 | Fairwood Court | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk2 | 1990 | Indoor | 0.5 | 77 | 95 | 0.5 | 76 | 5 | 5 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300199 | Northwood Street | N/A | N/A | 11 | 1 | Switchgear Inc. | Mk3 | 1990 | Outdoor | 0.5 | 9 | 20 | 0.5 | 23 | 1 | 1 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Load |  | 1 | 1
[5 empty] | 6.6/11kV CB (GM) Primary | 300200 | Southfield Main | N/A | N/A | 11 | 1 | Switchgear Inc. | Type A | 1990 | Indoor | 0.5 | 1 | 121 | 0.5 | 286 | 1 | 2 | 2 | 2 | 5 | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | [6 empty] | Non-Load |  | 1 | 1

## HV Transformer
HV Transformer
Plan References |  |  | Historic Funding |  | Asset and Condition Data | [24 empty] | Investment Signals | [6 empty] | ED3 Intervention | [13 empty] | Comment | Additional Information
BPDT Reference | EJP Reference | CV Code | ED1 Investment | ED2 Investment | Asset Sub-Category | Asset ID | Substation | Route ID | Circuit ID | Voltage-HV (kV) | Voltage-LV (kV) | Rating (MVA) | Manufacturer | Type / Model | Install Date | Indoor / Outdoor | Distance From Coast (km) | Altitude (m) | Corrosion Factor | Customers Supplied (#) | Utilisation (%) | Health Index 2028 | Health Index 2033 (No intervention) | Criticality Index (2028) | Criticality Index (2033) | Transformer External Condition | Cable Boxes Condition | Partial Discharge | Temparature Readings | ED3 (2028-) | ED4 (2033) | ED4 (2034) | ED4 (2035) | ED4 (2036-) | ED5 (2038-) | Investment Driver (Load/Non-Load) | Year of Intervention | Replace / Refurbish / New | Asset Sub-Category | HI 2033 (Post-intervention) | Future Rating (MVA) | New Asset ID | New Substation | New Route ID | New Circuit ID | Voltage (kV) | Scope | Alternative Option Considered | Cost Estimate (£m) | Futureproofing Cost (£m) | Comment(s) | Limited Site Access | Building/Housing Needed | Off Plumb
Text | Text | Text | Text | Text | Dropdown | Text | Text | Text | Text | Number | Number | Number | Text | Text | Date | Dropdown | Number | Number | Number | Number | Number | Number | Number | Number | Number | Text | Text | Text | Text | Text (Optional) | Text (Optional) | Text (Optional) | Text (Optional) | Text (Optional) | Text (Optional) | Dropdown | Date | Dropdown | Dropdown | Text | Number | Text | Text | Text | Text | Number | Text | Text | Number | Number | Text | Text | Text | Text
[5 empty] | 6.6/11kV Transformer (GM) | 100101 | Ashfield Rd | N/A | N/A | 11 | 0.4 | 0.7 | Green Transformers | Mk1 | 1944 | Outdoor | 72 | 9 | 2 | 226 | 80 | 4 | 4 | 2 | 2 | 2 | 4 | 3 | 2 |  | Indicative |  |  |  |  | Load
[5 empty] | 6.6/11kV Transformer (GM) | 100102 | Brookstone Drive | N/A | N/A | 11 | 1 | 1 | Red Tx | Mk2 | 2005 | Indoor | 8 | 19 | 4 | 143 | 69 | 5 | 5 | 2 | 2 | 4 | 5 | 3 | 3 | Yes | [5 empty] | Non-Load | 2028 | Replace | 6.6/11kV Transformer (GM) | 1 | 1 | 6.6/11kV Transformer (GM) |  | N/A | N/A | 11 | Like for Like | N/A
[5 empty] | 6.6/11kV Transformer (GM) | 100103 | Cedarwood Court | N/A | N/A | 11 | 0.4 | 0.5 | Yellow Tx | Mk3 | 1953 | Outdoor | 78 | 8 | 3 | 84 | 89 | 1 | 1 | 2 | 2 | 3 | 1 | 2 | 1 | [6 empty] | Load
[5 empty] | 6.6/11kV Transformer (GM) | 100104 | Maple Grove Street | N/A | N/A | 11 | 0.4 | 1.5 | Blue Transformers | Type A | 1986 | Indoor | 36 | 14 | 3 | 67 | 61 | 4 | 4 | 2 | 2 | 3 | 4 | 1 | 3 |  | Indicative |  |  |  |  | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100105 | Oakridge Main | N/A | N/A | 11 | 0.4 | 2 | Green Transformers | Type B | 2021 | Outdoor | 83 | 15 | 4 | 116 | 73 | 4 | 4 | 2 | 2 | 4 | 4 | 4 | 2 | Yes | [5 empty] | Load | 2029 | Replace | 6.6/11kV Transformer (GM) | 1 | 2 | 6.6/11kV Transformer (GM) |  | N/A | N/A | 11 | Like for Like | N/A | [5 empty] | Yes
[5 empty] | 6.6/11kV Transformer (GM) | 100106 | Willowbank Rd | N/A | N/A | 11 | 0.4 | 0.8 | Red Tx | Type C | 1941 | Indoor | 15 | 15 | 1 | 297 | 79 | 4 | 4 | 2 | 2 | 1 | 4 | 2 | 3 |  | Inidicative |  |  |  |  | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100107 | Pinecrest Drive | N/A | N/A | 11 | 0.4 | 1 | Yellow Tx | Mk1 | 1997 | Outdoor | 66 | 12 | 3 | 250 | 89 | 5 | 5 | 2 | 2 | 3 | 5 | 3 | 2 | [6 empty] | Load
[5 empty] | 6.6/11kV Transformer (GM) | 100108 | Hawthorn Court | N/A | N/A | 11 | 0.4 | 0.7 | Blue Transformers | Mk2 | 1938 | Indoor | 88 | 12 | 2 | 55 | 55 | 1 | 2 | 2 | 2 | 2 | 1 | 3 | 2 | [6 empty] | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100109 | Elmwood Street | N/A | N/A | 11 | 0.4 | 0.5 | Green Transformers | Mk3 | 2017 | Outdoor | 8 | 19 | 2 | 270 | 64 | 3 | 3 | 2 | 2 | 2 | 3 | 4 | 3 | [6 empty] | Load
[5 empty] | 6.6/11kV Transformer (GM) | 100110 | Riverbank Main | N/A | N/A | 11 | 0.4 | 2 | Red Tx | Type A | 1953 | Indoor | 97 | 13 | 3 | 152 | 61 | 1 | 2 | 2 | 2 | 3 | 1 | 3 | 3 | [6 empty] | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100111 | Birchwood Rd | N/A | N/A | 11 | 0.4 | 1.5 | Yellow Tx | Type B | 2000 | Outdoor | 73 | 19 | 4 | 47 | 77 | 4 | 5 | 2 | 2 | 4 | 4 | 3 | 2 | Yes | [5 empty] | Load | 2028 | Replace | 6.6/11kV Transformer (GM) | 1 | 1.5 | 6.6/11kV Transformer (GM) |  | N/A | N/A | 11 | Like for Like | N/A
[5 empty] | 6.6/11kV Transformer (GM) | 100112 | Kingsbury Drive | N/A | N/A | 11 | 0.4 | 0.8 | Blue Transformers | Type C | 1959 | Indoor | 33 | 10 | 4 | 257 | 71 | 4 | 5 | 2 | 2 | 4 | 4 | 1 | 3 | Yes | [5 empty] | Non-Load | 2029 | Replace | 6.6/11kV Transformer (GM) | 1 | 0.8 | 6.6/11kV Transformer (GM) |  | N/A | N/A | 11 | Like for Like | N/A
[5 empty] | 6.6/11kV Transformer (GM) | 100113 | Meadowview Court | N/A | N/A | 11 | 0.4 | 1 | Green Transformers | Mk1 | 1962 | Outdoor | 75 | 16 | 3 | 68 | 67 | 4 | 5 | 2 | 2 | 3 | 4 | 1 | 1 |  | Inidicative |  |  |  |  | Load
[5 empty] | 6.6/11kV Transformer (GM) | 100114 | Foxglove Street | N/A | N/A | 11 | 0.4 | 0.5 | Red Tx | Mk2 | 1952 | Indoor | 12 | 8 | 2 | 45 | 56 | 1 | 1 | 2 | 2 | 2 | 1 | 4 | 1 | [6 empty] | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100115 | Hillcrest Main | N/A | N/A | 11 | 0.4 | 0.7 | Yellow Tx | Mk3 | 2015 | Outdoor | 38 | 5 | 4 | 74 | 62 | 3 | 3 | 2 | 2 | 4 | 3 | 4 | 2 | [6 empty] | Load | 2027 | Refurbish | 6.6/11kV Transformer (GM) | 2 | 0.7 |  |  | N/A | N/A | 11 | Refurb | Replace | 0.01
[5 empty] | 6.6/11kV Transformer (GM) | 100116 | Silverbrook Rd | N/A | N/A | 11 | 0.4 | 2 | Blue Transformers | Type A | 1960 | Indoor | 99 | 14 | 3 | 226 | 82 | 5 | 5 | 2 | 2 | 3 | 5 | 1 | 4 | [6 empty] | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100117 | Redstone Drive | N/A | N/A | 11 | 0.4 | 1.5 | Green Transformers | Type B | 1976 | Outdoor | 5 | 16 | 4 | 265 | 76 | 4 | 4 | 2 | 2 | 4 | 4 | 1 | 4 | Yes | [5 empty] | Load | 2031 | Replace | 6.6/11kV Transformer (GM) | 1 | 1.5 | 6.6/11kV Transformer (GM) |  | N/A | N/A | 11 | Like for Like | N/A | 0.055
[5 empty] | 6.6/11kV Transformer (GM) | 100118 | Greenfield Court | N/A | N/A | 11 | 0.4 | 0.8 | Red Tx | Type C | 1940 | Indoor | 16 | 54 | 3 | 235 | 61 | 4 | 4 | 2 | 2 | 3 | 4 | 2 | 3 |  | Inidicative |  |  |  |  | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100119 | Sunnyvale Street | N/A | N/A | 11 | 0.4 | 1 | Yellow Tx | Mk1 | 1958 | Outdoor | 28 | 18 | 1 | 157 | 76 | 4 | 4 | 2 | 2 | 1 | 4 | 3 | 2 |  | Inidicative |  |  |  |  | Load
[5 empty] | 6.6/11kV Transformer (GM) | 100120 | Thornhill Main | N/A | N/A | 11 | 0.4 | 0.7 | Blue Transformers | Mk2 | 1963 | Indoor | 9 | 12 | 2 | 296 | 86 | 5 | 5 | 2 | 2 | 2 | 5 | 3 | 2 | [6 empty] | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100121 | Parkside Rd | N/A | N/A | 11 | 1 | 0.5 | Green Transformers | Mk3 | 1946 | Outdoor | 38 | 8 | 2 | 133 | 79 | 4 | 4 | 2 | 2 | 2 | 4 | 4 | 2 |  | Inidicative |  |  |  |  | Load
[5 empty] | 6.6/11kV Transformer (GM) | 100122 | Lakeshore Drive | N/A | N/A | 11 | 1 | 2 | Red Tx | Type A | 2014 | Indoor | 78 | 13 | 2 | 264 | 69 | 1 | 1 | 2 | 2 | 2 | 1 | 1 | 2 | [6 empty] | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100123 | Westfield Court | N/A | N/A | 11 | 0.4 | 1.5 | Yellow Tx | Type B | 1954 | Outdoor | 30 | 8 | 1 | 157 | 60 | 2 | 2 | 2 | 2 | 1 | 2 | 3 | 3 | [6 empty] | Load
[5 empty] | 6.6/11kV Transformer (GM) | 100124 | Ivybridge Street | N/A | N/A | 11 | 0.4 | 0.8 | Blue Transformers | Type C | 1970 | Indoor | 59 | 9 | 2 | 21 | 72 | 4 | 4 | 2 | 2 | 2 | 4 | 2 | 2 |  | Inidicative |  |  |  |  | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100125 | Eastwood Main | N/A | N/A | 11 | 0.4 | 1 | Green Transformers | Mk1 | 1981 | Outdoor | 7 | 14 | 2 | 137 | 51 | 5 | 5 | 2 | 2 | 2 | 5 | 3 | 4 | [6 empty] | Load
[5 empty] | 6.6/11kV Transformer (GM) | 100126 | Grantham Rd | N/A | N/A | 11 | 0.4 | 0.5 | Red Tx | Mk2 | 1956 | Indoor | 96 | 14 | 3 | 213 | 89 | 2 | 2 | 2 | 2 | 3 | 2 | 3 | 1 | [6 empty] | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100127 | Millstone Drive | N/A | N/A | 11 | 0.4 | 0.7 | Yellow Tx | Mk3 | 1976 | Outdoor | 1 | 15 | 4 | 43 | 84 | 3 | 3 | 2 | 2 | 4 | 3 | 3 | 3 | [6 empty] | Load | 2029 | Refurbish | 6.6/11kV Transformer (GM) | 2 | 0.7 |  |  | N/A | N/A | 11 | Refurb | Replace | 0.01
[5 empty] | 6.6/11kV Transformer (GM) | 100128 | Rosewood Court | N/A | N/A | 11 | 0.4 | 2 | Blue Transformers | Type A | 1984 | Indoor | 7 | 7 | 1 | 163 | 64 | 1 | 2 | 2 | 2 | 1 | 1 | 2 | 4 | [6 empty] | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100200 | Highbury Street | N/A | N/A | 11 | 0.4 | 1.5 | Green Transformers | Type B | 1944 | Outdoor | 83 | 18 | 3 | 160 | 57 | 3 | 3 | 2 | 2 | 3 | 3 | 3 | 2 | [6 empty] | Load
[5 empty] | 6.6/11kV Transformer (GM) | 100201 | Fairfield Main | N/A | N/A | 11 | 0.4 | 0.8 | Red Tx | Type C | 1992 | Indoor | 24 | 9 | 1 | 275 | 53 | 1 | 1 | 2 | 2 | 1 | 1 | 3 | 3 | [6 empty] | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100202 | Woodhaven Rd | N/A | N/A | 11 | 0.4 | 1 | Yellow Tx | Mk1 | 1983 | Outdoor | 26 | 5 | 2 | 48 | 78 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | 3 | [6 empty] | Load
[5 empty] | 6.6/11kV Transformer (GM) | 100203 | Brightwell Drive | N/A | N/A | 11 | 0.4 | 0.7 | Blue Transformers | Mk2 | 2013 | Indoor | 49 | 176 | 4 | 206 | 85 | 1 | 1 | 2 | 2 | 4 | 1 | 4 | 4 | [6 empty] | Non-Load | 2031 | Refurbish | 6.6/11kV Transformer (GM) | 1 | 0.7 |  |  | N/A | N/A | 11 | Refurb | Replace | 0.01
[5 empty] | 6.6/11kV Transformer (GM) | 100204 | Stonebridge Court | N/A | N/A | 11 | 0.4 | 0.5 | Green Transformers | Mk3 | 1968 | Outdoor | 64 | 14 | 2 | 52 | 77 | 5 | 5 | 2 | 2 | 2 | 5 | 4 | 2 | [6 empty] | Load
[5 empty] | 6.6/11kV Transformer (GM) | 100205 | Amberley Street | N/A | N/A | 11 | 0.4 | 2 | Red Tx | Type A | 1971 | Indoor | 29 | 180 | 2 | 197 | 79 | 4 | 5 | 2 | 2 | 2 | 4 | 4 | 2 |  | Inidicative |  |  |  |  | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100206 | Northgate Main | N/A | N/A | 11 | 0.4 | 1.5 | Yellow Tx | Type B | 2001 | Outdoor | 22 | 6 | 2 | 243 | 66 | 4 | 4 | 2 | 2 | 2 | 4 | 3 | 4 |  | Inidicative |  |  |  |  | Load
[5 empty] | 6.6/11kV Transformer (GM) | 100207 | Southridge Rd | N/A | N/A | 11 | 0.4 | 0.8 | Blue Transformers | Type C | 1954 | Indoor | 2 | 15 | 1 | 58 | 55 | 2 | 2 | 2 | 2 | 1 | 2 | 1 | 4 | [6 empty] | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100208 | Claymore Drive | N/A | N/A | 11 | 0.4 | 1 | Green Transformers | Mk1 | 1966 | Outdoor | 78 | 13 | 3 | 204 | 58 | 3 | 3 | 2 | 2 | 3 | 3 | 3 | 3 | [6 empty] | Load
[5 empty] | 6.6/11kV Transformer (GM) | 100209 | Bluebell Court | N/A | N/A | 11 | 0.4 | 0.5 | Red Tx | Mk2 | 1994 | Indoor | 17 | 10 | 1 | 168 | 53 | 4 | 4 | 2 | 2 | 1 | 4 | 2 | 4 |  | Inidicative |  |  |  |  | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100210 | Pennington Street | N/A | N/A | 11 | 0.4 | 0.7 | Yellow Tx | Mk3 | 1972 | Outdoor | 48 | 8 | 1 | 259 | 78 | 5 | 5 | 2 | 2 | 1 | 5 | 1 | 2 | [6 empty] | Load
[5 empty] | 6.6/11kV Transformer (GM) | 100211 | Longford Main | N/A | N/A | 11 | 0.4 | 2 | Blue Transformers | Type A | 2006 | Indoor | 56 | 5 | 1 | 166 | 67 | 2 | 2 | 2 | 2 | 1 | 2 | 1 | 3 | [6 empty] | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100212 | Whitehall Rd | N/A | N/A | 11 | 0.4 | 1.5 | Green Transformers | Type B | 1979 | Outdoor | 1 | 5 | 1 | 70 | 75 | 4 | 4 | 2 | 2 | 1 | 4 | 3 | 2 |  | Inidicative |  |  |  |  | Load
[5 empty] | 6.6/11kV Transformer (GM) | 100213 | Vinewood Drive | N/A | N/A | 11 | 0.4 | 0.8 | Red Tx | Type C | 1940 | Indoor | 1 | 16 | 3 | 130 | 50 | 5 | 5 | 2 | 2 | 3 | 5 | 3 | 3 | [6 empty] | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100214 | Cedarfield Court | N/A | N/A | 11 | 0.4 | 1 | Yellow Tx | Mk1 | 1950 | Outdoor | 73 | 5 | 4 | 135 | 83 | 3 | 3 | 2 | 2 | 4 | 3 | 3 | 2 | [6 empty] | Load | 2031 | Refurbish | 6.6/11kV Transformer (GM) | 1 | 1 |  |  | N/A | N/A | 11 | Refurb | Replace | 0.01
[5 empty] | 6.6/11kV Transformer (GM) | 100215 | Belmont Street | N/A | N/A | 11 | 0.4 | 0.7 | Blue Transformers | Mk2 | 2010 | Indoor | 7 | 140 | 3 | 130 | 60 | 1 | 1 | 2 | 2 | 3 | 1 | 3 | 3 | [6 empty] | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100216 | Oakfield Main | N/A | N/A | 11 | 0.4 | 0.5 | Green Transformers | Mk3 | 1940 | Outdoor | 56 | 17 | 1 | 91 | 70 | 4 | 4 | 2 | 2 | 1 | 4 | 1 | 4 |  | Inidicative |  |  |  |  | Load
[5 empty] | 6.6/11kV Transformer (GM) | 100217 | Greenway Rd | N/A | N/A | 11 | 0.4 | 2 | Red Tx | Type A | 1999 | Indoor | 37 | 11 | 3 | 168 | 61 | 5 | 5 | 2 | 2 | 3 | 5 | 3 | 1 | [6 empty] | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100218 | Ashgrove Drive | N/A | N/A | 11 | 0.4 | 1.5 | Yellow Tx | Type B | 1963 | Outdoor | 3 | 10 | 3 | 102 | 55 | 3 | 3 | 2 | 2 | 3 | 3 | 4 | 4 | [6 empty] | Load
[5 empty] | 6.6/11kV Transformer (GM) | 100219 | Hilltop Court | N/A | N/A | 11 | 0.4 | 0.8 | Blue Transformers | Type C | 1983 | Indoor | 4 | 17 | 3 | 253 | 78 | 3 | 3 | 2 | 2 | 3 | 3 | 2 | 3 | [6 empty] | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100220 | Kingsway Street | N/A | N/A | 11 | 0.4 | 1 | Green Transformers | Mk1 | 2001 | Outdoor | 30 | 150 | 4 | 36 | 61 | 1 | 1 | 2 | 2 | 4 | 1 | 3 | 3 | [6 empty] | Load | 2029 | Refurbish | 6.6/11kV Transformer (GM) | 2 | 1 |  |  | N/A | N/A | 11 | Refurb | Replace | 0.01
[5 empty] | 6.6/11kV Transformer (GM) | 100221 | Riverdale Main | N/A | N/A | 11 | 0.4 | 0.5 | Red Tx | Mk2 | 1972 | Indoor | 6 | 18 | 4 | 159 | 58 | 3 | 3 | 2 | 2 | 4 | 3 | 2 | 1 | [6 empty] | Non-Load | 2028 | Refurbish | 6.6/11kV Transformer (GM) | 3 | 0.5 |  |  | N/A | N/A | 11 | Refurb | Replace | 0.01
[5 empty] | 6.6/11kV Transformer (GM) | 100222 | Chester Rd | N/A | N/A | 11 | 0.4 | 0.7 | Yellow Tx | Mk3 | 1937 | Outdoor | 1 | 17 | 4 | 153 | 88 | 4 | 5 | 2 | 2 | 4 | 4 | 2 | 2 | Yes | [5 empty] | Load | 2031 | Replace | 6.6/11kV Transformer (GM) | 1 | 1.5 | 6.6/11kV Transformer (GM) |  | N/A | N/A | 11 | Like for Like | N/A | 0.055
[5 empty] | 6.6/11kV Transformer (GM) | 100223 | Blackwood Drive | N/A | N/A | 11 | 0.4 | 2 | Blue Transformers | Type A | 1942 | Indoor | 69 | 6 | 2 | 240 | 52 | 4 | 4 | 2 | 2 | 2 | 4 | 3 | 2 |  | Inidicative |  |  |  |  | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100224 | Fairfield Court | N/A | N/A | 11 | 0.4 | 1.5 | Green Transformers | Type B | 1970 | Outdoor | 1 | 11 | 3 | 21 | 81 | 3 | 3 | 2 | 2 | 3 | 3 | 4 | 1 | [6 empty] | Load
[5 empty] | 6.6/11kV Transformer (GM) | 100225 | Mapleton Street | N/A | N/A | 11 | 0.4 | 0.8 | Red Tx | Type C | 2014 | Indoor | 80 | 20 | 3 | 138 | 89 | 4 | 4 | 2 | 2 | 3 | 4 | 3 | 3 |  | Inidicative |  |  |  |  | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100226 | Glenwood Main | N/A | N/A | 11 | 0.4 | 1 | Yellow Tx | Mk1 | 1981 | Outdoor | 31 | 123 | 2 | 207 | 60 | 1 | 1 | 2 | 2 | 2 | 1 | 3 | 4 | [6 empty] | Load
[5 empty] | 6.6/11kV Transformer (GM) | 100227 | Broadmoor Rd | N/A | N/A | 11 | 0.4 | 0.7 | Blue Transformers | Mk2 | 1950 | Indoor | 51 | 181 | 3 | 88 | 65 | 2 | 2 | 2 | 2 | 3 | 2 | 3 | 2 | [6 empty] | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100228 | Riverside Drive | N/A | N/A | 11 | 0.4 | 0.5 | Green Transformers | Mk3 | 1979 | Outdoor | 41 | 10 | 4 | 268 | 75 | 5 | 5 | 2 | 2 | 4 | 5 | 2 | 1 | Yes | [5 empty] | Load | 2032 | Replace | 6.6/11kV Transformer (GM) | 1 | 1 | 6.6/11kV Transformer (GM) |  | N/A | N/A | 11 | Uprate | Like for Like | 0.06 | 0.02 |  | Yes |  | Yes
[5 empty] | 6.6/11kV Transformer (GM) | 100229 | Silverton Court | N/A | N/A | 11 | 0.4 | 2 | Red Tx | Type A | 1981 | Indoor | 52 | 110 | 2 | 143 | 53 | 3 | 3 | 2 | 2 | 2 | 3 | 2 | 2 | [6 empty] | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100230 | Elmbridge Street | N/A | N/A | 11 | 0.4 | 1.5 | Yellow Tx | Type B | 2005 | Outdoor | 60 | 15 | 2 | 84 | 65 | 1 | 2 | 2 | 2 | 2 | 1 | 3 | 1 | [6 empty] | Load
[5 empty] | 6.6/11kV Transformer (GM) | 100231 | Fairview Main | N/A | N/A | 11 | 0.4 | 0.8 | Blue Transformers | Type C | 1950 | Indoor | 36 | 120 | 1 | 89 | 59 | 2 | 2 | 2 | 2 | 1 | 2 | 2 | 3 | [6 empty] | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100232 | Westbrook Rd | N/A | N/A | 11 | 0.4 | 1 | Green Transformers | Mk1 | 1936 | Outdoor | 83 | 6 | 4 | 217 | 87 | 2 | 3 | 2 | 2 | 4 | 2 | 3 | 4 | [6 empty] | Load | 2027 | Replace | 6.6/11kV Transformer (GM) | 2 | 1 |  |  | N/A | N/A | 11 | Uprate | Refurb | 0.05 | 0.01
[5 empty] | 6.6/11kV Transformer (GM) | 100233 | Pinehill Drive | N/A | N/A | 11 | 0.4 | 0.5 | Red Tx | Mk2 | 1965 | Indoor | 26 | 19 | 4 | 56 | 69 | 3 | 3 | 2 | 2 | 4 | 3 | 1 | 1 | [6 empty] | Non-Load | 2031 | Refurbish | 6.6/11kV Transformer (GM) | 1 | 0.5 |  |  | N/A | N/A | 11 | Refurb | Replace | 0.01
[5 empty] | 6.6/11kV Transformer (GM) | 100234 | Summerfield Court | N/A | N/A | 11 | 0.4 | 0.7 | Yellow Tx | Mk3 | 2019 | Outdoor | 92 | 7 | 4 | 165 | 83 | 1 | 1 | 2 | 2 | 4 | 1 | 4 | 3 | [6 empty] | Load | 2030 | Refurbish | 6.6/11kV Transformer (GM) | 2 | 0.7 |  |  | N/A | N/A | 11 | Refurb | Replace | 0.01
[5 empty] | 6.6/11kV Transformer (GM) | 100235 | Northfield Street | N/A | N/A | 11 | 0.4 | 2 | Blue Transformers | Type A | 1994 | Indoor | 71 | 17 | 1 | 79 | 66 | 5 | 5 | 2 | 2 | 1 | 5 | 4 | 3 | [6 empty] | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100236 | Southgate Main | N/A | N/A | 11 | 0.4 | 1.5 | Green Transformers | Type B | 1976 | Outdoor | 95 | 198 | 1 | 255 | 82 | 3 | 4 | 2 | 2 | 1 | 3 | 1 | 2 | [6 empty] | Load
[5 empty] | 6.6/11kV Transformer (GM) | 100237 | Eastbrook Rd | N/A | N/A | 11 | 0.4 | 0.8 | Red Tx | Type C | 1967 | Indoor | 2 | 6 | 2 | 52 | 65 | 1 | 2 | 2 | 2 | 2 | 1 | 4 | 3 | [6 empty] | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100238 | Willowcrest Drive | N/A | N/A | 11 | 0.4 | 1 | Yellow Tx | Mk1 | 2017 | Outdoor | 42 | 15 | 1 | 289 | 55 | 3 | 3 | 2 | 2 | 1 | 3 | 3 | 1 | [6 empty] | Load
[5 empty] | 6.6/11kV Transformer (GM) | 100239 | Heathfield Court | N/A | N/A | 11 | 0.4 | 0.7 | Blue Transformers | Mk2 | 2012 | Indoor | 87 | 6 | 3 | 132 | 70 | 2 | 3 | 2 | 2 | 3 | 2 | 1 | 3 | [6 empty] | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100240 | Brookfield Street | N/A | N/A | 11 | 0.4 | 0.5 | Green Transformers | Mk3 | 1975 | Outdoor | 72 | 14 | 2 | 30 | 77 | 1 | 1 | 2 | 2 | 2 | 1 | 2 | 3 | [6 empty] | Load
[5 empty] | 6.6/11kV Transformer (GM) | 100241 | Woodside Main | N/A | N/A | 11 | 0.4 | 2 | Red Tx | Type A | 2020 | Indoor | 89 | 17 | 4 | 134 | 68 | 3 | 3 | 2 | 2 | 4 | 3 | 4 | 1 | [6 empty] | Non-Load | 2030 | Refurbish | 6.6/11kV Transformer (GM) | 1 | 2 |  |  | N/A | N/A | 11 | Refurb | Replace | 0.01
[5 empty] | 6.6/11kV Transformer (GM) | 100242 | Redhill Rd | N/A | N/A | 11 | 0.4 | 1.5 | Yellow Tx | Type B | 1943 | Outdoor | 83 | 32 | 4 | 65 | 78 | 2 | 3 | 2 | 2 | 4 | 2 | 4 | 3 | [6 empty] | Load | 2027 | Refurbish | 6.6/11kV Transformer (GM) | 3 | 1.5 |  |  | N/A | N/A | 11 | Refurb | Replace | 0.01
[5 empty] | 6.6/11kV Transformer (GM) | 100243 | Ashbourne Drive | N/A | N/A | 11 | 0.4 | 0.8 | Blue Transformers | Type C | 1967 | Indoor | 4 | 6 | 4 | 63 | 78 | 4 | 4 | 2 | 2 | 4 | 4 | 3 | 3 | Yes | [5 empty] | Non-Load | 2031 | Replace | 6.6/11kV Transformer (GM) | 1 | 0.8 | 6.6/11kV Transformer (GM) |  | N/A | N/A | 11 | Like for Like | N/A | 0.04
[5 empty] | 6.6/11kV Transformer (GM) | 100244 | Greenleigh Court | N/A | N/A | 11 | 0.4 | 1 | Green Transformers | Mk1 | 2023 | Outdoor | 7 | 17 | 2 | 246 | 68 | 5 | 5 | 2 | 2 | 2 | 5 | 3 | 2 | [6 empty] | Load
[5 empty] | 6.6/11kV Transformer (GM) | 100245 | Stonehaven Street | N/A | N/A | 11 | 0.4 | 0.5 | Red Tx | Mk2 | 1987 | Indoor | 17 | 19 | 4 | 229 | 58 | 4 | 4 | 2 | 2 | 4 | 4 | 2 | 4 | Yes | [5 empty] | Non-Load | 2029 | Replace | 6.6/11kV Transformer (GM) | 1 | 0.5 | 6.6/11kV Transformer (GM) |  | N/A | N/A | 11 | Like for Like | N/A | 0.04
[5 empty] | 6.6/11kV Transformer (GM) | 100246 | Parkview Main | N/A | N/A | 11 | 0.4 | 0.7 | Yellow Tx | Mk3 | 2024 | Outdoor | 12 | 18 | 4 | 172 | 71 | 4 | 4 | 2 | 2 | 4 | 4 | 3 | 2 | Yes | [5 empty] | Load | 2027 | Replace | 6.6/11kV Transformer (GM) | 1 | 0.7 | 6.6/11kV Transformer (GM) |  | N/A | N/A | 11 | Like for Like | N/A | 0.04 |  |  |  |  | Yes
[5 empty] | 6.6/11kV Transformer (GM) | 100247 | Foxhill Rd | N/A | N/A | 11 | 0.4 | 2 | Blue Transformers | Type A | 2000 | Indoor | 91 | 20 | 4 | 208 | 65 | 5 | 6 | 2 | 2 | 4 | 5 | 2 | 4 | Yes | [5 empty] | Non-Load | 2027 | Replace | 6.6/11kV Transformer (GM) | 1 | 2 | 6.6/11kV Transformer (GM) |  | N/A | N/A | 11 | Like for Like | N/A | 0.06
[5 empty] | 6.6/11kV Transformer (GM) | 100248 | Birchfield Drive | N/A | N/A | 11 | 0.4 | 1.5 | Green Transformers | Type B | 1957 | Outdoor | 64 | 37 | 1 | 149 | 70 | 1 | 1 | 2 | 2 | 1 | 1 | 4 | 3 | [6 empty] | Load
[5 empty] | 6.6/11kV Transformer (GM) | 100249 | Elmhurst Court | N/A | N/A | 11 | 0.4 | 0.8 | Red Tx | Type C | 1981 | Indoor | 45 | 13 | 4 | 104 | 60 | 3 | 4 | 2 | 2 | 4 | 3 | 1 | 1 | [6 empty] | Non-Load | 2030 | Refurbish | 6.6/11kV Transformer (GM) | 3 | 0.8 |  |  | N/A | N/A | 11 | Refurb | Replace | 0.01
[5 empty] | 6.6/11kV Transformer (GM) | 100250 | Mosswood Street | N/A | N/A | 11 | 0.4 | 1 | Yellow Tx | Mk1 | 1951 | Outdoor | 27 | 16 | 4 | 49 | 88 | 5 | 5 | 2 | 2 | 4 | 5 | 3 | 3 | Yes | [5 empty] | Load | 2028 | Replace | 6.6/11kV Transformer (GM) | 1 | 1.5 | 6.6/11kV Transformer (GM) |  | N/A | N/A | 11 | Uprate | Like for Like | 0.055 | 0.01
[5 empty] | 6.6/11kV Transformer (GM) | 100251 | Highfield Main | N/A | N/A | 11 | 0.4 | 0.7 | Blue Transformers | Mk2 | 1988 | Indoor | 30 | 6 | 2 | 90 | 66 | 4 | 4 | 2 | 2 | 2 | 4 | 2 | 2 |  | Inidicative |  |  |  |  | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 100252 | Silverdale Rd | N/A | N/A | 11 | 0.4 | 0.5 | Green Transformers | Mk3 | 1935 | Outdoor | 58 | 5 | 4 | 48 | 80 | 1 | 1 | 2 | 2 | 4 | 1 | 2 | 2 | [6 empty] | Load | 2029 | Refurbish | 6.6/11kV Transformer (GM) | 1 | 0.5 |  |  | N/A | N/A | 11 | Refurb | Replace | 0.01
[5 empty] | 6.6/11kV Transformer (GM) | 200200 | Oakmont Drive | N/A | N/A | 11 | 0.4 | 2 | Red Tx | Type A | 1946 | Indoor | 21 | 139 | 1 | 117 | 79 | 5 | 5 | 2 | 2 | 1 | 5 | 3 | 3 | [6 empty] | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 200201 | Whitestone Court | N/A | N/A | 11 | 0.4 | 1.5 | Yellow Tx | Type B | 1936 | Outdoor | 44 | 13 | 2 | 284 | 68 | 5 | 5 | 2 | 2 | 2 | 5 | 2 | 1 | [6 empty] | Load
[5 empty] | 6.6/11kV Transformer (GM) | 200202 | Rosehill Street | N/A | N/A | 11 | 0.4 | 0.8 | Blue Transformers | Type C | 1979 | Indoor | 2 | 9 | 1 | 199 | 64 | 1 | 1 | 2 | 2 | 1 | 1 | 3 | 3 | [6 empty] | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 200203 | Meadowbrook Main | N/A | N/A | 11 | 0.4 | 1 | Green Transformers | Mk1 | 2011 | Outdoor | 33 | 13 | 1 | 74 | 61 | 2 | 3 | 2 | 2 | 1 | 2 | 1 | 3 | [6 empty] | Load
[5 empty] | 6.6/11kV Transformer (GM) | 200204 | Kingsford Rd | N/A | N/A | 11 | 0.4 | 0.7 | Red Tx | Mk2 | 1988 | Indoor | 44 | 8 | 4 | 288 | 68 | 2 | 2 | 2 | 2 | 4 | 2 | 3 | 1 | [6 empty] | Non-Load | 2031 | Refurbish | 6.6/11kV Transformer (GM) | 1 | 0.7 |  |  | N/A | N/A | 11 | Refurb | Replace | 0.01
[5 empty] | 6.6/11kV Transformer (GM) | 200205 | Pinewood Drive | N/A | N/A | 11 | 0.4 | 0.5 | Yellow Tx | Mk3 | 1939 | Outdoor | 87 | 7 | 3 | 80 | 71 | 3 | 3 | 2 | 2 | 3 | 3 | 3 | 2 | [6 empty] | Load
[5 empty] | 6.6/11kV Transformer (GM) | 200206 | Amberfield Court | N/A | N/A | 11 | 0.4 | 2 | Blue Transformers | Type A | 2000 | Indoor | 63 | 66 | 3 | 195 | 86 | 4 | 4 | 2 | 2 | 3 | 4 | 2 | 2 |  | Inidicative |  |  |  |  | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 200207 | Springvale Street | N/A | N/A | 11 | 0.4 | 1.5 | Green Transformers | Type B | 1984 | Outdoor | 76 | 14 | 1 | 112 | 70 | 5 | 6 | 2 | 2 | 1 | 5 | 1 | 2 | [6 empty] | Load
[5 empty] | 6.6/11kV Transformer (GM) | 200208 | Glenfield Main | N/A | N/A | 11 | 0.4 | 0.8 | Red Tx | Type C | 2010 | Indoor | 83 | 13 | 2 | 259 | 53 | 4 | 4 | 2 | 2 | 2 | 4 | 4 | 4 |  | Inidicative |  |  |  |  | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 200209 | Brookhaven Rd | N/A | N/A | 11 | 0.4 | 1 | Yellow Tx | Mk1 | 1939 | Outdoor | 90 | 11 | 1 | 141 | 85 | 5 | 5 | 2 | 2 | 1 | 5 | 3 | 3 | [6 empty] | Load
[5 empty] | 6.6/11kV Transformer (GM) | 200210 | Cedarbrook Drive | N/A | N/A | 11 | 0.4 | 0.5 | Blue Transformers | Mk2 | 1939 | Indoor | 16 | 16 | 2 | 166 | 68 | 4 | 5 | 2 | 2 | 2 | 4 | 2 | 2 |  | Inidicative |  |  |  |  | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 200211 | Thornwood Court | N/A | N/A | 11 | 0.4 | 0.7 | Green Transformers | Mk3 | 2022 | Outdoor | 89 | 16 | 3 | 126 | 90 | 1 | 1 | 2 | 2 | 3 | 1 | 4 | 2 | [6 empty] | Load
[5 empty] | 6.6/11kV Transformer (GM) | 200212 | Willowbend Street | N/A | N/A | 11 | 0.4 | 2 | Red Tx | Type A | 1946 | Indoor | 2 | 6 | 1 | 161 | 62 | 4 | 4 | 2 | 2 | 1 | 4 | 3 | 4 |  | Inidicative |  |  |  |  | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 200213 | Greenhaven Main | N/A | N/A | 11 | 0.4 | 1.5 | Yellow Tx | Type B | 2021 | Outdoor | 47 | 11 | 2 | 96 | 65 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | [6 empty] | Load
[5 empty] | 6.6/11kV Transformer (GM) | 200214 | Ashridge Rd | N/A | N/A | 11 | 0.4 | 0.8 | Blue Transformers | Type C | 1987 | Indoor | 33 | 14 | 2 | 83 | 62 | 5 | 5 | 2 | 2 | 2 | 5 | 3 | 2 | [6 empty] | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 200215 | Longmeadow Drive | N/A | N/A | 11 | 0.4 | 1 | Green Transformers | Mk1 | 1993 | Outdoor | 14 | 20 | 1 | 86 | 68 | 3 | 3 | 2 | 2 | 1 | 3 | 2 | 4 | [6 empty] | Load
[5 empty] | 6.6/11kV Transformer (GM) | 200216 | Fairwood Court | N/A | N/A | 11 | 0.4 | 0.7 | Red Tx | Mk2 | 2003 | Indoor | 77 | 95 | 2 | 76 | 80 | 5 | 5 | 2 | 2 | 2 | 5 | 3 | 4 | [6 empty] | Non-Load
[5 empty] | 6.6/11kV Transformer (GM) | 200217 | Northwood Street | N/A | N/A | 11 | 0.4 | 0.5 | Yellow Tx | Mk3 | 1974 | Outdoor | 9 | 20 | 4 | 23 | 64 | 1 | 1 | 2 | 2 | 4 | 1 | 3 | 2 | [6 empty] | Load | 2032 | Refurbish | 6.6/11kV Transformer (GM) | 1 | 0.5 |  |  | N/A | N/A | 11 | Refurb | Replace | 0.01
[5 empty] | 6.6/11kV Transformer (GM) | 200218 | Southfield Main |  | N/A | 11 | 0.4 | 2 | Blue Transformers | Type A | 1941 | Indoor | 1 | 121 | 1 | 286 | 53 | 1 | 2 | 2 | 2 | 1 | 1 | 3 | 4 | [6 empty] | Non-Load