# Certi-fi Schemes Limited Response to DNOLCT Policy Consultation

## Introduction

Certi-fi Schemes Limited welcomes the opportunity to respond to this consultation.

Certi-fi Schemes Limited is the parent organisation for two independent specialist schemes operating within the UK domestic renewables sector:

### Energy Performance Validation Scheme (EPVS)

EPVS is a certification standard designed to ensure that integrity and accuracy are applied to performance calculations, modelling, financial claims and consumer propositions, ensuring they are accurate, evidence-based and not misleading.
EPVS protects consumers, lenders and installers by validating that estimated system performance reflects realistic assumptions and credible supporting evidence.

### Flexi-Orb Renewables Scheme

Flexi-Orb operates a UK renewables certification scheme responsible for the competence assessment and certification of UK domestic installers of solar PV, battery storage and EV charge points.
Flexi-Orb ensures that installers:

- meet recognised technical standards

- work safely and competently

- follow robust installation and commissioning practices

Flexi-Orb also verifies the compliance of renewable technology products with applicable UK product regulations via its Product Policy, ensuring products placed on the domestic market meet relevant safety and regulatory requirements.

### Certi-fi Schemes Limited (Parent Organisation)

As the owner of both EPVS and Flexi-Orb, Certi-fi Schemes Limited has a uniquely comprehensive, end-to-end view of the UK domestic renewables sector, including:

- installation competence and quality (via Flexi-Orb)

- accuracy of performance claims and consumer propositions (via EPVS)

- real-world interactions between low-carbon technologies and domestic electrical systems, informed by Flexi-Orb Installer assessments

- product compliance verification, as Flexi-Orb verifies products against applicable UK product regulations through its Product Policy

This integrated oversight enables Certi-fi Schemes Limited to understand the full lifecycle of renewable energy technologies — from product compliance to installer competence, to verified performance — placing the organisation in a uniquely informed position to assess system readiness, risks and opportunities across the sector.

Certi-fi Schemes Limited has also considered insights from the Flexi-Orb Technical Team’s independent assessment of Voltsmart energy-efficient consumer units, which provided relevant evidence regarding voltage stability, electrical conditions in the home, and system interaction

## Q1. Should DNOs play a role in coordinating and supporting a cost-effective energy transition?

Response:
Certi-fi Schemes Limited agrees that Distribution Network Operators (DNOs) should play a central coordinating role, but notes that cost-effectiveness must consider actual performance in domestic environments, not just network infrastructure.

Evidence from EPVS validations and technical insights from the Flexi-Orb Technical Team’s independent assessment of Voltsmart consumer units shows that gaps often arise between predicted and real-world performance due to:

- voltage variation within properties

- the interaction of multiple LCTs

- limits of existing domestic electrical infrastructure

The Flexi-Orb Technical Team’s review indicates that:

- voltage instability can materially influence LCT operation (e.g. PV disconnection)

- targeted consumer-unit-level interventions may help stabilise voltage and reduce peak current under certain conditions

This confirms that in-home electrical optimisation contributes directly to system cost-effectiveness, supporting both consumer outcomes and network stability.

DNO roles should therefore recognise:

- the value of behind-the-meter improvements

- their contribution to demand reduction

- their ability to enhance network utilisation

## Q2. Do you agree with the overall rationale and scope of Enhanced Co-ordination?

Response:
Certi-fi Schemes Limited supports the principle of enhanced co-ordination but considers the current scope incomplete.

Existing proposals emphasise infrastructure but insufficiently account for whether properties can achieve projected performance outcomes.

Insights from EPVS and the Flexi-Orb Technical Team’s Voltsmart assessment demonstrate that:

- domestic electrical conditions directly influence technology efficiency

- improved conditions provide more consistent and reliable LCT operation

Enhanced co-ordination should therefore include:

- assessments of domestic electrical readiness

- consideration of technologies supporting voltage stability

- alignment with validated performance methodologies

This ensures deployment translates into meaningful, real-world outcomes.

## Q3. Effectiveness of Collaboration Plans and Community Collaboration

Response:
Certi-fi Schemes Limited believes Collaboration Plans should include:

- property-level system optimisation

- performance validation mechanisms

As LCT deployment grows, performance variability and consumer expectations may diverge. Evidence from the Flexi-Orb Technical Team’s Voltsmart assessment shows that:

- in-home electrical interventions can improve operating conditions

- reliability increases when domestic electrical environments are optimised

Collaboration frameworks should:

- incorporate validated performance evidence

- recognise domestic optimisation

- integrate feedback from real-world performance data

This strengthens consumer confidence, system reliability and long-term adoption.

## Q6. Working with Local Authorities and Delivery Partners

Response:
Certi-fi Schemes Limited supports local partnerships but stresses the need for realistic, evidence-based performance assumptions.

Technical findings from the Flexi-Orb Technical Team’s assessment of Voltsmart consumer units highlight that:

- improved domestic electrical conditions materially support LCT performance

- voltage stability is critical for achieving expected outcomes

Local delivery frameworks should:

- consider property-level electrical capability

- incorporate solutions that improve in-home electrical conditions

- ensure performance claims reflect real-world environments

These measures:

- can be delivered by qualified electricians

- do not require network-wide upgrades

- complement area-based deployment models

## Q9. Should DNOs adopt an Expanded Role?

Response:
Certi-fi Schemes Limited supports a defined expanded role focused on:

- system visibility

- coordination

- understanding domestic electrical behaviour

This includes recognising insights from the Flexi-Orb Technical Team’s assessment work.

However, DNOs should not:

- deploy consumer-side technologies

- influence performance claims made to consumers

Independence in performance validation (EPVS) and installer certification (Flexi-Orb) is essential.

## Q10. Should proposals be assessed using a network and wider system benefits approach?

Response:
Certi-fi Schemes Limited strongly supports a whole-system assessment approach.

The Flexi-Orb Technical Team’s assessment of Voltsmart consumer units’ highlights benefits such as:

- improved voltage stability

- reduced peak current under certain conditions

- more reliable LCT operation

These outcomes:

- reduce network stress

- optimise the use of existing infrastructure

- support consistent delivery of projected benefits

Assessment frameworks should include:

- behind-the-meter optimisation

- validated performance data

- interactions between household electrical systems and the network

## Q11. Views on technologies, delivery models and key components

Response:
Successful delivery requires both deployment and real-world performance validation.

Insights from EPVS and the Flexi-Orb Technical Team’s Voltsmart assessment reveal that domestic electrical conditions significantly affect LCT performance.

Improvements at the consumer unit can:

- enhance voltage stability

- support system efficiency

- improve the reliability of connected technologies

Because every home has a consumer unit, this represents a scalable intervention point across the housing stock.

Certi-fi Schemes Limited emphasises:

- performance claims must be accurate and evidence-based

- benefits should be validated and not overstated

- delivery should involve accredited installers and certified frameworks

## Closing Position

Certi-fi Schemes Limited recommends that Ofgem:

- Recognise the role of in-home electrical optimisation

- Include consumer-unit-level technologies in system assessments

- Embed independent performance validation in policy frameworks

- Ensure consumer outcomes match real-world performance

## Final Statement

The success of the energy transition depends not just on installations but on how systems perform in real domestic environments.

Insights from the Flexi-Orb Technical Team’s assessment of Voltsmart consumer units demonstrate the value of improving domestic electrical conditions.

Recognising and accurately representing these contributions will support a transition that is:

- cost-effective

- technically robust

- trusted by consumers