Response to Ofgem Consultation: DNOs’ Future Role in Supporting the Rollout of Low Carbon Technologies (ED3)
Submitted by: Linklaser Limited
Date: 01/04/2026

### 1. Introduction

We welcome Ofgem’s consultation on the future role of Distribution Network Operators (DNOs) in supporting the rollout of low carbon technologies (LCTs). The consultation correctly identifies the scale of transformation required at the distribution level to accommodate electrification of heat, transport, and distributed generation.

We broadly support the direction of travel, particularly the emphasis on enhanced coordination, improved data visibility, and area-based approaches. However, we believe that a critical element is currently underdeveloped: the need for real-time operational coordination at the low-voltage (LV) network level.

### 2. Overarching Position

We believe the evolution of a DNOs toward a more active Distribution System Operator (DSO) role is essential, reflecting the increasing complexity of managing distributed, flexible resources on the network.

In this context, we see the DSO role as comprising three core functions:

- System visibility and forecasting

- Constraint definition and network planning

- Operational coordination of distributed resources

The first two functions are well represented in current proposals. The third—real-time operational coordination at the low-voltage level—requires further development to fully realise the benefits of distributed flexibility.

We believe this can be achieved without DNOs/DSOs becoming market participants, by enabling interoperable control frameworks that allow competitive actors to operate within system-defined constraints.

### 3. Response to Q1 – Role of DNOs

We agree that DNOs should play a role in coordinating and supporting a cost-effective energy transition.

DNOs are uniquely positioned due to:

- their visibility of network constraints

- their regional presence

- their role in long-term planning

As they transition toward DSO functions, their role should focus on:

- planning and constraint definition

- coordination of stakeholders and programmes

- facilitating access to data and system signals

However, DNOs/DSOs should not take on large-scale roles in:

- installation of LCTs

- direct ownership of consumer assets as a default model

- competitive service provision

This preserves market innovation while enabling system efficiency.

### 4. Enhanced Coordination (Q2–Q3)

We strongly support the Enhanced Coordination proposals.

In particular:

- Community Collaboration Plans are a positive step

- Integration of stakeholder plans into network planning is essential

However, Enhanced Coordination should be extended to include:

A clear operational layer that translates planning into real-time system behaviour

At present, the proposals are largely focused on:

- planning

- engagement

- reporting

These are necessary but not sufficient to manage:

- peak demand

- localised congestion

- voltage constraints

As DNOs transition toward DSO functions, Enhanced Coordination should be seen as the foundation for more advanced operational capabilities. In particular, coordination frameworks should evolve to support closed-loop interaction between network constraints and distributed asset behaviour, rather than remaining primarily planning- and reporting-focused.

### 5. Data and System Visualisation (Q4–Q5)

We support improvements in data availability and interoperability.

However, we note:

The primary challenge is not the availability of data, but its utilisation in operational decision-making.

We recommend:

- Standardised, open interfaces (APIs) for real-time data exchange

- Support for interoperable messaging frameworks (e.g. publish/subscribe architectures)

- Focus on enabling third-party innovation rather than expanding DNO-owned visualisation tools

Greater emphasis should be placed on:

- real-time data access

- machine-readable formats

- integration with control systems, not just visualisation

### 6. Working with Local Authorities (Q6)

We support collaboration with Local Authorities and other stakeholders.

However:

- Local Authorities are not system operators

- Their strengths lie in planning, housing, and programme delivery

DNOs/DSOs should:

- provide technical guidance

- share constraint and capacity information

- align infrastructure planning

Operational coordination and optimisation should remain within:

- DSO frameworks

- or suitably designed interoperable systems

### 7. Integration with RESP (Q8)

We recommend a structured, layered architecture consistent with emerging DSO models:

- Strategic Layer (NESO / RESP): long-term system planning

- Network Layer (DSO): constraint definition, network modelling, investment planning

- Operational Layer (Community / Feeder level): real-time coordination of distributed energy resources

The development of Community-level coordination mechanisms—such as those being explored in emerging Distribution System Platform (DSP) initiatives—represents a critical step toward this operational layer.

To fully realise system benefits, these platforms should support:

- real-time visibility of network conditions

- dynamic constraint management

- coordination of flexible assets within defined boundaries

### 8. Expanded Role (Q9–Q11)

We recognise the potential value of an Expanded Role but urge careful consideration of scope and delivery models.

Risks include:

- distortion of competitive markets

- increased costs to consumers

- misalignment with DNO/DSO core competencies

We support:

- targeted, area-based coordination

- prioritisation of low-income households (via partnerships)

- enabling infrastructure upgrades (e.g. unlooping, service upgrades)

We do not support as a default model:

- large-scale DNO-led installation programmes

- routine DNO ownership of domestic LCT assets

Any expanded role should complement, not replace, competitive market activity.

### 9. Real-Time LV / Community-Level Coordination

We strongly propose that Ofgem explicitly recognise the need for:

Feeder- or community-level coordination systems capable of real-time optimisation of distributed energy resources within DSO-defined constraints.

Such systems would:

- operate within network limits defined by the DSO

- coordinate flexible demand and generation (EVs, batteries, heat pumps)

- respond dynamically to network conditions (e.g. congestion, voltage, thermal limits)

This capability represents a natural evolution of current DSP and flexibility market initiatives and is essential to:

- defer or avoid network reinforcement

- unlock the full value of distributed flexibility

- ensure system stability under high electrification scenarios

### 10. Pilots (Q12)

We strongly support pilot programmes.

We recommend that pilots:

- be structured around electrical topology (e.g. feeders or defined network segments) rather than administrative boundaries

- include real-time operational coordination, not just planning or engagement

- involve collaboration between:

  - DSOs

  - technology providers

  - suppliers and aggregators

This will provide meaningful evidence of:

- network benefits

- system benefits

- consumer outcomes

### 11. Conclusion

We strongly support the direction of travel toward the DSO role believing tis is essential going forward, and recognise the significant progress already being made through coordination, data sharing, and emerging DSP initiatives.

We should however emphasise that:

Planning and coordination alone will not deliver the required system transformation. A real-time operational layer at the low-voltage level is essential.

Also – very important - is that we recognize that this response to your” DNO’s role in LTC” request is somewhat subjective and without substance, but we would be happy to expand on our thoughts if there is any interest. We know the next stage of DSO evolution will require the development of operational frameworks capable of translating planning into measurable system outcomes through real-time coordination.

We would welcome further engagement with Ofgem and industry stakeholders on how such frameworks can be developed in a way that:

- supports DSO evolution

- preserves competitive markets

- delivers tangible benefits to consumers and the wider energy system