## Cover
We have published this workbook in conjuction with the RIIO-3 Load Re-opener May 2026 Submission Window Draft Determinations. It contains the tables used in the overview document and annexes.
Title | Information
Publisher | Ofgem - ET Investment Determinations
Version | 1
Publication date | 2026-08-25
Filename | RIIO-3 Load Re-opener May 2026 Submission Window Draft Determinations - Data File
Price Base For Costs | 2023/24
Cover table Licencees
Sector_Group | Network Name | Sector Group Short | Sector | Network Short Name
National Grid Electricity Transmission | National Grid Electricity Transmission | ET_NGrid | ET | NGET
Scottish Hydro Electric Transmission | Scottish Hydro Electric Transmission | ET_SSE | ET | SHET
SP Transmission | SP Transmission | ET_SPEN | ET | SPT

## Contents
Sheet | Tab Name | Worksheet Title | Link
1 | Cover | Cover Sheet | Click to go to worksheet
2 | Contents | Contents | Click to go to worksheet
Draft Determinations Tables
Tables in Overview Document
3 | Table1_EL_Overview | Table 1: Our draft determinations for May 2026 Load Re-opener Eligibility Letter applications | Click to go to worksheet
4 | Table2_PA_Overview | Table 2: Summary of the May 2026 Load Re-opener Project Assessment applications | Click to go to worksheet
5 | Table3_Consumer_Cost | Table 3: Estimated total amount to be paid by consumers through their bills for these Draft Determinations (£m) | Click to go to worksheet
Tables in Eligibility Annex
6 | TableEA1_EL_Details | Table EA1: Summary of the May 2026 Load Re-opener Eligibility Letter submissions | Click to go to worksheet
7 | EA_A3_Annex1 | Annex 1: National Grid Electricity Transmission plc, Electricity transmission licence, Special Condition values and tables modified by this draft direction | Click to go to worksheet
8 | EA_A3_Annex2 | Annex 2: Scottish Hydro Electric Transmission Plc, Electricity transmission licence, Special Condition values and tables modified by this draft direction | Click to go to worksheet
Tables in Project Assessment Annex
9 | TablePA1_PA_Overview | Table PA1: Summary of the May 2026 Load Re-opener Project Assessment submissions | Click to go to worksheet
10 | TablePA2_PA_Details | Table PA2: Breakdown of submitted Load Re-opener Project Assessment projects in May 2026 | Click to go to worksheet
11 | TablePA3_VRSE_Requests | Table PA3: Summary of VSRE project | Click to go to worksheet
12 | TablePA4_VRSE_Costs | Table PA4: SPT Submitted Project Costs | Click to go to worksheet
13 | TablePA5_VRSE_DD | Table PA5: Draft Determinations on SPT’s VRSE project | Click to go to worksheet
14 | TablePA6_PCD_SPT | Table PA6: PCDs to be amended (PCFt) and added (LRt) in SPT’s licence | Click to go to worksheet
15 | PA_A2_Annex1 | Annex 1: SP Transmission Plc, Electricity transmission licence, Special Condition values and tables modified by this draft direction | Click to go to worksheet
16 | PA_A3_Annex1 | Annex 1: Draft modification for SP Transmission Plc electricity transmission licence | Click to go to worksheet
Tables in Project Assessment Annex
17 | TableMP1_ODI-F_Overview | Table MP1: Summary of the May 2026 Load Re-opener submissions, and proposed decision on MP ODI-F | Click to go to worksheet

## Overview_Document>>
The following worksheets contain the tables in the Overview Document

## Table1_EL_Overview
Table 1: Our draft determinations for May 2026 Load Re-opener Eligibility Letter applications
ETO | Number of Eligibility Letter submissions (#) | Number of Eligibility Letters accepted by Ofgem (#) | Total PCF request for eligible projects (£m) | Total PCF granted for eligible projects (£m) | Number of Assessment Track 2 projects (#) | Number of Assessment Track 3 projects (#)
NGET | 24 | 23 | 407.9 | 372.954 | 12 | 11
SHET | 4 | 4 | 105.4154 | 114.3399 | 3 | 1
SPT | 0 | N/A | N/A | N/A | N/A | N/A

## Table2_PA_Overview
Table 2: Summary of the May 2026 Load Re-opener Project Assessment applications
ETO | Number of Project Assessment Applications (#) | Company requested funding (£m) | Ofgem’s proposed cost adjustment (£m) | Ofgem’s Draft Determination Allowances (£m)
NGET | 1 | 283.87 | To be determined | To be determined
SHET | 0 | N/A | N/A | N/A
SPT | 1 | 142.077 | -11.997 | 130.08

## Table3_Consumer_Cost
Table 3: Estimated total amount to be paid by consumers through their bills for these Draft Determinations (£m)
Company | Price Base | Paid by Consumers: Reopener Allowances | Paid by Consumers: CAI UIOLI Mechanism | Paid by Consumers: Company Debt Repayments | Paid by Consumers: Company Shareholder Return | Total Paid by Consumers | Present Value of Total Paid by Consumers
NGET | 2023/24 | 372.954 | - | 138.169 | 187.021 | 698.144 | 397.588
SHET | 2023/24 | 114.34 | - | 47.054 | 57.337 | 218.73 | 124.501
SPT | 2023/24 | 138.4 | 9.138 | 56.638 | 72.097 | 276.273 | 161.232
Total | 2023/24 | 625.694 | 9.138 | 241.861 | 316.454 | 1193.147 | 683.322
Total | 2025/26 | 670.299 | 9.79 | 259.103 | 339.014 | 1278.206 | 732.035

## Eligibility_Annex>>
The following worksheets contain the tables in the Eligibility Annex Document

## TableEA1_EL_Details
Table EA1: Summary of the May 2026 Load Re-opener Eligibility Letter submissions
Project Name | ETO | Proposed Assessment Track by ETO | Assessment Track proposed/decided by Ofgem | Submitted forecast project cost (£m) | Adjusted forecast project cost (£m) | PCF Allowance (£m)
Aberthaw – Site Strategy | NGET | Track 2 | Track 3 | 530.3 | 503.7442 | 40.2191
Banwen (Rhigos B) | NGET | Track 2 | Track 2 | 196.5 | 186.6599 | 14.6921
Berkswell | NGET | Track 2 | Track 2 | 76.6 | 72.7641 | 5.8308
Blyth 400kV Site Strategy | NGET | Track 2 | Track 3 | 400.9 | 380.8242 | 29.7334
Bodelwyddan 400kV Extension | NGET | Track 2 | Track 3 | 194.7 | 184.95 | 14.7166
Bolney 400kV Site Strategy | NGET | Track 2 | Track 2 | 102.6 | 97.4621 | 7.7357
Bridgend | NGET | Track 3 | Track 3 | 319.5 | 303.5004 | 23.9463
East Claydon – Enderby – Patford Bridge 1 and 2 OHL | NGET | Track 2 | Track 2 | 167.8 | 159.3971 | 12.4392
ETRE | NGET | Track 2 | Rejected | 40.67 | N/A | N/A
Farmoor | NGET | Track 2 | Track 3 | 136.2 | 129.3795 | 10.1636
Feckenham – Hams Hall, Drakelow – Hams Hall OHL | NGET | Track 2 | Track 2 | 54.3 | 51.5808 | 3.985
Feckenham – Ironbridge OHL | NGET | Track 2 | Track 2 | 79.7 | 75.7089 | 5.9082
Imperial Park 400/132kV Upgrade | NGET | Track 2 | Track 2 | 60.45 | 57.4228 | 4.6322
Ince SGT Extension | NGET | Track 2 | Track 2 | 61.52 | 58.4393 | 4.5972
Keadby (KEAD4) | NGET | Track 2 | Track 2 | 53.69 | 51.0014 | 4.0878
Kingsnorth 400kV Extension | NGET | Track 2 | Track 2 | 96.7 | 91.8576 | 7.2911
Laleham 132kV Extension | NGET | Track 2 | Track 3 | 217.4 | 206.5133 | 16.3915
Lower Frankton 400kV AIS Substation | NGET | Track 3 | Track 3 | 347.7 | 330.2882 | 25.694
North West London | NGET | Track 2 | Track 3 | 400.5 | 380.4442 | 29.9955
SCRE (COTT4 – STAY4) and WRRE (WBUR4 – RATS4) OHL | NGET | Track 2 | Track 2 | 157.8 | 149.8979 | 12.0388
Tees Dock/ Teeside Connection Node A | NGET | Track 2 | Track 3 | 657.5 | 624.5744 | 49.0809
Tilbury 275kV Rebuild - RIIO T3 Holistic Site Strategy | NGET | Track 3 | Track 3 | 231.77 | 220.1637 | 17.4716
Warley 275kV Substation Replacement | NGET | Track 2 | Track 3 | 389.09 | 369.6056 | 29.0531
Willington 132kV Rebuild | NGET | Track 2 | Track 2 | 43.2 | 41.0367 | 3.2503
Energy Isles (Shetland) | SHET | Track 2 | Track 2 | 52.3689 | 52.0377 | 3.9668
Knocknegael Farigaig HVP | SHET | Track 2 | Track 2 | 215.3919 | 204.8225 | 15.9549
Loch Na Cathrach Cluster | SHET | Track 2 | Track 2 | 162.6182 | 162.6182 | 12.9564
Shetland on Island Infrastructure | SHET | Track 2 | Track 3 | 1160.9951 | 1033.3298 | 81.4618
Note on A23: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Await final doc -> possibility to change to ‘Teesside’

## EA_A3_Annex1
Annex 1: National Grid Electricity Transmission plc, Electricity transmission licence, Special Condition values and tables modified by this draft direction
New text is double underscored and text removed is double struck through.
Appendix 1 of Special Condition 3.15 Pre-Construction Funding allowance (PCFAt) (£m)
Total: [300.14]
Appendix 2 of Special Condition 3.15 3.15 Pre-Construction Funding Price Control Deliverable Allowance (PCFt) (£m)
EJP OSR | Output | Delivery date | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | Total Allowance
NGT500440 | Barking | 2031-03-31 | 3.12 | 3.09 | 3.06 | 3.03 | 3 | 15.31
NGT500538 | East Claydon Rebuild | 2031-03-31 | 4.52 | 4.47 | 4.43 | 4.38 | 4.34 | 22.14
NGT500435 | Fawley Strategy (Chilling - Fawley and Fawley S/S) | 2031-03-31 | 5.09 | 5.04 | 4.99 | 4.94 | 4.89 | 24.94
NGT500387 | KEGWORTH 400KV S/S | 2031-03-31 | 3.17 | 3.14 | 3.11 | 3.08 | 3.04 | 15.54
103632-207168 | Kirkstall 'A' - Skelton Grange Cable Replacement | 2031-03-31 | 1.32 | 1.31 | 1.3 | 1.28 | 1.27 | 6.48
NGT500541 | Llandyfaelog (Camarthan) New Build | 2031-03-31 | 5.27 | 5.21 | 5.16 | 5.11 | 5.06 | 25.81
NGT500117 | New Navenby 400kv S/S | 2031-03-31 | 2.47 | 2.44 | 2.42 | 2.39 | 2.37 | 12.09
NGT400034 | Pembroke 400kV S/S | 2031-03-31 | 2.42 | 2.39 | 2.37 | 2.35 | 2.32 | 11.86
NGT300007 | Sizewell 400kV Rebuild | 2031-03-31 | 5.99 | 5.93 | 5.87 | 5.81 | 5.75 | 29.34
NGT500439 | St Johns Wood 275 kV Rationalisation | 2031-03-31 | 0.95 | 0.94 | 0.93 | 0.92 | 0.91 | 4.66
103622-207157 | West London Cables Strategy (Ealing - Laleham, Iver - North Hyde, Ealing Willesden) | 2031-03-31 | 4.29 | 4.24 | 4.2 | 4.16 | 4.12 | 21
NGT500381 | WILLINGTON EAST 400KV S/S | 2031-03-31 | 2.15 | 2.13 | 2.11 | 2.08 | 2.06 | 10.53
NGT500381 | WILLINGTON EAST 400KV S/S - Construction | 2031-03-31 | 2.15 | 2.13 | 2.11 | 2.08 | 2.06 | 10.53
NGT500472 | DEESIDE - LEGACY - TRAWSFYNYDD 1, DEESIDE - LEGACY - TRAWSFYNYDD 2, IRONBRIDGE - LEGACY - SHREWSBURY, IRONBRIDGE - LEGACY 2 | 2031-03-31 | 2.82 | 2.79 | 2.77 | 2.74 | 2.71 | 13.83
NGT300086 | Ickenham HS2 - OHL and Cable Turn In/Tee Infrastructure | 2031-03-31 | 0 | 0 | 0 | 0 | 0 | 0
NGT300088 | Ickenham HS2 - Substation Infrastructure | 2031-03-31 | 0.88 | 0.87 | 0.86 | 0.85 | 0.84 | 4.31
NGT300087 | Ickenham HS2 Connection Work | 2031-03-31 | 0.68 | 0.67 | 0.66 | 0.66 | 0.65 | 3.32
NGT500135 | MIDL4 ENWL GSP BB Ext / SGTs / Turn-in | 2031-03-31 | 1.26 | 1.25 | 1.24 | 1.22 | 1.21 | 6.19
NGT500614 | MIDL4 Green Energy Centre IRL Gen Bay | 2031-03-31 | 0 | 0 | 0 | 0 | 0 | 0
NGT500560 | MIDL4 ENWL GSP BB Ext / SGTs / Turn-in | 2031-03-31 | 0.46 | 0.46 | 0.45 | 0.45 | 0.44 | 2.27
NGT500561 | ENWL MIDL4 GSP CONNECTION | 2031-03-31 | 0.25 | 0.25 | 0.25 | 0.25 | 0.24 | 1.24
NGT500562 | ENWL MIDL4 GSP Intertrip | 2031-03-31 | 0 | 0 | 0 | 0 | 0 | 0
NGT500468 | NS Hinksey Cable | 2031-03-31 | 1.55 | 1.53 | 1.52 | 1.5 | 1.49 | 7.58
NGT20054 | Quainton HS2 - OHL and Substation Infras | 2031-03-31 | 0.99 | 0.98 | 0.97 | 0.96 | 0.95 | 4.85
NGT20052_01 | Quainton HS2 Connection Assets - Sub wor | 2031-03-31 | 0.61 | 0.6 | 0.6 | 0.59 | 0.58 | 2.98
103623-207158 | Imperial Park - Melksham and Cilfynydd - Whitson - Seabank – Construction | 2031-03-31 | 5.92 | 5.87 | 5.81 | 5.75 | 5.69 | 29.04
tCSNP2 | Feckenham to Minety 400kV A589 Circuit Reconductoring | 2031-03-31 | 0.81 | 0.81 | 0.8 | 0.79 | 0.78 | 3.99
tCSNP2 | Reconductoring of Carrington - Penwortham & Padiham - Penwortham 400kV circuits | 2031-03-31 | 0.85 | 0.84 | 0.83 | 0.83 | 0.82 | 4.17
tCSNP2 | Reconfigure Stalybridge - Thorpe Marsh 400kV circuit | 2031-03-31 | 1.48 | 1.46 | 1.45 | 1.43 | 1.42 | 7.23
tCSNP2 | Reconductor double circuits Norton â€“ Osbaldwick (A347 & A355) | 2031-03-31 | 1.93 | 1.91 | 1.89 | 1.87 | 1.85 | 9.45
NGT500535 | Aberthaw - Site Strategy | 2031-03-31 | 40.219 | 0 | 0 | 0 | 0 | 40.219
NGT500509 | Banwen (Rhigos B) | 2031-03-31 | 3.247 | 6.321 | 5.124 | 0 | 0 | 14.692
NGT300089 NGT20055_02 | Berkswell | 2031-03-31 | 5.831 | 0 | 0 | 0 | 0 | 5.831
NGT500557 | Blyth 400KV Site Strategy | 2031-03-31 | 0.795 | 2.041 | 26.897 | 0 | 0 | 29.733
NGT300372 NGT300425 | Bodelwyddan 400kV Extension | 2031-03-31 | 11.448 | 3.269 | 0 | 0 | 0 | 14.717
NGT500497 | Bolney 400kV Site Strategy | 2031-03-31 | 4.601 | 3.135 | 0 | 0 | 0 | 7.736
NGT600099 | Bridgend | 2031-03-31 | 4.12 | 18.019 | 1.808 | 0 | 0 | 23.946
NGT500473 | East Claydon – Enderby – Patford Bridge 1 and 2 OHL | 2031-03-31 | 0 | 0.919 | 11.52 | 0 | 0 | 12.439
NGT300431 | Farmoor | 2031-03-31 | 2.766 | 1.674 | 4.297 | 1.427 | 0 | 10.164
NGT500470 | Feckenham – Hams Hall, | 2031-03-31 | 0 | 0 | 0.291 | 3.694 | 0 | 3.985
NGT500430 | Feckenham – Ironbridge OHL | 2031-03-31 | 0 | 0.434 | 5.474 | 0 | 0 | 5.908
NGT500280 NGNLT30660 | Imperial Park 400/132kV Upgrade | 2031-03-31 | 4.632 | 0 | 0 | 0 | 0 | 4.632
NGT500193 NGT500112 | Ince SGT Extension | 2031-03-31 | 0.777 | 1.982 | 1.838 | 0 | 0 | 4.597
NGT300206 NGT300205 NGT500626 | Keadby (KEAD4) | 2031-03-31 | 4.088 | 0 | 0 | 0 | 0 | 4.088
NGET102038 | Kingsnorth 400kV Extension | 2031-03-31 | 4.351 | 2.94 | 0 | 0 | 0 | 7.291
NGT500539 | Laleham 132kV Site Strategy | 2031-03-31 | 9.761 | 6.63 | 0 | 0 | 0 | 16.392
NGT500040 NGT500041 | Lower Frankton - LFRA4 400kV AIS Substation | 2031-03-31 | 0 | 4.285 | 10.998 | 10.411 | 0 | 25.694
NGT500432 / NGT500438 | North West London | 2031-03-31 | 6.45 | 12.809 | 10.736 | 0 | 0 | 29.995
NGT500445 NGT500446 | SCRE (COTT4 – STAY4) and WRRE (WBUR4 – RATS4) OHL | 2031-03-31 | 12.039 | 0 | 0 | 0 | 0 | 12.039
NGT500427 | Tees Dock/ Teeside Connection Node A (Previously LACKENBY B) 400KV S/S - Construction | 2031-03-31 | 8.47 | 20.062 | 20.548 | 0 | 0 | 49.081
NGT500441 NGT500528 | Tilbury 275kV Rebuild - RIIO T3 Holistic Site Strategy | 2031-03-31 | 12.397 | 5.075 | 0 | 0 | 0 | 17.472
NGT500546 | Warley 275kV Replacement - Site Strategy | 2031-03-31 | 4.85 | 12.43 | 11.773 | 0 | 0 | 29.053
NGT500411 | Willington 132kV Rebuild | 2031-03-31 | 1.026 | 2.224 | 0 | 0 | 0 | 3.25

## EA_A3_Annex2
Annex 2: Scottish Hydro Electric Transmission Plc, Electricity transmission licence, Special Condition values and tables modified by this draft direction
New text is double underscored and text removed is double struck through.
Appendix 1 of Special Condition 3.15 Pre-Construction Funding allowance (PCFAt) (£m)
Total: [492.33]
Appendix 2 of Special Condition 3.15 Pre-Construction Funding Price Control Deliverable Allowance (PCFt) (£m)
EJP OSR | Output | Delivery date | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | Total Allowance
SHT20313 | Dundee City Strategy Phase 1 | 2031-03-31 | 0.91 | 0.9 | 0.89 | 0.89 | 0.88 | 4.48
SHT20314 | Dundee City Strategy Phase 1 | 2031-03-31 | 3.23 | 3.2 | 3.16 | 3.13 | 3.1 | 15.83
SHT20629 | Dundee City Strategy Phase 1 | 2031-03-31 | 0.34 | 0.33 | 0.33 | 0.33 | 0.32 | 1.64
SHT20368 | East Coast Network Investment | 2031-03-31 | 7.89 | 7.81 | 7.73 | 7.66 | 7.58 | 38.67
SHT20346 | Taynuilt – Creag Dhubh Reinforcement | 2031-03-31 | 2.6 | 2.57 | 2.54 | 2.52 | 2.49 | 12.72
SHT20069 | Coire Glas PSH Connection | 2031-03-31 | 4.1 | 4.06 | 4.02 | 3.98 | 3.94 | 20.11
SHT20073 | Coire Glas PSH Connection | 2031-03-31 | 0.89 | 0.88 | 0.88 | 0.87 | 0.86 | 4.38
SHT20150 | Coire Glas PSH Connection | 2031-03-31 | 0.25 | 0.24 | 0.24 | 0.24 | 0.24 | 1.21
SHT200689 | Coire Glas PSH Connection | 2031-03-31 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.19
SHT20083 | Melgarve Cluster | 2031-03-31 | 0.47 | 0.46 | 0.46 | 0.45 | 0.45 | 2.29
SHT20084 | Melgarve Cluster | 2031-03-31 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.8
SHT20092 | Melgarve Cluster | 2031-03-31 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.19
SHT20093 | Melgarve Cluster | 2031-03-31 | 0.41 | 0.41 | 0.4 | 0.4 | 0.39 | 2.01
SHT20289 | Melgarve Cluster | 2031-03-31 | 0.99 | 0.98 | 0.97 | 0.96 | 0.95 | 4.85
SHT20071 | Strathy Cluster | 2031-03-31 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 1
SHT20072 | Strathy Cluster | 2031-03-31 | 0.45 | 0.45 | 0.44 | 0.44 | 0.43 | 2.21
SHT20085 | Strathy Cluster | 2031-03-31 | 0.48 | 0.48 | 0.47 | 0.47 | 0.47 | 2.37
SHT20086 | Strathy Cluster | 2031-03-31 | 0.57 | 0.56 | 0.56 | 0.55 | 0.54 | 2.78
SHT20370 | Strathy Cluster | 2031-03-31 | 0.45 | 0.44 | 0.44 | 0.44 | 0.43 | 2.2
SHT20371 | Strathy Cluster | 2031-03-31 | 1.45 | 1.43 | 1.42 | 1.4 | 1.39 | 7.08
SHT20101 | Mossy Hill | 2031-03-31 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.26
SHT20102 | Mossy Hill | 2031-03-31 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.06
SHT20522 | Mossy Hill | 2031-03-31 | 0.94 | 0.93 | 0.92 | 0.91 | 0.9 | 4.6
SHT20327 | Tealing Solar and Storage Connection | 2031-03-31 | 0.07 | 0.07 | 0.07 | 0.07 | 0.06 | 0.33
SHT20328 | Tealing Solar and Storage Connection | 2031-03-31 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.36
SHT20329 | Tealing Solar and Storage Connection | 2031-03-31 | 0.59 | 0.58 | 0.58 | 0.57 | 0.57 | 2.9
SHT20088 | Clash Gour | 2031-03-31 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.55
SHT20089 | Clash Gour | 2031-03-31 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.2
SHT20613 | Clash Gour | 2031-03-31 | 2.15 | 2.13 | 2.11 | 2.09 | 2.07 | 10.55
SHT20157 | D'REAY GILLSBAY 132KV | 2031-03-31 | 2.91 | 2.88 | 2.85 | 2.82 | 2.8 | 14.26
SHT20151 | TCA Elchies Windfarm | 2031-03-31 | 0.18 | 0.18 | 0.18 | 0.18 | 0.17 | 0.89
SHT20074 | H1- Elchies Windfarm | 2031-03-31 | 0.81 | 0.8 | 0.79 | 0.79 | 0.78 | 3.97
SHT20191 | LT000366 - Loch Kemp Pumped Storage - TCA | 2031-03-31 | 0.22 | 0.22 | 0.22 | 0.22 | 0.22 | 1.1
SHT20190 | LT000367 - Loch Kemp Pumped Storage - H1 | 2031-03-31 | 1.07 | 1.06 | 1.05 | 1.04 | 1.03 | 5.26
SHT20281 | LT000398 - Salamander Offshore Windfarm Connection - TCA | 2031-03-31 | 0.13 | 0.13 | 0.13 | 0.13 | 0.13 | 0.64
SHT20282 | LT000399 - Salamander Offshore Windfarm Connection - H1 (Sole Use) | 2031-03-31 | 0 | 0 | 0 | 0 | 0 | 0
SHT20283 | LT000400 - Loch Nan Eun Pumped Storage - TCA | 2031-03-31 | 0.18 | 0.18 | 0.18 | 0.18 | 0.18 | 0.9
SHT20284 | LT000401 - Loch Nan Eun Pumped Storage - Sole Use (H1) | 2031-03-31 | 1.53 | 1.51 | 1.5 | 1.48 | 1.47 | 7.49
SHT20495 | LT000499 - Shin - Loch Buidhe OHL Reconductor | 2031-03-31 | 1.54 | 1.52 | 1.51 | 1.49 | 1.48 | 7.54
SHT20505 | LT000522 - Strathy Switching Station - TORI191 | 2031-03-31 | 1.36 | 1.35 | 1.33 | 1.32 | 1.31 | 6.66
SHT20156 | LEWIS INFRASTRUCTURE | 2031-03-31 | 1.58 | 1.56 | 1.55 | 1.53 | 1.52 | 7.73
SHT20306 | LT000468 - Glendye Wind Farm TCA | 2031-03-31 | 0.23 | 0.23 | 0.22 | 0.22 | 0.22 | 1.12
SHT20307 | LT000469 - Glendye Wind Farm H1 | 2031-03-31 | 1.02 | 1.01 | 1 | 0.99 | 0.98 | 5.01
SHT20643 | Arnish to Balallan 132 kV second Single Circuit | 2031-03-31 | 1.69 | 1.67 | 1.66 | 1.64 | 1.62 | 8.28
SHT20281A | Salamander Tee /Salamander Offshore Windfarm Connection | 2031-03-31 | 1.44 | 1.43 | 1.42 | 1.4 | 1.39 | 7.08
SHT20691 | Greens 400kV Sync Comp | 2031-03-31 | 2.74 | 2.71 | 2.68 | 2.65 | 2.63 | 13.4
SHT20692 | Coachford 400kV Sync Comp | 2031-03-31 | 3.03 | 3 | 2.97 | 2.94 | 2.91 | 14.84
SHT20693 | Banniskirk 400kV Sync Comp | 2031-03-31 | 2.84 | 2.81 | 2.78 | 2.75 | 2.72 | 13.9
SHT20694 | Carnaig 400kV Sync Comp | 2031-03-31 | 2.89 | 2.86 | 2.83 | 2.8 | 2.78 | 14.16
SHT20627 | 0 | 2031-03-31 | 0.63 | 0.62 | 0.62 | 0.61 | 0.6 | 3.08
SHT20628 | 0 | 2031-03-31 | 3.65 | 3.61 | 3.57 | 3.54 | 3.5 | 17.88
tCSNP2 | Longside -Peterhead 400kV upgrade | 2031-03-31 | 0.9 | 0.89 | 0.88 | 0.87 | 0.86 | 4.39
tCSNP2 | Dounreay -Banniskirk 400kV Reinforcement | 2031-03-31 | 4.66 | 4.61 | 4.57 | 4.52 | 4.48 | 22.84
tCSNP2 | Blackhillock - Cairnford - Kintore 400kV Upgrade | 2031-03-31 | 5.96 | 5.9 | 5.84 | 5.78 | 5.73 | 29.21
tCSNP2 | Peterhead - Persley - Kintore 400kV Upgrade | 2031-03-31 | 6.52 | 6.45 | 6.39 | 6.32 | 6.26 | 31.94
tCSNP2 | HNDFUE HVDC Project. Shetland to Aberdeenshire 2GW HVDC link | 2031-03-31 | 20.8 | 20.59 | 20.39 | 20.18 | 19.98 | 101.94
SHT20163 | Energy Isles (Kergord) Windfarm Connection | 2031-03-31 | 0.181 | 2.472 | 1.314 | 0 | 0 | 3.967
SHT20687 SHT20687A | Knocknagael & Farigaig area voltage management (Shunt Reactor/STATCOM) | 2031-03-31 | 0.64 | 1.87 | 8.4 | 5.045 | 0 | 15.955
SHT200703 SHT20115 SHT20114 | PT001164 - Loch na Cathrach PSH | 2031-03-31 | 11.804 | 1.152 | 0 | 0 | 0 | 12.956
SHT20081 SHT200699 | Shetland On-Island Infrastructure | 2031-03-31 | 9.432 | 65.016 | 7.014 | 0 | 0 | 81.462

## Project_Assessment_Annex>>
The following worksheets contain the tables in the Project Assessment Annex Document

## TablePA1_PA_Overview
Table PA1: Summary of the May 2026 Load Re-opener Project Assessment submissions
ETO | Number of Project Assessment Submissions (#) | Company requested funding (£m) | Ofgem’s proposed cost adjustment (£m) | Ofgem’s Draft Determination Allowances (£m)
NGET | 1 | 283.87 | To be determined | To be determined
SHET | 0 | N/A | N/A | N/A
SPT | 1 | 142.077 | -11.997 | 130.08

## TablePA2_PA_Details
Table PA2: Breakdown of submitted Load Re-opener Project Assessment projects in May 2026
ETO | Project name | ETO requested allowance (£m) | Ofgem’s proposed cost adjustment (£m) | Ofgem’s proposed Allowances (£m)
NGET | Woolavington | 283.87 | To be determined | To be determined
SPT | XH and XJ Routes Overhead Line Uprating Works (VSRE) | 142.077 | -11.997 | 130.08

## TablePA3_VRSE_Requests
Table PA3: Summary of VSRE project
Funding requested | £142.077m (Load Re-opener and Price Control Deliverable term (LRₜ))
Funding proposed by Ofgem | Total £130.080m:
· £123.852m (under LRt)
· £6.228m (Pre-Construction Funding Price Control Deliverable term (PCFt)), ie true up PCF from £8.320m to £14.548m
Delivery date | 28 June 2028 (as requested by SPT)

## TablePA4_VRSE_Costs
Table PA4: SPT Submitted Project Costs
SPT's submission |  | Total (£m) | Direct (£m) | Indirect (£m)
Total Project Cost |  | 158.792 | 143.86 | 14.932
Existing Funding
Net Zero and Re-opener Development Fund term (RDFt) (T2) | RDFt (T2) | 0.914 | - | 0.914
Pre-Construction Funding | PCFt | 8.32 | 1.783 | 6.537
Funding Route
Load Re-opener | LRt | 142.077 | 142.077 | -
Closely Associated Indirects use it or lose it allowance term (CAIt) | CAIt | 7.481 | - | 7.481

## TablePA5_VRSE_DD
Table PA5: Draft Determinations on SPT’s VRSE project
Ofgem’s DD |  | Total (£m) | Direct (£m) | Indirect (£m)
Total Project Cost |  | 148.452 | 133.021 | 15.432
Existing Funding
Net Zero and Re-opener Development Fund term (T2) | RDFt (T2) | 0.914 | - | 0.914
Pre-Construction Funding (true-up) | PCFt | 14.548 | 9.399 | 5.148
Funding Route
Load re-opener | LRt | 123.852 | 123.622 | 0.231
CAI UIOLI | CAIt | 9.138 | - | 9.138

## TablePA6_PCD_SPT
Table PA6: PCDs to be amended (PCFt) and added (LRt) in SPT’s licence
Licence Term | Project | Delivery Date | 2026/ 27 | 2027/ 28 | 2028/ 29 | 2029/ 30 | 2030/ 31 | Total Allowance
LRt under SpC 3.18 | SPT200473 VSRE - XH and XJ Routes Overhead Line Uprating Works | 2028-06-28 | 66.53 | 52.51 | 4.82 | - | - | 123.85
PCFt under SpC 3.15 | SPT200473 VSRE - XH and XJ Routes Overhead Line Uprating Works | 2028-06-28 | 7.81 | 5.43 | 1.31 | - | - | 14.55

## PA_A2_Annex1
Annex 1: SP Transmission Plc, Electricity transmission licence, Special Condition values and tables modified by this draft direction
New text is double underscored and text removed is double struck through.
Appendix 1 of Special Condition 3.15 Pre-Construction Funding allowance (PCFAt) (£m)
Total: [154.95163.73]
Appendix 2 of Special Condition 3.15 Pre-Construction Funding Price Control Deliverable Allowance (PCFt) (£m)
EJP OSR | Output | Delivery date | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | Total Allowance
SPT200324 | Glenglass to Glenmuckloch 132kV OHL | 2031-03-31 | 0.75 | 0.75 | 0.74 | 0.73 | 0.72 | 3.69
SPT200406 | Windyhill – Lambhill - Denny North 400kV Reinforcement (DLUP) | 2031-03-31 | 2.15 | 2.13 | 2.11 | 2.09 | 2.07 | 10.55
SPT200474 | Strathaven - Elvanfoot OHL Uprating Works (VERE) | 2031-03-31 | 1.49 | 1.48 | 1.46 | 1.45 | 1.44 | 7.32
SPT200475 | Elvanfoot - Harker 400kV OHL Uprating Works (EHRE) | 2031-03-31 | 2 | 1.98 | 1.96 | 1.94 | 1.92 | 9.81
SPT200409 | SPT-RI-2060 – Redshaw 400kV substation | 2031-03-31 | 1 | 0.99 | 0.98 | 0.97 | 0.96 | 4.91
SPT200494 | SPT-RI-2061 – Redshaw 132kV substation | 2031-03-31 | 0.52 | 0.51 | 0.51 | 0.5 | 0.5 | 2.53
SPT200874 | Glenshimmeroch 132kV Collector Substation Reinforcements | 2031-03-31 | 0.79 | 0.78 | 0.77 | 0.76 | 0.76 | 3.86
SPT200876 | Synchronous Compensators - Enhanced-STATCOMs | 2031-03-31 | 5.03 | 4.98 | 4.93 | 4.88 | 4.84 | 24.67
SPT200326 | Glenmuckloch to ZV Route Reinforcements | 2031-03-31 | 2.27 | 2.25 | 2.22 | 2.2 | 2.18 | 11.12
SPT200857 | REDSHAW 132KV B BOARD (TORI-3060) | 2031-03-31 | 0.8 | 0.8 | 0.79 | 0.78 | 0.77 | 3.94
SPT200865 | Coylton -Maybole 132kV Reinforcement | 2031-03-31 | 1.51 | 1.49 | 1.48 | 1.46 | 1.45 | 7.4
SPT200505 | Wyseby 400kV substation | 2031-03-31 | 1.13 | 1.12 | 1.11 | 1.1 | 1.09 | 5.54
SPT200248 | U & AT Route 132kV Replacement | 2031-03-31 | 1.11 | 1.1 | 1.09 | 1.08 | 1.07 | 5.44
SPT200906 | Dumfries North 400kV substation | 2031-03-31 | 0.66 | 0.66 | 0.65 | 0.64 | 0.64 | 3.25
SPT200642 | Dunlaw Extension to Galashiels Reinforcements (TORI 2080) H1 | 2031-03-31 | 1.75 | 1.73 | 1.72 | 1.7 | 1.68 | 8.59
SPT200495 | Gala North H1 | 2031-03-31 | 0.88 | 0.87 | 0.86 | 0.85 | 0.84 | 4.3
SPT200917 | Teviot 400kV & 132kV substation | 2031-03-31 | 0.71 | 0.7 | 0.69 | 0.69 | 0.68 | 3.47
tCSNP2 | Reconductor the ZV route between Strathaven and Elvanfoot with HTLS conductor | 2031-03-31 | 0.9 | 0.89 | 0.88 | 0.87 | 0.86 | 4.4
tCSNP2 | Reconductor the ZV route between Elvanfoot and Harker with HTLS conductor | 2031-03-31 | 1.34 | 1.33 | 1.32 | 1.3 | 1.29 | 6.59
MSIP | SPT Kincardine - Wishaw 400kV Reinforcement (MSIP stage 1 approved) | 2031-03-31 | 1.7 | 1.68 | 1.66 | 1.65 | 1.63 | 8.32
MSIP | SPT Kincardine North 400kV Substation (MSIP stage 1 approved) | 2031-03-31 | 1.94 | 1.92 | 1.9 | 1.88 | 1.86 | 9.48
MSIP SPT200473 | SPT SPT-RI-130 VSRE - XH and XJ Routes Overhead Line Uprating Works (MSIP stage 1 approved) | 31 March 2031 28 June 2028 | 1.18 7.81 | 1.16 5.43 | 1.15 1.31 | 1.14 - | 1.13 - | 5.77 14.55

## PA_A3_Annex1
Annex 1: Draft modification for SP Transmission Plc electricity transmission licence
We have set out the proposed changes to Appendix 1 in SpC 3.18. Text proposed to be added is double underscored and text removed is double struck through.
Appendix 1
Load Re-opener Outputs and allowances (LRAt) (£m)
Project name | Outputs | Delivery date | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | Total
SPT200473 VSRE - XH and XJ Routes Overhead Line Uprating Works | Replacement of existing OHL conductor on XH and XJ routes with a High Temperature Low Sag (HTLS) conductor system, as part of the major refurbishment of these 400kV OHL routes. | 2028-06-28 | 66.53 | 52.51 | 4.82 | - | - | 123.85

## Major_Projects_ODI-F_Annex>>
The following worksheets contain the tables in the Major Projects ODI-F Annex Document

## TableMP1_ODI-F_Overview
Table MP1: Summary of the May 2026 Load Re-opener submissions, and proposed decision on MP ODI-F
Project Name | ETO | Assessment Stage | Submitted forecast project cost (£m) | Proposed decision on MP ODI-F
Aberthaw – Site Strategy | NGET | Eligibility | 530.3 | Do not apply at this stage
Banwen (Rhigos B) | NGET | Eligibility | 196.5 | Do not apply at this stage
Berkswell | NGET | Eligibility | 76.6 | Do not apply at this stage
Blyth 400kV Site Strategy | NGET | Eligibility | 400.9 | Minded-to apply at a future stage
Bodelwyddan 400kV Extension | NGET | Eligibility | 194.7 | Minded-to apply at a future stage
Bolney 400kV Site Strategy | NGET | Eligibility | 102.6 | Do not apply at this stage
Bridgend | NGET | Eligibility | 319.5 | Minded-to apply at a future stage
East Claydon – Enderby – Patford Bridge 1 and 2 OHL | NGET | Eligibility | 167.8 | Minded-to apply at a future stage
ETRE | NGET | Eligibility | 40.67 | NA
Farmoor | NGET | Eligibility | 136.2 | Do not apply at this stage
Feckenham – Hams Hall OHL | NGET | Eligibility | 54.3 | Minded-to apply at a future stage
Feckenham – Ironbridge OHL | NGET | Eligibility | 79.7 | Minded-to apply at a future stage
Imperial Park 400/132kV Upgrade | NGET | Eligibility | 60.45 | Do not apply at this stage
Ince SGT Extension | NGET | Eligibility | 61.52 | Do not apply at this stage
Keadby 132kV | NGET | Eligibility | 53.69 | Do not apply at this stage
Kingsnorth 400kV Extension | NGET | Eligibility | 96.7 | Do not apply at this stage
Laleham 132kV Extension | NGET | Eligibility | 217.4 | Do not apply at this stage
Lower Frankton 400kV AIS Substation | NGET | Eligibility | 347.7 | Do not apply at this stage
North West London | NGET | Eligibility | 400.5 | Minded-to apply at a future stage
SCRE (COTT4 – STAY4) and WRRE (WBUR4 – RATS4) OHL | NGET | Eligibility | 157.8 | Minded-to apply at a future stage
Teeside Connection Node A/Tees Dock | NGET | Eligibility | 657.5 | Minded-to apply at a future stage
Tilbury 275kV Rebuild - RIIO T3 Holistic Site Strategy | NGET | Eligibility | 231.77 | Minded-to apply at a future stage
Warley 275kV Substation Replacement | NGET | Eligibility | 389.09 | Minded-to apply at a future stage
Willington 132kV Rebuild | NGET | Eligibility | 43.2 | Do not apply at this stage
VSRE XH & XJ Routes 400kV Major Refurb | SPT | Project Assessment | 158.792 | Do not apply
Energy Isles (Kergord) Windfarm Connection | SHET | Eligibility | 52.369 | Do not apply at this stage
Knocknegael Farigaig HVP | SHET | Eligibility | 215.392 | Do not apply at this stage
Loch Na Cathrach Cluster | SHET | Eligibility | 162.618 | Do not apply at this stage
Shetland On-Island Infrastructure | SHET | Eligibility | 1160.995 | Do not apply at this stage