## BPG
Document | Page/paragraph | Incorrect text | Type (error/addition) | Corrected text | Owner | Changes made to doc? (Y/N)
BPG | Page 15, Footnote 5 | tRESP Consistent Planning Assumptions and Detailed Design_0.pdf | This is the wrong doc. Need to replace with the correct title and weblink that is in column E. | tRESP Pathways Methodology and Detailed Design_0.pdf | Anna Kulhavy | Y
CBA Template | Fixed Data - Inflation tab | Inconsistent inflation values used in CBA compared to BPDT | Inconsistent assumptions between models | Update timing and forecast value components in CBA to align with BPDT | Francisco Moraiz | Y
BPDT Guidance | 8.31 | “Rates and weightings are required for the last two years of RIIO-ED1, and all years of RIIO ED2 and ED3 to enable a clear comparison between price controls.” | Error | Rates and weightings are required for the last two years of RIIO-ED2, and all years of ED3 to enable a clear comparison between price controls | Ian Murray | Y
BPDT Guidance | 7.15 | 'Where a solution does not provide firm capacity, the capacity released should be calculated as set out in the guidance to the Innovative Solutions worksheet.' | Error | The noted sentence has been removed from the BPDT guidance as an 'Innovative Solutions' worksheet is not a feature of the ED3 BPDT. | Ian Murray | Y
BPDT Glossary | Page 100 | Intervention that directly mitigates the acute impacts of long durations of abnormally high ambient air or soil temperatures on electricity distribution network assets, systems, or operations. It must target failure modes, performance degradation, or operational constraints that arise specifically during extreme heat events or heatwaves, where elevated ambient air or soil temperatures increase the likelihood of asset stress, derating, or fault incidence. | Error | Intervention that directly mitigates the acute impacts of long durations of abnormally high air or soil temperatures/heat conditions on electricity distribution network assets, systems, or operations. It must target failure modes, performance degradation, or operational constraints that arise specifically during extreme heat events or heatwaves, where elevated ambient air or soil temperatures/heat conditions increase the likelihood of asset stress, derating, or fault incidence. | Kristen Louis | Y
BPDT Glossary | Page 221 | An intervention that directly reduces the risk, scale, or operational consequences of electricity network disruption arising from severe weather events. These events are characterised by fault levels meeting or exceeding the Guaranteed Standards of Performance (GSoP) Severe Weather Event Category 1 threshold, defined as daily faults at least eight times (8×) a DNO’s average daily high‑voltage fault level. Interventions must target storm‑related failure modes or vulnerabilities—such as exposure to high winds, heavy precipitation, snow, ice, or lightning—that materially reduces the likelihood of asset damage, customer interruptions, safety risks, or prolonged restoration times. | Error | An intervention that directly reduces the risk, scale, or operational consequences of electricity network disruption arising from severe weather events. These events are characterised by fault levels meeting or exceeding the Guaranteed Standards of Performance (GSoP) Severe Weather Event Category 1 threshold, defined as daily faults at least eight times (8×) a DNO’s average daily high‑voltage fault level. | Kristen Louis | Y
BPDT Glossary | Section 1 | N/A | Addition | A reduction in an asset's operational capability, capacity, performance, or rating below its design or nominal level, while the asset remains in service. Derating occurs when physical condition, operational constraints, environmental conditions, or external hazards limit the asset's ability to operate safely and reliably at its intended capability. In the context of climate resilience, derating may result from climate-related factors such as extreme heat, elevated soil temperatures, flooding, drought, high winds, or other weather conditions that reduce the safe operating limits of an asset and constrain its performance or capacity. | Kristen Louis | Y
BPG | Appendix 3 | N/A | Addition | A reduction in an asset's operational capability, capacity, performance, or rating below its design or nominal level, while the asset remains in service. Derating occurs when physical condition, operational constraints, environmental conditions, or external hazards limit the asset's ability to operate safely and reliably at its intended capability. In the context of climate resilience, derating may result from climate-related factors such as extreme heat, elevated soil temperatures, flooding, drought, high winds, or other weather conditions that reduce the safe operating limits of an asset and constrain its performance or capacity. | Kristen Louis | Y
BPDT Glossary | Page 115 (Gitlab issue #172) | Injurious Affection Claims made for the detrimental effect upon property of the location of distribution network assets. Volumes of injurious affection claims settled should be reported only when the claim has been settled and a new agreement is in place. Injurious affection claims that are considered valid but have not been settled and/or do not yet have a new agreement in place should have volumes reported under ‘Injurious affection claims received’. | Addition | Injurious Affection Claims made for the detrimental effect upon property of the location of distribution network assets, such as including loss of development. Volumes of injurious affection claims settled should be reported only when the claim has been settled and a new agreement is in place. Injurious affection claims that are considered valid but have not been settled and/or do not yet have a new agreement in place should have volumes reported under ‘Injurious affection claims received’. | Robert Chisholm | Y
BPG | Environmental Action Plans - Page 47 | Include the baseline expectations and associated metrics once agreed with DNOs | Addition | Changes made to reflect the addition of baseline expectations and associated metrics following engagement with stakeholders | David Paterson | Y
BPG | Environmental Action Plans Structure and Content- Page 49 | Include structure and content once agreed with DNOs | Addition | Changes made to reflect the addition of baseline expectations and associated metrics following engagement with stakeholders | David Paterson | Y
BPG - Annex 3 | EJP Index | Template would benefit from adding: (1) columns to capture overarching ouput of the EJP for each EJP/investment proposal and their unit of measurement; and (2) a column to capture which specific licensee area the investment relates to. Some DNOs currently provide this. | Addition | Additional columns added (Columns H, I and J) to facilitate the required information collection. | Grant McEachran | Y
BPG - Annex 1 | Page 9, Section 2.17 | Section 2.17 states “Low Volume Portfolio EJP (excel only)” but narratives may also be used on an optional basis | Addition | Additional text should be provided to clarify that provision is (excel only with optional narrative) | Grant McEachran | Y
BPG - Annex 1 | Page 9, Section 2.20 | The guidance did not explicitly state whether the £6m Major Project threshold relates only to ED3 expenditure or to the total scheme cost where delivery spans multiple price controls. | Addition | Test added to 2.20 - "For clarity, DNOs should assess whether the Major Project threshold is met using the full scheme cost, not only costs incurred within ED3." | Grant McEachran | Y
BPG - Annex 1 | Page 10 - new paragraphs 2.30 and 2.31 | The guidance did not clearly explain the level of traceability required to avoid omission of disaggregated cost categories such as CV7c, CV8 and CV9. | Addition | Two new paragraphs added: "2.30 DNOs should use the EJP Index to demonstrate that all relevant investment categories are captured. Where disaggregated cost categories such as CV7c, CV8 and CV9 are included within an EJP, these should be shown against the relevant EJP number in the same row of the EJP Index. 2.31 Where no investment is proposed for a category, this should be explicitly reflected in the Index." | Grant McEachran | Y
BPG - Annex 1 | Appendix 1 - pages 27, 32, 36 and 40 | Linked to the changs to the EJP Index - provide an associated definition for EJP Output subsequently reported in the EJP Index | Addition | Additional definition for 'EJP Output' in each of the Summary Tabes under each of the EJP templates in paragraph A1.1, A1.24, A1.41 and A1.58 | Grant McEachran | Y
BPG - Annex 1 | Appendix 1 - pages 28, 33, 36 and 40 | Some licensee enter the relevant CV table row from the BPDT to which the asset intervention is mapped. Other don't. For consistency, clarity should be provided. | Addition | Insertion of new paragraph and table to be provided as part of the EJP confirming the volumes of each different asset type being delivered during ED3. New paragraphs are A1.2, A1.25, A1.42 and A1.59. | Grant McEachran | Y
BPG - Annex 1 | Page 29, A1.7 | Note that Licensees shall provide both actual and forecast demands but doesn't stipulate the year of the data. | Addition | New text added to A1.7 stating "These should be based on the most recent financial year i.e. 2025/26." | Grant McEachran | Y
BPG - Annex 1 | Page 29, A1.7 | The guidance was unclear on why historic demand should be provided alongside current forecast demand. | Addition | New text added to the end of A1.7 stating "Historic demand should be provided to give context for the starting position, usage trends and any extrapolation or adjustment applied to forecast data." | Grant McEachran | Y
BPG - Annex 1 | Page 43, A1.64-A1.65 | Text has been omitted from the published document between paragraphs A1.64 and A1.65, and at the beginning of paragraph A1.65. | Error | Revised text (now in A1.68) should read: "Each option taken forward should be costed and evaluated by a Cost Benefit Analysis. Licensees should use the CBA alongside other quantitative and qualitative arguments to justify their preferred solution. This should include (where applicable): • detail of any regional variations, site specific factors or exceptional costs • an assessment of cost maturity and confidence of submitted costs • the forecast costs and declared outputs should be clearly summarised for each option. This should be further broken down as follows: o core investment - investment that is critical to addressing the needs case justification set out o opportunistic investment - investment included due to low marginal cost, or to gain programme efficiencies and note that this excludes oversizing of assets o consequential investment - investment needed as a result of / to facilitate investment on the asset comprising the needs case (eg replacement of disconnectors / circuit breakers to accommodate a replacement transformer with a higher fault level) • synergies or links to other investments in non-network categories | Grant McEachran | Y
BPG - Annex 1 | Appendix 2, Page 44, A2.2 | Reference to boiler plate has not been removed. | Error | Edited the paragraph to read as follows "Where a licensee does not propose an investment in these categories, licensees shall indicate this in the EJP Index." | Grant McEachran | Y
BPG - Annex 1 | Page 44, Appendix 2 | Whether Portfolio EJPs primarily relate to asset health / asset replacement and how Low and High Volume portfolio requirements were determined. | Addition | Added new paragraph A2.5 stating: "CV7, CV8 and CV9 based investments should generally be justified using the relevant Portfolio EJP approach. For Low Volume categories, the Portfolio EJP template is the primary evidence with optional supporting narrative. For High Volume categories, the narrative template is the primary evidence with supporting portfolio data. The Low/High Volume split is not based solely on CNAIM alignment." | Grant McEachran | Y
BPG - Annex 1 | Page 44, Appendix 2 | The Portfolio EJP template includes an intervention driver column, creating ambiguity where non-load portfolios include known load-related drivers or where load-related information is otherwise captured in other EJPs. | Addition | Added new paragraph A2.6 stating: "Where a Portfolio EJP includes interventions with known load-related drivers, DNOs should provide relevant load information for referencing and traceability. Where the load-related justification is covered in another EJP, this information should be treated as cross-reference information rather than a duplicate assessment basis." | Grant McEachran | Y
BPG - Annex 1 | Page 44, Appendix 2 | The guidance was unclear on whether DNOs may modify Portfolio EJP templates by adding columns while preserving the original template structure. | Addition | Added new paragraoh A2.7 stating "DNOs may add additional columns to the end of Portfolio EJP templates where this helps explain their submission but in doing do existing columns, formatting and template structure must not be removed or altered, and any added columns should follow the established colour coding for data types where applicable." | Grant McEachran | Y
BPG - Annex 1 | Pages 48-49 - Narrative EJP Table | Major Projects identified in the Narrative EJP table as 'Greater than £4m' but should be 'Greater than £6m'. | Error | Change text in column 3 for each of Control Room Investments, Depot Investments and Enviornmental Driven Investments to 'Greater than £6m' | Grant McEachran | Y
BPG - Annex 1 | Page 49 - Narrative EJP Table | Table lists LV UGB under Atypicals but should be listed as High Volume Portfolio Asset in line with the table on page 43. | Error | LV UGB to move from first to second column in the table | Grant McEachran | Y
BPG - Annex 1 | Page 49 - Narrative EJP Table | Rising Lateral Mains identified as within the High Volume Portfolio but should under Atypical as is correctly highlighted in Portfolio EJP Table on page 46. | Error | Rising Lateral Mains to move from second to first column in the table | Grant McEachran | Y
BPG - Annex 1 | Page 49 - Narrative EJP Table | Table lists LV Services associated with RLM under High Volume Portfolio Asset but should be listed as Atypicals in line with the table on page 43. | Error | LV Services associated with RLM to move from second to first column in the table | Grant McEachran | Y
BPG | Page 28 from para 3.72 | Need to update for agreed common methodology. | Addition | Paragraph updated as follows: 3.74 To avoid inconsistent approaches across DNOs, we expect DNOs to undertake a common sensitivity analysis and adopt the same decision rule. The common sensitivity should focus on testing the load-related reinforcement needed for the tRESP against weaker low carbon technology uptake. DNOs should apply the common sensitivity as set out in "Annex 2 - ED3 common sensitivity for load related expenditure" available on Ofgem's website. | Anna Kulhavy | Y
BPG | 6.105 (CRBP Requirements) | Formatting: all five bullet points were at the same indent level, but bullet points 2 and 3 were supposed to be sub-bullet points | Error | Formatting: bullet points 1-3 have been merged, with the wording unchanged | Joe Draisey | Y
BPG | Page 76, para 5.86 | Clarifying that DNOs can request funding for operational flex use cases through the BPDTs, but must clearly outline how much is being requested for each use case | Addition | Funding for flexibility used in the activities outlined in this section can be requested through the flexibility rows in CV1 and CV2 of the BPDTs, but companies must clearly outline in their DSO Strategies how much of the requested costs and volumes are for each flexibility use case. Funding for flexibility where voltage management is the primary driver should be requested through ‘Operational activities to manage voltage’ in CV44. | Becky Elkington | Y
BPG | Page 81, para 5.106-112 | N/A | Addition | Added in summary of quantative analysis performed by ORE on voltage management approaches | Euan Kirkmorris | Y
BPG | Page 110, para 6.128 | DNOs must produce a 10-year Delivery Strategy, aligned to their overall business plan, setting out how they will deliver their investment programme across ED3 and the subsequent five-year period. The strategy must distinguish clearly between firm ED3 commitments and forward-looking actions beyond ED3, which may be more indicative and adaptive in nature. | Error and Addition | Each DNO must produce a 10-year Delivery Strategy, aligned to its overall business plan, setting out how it will deliver its investment programme across ED3 and the subsequent five-year period. The strategy must distinguish clearly between firm ED3 commitments and forward-looking actions beyond ED3, which may be more indicative and adaptive in nature. It should also distinguish between investments considered low regret and those that are not. | Ahyaan Raghuvanshi | Y
BPG | Page 114, para 6.143 | N/A | Addition | approach to inclusion, diversity and equality | Ahyaan Raghuvanshi | Y
BPDT Guidance | 7.172 | 7.172 Gross costs should be reported for the following categories, which are defined in ED3 BPDT Glossary: • Substation RTU, Marshalling Kiosk and Receivers • Communications for Switching and Monitoring • Control Centre Hardware and Software • Cyber Resilience | Error | 7.172 Gross costs should be reported for the following categories, which are defined in ED3 BPDT Glossary: • Substation RTU, Marshalling Kiosk and Receivers • Communications for Switching and Monitoring • Control Centre Hardware and Software | Kristen Louis | Y
BPDT Guidance | 7.175 - 7.180 | References to Rows in BPDT | Addition | Updated BPDT Guidance references to BPDT Rows in line with updates made to the BPDT spreadsheet. | Kristen Louis | Y
BPDT Guidance | 7.408 | There is a memo table included in Row 226LCN fund expenditure should be reported in the Memo line in row 226. | Error | LCN fund expenditure should be reported in the in Row 226. | Kristen Louis | Y
BPG | 8.3 | Need to update for agreed common sensitivity for LRE. | Addition | Specifically, we expect DNOs to apply the common sensitivity as set out in "Annex 2 - ED3 common sensitivity for load related expenditure" available on Ofgem’s website. Further guidance on how to separate and present these two categories of load-related expenditure is provided in the BPDT Guidance and IDP Guidance documentation. | Anna Kulhavy | Y
BPDT Guidance | 6.29, 6.102, 6.111, 6.118, 6.123, 6.132, 6.139, 7.12, 7.35, 7.57, 7.82 | identified through the sensitivity testing set out in Section 8 of the Business Plan Guidance. This sheet should reflect all [x] expenditure associated with heat pump uptake that assumes a two-year delay to the tRESP pathway, | Addition | assumption set out in Section 8 of the Business Plan Guidance, reflecting expenditure associated with the common sensitivity as set out in "Annex 2 - ED3 common sensitivity for load related expenditure", | Anna Kulhavy | Y
BPDT Guidance | 11.51 | scenario set out in Section 8 of the Business Plan Guidance. Under this scenario, load-related expenditure, and any associated indirect costs, should be based on heat pump uptake that assumes a two-year delay to the tRESP pathway. | Addition | assumption set out in Section 8 of the Business Plan Guidance, reflecting expenditure associated with the common sensitivity as set out in "Annex 2 - ED3 common sensitivity for load related expenditure", | Anna Kulhavy | Y
BPDT Guidance | 6.69, 7.30, 7.49, 7.77, 7.91 | - | Addition | and as set out in "Annex 2 - ED3 common sensitivity for load related expenditure". | Anna Kulhavy | Y
BPG | Appendix 5 |  | Addition | Following collaborative engagement with stakeholders following our SSMD, we have now included Environmental Action Plan (EAP) baseline expectations in Appendix 5 | David Paterson | Y
BPDT Guidance | Entire document | - | Error | General housekeeping corrections (ie capitalisation of Rows and Columns) | Kristen Louis | Y
BPDT Guidance | Entire document | Cell references | Addition | Updates made to BPDT cell references where changes have been made to the BPDT | Kristen Louis | Y
BPDT Guidance | 1 | ED3 Sector Specific Methodology Decision Overview TBC ED3 SSMD: Cost Assessment Annex TBC ED3 SSMD: Finance Annex TBC | Addition | ED3 Sector Specific Methodology Decision Overview Link ED3 SSMD Annex: Cost Assessment Annex Link ED3 SSMD Annex: Climate Resilience Metrics and Indicators Annex Link ED3 SSMD Annex: Climate Resilience Stress Testing Methodological Framework Link ED3 SSMD Annex: Finance Link | Paul Friel | Y
BPDT Guidance | 3.7 | The BPDTs have been separated into the following sections: • General tables: The Cover, Change Log and Navigation. Fixed Data tables are included to provide constant figures to be referenced whilst populating the BPDT tables. • Finance tables: Tables I1 to F8 collect financial information. • Summary tables: RPEs and Ongoing Efficiency, S1, S2 and C1s provides a summary of key information including costs. • Activity tables: Tables C2 to CV44 collect cost and volume data for activities. • Asset volume tables: Tables V1 to V5 and AP1 collect asset volume changes and annual age profile information. • Memo tables: Tables M1 to M32 collect additional data to support deliverables, outputs and innovation. | Error | The BPDTs have been separated into the following sections: • General tables: The Cover, Change Log and Navigation. Fixed Data tables are included to provide constant figures to be referenced whilst populating the BPDT tables. • Finance tables: Tables I1 to F8 collect financial information. • Summary tables: RPEs and Ongoing Efficiency, S1 to S3 and C1s provides a summary of key information including costs. • Activity tables: Tables C2 to CV44 collect cost and volume data for activities. • Asset volume tables: Tables V1 to V5 and AP1 collect asset volume changes and annual age profile information. • Memo tables: Tables M1 to M31 collect additional data to support deliverables, outputs and innovation. | Paul Friel | Y
BPDT Guidance | 3.8 | • costs are to be entered as positive values. • contributions (customer or otherwise) are to be entered as negative values. • cost recoveries are to be entered as negative values. • volumes to be entered as positive numbers. | Error | • Costs are to be entered as positive values. • Contributions (customer or otherwise) are to be entered as negative values. • Cost recoveries are to be entered as negative values. • Volumes to be entered as positive numbers. | Paul Friel | Y
BPDT Guidance | 4.7 | The DNOs should enter the name of any relevant Related Party in rows 22 to 41. This will automatically link to the C1 matrices. | Error | The DNOs should enter the name of any relevant Related Party in Rows 22 to 41. This will automatically link to the C1 matrices. | Paul Friel | Y
BPDT Guidance | 4.8 | The purpose of these worksheets is to demonstrate the principles and calculations used to inflate from RIIO-ED2 price base (2020/21) to ED3 price base (2025/26). No DNO inputs are required in these sheets. | Error | The purpose of these worksheets is to demonstrate the principles and calculations used to inflate or deflate between different price base. No DNO inputs are required in these sheets. | Paul Friel | Y
BPDT Guidance | 4.9 | I1 worksheet uses monthly inflation data in I2 to calculate the RPI/CPIH splice index, from which are derived annual inflation values (row 26), the real to nominal price conversion factor (row 28) and price base year conversion factor (row 30) | Error | I1 worksheet uses monthly inflation data in I2 to calculate the RPI/CPIH splice index, from which are derived annual inflation values (row 29), the real to nominal price conversion factor (row 30) and price base year conversion factor (row 33) | Paul Friel | Y
BPDT Guidance | 4.1 | In addition to this, other interest rate data is also stored here (rows 33-42), which is used in the F1-F6 worksheets for calculating principal accretion on DNOs’ debt data. The interest rate data covers: Nominal; RPI real; CPIH real; LIBOR 1 Month; LIBOR 3 Month; LIBOR 6 Month; LIBOR 12 Month; SONIA; Credit Spread Assumption for Floating Rate Debt (LIBOR); Credit Spread Assumption for Floating Rate Debt (SONIA). | Error | In addition to this, other interest rate data is also stored here (rows 37-47), which is used in the F1-F6 worksheets for calculating principal accretion on DNOs’ debt data. The interest rate data covers: Nominal; RPI real; CPIH real; LIBOR 1 Month; LIBOR 3 Month; LIBOR 6 Month; LIBOR 12 Month; SONIA; Credit Spread Assumption for Floating Rate Debt (LIBOR); Credit Spread Assumption for Floating Rate Debt (SONIA). | Paul Friel | Y
BPDT Guidance | 5.14 | Reference to BPDT commentary pack and Busines plan: reference to where a description of the item can be found, including details of the estimated cost and justification for the proposed treatments in this table. | Error | Reference to BPDT commentary pack and Business plan: reference to where a description of the item can be found, including details of the estimated cost and justification for the proposed treatments in this table. | Paul Friel | Y
BPDT Guidance | 5.17 | BPFM Statutory Depreciation Inputs (rows 550-551). DNOs’ statutory accounts values of depreciation and capex. This information is used in financeability assessments for comparing companies’ actual data with notional values in the BPFM. | Error | BPFM Statutory Depreciation Inputs (rows 539-541). DNOs’ statutory accounts values of depreciation, capex and asset life. This information is used in financeability assessments for comparing companies’ actual data with notional values in the BPFM. | Paul Friel | Y
BPDT Guidance | 5.2 | Capitalisation rate inputs (rows 724:725). The rows are used to collect natural capitalisation rate and it should be provided for each year. | Error | Capitalisation rate inputs (rows 714:715). The rows are used to collect natural capitalisation rate and it can be provided if DNOs wish to provide a specific view of total capitalisation rates for each year. | Paul Friel | Y
BPDT Guidance | 5.24 | Theft Recovery (rows 754-760). RIIO-ED1 and RIIO-ED2 historic and forecast values should be input in line with the subsequent paragraphs guidance. No forecast values should be entered for ED3 period. The purpose of these inputs is to report costs, volumes and revenues associated with Theft Recovery activities as set out in CRC 5F (Treatment of income from recovery in respect of Relevant Theft of Electricity) and related to the provisions of Standard Condition 49 (Electricity Distribution Losses Management Obligation and Distribution Losses Strategy) of the electricity distribution licence. | Error | Theft Recovery (rows 750-756). RIIO-ED1 and RIIO-ED2 historic and forecast values should be input in line with the subsequent paragraphs guidance. No forecast values should be entered for ED3 period. The purpose of these inputs is to report costs, volumes and revenues associated with Theft Recovery activities related to the provisions of Standard Condition 49 (Electricity Distribution Losses Management Obligation and Distribution Losses Strategy) of the electricity distribution licence. The Licence value Forecast amount related to theft recovery (row 756) is only for ENWL. | Paul Friel | Y
BPDT Guidance | 5.28 | The main function of this worksheet is to derive average debt volumes for embedded and new debt types that are consistent with the definition of average debt in the BPFM interest calculations (see sheet named Finance&Tax (actual) therein). | Error | The main function of this worksheet is to derive average debt volumes for embedded and new debt types that are consistent with the definition of average debt in the BPFM interest calculations (see sheet named FinanceActual therein). | Paul Friel | Y
BPDT Guidance | 5.31 | This top section of sheet F1 explicitly calculates net debt balances for embedded and new debt types, consistently with the methodology used in the BPFM net debt calculations (sheet Finance&Tax (actual) therein). | Error | This top section of sheet F1 explicitly calculates net debt balances for embedded and new debt types, consistently with the methodology used in the BPFM net debt calculations (sheet FinanceActual therein). | Paul Friel | Y
BPDT Guidance | 5.63 | - | Addition | Derivative Instrument Description: Choose from the drop-down validation list. | Paul Friel | Y
BPDT Guidance | 5.63 | Yield to Maturity at Issue Date: insert in percentage format (%). The yield to maturity of the bond, calculated at the time of issuance. It should reflect the bond’s coupon payments, issue price, face value, and tenor, and is expressed as an annual percentage rate. This column MUST be populated as it provides the interest rate driving the calculations in F3 to F5. | Error | Yield to Maturity at Issue Date: Insert in percentage format (%). This is the bond's yield to maturity calculated at the time of issuance, including discounted instruments. It reflects the bond's coupon payments, issue price, face value, and tenor, and is expressed as an annual percentage rate. This field must be populated, as it provides the interest rate used in the calculations within tabs F3 to F5. | Paul Friel | Y
BPDT Guidance | 5.74 | Capital allowances (rows 9,30,51,61). DNOs should populate yellow input cells with data relating to applicable capital allowance rates and capex additions. Whilst the capital allowance rates for general pool, special rate pool, deferred revenue expenditure, structures and buildings allowance are pre-set and should not be changed, the rate for deferred revenue expenditure (row 51) is pre-set but may be overridden should DNOs wish to use the rate in their actual tax computations. This is not a mandatory step however, since any differences arising from the different rates are captured in the tax reconciliation process. Licensees should allocate all expenditure which qualifies for capital allowances / structures and buildings allowances to the relevant pool, and should allocate additions to full-expensing and FYA’s on the assumption that these would be claimed in full by the notional company. | Error | Capital allowances (rows 9,30,51,62). DNOs should populate yellow input cells with data relating to applicable capital allowance rates, capex additions, transfer and revisions. Licensees should allocate all expenditure which qualifies for capital allowances / structures and buildings allowances to the relevant pool and should allocate additions to full-expensing and FYA’s on the assumption that these would be claimed in full by the notional company. | Paul Friel | Y
BPDT Guidance | 5.79 - 5.83 | - | Addition | The purpose of this table is to gather a more complete view of the day-to-day liquidity requirements of Licensees. This data will be used as evidence to underpin the sizing of the associated additional borrowing allowances. Current data is limited to period end date. This does not provide a clear perspective of the day-to-day operational balances and RCF drawings made by Licensees which could be higher or lower than the period end disclosure. The definitions of cash and cash equivalents should align to the applicable statutory accounting definitions. Reported Revolving Credit Facilities (“RCFs”) should include committed facilities, with the ability to draw and repay loans flexibly over the term of the facility. These facilities should be available to draw at each given reporting date. The purpose of these debt facilities should be for general liquidity management or working capital purposes. Facilities which are primarily in place as credit enhancement for the benefit of lenders should be excluded, for example debt service reserve facilities. Licensees will populate yellow input cells. In the BPDT Commentary licensees should also provide a written description of their liquidity management policies. Such written disclosure should include: • Details on any applicable licensee liquidity target or policy. • Confirmation on whether there are cash pooling or other similar group treasury management policies in effect. If there are these arrangements in place, how they operate. • If cash equivalents are held, what these investments are composed of. | Paul Friel | Y
BPDT Guidance | 5.84 - 5.87 | - | Addition | This table is optional. It should be completed where respondents consider the standalone reporting for a licensee would give a misleading impression of the required business liquidity due to intra-group treasury management arrangements such a cash pooling. Where respondents choose to provide this additional data, this table should be completed in addition to L1 on a standalone basis. The provision of information should be provided on an unconsolidated legal entity basis for the group entity which is managing the liquidity. Additional commentary should be provided where liquidity held at the group level incorporate business or activities outside the cited licensees in the disclosure. This disclosure should explain to what extent available liquidity is attributable to these other businesses or activities. | Paul Friel | Y
BPDT Guidance | 5.88 - 5.89 | - | Addition | This table provides a space for detailing the group structure. If data is provided in L2, we request that the response include a company structure diagram to illustrate the relationship between the group entity cited and participating Licensee(s). | Paul Friel | Y
BPDT Guidance | 6.27 | These tables are for the input of cost and volume data related to Connections and are collated in C2 - Connections. | Error | These tables are for the input of cost and volume data related to Connections. | Paul Friel | Y
BPDT Guidance | 6.54 - 6.62 | Where a connection scheme releases additional net capacity, DNOs should complete the TANCI fields in C2a – Connections for inside price control connections. The TANCI data should be reported for the relevant connection activity and should be consistent with the costs, customer contributions, volumes and asset additions or disposals reported elsewhere in the worksheet. For Connections Inside the Price Control, DNOs should report TANCI data where the DUoS-funded element of the connection scheme releases additional net capacity for wider network use. DNOs should not report TANCI points for sole-use assets where the capacity released is available only to the connecting customer. Where a connection scheme includes both sole-use and shared reinforcement assets, DNOs should report TANCI data only for the element that releases net capacity to the wider distribution network. The basis of any allocation between sole-use and shared assets should be explained in the BPDT Commentary where material. Timing of TANCI Reporting TANCI should be reported in the Regulatory Year in which the associated capacity is released and becomes available on the network. Where a project is delivered over more than one Regulatory Year, TANCI should be reported in the year in which each relevant element of capacity is delivered and energised. Where an intervention comprises multiple asset types, DNOs should report the TANCI data against each relevant asset type. For example, where a primary reinforcement scheme includes both transformer works and circuit works, the capacity released, Asset Normalisation Factor and resulting TANCI points should be reported separately against the relevant transformer and circuit rows. Where an intervention is delivered across more than one year, DNOs should apportion the TANCI points between years on the basis of the capacity released in each year. DNOs should not report TANCI points in advance of the associated capacity becoming available to the network. | Error | DNOs should complete the TANCI fields for all Primary TANCI eligible assets, aligned with CV1. For the avoidance of doubt, secondary assets in the Connections table do not need to have any TANCI points reported. TANCI points should be reported on a gross basis for all eligible assets in C2 – Connections, regardless of funding. Whilst TANCI points are reported on a gross basis in this table, licensees will still need to undertake the relevant cost reporting across sole-use, shared and DUoS funding. Timing of TANCI Reporting TANCI should be reported in the Regulatory Year in which the associated capacity is released and becomes available on the network. Where a project is delivered over more than one Regulatory Year, TANCI should be reported in the year in which each relevant element of capacity is delivered and energised. Where an intervention comprises multiple asset types, DNOs should report the TANCI data against each relevant asset type. For example, where a primary reinforcement scheme includes both transformer works and circuit works, the capacity released, Asset Normalisation Factor and resulting TANCI points should be reported separately against the relevant transformer and circuit rows. This is independent of firm capacity and upstream capability; it is simply the capacity released on an asset basis, i.e. nameplate rating to nameplate rating. Where an intervention is delivered across more than one year, DNOs should apportion the TANCI points between years on the basis of the capacity released in each year. DNOs should not report TANCI points in advance of the associated capacity becoming available to the network. | Paul Friel | Y
BPDT Guidance | 6.63 | - | Addition | For circuit calculations the additional multiplier is the length of the circuit. Net Capacity Released = KMs installed × MVA per unit. For example, if a licensee increases the capacity of a 33kV circuit from 300mm² to 500mm² over 7km of a 10km circuit, the licensee would record 35 MVA increasing to 44 MVA. Therefore, the 9 MVA delta × 7km = 63 non-normalised TANCI points. | Paul Friel | Y
BPDT Guidance | 6.81 - 6.83 | - | Addition | The total gross costs should be split by Cost Type at the top of the worksheet (Rows 9 to 16) and total income should be entered in Rows 18 and 19. The purpose of check cell in Row 22 is to ensure the total gross costs in Row 17 reconciles with the total gross costs by category type in Row 98. There is a memo table included in Row 101 to capture any costs in relation to Climate Resilience. This memo table should capture the incremental investment costs of the works in this activity associated with Climate Resilience. These costs will be included in the M30 - Climate Resilience Memo table. | Paul Friel | Y
BPDT Guidance | 6.85 - 6.89 | Gross costs should be reported by Cost Type and for the following cost categories, which are defined in ED3 BPDT Glossary, under the term IT & Telecoms (Non-Operational): • Hardware and infrastructure costs • Application software development costs The total gross costs should be split by Cost Type at the top of the worksheet (rows 9 to 16) and total income should be entered in rows 18 and 19. The purpose of check cell in row 22 is to ensure the total gross costs in row 17 reconciles with the total gross costs by category type in row 28. At the bottom of this worksheet, there is a table included in rows 30 to 33 to capture any costs in relation to DSO Cost categories in these memo tables are as discussed above. The DSO Cost categories will be included in the M19 - DSO Memo table. There is a memo table included in rows 35 to 43 to capture costs in relation to Data & Digitalisation. These costs will be included in the M29 D&D Memo table. The costs reported in this table should reconcile with investment proposals detailed in the Digitalisation Strategy and Action Plan (DSAP). Please refer to the ED3 Business Plan Guidance for further details. Costs should be reported at a total level in ED1 and ED2. In ED3 costs should be reported for the following categories which are defined in ED3 BPDT Glossary: • Digital Infrastructure • Digital Processes • Digital Platforms • Digitalising Field Works • Network Monitoring • AI and Machine Learning • Other Data Best Practice. There is a memo table included in row 46 to capture any costs in relation to Climate Resilience. This memo table should capture the incremental investment costs of the works in this activity associated with Climate Resilience. These costs will be included in the M30 - Climate Resilience Memo table. | Addition | Gross costs should be reported by Cost Type and for the following cost categories, which are defined in ED3 BPDT Glossary, under the term IT & Telecoms (Non-Operational): • Hardware and infrastructure costs • Application software development costs. The total gross costs should be split by Cost Type at the top of the worksheet (Rows 9 to 16) and total income should be entered in Rows 18 and 19. The purpose of check cell in Row 22 is to ensure the total gross costs in Row 17 reconciles with the total gross costs by category type in Row 28. At the bottom of this worksheet, there is a table included in Rows 30 to 33 to capture any costs in relation to DSO Cost categories in these memo tables are as discussed above. The DSO Cost categories will be included in the M19 - DSO Memo table. There is a memo table included in Rows 35 to 43 to capture costs in relation to Data & Digitalisation. These costs will be included in the M29 D&D Memo table. The costs reported in this table should reconcile with investment proposals detailed in the Digitalisation Strategy and Action Plan (DSAP). Please refer to the ED3 Business Plan Guidance for further details. Costs should be reported at a total level in ED1 and ED2. In ED3 costs should be reported for the following categories which are defined in ED3 BPDT Glossary: • Digital Infrastructure • Digital Processes • Digital Platforms • Digitalising Field Works • Network Monitoring • AI and Machine Learning • Other Data Best Practice. There is a memo table included in Row 46 to capture any costs in relation to Climate Resilience. This memo table should capture the incremental investment costs of the works in this activity associated with Climate Resilience. These costs will be included in the M30 - Climate Resilience Memo table. | Paul Friel | Y
BPDT Guidance | 6.178 | DNOs must: • Ensure that an affiliated captive insurer is separately disclosed. • Input in columns E to V the turnover data for the related party as charged to each DNO in the group, other related parties and external customers. Input as positive numbers. Also input in columns E to V the margin – a positive reflects that the Related Party is making a profit, while a negative indicates a loss. | Error | DNOs must: • Ensure that an affiliated captive insurer is separately disclosed. • Input in the block C to T the turnover data for the related party as charged to each DNO in the group, other related parties and external customers. Input as positive numbers. Input in the block M to Y the margin – a positive reflects that the Related Party is making a profit, while a negative indicates a loss. | Paul Friel | Y
BPDT Guidance | 6.186 | This worksheet is relevant to SSEH only. It enables SSEH to report annually on the efficient costs incurred related to generating electricity on Shetland provided under an ex ante allowance. | Error | This worksheet is relevant to SSEH only. It enables SSEH to report annually on the efficient costs incurred related to generating electricity on Shetland provided under the Ex Ante Allowance. | Paul Friel | Y
BPDT Guidance | 6.198 | The summary tables in rows 27 to 32 do not need to be filled in manually as they will auto-populate based on the detailed entries below. | Error | The summary tables (highlighted green) at the top of the worksheet do not need to be filled in manually, as they will auto-populate based on the detailed entries below. | Paul Friel | Y
BPDT Guidance | 7.27 | - | Addition | It is noted that the capacity released under TANCI may not align with firm capacities reported elsewhere in the BPDT. | Paul Friel | Y
BPDT Guidance | 7.45 | Interventions should be reported against the network utilisation band corresponding to transformers’ pre-intervention utilisation level. | Error | Information related to interventions should be reported against the network utilisation band corresponding to transformers’ pre-intervention utilisation level | Paul Friel | Y
BPDT Guidance | 7.6 | Solution type has been disaggregated into conventional and Innovative Solutions. | Error | During RIIO-ED1 it is anticipated that DNOs will develop new innovative solutions for mitigating fault level issues. It is for this reason that the solution type is disaggregated into conventional and Innovative Solutions. | Paul Friel | Y
BPDT Guidance | 7.68 | - | Addition | Additional network capacity is not the fault level rating but the continuous thermal rating of the switchgear. For example, a 33kV CB change from a 71 MVA to 143 MVA rating gives 72 MVA capacity added. | Paul Friel | Y
BPDT Guidance | 7.75 | With regards to the fault level reinforcement element of the table, DNOs must populate the relevant rows with the total number of HV, EHV and 132kV switchboards/substation busbars, the number of these that have exceeded a fault level duty of above 95% of their rating, and the volume that are subject to fault level risk mitigation measures (such as operational restrictions). | Error | With regards to the fault level reinforcement element of the table, DNOs must populate the relevant rows with the total number of EHV and 132kV switchboards/substation busbars, the number of these that have exceeded a fault level duty of above 95% of their rating, and the volume that are subject to fault level risk mitigation measures (such as operational restrictions). | Paul Friel | Y
BPDT Guidance | 7.135 | In undertaking Smart Meter Interventions, DNOs may identify that Cut Outs are in poor condition. Data flows from meter operators will identify the category of defect as defined in MOCOPA. Only the replacement of Cut Outs resulting from Smart Meter Interventions – Category C should be included in this worksheet. The replacement of Cut Outs resulting from Smart Interventions Category A and Smart Interventions Category B should be reported in CV28 – ONIs. | Error | The Smart Meter rollout programme may identify that Cut Outs are in poor condition. Data flows from meter operators will identify the category of defect as defined in MOCOPA. Only the replacement of Cut Outs resulting from Smart Meter Interventions – Category C should be included in this worksheet. The replacement of Cut Outs resulting from Smart Interventions Category A and Smart Interventions Category B should be reported in CV28 – ONIs. | Paul Friel | Y
BPDT Guidance | 7.171 - 7.176 | This worksheet collects cost and volume data relating to Operational IT&T expenditure, excluding expenditure associated with BT 21st Century. Gross costs should be reported for the following categories, which are defined in ED3 BPDT Glossary: • Substation RTU, Marshalling Kiosk and Receivers • Communications for Switching and Monitoring • Control Centre Hardware and Software • Cyber Resilience Volumes should also be reported for Substation RTU, Marshalling Kiosk and Receivers. The total gross costs should be split by Cost Type at the top of the worksheet (rows 9 to 16). The purpose of check cell in row 22 is to ensure the total gross costs in row 17 reconciles with the total gross costs by category type in rows 138 and 146. There is a memo table included to capture any costs in relation to DSO. These costs will be included in the M19 DSO Memo table. Please refer to the Cost Mapping Matrix in the BPDT Glossary for further details. | Error | This worksheet collects cost and volume data relating to Operational IT&T expenditure, excluding expenditure associated with BT 21st Century. Gross costs should be reported for the following categories, which are defined in ED3 BPDT Glossary: • Substation RTU, Marshalling Kiosk and Receivers • Communications for Switching and Monitoring • Control Centre Hardware and Software Volumes should also be reported for Substation RTU, Marshalling Kiosk and Receivers. The total gross costs should be split by Cost Type at the top of the worksheet (Rows 9 to 16). The purpose of check cell in Row 22 is to ensure the total gross costs in Row 17 reconciles with the total gross costs by category type in Rows 138 and 146. At the bottom of this worksheet, there is a memo table included in Rows 261 to 266 to capture any costs in relation to DSO. Cost categories in the memo table are as shown in 6.128 above. These costs will be included in the M19 DSO Memo table. Please refer to section 4 of the Glossary (Cost Mapping Matrix) for further details. | Paul Friel | Y
BPDT Guidance | 7.188 - 7.189 | There are Memo tables to provide detail on the solution employed. The categories for which gross costs and volumes are to be reported, defined in ED3 BPDT Glossary (under the prefix “Electricity System Restoration Resilience”), are: • Protection Batteries • SCADA Batteries • Generator • DC Disconnection Scheme • Distribution Restoration Zones • Land lines & Internal Telephony • Mobile Voice Communications • SCADA Infrastructure Volumes for the first five categories should be reported by voltage (HV, EHV and 132kV). | Error | There are Memo tables to provide detail on the solution employed. The categories for which gross costs and volumes are to be reported, defined in ED3 BPDT Glossary (under the prefix “Electricity System Restoration Resilience”), are: • Protection Batteries • SCADA Batteries • Generator • DC Disconnection Scheme • Land lines & Internal Telephony • Mobile Voice Communications • SCADA Infrastructure • Distribution Restoration Zones Volumes for the first four categories should be reported by voltage (EHV and 132kV). | Paul Friel | Y
BPDT Guidance | 7.194 | The categories for this worksheet, defined in BPDT Glossary (under the prefix “BT21CN”) are: • Protection Communication Circuits – Replacement • Protection Operational Measures • Infrastructure Enabling. | Error | The categories for this worksheet, defined in RIIO-ED2 BPDT Glossary (under the prefix “BT21CN”) are: • Protection Communication Circuits – Replacement • Protection Operational Measures • Infrastructure Enabling. | Paul Friel | Y
BPDT Guidance | 7.69 | There are four Resilience worksheets for inputs: • CV16a – Flood Mitigation • CV16b – Storm Resilience • CV16c – Extreme Heat • CV16d - Storm Arwen PCD | Error | There are three Resilience worksheets: • CV16a – Flood Mitigation • CV16b – Storm Resilience • CV16c – Extreme Heat | Kristen Louis | Y
BPDT Guidance | 7.7 | These tables are for the input of cost and volume data related to Flood Mitigation, Storm Resilience and Extreme Heat and are collated in CV16 - Resilience. | Error | These tables are for the input of cost and volume data related to Flood Mitigation, Storm Resilience and Extreme Heat. | Kristen Louis | Y
BPDT Guidance | 7.213 | This worksheet is for the input of cost and volume data for flood mitigation expenditure. It contains a summary of the cost and volume data reported on the M1 - Flood Mitigation worksheet. | Error | This worksheet is for the input of cost and volume data for flood mitigation expenditure. It contains a summary of the volume data reported on the M1 - Flood Mitigation worksheet. | Kristen Louis | Y
BPDT Guidance | 7.22 | • Fluvial/Flood Risk (with reference to coastal and pluvial flooding) | Error | • Fluvial/Coastal Flood Risk • Pluvial Flood Risk | Kristen Louis | Y
BPDT Guidance | 7.248 | This worksheet provides a summary of rising and lateral mains (RLMs) expenditure. Costs and volumes for these activities should be entered in this worksheet and not in CV7 - Asset Replacement or CV31 – Repair and Maintenance. | Error | This worksheet provides a summary of rising and lateral mains (RLMs) expenditure. Costs and volumes should be entered in this worksheet and not in CV7 - Asset Replacement or CV31 – Repair and Maintenance. | Kristen Louis | Y
BPDT Guidance | 7.259 | 7.2637.259 Beneath the asset reporting this worksheet collects four categories of costs by four voltage levels (LV, HV, EHV and 132kV), which are defined in ED3 BPDT Glossary | Error | 7.2637.259 Beneath the Cost Type split this worksheet collects four categories of costs by four voltage levels (LV, HV, EHV and 132kV), which are defined in ED3 BPDT Glossary | Kristen Louis | Y
BPDT Guidance | 7.318 | The ED3 BPDT Glossary provides further examples of cost allocation for typical scenarios. In the event a DNO identifies any conflict between these examples (above or in the Appendix) and the principles set out in the opening chapters of this document, the licensee must follow the principles as closely as possible and identify in its reporting commentary the identified conflict with the examples. | Error | 7.3207.318 The ED3 BPDT Glossary provides further examples of cost allocation for typical scenarios. In the event a DNO identifies any conflict between these examples (above or in the Appendix) and the principles set out in the opening clause paragraph 3.18, the licensee must follow the principles and identify in its reporting commentary the identified conflict with the examples. | Kristen Louis | Y
BPDT Guidance | 7.358 | It should be noted that DNOs are not required to bring their entire network up to a standard that is compliant with ETR 132. DNOs are only required to bring strategic overhead lines up to this standard. The DNOs total network compliance should therefore be considered against the level of strategic overhead lines on their network. | Addition | It should be noted that DNOs are not required to bring their entire network up to a standard that is compliant with ETR 132. DNOs are only required to bring strategic overhead lines up to this standard. The Regulatory Impact Assessment undertaken by the Department of Trade and Industry [HR18.1]assumed that 20% of each DNOs HV & EHV overhead line networks would be classed as strategic. The DNOs total network compliance should therefore be considered against the level of strategic overhead lines on their network. | Kristen Louis | Y
BPDT Guidance | 7.389 | Employees | Error | Employee | Kristen Louis | Y
BPDT Guidance | 7.407 - 7.408 | 7.407 For LCN fund, This worksheet records costs and volumes for projects that have previously been funded, undertaken and completed through DPCR5 and RIIO-ED1. It was assumed that all such projects would be complete by the end of RIIO-ED1 and thus no costs would be forecast in RIIO-ED2. 7.411 There is a memo table included in row 226 to capture any costs in relation to LCN fund. | Error | 7.407 For LCN fund, this worksheet records costs and volumes for projects that have previously been funded, undertaken and completed through DPCR5 and RIIO-ED1. It was assumed that all such projects would be complete by the end of RIIO-ED1 and thus no costs would be forecast in RIIO-ED2. 7.408 LCN fund expenditure should be reported in the in row 226. | Kristen Louis | Y
BPDT Guidance | CV43 | CV43 – Smart Street | Addition | CV43 – Smart Street (ENWL only) | Kristen Louis | Y
BPDT Guidance | 7.428 | The purpose of this worksheet is to report volumes and costs related to voltage management. DNOs should only complete this worksheet where voltage management is the primary driver of the investment or action. This is to avoid double counting of volumes and costs reported in other worksheets. | Error | The purpose of this worksheet is to report volumes and costs related to voltage management. DNOs should only complete this worksheet where voltage is the primary driver of the investment or action. This is to avoid double counting of volumes and costs reported in other worksheets. | Kristen Louis | Y
BPDT Guidance | 9.1 | The purpose of the volume (V) worksheets is to collect total asset population volume data and the number of asset and disposals for each asset type. The information provided will be used in conjunction with the cost data to provide information regarding the unit cost for assets and additionally feeds into the calculation of MEAV. | Error | The purpose of the volume (V) worksheets is to collect total asset population volume data and the number of asset and disposals for each asset type. The information provided will be used in conjunction with the cost data to provide information regarding the unit cost for assets. | Kristen Louis | Y
BPDT Guidance | 9.5 | • Decommissioned UG Cable (Oil & Gas) 33kV - Pressurised • Decommissioned UG Cable (Oil & Gas) 66kV - Pressurised • Decommissioned UG Cable (Oil & Gas) 132kV – Pressurised | Error | • Decommissioned 33kV - Pressurised • Decommissioned 66kV - Pressurised • Decommissioned 132kV – Pressurised | Kristen Louis | Y
BPDT Guidance | V3 | - | Addition | V3 – Connections 9.8 This worksheet is for the input of Connections volume data to V1 – total asset movements. 9.9 This asset volume data to be reported in this worksheet relates to asset movements for all Connections activity whether the activity is within or outside of the Price Control. This is because it is not possible to split assets between these activities. | Kristen Louis | Y
BPDT Guidance | 9.1 | This worksheet records asset addition and disposal volumes which are not then recorded in the other V tables, - V2 Cleansing, or in the V5 volume matrices, or in C2 - Connections. Where volumes occur and they are not reported in these tables (directly or indirectly), DNOs should put the volumes in this worksheet. Examples of when this might occur includes: | Error | 9.89.10 This worksheet records asset addition and disposal volumes which are not then recorded in the other V tables, - V2 Cleansing, V3 Connections or in the V5 volume matrices. Where volumes occur and they are not reported in these tables (directly or indirectly), DNOs should put the volumes in this worksheet. Examples of when this might occur includes: | Kristen Louis | Y
BPDT Guidance | 10.14 - 10.19 | 10.14 Transport includes, as defined in the BPDT Glossary, the costs of: •10.15 Vehicles and Transport (Non-Operational); and •10.16 Vehicles and Transport (CAI) 10.17 Materials, for the purposes of this worksheet, refer to the Materials Cost Type defined in the(BPDT Glossary less: •10.18 Vehicles and Transport (Non-Operational) •10.19 Vehicles and Transport (CAI) | Error | 10.14 Transport includes the costs of: •10.15 Vehicles and Transport (Non-Operational); and •10.16 Vehicles and Transport (CAI) See definitions in the BPDT Glossary 10.17 Materials, for the purposes of this worksheet, refer to the Materials Cost Type (see BPDT Glossary) less: •10.18 Vehicles and Transport (Non-Operational): •10.19 Vehicles and Transport (CAI): and | Kristen Louis | Y
BPDT Guidance | 10.22 | Fill in your ongoing efficiency assumption as a % of Totex costs on row146. | Error | Fill in your ongoing efficiency assumption as a % of Totex costs on line 146. | Kristen Louis | Y
BPDT Guidance | 11.42 | - | Addition | Networks should only include costs for schemes (e.g. Permit schemes, Land Rental Schemes, Clean Air Zones) in their business plan that had at least six months of cost data relating to the scheme. | Kristen Louis | Y
BPDT Guidance | 12.62 | criticaility | Error | criticality | Kristen Louis | Y
BPDT Guidance | 12.76 | - | Addition | Substation Location This column should be populated with the Easting and Northing coordinate for the relevant substation or substation group, using the British National Grid / OSGB36 coordinate reference system, in metres. For a substation, the value should represent the location of the primary substation site. Where a demand group is supplied to by multiple substations, the coordinates Easting and Northing should be separated by a semicolon. | Kristen Louis | Y
BPDT Guidance | 12.115 | - | Addition | EJP Title This column should be populated with the title of the Engineering Justification Paper (EJP) that supports the proposed intervention. This should match the title used in the EJP Index and relevant EJP submission, including the “Name of Scheme” used in the EJP summary table where applicable. | Kristen Louis | Y
BPDT Guidance | Appendix 1 | - | Error | Amended Appendix 1 table layout for accessibility | Labib Uddin | Y

## BPDT
Date | Version | Amendment (incl cell reference)
2026-06-03 | 5 | CV16c - Extreme Heat: Reformatted cells BG28:BI28 to be input cells
2026-06-09 | 5 | S1 - Summary of C1s: Updated formulas in cells CZ72:DD72, DC55:DC58, DB76:DB83, DC76:DC83 to link to the correct sheets and cells
2026-06-18 | 5 | Corrected formulae issues in Cost Matrix tabs ED1-ED3 (rows 90 to 115)
2026-07-10 | 5 | C12 - Core Business Support: Corrected formulae in cells Y9:Y20 to sum the correct cells
2026-07-10 | 5 | CV26 - Faults: Corrected formulae in cells EN135:ER162 to link to the correct cells in V1 - Total Asset Movements
2026-08-07 | 5 | CV1b - removed formulas from greyed out cells in E171:Q171.
2026-08-11 | 5 | CV36 - NIA: added 12 additional rows for both Expenditure by project sections.
2026-08-11 | 5 | CV40 - SIF: added 10 additional rows for SIF Expenditure by Project.
2026-08-11 | 5 | CV36 - NIA: Fixed error-checking formulas in row 22, to corrospond to relevant year, rather than 2028
2026-08-11 | 5 | CV40 - SIF: Fixed error checking formulas in row 22, to corrospond to relevant year, rather than 2028
2026-08-11 | 5 | CV37 - NIC & LCN fund: Fixed error checking formulas in row 22, to corrospond to relevant year, rather than 2028
2026-08-11 | 5 | L1 - Liquidity Licensee, L2 - Liquidity Group and L3 - Liquidity Group Structure sheets are newly included
2026-08-13 | 5 | C2 - Connections: added a summation formula in BS78:CJ78 and BS149:CJ149 so M14 - Drivers row 38, 39 reference data
2026-08-14 | 5 | C2/C2a/C2b - TANCI: Updated EJ1:EK1 to use 33kV Transformer (GM) as the TANCI base asset and added an XLOOKUP in EK1 to return the MVA per £1m for the selected asset.
2026-08-14 | 5 | CV1/CV1a/CV1b/CV3/CV3a/CV3b - TANCI: Updated ED1:EE1 to use 33kV Transformer (GM) as the TANCI base asset and added an XLOOKUP in EE1 to return the MVA per £1m for the selected asset.
2026-08-14 | 5 | C2/C2a/C2b - TANCI: Updated the Normalisation Factor formulas in EL159:EL267 for applicable TANCI asset rows to use the value in EK1 as the normalisation base, using the formula pattern =IFERROR($EKrow/$EK$1,"-").
2026-08-14 | 5 | CV1/CV1a/CV1b/CV3/CV3a/CV3b - TANCI: Updated the Normalisation Factor formulas in EF28:EF131 for applicable TANCI asset rows to use the value in EE1 as the normalisation base, using the formula pattern =IFERROR($EErow/$EE$1,"-").
2026-08-14 | 5 | C2/C2a/C2b - TANCI: Updated the TANCI section in EG159:EL267, FA159:FE267 and FH159:FH267 to grey out and remove reporting/calculations for non-capacity-increasing and non-applicable assets, including secondary assets in C2, in line with the TANCI Asset List.
2026-08-14 | 5 | CV1/CV1a/CV1b/CV3/CV3a/CV3b - TANCI: Updated the TANCI section in EA28:EF131, EU28:EY131 and FB28:FB131 to grey out and remove reporting/calculations for non-capacity-increasing assets in line with the TANCI Asset List.
2026-08-14 | 5 | C2/C2a/C2b - TANCI: Added Gross Total formulas to row 268 of the TANCI section in EI268, FA268:FE268 and FH268.
2026-08-14 | 5 | CV1/CV1a/CV1b/CV3/CV3a/CV3b - TANCI: Added Gross Total formulas to row 132 of the TANCI section in EC132, EU132:EY132 and FB132.
2026-08-14 | 5 | C2/C2a/C2b - TANCI: Updated row 195, 20kV CB (GM) Primary Switchgear, to be an active TANCI reporting/calculation row, including the relevant TANCI cells in EG:EL, FA:FE and FH.
2026-08-17 | 5 | Updating ILD debt cohorts from RPI and CPI/CPIH to RPI/CPIH and CPI: Changing labels on F2a, F1 and I3. Added CPI forecasts to universal data and F2a to enable these to work. And adjusted to CPI index to be calculated on the basis of CPI rather than CPIH
2026-08-17 | 5 | I3 - fixing linked cell issues on debt data: row 635:644 and 604:606
2026-08-18 | 5 | CV33 - Substation Electricity: Updated formulas in cells AN137:AR139 to link to the correct sheets and cells
2026-08-18 | 5 | CV11 - Op IT & Telecoms: Added extra rows for inputs under the 'By project/programme/initiative' section
2026-08-18 | 5 | CV11 - Op IT & Telecoms: Added a row for 'Installations of monitoring equipment' under the 'Memo: DSO' section
2026-08-18 | 5 | CV37 - NIC & LCN fund: Renamed the Memo in row 225 to 'LCN fund' and updated the error check formulas in row 22 to include the LCN fund
2026-08-19 | 5 | Error check formulas in R180:V180 in CV16a - Flood Mitigation updated to reference the correct cells from M1 - Flood Mitigation (Site).
2026-08-19 | 5 | CV8 - Refurbishment Non NARM: Cells in AS95:AU95 converted to summation formulas (from cells that were formatted for hardcoded values) and formatting in cells AS95:CE95 corrected.
2026-08-19 | 5 | C13 - IT&T (BS) and C14 - Property Mgt (BS) cell Y4 corrected to say ED3 rather than RIIO-ED2.
2026-08-19 | 5 | C24 - Related Party Margin: Corrected cells in column A that import the name of the related parties from Fixed Inputs (the names occur in column B of Fixed Inputs rather than column A).
2026-08-19 | 5 | M1 - Flood Mitigation (Site): Summation formula in AM608 corrected so it sums for ED3.
2026-08-19 | 5 | NARM4 - ED3 NARM Risk Movement: Formulas in row 78 (Sub Cable) updated to also sum row 46 (EHV Sub Cable).
2026-08-19 | 5 | LI - Substations/LI - Substation Groups: Formula Changes Column DD: Old: =IF(BO11=0,""-"",(AU11)/BO11) New: =IF(BO11=0,""-"",(AU11+CU11+CY11)/BO11) Formula Changes Column DG: Old: =IF(BO11=0,""-"",(AU11+DB11)/BO11) New: =IF(BO11=0,""-"",(AU11+CU11+CY11+DB11)/BO11)"
2026-08-19 | 5 | CV29 - Tree cutting; AN86:AR86, AN94:AR94, AN102:AR102, AN110:AR110; Changed reference to correct ED3 year.
2026-08-19 | 5 | C16a - Flood Mitigation R180:V180 checks cells references corrected
2026-08-20 | 5 | M15 - MEAV, corrected formula in W10 from 'V1 - Total Asset Movements'!CO10*E9 to ='V1 - Total Asset Movements'!CJ10*E9
2026-08-20 | 5 | C26 - Cyber Resilience, additional rows added for further PCD entries and rows for additional project information
2026-08-20 | 5 | C25 - Shetland, corrected check formula in row 22
2026-08-20 | 5 | C1 Cost Matrix tabs, column BP, Reformat indirects allocations for Cyber Resilience to input cells (in same manner as RRP)
2026-09-01 | 5 | I3 - BPFM Inputs, Tariff Charge price base conversion is removed
2026-09-01 | 5 | I3 - BPFM Inputs, Cyber Resilience Treatment remapped into totex
2026-09-01 | 5 | I3 - BPFM Inputs,Voltage management is now restructured to pass through the totex values
2026-09-01 | 5 | I3 - BPFM Inputs, Rows 943 to 946 and 949 to 951 formula changed to remove double counting
2026-09-02 | 5 | I2 - Monthly Inflation updated RPI, CPI and CPIH outturn data till July 2026
2026-09-02 | 5 | 3 new columns added for Easting/Northing and EJP title in LI - Substations and LI - Substation Groups.
2026-09-03 | 5 | CV5 - Diversions: Added relevant rows so there is space for the details of 10 rather than 4 rail electrification projects.
2026-09-03 | 5 | NARM3 - ED3 NARM Profiles -columns CE:CX that were capturing Fault, Gen Reinforcement and all other movements removed from template.
2026-09-03 | 5 | NARM1-NARM4: Headings saying THIS TABLE WILL BE UPDATED IN FUTURE BPDT VERSIONS have been removed.
2026-09-04 | 5 | NARM2 - ED2 NARM Profiles: Headings in row 8 corrected to make them consistent with the headings that appear in the guidance document.
2026-09-04 | 5 | M4 - Vulnerability Deliverables: Added 8 additional rows to this sheet.
2026-09-08 | 5 | CV1 - Primary Reinforcement, CV1a and CV1b; for CV1 and CV1a, the formula for costs in cells E308:V308 changed from summing 'All capacity constraints' (row 307) to summing 'Contracted flexibility' (row 309) plus 'Flexibility despatch' (row 311). The change in the CV1b sheet applies to cells R308:V308.
2026-09-08 | 5 | CV2 - Secondary Reinforcement, CV2a and CV2b; for CV2 and CV2a, the formula for costs in cells E161:V161 changed from summing 'All capacity constraints' (row 160) to summing 'Contracted flexibility' (row 162) plus 'Flexibility despatch' (row 164). The change in the CV2b sheet applies to cells R161:V161.
2026-09-08 | 5 | LI - Substations and LI - Substation Groups: Heading in cells CS8 has changed from "Is a reinforcement to increase firm capacity for this demand group planned over ED3? (Should be marked ‘no’ when the reinforcement driver is non-LRE (eg. asset health, faults))." to "Is a reinforcement to increase firm capacity for this demand group planned over ED3 and included in CV1a? ".
2026-09-09 | 5 | M25 - Updated table to include Voltage management
2026-09-09 | 5 | Included Distribution Network Voltage Control Services (DRS 16), Fines and penalties into controllable opex and removed the DRS from the DRS section in I3-BPFM as it is included in totex
2026-09-09 | 5 | NARM1 - Risk Index Weighting: entry cells enabled to facilitate DNO restatement exercise.