From: 	chris thomas

To:	BETTA ConsultationResponse

Date: 	Sun, Feb 9, 2003 12:35 am

Subject: 	Response to first BSC Consultation

Email to Mr David Halldearn, BETTA.consultationresponse@ofgem.gov.uk

6th February 2003

Response to first BSC Consultation:

The Balancing and Settlement Code under BETTA

This is a response to Ofgem consultation paper 80/02, published in December

2002.   It is prepared from the point of view of independent generators

operating in Scotland.

Separate responses will be made in respect of the consultation papers

relating to Grid Code, CUSC and SAS.

The principle of extending a competitive market to cover the whole of Great

Britain is fundamentally sound.   Nevertheless, there are a number of

structural differences between the industries north and south of the border

that, if not carefully addressed, will result in continuing disadvantage for

generators in Scotland.   It is not clear that introduction of BETTA will in

itself be enough to correct these issues.

1. Para 5.7.   In the same way as it may be necessary to retain "England and

Wales" with respect to certain legal issues, it will be necessary to include

similar sections referring to Scots law.

2. Para 5.8.   Given that there will be only one system operator, and that

the system that it operates is already interconnected, it seems that the

definition of "Interconnected System Operator" is redundant.   The GBSO is

one anyway.  It is then only a matter of allowing one DSO to continue to

have its connection to the Isle of Man.

3. Para 5.9.  Where confusion may occur, would it not be sufficient to add

"GB" in front of the relevant term?

4. Para 5.15.   I see no reason why the Transmission Owners need to be a

party to the BSC, as they will have no cause to wish to influence the

market.   Any representation that they may need with the GBSO would be dealt

with more appropriately through the Grid Code and CUSC panels.   However,

given that the TO is likely to have a role as a meter operator, it would be

appropriate for the TO to be represented (perhaps without a vote) on any

metering panel.

5. Para 5.16.   It would not seem unreasonable for disputes arising solely

in Scotland to be dealt with under Scots law.   Additionally, where the

principle of lex situs applies to part of a case, it would make sense for

the whole of that case to be dealt with under Scots law.

6. Para 5.28.   Care will be needed on representation.   While it is not

clear that the TO would have any need to be represented on a BSC panel other

than in his role as meter operator, NGC would be seen to be, de facto,

representing its interests as a TO as well as being GBSO.   This could

result in demands from the Scottish TOs to be similarly represented.

7. Para 5.30.   There is enough change to do without bringing in more.   I

suggest that the panel membership is extended slightly to include the

existing membership and one or two new ones with a business base in

Scotland.

8. Para 8.34.   Now that the due date has slipped to October 2004, with a

backstop of April 2005, this may no longer be an issue.  Six months payments

(or less) could hardly be described as a reasonable contribution by the

Scottish companies towards the costs of NETA.   Perhaps instead the Scottish

companies should bear a proportionately larger share of the costs of setting

up BETTA, or pay a levy towards the running costs of the balancing system.

9. Para 5.44.   The definition of a GSP in the existing BSC would

effectively mean that every 132/33kV and 132/11kV substation in Scotland

becomes a GSP.   This would lead to a very large number of GSPs in Scotland,

though with very limited opportunities to trade beneath a GSP without

incurring TNUoS charges.   It also contrasts starkly with the present

position where each of the two licensed areas is regarded as a single GSP

for NETA purposes.   In order for the settlement system to function

effectively, a more manageable number of GSPs would be beneficial.

10. Para 5.51.   The situation in Scotland is in fact more complicated at

present than it appears from this paragraph, since exports into the English

market are metered at Harker and Stella, rather than at the point at which

they enter "the interconnector", yet interconnector losses are assessed

separately.   The same may be the case with Moyle.   The calculation of

generation from the Scottish Company generation therefore has to take

account of calculated losses on two separate transmission systems and three

interconnection circuits.   If the whole of the transmission system is to

function as one, with losses met by its Users through TNUoS charges, it will

be essential for all Scottish generating stations to be properly metered in

order to remove any incentive to overestimate losses (paid for through other

users TNUoS charges) and thus increase the apparent generation for which

payment is received.

11. Para 5.55.   It follows from the above that any application for

derogation in respect of metering standards should be subject to very close

scrutiny, with a method of loss assessment set in such a way that output

cannot be overestimated.   There should be a strong presumption in favour of

the installation offully compliant metering.

12. Para 5.57.   To a very large extent, the Galloway hydro system of SP

also functions as a cascade, even though the generating stations are

connected individually to the 132kV transmission system.   It is not,

therefore, restricted to the North of Scotland.

13. Para 5.59.   I suggest that cascade hydro schemes could be dealt with in

a manner similar to the consolidation function for windfarms, thus allowing

the output of nominated stations to be aggregated for settlement purposes.

Doing this has the advantage that the mechanism already exists.

14. Paras 5.62 et seq.   I regard it as essential that generators throughout

the BETTA area should be able to compete equally.   It will therefore be

necessary for the licence exemption levels to be standardised, so that all

generators of a given size face the same levels of bureaucracy.   Similar

points have been made in respect of the Grid Code and CUSC.   In this

respect, the voltage level at which they are connected also becomes of

significance, in determining whether or not generators are embedded, and

thus which of the various system charges they have to pay.   It is not

sufficient to rely upon payments for ROCs as paying for excess charges faced

by renewable generators, as this income stream is not guaranteed in terms of

its level or duration.

15. Para 5.79.   Introduction of metering at power stations will mean that

losses can be assessed more accurately.   This is essential if metering at

the Scottish border is to be eliminated.   This will have the further

benefit that losses on the former interconnector circuits will automatically

be assessed as part of the transmission system losses.

16. Para 5.84, fifth bullet.   The reduction in assessed losses would be

welcome.   However, inclusion of the losses arising on the former

interconnector circuits may have the result that the reduction of losses is

not quite as great as suggested.   Will loss-related costs faced by Users in

England and Wales rise?

17. Para 5.85.   The averaging of losses is probably essential if sufficient

renewable generation is to be built to meet the Government renewable

targets.   While this represents a market distortion, it is doubtless much

easier to do it this way than to introduce a levy on non-renewable Users by

which renewable Users are compensated for the higher costs that their

longer-distance transmission would otherwise incur.

18. Shetland.   Given the nature of comparatively-small islanded systems, it

is likely that there will be a continuing need for some form of control over

despatch of generation in the Shetland Isles.   For settlement purposes, it

would be easy to regard Shetland generation as contributing to the common

pot.   However, this would have to be accompanied by the assumption that the

island was connected to the mainland by a virtual connector (ie, a

connection of zero capacity), which could then trigger constraint systems to

ensure that island generation did not exceed island load.   This could

result in it being rather profitable NOT to run generation in Shetland -

which clearly needs to be avoided.   Alternatively, if the islands are to be

regarded as a separate system, despatch could continue as now, with

arrangements to give priority to renewable generation.

It will be essential to ensure that GB-based suppliers cannot claim ROCs

from output that would have been produced in Shetland had it not been

constrained off due to lack of capacity on the virtual mainland cable.

There also needs to be some system that recognises that actual costs on the

Islands are likely to be higher than those on the mainland, and makes

appropriate arrangements for those costs to be met.   At present, the

England and Wales market does not contribute to this.   Perhaps under BETTA

it should?

19. Turning to the grid-connected islands, the connection capacity available

on many of theses island groups is severely constrained, both by cable

capacity and by the need for voltage regulation over significant distances.

In a system where shallow connection policies exist for transmission

connections, consideration needs to be given to the treatment of connection

costs, and the TNUoS costs involved with island-based generators competing

in the BETTA market.   While it is essential that the BSC encourages and

facilitates competition, and that best use is made of renewable resources,

care needs to be taken to ensure that the market is not faced with excessive

costs for connection - or constraint.

I trust that these few comments will be useful.   Please call me if you wish

to discuss any of the points further.

Kind regards

Chris Thomas

Wisenergy

Independent Consultant in Energy Regulation and Renewables

(Partners: EurIng Christopher Thomas BSc CEng FIEE MIGasE and Susan Thomas

PSDip)

Tel/Fax: 01746 764630. Email wisenergy@hotmail.com

7 Severn Crescent, Eardington, Bridgnorth, WV16 5JY, UK

_________________________________________________________________

Chat online in real time with MSN Messenger http://messenger.msn.co.uk