# Box Ten Ltd

PO Box 1010, Nottingham, NG5 8TF

(GB telephone 07973 110 010)

### “Don Stickland’s Views”

- A FORMAL RESPONSE

to the Ofgem Consultation Paper

titled

“Electricity distribution losses – 03/03”

(dated January 2003)

# Date of this RESPONSE:

## 24 February 2003

[Losses-Response to Ofgem Consultation 03-03_v1]

Introduction

This Response is written in reply to the Ofgem Consultation Paper titled "Electricity distribution losses - 03/03". Basically I think that the    document is a good summary as far as it goes, of a very difficult area, but seems to me to play down the importance of the need to have a good "Measurement" approach - for without good reliable measurement(s) I do not see how the "problems" of losses can be properly managed, and also seems to play down the GSPGCF associated problem in Settlement. Indeed, there are parallels between the Settlements issue of Supply Businesses, and the Losses issue of Distribution Businesses, as both should involve the matching of total inputs and outputs to a system (e.g. a GSP Group) over an accounting period.

# VIEWS ON THE ISSUES RAISED IN CHAPTER 4

#### General

The Reporting of Electrical Distribution Losses appears “glossed over” in Chapter 4, to this Respondent. This is because the approach of this Ofgem document appears to take the reported losses [e.g. the reference to Table 1.1 in para 4.6 on page 12] as completely factual, although hidden away in Appendix 1, page 34, para 1.8, there is a very strong statement “important for all stake holders to adopt a consistent definition and method of measuring losses.”. Consequently, this Respondent recommends that consideration be given to adopting Patent GB 2309086, and “Date Britain” methods, to match all the inputs and all the outputs of each GSP group each year, and each sub element of that group, so that annual losses can be systematically determined. Once each DNO has a grip on what the measured annual losses were, then progress can be tracked as to the results of each DNO’s actions etc. [Date Britain Water is attached which explains this approach].

Specific (re page 21)

Q Are there any other areas in which losses can be reduced? A It is the view of this Respondent that most of the so-called “Non-technical losses” arises from errors in administration of information about connection points to any specific feeder. In other words, whilst some of the losses may be due to “illegal connections” of which the DNO is ignorant, others are due to connections of which the DNO should not be ignorant. Consequently, if the DNO has the “Date Britain” tool with which to determine which of the DNO’s feeders are showing abnormal measured losses – when compared to similar feeders within and without that DNO – then the DNO would be in a position to identify “overlooked” connections. Once these are discovered, and then metered, then losses should be reduced relatively in the following accounting period(s).

Q What is the scope for further reducing losses on the 14 DNOs in England, Scotland and Wales? A The present measurement system seems to be imprecise (e.g. page 45, para 2.17 states “the calculation of losses is inevitably an imprecise exercise, given the reliance on infrequent meter readings from most sites, and the lack of any metering at many smaller sites”) and so the “Date Britain” approach should give increased precision to determine annual losses (which incidentally could also be used as a cross check on the Settlement GSPGCF calculation.) Once a reliable measurement baseline is in place, then it should be possible to assess the dispersion of measured losses, for feeders from substations which are in similar situations – and which therefore should record similar levels of losses! The subjective view of this Respondent is that there is material scope for further reducing losses on the 14 DNOs in England, Scotland and Wales – but this subjective judgement is based on the assumption that initial results from a tapered introduction of “Date Britain” would show that not all connections on a particular feeder were counted in, or metered properly, or properly assessed if un-metered.

One point should be borne in mind: as the mix of connections at different voltage levels might change over time – for example as a result of entering a post industrial period or as a result of the introduction of micro-generation – losses might change due to circumstances which would be outside the control of a DNO. In such a situation, it would seem to be unreasonable to penalise a DNO for adverse movement in measured overall losses.

Q Is Ofgem’s view [that the current incentive on distribution losses is too weak and losses are currently higher than what is optimal] the correct one? A Variations in the Settlement GSPGCF’s would indicate this, to this Respondent, but the weasel word – of course – is “optimal”; some definition is needed here!

Q Which specific efforts are likely to be overall cost effective, bearing in mid that the cost of losses may be 3p/kWh? A “Date Britain” – for which the Patent costs are currently estimated to be of the order of a couple of newspapers a day for each of the 14 DNO’s seems to be pretty cost effective. Supplementing this with a cross check of National TV licence records for Profile Classes 01 and 02 for any substation output feeder showing “abnormal” losses values seems to be pretty cost effective too.

# VIEWS ON THE ISSUES RAISED IN CHAPTER 5

#### General

As before, any treatment of losses should be based on auditable measurements, for example as in “Date Britain”.

Specific (re page 30)

Q What is the appropriate valuation of losses? A Losses have to be evaluated on an auditable measured basis – “Date Britain” methods can provide this basis; once the figure for losses has been ascertained, then they could be multiplied by an appropriate cost figure – which should be demand or loss related weighted, rather than time- weighted.

Q Is it appropriate to include a value for environmental impact and, if so, is the method used in this document appropriate? A Only if other goods and services are also evaluated on the same or very similar basis, otherwise there will be a skewed effect; subject to this proviso, the method suggested in the Consultation document might be appropriate – but I cannot be more certain than that, at this stage.

Q What are the most important factors in assessing the merits and demerits of alternative incentive schemes? A Are they [the alternative incentive schemes] based on auditable measurements, or do they suffer from the problems of subjective “micro-management” by the Regulator? If the DNO is not doing the management, then where is the incentive on the DNO?

Q What are the merits and demerits of an input based versus an output based incentive scheme? A As it is asserted that an input based mechanism “avoids the problem with measuring losses” [see para 23 on page 26] it is the opinion of this Respondent that it should be avoided, as being too subjective and possibly artificial. “Date Britain” methods are perceived by this Respondent as being based on measurement, so that DNO’s can track how they are performing against loss reduction targets.

Q What are the merits and demerits of the alternative options for incentivising losses? A Option 1 – as a variant on Option 3 – appears to this Respondent to have some merits over Option 2 (this is because Option 2 for NGC depends on having true Half Hourly values to compare, which of course are not directly available on an auditable basis when looking at distribution systems which have a significant amount of Non-Half Hourly customers – unless “Date Britain” type measures are utilised).

Q Would it be appropriate to introduce an incentive scheme that differentiates between variable, fixed and non-technical losses? A Only if there were an auditable set of measurements of overall actual losses which could act as a “corset” into which the sum of assessed variable, fixed and non-technical losses had to fit – even so, these separate components should be each split between those parts which a DNO could influence, and those parts a DNO could NOT influence.

Q Would it be appropriate to introduce an incentive scheme that differentiates between losses occurring at different points in time? A No, because of the uncertainty of producing auditable figures – unlike “Date Britain”; but it would be appropriate to introduce an incentive scheme that differentiates between losses occurring at different points in space, i.e. on different voltage “sections” of a DNO’s system – for reasons already explained.