## Sheet1
Consolidated list of embedded network issues discussed at meeting between DNOs and Ofgem 17-08-04
This version produced 18-08-04 ( Mike Smith WPD) (amended 20-08-04 B Berwick CN) |  |  |  |  | DNO draft proposals for where issues should be resolved and by who - NB these columns NOT sent to Ofgem
New | Original no. | Issue | Brief explanatory comment | Business Area | WPD | Central Networks
1 | 11, 66, 95,97 | Respective duties under ESQCR - s25 not to connect if non compliant), s15 mains records, s28 information provided on request, s29 discontinuity of supplies, s27 declared characteristics NB volts. , s 31(2b) accidents in connected customers installations | What Standards set? What information must be given to DNO? Do EDNs have protected consumer status in event of load shedding? | Statutory requirement/New Agreements | ENA RG new SG2 - reg/safety group. | Agree with WPD
2 | 7 | Combined Connection/UoS agreement. | These already exist. Eg WPD/MANWEB “wheeling agreement”. Should the same commercial terms as for any supplier for billing purposes should apply? | New Agreements | ENA RG new SG1 - WPD have developed a draft also work has been done by Mike Harding via DCG.. | Agree with WPD - CN have an existing Agreement. Can share with other DNO's
3 | 18, 19 | Radio Teleswitch Agreement MOCoPA RP COP, use of DTN | Compile list of standard industry agreements – do IDNOs need them all? What additional permissions etc to use? | Existing Agreements | ENA RG SG1 - this list was prepared some time ago by DCG and is available for circulation. WPD to circulate. | Agree with WPD
4 | 20 | NGT and CUSC | Does IDNO have to be party if not directly connected? | Agreements | ENA RG SG1 - | Agree with WPD
5 | 24 | The “pick and mix” approach to CiC.. | IDNO may wish to retain the embedded network and get CN to adopt the off site section of the network ?NRSWA status of IDNO | Commercial | ENA RG SG2 - | ENA RG SG1 -
6 | 34 | The same commercial terms as for any supplier for billing purposes should apply | A generic industry contract may be desirable | Commercial | ENA RG SG1 - to pursue with Credit Cover Working Group | Agree with WPD - We understand that a number of Credit Cover Working Group members agree to this
7 | 26 | What are the obligations on an IDNO to pay a DNO for the costs of rectifying dangerous situations identified from a misplaced call? | Issue raised at IREG on customer information on who to call Emergency service /call out issue. Customer interface | Customer interface - emergency | ENA RG SG2 - to pursue with IREG | Include in CUoSA - Hence SG1
8 | 66 | Network Records and End Customer, | CN / IDNO obligations Emergency services, ESQCR/NRSWA duties. NJUG? | Customer interface - emergency | ENA RG SG2 - to pursue with NJUG | Agree with WPD
9 | 75, 76 | Emergency and safety issues | Co-ordination in emergencies – NGT instructions/bad weather. Emergency handling Electrocution / knock downs - car accidents/ 3rd party damage,/ customers installation ( Note ESQCR Reg 31 (2b)) | Customer interface - emergency | ENA RG SG2 - | Agree with WPD
10 | 98 | Rota shedding | If embedded network is licensed, how will they be incorporated into existing plans, and LF trip regimes? Easy if they are 11kV embedded, but not so easy if 33kV or bigger. Emergency | Customer interface - emergency | ENA RG SG2 - existing DUoSA covers this area | Agree with WPD
11 | 23 | Meter Operator Services | CN’s obligation to offer services even for customers connected to the Embedded Network | Metering / Settlement | ENA RG SG1 | ENA RG SG1- Recent Ofgem decision placed obligation on host DNO.
12 | 37 | Urgent metering services | Who is responsible? MOP or Distributor – which Distributor? Emergency actions | Metering / Settlement | ENA RG SG1 - to pursue with DCG who have been looking at UMETS agreement with suppliers. Refer to DCG. | ENA RG SG1 - This is a Distributor not a MOP obligation. Therefore the IDNO responsible.
13 | 46 | BSCP515 | DNO obligations under BSCP 515 relate to receipt of the connection request, determining llfs and confirmation of revision to aggregation rules. | Interface Metering / Settlement | SG1 - Elexon | Agree with WPD
14 | 64 | Aggregation Rules | Do these connections impact on our aggregation rules. Does BSC cover this? | Interface Metering / Settlement | ENA RG SG1 - to pursue with Elexon | Agree with WPD
15 | 10,65 | Impact of change of status of IDNO/trading of whole or part distribution businesses | Migration issues What are the implications (eg MPAN, DUOS etc) if IDNO changes from private network to unlicenced network<2500 to licenced>2500 or vice versa? How much retrospective? Also, partial transfer of assets from one distribution business to another. Critical that robust processes are in place as volumes rise. | Migration | ENA RG SG1 - to pursue with MRA Development Board - Migration Issues Working Group. This group is already in place but we need to ensure that they pick up on issues that impact on DNOs. | Agree with WPD
16 | 2 | Regulatory treatment of revenue | Should it be excluded service duos, IDNO charges, connection charges and added services | Reg | Ofgem to review and make proposal back to ENA RG SG1 | Agree with WPD
17 | 3 | Nested Networks DNO- IDNOA - IDNOB | Would DNO know about it – especially micro-generation – does it count towards DNO DG incentive? | Reg | Ofgem to review and make proposal back to ENA RG SG1 | Agree with WPD
18 | 4 | How a Licensed embedded network will discharge LC9 – Distribution Code | A licensed embedded network needs a D Code – which it needs to maintain. It makes sense to have a common GB D Code – but how will they participate in DCRP? As a User – or as a DNO. Implies they’ll have to join DNO Reps group – and hence ENA. What Dcode? CommonDcode? ENA membership/ Interface between Dcodes DNO/IDNO/IDNO2 etc?Desirability of common IDNO DCodesAlso GB D Code requires compliance with ENA docs. What are the implications here?) | Reg | Ofgem to review and make proposal back to ENA RG SG1 | Agree with WPD
19 | 5 | The same credit cover arrangements as for any supplier should apply | Need common UK IDNO framework | Reg | Ofgem to review application output of Credit Cover Working Groups and make proposal back to ENA RG SG1 | Agree with WPD
20 | 6 | Same terms for bad debt should apply | treatment should be same across UK – what actions available? | Reg | Ofgem to review application output of Credit Cover Working Groups and make proposal back to ENA RG SG1 | Agree with WPD
21 | 8 | Set up Costs | Treatment of costs ? 1st / 2nd comer DPCR4? Will we be able to recover costs associated with system developments, contracts etc? If so, who pays and how do we ensure equitability if charges directed at new distributors? 1st comer/2nd comer our network/new distributor network issues? | Reg | Ofgem to review and make proposal back to ENA RG SG1 | Agree with WPD
22 | 9 | DLOR issues will be influenced by what is in IDNO Licence - eg if IDNO does not build to recognised DNO standards and then winds up.Licenced or unlicenced DO | Distributor of last resort issues? Compulsory standards eg G81? What do Ofgem believe will happen then? What if it is a deliberate ploy – forming ABC (Devon 2004) ltd to avoid CiC Standards? | , | Ofgem to review and make proposal back to ENA RG SG1 | Agree with WPD
23 | 13 | Competition Act | IDNO must be subject to same constraints / penalties as DNO eg IIP, GSs CsoS etc otherwise unfair competition. | Reg | Ofgem to review and make proposal back to ENA RG SG1 | Agree with WPD
24 | 14 | Connection charge regs | ? impact / responsibilities / records | Reg | Ofgem to review and make proposal back to ENA RG SG1 | Agree with WPD
25 | 15 | Boundary metering and consequential issues if not provided | If no boundary metering and reliance placed on aggregated MPAN info, losses on IDNO network would be seen as DNO losses. What if IDNO <2500cust/2.5MW and no MPAS? P62/BSCP515 | Reg | ENA RG SG1 - to raise with Elexon | Agree with WPD - Presumably host DNO can insist on installing Boundary Metering - but at whose cost?
26 | 21, 28 | Regulatory treatment of IIP issues -CML, CI and interaction with MPANs. | If host DNO issues MPANs then exclusion from IIP customer count/fault reporting etc. | Reg | Ofgem to review and make proposal back to ENA RG SG1 | Agree with WPD - Comment: Licensed IDNO's should issue their own mpan's. No need for host DNO except in the rare circumstance where new IDNO will only operate in one host Network.
27 | 25 | Are unrestrained DUOS tariffs for commercial customers within IDNO’s areas in the customer’s interests? | Covered by consultation | Reg | Ofgem consultation | Agree with WPD
28 | 27 | Metering facilities at point of connection between networks andSettlement issues. | Is our DUoS charge to IDNO based upon the sum of meter readings from their export meters or boundary metering? What DNO licence obligations if DNO only operates in that DNO area? Migration issues too. | Interface metering | ENA RG SG1 - migration | Agree with WPD
29 | 38 | Ability to use MPANs for DUOS calcs if across multiple networks / voltages | Linked in with DUOS charging issue. ? Site specific charging If IDNO has multiple sites with varying % usage of DNO system ( dist from s/s), MPANs will not recognise this. DUOS calcs based on MPANs then volatile with connection base. How affected if IDNO operates cross DNOs but has same MPAN 2 digit prefix? | Reg | ENA RG SG1 | Agree with WPD
30 | 44 | Impact of new GSP groups in existing DNO geographic areas. | P62 puts direct connections to the Transmission System out of scope but what about Imperial Park (SP GSP in South Wales) and Baglan Bay Energy Park that is direct connected with the intention to supply customers. | Reg | ENA RG SG1 | Agree with WPD
31 | 50 | Embedded generator connections | Connection charge and information flow issue. Materiality disclosure clauses. Who responsible / pays if to IDNO network but requires action on DNO network eg fault levels / tapchangers / current ratings. And vice versa? | Reg | ENA RG SG2 | Agree with WPD
32 | 52 | Unmetered Connections | IDNO UMSO licence obligation. When customers up-date inventories they will need to know to whose network the connection is being made.Local Authorities will need MPANs/distributor - that will cause considerable complications. DNOs will require systems to ensure that customer provided inventories do not contain connections to Embedded Networks.2 digit MPAN prefix for IDNO working across DNOs is further complexity. | Reg | ENA SG1 to raise with UMS Group /-Elexon | Agree with WPD - Comment: Local Authority may have to provide two inventories. Not an ideal position, probable double counting, but is the amount likely to be significant?
33 | 56 | Connection charges | How do terms shallow and deep relate to end Customers? Esp nested networks – all “shallow” ??? | Reg | SG3 - Reg group | Agree with WPD
34 | 73 | Notice of Planned Interruptions | GS4 requires minimum 2 days notice in writing. Would we need to give additional notice to new distributor to allow them to provide minimum notification to their customers. | Reg | SG2 | Agree with WPD
35 | 78 | Isolation and protection at interface | ESQCR EAW Regs – Operational interface issues. IIP fault response. | Reg | SG2 | Agree with WPD
36 | 80 | Agreed Connection Characteristics | Exceeding max power/interference/safetyVoltage limits +/- | Reg | SG2 | Agree with WPD
37 | 114 | Would normal CinC requirements apply to subsequent connections to the network | Once the network is established, up and running, would customers wishing to connect to it be able to go down a Competition in Connection route with the embedded licensee offering terms for non-contestable works etc etc | Reg | Ofgem to review and make proposal back to ENA RG SG1 | Agree with WPD
38 | 94 | Should the provision of specific Network records to a DNO be explicit defined within an IDNO’s licence requirement? | Two specific areas need to be examined: 1) the requirements for the provisions of schematic and geographical plans.2) the embossing of an IDNO’s assets (including underground cables and ducts) with owners name, contact details etc. NJUG issue - ? marker tape | Reg | Ofgem to review and make proposal back to ENA RG SG1 | Agree with WPD
39 | 85 | Potential Hazards of Parallel Networks in the Highway | How contractors planning work in the highway find out which IDNO’s have cables in any particular area so they can obtain records. Physical separation ? - NJUG | Technical | ENA RG SG2 - to raise with HAUC/NJUG | Agree with WPD
40 | 95 | Do EDNs have any ‘protected consumer’ status in the event of rota load shedding? | How do IDNO’s requirements for connection relate to a DNO’s emergency plan? Records will show only one connected customer with high load requirements. What are the requirements for the provision of information with regards to special customers (e.g. Hospitals)? Emergencies | Technical | ENA RG SG2 | Agree with WPD
41 | 94,97 | Records and identification of buried assets (where there is geographic network overlap). | Safety issues, security of assets - possibility of later live jointing to host DNO cables by IDNO by accident. Earth potential rise touch issues. ? the embossing of an IDNO’s assets (including underground cables and ducts) with owners name, contact details etc. NJUG issue - ? marker tape | Technical | ENA RG SG2 - to raise with NJUG | Agree with WPD
42 | 62 | Clarity for responding to multiple points of connection to establish an interconnected network for a single inset Network. | Are DNO’s obliged to provide multiple points (for purpose of increased security of supply) of connection if it is requested? Application of P2/5 wrt DNO ??? Handling of consequential costs -Operational issue about 3rd party ability to parallel across DNO network. | TechnicalSecurityReg | Ofgem to review and make proposal back to ENA RG SG1 | Agree with WPD - Possibly SG2
| 12 | Technical requirements on IDNO | Are IDNOs subject to same DCode as DNO? | X
| 16 | Inter DNO Agreements | Inter DNO agreements – Connection and Use of System. Who pays for development of model agreements? | X
| 17 | DuoSA with Suppliers | Will new entrants use industry model? Who pays for development/cost sharing/copyright issues? | X
| 22 | Treatment of defaulting IDNO | Cover arrangements? DOLR obligations - Energy ActNo obligations to adoptIncentives to take over unknown / poor condition network?What happens to failed LDSO not adopted by DNO?Ongoing operation by who? Protection of DNO from loss of DUOS? | X
| 29 | Metering, reading & data processing ( assuming boundary metering) |  | X
| 30 | Assessment of losses |  | X
| 31 | Fault reporting | Clarification that host DNO does NOT count customers on embedded network. Responsibility for Guaranteed Standard payments. Planned Outage notification if we are interrupting supply to IDNO. | X
| 32 | What happens if embedded network owner folds and network was built to recognised DNO standards such as those required under CiC? | Similar to WPD but without the problems of network standards. Adoption is a voluntary activity; DNO’s have no “operator of last resort” obligations. What would happen?May link to consultation of LC 4 to make adoption an obligation? | X
| 33 | Is there a need for boundary metering? | How would DNO be able to appropriately/accurately bill DUoS for use of DNO network up to interface? Who pays for it? Is there a point where it becomes in-efficient eg small number of domestic properties? Is there an issue surrounding losses? | X
| 35 | What happens re guaranteed standards for say 18 hour failures | Would we pay one lot of £100 to the non-domestic embedded network owner and then they pay X number £50 to the domestic customers effected? How would proposed semi-automatic payments work? | X
| 36 | Distributor of last resort | In supply there is SOLR, what if new distributor fails/walks away. P62 doesn’t support the principle of Distributor of Last Resort. | X
| 39 | Opex | New distributor installs network – day 1 opex likely to be low but rises over time resulting in less profit. New distributor walks away leaving asset in: what condition, laid to what standards? | X
| 40 | What if DNO wants to connect to Embedded Network? |  | X
| 41 | What duties on who when 3rd party seeks s16 quotation for connection? | If connection would be cheapest off IDNO network? What licence obligations on IDNO | X
| 42 | Connection charge regs duties | How do these impinge on IDNO, or nested IDNO, or non IDNO Customer then fed from IDNO network? | X
| 43 | Credit Cover | General consensus within Ofgem Credit Cover working groups that new arrangements should apply to new distributors. We will, therefore require cover from new distributors. | X
| 45 | Calculation of DUoS charges | There will be no settlement flows for the connection point, although non-settlement metering could be installed. What about same voltage connections? | X
| 47 | Group Correction Factors | We need to be able to identify sales-v-take. Therefore, we require either metering at the connection point or access to billing data. | X
| 48 | Faults / IIP | Impact on CMLs – would new network be regarded as 1 customer or many. (ESQCR and EA refer to another / authorised distributor not Consumer) What about faults on embedded network affecting upstream DNO customers. Compensation liabilities would presumably lie with the new distributor and any ability to back those off with the DNO covered by the combined connection/UoS agreement. | X
| 49 | Embedded Generator Incentives | Where would they lie? | X
| 51 | Embedded generator connections on IDNO network | What duties to advise DNO?What rules for provision of boundary metering then? | X
| 53 | Unmetered connections | What duties on IDNO to perform UMSO role? What if they are not a licenced network <2500 cust/2.5MW? What incentive on them to pursue accuracy if losses end up with DNO?. | X
| 54 | Regulatory Issues | CML/impact of losses on regulatory income | X
| 55 | DUoS charging | Unit related – distributed/wheeled/site specific or generic?Fixed Charges – capacity based/asset based/site specific or generic?Different from DUoS to suppliersLevying DUoS on suppliers – disaggregated and levied by each DNO or aggregated and charged by end DNO/Import/export | X
| 57 | Failure of new distributor | Disconnection/security cover/DOLR obligations (none exist at the moment) | X
| 58 | What happens if the embedded network folds and no one takes it over? |  | X
| 59 | IDNO ceasing to trade | Guarantees that CN could recover costs of any remedial works | X
| 60 | Do EDN Operators have the same obligation to offer connection? | Is the embedded Network operator the default connections provider in their defined area of operation? What are the requirements on the DNO with regards to a request to connect a new customer within embedded network area to the DNO network? How does this fit with section 17 of the licence? | X
| 61 | Request to connect an existing Embedded Network customer to DNO network. | Is there an obligation on DNO to accept request for transfer? How does this fit with section 17 of the licence? | X
| 63 | Line Loss factors (llfs) | There is a requirement in the new BSCP515 to “liaise with the new distributor to ascertain llfs.However, are llfs required at the connection point as not part of settlements? | X
| 67 | Customer management | Particularly out-of-hours and during faults.Mans of positively identifying customers NOT connected to our network when they call us! | X
| 68 | Emergency services | Would DNO be able to distinguish between no-supply calls from embedded customers and DNO customers? | X
| 69 | MPANs | P62 says 1 distributor/1 MPAS provider. Obligation for DNO to provide MPAS services in its geographic area. However, there is also a requirement for a national distributor to have 1 set of MPANs (1st 2 digits go with distributor not GSP group). | X
| 70 | Transfer of metering points between distributors | The MRA development board (Migration Issues Working Group) are currently progressing an action to put in place a process to manage migration of metering points from one distributor to another. | X
| 71 | MPAS enquiry services/Fault reporting | How do we differentiate between customers connected to our network from those connected to new distributors. There will be different MPANs in DNO area.Presumably there will be an obligation on suppliers to notify customers who their distribution contact is (eg. on supply bill). However, in fault conditions customers are likely to contact us via other methods. How does DNO call centre know it’s an IDNO Customer calling. Systems and cost issues here for DNOs? Can’t recognise MPAN or direct them to correct number.What about tagging the service position and duties on IDNO to publish emergency numbers? | X
| 72 | Provision of emergency metering services on an Embedded Network? | Does this impact on principle of restoring supply to a customer wherever practicable with a single visit? | X
| 74 | Who does Customer contact? | Contact in Emergencies – safety/loss of supply. How does the customer know who to contact in emergencies? | X
| 77 | Maintenance of records | Who do contractors contact/how co-ordinated in public arena? | X
| 79 | Metering | Metering – not required by BSC or Electricity Act. Licence requirement?Required for regulatory accounting ie. distributed units/losses/wheeled units.Rules need to scope need and specify requirement.COPs/Charges/Ownership/data retrieval and processing. If no metering then what? | X
| 81 | Boundary Metering – Is it required and who should pay for it | Is it required and who should pay for it | X
| 82 | Boundary Metering | Metering requirements should be consistent with policies for existing customers. Boundary metering is required to meet losses incentive | X
| 83 | Operational interfaces | Who would DNO “card” for planned outages? How deal with assets in public highway eg identification. How would other utilities get complete asset records to avoid damage to apparatus? | X
| 84 | Metering | P70 rejected, therefore no settlement metering at the connection point although non-settlement metering could be installed. Also, will there be an obligation to provide MAP/MAM services | X
| 86 | Boundary Specification, method of connection and isolation etc | Method of connection and isolation etc | X
| 87 | Voltage of Connection |  | X
| 88 | Volt drop limitation at the connection boundary. and the | IPNO's obligation under the ESQCR's to maintain voltage limits | X
| 89 | Responsibility for faults and or poor inset Network performance. | Should generic requirements of contact points and process for fault reporting within embedded Networks. | X
| 90 | Priority of repair on faults in areas where two asset owners have assets in the ground. | Should this be left to first come first repair or should priority criteria be agreed? | X
| 91 | Embedded Generation within an embedded Network | Does the licence extension allow an embedded network provider to connect embedded generation? What is the process for informing DNO of change to connection point requirements? | X
| 92 | What happens if embedded network owner folds and network was not built to recognise DNO standards such as those required under CiC? | Where is scenario covered; should there be Ofgem rules governing what are built in first place? | X
| 93 | Response to faults in embedded network affecting upstream DNO Customers | Rights & terms to disconnect / need for point of isolation at interface/ESQC Regs requirements. | X
| 96 | Physical connection arrangements at each voltage level | Protection/Isolation requirements etc | X
| 99 | ESQCR obligations | If the constructor of the embedded network has not been granted a Licence then the DNO would be unable to connect the consumer’s network under ESQCR 25.2a if it included any PME LV cable as ESQCR 8.4 does not allow for combined neutral & earth in consumer’s installations. Is the design of the embedded network dependent on whether the constructor has a Licence or not? | X
| 100 | ESQCR | Are there any issues around Reg 25 for instance? There is a requirement for us to give consent to connect but only requires us not to give consent where we have reasonable grounds……………… | X
| 101 | Active loads / generation causing issues on DNO network | Fault level / PQ issues on DNO network caused by embedded network customers. How will interface be managed? If we isolate their network, what safeguards would be in place to ensure any generation is not connected. | X
| 102 | What happens if embedded network owner folds and network was not built to recognised DNO standards such as those required under CiC? | Where is scenario covered, should there be Ofgem rules governing what is built in first place? | X
| 103 | Impact on statutory limits | Events on Embedded Network impacting on DNO network eg. flicker, voltage etc. DNO requirement s16 EA etc least cost scheme – impact on volt drop / earth loop impedance etc. | X
| 104 | Statutory limits | ? responsibilities for action / costs if load on IDNO network takes their or DNO Customers out of compliance and vice versa. Ditto on fault level, disturbing loads etc. | X
| 105 | Response to faults in embedded network affecting upstream DNO Customers | Rights & terms to disconnect / need for point of isolation at interface . Need disconnection point at POC. ( Reg12 EAW and a // to ESQCR 24( c) (Consumers premises. Protection issues.What will new distributor response times be and how will that impact on our response capability? | X
| 106 | Maintaining statutory limits | eg. voltage. Impact of changes at the interface/short circuit current/LV to LV connections | X
| 107 | Security | How does P2/5 apply ? 500 houses at ADMD2 or 1 connection of 1MVA ? | X
| 108 | Need for point of isolation | Where operation of each network carried out separately | X
| 109 | EAW Regs | Reg 11 – protection from excess currentReg 12 isolation | X
| 110 | ESQC Regs | Reg 15 Maps of u/g networks – DNO not responsible for IDNO – how does Reg 4 impact? | X
| 111 | ESQC Regs | Reg 25 what does DNO have to do in relation to safety in giving consent? | X
| 112 | The evolution of EDNs can inhibit the effective and efficient development of the distribution network | Effective large point loads with limited scope for connectivity or multiple small point loads for inset network connection that could prevent Network rationalisation. | X
| 113 | Is there a need for points of isolation at the interface? | More likely to be issue if interface is LV. Who pays? | X
| 115 | LAFs | Calculation of LAFs for settlement | X