GB SQSS – Off-shore Networks

Meeting No: 3

Thursday 13th July - Teleconference

Notes of Meeting

- Present

Edgar Goddard (Chair)		National Grid

Jonathan Davies (Secretariat)	National Grid

Andy Hiorns			National Grid

Anthony Mungall		Ofgem

Bridget Morgan			Ofgem

Robert Longden			Airtricity

Philip Baker 			DTI

Cornel Brozio			SPT

Joe Duddy			RES (on behalf of Centrica)

Matthew Knight			Siemens (on behalf of BEAMA)

Goran Strbac			Sustainable Energy & Distributed Generation Centre (SEDG)

Predrag Djapic			Sustainable Energy & Distributed Generation Centre (SEDG)

Apologies were received from Claire Maxim (E.ON), Paul Newton (E.ON) and Chandra Trikha (SSE).

- Notes

  - Approval of 2nd meeting notes

No comments were received on the second meeting minutes, these are therefore formally approved.

Action 12: Andy Hiorns, Goran Strbac, Matthew Knight, Cornel Brozio, Claire Maxim and Bridget Morgan to meet separately to review ownership boundaries for offshore transmission networks. All to consider pro’s and con’s for ownership of LV assets. Complete. Note new action 20.

Action 13: Andy Hiorns to source indicative values for the cost of constraining off renewable generation. Complete. Information circulated via e-mail to the group.

Action 14: Andy Hiorns to look into the interface between generation connecting to offshore transmission systems and the DNO operator/owner should the offshore transmission system connect to the DNO system. Ongoing.

Action 15: Jonathan Davies to keep data submission up to date and circulate to all members of the group. Ongoing.

Action 17: All to provide Jonathan Davies with attendance arrangements for 3rd sub group meeting on Thursday 13th July, along with availability for a 5th sub group meeting during w/c 7th August 2006. Complete.

Action 18: Andy Hiorns to feedback to OTEG the sub group progress to date at an open meeting on Monday 3rd July. Complete.

Action 19: John Overton to source Kema report for the integration of large volumes of wind energy onto the transmission system. Complete. Contact details within KEMA received and available to the group should any member wish to get in contact regarding the reports.

  - Transmission ownership boundary review

Andy Hiorns reviewed the options available for the ownership boundary for offshore transmission assets. These options were as circulated to the group, and listed with the pro’s and con’s for each option. It was agreed that all members of the group should comment on the document and formally agree at the next meeting before feeding back the preferred solution to OTEG.

Action 20: All to feed back, by Wednesday 19th July, to Jonathan Davies any comments on the ownership boundary document as circulated prior to the meeting.

  - Cost benefit analysis progress

Goran Strbac reviewed the progress that has been made with the cost benefit analysis. All members of the group commented on the models that have been studied and made recommendations of any further models that could be studied.

It was noted that a document produced in conjunction with SSE assessing the reliability of sub-sea cables in operation could be of use to the cost benefit analysis.

Action 21: Goran Strbac, Predrag Djapic, Jonathan Davies and Andy Hiorns to further develop the models for the cost benefit analysis.

Action 22: Jonathan Davies to add into the data received document a request for any items of data that are required for the cost benefit analysis.

Action 23: All to provide chronological wind data for offshore sites if available.

Action 24: Chandra Trikha to source report on reliability of SSE’s sub-sea cables in operation.

  - Project plan

It was agreed at the meeting that as the results of the cost benefit analysis were critical to the output of the group, any recommendations made should not be rushed to meet the end of August timescale if the studies had not been finished. The group’s agreement on this will be fed back to OTEG at the meeting on 2nd August.

It was agreed there should be weekly meetings to discuss project progress, a number of which will be via teleconference.

Action 25: Jonathan Davies to schedule weekly meetings for the subgroup.

  - Any other business

Action 26: Jonathan Davies to check if assumptions register currently in use by the subgroup is to be kept as an overall register for OTEG.

  - Review of actions

All actions raised at the meeting were reviewed, actions log to be updated and circulated to the group.

Action 27: Jonathan Davies to update action log and circulate to the group.

- Date and location of next meeting

4th sub group meeting – Friday 21st July – 10:30am, National Grid Office Warwick