GB SQSS – Off-shore Networks

Meeting No: 4

At National Grid Office Warwick, 21st July 2006

Notes of Meeting

- Present

Andy Hiorns (Chair)		National Grid

Jonathan Davies (Secretariat)	National Grid

Anthony Mungall		Ofgem

Bridget Morgan			Ofgem

Philip Baker 			DTI

Cornel Brozio			SPT

Joe Duddy			RES (on behalf of Centrica)

Paul Newton 			E.ON

Chandra Trikha			SSE

Predrag Djapic			Sustainable Energy & Distributed Generation Centre (SEDG)

Apologies were received from Edgar Goddard (National Grid), Claire Maxim (E.ON), Matthew Knight (Siemens), Robert Longden (Airtricity) and Goran Strbac (SEDG)

- Notes

  - Review of 3rd meeting actions and notes

No comments were received on the third meeting minutes, these are therefore formally approved.

Action 14: Andy Hiorns to look into the interface between generation connecting to offshore transmission systems and the DNO operator/owner should the offshore transmission system connect to the DNO system. Ongoing.

Action 15: Jonathan Davies to keep data submission up to date and circulate to all members of the group. Ongoing.

Action 20: All to feed back, by Wednesday 19th July, to Jonathan Davies any comments on the ownership boundary document as circulated prior to the meeting. Complete. Comments received, document to be updated before next meeting, see action 27 below.

Action 21: Goran Strbac, Predrag Djapic, Jonathan Davies and Andy Hiorns to further develop the models for the cost benefit analysis. Complete.

Action 22: Jonathan Davies to add into the data received document a request for any items of data that are required for the cost benefit analysis. Complete.

Action 23: All to provide chronological wind data for offshore sites if available. Ongoing.

Action 24: Chandra Trikha to source report on reliability of SSE’s sub-sea cables in operation. Ongoing, Jonathan Davies to confirm the reference to this report.

Action 25: Jonathan Davies to schedule weekly meetings for the subgroup. Complete.

Action 26: Jonathan Davies to check if assumptions register currently in use by the subgroup is to be kept as an overall register for OTEG. Ongoing, OTEG considering the use of this register, to be confirmed at the next OTEG meeting on 2nd August.

Action 27: Jonathan Davies to update action log and circulate to the group. Complete.

  - Assumptions and risks register

No further assumptions on top of those noted on the current register were raised therefore the document remains unchanged.

  - Transmission ownership boundary review

Andy Hiorns reviewed the options available for the ownership boundary for offshore transmission assets, incorporating further comments from the group. It was agreed that from the options diagram two of the options were to be not recommended, with the two other options having equal pro’s and con’s. A paper will therefore be presented to OTEG for consideration of the two remaining options before a decision is made.

Action 28: Andy Hiorns to prepare ownership boundary decision paper prior to next meeting. Outcome of the paper to be fed back to OTEG on 2nd August.

  - Cost benefit analysis progress

Predrag Djapic presented the progress made to date with the costs benefit analysis. The work being carried out suggested various ways the security standards could be represented, these to be considered by all members of the sub-group.

It was noted that it was not likely the proposed analysis could be completed in time for the end of August deadline imposed on the group, it was therefore recommended that the SEDG centre consider the use of additional resource offered by National Grid and SPT. Along with this it was agreed that there would be a review of both work carried out and proposed studies at each meeting to ensure no work considered unnecessary by the group was carried out.

It was noted that chronological wind data would be commercially sensitive, therefore the data would be provided to the SEDG centre to compile confidentially and provide a generic set of data for the analysis.

Action 29: Predrag Djapic and Goran Strbac to consider the use of additional resource to reduce the time requirement for the studies.

Action 30: Cornel Brozio, Paul Newton and Joe Duddy to provide chronological wind data to SEDG centre. SEDG centre to then average the data to provide a single set of generic wind data for the analysis.

  - Project plan

It was noted that given the potential requirement for an extension to the project deadline, a detailed project plan with milestones defining the expected progress in the cost benefit analysis should be produced.

Action 31: Jonathan Davies to prepare detailed project plan with defined milestones along with work planned to be completed by each milestone.

  - Any other business

None noted

  - Review of actions

All actions raised at the meeting were reviewed, actions log to be updated and circulated to the group.

Action 32: Jonathan Davies to update action log and circulate to the group.

- Date and location of next meeting

5th sub group meeting - Teleconference – Friday 28th July – 9:00am