| Date: Time: Venue: | 21st July 06 10:30 National Grid Warwick | Present (at meeting): | Andy Hiorns Philip Baker Anthony Mungall Bridget Morgan Cornel Brozio Jonathan Davies Joe Duddy Chandra Trikha Paul Newton Predrag Djapic | Present (by phone/ video conf.): | None | Apologies: | Edgar Goddard Claire Maxim Goran Strbac Matthew Knight Robert Longden |
| --- | --- | --- | --- | --- | --- | --- | --- |

Active Actions (New, Ongoing and Carried Forward):

| Mtg No. | Action No. | Date Raised | Target Date | Resp. | Description | Status |
| --- | --- | --- | --- | --- | --- | --- |
| 02 | 014 | 27/06/06 |  | Andy Hiorns | Look into the interface issues between generators and DNO operator / owners in the case of offshore transmission systems connecting to DNO networks | Ongoing |
| 02 | 015 | 27/06/06 |  | Jonathan Davies | Keep up-to-date record of all data submitted along with network models in use and circulate to all members of the group. | Ongoing |
| 03 | 023 | 13/07/06 |  | All | Provide chronological wind data for offshore sites if available | Ongoing |
| 03 | 024 | 13/07/06 |  | Chandra Trikha | Source report on reliability of SSE sub-sea cables currently in operation | Ongoing |
| 03 | 026 | 13/07/06 |  | Jonathan Davies | Check if sub group’s Assumptions and Risks register is to be used by OTEG as a single data source for the whole group | New Action |
| 04 | 028 | 26/07/06 |  | Andy Hiorns | Prepare ownership boundary decision paper prior to next meeting. Outcome of the paper to be fed back to OTEG on 2nd August | New Action |
| 04 | 029 | 26/07/06 |  | Predrag Djapic / Goran Strbac | To consider the use of additional resource to reduce the time requirement for the studies. | New Action |
| 04 | 030 | 26/07/06 |  | Cornel Brozio / Paul Newton / Joe Duddy | Provide chronological wind data to SEDG centre. SEDG centre to then average the data to provide a single set of generic wind data for the analysis. | New Action |
| 04 | 031 | 26/07/06 |  | Jonathan Davies | Prepare detailed project plan with defined milestones along with work planned to be completed by each milestone. | New Action |
| 04 | 032 | 26/07/06 |  | Jonathan Davies | Update action log and circulate to the group. | New Action |

Next Meetings

- Friday 28th July 2006, 9:00am Teleconference. Office available at National Grid Warwick.

- Friday 4th August 2006, 10:00am Teleconference. Office available at National Grid Warwick.

Archived Actions (Completed and Superseded)

| Mtg No. | Action No. | Date Raised | Target Date | Resp. | Description | Status |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | 001 | 09/06/06 | 21/06/06 | PB /AM | Confirm if the meeting notes should be held on the internet, and if so provide the address. In the short term it has been agreed that notes and actions will all be circulated via e-mail by secretariat | Complete |
| 01 | 002 | 09/06/06 | 14/06/06 | Jonathan Davies | Provide contact details of all members of the group, to the group. | Complete |
| 01 | 003 | 09/06/06 | 14/06/06 | Jonathan Davies | Circulate GB SQSS overview presentation to all members of the group | Complete |
| 01 | 004 | 09/06/06 | 21/06/06 | All | Consider contents of paper number GB SQSS 1 and feedback any comments. | Complete |
| 01 | 005 | 09/06/06 | 21/06/06 | AM | Confirm if the sub group is only assessing standards in relation to the connection of windfarms and not all types of generation and demand connections. Timescales may prohibit the latter | Complete |
| 01 | 006 | 09/06/06 |  | Goran Strbac / Jonathan Davies | Define scope of work the Sustainable Energy and Distributed Generation Centre are to carry out. | Complete |
| 01 | 007 | 09/06/06 | 23/06/06 | PB | Source an informed view of the value of ROC’s in future years, ideally over the typical life of a generation project – 20-30 years, from the Energy Review group. | Complete |
| 01 | 008 | 09/06/06 |  | Joe Duddy / Jonathan Davies / Peter Jones / Claire Maxim / Goran Strbac | Source where possible all information relevant to the formulation of the offshore network models for cost benefit analysis. | Complete |
| 01 | 009 | 09/06/06 |  | Jonathan Davies | Formulate project plan taking into account scope of works and requirement for recommendations. | Complete |
| 02 | 010 | 27/06/06 |  | Jonathan Davies | Update Assumptions and Risks register from 1st meeting to incorporate comments received | Complete |
| 02 | 011 | 27/06/06 |  | Andy Stevenson | Feed back to OTEG the subgroups intention to look only at the connection of wind generation to offshore transmission networks. Further technology will be considered at a later date. | Complete |
| 02 | 012 | 27/06/06 |  | Andy Hiorns / Goran Strbac / Matthew Knight / Cornel Brozio / Claire Maxim and Bridget Morgan | Review at a separate meeting to the ownership boundary that should be adopted between generation assets and transmission assets. | Complete |
| 02 | 013 | 27/06/06 |  | Andy Hiorns | Source indicative constraint costs for constraining off renewable generation | Complete |
| 02 | 016 | 27/06/06 |  | All | Provide Jonathan Davies with availability for meeting w/c 7th August 2006, and also required meeting arrangements for teleconference meeting on Thursday 13th July. | Complete |
| 02 | 018 | 27/06/06 |  | Andy Hiorns | Feed back to OTEG on 3rd July, the sub group progress to date and proposed works. | Complete |
| 02 | 019 | 27/06/06 |  | John Overton | Source Kema report on integration of large volumes of offshore wind energy into transmission systems. | Complete |
| 03 | 020 | 13/07/06 | 19/07/06 | All | Feedback comments on ownership boundary document as circulated prior to the meeting. | Complete |
| 03 | 021 | 13/07/06 |  | Goran Strbac / Predrag Djapic / Andy Hiorns / Jonathan Davies | Further develop network models for cost benefit analysis | Complete |
| 03 | 022 | 13/07/06 |  | Jonathan Davies | Add list of data required to the data received and circulate to the group | Complete |
| 03 | 025 | 13/07/06 |  | Jonathan Davies | Schedule weekly meetings for the sub group | Complete |
| 03 | 027 | 13/07/06 |  | Jonathan Davies | Update Actions log | Complete |