GB SQSS – Offshore Networks

Meeting No: 5

Teleconference – 28th July 2006

Notes of Meeting

- Present

Andy Hiorns (Chair)		National Grid

Jonathan Davies (Secretariat)	National Grid

Anthony Mungall		Ofgem

Bridget Morgan			Ofgem

Philip Baker 			DTI

Cornel Brozio			SPT

Paul Newton 			E.ON

Chandra Trikha			SSE

Goran Strbac			Sustainable Energy & Distributed Generation Centre (SEDG)

Robert Longden 		Airtricity

John Greasley			National Grid

Apologies were received from Edgar Goddard (National Grid), Claire Maxim (E.ON), Matthew Knight (Siemens) and Joe Duddy RES (on behalf of Centrica)

- Notes

  - Review of 4th meeting actions and notes

No comments were received on the fourth meeting minutes, these are therefore formally approved.

Action 14: Andy Hiorns to look into the interface between generation connecting to offshore transmission systems and the DNO operator/owner should the offshore transmission system connect to the DNO system. Ongoing, smaller group to consider during teleconference scheduled for 21/08/06.

Action 15: Jonathan Davies to keep data submission up to date and circulate to all members of the group. Ongoing.

Action 23: All to provide chronological wind data for offshore sites if available. Superseded by Action 30 below.

Action 24: Chandra Trikha to source report on reliability of SSE’s sub-sea cables in operation. Complete. Paper copy obtained, available to the group if required. Jonathan Davies to send paper copy to Chandra.

Action 26: Jonathan Davies to check if assumptions register currently in use by the subgroup is to be kept as an overall register for OTEG. Ongoing, OTEG considering the use of this register, to be confirmed at the next OTEG meeting on 2nd August.

Action 28: Andy Hiorns to prepare ownership boundary decision paper prior to next meeting. Outcome of the paper to be fed back to OTEG on 2nd August. Complete, paper circulated to the group as working draft, any comments to be sent to Jonathan Davies as soon as possible.

Action 29: Predrag Djapic and Goran Strbac to consider the use of additional resource to reduce the time requirement for the studies. Complete. Given the timescales it would not be possible for external resources to be trained and use the software given its complex nature.

Action 30: Cornel Brozio, Paul Newton and Joe Duddy to provide chronological wind data to SEDG centre. SEDG centre to then average the data to provide a single set of generic wind data for the analysis. Ongoing. Data to be provided as soon as possible. Information from developers will be provided under a confidentiality agreement.

Action 31: Jonathan Davies to prepare detailed project plan with defined milestones along with work planned to be completed by each milestone. Ongoing.

  - Cost benefit analysis progress

Goran Strbac reviewed the progress the SEDG centre has made to date along with proposed work over the coming weeks. It was noted that work was being carried out to include the impact of losses and reactive compensation, feedback on which will be given at the next sub-group meeting. Further to this, full network models were being created prior to comprehensive analysis taking place

Concerns were raised by the group over the availability of data as any delays could impact on the output of the group. There are also concerns that some data being submitted was only being made available to the SEDG centre and being sent under confidentiality agreements.

It was noted that there is a need to consider the impact of changes in costs / technology over time.

Action 32: Matthew knight, Joe Duddy, Paul Newton, Cornel Brozio and Robert Longden to provide any data highlighted in the data requirements document as previously circulated as soon as possible, and in any case before 14th of August.

Action 33: Jonathan Davies to invite Kema representative to present the findings of the Connect II report to the group.

Action 34: Jonathan Davies to review if National Grid have any historical wind farm output data, also look to see if any further external parties will have any data available.

  - Project plan

Goran Strbac reviewed the timescales by which the SEDG centre is proposing to output results from the cost benefit analysis. It was noted these results will be available in 2 stages; the preliminary results could be available by 24th August and incorporated into a report for OTEG by 31st August. The consultation time on the report could then be used to carry out a more comprehensive sensitivity assessment of the data and address any further issues not covered. The outcome of the refined results could be available by 30th September.

It was noted that the input data to the network models was required by 14th August in order to achieve the timescale noted. Note Action 32 above.

  - Transmission ownership boundary review

The group reviewed the ownership boundary paper as circulated. It was noted that there were a number of clarifications and ammendments required, Jonathan Davies to update and circulate to the group.

It was recommend the grid code review group looks at the changes in accordance with where the ownership boundary lies.

Action 35: All to provide feedback on ownership boundary document. Jonathan Davies to update the document and circulate to the group.

  - Feedback to OTEG at 2nd August meeting

It was agreed that the feedback to OTEG will come from the Chairman of the sub-group. In this instance Goran Strbac agreed to present the progress of the groups work. A presentation is to be put together and circulated to the group to ensure all parties are in agreement of what will be fed back to OTEG.

Action 36: All; Goran Strbac and Jonathan Davies to prepare presentation of group progress and circulate to the whole group by next Tuesday. All members of the group to then comment to ensure all are in agreement of what is fed to OTEG.

  - Any other business

None noted

  - Review of actions

All actions raised at the meeting were reviewed, actions log to be updated and circulated to the group.

Action 37: Jonathan Davies to update action log and circulate to the group.

- Date and location of next meeting

6th sub group meeting - Teleconference – Friday 4th August – 10:00am