GB SQSS – Offshore Networks

Meeting No: 6

Teleconference – 4th August 2006

Notes of Meeting

- Present

Jonathan Davies (Chair / Secretariat )	National Grid

Anthony Mungall			Ofgem

Bridget Morgan				Ofgem

Philip Baker 				DTI

Cornel Brozio				SPT

Chandra Trikha				SSE

Goran Strbac				Sustainable Energy & Distributed Generation Centre (SEDG)

Robert Longden 			Airtricity

John Greasley				National Grid

Peter Jones				ABB

Matthew Knight 				Siemens

Joe Duddy 				RES

Apologies were received from Edgar Goddard (National Grid), Claire Maxim (E.ON), Andy Hiorns (National Grid) and Paul Newton (E.ON)

- Notes

  - Review of 5th meeting actions and notes

No comments were received on the fifth meeting minutes, these are therefore formally approved.

Action 14: Andy Hiorns to look into the interface between generation connecting to offshore transmission systems and the DNO operator/owner should the offshore transmission system connect to the DNO system. Ongoing, smaller group to consider during teleconference scheduled for 21/08/06.

Action 15: Jonathan Davies to keep data submission up to date and circulate to all members of the group. Ongoing.

Action 26: Jonathan Davies to check if assumptions register currently in use by the subgroup is to be kept as an overall register for OTEG. Complete. Noted that at present there is no intention to keep a central assumptions and risks register, however all sub-groups of OTEG are to be aware of each sub-groups assumptions/risks.

Action 30: Cornel Brozio, Paul Newton and Joe Duddy to provide chronological wind data to SEDG centre. SEDG centre to then average the data to provide a single set of generic wind data for the analysis. Ongoing. Data to be provided as soon as possible. Information from developers will be provided under a confidentiality agreement.

Action 31: Jonathan Davies to prepare detailed project plan with defined milestones along with work planned to be completed by each milestone. Ongoing.

Action 32: Matthew knight, Joe Duddy, Paul Newton, Cornel Brozio and Robert Longden to provide any data highlighted in the data requirements document as previously circulated as soon as possible and in any case before 14th of August. Ongoing

Action 33: Jonathan Davies to invite Kema representative to present the findings of the Connect II report to the group. Complete, presentation will be made to the group at the 10th August meeting in Warwick.

Action 34: Jonathan Davies to review if National Grid have any historical wind farm output data, also look to see if any further external parties will have any data available. Ongoing, confirmed National Grid do not have any historical data available, requirement to check with DNOs for any embedded generator data.

Action 35: All to provide feedback on ownership boundary paper. Jonathan Davies to up-date paper and circulate to the group. Superseded by action 38.

Action 36: All; Goran Strbac and Jonathan Davies to prepare presentation of group progress and circulate to the whole group by next Tuesday. All members of the group to then comment to ensure all are in agreement of what is fed to OTEG. Complete.

Action 37: Jonathan Davies to update action log and circulate to the group. Complete

  - Feedback from OTEG

Work being carried out by the subgroup was presented to OTEG and was well received. The timescales the sub-group are working towards were tabled and no comments on these were received.

It was noted that OTEG requested the sub-group consider the impact of having a section of overhead line connecting the sub-sea cable to the first onshore substation. It was suggested this may affect the level of security provided, all to consider ahead of the next meeting.

It was noted that within the existing GB SQSS it is permissible to design the network over and above the minimum planning standard provided the works can be economically justified. It was agreed that this should remain in any standards for offshore networks.

Action 38: Jonathan Davies to update ownership boundary paper in line with comments received at OTEG along with clarifications required on the diagram.

Action 39: All to consider the implications of having a section of overhead line on land connecting the sub-sea cable to the first onshore substation.

  - Cost benefit analysis progress

Goran Strbac reviewed the progress made to date and the SEDG centre’s key areas of work; Wind modelling to asses the impact diversity will have on energy curtailed post fault, Losses and their impact given varied ratings and cable numbers, and reactive power effects on the performance of the offshore network.

It was noted further thought should be given to voltage limits for offshore networks as limited work on this has been carried out to date.

Action 40: Goran Strbac to present the SEDG centre progress to date at the next meeting, 10th August.

Action 41: All to consider the existing voltage limits defined in the standards and the potential  impact of changes to these. Thought specifically to consider the relaxation of limits at the offshore platform on the premise that the voltage at the point of connection to the MITS remains within existing limits.

  - Project plan

Jonathan Davies noted that a detailed project plan was being produced and will be circulated to the group ahead of the next meeting, note action 31.

  - Transmission ownership boundary review

Bridget Morgan and Chandra Trikha reviewed comments on the ownership boundary paper, Jonathan Davies to update and circulate to the group, note action 38.

It was noted there would have to be consideration given to the operation / maintenance of offshore transmission network assets. It was noted that developers would have maintenance teams at the windfarm site for a considerable duration of the year and would therefore be better placed to carry out the works.

Action 42: Joe Duddy, Paul Newton and Robert Longden to consider the preference of ownership of the circuit breaker on the outgoing windfarm circuit.

  - Any other business

Jonathan Davies proposed two further additions to be added to the assumptions and risks register. These were agreed in principle, to be circulated to the group for comment.

Action 43: Jonathan Davies to update Assumptions and risks register and circulate to the group for comment.

  - Review of actions

All actions raised at the meeting were reviewed, actions log to be updated and circulated to the group.

Action 44: Jonathan Davies to update action log and circulate to the group.

- Date and location of next meeting

7th sub-group meeting – Ardencote Manor Hotel nr Warwick – Thurs 10th August – 10:30am–3:00pm