| Date: Time: Venue: | 28th July 06 09:00 Teleconference | Present (at meeting): | N/A | Present (by phone/ video conf.): | Andy Hiorns Philip Baker Anthony Mungall Bridget Morgan Cornel Brozio Jonathan Davies Robert Longden Chandra Trikha Paul Newton Goran Strbac John Greasley | Apologies: | Edgar Goddard Claire Maxim Matthew Knight Joe Duddy |
| --- | --- | --- | --- | --- | --- | --- | --- |

Active Actions (New, Ongoing and Carried Forward):

| Mtg No. | Action No. | Date Raised | Target Date | Resp. | Description | Status |
| --- | --- | --- | --- | --- | --- | --- |
| 02 | 014 | 27/06/06 |  | Andy Hiorns | Look into the interface issues between generators and DNO operator / owners in the case of offshore transmission systems connecting to DNO networks | Ongoing |
| 02 | 015 | 27/06/06 |  | Jonathan Davies | Keep up-to-date record of all data submitted along with network models in use and circulate to all members of the group. | Ongoing |
| 03 | 026 | 13/07/06 |  | Jonathan Davies | Check if sub group’s Assumptions and Risks register is to be used by OTEG as a single data source for the whole group | Ongoing |
| 04 | 030 | 26/07/06 |  | Cornel Brozio / Paul Newton / Joe Duddy | Provide chronological wind data to SEDG centre. SEDG centre to then average the data to provide a single set of generic wind data for the analysis. | Ongoing |
| 04 | 031 | 26/07/06 |  | Jonathan Davies | Prepare detailed project plan with defined milestones along with work planned to be completed by each milestone. | Ongoing |
| 05 | 032 | 28/07/06 | 14/08/06 | Matthew Knight / Joe Duddy / Paul Newton / Cornel Brozio / Robert Longden | Provide any data highlighted in the data requirements document as previously circulated as soon as possible. | New Action |
| 05 | 033 | 28/07/07 |  | Jonathan Davies | Invite Kema representative to sub group meeting | New Action |
| 05 | 034 | 28/07/07 |  | Jonathan Davies | Review if National Grid have access to any historical wind farm output data, also look into the possibility of any other parties providing information. | New Action |
| 05 | 035 | 28/07/07 |  | All | Provide feedback on the ownership diagram paper draft as circulated, Jonathan Davies to update | New Action |
| 05 | 036 | 28/07/07 | 01/08/06 | All | Goran Strbac and Jonathan Davies to prepare presentation to feedback to OTEG. All to comment on Tues 1st August prior to OTEG. | New Action |
| 05 | 037 | 28/07/07 | 02/08/06 | Jonathan Davies | Update actions log and circulate to the group | New Action |

Next Meetings

- Friday 4th August 2006, 10:00am Teleconference. Office available at National Grid Warwick.

- Thursday 10th August 2006. 10:30am meeting at Ardencote Manor nr Warwick.

Archived Actions (Completed and Superseded)

| Mtg No. | Action No. | Date Raised | Target Date | Resp. | Description | Status |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | 001 | 09/06/06 | 21/06/06 | PB /AM | Confirm if the meeting notes should be held on the internet, and if so provide the address. In the short term it has been agreed that notes and actions will all be circulated via e-mail by secretariat | Complete |
| 01 | 002 | 09/06/06 | 14/06/06 | Jonathan Davies | Provide contact details of all members of the group, to the group. | Complete |
| 01 | 003 | 09/06/06 | 14/06/06 | Jonathan Davies | Circulate GB SQSS overview presentation to all members of the group | Complete |
| 01 | 004 | 09/06/06 | 21/06/06 | All | Consider contents of paper number GB SQSS 1 and feedback any comments. | Complete |
| 01 | 005 | 09/06/06 | 21/06/06 | AM | Confirm if the sub group is only assessing standards in relation to the connection of windfarms and not all types of generation and demand connections. Timescales may prohibit the latter | Complete |
| 01 | 006 | 09/06/06 |  | Goran Strbac / Jonathan Davies | Define scope of work the Sustainable Energy and Distributed Generation Centre are to carry out. | Complete |
| 01 | 007 | 09/06/06 | 23/06/06 | PB | Source an informed view of the value of ROC’s in future years, ideally over the typical life of a generation project – 20-30 years, from the Energy Review group. | Complete |
| 01 | 008 | 09/06/06 |  | Joe Duddy / Jonathan Davies / Peter Jones / Claire Maxim / Goran Strbac | Source where possible all information relevant to the formulation of the offshore network models for cost benefit analysis. | Complete |
| 01 | 009 | 09/06/06 |  | Jonathan Davies | Formulate project plan taking into account scope of works and requirement for recommendations. | Complete |
| 02 | 010 | 27/06/06 |  | Jonathan Davies | Update Assumptions and Risks register from 1st meeting to incorporate comments received | Complete |
| 02 | 011 | 27/06/06 |  | Andy Stevenson | Feed back to OTEG the subgroups intention to look only at the connection of wind generation to offshore transmission networks. Further technology will be considered at a later date. | Complete |
| 02 | 012 | 27/06/06 |  | Andy Hiorns / Goran Strbac / Matthew Knight / Cornel Brozio / Claire Maxim and Bridget Morgan | Review at a separate meeting to the ownership boundary that should be adopted between generation assets and transmission assets. | Complete |
| 02 | 013 | 27/06/06 |  | Andy Hiorns | Source indicative constraint costs for constraining off renewable generation | Complete |
| 02 | 016 | 27/06/06 |  | All | Provide Jonathan Davies with availability for meeting w/c 7th August 2006, and also required meeting arrangements for teleconference meeting on Thursday 13th July. | Complete |
| 02 | 018 | 27/06/06 |  | Andy Hiorns | Feed back to OTEG on 3rd July, the sub group progress to date and proposed works. | Complete |
| 02 | 019 | 27/06/06 |  | John Overton | Source Kema report on integration of large volumes of offshore wind energy into transmission systems. | Complete |
| 03 | 020 | 13/07/06 | 19/07/06 | All | Feedback comments on ownership boundary document as circulated prior to the meeting. | Complete |
| 03 | 021 | 13/07/06 |  | Goran Strbac / Predrag Djapic / Andy Hiorns / Jonathan Davies | Further develop network models for cost benefit analysis | Complete |
| 03 | 022 | 13/07/06 |  | Jonathan Davies | Add list of data required to the data received and circulate to the group | Complete |
| 03 | 023 | 13/07/06 |  | All | Provide chronological wind data for offshore sites if available | Superseded by 30 |
| 03 | 024 | 13/07/06 |  | Chandra Trikha | Source report on reliability of SSE sub-sea cables currently in operation | Complete |
| 03 | 025 | 13/07/06 |  | Jonathan Davies | Schedule weekly meetings for the sub group | Complete |
| 03 | 027 | 13/07/06 |  | Jonathan Davies | Update Actions log | Complete |
| 04 | 028 | 26/07/06 |  | Andy Hiorns | Prepare ownership boundary decision paper prior to next meeting. Outcome of the paper to be fed back to OTEG on 2nd August | Complete |
| 04 | 029 | 26/07/06 |  | Predrag Djapic / Goran Strbac | To consider the use of additional resource to reduce the time requirement for the studies. | Complete |
| 04 | 032 | 26/07/06 |  | Jonathan Davies | Update action log and circulate to the group. | Complete |