[image: image1.png]


Data template instructions - one generating station 
Submitting your data:

· Each generating station, or other party nominated by the generating station, should submit their ROC and LEC data to Ofgem using the standard data template
· The standard data template should be sent to monthlyoutputdata@ofgem.gov.uk 

· The standard data template and email should be titled: 
'[your company name] data [month and year of generation eg April 07]'

· Monthly ROC and/or Renewable LEC claims - The standard data template should be submitted before the end of the second month following the month of generation
· Annual ROC claims - The standard data template should be submitted before 31 May following the year of generation
1. General information

1.1. All accredited generating stations wishing to claim Renewables Obligation Certificates (ROCs) and/or Renewable Levy Exemption Certificates (LECs) must submit their generation data to Ofgem using the standard data template.  This data must be submitted before 2 month submission deadline – the timetable for data submission and ROC/LEC issue is available on our website.


1.2. There are 4 worksheets in the standard data template:
· All stations (1) – this requests information about your station and the output and input for that month/year.
· All stations (2) - this includes questions about any estimates and contractual arrangements.
· Most stations (3) – this worksheet should be completed by stations with non-half hourly metering.  You should include details of any metering that you have read to calculate your ROC and/or Renewable LEC claim.
· Stations using fuel (4) – this worksheet should be completed by stations using fossil fuel or waste.  It requests information about the fuels used including the relative energy contents of biomass, waste and fossil fuels.
1.3. You will only need to enter data into the blue cells, all other cells are protected and many of the calculations are automated.   


1.4. Helpful comments are provided as guidance for filling in certain cells.  These can be identified by a red triangle in the corner of the cell.  You should move your cursor over the cell to view the comment.


1.5. If a cell has not been completed, a message will appear directing you to complete the relevant cell.


1.6. The ROC calculations performed by the ‘All stations (1)’ worksheet are explained in the ‘Guidance for generators over 50kW’ and ‘Guidance for generators 50kW and under’.  The ROC calculations performed by the ‘Stations using fuel (4)’ worksheet are explained in the ‘Renewables Obligation: Fuel measurement and sampling guidance’.  All LEC calculations are explained in the ‘Climate Change Levy exemption for renewables: Guidance for generators and suppliers’.   All these documents are available on our website.

2. Worksheet 1 - All stations (1) 

2.1. This worksheet should be completed for all stations whether you are claiming ROCs and/or Renewable LECs and whether you are claiming ROCs on a monthly or annual basis.


2.2. Period of generation
This is the period for which you are claiming your ROCs or Renewable LECs and should be updated each time you submit the standard data template.  This will need to be completed at the top of each of the worksheets. If you are submitting an annual claim for ROCs, you should set this period to ‘April-March’.


2.3. Generating station details
The name and accreditation ID(s) for your generating station can be found on your accreditation letter.  The accreditation ID(s) comprise of 10 digits.  If your generating station is co-fired and uses energy crops you should just enter its normal accreditation ID i.e. R00****B**.  You can identify fuels as being energy crops in the ‘Stations using fuel’ worksheet.


2.4. Eligible output
From the drop down list, you should select the type of output for which you are claiming ROCs and/or Renewable LECs.  
· Gross output – claiming on total generation with no deductions

· Export – electricity exported to the grid only

· Export and own use – claiming on all electricity exported and own use

· Export and export through an exempt distribution network – claiming on any electricity exported to the grid or to an exempt distribution network

· Other – this should be explained further in the comments box in worksheet 2.
2.5. The total eligible output should be entered under kWhs generated. This is your gross generation figure minus any electricity not meeting article 16 criteria eg un-metered output or electricity not consumed within the UK
.  If your output is measured by more than one meter, the sum of the output of all meters minus any ineligible amounts should be entered.  Beside this the MPANs or serial numbers of all output meters should be entered.


2.6. Input electricity
This relates to any input electricity used for a purpose directly relating to the operation of your generating station. 


2.7. If your station does not have any input electricity, you should enter ‘0’ against the import, generated by the generating station and standby generation cells.


2.8. Where you can show your input electricity is less than or equal to 0.5% of your gross output it will not be deducted from the ROC issue.  You will still need to enter input figures unless you have prior agreement from Ofgem that your input electricity is always less than or equal to 0.5% of your gross output.  If you have prior agreement, you should enter ‘0’ against the import, generated by the generating station and standby generation.


2.9. Import or Import to be deducted from ROC and LEC issue
In most cases, you should leave this cell as ‘Import’ and enter data to include any electricity imported from the grid that is used for a purpose directly relating to the operation of the generating station.  This includes electricity imported even when the generating station is not generating.  If you do not import any electricity, please enter ‘0’.


2.10. Occasionally generating stations have metering arrangements where it is necessary to deduct import from both the ROC and LEC issue.  If this is the case you will need to select ‘Import to be deducted from ROC and LEC issue’.  The most common of these occurs where:
a. a generator is claiming ROCs for own use and/or export through an exempt distribution network and this augments the output figure 

b. the generator is importing electricity used by the operator of the generating station which is not input electricity, and

c. import for a purpose directly relating to the operation of the generating station cannot be distinguished from import for other facilities.  The combined import figure is deducted from the ROC and LEC issue.

2.11. Generated by the generating station
This should include any electricity generated by the generating station and used for a purpose directly related to the operation of the generating station. If you do not use any electricity generated by the generating station, please enter ‘0’.


2.12. Standby generation
This should be completed if you have a standby generator that is part of your generating station. If you do not have a standby generator, please enter ‘0’.


2.13. Input deduction
From the drop-down list, you should select an answer explaining whether the input electricity generated by the generating station has already been deducted from the eligible output.  This is necessary for the calculation of the ROC and LEC claim figures.


2.14. If you do not have any input, you are still required to complete this cell by selecting ‘None used - zero entered in 'generated by the generating station' cell’.


2.15. Automatic cells
The remaining cells in this worksheet are automatically completed based on the information provided:
· Total input deducted from ROC issue (kWh) – this calculates the amount of input that will be deducted from the ROC claim.

· Total input deducted from LEC issue (kWh) – this calculates the amount of input that will be deducted from the LEC claim.

· ROC qualifying percentage - this is the percentage by energy content of biomass input fuels.  This will show ‘n/a’ or ‘100%’ (0% for co-fired stations) where nothing is entered in the ‘stations using fuel (4)’ worksheet.  

· LEC qualifying percentage - this is generally the percentage by energy content of biomass input fuels.  However, contamination at 2% or below and fossil fuel use meeting regulation 47(10) will not be deducted.  This will show ‘n/a’ or ‘100%’ (0% for co-fired stations) where nothing is entered in the ‘stations using fuel (4)’ worksheet.  

· ROCs claimed – this will calculate the total number of ROCs that you are entitled to claim based on the information provided.

· LECs claimed - this will calculate the total number of LECs that you are entitled to claim based on the information provided.  Due to rounding the number of LECs issued may differ by one from the number of LECs shown as claimed.
Co-fired generators only info
This table calculates a breakdown of the number of energy crop and non energy crops ROCs that have been claimed along with the associated qualifying percentage.  These calculations use information entered into the ‘stations using fuel (4)’ worksheet.  For stations other than co-fired stations ‘n/a’ will appear in the cells in this table.  
3. Worksheet 2 - All stations (2) 

1.1. This worksheet includes a list of questions about estimated readings and contractual arrangements.  It also includes a box for any comments you have on that particular month's data submission.  
1.2. Use of estimates

We will only accept estimates under specific circumstances and any use of estimates must be agreed with us in advance.

1.3. Export through an exempt distribution network

If your electricity is not exported to 'the grid' and you do not use the electricity yourself, then we need a contract to show that the electricity is being supplied by a licensed supplier.  If we don't have a copy of this contract we can't issue ROCs for this electricity.
1.4. Comments

If you have any comments to make about your data submission, you should include them here rather than sending a separate email.

4. Worksheet 3 - Most stations (3) Non-Half Hourly meter readings

1.1. This worksheet should be completed by all generators who have non-half hourly metering.  Most domestic scale generators will have non-half hourly metering and should complete this worksheet.

1.2. You should complete a separate line for each meter that is used to record data relevant to your ROC claim eg gross generation meter, standby generation meter, export meter. 
1.3. In the column which asks ‘How much do you multiply the meter reading by to get kWh?’ please enter 1 if your meter is already in kWh, or if, for example, it is in 10s of kWh, please enter 10.
5. Worksheet 4 – Stations using fuel (4)
1.1. This worksheet should be completed if your station uses any fossil fuel or waste.

1.2. All quantities of fuels must be in the same units and all gross calorific values must be in the same units.
5.3 Each fuel used in the generation of electricity for the relevant month and year of generation should be included in this section.  Renewables fuels should be entered in the first table and fossil fuels in the second table.  The ‘heat contribution’ of the fuel and ‘percentage contribution to total generation’ will be calculated automatically. 
1.3. For further information on fuel measurement and sampling please see our ‘Renewables Obligation: Fuel measurement and sampling guidance’, available on our website.
1.4. Renewable fuels resulting in electricity generation (additional information)
You should also complete the additional questions for each of the fuels.  If you do not have to provide representative sampling information or fuel purchase contracts to Ofgem for a renewable fuel (eg you produce biogas onsite) then please select ‘no - see comments’ under the relevant questions and provide an explanation in the comments box.  If you purchase a fuel from more than one person and so you have more than one purchase contract, please answer the questions on the contract that will expire first and include details of the other contracts in the comments box. 
5.4 Any contamination of a biomass fuel should be entered.  This will then be automatically deducted from the biomass qualifying percentage calculated at the bottom of the renewable fuels table. 

1.5. The energy crop qualifying percentage is the combined percentage heat contribution of fuels you select as meeting the energy crop definition.  The biomass qualifying percentage is the percentage heat contribution of all the renewable fuels entered.  Both are calculated automatically from the data that you provide, and both deduct any contamination entered.   
1.6. Fossil fuel resulting in electricity generation (additional information)
The total heat contribution of all fuels used is calculated automatically from all the fossil fuels and renewable fuels entered on this worksheet.  The percentage next to this is the percentage of the heat contribution made up by the fossil fuels used for electricity generation.
1.7. If claiming ROCs, is all fossil fuel and/or waste used for Article 8(3) purposes
?

This question is required to check whether the station should be claiming biomass or co-fired ROCs.  If fossil fuel is only used for these purposes and makes up no more than 10% of the total energy content of the fuel used the station should be claiming biomass ROCs, otherwise generators should be claiming co-fired ROCs.  A list of these purposes can be found by hovering over the small red triangle by this question.
1.8. If claiming LECs, is all fossil fuel used for Regulation 47(10) purposes
?

Your response to this question may affect the LEC qualifying percentage and consequently the total LEC claim on ‘all stations (1)’.  Where biomass stations only use fossil fuel for these purposes and the fossil fuel makes up no more than 10% of the total energy content of the fuel used it will not be deducted from the LEC issue.  A list of these purposes can be found by hovering over the small red triangle by this question.
6. Maintaining data for audit

1.1. We carry out a programme of technical audits of accredited generating stations on an ongoing basis. Their purpose is to ensure that a generating station remains an eligible renewable generating station for the purposes of the RO. Auditors will also review metering arrangements and the data that is submitted monthly/annually for ROC and LEC claims. As such, generating stations should keep appropriate records to enable a full audit trail to be identified.

� Further information on what should be included or deducted from your gross generation is available in the ‘Guidance for generators 50kw and under’ and ‘Guidance for generators over 50kw’ for deductions under the RO, and the ‘Climate Change Levy exemption for renewables: Guidance for generators and suppliers’ all on which are available on our website.


� See ‘Renewables Obligation: Fuel measurement and sampling guidance’ for further information on Article 8(3) purposes.


� See the ‘Climate Change Levy exemption for renewables: Guidance for generators and suppliers’ for further information on Regulation 47(10) purposes.





PAGE  
3

