Offshore Grid Code Subgroup – Assumptions

| ID | Raised On | Raised By | Description | Status | Last Updated | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| A001 | 25-Jan-2007 | Group | Offshore transmission circuits are classified as 132kV and above | Accepted | 09-Feb-2007 |  |
| A002 | 25-Jan-2007 | Group | Offshore transmission networks will be considered as radial networks connected to a single offshore grid connection entry point. Should the nodes parallel the onshore network they would become part of the MITS and therefore be subject to the onshore security standards. | Accepted | 09-Feb-2007 |  |
| A003 | 25-Jan-2007 | Group | Generation circuits are to be defined in the introduction to paper number Offshore SQSS 1 | Accepted | 09-Feb-2007 |  |
| A004 | 25-Jan-2007 | Group | Any consideration of distribution network standards are outside the scope of this sub group. These issues will be handled by the Embedded Transmission Subgroup who will keep the Grid Code Subgroup informed of their progress. | Accepted | 09-Feb-2007 |  |
| A005 | 25-Jan-2007 | Group | Offshore network defined as the network up to the first substation the circuit(s) reach onshore. | Accepted | 09-Feb-2007 |  |
| A006 | 25-Jan-2007 | Group | Commercial frameworks will be developed as appropriate, and in accordance with the optimum design solution. | Accepted | 09-Feb-2007 |  |
| A007 | 25-Jan-2007 | Group | The Grid Code review work will need to account of the default scope of offshore transmission systems assumed by the GB SQSS review sub group. | Accepted | 09-Feb-2007 |  |
| A008 | 13-Feb-2007 | Ham Hamzah | The Grid Code subgroup will not be responsible for the formulation of technical standards with regard to offshore transmission networks. | Accepted | 16-Feb-2007 | Group to confirm who is responsible for this issue. |