## Sheet1
REPLACEMENT BOILERS - G-rated to the minimum standards
| Gas |  |  |  |  | LPG |  |  |  |  | Oil
kgCO2 | SpaceHt | WaterHt | Total |  | kgCO2 | SpaceHt | WaterHt | Total |  | kgCO2 | SpaceHt | WaterHt | Total
| gas | gas | gas |  |  | lpg | lpg | lpg |  |  | oil | oil | oil
Flat 3 ext. | 349.1656 | 228.3495 | 577.515 |  | Flat 3 ext. | 393.4778 | 257.3291 | 650.8068 |  | Flat 3 ext. | 448.845 | 287.2801 | 736.1251
Flat 3 ext. | 461.9467 | 253.6031 | 715.5497 |  | Flat 3 ext. | 520.5718 | 285.7876 | 806.3593 |  | Flat 3 ext. | 593.8227 | 319.0509 | 912.8737
Flat 3 ext. | 613.2491 | 288.5736 | 901.8227 |  | Flat 3 ext. | 691.0759 | 325.1961 | 1016.2721 |  | Flat 3 ext. | 788.3189 | 363.0464 | 1151.3653
Flat | 261.2316 | 228.3495 | 489.5811 |  | Flat | 294.3842 | 257.3291 | 551.7132 |  | Flat | 339.1503 | 287.2801 | 626.4304
Flat | 345.6098 | 253.6031 | 599.2129 |  | Flat | 389.4708 | 285.7876 | 675.2583 |  | Flat | 448.6965 | 319.0509 | 767.7474
Flat | 458.8082 | 288.5736 | 747.3818 |  | Flat | 517.0351 | 325.1961 | 842.2312 |  | Flat | 595.6591 | 363.0464 | 958.7055
Mid-Terrace | 429.3744 | 256.117 | 685.4914 |  | Mid-Terrace | 483.8658 | 288.6206 | 772.4864 |  | Mid-Terrace | 552.007 | 322.2137 | 874.2207
Mid-Terrace | 508.8046 | 276.304 | 785.1086 |  | Mid-Terrace | 573.3764 | 311.3694 | 884.7459 |  | Mid-Terrace | 654.1231 | 347.6103 | 1001.7335
End-Terrace | 626.3917 | 256.117 | 882.5088 |  | End-Terrace | 705.8864 | 288.6206 | 994.507 |  | End-Terrace | 803.8078 | 322.2137 | 1126.0215
End-Terrace | 742.2683 | 276.304 | 1018.5723 |  | End-Terrace | 836.4688 | 311.3694 | 1147.8382 |  | End-Terrace | 952.5047 | 347.6103 | 1300.115
Semi-bungalow | 662.0234 | 256.9685 | 918.9919 |  | Semi-bungalow | 746.04 | 289.5801 | 1035.6201 |  | Semi-bungalow | 851.5362 | 323.2849 | 1174.8211
Semi-bungalow | 742.5348 | 270.3242 | 1012.8591 |  | Semi-bungalow | 836.7691 | 304.6308 | 1141.3999 |  | Semi-bungalow | 955.0951 | 340.0874 | 1295.1824
Det-bungalow | 776.5773 | 261.8456 | 1038.4228 |  | Det-bungalow | 875.1318 | 295.0761 | 1170.2079 |  | Det-bungalow | 996.4978 | 329.4206 | 1325.9184
Det-bungalow | 870.3612 | 275.7458 | 1146.107 |  | Det-bungalow | 980.8178 | 310.7404 | 1291.5582 |  | Det-bungalow | 1116.8406 | 346.9081 | 1463.7487
Det-bungalow | 968.9703 | 290.433 | 1259.4033 |  | Det-bungalow | 1091.9412 | 327.2916 | 1419.2328 |  | Det-bungalow | 1243.375 | 365.3857 | 1608.7607
Semi-house | 761.1989 | 273.8556 | 1035.0545 |  | Semi-house | 857.8018 | 308.6103 | 1166.4121 |  | Semi-house | 975.035 | 344.53 | 1319.565
Semi-house | 848.5406 | 288.5085 | 1137.0491 |  | Semi-house | 956.2279 | 325.1228 | 1281.3507 |  | Semi-house | 1086.9127 | 362.9645 | 1449.8772
Semi-house | 939.8969 | 303.8287 | 1243.7256 |  | Semi-house | 1059.1782 | 342.3872 | 1401.5655 |  | Semi-house | 1203.9329 | 382.2384 | 1586.1713
Det-house | 1090.4019 | 289.95 | 1380.352 |  | Det-house | 1228.7836 | 326.7473 | 1555.5309 |  | Det-house | 1393.9245 | 364.778 | 1758.7025
Det-house | 1215.2895 | 306.4037 | 1521.6931 |  | Det-house | 1369.5205 | 345.289 | 1714.8095 |  | Det-house | 1553.5755 | 385.4779 | 1939.0534
Det-house | 1352.9778 | 324.3862 | 1677.3639 |  | Det-house | 1524.6827 | 365.5537 | 1890.2364 |  | Det-house | 1729.5905 | 408.1012 | 2137.6917
REPLACEMENT BOILERS - G-rated to the minimum standards (lifetime savings)
GAS | [6 empty] | LPG | [6 empty] | OIL
Property type | Number of bedrooms | Number of measures | Reduction in carbon emissions (kgCO2/a) | Lifetime (years) | Lifetime reduction in carbon emissions (tCO2) |  |  | Number of bedrooms | Number of measures | Reduction in carbon emissions (kgCO2/a) | Lifetime (years) | Lifetime reduction in carbon emissions (tCO2) |  |  | Number of bedrooms | Number of measures | Reduction in carbon emissions (kgCO2/a) | Lifetime (years) | Lifetime reduction in carbon emissions (tCO2)
Flat | 1 |  | 529.1513 | 6 | 0 |  | Flat | 1 |  | 596.3054 | 6 | 0 |  | Flat | 1 |  | 675.793 | 6 | 0
Flat | 2 |  | 651.5645 | 6 | 0 |  | Flat | 2 |  | 734.2538 | 6 | 0 |  | Flat | 2 |  | 833.0542 | 6 | 0
Flat | 3 |  | 816.8802 | 6 | 0 |  | Flat | 3 |  | 920.5496 | 6 | 0 |  | Flat | 3 |  | 1045.4024 | 6 | 0
Mid-Terrace | 2 |  | 685.4914 | 6 | 0 |  | Mid-Terrace | 2 |  | 772.4864 | 6 | 0 |  | Mid-Terrace | 2 |  | 874.2207 | 6 | 0
Mid-Terrace | 3 |  | 785.1086 | 6 | 0 |  | Mid-Terrace | 3 |  | 884.7459 | 6 | 0 |  | Mid-Terrace | 3 |  | 1001.7335 | 6 | 0
End-Terrace | 2 |  | 882.5088 | 6 | 0 |  | End-Terrace | 2 |  | 994.507 | 6 | 0 |  | End-Terrace | 2 |  | 1126.0215 | 6 | 0
End-Terrace | 3 |  | 1018.5723 | 6 | 0 |  | End-Terrace | 3 |  | 1147.8382 | 6 | 0 |  | End-Terrace | 3 |  | 1300.115 | 6 | 0
Semi-bungalow | 2 |  | 918.9919 | 6 | 0 |  | Semi-bungalow | 2 |  | 1035.6201 | 6 | 0 |  | Semi-bungalow | 2 |  | 1174.8211 | 6 | 0
Semi-bungalow | 3 |  | 1012.8591 | 6 | 0 |  | Semi-bungalow | 3 |  | 1141.3999 | 6 | 0 |  | Semi-bungalow | 3 |  | 1295.1824 | 6 | 0
Det-bungalow | 2 |  | 1038.4228 | 6 | 0 |  | Det-bungalow | 2 |  | 1170.2079 | 6 | 0 |  | Det-bungalow | 2 |  | 1325.9184 | 6 | 0
Det-bungalow | 3 |  | 1146.107 | 6 | 0 |  | Det-bungalow | 3 |  | 1291.5582 | 6 | 0 |  | Det-bungalow | 3 |  | 1463.7487 | 6 | 0
Det-bungalow | 4 |  | 1259.4033 | 6 | 0 |  | Det-bungalow | 4 |  | 1419.2328 | 6 | 0 |  | Det-bungalow | 4 |  | 1608.7607 | 6 | 0
Semi-house | 2 |  | 1035.0545 | 6 | 0 |  | Semi-house | 2 |  | 1166.4121 | 6 | 0 |  | Semi-house | 2 |  | 1319.565 | 6 | 0
Semi-house | 3 |  | 1137.0491 | 6 | 0 |  | Semi-house | 3 |  | 1281.3507 | 6 | 0 |  | Semi-house | 3 |  | 1449.8772 | 6 | 0
Semi-house | 4 |  | 1243.7256 | 6 | 0 |  | Semi-house | 4 |  | 1401.5655 | 6 | 0 |  | Semi-house | 4 |  | 1586.1713 | 6 | 0
Det-house | 2 |  | 1380.352 | 6 | 0 |  | Det-house | 2 |  | 1555.5309 | 6 | 0 |  | Det-house | 2 |  | 1758.7025 | 6 | 0
Det-house | 3 |  | 1521.6931 | 6 | 0 |  | Det-house | 3 |  | 1714.8095 | 6 | 0 |  | Det-house | 3 |  | 1939.0534 | 6 | 0
Det-house | 4 |  | 1677.3639 | 6 | 0 |  | Det-house | 4 |  | 1890.2364 | 6 | 0 |  | Det-house | 4 |  | 2137.6917 | 6 | 0