## Lives_DPCR4_actual
Methodology and initial results document appendix
DNO actual lives in DPCR4
[5 empty] | CN_West | CN_East | ENW | CE_NEDL | CE_YEDL | WPD_S_Wales | WPD_S_West | EDFE_LPN | EDFE_SPN | EDFE_EPN | SP_Distribution | SP_Manweb | SSE_Hydro | SSE_Southern | All DNOs
|  |  |  | Asset categories | Implied Lives from actual replacements DPCR4 | Implied Lives from actual replacements DPCR4 | Implied Lives from actual replacements DPCR4 | Implied Lives from actual replacements DPCR4 | Implied Lives from actual replacements DPCR4 | Implied Lives from actual replacements DPCR4 | Implied Lives from actual replacements DPCR4 | Implied Lives from actual replacements DPCR4 | Implied Lives from actual replacements DPCR4 | Implied Lives from actual replacements DPCR4 | Implied Lives from actual replacements DPCR4 | Implied Lives from actual replacements DPCR4 | Implied Lives from actual replacements DPCR4 | Implied Lives from actual replacements DPCR4 | ALL DNO lives from Actuals
LV Network
Overhead lines - Conductor
|  |  |  | LV Main (OHL) | 73.0455 | 65.3081 | 65.6321 | 62.7855 | 61.375 | 63.9299 | 78.0404 | N/A | N/A | N/A | 85.6542 | 65.4959 | 86.9469 | N/A | 74.8642
|  |  |  | LV Service (OHL) | 73.6417 | 67.991 | 69.0813 | 73.3103 | 75.8396 | 46.7757 | 43.8235 | N/A | N/A | N/A | N/A | N/A | 73.4338 | 70.0968 | 62.0016
Overhead lines - Support
|  |  |  | LV Support | 75.6654 | 74.2961 | 70.5621 | 71.3258 | 68.5804 | 63.7218 | 56.9475 | N/A | 72.4782 | 63.9566 | 85.2509 | 65.4923 | N/A | N/A | 69.4543
Underground cables
|  |  |  | LV Main (UG Consac) | 44.008 | N/A | 45.739 | 47.8969 | N/A | N/A | 40.0267 | N/A | N/A | N/A | N/A | N/A | N/A | 41.9489 | 43.8893
|  |  |  | LV Main (UG Plastic) | 34.4047 | 35.6452 | 46.2163 | 22.1435 | 45.1434 | 50.6209 | 33.1025 | N/A | 51.315 | N/A | 86.5967 | 78.9648 | N/A | N/A | 81.1928
|  |  |  | LV Main (UG Paper) | 82.7553 | 93.8824 | 93.038 | 98.0038 | 93.1505 | 83.4499 | 87.0258 | 103.5472 | 101.7397 | 116.0461 | N/A | N/A | N/A | N/A | 99.1691
|  |  |  | LV Service (UG) | 75.1398 | 86.14 | 112.398 | 93.5874 | 93.318 | 105.9929 | 94.7076 | N/A | N/A | N/A | 90.0402 | 85.1993 | 91.5843 | 95.1066 | 94.3905
Switchgear
|  |  |  | LV Pillar (ID) | 47.5563 | 49.7643 | 77.3122 | 49.3609 | 51.8353 | 53.8602 | 58.2705 | 45.8423 | 101.5576 | 48.3858 | 66.8269 | 63.7926 | N/A | N/A | 66.7035
|  |  |  | LV Pillar (OD) | 72.0031 | 48.9146 | 82.3691 | 50.5792 | 49.2043 | 60.9884 | 58.1347 | 61.933 | 94.9403 | 64.653 | 74.8244 | 66.5644 | N/A | 67.7963 | 76.6004
|  |  |  | LV Board (WM) | N/A | N/A | 96.387 | 63.3489 | 65.3744 | N/A | 70.4296 | 62.5089 | 101.0839 | 61.1377 | N/A | N/A | N/A | N/A | 83.0848
LV UGB
LV Fuses (PM)
LV Fuses (TM)
HV network
Overhead lines - Conductor
|  |  |  | 6.6/11 kV OHL (Open) | 58.1688 | 56.8671 | 74.4489 | 68.6664 | 57.4675 | 77.4356 | 77.8903 | N/A | N/A | 61.5816 | 66.4091 | 63.5365 | N/A | N/A | 66.1585
|  |  |  | 6.6/11 kV OHL (Covered) | N/A | N/A | 7.4604 | 38.0414 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 27.8833
|  |  |  | 20 kV OHL (Open) | N/A | N/A | N/A | 69.5912 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 69.5912
|  |  |  | 20 kV OHL (Covered) | N/A | N/A | N/A | 49.1243 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 49.1243
Overhead lines - Support
|  |  |  | 6.6/11 kV Support | 66.5253 | 63.5618 | 63.5473 | 68.0214 | 65.3773 | 59.0059 | 56.5 | N/A | 69.9398 | 65.2711 | 66.9667 | 64.1957 | N/A | N/A | 63.6989
|  |  |  | 20 kV Support | N/A | N/A | N/A | 71.3555 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 71.3555
Underground cables (kms)
|  |  |  | 6.6/11kV UG Cable | 75.4233 | 75.4936 | 97.3678 | 92.6357 | 81.8632 | 73.8986 | 75.3158 | 94.9639 | 100.1068 | 90.624 | 77.4528 | 73.3114 | 92.0812 | 85.5828 | 86.9664
|  |  |  | 20kV UG Cable | N/A | N/A | N/A | 92.7161 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 92.7161
Submarine cables (kms)
|  |  |  | HV Sub Cable | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 33.3413 | N/A | 46.2163
Switchgear
|  |  |  | 6.6/11 kV CB (PM) | 49.0839 | 14.4864 | 69.0615 | 22.1288 | 7.0405 | 29.561 | 15.948 | N/A | 13.5782 | 21.1616 | 42.9883 | 49.7954 | N/A | N/A | 33.5753
|  |  |  | 6.6/11 kV CB (GM) | 53.4283 | 50.4833 | 52.9373 | 54.9264 | 55.2614 | 49.4467 | 52.1373 | 48.8784 | 49.5094 | 47.2481 | 50.8652 | 48.9303 | 58.3831 | 56.7675 | 51.9215
|  |  |  | 6.6/11 kV Switch (PM) | 6.6491 | 1.5051 | 44.8448 | 27.0911 | 24.831 | 45.3475 | 13.85 | N/A | 29.4421 | 20.5011 | N/A | N/A | N/A | N/A | 48.9036
|  |  |  | 6.6/11 kV Switch (GM) | 46.31 | 49.3038 | 49.0121 | 50.6821 | 51.5939 | 55.1383 | 56.6836 | 40.6652 | 41.3253 | 36.9167 | 44.0224 | 76.6494 | 46.4117 | 50.6395 | 46.8338
|  |  |  | 6.6/11 kV RMU | 36.9791 | 42.0197 | 39.98 | 42.7657 | 42.8055 | 36.0312 | 42.7132 | 43.4974 | 40.268 | 46.0347 | 37.9081 | 46.0332 | 41.4051 | 48.3068 | 42.6916
6.6/11 kV Switchgear - Other (PM)
6.6/11 kV Switchgear - Other (GM)
|  |  |  | 20 kV CB (PM) | N/A | N/A | N/A | 32.4961 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 32.4961
|  |  |  | 20 kV CB (GM) | N/A | N/A | N/A | 56.9911 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 56.9911
|  |  |  | 20 kV Switch (PM) | N/A | N/A | N/A | 44.6931 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 44.6931
|  |  |  | 20 kV Switch (GM) | N/A | N/A | N/A | 47.903 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 47.903
|  |  |  | 20 kV RMU | N/A | N/A | N/A | 40.737 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 40.737
20 kV Switchgear - Other (PM)
20 kV Switchgear - Other (GM)
Transformers
|  |  |  | 6.6/11 kV Transformer (PM) | 58.6564 | 55.4838 | 77.6627 | 57.4681 | 52.8965 | 52.2013 | 53.8765 | N/A | 62.9316 | 82.5881 | 60.7083 | 62.2867 | 51.6435 | 67.7099 | 59.4945
|  |  |  | 6.6/11 kV Transformer (GM) | 61.6508 | 54.9834 | 59.0106 | 51.5459 | 53.5384 | 57.4496 | 56.3701 | 59.157 | 58.9264 | 63.2658 | 67.0138 | 61.3256 | 49.753 | 57.41 | 58.1003
|  |  |  | 20 kV Transformer (PM) | N/A | N/A | N/A | 54.7216 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 54.7216
|  |  |  | 20 kV Transformer (GM) | N/A | N/A | N/A | 51.381 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 51.381
EHV Network
Overhead lines - Conductor
|  |  |  | 33kV OHL (Pole Line) | 60.2023 | 52.145 | 76.4053 | 77.1688 | 72.2224 | 62.3882 | 75.1766 | N/A | 65.814 | 63.8319 | 69.124 | 59.0571 | N/A | N/A | 66.366
|  |  |  | 33kV OHL (Tower Line) | N/A | N/A | 74.6376 | N/A | N/A | N/A | N/A | N/A | N/A | 60.1666 | N/A | N/A | N/A | N/A | 74.3143
|  |  |  | 66kV OHL (Pole Line) | N/A | N/A | N/A | 80.3799 | 77.8107 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 80.1909
|  |  |  | 66kV OHL (Tower Line) | N/A | N/A | N/A | 78.0604 | 77.8783 | N/A | N/A | 60.2975 | N/A | N/A | N/A | N/A | N/A | N/A | 77.541
Overhead lines - Support
|  |  |  | 33kV Pole | 67.5995 | 63.9003 | 61.433 | 67.5463 | 81.8579 | 56.0521 | 61.5852 | N/A | 64.1967 | 70.9297 | 68.783 | 61.5423 | N/A | N/A | 65.9428
|  |  |  | 33kV Tower | N/A | N/A | 77.6614 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 90.0913
|  |  |  | 66kV Pole | N/A | N/A | N/A | 61.3351 | 65.4801 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 68.1718
|  |  |  | 66kV Tower | N/A | N/A | N/A | 86.4704 | 94.2858 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 88.9944
Underground cables (kms)
|  |  |  | 33kV UG Cable (Non Pressurised) | 50.864 | 65.74 | 74.7971 | 72.8362 | 94.6382 | N/A | 75.201 | 89.4098 | 89.9893 | 82.5262 | 62.4519 | 69.564 | 65.4048 | 88.3545 | 79.5892
|  |  |  | 33kV UG Cable (Oil) | N/A | N/A | 58.4137 | 51.0926 | 63.2752 | N/A | 67.6149 | 56.3452 | 77.8468 | N/A | N/A | N/A | N/A | N/A | 66.128
|  |  |  | 33kV UG Cable (Gas) | N/A | N/A | 67.356 | 55.2892 | 64.1753 | N/A | N/A | N/A | N/A | 32.9342 | N/A | N/A | N/A | N/A | 64.1575
|  |  |  | 66kV UG Cable (Non Pressurised) | N/A | N/A | N/A | 29.2832 | 46.9526 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 85.1483
|  |  |  | 66kV UG Cable (Oil) | N/A | N/A | N/A | 74.6158 | 44.2568 | N/A | N/A | 76.0301 | N/A | N/A | N/A | N/A | N/A | N/A | 75.1425
|  |  |  | 66kV UG Cable (Gas) | N/A | N/A | N/A | N/A | 55.0469 | N/A | N/A | 62.9742 | N/A | N/A | N/A | N/A | N/A | N/A | 44.4158
Submarine cables (kms)
|  |  |  | EHV Sub Cable | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 38.0287 | N/A | 41.9079
Switchgear
|  |  |  | 33 KV CB (ID) | 42.3813 | 52.7159 | 59.2019 | 54.6632 | 50.2687 | 59.2294 | 47.3586 | 51.1426 | 50.6106 | 44.1164 | 48.6887 | 57.7237 | N/A | 62.2889 | 52.6052
|  |  |  | 33 kV CB (OD) | 55.5791 | 60.7326 | 51.812 | N/A | N/A | 51.1847 | 52.242 | N/A | 46.2911 | 45.3444 | 51.2818 | 42.9927 | 42.6758 | 48.2117 | 50.0126
|  |  |  | 33 kV Switch (GM) | N/A | N/A | N/A | 48.6493 | 51.957 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 65.0386
33 kV Switch (PM)
|  |  |  | 33 kV RMU | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
33 kV Switchgear - Other
|  |  |  | 66 KV CB (ID & OD) | N/A | N/A | N/A | 76.0024 | 46.9046 | 58.4745 | N/A | 53.9593 | N/A | N/A | N/A | N/A | N/A | 47.6266 | 56.0477
66 KV Switchgear - Other
Transformers
|  |  |  | 33 kV Transformer (PM) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 51.4585 | N/A | 51.5353
|  |  |  | 33 kV Transformer (GM) | 61.0069 | 63.7486 | 59.7627 | 55.5539 | 53.8997 | 66.9599 | 66.1847 | 68.7627 | 62.6046 | 62.9977 | 61.8183 | 58.2602 | 60.545 | 60.8954 | 61.4579
|  |  |  | 33 kV AuxiliaryTransfomer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
|  |  |  | 66 kV Transformer | 62.0224 | N/A | N/A | 57.3764 | 55.1792 | 56.5677 | N/A | 58.4827 | N/A | N/A | N/A | N/A | N/A | N/A | 58.4734
|  |  |  | 66 kV AuxiliaryTransfomer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
132kV Network
Overhead lines - Conductor
|  |  |  | 132kV OHL Conductor (Pole Line) | N/A | 89.1903 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 89.0663 | N/A | N/A | 89.1087
|  |  |  | 132kV OHL Conductor (Tower Line) | 66.237 | 64.1355 | 87.9783 | 79.4839 | 77.6496 | N/A | 51.7073 | N/A | 80.3082 | 73.9706 | N/A | N/A | N/A | N/A | 73.8761
Overhead lines - Support
|  |  |  | 132kV Pole | N/A | N/A | N/A | N/A | N/A | 69.1184 | 51.9309 | N/A | N/A | N/A | N/A | 68.8239 | N/A | N/A | 70.086
|  |  |  | 132kV Tower | 71.5591 | 92.3891 | 77.7346 | 89.5272 | N/A | 100.3043 | 93.1958 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 89.8684
|  |  |  | 132kV Fittings (Tower Line) | 71.8703 | 73.077 | 78.4767 | 75.6934 | 67.0339 | N/A | 48.6565 | N/A | 77.6999 | 76.3844 | N/A | N/A | N/A | N/A | 73.1475
Underground cables (kms)
|  |  |  | 132kV UG Cable (Non Pressurised) | N/A | N/A | 53.0345 | 10.4656 | 41.4109 | N/A | N/A | N/A | N/A | N/A | N/A | 12.4534 | N/A | N/A | 53.3856
|  |  |  | 132kV UG Cable (Oil) | N/A | N/A | 60.7541 | 58.3283 | 63.05 | 66.6987 | 74.3426 | 54.9074 | 59.7287 | 82.6356 | N/A | N/A | N/A | N/A | 66.0633
|  |  |  | 132kV UG Cable (Gas) | N/A | N/A | N/A | N/A | 41.286 | N/A | N/A | 47.7513 | 56.3674 | N/A | N/A | 67.736 | N/A | N/A | 54.577
Submarine cables (kms)
|  |  |  | 132 kV Sub Cable | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Switchgear
|  |  |  | 132 kV CB (ID & OD) | N/A | 56.7482 | 46.0442 | 57.8777 | 47.1461 | 46.8071 | 52.1248 | 59.0263 | 52.5999 | 49.339 | N/A | 60.2096 | N/A | 41.8646 | 53.3063
132 kV Switchgear (other)
Transformers
|  |  |  | 132 kV Transformer | 60.9788 | 68.2246 | 55.3878 | 54.6499 | N/A | 56.4976 | 51.9563 | N/A | 60.3325 | 54.7739 | N/A | 56.1844 | N/A | 57.9308 | 58.1691
132 kV AuxiliaryTransfomer
Tele-control / SCADA
Primary substation
132 kV/EHV RTU (PM)
132 kV/EHV RTU (GM)
Secondary substation
HV RTU (PM)
HV RTU (GM)

## Lives_DPCR5_forecast
Methodology and initial results document appendix
DNO forecast lives
[5 empty] | CN_West | CN_East | ENW | CE_NEDL | CE_YEDL | WPD_S_Wales | WPD_S_West | EDFE_LPN | EDFE_SPN | EDFE_EPN | SP_Distribution | SP_Manweb | SSE_Hydro | SSE_Southern | All DNOs
|  |  |  | Asset categories | Implied Lives from forecast replacements DPCR5 | Implied Lives from forecast replacements DPCR5 | Implied Lives from forecast replacements DPCR5 | Implied Lives from forecast replacements DPCR5 | Implied Lives from forecast replacements DPCR5 | Implied Lives from forecast replacements DPCR5 | Implied Lives from forecast replacements DPCR5 | Implied Lives from forecast replacements DPCR5 | Implied Lives from forecast replacements DPCR5 | Implied Lives from forecast replacements DPCR5 | Implied Lives from forecast replacements DPCR5 | Implied Lives from forecast replacements DPCR5 | Implied Lives from forecast replacements DPCR5 | Implied Lives from forecast replacements DPCR5 | ALL DNO lives from forecast
LV Network
Overhead lines - Conductor
|  |  |  | LV Main (OHL) | 71.8293 | 69.1155 | 73.8938 | 61.9629 | 61.5719 | 68.3777 | 77.8065 | N/A | N/A | N/A | 80.4093 | 61.4793 | 90.6261 | N/A | 74.4335
|  |  |  | LV Service (OHL) | 70.3994 | 67.8602 | 72.502 | 92.6036 | 97.474 | 50.3443 | 48.6965 | N/A | N/A | N/A | N/A | N/A | 70.5862 | 71.0909 | 67.0347
Overhead lines - Support
|  |  |  | LV Support | 73.8591 | 75.0246 | 59.7885 | 68.5467 | 69.0133 | 67.1367 | 60.0219 | N/A | 74.0908 | 68.887 | 83.8794 | 63.8984 | N/A | N/A | 69.4956
Underground cables
|  |  |  | LV Main (UG Consac) | 45.5189 | N/A | 50.7882 | 57.0161 | N/A | N/A | 44.3375 | N/A | N/A | N/A | N/A | N/A | N/A | 44.6949 | 47.1912
|  |  |  | LV Main (UG Plastic) | 42.2011 | 45.2574 | 51.9082 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 87.0556 | 81.0775 | N/A | N/A | 84.3794
|  |  |  | LV Main (UG Paper) | 102.8802 | 100.9912 | 95.5163 | 103.7475 | 103.205 | 86.2249 | 89.3108 | 115.6092 | 122.1223 | 120.5656 | N/A | N/A | N/A | N/A | 107.1764
|  |  |  | LV Service (UG) | 95.2872 | 95.7105 | 130.3816 | 101.74 | 99.6486 | 101.6986 | 89.4863 | N/A | N/A | N/A | 91.8735 | 88.0209 | 94.3422 | 98.8442 | 104.9094
Switchgear
|  |  |  | LV Pillar (ID) | 54.3485 | 54.3431 | 86.7786 | N/A | N/A | 63.3913 | 62.694 | N/A | 103.6343 | 40.85 | 67.9176 | 64.8876 | N/A | N/A | 73.2715
|  |  |  | LV Pillar (OD) | 61.157 | 48.5678 | 82.3418 | 50.1238 | 50.5996 | 59.3158 | 58.9679 | N/A | 101.7895 | 69.1478 | 70.2653 | 59.4578 | N/A | 74.0405 | 71.0277
|  |  |  | LV Board (WM) | N/A | 60.9617 | 100.7472 | 60.4998 | 62.9594 | 65.1668 | 66.2622 | 74.3166 | N/A | 73.5904 | N/A | N/A | N/A | N/A | 85.062
LV UGB
LV Fuses (PM)
LV Fuses (TM)
HV network
Overhead lines - Conductor
|  |  |  | 6.6/11 kV OHL (Open) | 55.1581 | 54.3909 | 97.0361 | 69.6532 | 61.9526 | 72.0909 | 75.7946 | N/A | N/A | 65.536 | 69.8287 | 66.8034 | N/A | N/A | 66.3444
|  |  |  | 6.6/11 kV OHL (Covered) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
|  |  |  | 20 kV OHL (Open) | N/A | N/A | N/A | 69.9099 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 69.9099
|  |  |  | 20 kV OHL (Covered) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Overhead lines - Support
|  |  |  | 6.6/11 kV Support | 68.4511 | 66.0083 | 61.747 | 69.4664 | 70.3154 | 62.0853 | 60.5179 | N/A | 70.5389 | 68.1922 | 70.5193 | 67.6942 | N/A | N/A | 66.4331
|  |  |  | 20 kV Support | N/A | N/A | N/A | 70.6669 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 70.6669
Underground cables (kms)
|  |  |  | 6.6/11kV UG Cable | 80.8792 | 80.7035 | 97.2266 | 88.7535 | 89.1405 | 76.8864 | 76.5774 | N/A | 105.446 | 93.5375 | 81.996 | 78.4769 | 99.6627 | 91.646 | 91.2844
|  |  |  | 20kV UG Cable | N/A | N/A | N/A | 91.2088 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 91.2088
Submarine cables (kms)
|  |  |  | HV Sub Cable | N/A | N/A | N/A | N/A | N/A | 60.0303 | 55.8204 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 79.7134
Switchgear
|  |  |  | 6.6/11 kV CB (PM) | 47.292 | 49.5687 | 79.8683 | 9.8481 | 12.4519 | 45.3586 | 28.8216 | N/A | 21.5106 | 28.3695 | 52.3523 | 57.3244 | N/A | N/A | 39.7741
|  |  |  | 6.6/11 kV CB (GM) | 56.0407 | 56.0826 | 54.0597 | 55.9857 | 59.8483 | 54.0198 | 56.4222 | 60.3644 | 46.7949 | 49.4686 | 56.7433 | 50.0673 | 66.4544 | 56.9886 | 55.3935
|  |  |  | 6.6/11 kV Switch (PM) | 11.2448 | 4.1493 | 9.7385 | N/A | N/A | 46.0449 | 27.8392 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 56.3246
|  |  |  | 6.6/11 kV Switch (GM) | 48.569 | 48.8095 | 53.1456 | 48.8244 | 51.7828 | 52.9162 | 52.4906 | 48.8898 | 45.8953 | 28.8836 | 56.272 | N/A | 49.2118 | 52.3335 | 49.399
|  |  |  | 6.6/11 kV RMU | 40.4678 | 41.1471 | 42.2336 | 42.0313 | 48.1103 | 41.1698 | 45.5482 | 44.321 | N/A | 55.8157 | 41.505 | 45.8612 | 44.9296 | 48.3716 | 45.1692
6.6/11 kV Switchgear - Other (PM)
6.6/11 kV Switchgear - Other (GM)
|  |  |  | 20 kV CB (PM) | N/A | N/A | N/A | 9.6127 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 9.6127
|  |  |  | 20 kV CB (GM) | N/A | N/A | N/A | 60.4645 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 60.4645
|  |  |  | 20 kV Switch (PM) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
|  |  |  | 20 kV Switch (GM) | N/A | N/A | N/A | 48.577 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 48.577
|  |  |  | 20 kV RMU | N/A | N/A | N/A | 39.1724 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 39.1724
20 kV Switchgear - Other (PM)
20 kV Switchgear - Other (GM)
Transformers
|  |  |  | 6.6/11 kV Transformer (PM) | 59.7776 | 58.1956 | 93.2563 | 73.9249 | 72.2579 | 53.8907 | 53.665 | N/A | 76.2593 | 80.7363 | 61.4002 | 63.8689 | 54.374 | 71.8914 | 62.4557
|  |  |  | 6.6/11 kV Transformer (GM) | 60.3693 | 59.5719 | 60.4949 | 52.3259 | 55.7084 | 59.8323 | 59.3036 | 63.5155 | 69.1371 | 68.3751 | 70.4977 | 67.1407 | 59.3662 | 63.7983 | 62.3558
|  |  |  | 20 kV Transformer (PM) | N/A | N/A | N/A | 70.359 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 70.359
|  |  |  | 20 kV Transformer (GM) | N/A | N/A | N/A | 52.0844 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 52.0844
EHV Network
Overhead lines - Conductor
|  |  |  | 33kV OHL (Pole Line) | 66.967 | 41.9398 | 73.1634 | 75.3414 | 72.1229 | 67.9009 | 73.5011 | N/A | 77.3754 | 64.6442 | 69.615 | 60.6842 | N/A | N/A | 65.892
|  |  |  | 33kV OHL (Tower Line) | N/A | 49.4152 | 74.5983 | N/A | N/A | 83.6459 | N/A | N/A | N/A | 64.596 | N/A | N/A | N/A | N/A | 59.8541
|  |  |  | 66kV OHL (Pole Line) | 68.4688 | N/A | N/A | 74.9492 | 78.1373 | 67.439 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 72.4804
|  |  |  | 66kV OHL (Tower Line) | N/A | N/A | N/A | 71.5914 | N/A | 72.8475 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 72.8087
Overhead lines - Support
|  |  |  | 33kV Pole | 63.0358 | 55.9193 | 58.7781 | 69.2945 | 83.7857 | 61.4914 | 64.1308 | N/A | 75.471 | 76.1312 | 68.4874 | 60.6793 | N/A | N/A | 64.8587
|  |  |  | 33kV Tower | 26.5867 | 34.1874 | 81.8356 | N/A | N/A | 94.5049 | 95.1023 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 72.2748
|  |  |  | 66kV Pole | 70.3581 | N/A | N/A | 62.7732 | 85.6666 | 65.2034 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 70.5819
|  |  |  | 66kV Tower | N/A | N/A | N/A | N/A | N/A | 100.6653 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 105.3451
Underground cables (kms)
|  |  |  | 33kV UG Cable (Non Pressurised) | 51.9941 | 70.4566 | N/A | 76.4592 | 91.9158 | 73.1625 | 74.0698 | 97.4355 | 88.0148 | 86.9415 | 66.5865 | 73.1646 | 69.5184 | 93.9812 | 82.4561
|  |  |  | 33kV UG Cable (Oil) | 49.4539 | 86.8255 | 58.9705 | 51.3049 | 61.9703 | N/A | 63.9999 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 66.2982
|  |  |  | 33kV UG Cable (Gas) | N/A | N/A | 77.2403 | 56.0066 | 62.0131 | 66.5136 | 67.885 | N/A | 23.3643 | N/A | N/A | N/A | N/A | N/A | 65.8676
|  |  |  | 66kV UG Cable (Non Pressurised) | N/A | N/A | N/A | 35.2453 | 55.3269 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 92.3392
|  |  |  | 66kV UG Cable (Oil) | N/A | N/A | N/A | 72.4597 | 48.5736 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 81.0299
|  |  |  | 66kV UG Cable (Gas) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 53.482 | 58.1717
Submarine cables (kms)
|  |  |  | EHV Sub Cable | N/A | N/A | N/A | N/A | N/A | 54.0916 | 44.382 | N/A | N/A | N/A | N/A | N/A | 36.5916 | N/A | 39.6828
Switchgear
|  |  |  | 33 KV CB (ID) | 49.4672 | 59.465 | 68.8113 | 67.9953 | 66.5461 | 56.7955 | 49.8299 | 64.4743 | 49.5633 | N/A | N/A | N/A | 56.5137 | 61.8153 | 60.7368
|  |  |  | 33 kV CB (OD) | 56.3235 | 55.9026 | 45.1125 | N/A | N/A | 56.1918 | 53.9464 | N/A | N/A | 43.5384 | 45.5986 | 14.3928 | 41.9976 | 53.9075 | 49.5836
|  |  |  | 33 kV Switch (GM) | N/A | N/A | N/A | N/A | N/A | 57.0162 | 54.4831 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 73.9387
33 kV Switch (PM)
|  |  |  | 33 kV RMU | N/A | 45.6108 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 62.552
33 kV Switchgear - Other
|  |  |  | 66 KV CB (ID & OD) | 58.1308 | N/A | N/A | 61.5709 | 54.3704 | 55.4294 | N/A | 58.2086 | N/A | N/A | N/A | N/A | N/A | 53.8069 | 58.5926
66 KV Switchgear - Other
Transformers
|  |  |  | 33 kV Transformer (PM) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 55.3748 | 50.6371 | 55.3445
|  |  |  | 33 kV Transformer (GM) | 63.422 | 65.0199 | 61.7469 | 56.1785 | 61.7252 | 61.0923 | 59.7024 | 70.812 | 63.892 | 65.1731 | 58.5078 | 57.1633 | 59.4517 | 58.7816 | 61.009
|  |  |  | 33 kV AuxiliaryTransfomer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
|  |  |  | 66 kV Transformer | 70.6807 | N/A | N/A | 58.319 | 54.9114 | 56.3412 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 62.5543
|  |  |  | 66 kV AuxiliaryTransfomer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
132kV Network
Overhead lines - Conductor
|  |  |  | 132kV OHL Conductor (Pole Line) | N/A | N/A | N/A | N/A | N/A | N/A | 65.6514 | N/A | N/A | N/A | N/A | 89.8612 | N/A | N/A | 91.2898
|  |  |  | 132kV OHL Conductor (Tower Line) | 60.5435 | 64.1712 | 77.8299 | 66.02 | 66.6634 | 67.2179 | 62.9065 | 69.8675 | 73.8095 | 73.6083 | N/A | N/A | N/A | N/A | 69.0649
Overhead lines - Support
|  |  |  | 132kV Pole | N/A | N/A | N/A | N/A | N/A | 65.1882 | 63.8657 | N/A | N/A | N/A | N/A | 63.6143 | N/A | N/A | 68.135
|  |  |  | 132kV Tower | 77.2484 | 98.95 | 81.244 | N/A | N/A | 100.8066 | 99.7207 | 67.3827 | N/A | N/A | N/A | N/A | N/A | N/A | 95.1084
|  |  |  | 132kV Fittings (Tower Line) | 79.2183 | 80.4599 | 73.4616 | 55.7877 | 51.3192 | 42.409 | 44.9233 | 64.9359 | 71.0126 | 75.8184 | N/A | N/A | N/A | N/A | 66.1429
Underground cables (kms)
|  |  |  | 132kV UG Cable (Non Pressurised) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 71.9248 | 80.9084
|  |  |  | 132kV UG Cable (Oil) | 64.2892 | 53.6243 | 68.0189 | 56.4482 | 56.9927 | 64.6517 | 63.9616 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 69.6707
|  |  |  | 132kV UG Cable (Gas) | 68.3916 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 42.4184 | N/A | N/A | 45.4639 | N/A | N/A | 53.0686
Submarine cables (kms)
|  |  |  | 132 kV Sub Cable | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 19.3364 | 19.3364
Switchgear
|  |  |  | 132 kV CB (ID & OD) | 54.1581 | 51.3041 | 47.8065 | 41.9098 | 42.0121 | 38.6462 | 57.8775 | 56.6875 | 53.3605 | 52.8728 | N/A | 56.4958 | N/A | 44.5704 | 51.6816
132 kV Switchgear (other)
Transformers
|  |  |  | 132 kV Transformer | 61.6617 | 62.8722 | 54.7258 | 54.5617 | 59.7845 | 56.7536 | 54.762 | N/A | 62.1061 | 65.033 | N/A | 57.6955 | N/A | 58.0724 | 60.1187
132 kV AuxiliaryTransfomer
Tele-control / SCADA
Primary substation
132 kV/EHV RTU (PM)
132 kV/EHV RTU (GM)
Secondary substation
HV RTU (PM)
HV RTU (GM)

## Diff_actuals_v_forecast
Methodology and initial results document appendix
Difference between DNO forecast and DNO actual lives
Where negative DNO is forecasting lower lives than it has achieved in DPCR4
[5 empty] | CN_West | CN_East | ENW | CE_NEDL | CE_YEDL | WPD_S_Wales | WPD_S_West | EDFE_LPN | EDFE_SPN | EDFE_EPN | SP_Distribution | SP_Manweb | SSE_Hydro | SSE_Southern | All DNOs
|  |  |  | Asset categories | Diff in lives (Forecast - Actuals) | Diff in lives (Forecast - Actuals) | Diff in lives (Forecast - Actuals) | Diff in lives (Forecast - Actuals) | Diff in lives (Forecast - Actuals) | Diff in lives (Forecast - Actuals) | Diff in lives (Forecast - Actuals) | Diff in lives (Forecast - Actuals) | Diff in lives (Forecast - Actuals) | Diff in lives (Forecast - Actuals) | Diff in lives (Forecast - Actuals) | Diff in lives (Forecast - Actuals) | Diff in lives (Forecast - Actuals) | Diff in lives (Forecast - Actuals) | Diff in lives (Forecast - Actuals)
LV Network
Overhead lines - Conductor
|  |  |  | LV Main (OHL) | -1.2161 | 3.8074 | 8.2617 | -0.82263 | 0.19693 | 4.4478 | -0.23394 | N/A | N/A | N/A | -5.2449 | -4.0166 | 3.6792 | N/A | -0.43073
|  |  |  | LV Service (OHL) | -3.2423 | -0.13074 | 3.4208 | 19.2933 | 21.6344 | 3.5686 | 4.873 | N/A | N/A | N/A | N/A | N/A | -2.8476 | 0.99401 | 5.0331
Overhead lines - Support
|  |  |  | LV Support | -1.8062 | 0.7285 | -10.7736 | -2.7791 | 0.43291 | 3.4149 | 3.0744 | N/A | 1.6125 | 4.9304 | -1.3714 | -1.5939 | N/A | N/A | 0.041333
Underground cables
|  |  |  | LV Main (UG Consac) | 1.511 | N/A | 5.0492 | 9.1192 | N/A | N/A | 4.3108 | N/A | N/A | N/A | N/A | N/A | N/A | 2.746 | 3.3019
|  |  |  | LV Main (UG Plastic) | 7.7965 | 9.6123 | 5.6919 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0.45897 | 2.1127 | N/A | N/A | 3.1866
|  |  |  | LV Main (UG Paper) | 20.125 | 7.1088 | 2.4782 | 5.7437 | 10.0545 | 2.7751 | 2.285 | 12.062 | 20.3826 | 4.5195 | N/A | N/A | N/A | N/A | 8.0073
|  |  |  | LV Service (UG) | 20.1474 | 9.5705 | 17.9835 | 8.1526 | 6.3306 | -4.2943 | -5.2213 | N/A | N/A | N/A | 1.8332 | 2.8216 | 2.758 | 3.7376 | 10.5189
Switchgear
|  |  |  | LV Pillar (ID) | 6.7922 | 4.5788 | 9.4664 | N/A | N/A | 9.531 | 4.4235 | N/A | 2.0767 | -7.5358 | 1.0906 | 1.095 | N/A | N/A | 6.5679
|  |  |  | LV Pillar (OD) | -10.8461 | -0.34677 | -0.027368 | -0.45538 | 1.3954 | -1.6726 | 0.83324 | N/A | 6.8492 | 4.4949 | -4.5591 | -7.1066 | N/A | 6.2442 | -5.5727
|  |  |  | LV Board (WM) | N/A | N/A | 4.3602 | -2.849 | -2.415 | N/A | -4.1673 | 11.8077 | N/A | 12.4527 | N/A | N/A | N/A | N/A | 1.9772
LV UGB
LV Fuses (PM)
LV Fuses (TM)
HV network
Overhead lines - Conductor
|  |  |  | 6.6/11 kV OHL (Open) | -3.0107 | -2.4762 | 22.5872 | 0.98687 | 4.4851 | -5.3447 | -2.0957 | N/A | N/A | 3.9544 | 3.4196 | 3.267 | N/A | N/A | 0.18592
|  |  |  | 6.6/11 kV OHL (Covered) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
|  |  |  | 20 kV OHL (Open) | N/A | N/A | N/A | 0.31866 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0.31866
|  |  |  | 20 kV OHL (Covered) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Overhead lines - Support
|  |  |  | 6.6/11 kV Support | 1.9258 | 2.4465 | -1.8003 | 1.445 | 4.9381 | 3.0794 | 4.0179 | N/A | 0.59908 | 2.921 | 3.5525 | 3.4985 | N/A | N/A | 2.7341
|  |  |  | 20 kV Support | N/A | N/A | N/A | -0.68853 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | -0.68853
Underground cables (kms)
|  |  |  | 6.6/11kV UG Cable | 5.4559 | 5.2099 | -0.14118 | -3.8823 | 7.2773 | 2.9878 | 1.2616 | N/A | 5.3392 | 2.9135 | 4.5433 | 5.1655 | 7.5814 | 6.0633 | 4.3179
|  |  |  | 20kV UG Cable | N/A | N/A | N/A | -1.5073 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | -1.5073
Submarine cables (kms)
|  |  |  | HV Sub Cable | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 33.4971
Switchgear
|  |  |  | 6.6/11 kV CB (PM) | -1.7918 | 35.0823 | 10.8068 | -12.2807 | 5.4113 | 15.7976 | 12.8737 | N/A | 7.9323 | 7.2079 | 9.3639 | 7.529 | N/A | N/A | 6.1988
|  |  |  | 6.6/11 kV CB (GM) | 2.6123 | 5.5993 | 1.1223 | 1.0593 | 4.5868 | 4.5731 | 4.2849 | 11.486 | -2.7146 | 2.2205 | 5.8782 | 1.1369 | 8.0713 | 0.22112 | 3.472
|  |  |  | 6.6/11 kV Switch (PM) | 4.5957 | 2.6442 | -35.1064 | N/A | N/A | 0.69735 | 13.9892 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 7.421
|  |  |  | 6.6/11 kV Switch (GM) | 2.259 | -0.49432 | 4.1335 | -1.8578 | 0.18888 | -2.2221 | -4.193 | 8.2246 | 4.5699 | -8.0331 | 12.2497 | N/A | 2.8 | 1.694 | 2.5652
|  |  |  | 6.6/11 kV RMU | 3.4887 | -0.87258 | 2.2535 | -0.73437 | 5.3047 | 5.1386 | 2.835 | 0.82361 | N/A | 9.781 | 3.597 | -0.17205 | 3.5245 | 0.064764 | 2.4776
6.6/11 kV Switchgear - Other (PM)
6.6/11 kV Switchgear - Other (GM)
|  |  |  | 20 kV CB (PM) | N/A | N/A | N/A | -22.8835 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | -22.8835
|  |  |  | 20 kV CB (GM) | N/A | N/A | N/A | 3.4734 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 3.4734
|  |  |  | 20 kV Switch (PM) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
|  |  |  | 20 kV Switch (GM) | N/A | N/A | N/A | 0.67395 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0.67395
|  |  |  | 20 kV RMU | N/A | N/A | N/A | -1.5646 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | -1.5646
20 kV Switchgear - Other (PM)
20 kV Switchgear - Other (GM)
Transformers
|  |  |  | 6.6/11 kV Transformer (PM) | 1.1212 | 2.7118 | 15.5936 | 16.4567 | 19.3615 | 1.6894 | -0.21155 | N/A | 13.3277 | -1.8518 | 0.69184 | 1.5823 | 2.7305 | 4.1815 | 2.9611
|  |  |  | 6.6/11 kV Transformer (GM) | -1.2814 | 4.5885 | 1.4843 | 0.78004 | 2.1701 | 2.3826 | 2.9336 | 4.3585 | 10.2107 | 5.1093 | 3.4839 | 5.8151 | 9.6132 | 6.3883 | 4.2556
|  |  |  | 20 kV Transformer (PM) | N/A | N/A | N/A | 15.6375 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 15.6375
|  |  |  | 20 kV Transformer (GM) | N/A | N/A | N/A | 0.70343 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0.70343
EHV Network
Overhead lines - Conductor
|  |  |  | 33kV OHL (Pole Line) | 6.7647 | -10.2052 | -3.2419 | -1.8274 | -0.099454 | 5.5127 | -1.6755 | N/A | 11.5613 | 0.81228 | 0.49099 | 1.6271 | N/A | N/A | -0.47397
|  |  |  | 33kV OHL (Tower Line) | N/A | N/A | -0.039224 | N/A | N/A | N/A | N/A | N/A | N/A | 4.4293 | N/A | N/A | N/A | N/A | -14.4602
|  |  |  | 66kV OHL (Pole Line) | N/A | N/A | N/A | -5.4308 | 0.32665 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | -7.7105
|  |  |  | 66kV OHL (Tower Line) | N/A | N/A | N/A | -6.469 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | -4.7322
Overhead lines - Support
|  |  |  | 33kV Pole | -4.5637 | -7.981 | -2.6549 | 1.7483 | 1.9278 | 5.4393 | 2.5457 | N/A | 11.2743 | 5.2015 | -0.29564 | -0.86302 | N/A | N/A | -1.0842
|  |  |  | 33kV Tower | N/A | N/A | 4.1742 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | -17.8166
|  |  |  | 66kV Pole | N/A | N/A | N/A | 1.4381 | 20.1865 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2.4102
|  |  |  | 66kV Tower | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 16.3507
Underground cables (kms)
|  |  |  | 33kV UG Cable (Non Pressurised) | 1.1301 | 4.7166 | N/A | 3.623 | -2.7223 | N/A | -1.1311 | 8.0257 | -1.9745 | 4.4153 | 4.1346 | 3.6006 | 4.1136 | 5.6267 | 2.8669
|  |  |  | 33kV UG Cable (Oil) | N/A | N/A | 0.55681 | 0.21225 | -1.3049 | N/A | -3.6151 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0.17022
|  |  |  | 33kV UG Cable (Gas) | N/A | N/A | 9.8843 | 0.71733 | -2.1621 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 1.7101
|  |  |  | 66kV UG Cable (Non Pressurised) | N/A | N/A | N/A | 5.9621 | 8.3743 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 7.1909
|  |  |  | 66kV UG Cable (Oil) | N/A | N/A | N/A | -2.1561 | 4.3168 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 5.8874
|  |  |  | 66kV UG Cable (Gas) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 13.7559
Submarine cables (kms)
|  |  |  | EHV Sub Cable | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | -1.4371 | N/A | -2.2251
Switchgear
|  |  |  | 33 KV CB (ID) | 7.0859 | 6.7491 | 9.6094 | 13.3321 | 16.2774 | -2.4339 | 2.4713 | 13.3317 | -1.0472 | N/A | N/A | N/A | N/A | -0.47356 | 8.1316
|  |  |  | 33 kV CB (OD) | 0.74446 | -4.83 | -6.6995 | N/A | N/A | 5.0072 | 1.7043 | N/A | N/A | -1.806 | -5.6832 | -28.5999 | -0.67826 | 5.6958 | -0.429
|  |  |  | 33 kV Switch (GM) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 8.9001
33 kV Switch (PM)
|  |  |  | 33 kV RMU | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
33 kV Switchgear - Other
|  |  |  | 66 KV CB (ID & OD) | N/A | N/A | N/A | -14.4316 | 7.4658 | -3.0451 | N/A | 4.2493 | N/A | N/A | N/A | N/A | N/A | 6.1803 | 2.5448
66 KV Switchgear - Other
Transformers
|  |  |  | 33 kV Transformer (PM) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 3.9163 | N/A | 3.8092
|  |  |  | 33 kV Transformer (GM) | 2.4151 | 1.2713 | 1.9841 | 0.62462 | 7.8255 | -5.8676 | -6.4823 | 2.0493 | 1.2874 | 2.1754 | -3.3105 | -1.0969 | -1.0933 | -2.1138 | -0.44895
|  |  |  | 33 kV AuxiliaryTransfomer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
|  |  |  | 66 kV Transformer | 8.6584 | N/A | N/A | 0.94257 | -0.26778 | -0.22641 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 4.081
|  |  |  | 66 kV AuxiliaryTransfomer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
132kV Network
Overhead lines - Conductor
|  |  |  | 132kV OHL Conductor (Pole Line) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0.79489 | N/A | N/A | 2.181
|  |  |  | 132kV OHL Conductor (Tower Line) | -5.6935 | 0.035692 | -10.1484 | -13.4639 | -10.9863 | N/A | 11.1992 | N/A | -6.4987 | -0.36229 | N/A | N/A | N/A | N/A | -4.8111
Overhead lines - Support
|  |  |  | 132kV Pole | N/A | N/A | N/A | N/A | N/A | -3.9302 | 11.9349 | N/A | N/A | N/A | N/A | -5.2096 | N/A | N/A | -1.951
|  |  |  | 132kV Tower | 5.6893 | 6.5608 | 3.5094 | N/A | N/A | 0.5023 | 6.5249 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 5.24
|  |  |  | 132kV Fittings (Tower Line) | 7.348 | 7.3829 | -5.0151 | -19.9057 | -15.7146 | N/A | -3.7332 | N/A | -6.6873 | -0.56601 | N/A | N/A | N/A | N/A | -7.0046
Underground cables (kms)
|  |  |  | 132kV UG Cable (Non Pressurised) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 27.5229
|  |  |  | 132kV UG Cable (Oil) | N/A | N/A | 7.2647 | -1.8801 | -6.0574 | -2.047 | -10.3809 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 3.6074
|  |  |  | 132kV UG Cable (Gas) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | -13.9491 | N/A | N/A | -22.2721 | N/A | N/A | -1.5084
Submarine cables (kms)
|  |  |  | 132 kV Sub Cable | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Switchgear
|  |  |  | 132 kV CB (ID & OD) | N/A | -5.4441 | 1.7623 | -15.9679 | -5.134 | -8.1608 | 5.7527 | -2.3387 | 0.76059 | 3.5338 | N/A | -3.7138 | N/A | 2.7059 | -1.6246
132 kV Switchgear (other)
Transformers
|  |  |  | 132 kV Transformer | 0.68282 | -5.3524 | -0.66205 | -0.088248 | N/A | 0.25608 | 2.8058 | N/A | 1.7736 | 10.2591 | N/A | 1.5111 | N/A | 0.1416 | 1.9496
132 kV AuxiliaryTransfomer
Tele-control / SCADA
Primary substation
132 kV/EHV RTU (PM)
132 kV/EHV RTU (GM)
Secondary substation
HV RTU (PM)
HV RTU (GM)

## Diff_DNOforecast_v_AllDNO
Methodology and initial results document appendix
Difference between DNO forecast and industry lives
Where negative DNO lives are lower than industry (i.e. volumes appear high)
[5 empty] | CN_West | CN_East | ENW | CE_NEDL | CE_YEDL | WPD_S_Wales | WPD_S_West | EDFE_LPN | EDFE_SPN | EDFE_EPN | SP_Distribution | SP_Manweb | SSE_Hydro | SSE_Southern | All DNOs
|  |  |  | Asset categories | Diff in lives (Forecast - Actuals) | Diff in lives (Forecast - Actuals) | Diff in lives (Forecast - Actuals) | Diff in lives (Forecast - Actuals) | Diff in lives (Forecast - Actuals) | Diff in lives (Forecast - Actuals) | Diff in lives (Forecast - Actuals) | Diff in lives (Forecast - Actuals) | Diff in lives (Forecast - Actuals) | Diff in lives (Forecast - Actuals) | Diff in lives (Forecast - Actuals) | Diff in lives (Forecast - Actuals) | Diff in lives (Forecast - Actuals) | Diff in lives (Forecast - Actuals) | Diff in lives (Forecast - Actuals)
LV Network
Overhead lines - Conductor
|  |  |  | LV Main (OHL) | -2.6042 | -5.318 | -0.53977 | -12.4706 | -12.8616 | -6.0558 | 3.3729 | N/A | N/A | N/A | 5.9758 | -12.9542 | 16.1926 | N/A | -0.43073
|  |  |  | LV Service (OHL) | 8.3979 | 5.8587 | 10.5005 | 30.602 | 35.4724 | -11.6573 | -13.3051 | N/A | N/A | N/A | N/A | N/A | 8.5846 | 9.0893 | 5.0331
Overhead lines - Support
|  |  |  | LV Support | 4.4049 | 5.5703 | -9.6657 | -0.90755 | -0.44095 | -2.3176 | -9.4324 | N/A | 4.6365 | -0.56729 | 14.4252 | -5.5559 | N/A | N/A | 0.041333
Underground cables
|  |  |  | LV Main (UG Consac) | 1.6297 | N/A | 6.8989 | 13.1269 | N/A | N/A | 0.44824 | N/A | N/A | N/A | N/A | N/A | N/A | 0.80561 | 3.3019
|  |  |  | LV Main (UG Plastic) | -38.9916 | -35.9353 | -29.2846 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 5.8629 | -0.11523 | N/A | N/A | 3.1866
|  |  |  | LV Main (UG Paper) | 3.7111 | 1.8221 | -3.6529 | 4.5784 | 4.0358 | -12.9442 | -9.8584 | 16.4401 | 22.9531 | 21.3965 | N/A | N/A | N/A | N/A | 8.0073
|  |  |  | LV Service (UG) | 0.89671 | 1.32 | 35.9911 | 7.3495 | 5.2581 | 7.3081 | -4.9042 | N/A | N/A | N/A | -2.517 | -6.3696 | -0.048291 | 4.4537 | 10.5189
Switchgear
|  |  |  | LV Pillar (ID) | -12.355 | -12.3604 | 20.0751 | N/A | N/A | -3.3122 | -4.0095 | N/A | 36.9308 | -25.8535 | 1.2141 | -1.8159 | N/A | N/A | 6.5679
|  |  |  | LV Pillar (OD) | -9.8706 | -22.4599 | 11.3141 | -20.9039 | -20.428 | -11.7118 | -12.0597 | N/A | 30.7619 | -1.8798 | -0.76238 | -11.5699 | N/A | 3.0129 | -5.5727
|  |  |  | LV Board (WM) | N/A | -22.1231 | 17.6624 | -22.585 | -20.1254 | -17.918 | -16.8226 | -8.7682 | N/A | -9.4944 | N/A | N/A | N/A | N/A | 1.9772
LV UGB
LV Fuses (PM)
LV Fuses (TM)
HV network
Overhead lines - Conductor
|  |  |  | 6.6/11 kV OHL (Open) | -11.0004 | -11.7676 | 30.8776 | 3.4947 | -4.206 | 5.9324 | 9.6361 | N/A | N/A | -0.62253 | 3.6702 | 0.64491 | N/A | N/A | 0.18592
|  |  |  | 6.6/11 kV OHL (Covered) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
|  |  |  | 20 kV OHL (Open) | N/A | N/A | N/A | 0.31866 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0.31866
|  |  |  | 20 kV OHL (Covered) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Overhead lines - Support
|  |  |  | 6.6/11 kV Support | 4.7521 | 2.3094 | -1.952 | 5.7675 | 6.6164 | -1.6136 | -3.181 | N/A | 6.8399 | 4.4932 | 6.8203 | 3.9953 | N/A | N/A | 2.7341
|  |  |  | 20 kV Support | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | -0.68853
Underground cables (kms)
|  |  |  | 6.6/11kV UG Cable | -6.0872 | -6.2629 | 10.2602 | 1.7871 | 2.174 | -10.08 | -10.389 | N/A | 18.4796 | 6.5711 | -4.9704 | -8.4895 | 12.6962 | 4.6796 | 4.3179
|  |  |  | 20kV UG Cable | N/A | N/A | N/A | -9.8055e-13 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | -1.5073
Submarine cables (kms)
|  |  |  | HV Sub Cable | N/A | N/A | N/A | N/A | N/A | 13.814 | 9.6041 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 33.4971
Switchgear
|  |  |  | 6.6/11 kV CB (PM) | 13.7168 | 15.9934 | 46.293 | -23.7272 | -21.1234 | 11.7833 | -4.7536 | N/A | -12.0647 | -5.2058 | 18.777 | 23.7492 | N/A | N/A | 6.1988
|  |  |  | 6.6/11 kV CB (GM) | 4.1192 | 4.1611 | 2.1382 | 4.0642 | 7.9268 | 2.0983 | 4.5007 | 8.4429 | -5.1266 | -2.4529 | 4.8218 | -1.8542 | 14.5329 | 5.0671 | 3.472
|  |  |  | 6.6/11 kV Switch (PM) | -37.6588 | -44.7543 | -39.1652 | N/A | N/A | -2.8588 | -21.0644 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 7.421
|  |  |  | 6.6/11 kV Switch (GM) | 1.7352 | 1.9757 | 6.3118 | 1.9906 | 4.949 | 6.0824 | 5.6568 | 2.056 | -0.93853 | -17.9502 | 9.4382 | N/A | 2.378 | 5.4997 | 2.5652
|  |  |  | 6.6/11 kV RMU | -2.2238 | -1.5445 | -0.45804 | -0.66027 | 5.4187 | -1.5218 | 2.8566 | 1.6294 | N/A | 13.1241 | -1.1866 | 3.1696 | 2.238 | 5.68 | 2.4776
6.6/11 kV Switchgear - Other (PM)
6.6/11 kV Switchgear - Other (GM)
|  |  |  | 20 kV CB (PM) | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | -22.8835
|  |  |  | 20 kV CB (GM) | N/A | N/A | N/A | 3.4734 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 3.4734
|  |  |  | 20 kV Switch (PM) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
|  |  |  | 20 kV Switch (GM) | N/A | N/A | N/A | 0.67395 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0.67395
|  |  |  | 20 kV RMU | N/A | N/A | N/A | -1.057e-06 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | -1.5646
20 kV Switchgear - Other (PM)
20 kV Switchgear - Other (GM)
Transformers
|  |  |  | 6.6/11 kV Transformer (PM) | 0.28309 | -1.2989 | 33.7617 | 14.4303 | 12.7634 | -5.6039 | -5.8296 | N/A | 16.7648 | 21.2418 | 1.9056 | 4.3744 | -5.1206 | 12.3968 | 2.9611
|  |  |  | 6.6/11 kV Transformer (GM) | 2.2691 | 1.4717 | 2.3946 | -5.7744 | -2.3918 | 1.732 | 1.2034 | 5.4153 | 11.0368 | 10.2749 | 12.3975 | 9.0405 | 1.266 | 5.698 | 4.2556
|  |  |  | 20 kV Transformer (PM) | N/A | N/A | N/A | 15.6375 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 15.6375
|  |  |  | 20 kV Transformer (GM) | N/A | N/A | N/A | 0.70343 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0.70343
EHV Network
Overhead lines - Conductor
|  |  |  | 33kV OHL (Pole Line) | 1.075 | -23.9522 | 7.2714 | 9.4494 | 6.2309 | 2.0089 | 7.6091 | N/A | 11.4833 | -1.2478 | 3.723 | -5.2078 | N/A | N/A | -0.47397
|  |  |  | 33kV OHL (Tower Line) | N/A | -10.4389 | 14.7443 | N/A | N/A | 23.7918 | N/A | N/A | N/A | 4.7419 | N/A | N/A | N/A | N/A | -14.4602
|  |  |  | 66kV OHL (Pole Line) | -4.0115 | N/A | N/A | 2.4688 | 5.6569 | -5.0414 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | -7.7105
|  |  |  | 66kV OHL (Tower Line) | N/A | N/A | N/A | -1.2173 | N/A | 0.038772 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | -4.7322
Overhead lines - Support
|  |  |  | 33kV Pole | -1.8228 | -8.9394 | -6.0805 | 4.4359 | 18.927 | -3.3673 | -0.72783 | N/A | 10.6123 | 11.2726 | 3.6287 | -4.1794 | N/A | N/A | -1.0842
|  |  |  | 33kV Tower | -45.6881 | -38.0874 | 9.5608 | N/A | N/A | 22.2301 | 22.8275 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | -17.8166
|  |  |  | 66kV Pole | 2.1863 | N/A | N/A | -5.3986 | 17.4949 | -2.9683 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2.4102
|  |  |  | 66kV Tower | N/A | N/A | N/A | N/A | N/A | 11.6709 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 16.3507
Underground cables (kms)
|  |  |  | 33kV UG Cable (Non Pressurised) | -27.5951 | -9.1326 | N/A | -3.13 | 12.3266 | -6.4266 | -5.5194 | 17.8463 | 8.4256 | 7.3523 | -13.0027 | -6.4246 | -10.0708 | 14.392 | 2.8669
|  |  |  | 33kV UG Cable (Oil) | -16.6741 | 20.6974 | -7.1575 | -14.8231 | -4.1577 | N/A | -2.1281 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0.17022
|  |  |  | 33kV UG Cable (Gas) | N/A | N/A | 13.0828 | -8.1509 | -2.1444 | 2.3561 | 3.7275 | N/A | -40.7932 | N/A | N/A | N/A | N/A | N/A | 1.7101
|  |  |  | 66kV UG Cable (Non Pressurised) | N/A | N/A | N/A | -49.903 | -29.8214 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 7.1909
|  |  |  | 66kV UG Cable (Oil) | N/A | N/A | N/A | -2.6828 | -26.5689 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 5.8874
|  |  |  | 66kV UG Cable (Gas) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 9.0662 | 13.7559
Submarine cables (kms)
|  |  |  | EHV Sub Cable | N/A | N/A | N/A | N/A | N/A | 14.4088 | 4.6992 | N/A | N/A | N/A | N/A | N/A | -3.0912 | N/A | -2.2251
Switchgear
|  |  |  | 33 KV CB (ID) | -3.138 | 6.8599 | 16.2062 | 15.3901 | 13.9409 | 4.1904 | -2.7753 | 11.8692 | -3.0418 | N/A | N/A | N/A | 3.9086 | 9.2102 | 8.1316
|  |  |  | 33 kV CB (OD) | 6.7399 | 6.319 | -4.4712 | N/A | N/A | 6.6082 | 4.3628 | N/A | N/A | -6.0452 | -3.985 | -35.1908 | -7.5861 | 4.3239 | -0.429
|  |  |  | 33 kV Switch (GM) | N/A | N/A | N/A | N/A | N/A | -8.0224 | -10.5554 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 8.9001
33 kV Switch (PM)
|  |  |  | 33 kV RMU | N/A | -16.9412 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
33 kV Switchgear - Other
|  |  |  | 66 KV CB (ID & OD) | 2.0831 | N/A | N/A | 5.5232 | -1.6773 | -0.61832 | N/A | 2.1609 | N/A | N/A | N/A | N/A | N/A | -2.2408 | 2.5448
66 KV Switchgear - Other
Transformers
|  |  |  | 33 kV Transformer (PM) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 3.8395 | -0.89826 | 3.8092
|  |  |  | 33 kV Transformer (GM) | 2.413 | 4.0109 | 0.73788 | -4.8305 | 0.71621 | 0.083313 | -1.3066 | 9.803 | 2.883 | 4.1641 | -2.5012 | -3.8457 | -1.5573 | -2.2274 | -0.44895
|  |  |  | 33 kV AuxiliaryTransfomer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
|  |  |  | 66 kV Transformer | 12.2074 | N/A | N/A | -0.15437 | -3.5619 | -2.1321 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 4.081
|  |  |  | 66 kV AuxiliaryTransfomer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
132kV Network
Overhead lines - Conductor
|  |  |  | 132kV OHL Conductor (Pole Line) | N/A | N/A | N/A | N/A | N/A | N/A | -23.4573 | N/A | N/A | N/A | N/A | 0.75243 | N/A | N/A | 2.181
|  |  |  | 132kV OHL Conductor (Tower Line) | -8.5214 | -4.8937 | 8.765 | -3.0449 | -2.4015 | -1.847 | -6.1585 | 0.80261 | 4.7446 | 4.5434 | N/A | N/A | N/A | N/A | -4.8111
Overhead lines - Support
|  |  |  | 132kV Pole | N/A | N/A | N/A | N/A | N/A | -2.9467 | -4.2692 | N/A | N/A | N/A | N/A | -4.5207 | N/A | N/A | -1.951
|  |  |  | 132kV Tower | -12.62 | 9.0816 | -8.6244 | N/A | N/A | 10.9383 | 9.8523 | -22.4856 | N/A | N/A | N/A | N/A | N/A | N/A | 5.24
|  |  |  | 132kV Fittings (Tower Line) | 13.0754 | 14.317 | 7.3187 | -10.3552 | -14.8237 | -23.7339 | -21.2196 | -1.207 | 4.8697 | 9.6755 | N/A | N/A | N/A | N/A | -7.0046
Underground cables (kms)
|  |  |  | 132kV UG Cable (Non Pressurised) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 18.5392 | 27.5229
|  |  |  | 132kV UG Cable (Oil) | -1.7741 | -12.439 | 1.9556 | -9.6151 | -9.0706 | -1.4116 | -2.1016 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 3.6074
|  |  |  | 132kV UG Cable (Gas) | 15.323 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | -10.6502 | N/A | N/A | -7.6047 | N/A | N/A | -1.5084
Submarine cables (kms)
|  |  |  | 132 kV Sub Cable | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A
Switchgear
|  |  |  | 132 kV CB (ID & OD) | 2.4764 | -0.37749 | -3.8751 | -9.7719 | -9.6695 | -13.0354 | 6.1958 | 5.0059 | 1.6788 | 1.1912 | N/A | 4.8142 | N/A | -7.1112 | -1.6246
132 kV Switchgear (other)
Transformers
|  |  |  | 132 kV Transformer | 3.4925 | 4.7031 | -3.4433 | -3.6074 | 1.6154 | -1.4155 | -3.4071 | N/A | 3.9369 | 6.8639 | N/A | -0.47357 | N/A | -0.096697 | 1.9496
132 kV AuxiliaryTransfomer
Tele-control / SCADA
Primary substation
132 kV/EHV RTU (PM)
132 kV/EHV RTU (GM)
Secondary substation
HV RTU (PM)
HV RTU (GM)

## Volume_percent_reduction
Methodology and initial results document appendix
Volume percentage reduction implied by using industry lives
[5 empty] | CN_West | CN_East | ENW | CE_NEDL | CE_YEDL | WPD_S_Wales | WPD_S_West | EDFE_LPN | EDFE_SPN | EDFE_EPN | SP_Distribution | SP_Manweb | SSE_Hydro | SSE_Southern
|  |  |  | Asset categories | %age reduction | %age reduction | %age reduction | %age reduction | %age reduction | %age reduction | %age reduction | %age reduction | %age reduction | %age reduction | %age reduction | %age reduction | %age reduction | %age reduction
LV Network
Overhead lines - Conductor
|  |  |  | LV Main (OHL) | 31.73% | 42.76% | 14.98% | 64.66% | 65.72% | 47.09% | 0% | 0% | 0% | 0% | 0% | 89.78% | 0% | 0%
|  |  |  | LV Service (OHL) | 0% | 0% | 0% | 0% | 0% | 92.51% | 97.05% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Overhead lines - Support
|  |  |  | LV Support | 0% | 0% | 67.71% | 6.709% | 3.48% | 23.58% | 67.01% | 0% | 0% | 10.45% | 0% | 59.41% | 0% | 0%
Underground cables
|  |  |  | LV Main (UG Consac) | 26.9% | 0% | 0% | 0% | 0% | 0% | 48.6% | 0% | 0% | 0% | 0% | 0% | 0% | 37.12%
|  |  |  | LV Main (UG Plastic) | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 43.65% | 0% | 0%
|  |  |  | LV Main (UG Paper) | 64.43% | 65.28% | 80.04% | 43.76% | 48.43% | 99.68% | 92.37% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  |  | LV Service (UG) | 90.64% | 77.85% | 0% | 38.36% | 54.22% | 37.5% | 83.93% | 0% | 0% | 0% | 96.74% | 98.61% | 88.75% | 67.24%
Switchgear
|  |  |  | LV Pillar (ID) | 93.32% | 97.82% | 0% | 0% | 0% | 86.84% | 88.95% | 0% | 0% | 99.16% | 63.82% | 82.26% | 0% | 0%
|  |  |  | LV Pillar (OD) | 91.3% | 99.84% | 0% | 98.52% | 98.34% | 96.25% | 96.13% | 0% | 0% | 74.94% | 52.34% | 83.75% | 0% | 34.31%
|  |  |  | LV Board (WM) | 0% | 99.49% | 0% | 91.64% | 89.48% | 97.89% | 93.51% | 81.43% | 0% | 85.72% | 0% | 0% | 0% | 0%
LV UGB
LV Fuses (PM)
LV Fuses (TM)
HV network
Overhead lines - Conductor
|  |  |  | 6.6/11 kV OHL (Open) | 61.05% | 64.17% | 0% | 0% | 41.24% | 0% | 0% | 0% | 0% | 13.17% | 0% | 0% | 0% | 0%
|  |  |  | 6.6/11 kV OHL (Covered) | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  |  | 20 kV OHL (Open) | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  |  | 20 kV OHL (Covered) | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Overhead lines - Support
|  |  |  | 6.6/11 kV Support | 0% | 4.512% | 47.88% | 0% | 0% | 46.41% | 56.06% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  |  | 20 kV Support | 0% | 0% | 0% | 6.934% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Underground cables (kms)
|  |  |  | 6.6/11kV UG Cable | 83.15% | 73.66% | 0% | 23.92% | 21.14% | 96.11% | 84.5% | 0% | 0% | 0% | 86.19% | 92.61% | 0% | 0%
|  |  |  | 20kV UG Cable | 0% | 0% | 0% | 15.12% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Submarine cables (kms)
|  |  |  | HV Sub Cable | 0% | 0% | 0% | 0% | 0% | 98.94% | 99.74% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Switchgear
|  |  |  | 6.6/11 kV CB (PM) | 0% | 0% | 0% | 98.46% | 98.04% | 0% | 98.66% | 0% | 99.94% | 63.52% | 0% | 0% | 0% | 0%
|  |  |  | 6.6/11 kV CB (GM) | 0% | 0% | 16.68% | 0% | 0% | 15.07% | 0% | 0% | 62.58% | 50.33% | 0% | 54.14% | 0% | 0%
|  |  |  | 6.6/11 kV Switch (PM) | 100% | 99.78% | 43.2% | 0% | 0% | 84.24% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  |  | 6.6/11 kV Switch (GM) | 8.968% | 6.409% | 0% | 6.448% | 0% | 0% | 0% | 2.072% | 30.31% | 81% | 0% | 0% | 2.216% | 0%
|  |  |  | 6.6/11 kV RMU | 46.05% | 40.56% | 40.44% | 27.13% | 0% | 45.84% | 0% | 5.914% | 0% | 0% | 45.86% | 0% | 3.345% | 0%
6.6/11 kV Switchgear - Other (PM)
6.6/11 kV Switchgear - Other (GM)
|  |  |  | 20 kV CB (PM) | 0% | 0% | 0% | 97.97% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  |  | 20 kV CB (GM) | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  |  | 20 kV Switch (PM) | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  |  | 20 kV Switch (GM) | 0% | 0% | 0% | 7.286e-06% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  |  | 20 kV RMU | 0% | 0% | 0% | 15.35% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
20 kV Switchgear - Other (PM)
20 kV Switchgear - Other (GM)
Transformers
|  |  |  | 6.6/11 kV Transformer (PM) | 32.75% | 45.02% | 0% | 0% | 0% | 67.76% | 69.27% | 0% | 0% | 0% | 15.1% | 0% | 64.65% | 0%
|  |  |  | 6.6/11 kV Transformer (GM) | 25.67% | 36.38% | 17.46% | 73.3% | 66.76% | 32.02% | 36.86% | 0% | 0% | 0% | 0% | 0% | 26.76% | 0%
|  |  |  | 20 kV Transformer (PM) | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  |  | 20 kV Transformer (GM) | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
EHV Network
Overhead lines - Conductor
|  |  |  | 33kV OHL (Pole Line) | 0% | 95.43% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 19.34% | 0% | 54.77% | 0% | 0%
|  |  |  | 33kV OHL (Tower Line) | 0% | 98.34% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 83.88% | 0% | 0% | 0% | 0%
|  |  |  | 66kV OHL (Pole Line) | 82.21% | 0% | 0% | 34.72% | 16.46% | 90.93% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  |  | 66kV OHL (Tower Line) | 0% | 0% | 0% | 69.05% | 0% | 51.24% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Overhead lines - Support
|  |  |  | 33kV Pole | 27.78% | 75.09% | 64.93% | 0% | 0% | 46.86% | 20.43% | 0% | 0% | 0% | 0% | 50.48% | 0% | 0%
|  |  |  | 33kV Tower | 99.49% | 92.05% | 60.29% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  |  | 66kV Pole | 3.435% | 0% | 0% | 71.32% | 0% | 58.9% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  |  | 66kV Tower | 0% | 0% | 0% | 0% | 0% | 65.96% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Underground cables (kms)
|  |  |  | 33kV UG Cable (Non Pressurised) | 98.56% | 71.34% | 0% | 63.88% | 0% | 85.9% | 70.66% | 0% | 0% | 0% | 97.87% | 83.22% | 94.75% | 0%
|  |  |  | 33kV UG Cable (Oil) | 80.86% | 0% | 57.31% | 96.28% | 34.43% | 0% | 12.11% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  |  | 33kV UG Cable (Gas) | 0% | 0% | 0% | 86.53% | 32.85% | 0% | 0% | 0% | 93.03% | 0% | 0% | 0% | 0% | 0%
|  |  |  | 66kV UG Cable (Non Pressurised) | 0% | 0% | 0% | 100% | 99.99% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  |  | 66kV UG Cable (Oil) | 0% | 0% | 0% | 58.81% | 91.52% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  |  | 66kV UG Cable (Gas) | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 22.04%
Submarine cables (kms)
|  |  |  | EHV Sub Cable | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 46.73% | 0%
Switchgear
|  |  |  | 33 KV CB (ID) | 85.84% | 21.93% | 0% | 0% | 0% | 38.64% | 72.69% | 0% | 74.23% | 0% | 0% | 0% | 48.13% | 0%
|  |  |  | 33 kV CB (OD) | 0% | 0% | 35.11% | 0% | 0% | 0% | 0% | 0% | 0% | 41.38% | 29.63% | 80.55% | 50.02% | 0%
|  |  |  | 33 kV Switch (GM) | 0% | 0% | 0% | 0% | 0% | 96.2% | 98.96% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
33 kV Switch (PM)
|  |  |  | 33 kV RMU | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
33 kV Switchgear - Other
|  |  |  | 66 KV CB (ID & OD) | 5.117% | 0% | 0% | 0% | 39.55% | 25.37% | 0% | 2.911% | 0% | 0% | 0% | 0% | 0% | 43.57%
66 KV Switchgear - Other
Transformers
|  |  |  | 33 kV Transformer (PM) | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 59.44%
|  |  |  | 33 kV Transformer (GM) | 0% | 0% | 0% | 67.97% | 0% | 4.662% | 21.94% | 0% | 0% | 0% | 37.63% | 47.81% | 25.92% | 31.37%
|  |  |  | 33 kV AuxiliaryTransfomer | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  |  | 66 kV Transformer | 0% | 0% | 0% | 51.25% | 62.9% | 45.97% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  |  | 66 kV AuxiliaryTransfomer | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
132kV Network
Overhead lines - Conductor
|  |  |  | 132kV OHL Conductor (Pole Line) | 0% | 0% | 0% | 0% | 0% | 0% | 99.92% | 0% | 0% | 0% | 0% | 18.96% | 0% | 0%
|  |  |  | 132kV OHL Conductor (Tower Line) | 81.13% | 71.27% | 0% | 49.75% | 40.28% | 73.25% | 88.2% | 61.25% | 0.3799% | 2.072% | 0% | 0% | 0% | 0%
Overhead lines - Support
|  |  |  | 132kV Pole | 0% | 0% | 0% | 0% | 0% | 54.25% | 73.9% | 0% | 0% | 0% | 0% | 75.28% | 0% | 0%
|  |  |  | 132kV Tower | 97.47% | 0% | 84.38% | 0% | 0% | 0% | 0% | 99.97% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  |  | 132kV Fittings (Tower Line) | 0% | 0% | 0% | 79.92% | 76.42% | 98.54% | 98.58% | 83.02% | 11.93% | 0% | 0% | 0% | 0% | 0%
Underground cables (kms)
|  |  |  | 132kV UG Cable (Non Pressurised) | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 90.45%
|  |  |  | 132kV UG Cable (Oil) | 69.03% | 97.31% | 32.8% | 95.18% | 88.15% | 66.13% | 67.25% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  |  | 132kV UG Cable (Gas) | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 74.44% | 0% | 0% | 42.78% | 0% | 0%
Submarine cables (kms)
|  |  |  | 132 kV Sub Cable | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100%
Switchgear
|  |  |  | 132 kV CB (ID & OD) | 0% | 19.26% | 42.76% | 65.63% | 64.42% | 70.13% | 0% | 0% | 0% | 5.415% | 0% | 0% | 0% | 56.97%
132 kV Switchgear (other)
Transformers
|  |  |  | 132 kV Transformer | 0% | 0% | 57.58% | 67.57% | 5.391% | 31.34% | 48.57% | 0% | 0% | 0% | 0% | 29.28% | 0% | 29.68%
132 kV AuxiliaryTransfomer
Tele-control / SCADA
Primary substation
132 kV/EHV RTU (PM)
132 kV/EHV RTU (GM)
Secondary substation
HV RTU (PM)
HV RTU (GM)