## WPD
WPD
Question No. | Project No. | Box number / spreadsheet tab | Topic | Question | Date question asked | Date response required | Date received | Follow up to Question # | Attachments
WPD001 | WPDT2001 | Appendix A | Project Costs | Please provide, in electronic (spreadsheet) form, any underlying calculations supporting the figures presented in the Second Teir Funding Request tab of Appendix A, specifically the Total Project Costs, External Funding (where applicable), DNO Extra Contribution (where applicable) and DNO compulsory contribution (if not the default 10%). | 2010-09-14 | c.o.p 15/09/2010 | 2010-09-15 |  | Tier2_Costs_270810_WPDT2001.xls
WPD002 | WPDT2001 | Appendix A | Direct Benefits | Please provide, in electronic (spreadsheet) form, any underlying calculations of direct benefits presented in the Direct Benefits tab of Appendix A. | 2010-09-14 | c.o.p 15/09/2010 | 2010-09-15 |  | Tier2_CBA_270810_WPDT200l.xls
WPD003 | WPDT2001 | Appendix A | Net Benefits | Please provide, in electronic (spreadsheet) form, any underlying calculations supporting the figures presented in the Net Benefits tab of Appendix A, ie, where applicable, and Costs, Direct Benefits, Carbon Benefits or Other Benefits. | 2010-09-14 | c.o.p 15/09/2010 | 2010-09-15 |  | Tier2_CBA_270810_WPDT200l.xls (Available in LCNF_Supplementary answer form WPD002 - Part 2)
WPD004 | WPDT2001 | Box 1 |  | The measures being trialled appear to focus on microgeneration; Please confirm the scope of the trials with respect to other low carbon technologies and DSM. | 2010-09-16 | midday 20/09/2010 | 2010-09-20
WPD005 | WPDT2001 | Box 26 |  | Can you provide more information on the status of securing agreements with monitor manufacturers? | 2010-09-16 | midday 20/09/2010 | 2010-09-18
WPD006 | WPDT2001 | Box 26 |  | Can you clarify the level of senior management support for the project? | 2010-09-16 | midday 20/09/2010 | 2010-09-18
WPD007 | WPDT2001 | Appendix A |  | You identify small Direct Benfits in Appendix A (2 pence worth). Can you please verify that this is correct, and if so provide more information as to the nature of these Benefits? | 2010-09-16 | midday 20/09/2010 | 2010-09-18
WPD008 | WPDT2001 | Appendix A |  | The net benefits only accrue as far as 2030/31. Please confirm that this is correct. | 2010-09-16 | midday 20/09/2010 | 2010-09-18 |  | WPD_Full Submission spreadsheet rev1709.10.xls (Available in LCNF_Supplementary answer form WPD007 - Part 2)
WPD009 | WPDT2001 | Box 1 |  | What are the 3,000 Low Carbon Devices that will be installed within the WAG homes? | 2010-09-17 | c.o.p 21/09/2010 | 2010-09-21
WPD010 | WPDT2001 | Box 1 & Box 2 |  | Why is only voltage being measured? How can this be a credible/useful data without powerflow and tap measurements as well? | 2010-09-17 | c.o.p 21/09/2010 | 2010-09-21
WPD011 | WPDT2001 |  | General | Previous deployment of monitoring has previously had significant problems due to customer suspicion/resistance. Need a good sample of customers to provide feeder profile as well as phase balance. How does WPD propose to ensure that a statistically significant sample will be obtained across the trial areas? | 2010-09-17 | c.o.p 21/09/2010 | 2010-09-21
WPD012 | WPDT2001 | Box 13 | Second Tier Successful Delivery Reward Criteria: QUESTION TO ALL DNOS | We consider that many of the Second Tier Successful Delivery Reward Criteria set out in Box 13 do not meet the requirements of the Governance Document and the proforma guidance. For clarity, each criteria should be SMART (specific, measurable, attainable, relevant and time-bounded) - meaning each should linked directly to the intended milestones (i.e. identify a date of achievement against each criteria) and outputs of the project. As stated in the Governance Document the criteria must be linked to meeting the identified project milestones on at least an annual basis and must be linked to achieving the Full Submission proposals on the sharing of knowledge. We would also stress the importance of specifying the evidence that the DNO would present to us to demonstrate the achievement of each criteria. We recognise that Box 13 was limited to two sides and we have therefore decided to allow all DNOs to resubmit Box 13 using a maximum of four sides if required. A revised Box 13 has been provided that allows flexibility of space allocation between the criteria, and should be used to resubmit the criteria. | 2010-09-21 | c.o.p 24/09/2010 | 2010-09-23
WPD013 | WPDT2001 | Expert Panel Question |  | Can you provide a summary of the techincal approach that the project is testing? | 2010-10-11 | N/A - To be answered at Expert Panel meeting
WPD014 | WPDT2001 | Expert Panel Question |  | How will a successful project change the behaviour of other UK DNOs? | 2010-10-11 | N/A - To be answered at Expert Panel meeting
WPD015 | WPDT2001 | Expert Panel Question |  | Can you explain how the sample chosen for the project is representative of 50% of networks in GB? | 2010-10-11 | N/A - To be answered at Expert Panel meeting
WPD016 | WPDT2001 | Expert Panel Question |  | We note that project seeks to provide visibility of the power flows and voltages of the LV network. Could this information be obtained from the smart meter roll-out as it proceeds? | 2010-10-11 | N/A - To be answered at Expert Panel meeting
WPD017 | WPDT2001 | Expert Panel Question |  | Can you please provide more information surrounding how the templates will be generated? Can you provide any evidence that other DNOs have expressed an interest in using these templates? | 2010-10-11 | N/A - To be answered at Expert Panel meeting
WPD018 | WPDT2001 | Expert Panel Question |  | How will you disseminate any "negative" learning that either you or your partners discover as part of the project? | 2010-10-11 | N/A - To be answered at Expert Panel meeting
WPD019 | WPDT2001 | Box 4 | CI/CLM impacts | We have read the project submission and Appendix 4 and understand the difficulty that has been identified relating to the installation of monitoring equipment. However, it would be helpful if further information could be provided to make the case that outages of secondary substations are unavoidable. Please answer the following questions to assist us in this matter: 1. How many secondary substations had this monitoring fitted under the IFI project? 2. Please describe in detail the monitoring equipment that was fitted in the various substation types. 3. Was it necessary to make dead all of these substations? If not, which types were modified live? 4. Please provide details of all of the monitoring devices that have been considered for the LCN Fund project? 5. Please describe precisely how the selected devices will be fitted at secondary substations and why other devices were rejected? 6. Has the use of Rogowski coils been considered? 7. Is WPD aware of the smart fuse being developed by Kelvatek? If any further information can be provided to support WPD’s case please provide this. | 2010-11-05 | c.o.p. 09/11/2010