## Costs (hidden)
Project Costs |  |  | Total Qty | Unit cost | Total cost | 2011 | 2011 | 2011 | 2011 | 2012 | 2012 | 2012 | 2012
[6 empty] | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4
| Plan and design |  |  |  | 0
| Sensors | Equipment | 1200 |  | 0
|  | Installation | 1200 |  | 0
| Meters | Equipment |  |  | 0
|  | Installation | 0 |  | 0
| EV's | Equipment |  |  | 0
|  | Installation | 0 |  | 0
| PV's | Equipment |  |  | 0
|  | Installation | 0 |  | 0
| Communications | Equipment |  |  | 0
|  | Installation | 0 |  | 0
Operations
Customer relations
IT
data retreival and analysis
Project management and reporting
Windup costs
Total

## BAU Costs (hidden)
BAU Costs |  |  | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Growth Capex
Opex
Scenarios
Embedded Generation
| Penetration rate | 0.1%
HP takeup
| High | 0.1%
EV Takep
| High | 1%
Total

## Benefits Summary (hidden)
Objectives (from 6 page proposal)
1) prove that networks can be effectively characterised into different standard templates;
2) collect empirical data (Volts, VARs, quality) of energy patterns on each template type to provide real scenarios on which low-carbon connection (DG & EVs) can be modelled accurately;
3) collect empirical data on the networks ability to integrate the stresses of DG, electrification of heat and energy efficiency measures;
4) provide data on quantity of DG that is operating on the LV network to enable NG to improve their load forecasting and generation scheduling.
Definite benefit
Uncertain
Likely to be exluded
Benefits |  |  | Project Only | Whole of UK
0
From Report
Better network utilisation at present day reinforcement levels – Benefit B1.
Better network utilisation for future Distributed Generation connection – Benefit B2
Better network utilisation for future electric vehicle charging and heat pumps - Benefit B3
Reduction on comms. cost of “base specification” Domestic Smart Meter roll out – Benefit B4
Savings in “base specification” Domestic Smart Meter roll out – Benefit B5
Provision of Smart Network comms. hubs at distribution s/s – Benefit B6
Provision of real time comms hub for Smart Network connection of Domestic Smart Meters – Benefit B7
Enhanced loss of supply information aiding restoration time – Benefit B8
Identification and targeting of overhead line circuits impacted by climate – Benefit B9
Provision of electricity demand / profile data to local community energy groups – Benefit B10
Loss reduction through targeted replacement of distribution transformers – Benefit B11

## Scenarios (hidden)
Whole of GB |  |  | Embedded gen take-up |  |  | HP takeup |  |  | EV Takep |  |  | General Load growth assumptions |  |  | Total
|  |  | Low | Medium | High | Low | Medium | High | Low | Medium | High | Low | Medium | High | Low | Medium | High
| Per annum percentage growth -----> |  | 0.1% | 0.5% | 1% | 0.1% | 0.5% | 1% | 1% | 5% | 10% | 1% | 2% | 3%
Costs
Do nothing
| Capex | [13 empty] | 0 | 0 | 0
| Opex | [13 empty] | 0 | 0 | 0
Total
Benefits Realised
Voltage management
| 1 | Energy savings | [12 empty] | 0 | 0 | 0
| 2 | Loss reduction | [12 empty] | 0 | 0 | 0
| 3 | Network Deferral - load reductions | [12 empty] | 0 | 0 | 0
| 4 | Network Deferral - peak demand reduction | [12 empty] | 0 | 0 | 0
| 5 | Network Deferral - Equipment life extension | [12 empty] | 0 | 0 | 0
| 6 | Reduced connection costs | [12 empty] | 0 | 0 | 0
Operations
|  | Outage reductions (opex) | [12 empty] | 0 | 0 | 0
|  | Scheduling improvements/efficiencies | [12 empty] | 0 | 0 | 0
|  | Planning | [12 empty] | 0 | 0 | 0
|  | Control | [12 empty] | 0 | 0 | 0
|  | Fault location | [12 empty] | 0 | 0 | 0
| Benefits of microgen incorporated into NG scheduling & despatch | [13 empty] | 0 | 0 | 0
Net Position

## Cover
Notes added by Phil West providing some additional background to rationale.
Aim wherever possible has been to use recognised national published sources
of data / study, and then to err on pessimistic side of any other assumptions made
Whilst Ofgem LCNF allows us to take NPVs out to 2050, we have curtailed ours at 2030, as a recognition that the comms technology on individual domestic smart meters may have a refresh after 10 years ( from full roll out) - another pessimistic assumption.
CBA - LCNF Submission
WPD - LV Network Templates for a Low-Carbon Future
Version 0.8
Date: 1 September, 2010

## Assumptions
Assumptions
Assumptions | Units | Project | GB | Source | Notes
Ground mounted transformers | # | 763 | 231297 | Phil W | WPD is count of no. on project. GB figure comes from James Hope aggregated DPCR FBPQ Table T4 provided to PJW for adaptation to climate change work, ( but copied by PJW to all other DNOs on that group)
% 8MVA LV network length | % |  | 15% | Goran (Phil W) | As a General point we have sought wherever possible to base on other reputable published work. The object of our project is NOT to challenge / update that work but to build on it. DECC have awarded Bath Uni contract with Poyry to further Goran work. The columns to the left refer to Goran Strabac paper - Benefits of advanced smart metering for demand response based control of ditsribution networks, done for ENA. He splits his study into three bands of network - 8MVA/sq km, 2 and 0.5, - effectively "coarse templates". He uses ( para 4.4) an assumed split of 10%, 70% and 20% , and comments in para 7.6 on future research needs - on "more detailed assessment of different types of heat pumps, different levels of house insulation, various arrangements for backup heat under different outdoor temp profiles. Also the range of representative networks will be expanded to account for significant deviations from impact quantified on considered sample" . " Gven that voltage constraints were demonstrated to be a significant network reinforcement driver, we intend to explore feasibility of allowing a wider variation in LV system voltage in terms of both appliance compatibility and overall energy efficiency".
% 2MVA LV network length | % |  | 60% | Goran (Phil W)
% 0.5MVA LV network length | % |  | 25% | Goran (Phil W)
# of 8MVA transformers /km2 | # |  | 16 | Goran | Derived from Goran report- splitting nos of t/fs across bands - he had 1094 t/fs across 134 sq km, so working back if we have 15% at 8MVa, 60% at 2MVA and 25% at 0.5MVA multiplying 16x134x0.15 + 8x134x0.6= 3x134x.025 should add to 1094 ( it comes ro 1065 odd due to rounding to integers)
# of 2MVA transformers /km2 | # |  | 8 | Goran | ditto
# of 0.5MVA transformers /km2 | # |  | 3 | Goran | ditto
% 8MVA transformers | % | 33% |  | Phil W | as we will only be assessing benefits from deferall. Loss reduitiion, voltage reduction on GMTs, not PMTs we now look at split between the 8 and 2MVA models ( from above calcs 320/ 640 = 33/66%)
% 2MVA transformers | % | 67% |  | Phil W | ditto
% of 8MVA transformers that are ground mount | % | 100% | 100% | Phil W | assumption based on ? Common sense
% of 0.5MVA transformers that are pole mount | % | 100% | 100% | Phil W
% of EV & HP penetration assumed (by 2030) | % | 25% | 25% | Goran (Phil W) | Goran uses a number of trajectories for EV and HP roll out to 2030, we have used lowest he modelled at 25% each. But note slow growth to 2020 then straight line ramp to 2030 - see Fig 6.3 his report.
% of overall saving from WPD IFI project | % | 5% | 5% | Team
Ofgem unit cost ground mounted transformer | £k | 13.2 | 13.2 | Ofgem | Taken from Ofgem DPCR final proposals Table 17
Average cable length per transformer | m | 1400 | 1400 | Goran | Para 4.3 and fig 4.2
Ofgem unit cost cable | £k | 98.4 | 98.4 | Ofgem | Taken from Ofgem DPCR final proposals Table 17
Total ground mounted transformers in Wales | # | 8203 |  | Phil W | DPCR FBPQ Table T4
Ground mounted transformers impacted by project | % | 5% | 5% | Team
Voltage reduction from 1 tap adjustment | % | 2.5% | 2.5% | Phil W | Based on GMT having +/- 2.5 and 5% steps ( off circuit ! ) No claims in respecvt of PMTs
Corresponding energy reduction from 1 tap adjustment | % | 1.5% | 1.5% | Phil W | Assumption based on non resistive load and actual demand reduction seen during planned voltage reduction
Average number of customers per ground mounted transformer | # | 150 | 150 | Phil W | WPD project average from customer count. GB figure deliberately pessimistic
Electricity consumption per customer | kWh | 3900 | 3900 | Dukes | DECC Digest of UK Energy Statistics ( "DUKES" latest version from web
Electricity price per MWh - sale price to customer | £ | 65 | 65 | Team
Iron losses in old/ worst transformers | W | 1000 | 1000 | Phil W | Taken from past DPCR work on losses
Iron losses in median age transformers | W | 700 | 700 | Phil W | Taken from low loss quotes used in DPCR low loss study - this is for circa 800 kVA unit.
Loss incentive for DR5/ MWh | £ | 60 | 60 | Ofgem | Ofgem DPCR
Hours in an year | Hours | 8760 | 8760 | Team
Number of benefit years for loss reduction | Years | 2 | 2 | Team | Argument here is related to how far in advance would NPV justify earlier replacement so can only "claim" that energy saving.
Total number of transformers (ground+pole mounted) | # | 39744 | 579944 | Phil W | WPD is count of no. on project. GB figure comes from James Hope aggregated DPCR FBPQ Table T4 provided to PJW for adaptation to climate change work, ( but copied by PJW to all other DNOs on that group)
Fixed cost of WPD project | £m | 1.885 | 11.31 | Phil W | This assumes same cost for each of 6 other DNO Groups ( note display cost here is rounded in formatting - see cell for actual ) Fixed cost was around enmac software / hardware etc to tie in FIT gen.
Variable cost of WPD project | £m | 8 | 0.025 | Phil W | If project 100% success on templates no need to repeat. If proxy FITs shown to work, use those, rather than adding more meters to feed into NG.
% of total transformers in project scope | % | 2.6% | 2.6% | Phil W
Avoided cost/ saving % due to project learning and avoiding duplication of effort | % |  | 50% | Team | Pessimistic assumption that not all UK templates will be covered by Project - eg central London
Transformer failure rate (lower of ground & pole) | % | 0.5% | 0.5% | NAFIRS | Use present NAFIRS but assume uplift due to greater loading and in particular filling up load cycle so that present cyclic rating assumptions are invalid. NB underlying failure rate of PMTs reduced to that of GMTs to take out weather and in particular lightning, caused faults.
Reduction in transformer failure rate | % | 10% | 10% | Phil W | Assume that new knowledge of which templates affect which load cycles / thus transformers saves % of these failures Note that the base failure rate is currently only 1/1000. Although not factored in here we would expect that to rise given incereased loading cycle on t/fs from "smart" filling up profile and negating BSEN 60076 cyclic enhancements.
Incremental cost per transformer failure | £ | 7000 | 7000 | Ofgem | Weighted average cost DPCR5 Table 17.
% of PV that will replace peak generation capacity | % |  | 25% | Team | Searched all over for value here - Centre for Sustainable Energy ( Simon Roberts) , Green Alliance ( Rachel Cary), DECC ( via Andy Perry) and most recently ( 13th Sept) Bernie Bulkin, Chair of Office fro Renewable Energy Depolyment ( DECC) - argument is that Grid will only otherwise see demand volatility and the amount of PV / wind etc is not known with accuracy for day ahead gen scehfduling. We only use the carbon benefits from this in displacing higher carbon generation from running as reserve...
CO2 emitted in OCGT generation | t/MWh |  | 0.6 | Royal Academy of Engineering
RAE CO2 cost assumed | £/tCO2 |  | 30 | Royal Academy of Engineering
RAE CO2 cost /kWh OCGT generation | p/kWh |  | 1.8 | Royal Academy of Engineering
Discount Rate till 2040 | % | 3.5% | 3.5% | Ofgem | Per LCNF Guidance - instructions.
Discount Rate beyond 2040 | % | 3% | 3% | Ofgem
Ofgem's requirement of efficiency improvement every price control review period neutralises any increase in cost of material and labour. Therefore no change in unit cost assumed
Project benefits only considered in the current price control review period i.e. till 2015
Increase in electricity price index has not been considered in the analysis
PV generation beyond 2020 assumed to be constant - a pessimistic assumption, but avoids potential claim of over estimating
Project and GB benefits will kick in by 2014
For transformer % split between 8MVA and 2MVA, project assumptions are different than GB assumptions s project transformer test sample is (deliberatley to get template cover) not representative of total WPD network
Network investments savings will be deferred by 5 years
We are only claiming pessimistic 50% savings around the re-use of network templates, so all related benefits are halved accordingly

## Cashflow - GB Benefit
Cashflow - GB Benefit
| Unit | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Benefit from microgen - GB | £m | 0 | 0 | 0 | 0 | -2.4355 | 2.3705 | 3.652 | 4.659 | 5.736 | 7.0725 | 8.19 | 10.08 | 11.424 | 13.104 | 14.448 | 16.128 | 17.472 | 19.152 | 20.496 | 22.176 | 23.52
Present Value - benefit from microgen (to 2030) | £m | 2010: 114.3871
Benefit from template - GB | £m | 0 | 0 | 0 | 0 | 0 | 13.592 | 13.592 | 13.592 | 13.592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Present Value - benefit from template (to 2030) | £m | 2010: 42.035
Benefit from reduction in transformer failure- GB | £m | 0 | 0 | 0 | 0 | 0.020298 | 0.050745 | 0.071043 | 0.10149 | 0.13194 | 0.17253 | 0.20298 | 0.28417 | 0.36536 | 0.44656 | 0.52775 | 0.60894 | 0.69013 | 0.77133 | 0.85252 | 0.93371 | 1.0149
Present Value - benefit from reduction in transformer failure (to 2030) | £m | 2010: 4.1185
Benefit from loss reduction - GB | £m | 0 | 0 | 0 | 0 | 0 | 0.36471 | 0.36471 | 0.36471 | 0.36471 | 0.36471 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Present Value - benefit from loss reduction (to 2030) | £m | 2010: 1.3865
Benefit from energy saving - GB | £m | 0 | 0 | 0 | 0 | 0.065963 | 0.16491 | 0.23087 | 0.32982 | 0.42876 | 0.56069 | 0.65963 | 0.92348 | 1.1873 | 1.4512 | 1.715 | 1.9789 | 2.2427 | 2.5066 | 2.7704 | 3.0343 | 3.2982
Present Value - benefit from energy saving (to 2030) | £m | 2010: 13.3839
Network deferral saving - transformers GB | £m | 0 | 0 | 0 | 0 | 0.64942 | 1.6236 | 2.273 | 3.2471 | 4.2213 | 4.8707 | 4.8707 | 6.8189 | 8.4425 | 10.0661 | 11.3649 | 12.9885 | 12.9885 | 12.9885 | 12.9885 | 12.9885 | 12.9885
Present Value - network deferral saving , transformer (to 2030) | £m | 2010: 80.2301
Network deferral saving - cables GB | £m | 0 | 0 | 0 | 0 | 1.7049 | 4.2623 | 5.9672 | 8.5246 | 11.082 | 12.7869 | 12.7869 | 17.9017 | 22.164 | 26.4263 | 29.8362 | 34.0985 | 34.0985 | 34.0985 | 34.0985 | 34.0985 | 34.0985
Present Value - network deferral saving, cables (to 2030) | £m | 2010: 210.6271
Gross benefits | £m | 0 | 0 | 0 | 0 | 0.0051092 | 22.4287 | 26.1508 | 30.8187 | 35.5567 | 25.828 | 26.7102 | 36.0083 | 43.5832 | 51.4941 | 57.8919 | 65.8028 | 67.4918 | 69.5169 | 71.2059 | 73.231 | 74.92
Present Value Gross Benefit (to 2030) | £m | 2010: 466.1681
Assumptions | Units | 2010: Project; 2011: GB; 2012: Source
Discount Rate till 2030 | % | 2010: 3.5%; 2011: 3.5%; 2012: Ofgem
Discount Rate beyond 2030 | % | 2010: 3%; 2011: 3%; 2012: Ofgem

## Cashflow - Project Benefit
Cashflow - Project Benefit
| Unit | 2010 | 2011 | 2012 | 2013 | 2014
Benefit from reduction in transformer failure- project | £m | 0 | 0 | 0 | 0 | 0.0027821
Present Value - benefit from reduction in transformer failure (to 2030) | £m | 0.0023424
Benefit from loss reduction - project | £m | 0 | 0 | 0 | 0 | 0
Present Value - benefit from loss reduction (to 2030) | £m | 0
Benefit from energy saving - project | £m | 0 | 0 | 0 | 0 | 0.0004352
Present Value - benefit from energy saving (to 2030) | £m | 0.00036642
Network deferral saving - transformers project | £m | 0 | 0 | 0 | 0 | 0.0040266
Present Value - network deferral saving , transformer (to 2030) | £m | 0.0033903
Network deferral saving - cables project | £m | 0 | 0 | 0 | 0 | 0.01439
Present Value - network deferral saving, cables (to 2030) | £m | 0.012116
Gross benefits | £m | 0 | 0 | 0 | 0 | 0.021634
Present Value (to 2015) | £m | 0.018215
Assumptions | Units | Project | GB | Source
Discount Rate till 2030 | % | 3.5% | 3.5% | Ofgem
Discount Rate beyond 2030 | % | 3% | 3% | Ofgem

## Microgen Benefit
Benefit from Microgen incorporated into NG Scheduling and Dispatch
| Unit | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
PV electricity generation | GWh | 40 | 120 | 240 | 410 | 610 | 890 | 1170 | 1440 | 1710 | 1970 | 2240 | 2240 | 2240 | 2240 | 2240 | 2240 | 2240 | 2240 | 2240 | 2240 | 2240
PV that will replace peak generation capacity | GWh | 10 | 30 | 60 | 102.5 | 152.5 | 222.5 | 292.5 | 360 | 427.5 | 492.5 | 560 | 560 | 560 | 560 | 560 | 560 | 560 | 560 | 560 | 560 | 560
Benefit from microgen - GB | £m | 0 | 0 | 0 | 0 | 2.1045 | 3.0705 | 4.212 | 5.184 | 6.156 | 7.3875 | 8.4 | 10.08 | 11.424 | 13.104 | 14.448 | 16.128 | 17.472 | 19.152 | 20.496 | 22.176 | 23.52
Traded carbon price | £/tCO2 | 22 | 22 | 22 | 23 | 23 | 23 | 24 | 24 | 24 | 25 | 25 | 30 | 34 | 39 | 43 | 48 | 52 | 57 | 61 | 66 | 70
LV PV FIT cumulative installs no. k |  | 2010: 20; 2011: 55; 2012: 110; 2013: 210; 2014: 310; 2015: 410; 2016: 490; 2017: 565; 2018: 625; 2019: 670; 2020: 700
Added in year starting 2014 no.k |  | 2014: 310; 2015: 100; 2016: 80; 2017: 75; 2018: 60; 2019: 45; 2020: 30
track by installs at ratio rate below per s/s |  | 2014: 15.5; 2015: 5; 2016: 4; 2017: 3.75; 2018: 3; 2019: 2.25; 2020: 1.5
up front cost £m |  | 2014: 2.37
s/s and FIT installs |  | 2014: 2.17; 2015: 0.7; 2016: 0.56; 2017: 0.525; 2018: 0.42; 2019: 0.315; 2020: 0.21
Net benefit BG from microgen | £m |  |  |  |  | -2.4355 | 2.3705 | 3.652 | 4.659 | 5.736 | 7.0725 | 8.19 | 10.08 | 11.424 | 13.104 | 14.448 | 16.128 | 17.472 | 19.152 | 20.496 | 22.176 | 23.52
Note - because we don't have DG data beyond 2020 at the level of detail from UK RE Plan, we have curtailed DG growth at 2020 figure - thus pessimistic. Also have stopped NPV at 2030 not taken out to 2050 as permitted in LCNF. Data on breakdown of FIT sought from DECC, website, Andrew Perry / etc DECC, Rachel Cary Green Alliance, Simon Roberts CSE and Bernie Bulkin, Chair ORED/DECC. None available.
Assumptions | Units | 2010: Project; 2011: GB; 2012: Source
% of PV that will replace peak generation capacity | % | 2011: 25%; 2012: Team
PV generation ramp up | GWh | 2011: As above; 2012: National Renewable Energy Action Plan
Traded carbon price | £/tCO2 | 2011: As Above; 2012: Carbon Appraisal in UK Policy Appraisal
CO2 emitted in OCGT generation | t/MWh | 2011: 0.6; 2012: Royal Academy of Engineering
RAE CO2 cost assumed | £/tCO2 | 2011: 30; 2012: Royal Academy of Engineering
RAE CO2 cost /kWh OCGT generation | p/kWh | 2011: 1.8; 2012: Royal Academy of Engineering
Calculation - Microgen benefit
CO2 generated /GWh OCGT generation | t | 2010: 600
Calculation - cost of obtaining proxy metered PV running | bar: 2010
additional fixed central enmac cost x 6 dno groups at £200+£100+£95k ea £k |  | 2010: 2370
additional cost per monitored s/s ( no meter just concentrator) £k |  | 2010: 0.5
additional cost per proxy FIT for comms ( mesh radio) £k |  | 2010: 0.14
ratio of FITs to proxy FITs per s/s |  | 2010: 20
PV Fits at 2020 (reported DECC number from CSE - see below) no. k |  | 2010: 700
Domestic LV Fit roll out ( DECC)
Technology | PV
Size | Domestic
2010 | 20000
2011 | 55000
2012 | 110000
2013 | 210000
2014 | 310000
2015 | 410000
2016 | 490000
2017 | 565000
2018 | 625000
2019 | 670000
2020 | 700000

## Transformer Failure Benefit
Benefit from Reduction in Transformer Failures
| Unit | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Benefit ramp up | % | 0% | 0% | 0% | 0% | 2% | 5% | 7% | 10% | 13% | 17% | 20% | 28% | 36% | 44% | 52% | 60% | 68% | 76% | 84% | 92% | 100%
Benefit from reduction in transformer failure- project | £m | 0 | 0 | 0 | 0 | 0.0027821 | 0.0069552 | 0.0097373 | 0.01391 | 0.018084 | 0.023648 | 0.027821 | 0.038949 | 0.050077 | 0.061206 | 0.072334 | 0.083462 | 0.094591 | 0.10572 | 0.11685 | 0.12798 | 0.1391
Benefit from reduction in transformer failure- GB | £m | 0 | 0 | 0 | 0 | 0.020298 | 0.050745 | 0.071043 | 0.10149 | 0.13194 | 0.17253 | 0.20298 | 0.28417 | 0.36536 | 0.44656 | 0.52775 | 0.60894 | 0.69013 | 0.77133 | 0.85252 | 0.93371 | 1.0149
Assumptions | Units | 2010: Project; 2011: GB; 2012: Source
Total number of transformers (ground+pole mounted) | # | 2010: 39744; 2011: 579944; 2012: Phil W
Transformer failure rate (lower of ground & pole) | % | 2010: 0.005; 2011: 0.005; 2012: NAFIRS
Reduction in transformer failure rate | % | 2010: 10%; 2011: 10%; 2012: Phil W; 2013: Note - argument uses very low base failure rate , but we then only save 10% of that very low figure. Rationale is that temlpate shows high load curve utilisation t/f on which it ias actually not appropriate to use the cyclic enhancements that we currently are. Saving rate 1 in 10,000.
Incremental cost per transformer failure | £ | 2010: 7000; 2011: 7000; 2012: Ofgem
Calculation - Transformer failure benefit | bar: 2013 to 2018
Savings on avoiding transformer failure | £m | 2010: 0.1391; 2011: 2.0298
Savings on avoiding transformer failure taking into account template | £m | 2010: 0.1391; 2011: 1.0149

## Template Benefit
Benefit from WPD Project Template
| Unit | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Benefit ramp up | % | 0% | 0% | 0% | 0% | 0% | 25% | 25% | 25% | 25% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Benefit from template - GB | £m | 0 | 0 | 0 | 0 | 0 | 13.592 | 13.592 | 13.592 | 13.592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Assumptions | Units | 2010: Project; 2011: GB; 2012: Source
Total number of transformers (ground+pole mounted) | # | 2010: 39744; 2011: 579944; 2012: Phil W
Fixed cost of WPD project | £m | 2010: 1.885; 2011: 11.31; 2012: Phil W
Variable cost of WPD project | £m | 2010: 8; 2011: 0.025; 2012: Phil W
% of total transformers in project scope | % | 2010: 2.6%; 2011: 2.6%; 2012: Phil W
Avoided cost/ saving % due to project learning and avoiding duplication of effort | % | 2010: 0%; 2011: 50%; 2012: Team
Pessimistic assumption that WPD templates only cover 50% other UK network.
Calculation - Template benefit
WPD transformers in scope | # | 2010: 1033.344
Variable cost / transformer | £m | 2011: 0.0077419
Saving on variable cost | £m | 2011: 54.368

## Loss Reduction Benefit
Loss Reduction Benefit
| Unit | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Loss reduction benefit ramp up | % | 0% | 0% | 0% | 0% | 0% | 20% | 20% | 20% | 20% | 20% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Benefit from loss reduction - project | £m | 0 | 0 | 0 | 0 | 0 | 0.0024062 | 0.0024062 | 0.0024062 | 0.0024062 | 0.0024062 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Benefit from loss reduction - GB | £m | 0 | 0 | 0 | 0 | 0 | 0.36471 | 0.36471 | 0.36471 | 0.36471 | 0.36471 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Assumptions | Units | 2010: Project; 2011: GB; 2012: Source
Ground mounted transformers | # | 2010: 763; 2011: 231297; 2012: Phil W
Ground mounted transformers impacted by project | % | 2010: 5%; 2011: 5%; 2012: Team
Iron losses in old/ worst transformers | W | 2010: 1000; 2011: 1000; 2012: Phil W
Iron losses in median age transformers | W | 2010: 700; 2011: 700; 2012: Phil W
Loss incentive for DR5/ MWh | £ | 2010: 60; 2011: 60; 2012: Ofgem; 2018: small benefit from knowledge of transformer load profiles allows 5% to be i/d as candidates for site specific CBA on loss reduction, 2 year advancement
Hours in an year | Hours | 2010: 8760; 2011: 8760; 2012: Team
Number of benefit years for loss reduction | Years | 2010: 2; 2011: 2; 2012: Team
Calculation - Loss Reduction
Benefit from loss reduction | £m | 2010: 0.012031; 2011: 3.6471
Benefit from loss reduction taking into account template | £m | 2010: 0.012031; 2011: 1.8235

## Energy Saving Benefit
Energy Saving Benefit through Voltage Optimisation
| Unit | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
EV & HP penetration assumptions (Goran) | % | 0% | 0.5% | 1% | 1.5% | 2% | 2.5% | 3% | 3.5% | 4% | 4.5% | 5% | 7% | 9% | 11% | 13% | 15% | 17% | 19% | 21% | 23% | 25%
Energy saving benefit ramp up | % | 0% | 0% | 0% | 0% | 2% | 5% | 7% | 10% | 13% | 17% | 20% | 28% | 36% | 44% | 52% | 60% | 68% | 76% | 84% | 92% | 100%
Benefit from energy saving - project | £m | 0 | 0 | 0 | 0 | 0.0004352 | 0.001088 | 0.0015232 | 0.002176 | 0.0028288 | 0.0036992 | 0.004352 | 0.0060927 | 0.0078335 | 0.0095743 | 0.011315 | 0.013056 | 0.014797 | 0.016537 | 0.018278 | 0.020019 | 0.02176
Benefit from energy saving - GB | £m | 0 | 0 | 0 | 0 | 0.065963 | 0.16491 | 0.23087 | 0.32982 | 0.42876 | 0.56069 | 0.65963 | 0.92348 | 1.1873 | 1.4512 | 1.715 | 1.9789 | 2.2427 | 2.5066 | 2.7704 | 3.0343 | 3.2982
Assumptions | Units | 2010: Project; 2011: GB; 2012: Source
Ground mounted transformers | # | 2010: 763; 2011: 231297; 2012: Phil W
Ground mounted transformers impacted by project | % | 2010: 5%; 2011: 5%; 2012: Team
Voltage reduction from 1 tap adjustment | % | 2010: 2.5%; 2011: 2.5%; 2012: Phil W; 2017: Assumes 5% GB ground mount transformer population can be identified as capable of taking 1 tap step reduction on basis that project can demonstrate that not only voltage compliant but also EN 50160. Existing pole mount units excluded as lid off required in most cases to alter tap and not all +/- 2.5% capable
Corresponding energy reduction from 1 tap adjustment | % | 2010: 1.5%; 2011: 1.5%; 2012: Phil W
Average number of customers per ground mounted transformer | # | 2010: 150; 2011: 150; 2012: Phil W
Electricity consumption per customer | kWh | 2010: 3900; 2011: 3900; 2012: Dukes
Electricity price per MWh - sale price to customer | £ | 2010: 65; 2011: 65; 2012: Team
Calculation - Energy Saving
Benefit from energy saving | £m | 2010: 0.02176; 2011: 6.5963
Benefit from energy saving taking into account template | £m | 2010: 0.02176; 2011: 3.2982

## Network Deferral Benefit
Network Deferral Benefit
Benefit | Unit | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
EV & HP penetration assumptions (Goran) | % | 0% | 0.5% | 1% | 1.5% | 2% | 2.5% | 3% | 3.5% | 4% | 4.5% | 5% | 7% | 9% | 11% | 13% | 15% | 17% | 19% | 21% | 23% | 25%
Benefits ramp up | % | 0% | 0% | 0% | 0% | 2% | 5% | 7% | 10% | 13% | 17% | 20% | 28% | 36% | 44% | 52% | 60% | 68% | 76% | 84% | 92% | 100%
Total network deferral saving - transformers project | £m | 0 | 0 | 0 | 0 | 0.0040266 | 0.010067 | 0.014093 | 0.020133 | 0.026173 | 0.034226 | 0.040266 | 0.056373 | 0.072479 | 0.088586 | 0.10469 | 0.1208 | 0.13691 | 0.15301 | 0.16912 | 0.18522 | 0.20133
Net network deferral saving for 5 years - transformers project | £m | 0 | 0 | 0 | 0 | 0.0040266 | 0.010067 | 0.014093 | 0.020133 | 0.026173 | 0.0302 | 0.0302 | 0.04228 | 0.052346 | 0.062413 | 0.070466 | 0.080533 | 0.080533 | 0.080533 | 0.080533 | 0.080533 | 0.080533
Total network deferral saving - transformers GB | £m | 0 | 0 | 0 | 0 | 0.64942 | 1.6236 | 2.273 | 3.2471 | 4.2213 | 5.5201 | 6.4942 | 9.0919 | 11.6896 | 14.2873 | 16.885 | 19.4827 | 22.0804 | 24.6781 | 27.2758 | 29.8735 | 32.4712
Net network deferral saving for 5 years - transformers GB | £m | 0 | 0 | 0 | 0 | 0.64942 | 1.6236 | 2.273 | 3.2471 | 4.2213 | 4.8707 | 4.8707 | 6.8189 | 8.4425 | 10.0661 | 11.3649 | 12.9885 | 12.9885 | 12.9885 | 12.9885 | 12.9885 | 12.9885
Total network deferral saving - cables project | £m | 0 | 0 | 0 | 0 | 0.01439 | 0.035974 | 0.050364 | 0.071948 | 0.093533 | 0.12231 | 0.1439 | 0.20146 | 0.25901 | 0.31657 | 0.37413 | 0.43169 | 0.48925 | 0.54681 | 0.60437 | 0.66193 | 0.71948
Net network deferral saving for 5 years - cables project | £m | 0 | 0 | 0 | 0 | 0.01439 | 0.035974 | 0.050364 | 0.071948 | 0.093533 | 0.10792 | 0.10792 | 0.15109 | 0.18707 | 0.22304 | 0.25182 | 0.28779 | 0.28779 | 0.28779 | 0.28779 | 0.28779 | 0.28779
Total network deferral saving- cables GB | £m | 0 | 0 | 0 | 0 | 1.7049 | 4.2623 | 5.9672 | 8.5246 | 11.082 | 14.4919 | 17.0492 | 23.8689 | 30.6886 | 37.5083 | 44.328 | 51.1477 | 57.9674 | 64.7871 | 71.6068 | 78.4265 | 85.2462
Net network deferral saving for 5 years - cables GB | £m | 0 | 0 | 0 | 0 | 1.7049 | 4.2623 | 5.9672 | 8.5246 | 11.082 | 12.7869 | 12.7869 | 17.9017 | 22.164 | 26.4263 | 29.8362 | 34.0985 | 34.0985 | 34.0985 | 34.0985 | 34.0985 | 34.0985
Percentage of overloaded distribution transformers (8 MVA/km2 case)
Assumptions | Units | 2010: Project; 2011: GB; 2012: Source
Total number of transformers (ground+pole mounted) | # | 2010: 39744; 2011: 579944; 2012: Phil W; 2027: Work based on Imperial College (Goran Strbac) report for ENA on benefits of smart approach. Bar charts etc to lhs taken from that report.
Ground mounted transformers | # | 2010: 763; 2011: 231297; 2012: Phil W
% 8MVA LV network length | % | 2010: 0%; 2011: 15%; 2012: Goran (Phil W)
% 2MVA LV network length | % | 2010: 0%; 2011: 60%; 2012: Goran (Phil W)
% 0.5MVA LV network length | % | 2010: 0%; 2011: 25%; 2012: Goran (Phil W)
# of 8MVA transformers /km2 | # | 2010: 0%; 2011: 16; 2012: Goran
# of 2MVA transformers /km2 | # | 2010: 0%; 2011: 8; 2012: Goran
# of 0.5MVA transformers /km2 | # | 2010: 0%; 2011: 3; 2012: Goran
% 8MVA transformers | % | 2010: 33%; 2011: 0%; 2012: Phil W
% 2MVA transformers | % | 2010: 67%; 2011: 0%; 2012: Phil W
% of 8MVA transformers that are ground mount | % | 2010: 100%; 2011: 100%; 2012: Phil W
% of 0.5MVA transformers that are pole mount | % | 2010: 100%; 2011: 100%; 2012: Phil W
% of EV & HP penetration assumed (by 2030) | % | 2010: 25%; 2011: 25%; 2012: Goran (Phil W)
% of overall saving from WPD IFI project | % | 2010: 5%; 2011: 5%; 2012: Team
Ofgem unit cost ground mounted transformer | £k | 2010: 13.2; 2011: 13.2; 2012: Ofgem
Average cable length per transformer | m | 2010: 1400; 2011: 1400; 2012: Goran
Ofgem unit cost cable | £k | 2010: 98.4; 2011: 98.4; 2012: Ofgem
Calculations - Transformers
% overloaded distribution transformers 8 MVA BAU | % | 2010: 55%; 2011: 55%; 2017: Percentage of overloaded distribution transformers (2 MVA/km2 case)
% overloaded distribution transformers 8 MVA Smart | % | 2010: 11%; 2011: 11%
% overloaded distribution transformers 2 MVA BAU | % | 2010: 45%; 2011: 45%
% overloaded distribution transformers 2 MVA Smart | % | bar: 2010 to 2011
% overloaded distribution transformers 0.5 MVA BAU | % | 2010: 73%; 2011: 73%
% overloaded distribution transformers 0.5 MVA Smart | % | 2010: 19%; 2011: 19%
total gb derived network area | km2 | 2011: 72948.9308
Total 8MVA ground mount transformers | # | 2010: 251.79; 2011: 175077.434
Total 2MVA ground mount transformers | # | 2010: 511.21; 2011: 56219.566
Network deferral saving in 2030 - transformers | £m | 2010: 0.20133; 2011: 64.9424
Network deferral saving in 2030 - transformers / template | £m | 2010: 0.20133; 2011: 32.4712
Calculations - Cables |  | 2017: Percentage of overloaded distribution transformers (0.5 MVA/km2 case)
% overloaded LV feeder length 8 MVA BAU | % | 2010: 18%; 2011: 18%
% overloaded LV feeder length 8 MVA Smart | % | bar: 2010 to 2011
% overloaded LV feeder length 2 MVA BAU | % | 2010: 28%; 2011: 28%
% overloaded LV feeder length 2 MVA Smart | % | 2010: 12%; 2011: 12%
% overloaded LV feeder length 0.5 MVA BAU | % | 2010: 29%; 2011: 29%
% overloaded LV feeder length 0.5 MVA Smart | % | bar: 2010 to 2011
Cable length for 8MVA transformers | km2 | 2010: 352.506; 2011: 245108.4075
Cable length for 2MVA transformers | km2 | 2010: 715.694; 2011: 78707.3925
Network deferral saving in 2030 - cables | £m | 2010: 0.71948; 2011: 170.4925
Network deferral saving in 2030 - cables / template | £m | 2010: 0.71948; 2011: 85.2462; 2017: Percentage of overloaded LV feeder length (8 MVA/km2 case)
Percentage of overloaded LV feeder length (2 MVA/km2 case)
Percentage of overloaded LV feeder length (0.5 MVA/km2 case)
Penetration scenarios for combined EVs and HPs