## Project Registration
Tier1
| First Tier LCN Project Registration |  | Yes | No
DNO(s)
Scottish Power
Registration date
Project description
| Project title | Clyde Gateway LR1 (London Road 1)
| Project background | Scottish Power has developed high voltage (HV) automation system that is used throughout its distribution network. This project proposes to integrate the work carried out under its IFI project on low voltage (LV) automation and LV fault finding project with the HV automation system to gain more understanding and control of its LV and HV network.
| Scope and objectives | The proposals will demonstrate the integration of a number of smart grid components within an established infrastructure and will facilitate the development of solutions in a number of areas including power quality, HV/LV automation, auto-sectionalising / load-transfer etc. The application of the latest technologies on various smart grid components on a relatively small network will: • assist with the development of efficient and effective solutions; • provide learning outcomes not only on the smart aspects of the grid infrastructure but on design standards, network voltages and utilisation of assets; and • inform industry and the supply chain on smart grid challenges and solutions.
| Success criteria | The following success criteria have been identified: • Voltage Optimisation - Simultaneous measurement of voltage at various points on the network will inform design and operational practice with respect to voltage limits. • Asset Management - Monitoring of circuit breaker operating time to provide trigger for maintenance and to prevent unnecessary interruptions to supply. • Losses - LV monitoring and automation, identification and elimination of phase imbalance. • Distributed generation - Simultaneous measurement of voltage at various points on the network will inform design and operational practice with respect to impact of generation and allow more generation to be accommodated. • Outages - Automation and system monitoring will reduce unnecessary outages and identify potential network problems before fault occurs.
| TRL(s) | Elements range from TRL 5 to TRL 8
| Predicted end date | Qrtr 4 2013
| External Collaborators and external funding | Radius (LV Automation development) DECC Smart Grid Capital Grant Programme
| Solutions | The solution consists of several tiers of control and monitoring. On the high voltage system: • Additional automation in feeder circuits with load optimisation on each feeder to minimise losses. • Power quality devices to monitor voltage quality, feeder breaker condition and loading On the low voltage system • Specially equipped LV substations to monitor loading/power quality and fault activity • LV network automation points to monitor voltage and control loads
| Potential for new learning | This project brings together several projects developed through IFI and it is our firm intention that learning outcomes from the design, installation and operation of the various smart grid technologies will be used to inform the development of proposals for a wider and larger scale applications within Glasgow and throughout our licensed areas. In particular on the LV system novel monitoring and control techniques is being developed and implemented.
| Risks | • There are a number of dependencies between the various elements of the project. Delays at any stage could affect the project programme. •The various elements have never been integrated before, although as separate entities they work well.
| Scale of Project | The scale of the project is only to involve 2 secondary substations and one 11kV feeder, but it is envisioned that once the project has been completed the design could be replicate elsewhere and implementation scaled up.
| Geographic area | The proposed demonstration is in the heart of the Clyde Gateway regeneration programme (on a site known as London Road 1).
| Does the Project involve customer engagement? | No
Funding
| Revenue allowed for within the DPCR5 settlement (£) | None
| Indication of the total Allowable First Tier Project Expenditure (£) | 300000
Publication
| Does the DNO provide Ofgem with consent to publish its First Tier LCN Project Registration Pro-forma in full? | Yes
If not, please justify which parts the DNO considers to be confidential
Related Undertakings
| Payments to Related Undertakings (£) | None
| If a payment is to be made to any Related Undertaking that is a Distribution System User, have the same terms been offered to similar Distribution System Users of the part of the network that is within the project boundary? | Yes
| Has the DNO used reasonable endeavours to make the opportunity available to similar Distribution System Users of the part of the network that is within the project boundary? | Yes
IPR arrangements
| If IPRs are generated, will they conform to the default IPR arrangements set out in the LCN Fund Governance Document? | Yes
If no, then please provide a compelling justification for the project being approved
Increase row height
Decrease row height

## Project Changes
Tier1
| First Tier LCN Project Changes |  | Yes | No
DNO(s)
Scottish Power
Change date
| Project description | Registration details | Updated details | Reason for changes
| Project title | Clyde Gateway LR1 (London Road 1) | Clyde Gateway LR1 (London Road 1) | N/A
| Project background | Scottish Power has developed high voltage (HV) automation system that is used throughout its distribution network. This project proposes to integrate the work carried out under its IFI project on low voltage (LV) automation and LV fault finding project with the HV automation system to gain more understanding and control of its LV and HV network. | Scottish Power has developed high voltage (HV) automation system that is used throughout its distribution network. This project proposes to integrate the work carried out under its IFI project on low voltage (LV) automation and LV fault finding project with the HV automation system to gain more understanding and control of its LV and HV network. | N/A
| Scope and objectives | The proposals will demonstrate the integration of a number of smart grid components within an established infrastructure and will facilitate the development of solutions in a number of areas including power quality, HV/LV automation, auto-sectionalising / load-transfer etc. The application of the latest technologies on various smart grid components on a relatively small network will: • assist with the development of efficient and effective solutions; • provide learning outcomes not only on the smart aspects of the grid infrastructure but on design standards, network voltages and utilisation of assets; and • inform industry and the supply chain on smart grid challenges and solutions. | The proposals will demonstrate the integration of a number of smart grid components within an established infrastructure and will facilitate the development of solutions in a number of areas including power quality, HV/LV automation, auto-sectionalising / load-transfer etc. The application of the latest technologies on various smart grid components on a relatively small network will: • assist with the development of efficient and effective solutions; • provide learning outcomes not only on the smart aspects of the grid infrastructure but on design standards, network voltages and utilisation of assets; and • inform industry and the supply chain on smart grid challenges and solutions. | N/A
| Success criteria | The following success criteria have been identified: • Voltage Optimisation - Simultaneous measurement of voltage at various points on the network will inform design and operational practice with respect to voltage limits. • Asset Management - Monitoring of circuit breaker operating time to provide trigger for maintenance and to prevent unnecessary interruptions to supply. • Losses - LV monitoring and automation, identification and elimination of phase imbalance. • Distributed generation - Simultaneous measurement of voltage at various points on the network will inform design and operational practice with respect to impact of generation and allow more generation to be accommodated. • Outages - Automation and system monitoring will reduce unnecessary outages and identify potential network problems before fault occurs. | The following success criteria have been identified: • Voltage Optimisation - Simultaneous measurement of voltage at various points on the network will inform design and operational practice with respect to voltage limits. • Asset Management - Monitoring of circuit breaker operating time to provide trigger for maintenance and to prevent unnecessary interruptions to supply. • Losses - LV monitoring and automation, identification and elimination of phase imbalance. • Distributed generation - Simultaneous measurement of voltage at various points on the network will inform design and operational practice with respect to impact of generation and allow more generation to be accommodated. • Outages - Automation and system monitoring will reduce unnecessary outages and identify potential network problems before fault occurs. | N/A
| TRL(s) | Elements range from TRL 5 to TRL 8
| Predicted end date | Qrtr 4 2013
| External Collaborators and external funding | Radius (LV Automation development) DECC Smart Grid Capital Grant Programme
| Solutions | The solution consists of several tiers of control and monitoring. On the high voltage system: • Additional automation in feeder circuits with load optimisation on each feeder to minimise losses. • Power quality devices to monitor voltage quality, feeder breaker condition and loading On the low voltage system • Specially equipped LV substations to monitor loading/power quality and fault activity • LV network automation points to monitor voltage and control loads
| Potential for new learning | This project brings together several projects developed through IFI and it is our firm intention that learning outcomes from the design, installation and operation of the various smart grid technologies will be used to inform the development of proposals for a wider and larger scale applications within Glasgow and throughout our licensed areas. In particular on the LV system novel monitoring and control techniques is being developed and implemented.
| Risks | • There are a number of dependencies between the various elements of the project. Delays at any stage could affect the project programme. •The various elements have never been integrated before, although as separate entities they work well.
| Scale of Project | The scale of the project is only to involve 2 secondary substations and one 11kV feeder, but it is envisioned that once the project has been completed the design could be replicate elsewhere and implementation scaled up.
| Geographic area | The proposed demonstration is in the heart of the Clyde Gateway regeneration programme (on a site known as London Road 1).
| Does the Project involve customer engagement? | No
| Funding | Registration details | Updated details | Reason for changes
| Revenue allowed for within the DPCR5 settlement (£) | None | None | N/A
| Indication of the total Allowable First Tier Project Expenditure (£) | 300000 | 300000 | N/A
| Publication | Registration details | Updated details | Reason for changes
| Does the DNO provide Ofgem with consent to publish its First Tier LCN Project Changes Pro-forma in full? | Yes
If not, please justify which parts the DNO considers to be confidential
| Related Undertakings | Registration details | Updated details | Reason for changes
| Payments to Related Undertakings (£) | None
| If a payment is to be made to any Related Undertaking that is a Distribution System User, have the same terms been offered to similar Distribution System Users of the part of the network that is within the project boundary? | Yes
| Has the DNO used reasonable endeavours to make the opportunity available to similar Distribution System Users of the part of the network that is within the project boundary? | Yes
| IPR arrangements | Registration details | Updated details | Reason for changes
| If IPRs are generated, will they conform to the default IPR arrangements set out in the LCN Fund Governance Document? | Yes | Yes | N/A
| If no, then please provide a compelling justification for the project being approved |  |  | N/A
Increase row height
Decrease row height
Increase row height
Decrease row height
Increase row height
Decrease row height
Increase row height
Decrease row height
Increase row height
Decrease row height