## Bilateral Briefing Meeting between Consultants and Distribution Network Company

AGENDA

Initial Agenda

10:55 am – 11:40 am									07/09/2011

WPD – BRISTOL (Buildings, Renewables and Integrated Storage with Tariffs to overcome network Limitations)

| Agenda Item BRISTOL | Detail |
| --- | --- |
| Governance and Partners | Detail the governance of the project, in particular as it relates to partners. Relevance, roles, specific relationship and benefit of the partners. |
| Successful Delivery Reward Criteria | What will be delivered and when, including the milestones? |
| Project and Project Management | Overview of project purpose, key assumptions and the mitigation management and project buy - in. |
| Specific Item | Detail - BRISTOL |
| Roll out | How will consumers be encouraged to take up battery storage in their homes? How will this be shared between consumers and DNOs? |
| Techniques | Explain the value of the various techniques. |

Agenda Items added after Expert Panel Bilateral 06/09/2011

10:55 – 11:40 am

WPD - BRISTOL

Areas for discussion from the Expert Panel discussion:

  - The applicability and coverage of the Milestones provided – improvements recommended.

Areas for discussion from the Consultants:

  - Successful Delivery Reward Criteria

  - How will the variable tariff work?

  - How replicable is the project?

  - Please confirm the overall efficiency of the project (particularly the batteries)?

  - Referencing Dr. Newbury’s question on costs at a technically difficult site, please outline what this means as/to Networks as a whole. How might the cost change? (Referencing a typical site)

  - Customer Data – how will this be used?

  - What happens to the battery at the end of the project? (Ofgem Question)

RESPONSE

WPD - BRISTOL

Governance and Partners – new partner involved – North West Media Co. to engage with the consumers. MOXIA will provide the DC technology promotion and cover the relevant areas of the project that deal with DC technology with oversight from Siemens.

Variable Tariffs – This will be developed by the University of Bath and will be administered through the Siemens LV Manager equipment. The consumer will receive their usual energy bill and also will only have their existing meter.  Payment from the project will be received periodically by the Customer (fortnightly, monthly or quarterly – to be confirmed) but will not be shown on the invoice. The Tariff will drive the battery charge or discharge.

WPD expect the customer with domestic profile 1 and 2 will save up to £200 per year. This saving will be the difference between the current flat rate and the variable tariff rates.

Variable tariff is already in use for some commercial sites, schools and offices and will include the whole cost of energy i.e. cost of energy/cost of the DUoS. nPower is the only Supplier involved in the Trial.

Supplier Value – WPD identified the management of consumer energy demand, alongside more accurate energy demand projection as the main benefits to the Supplier, as the consumer will be active in moving the demand.

Efficiency of the System – (this is especially related to the batteries). WPD emphasised that the Trial’s focus is to test the efficiency of the battery transport (i.e. the operation of a battery in this configuration rather than the specific battery technology) and not to test the battery themselves. As such there will be no compensation for the electricity losses associated with using the battery.

The battery will be virtualised and the method and partition proportions (between the consumer and the DNO) need to be decided by the Trial.

Communication Plan – this will be managed by University of Bath who are responsible for the technical and communication plans for disseminating information about the consumer bill. The bill is a “pseudo” bill; it is in effect the return of payment made.

Successful Delivery Reward Criteria (SDRC) – there will be a series of workshops for the consumer as well as installations to be undertaken alongside the development of the new variable tariff framework.

Early learning for the DNOs and the Project Partners should be available by December 2013 including all the Trial data up to November 2013.

It is expected that there will be information available to support the specific economics of the DSM. There is also the opportunity for early learning from the offering for customer engagement that will be done through Bristol Council.

Technology - The intention is to utilise the DC being generated by the Solar PV, and also examine Harmonics and Voltage. Typically there is 1%V headroom on the DC converter but the intention is to remove the AC Converters and access the DC directly.

The harmonics issue referenced for examination is not specific to the low Carbon area, but relative to Business as Usual (BAU) approaches, this technique should improve Power Quality. In truth, in BAU, there is no evidence to support the general belief that there is an issue with Harmonics.

The innovative element of this Method is to Trial existing automation techniques to control batteries. The battery itself as specified may be virtual, or one of the more common technologies lead, acid etc.

A risk is that the DC technology will not qualify for any of the energy schemes e.g. No DC Meter is accredited for use with the FiTS regime.

Battery Life – The customer will have the choice of retaining the battery at the end of the Trial or they will be removed from the customer premises.

Benefits - The techniques being employed will deliver the most benefit around power peak management and will be applicable to other areas e.g. EV and PHP.

IPR - There is a multiparty Memorandum of Understanding in development and this will be superseded by bilateral contracts which will be in place before the award of LCNF.