## Bilateral Briefing Meeting between Consultants and Distribution Network Company

AGENDA

Initial Agenda

11:50 - 12:35 pm

WPD – FALCON (Flexible Approaches for Low Carbon Optimised Networks)

| Agenda Item FALCON | Detail |
| --- | --- |
| Governance and Partners | Detail the governance of the project, in particular as it relates to partners. Relevance, roles, specific relationship and benefit of the partners. |
| Successful Delivery Reward Criteria | What will be delivered and when, including the milestones? |
| Project and Project Management | Overview of project purpose, key assumptions and the mitigation management and project buy - in. |

Agenda Items added after Expert Panel Bilateral 06/09/2011

11:50 - 12:35 pm

WPD - FALCON

Topics reviewed and used to inform the Consultant’s report:

- The risk management and controls associated with software development;

- The importance of the lower-value interventions to the Trial learning outcomes;

- The roles of Elexon and Electralink – particularly in relation to EACS and Actual Advance (AA) data;

- The roles of Logica and IVHM/Cranfield in the softaware development; and

- The scope and proposed endpoint of the prototype development.

RESPONSE

#### WPD FALCON

Cost – The SIM delivered by the Method will be a prototype that any DNO adopting the SIM will have to populate with locally relevant data variables and thus it is expected that each SIM requires an extra “investment” by each DNO to make the SIM operationally useful.

Learning – The SIM will be fully specified during the Trial, so that further development to a full product will be minimised by the learning from the Trial.   The innovation is the measurement of the 11kV grid in this context.

Intervention Method – this is to ensure that the full complement of possibilities are tested and included. The product will not be complete and fully applicable if the full complements of possibilities are not included; in essence it will be like some of the existing products.

Logica - Logica is a Project Partner contributing their specialist knowledge in the management of software development and are tasked with ensuring that it the SIM is developed to the project requirements.

As such, Logic has a two-fold role, i) the management the software partners ii) the technical specification of the SIM and UAT testing and requirements fulfilment signoff.

Data - The Method will test the appropriateness of Actual Advance (“AA”) data as a source variable. A request has been raised with STAG (Software Technical Advisory Group) for the NHH DA through Elexon. The NHH Data is available and access is available through P222. The Trial will produce data (measured), which will be comparatively analysed against the data obtained from Elexon. The Trial may influence modification of the BSC in the future.

The data will be delivered “batched” and Cisco is providing the communications infrastructure for delivery over the 11Kv network.

Cisco - Cisco is involved in the monitoring the extracted data from the wholesale segment and the monitoring of the intervention techniques. The focus for Cisco is the design of the communication network where they will develop and implement a “ruggedized” router and the IP based MESH.

In addition to the MESH control and the data communication overlay Cisco will will test the security of IP as a base protocol for the SIM control.

Design – WPD identified that there are two component to the projects) – i) Investment planning i.e. techniques around the design and planning and ii) Modelling the Intervention techniques.

The Investment model will be the design tool developed against a series of scenarios. The SIM will Trial the Method, which is a pre-test that the concept works. The Network test will test in reality and allow for comparison to the accuracy of the SIM.