## UKPN2002
| Question No. | Proforma section | Topic | Question | Date question asked | Date response required | Date received | Follow up to Question # | Confiential (y/n) | Attachments
co | 1 |  | Rollout | What justification is there for assuming that each area of the UK will be installing a similar amount of MW of onshore wind as the project site? | 2011-08-25 | 2011-08-30 | 2011-08-30 |  | N
co | 2 | 4 (b) | Rollout | What are the cost implications involved in training / educating DNO staff on the results of the FPP, and have these been incorporated into the rollout calculations? | 2011-08-25 | 2011-08-30 | 2011-08-30 |  | N
MA | 3 | Section 7 | Derogations | You state that you may require a derogation from SLC 14 to charge in accordance with the common connection charging methodology. Can you please be definitive about whether or not you will require this derogation. | 2011-08-30 | 2011-08-06 | 2011-08-30 |  | N
Co | 4 | Page 5 | Smart Devices | How do your proposals for applying dynamic line ratings extend knowledge beyond that already acquired from previous trials at EHV or currently being gained through other development projects? | 2011-09-01 | 2011-09-06 | 2011-08-30 | 2011-08-30 | N
Co | 5 |  | Protection | In your assumptions of base case cost, it is noted that other protection methodologies can meet the function of directional overcurrent, but not used by UKPN. Why are these not being trialled? | 2011-09-01 | 2011-09-06 | 2011-08-30 | 2011-08-30 | N
Co | 6 |  | Protection | Do the directional relay systems you propose to trial provide additional functionality or are they simply to overcome the 75% setting limit? | 2011-09-01 | 2011-09-06 | 2011-08-30 | 2011-08-30 | N
Co | 7 | Page 23 | Involvement of partners | “the Partners have been chosen for their breadth of experience, expertise and innovation culture” (page 23). Please will you advise how you determined that their costs and their financial contribution in relation to the benefits to them, are fair. | 2011-09-01 | 2011-09-06 | 2011-08-30 | 2011-08-30 | N
Co | 8 | Page 34 | Benchmarking of Partners’ costs | Please will you provide some information, possibly with an example, of how Partners’ costs have been benchmarked | 2011-09-01 | 2011-09-06 | 2011-08-30 | 2011-08-30 | N
Co | 9 | Section 6 | Project readiness | You state that the resources to undertake this project will be “allocated and mobilised”. Please can you say a little more about where the availability of resources, eg whether they will be recruited or allocated from the Low Carbon Teams, or from Business as Usual. Will the resources be dedicated to the project. | 2011-09-01 | 2011-09-06 | 2011-08-30 | 2011-08-30 | N
Co | 10 | Section 6 | Project readiness | Please can you advise us who will be on the Project Steering Group and the UKPN’s Executive in the project. | 2011-09-01 | 2011-09-06 | 2011-08-30 | 2011-08-30 | N
Co | 11 | Section 2 | Safety | Have you considered safety issues for the trial? Are you developing a Safety Case for the proposed Method(s) as part of the project that can be used if/when the Method become business as usual? | 2011-09-13 | 2011-09-20 |  |  | N
Co | 12 | Appendix | Project readiness | Can you please outline the project management experience which will brought to the project by the project team? | 2011-09-13 | 2011-09-20 |  |  | N
Co | 13 | Section 2 | Trial | Please can you provide an indication of fault history on the trial 33kV network e.g. nature of faults, frequency of permanent faults, frequency of transient faults? | 2011-09-13 | 2011-09-20 |  |  | N
Co | 14 | Risk Register | Classification of risk | On your risk register, please can you describe the categories e.g. how may a risk be classified as probability of 2 or a severity of 4? | 2011-09-13 | 2011-09-20 |  |  | N
Co | 15
Co | 16
MA | 17 | Section 9 | SDRC | Please submit revised Succesful Delivery Reward Criteria using the form available in the Shared LCN Fund Folder. You should also refer to the email sent by Mark Askew on 14 September (a copy of this is also available in the Shared LCN Fund folder). | 2011-09-15 | 2011-09-21 |  |  | N
|  |  |  | No questions in this round | 2011-09-22
|  |  |  | No questions in this round | 2011-10-04
MA | 19 | Connections | Section 7 | Can you please explain which aspects of the common connection charging methodology (CCCM) which you consider you may have difficulty complying with in the trial and which have caused you to highlight that you may need to seek relief from it. (Section 7) | 2011-10-06 | 2011-10-13 |  |  | N
|  |  |  | No questions in this round | 2011-10-13
| 20 | Section 9 | SDRC | As permitted under the governance document (p44) we would like to suggest some changes to your successful delivery reward criteria: Can you please review all SDRC to make them more precise e.g. a number of them reference ‘successful development’ and ‘sign off’. How will success be measured, what constitutes sign off and who will be signing it off? We would like you to state what success looks like for each of these milestones. 9.7 Evidence: Can you improve on just making one connection offer using FPP methods. Your submission specifically quotes the 188MW of generation at the planning stage and 90MW already connected in the project area (p2). Can you commit to actually connecting a certain volume of this using FPP methods, faster and at lower cost than traditional approaches? 9.8 General: Can you like this to the outputs do you require from the quadbooster to specifically support the aims of the trial. Can you please resubmit your SDRC bearing these points in mind? | 2011-11-03 | 2011-11-10 |  |  | N