## Project Numbers
DNO | Project Number | Project Name
ENWL | ENWLT2003 | Capacity to Customers
SP | SPT2003 | Flexible Networks for a Low Carbon Future
SSE | SSET2003 | Thames Valley Vision 2
UKPN | UKPNT2003 | Flexible Plug and Play
WPD | WPDT2002 | F.A.L.C.O.N.
WPD | WPDT2003 | B.R.I.S.T.O.L.
Question Originator
initials | name
GE | Gareth
MA | Mark
AR | Anna
NC | Neil
Co | Consultants

## SPT2003
| Question No. | Proforma section | Topic | Question | Date question asked | Date response required | Date received | Follow up to Question # | Confiential (y/n) | Attachments
co | 1 | 2 | St Andrews trial site | Please outline the likelihood of a developer connecting a 12MW windfarm to the 11kV network? | 2011-08-25 | 2011-08-30 | 2011-08-30
co | 2 | 2 | St Andrews trial site | Is it your expectation that the current 11kV network will accommodate a 12MW windfarm by applying the proposed solution? | 2011-08-25 | 2011-08-30 | 2011-08-30
co | 3 | 2 | St Andrews trial site | How confident are you the University's requirements for maximum demand will increase from 1.9MVA to 5MVA? Well the University have exhausted all low carbon options before reaching 5MVA? | 2011-08-25 | 2011-08-30 | 2011-08-30
co | 4 | Appendix D | Installation of solar PV | For the roll-out of the solution, what proportion of domestic installations do you assume will be concentrated in one area (eg as planned by Wrexham Council) as compared with a more dispersed implementation on individual homes spread across the LV networks? | 2011-08-25 | 2011-08-30 | 2011-08-30
co | 5 | Appendix D | Whitchurch site | Are we correct in assuming that there is no significant planned renewable generation for Whitchurch networks? | 2011-08-25 | 2011-08-30 | 2011-08-30
co | 6 | 6 | Governance | Please better explain the membership of the Governance Board? | 2011-08-25 | 2011-08-30 | 2011-08-30
co | 7 | Appendix G | Customer cash incentive | Risk no 13 on the Risk Register refers to a cash incentive to customers as a contingency plan. How will you assess whether risk 13 has not been mitigated and this contingency is required. Please provide additional details. | 2011-08-25 | 2011-08-30 | 2011-08-30 |  | y
MA | 8 | Spreadsheet | Missing info | Can you please revise the ‘LCN Funded costs’ tab of your full submission spreadsheet so that it links through to every item which is being funded or part funded under the ‘Outstanding Funding Required’. Please refer to the guidance document circulated on 17 June (available on the shared drive of the FTP site). | 2011-08-25 | 2011-09-08 | 2011-09-08 |  | y
MA | 9 | Section 8 | Customer impacts | Who is procuring and paying for the equipment which will be installed in I & C customer’s premises to improve energy efficiency and reduce peak demand? (Section 8 of the proforma). | 2011-08-30 | 2011-09-06 | 2011-09-06
NC | 10 | Spreadsheet | Direct benefits | Please provide a breakdown of the direct benefits set out in the direct benefits tab by each scheme where spend has been avoided as they are described in the FBPQ. | 2011-09-01 | 2011-09-06 | 2011-09-06 |  | y
Co | 11 | Section 4, p19 | Carbon | Please expand on the assumptions underpinning following statement: “one third of reinforcement schemes could be deployed in a timeframe of less than 12 months compared to up to four years for a traditional solution enabling customers to adopt electric heating and transport faster”. (Section 4, p19) | 2011-09-06 | 2011-09-13 | 2011-09-13
Co | 12 |  | Carbon | How complementary is the project to other Tier 2, Tier 1 and IFI projects in a way that enables carbon reductions to be delivered. | 2011-09-06 | 2011-09-13 | 2011-09-13
CO | 13 |  | Carbon Emissions Reductions | Please provide further details of carbon emissions reductions resulting from the project. | 2011-09-08 | 2011-09-14 | 2011-09-14
MA | 14 | Section 8 | IIS | Can you please outline how many customers will be impacted by interruptions in each of your trial areas. | 2011-09-08 | 2011-09-14 | 2011-09-14
MA | 15 | Section 9 | IIS | You state that the project will impact both I&C customers and domestic customers and that you will look to provide information to these customers. Can you please give an indication of how many I&C customers and how many domestic customers will be directly impacted by the project i.e. will receive communication from you. | 2011-09-08 | 2011-09-14 | 2011-09-14
Co | 16 | Page 5 of submission | Safety | Have you considered safety issues for the trial? Are you developing a Safety Case for the proposed Method(s) as part of the project that can be used if/when the Method become business as usual? | 2011-09-13 | 2011-09-20 | 2011-09-20
Co | 17 | Section 6 | Funding | At this stage, how firm are your partners’ commitments to their funding contribution shown in the submission? | 2011-09-13 | 2011-09-20 | 2011-09-20
MA | 18 | Section 8 | Customer impacts | Can you please confirm how many customers will experience interruptions at each of your trial sites? | 2011-09-13 | 2011-09-20 | 2011-09-20
MA | 19 | Section 9 | SDRC | Please submit revised Succesful Delivery Reward Criteria using the form available in the Shared LCN Fund Folder. You should also refer to the email sent by Mark Askew on 14 September (a copy of this is also available in the Shared LCN Fund folder). | 2011-09-15 | 2011-09-21 | 2011-09-21
Co | 20 | Spreadsheet | Interuptions | Can you confirm that the cost of anticipated incentive penalties for the CI & CLM at St Andrews is being met by your DNO Compulsory Contribution? | 2011-09-20 | 2011-09-25 | 2011-09-25
Co | 21 | Section 8 | Customer impact | It is claimed that the constraining off arrangements will have relatively little impact for variable wind generation. What will be the impact be for other types of distributed generation? | 2011-09-20 | 2011-09-25 | 2011-09-25
|  |  |  | No questions in this round | 2011-09-22
|  |  |  | No questions in this round | 2011-10-04
|  |  |  | No questions in this round | 2011-10-06
MA | 22 | Spreadsheets | Direct Benefits | Please provide further details on the asset replacement costs which you are claiming as Direct Benefits. Specifically, can you break down the Direct Benefits into the asset categories set out in the worksheet in the Shared Folder, using the definitions contained in the RIGs v2 guidance documents? This worksheet is based on the asset replacement tab (CV3) of the regulatory instructions and guidance. | 2011-10-13 | 2011-10-26 | 2011-10-26 |  | y
| 23 | Section 9 | SDRC | As permitted under the governance document (p44) we would like to suggest some changes to your successful delivery reward criteria: Can you please remove the weighting you have placed on each SDRC. In the governance document (p65) we state that the Authority will determine the level of the successful delivery reward. Therefore, we can’t agree to the weighting which you have set out. Separately, we note that in your submission, you state that your aim is to increase the headroom by 20% at each of your three sites (p5). This is reflected in SDRC for two of the three sites but not for the site at Wrexham. Could you please add a similar criterion for a 20% increase in headroom for Wrexham. Can you please revise your SDRC bearing these points in mind? | 2011-11-03 | 2011-11-10 | 2011-11-10
| 24 | Spreadsheets | LCN Funded costs Tab | In the LCN Funded Costs tab you have included spend for work programmes. Please split this into each of the tasks detailed on the 'Whole Projects Costs' tab. | 2011-11-17 | 2011-11-21 | 2011-11-21 |  | y
| 25 | Appendix G Page 49 | Project Partners | What is the status of any agreements with project partners? When will contracts be agreed if the project receives funding? | 2011-11-17 | 2011-11-21 | 2011-11-21