## Version & Contents
Network Outputs DPCR5
0
Version control and Contents
| DNO: |  | Template version:
Version 8
Version:
| Submission | Date submitted | Changes
| Area | Table | Navigate | Description
| Load Index (LI) | LI Logic |  | DNO decision criteria for assigning sites an LI ranking
|  | LI data |  | LI data sheet
|  | LI charts |  | LI output charts
| Health Index (HI) | HI data |  | HI data sheet
|  | HI charts |  | HI output charts
| Fault rates | Fault rate data |  | Fault rate data sheet, including historical MTP data
|  | MTP all incidents |  | MTP fault data
|  | MTP one-off ee's only |  | MTP fault data
|  | MTP severe weather ee's only |  | MTP fault data
|  | MTP excluding all ee's |  | MTP fault data
|  | Fault rate charts |  | Fault rate output charts
| Asset volumes | Volume reconciliation |  | Guide to reconciliation of asset volumes for the HI and fault rate outputs with FBPQ Table T4
Go
Go
Go
Go
Go
Go
Go
Go
Go
Go
Go
Go

## LI Logic
Network Outputs DPCR5
0
Load Index (LI)
| DESCRIPTION OF LOGIC |  |  | LOGIC THRESHOLDS |  |  | Load Index Definitions
|  | Demand driver | Duration driver |  | Lower bound | Upper bound | LI1 | Significant spare capacity
| LI1 |  |  | Demand driver |  |  | LI2 | Adequate spare capacity
[7 empty] | LI3 | Highly utilised
[7 empty] | LI4 | Fully utilised, mitigation requires consideration
[7 empty] | LI5 | Fully utilised, mitigation required
| LI2 |  |  | Duration driver
| LI3 |  |  | LOGIC VLOOKUP TABLES
Demand
0
0
| LI4 |  |  | 0
0
0
Duration
0
| LI5 |  |  | 0
Duration2

## LI data
Network Outputs DPCR5
0
Load Index (LI)
Demand Group: Individual Substations
| DEMAND GROUP DESCRIPTION |  |  |  |  | LOAD INDEX - CURRENT (as at 31 March) | [5 empty] | FORECAST LOAD INFORMATION | [9 empty] | LOAD INDEX - 31 March 2015 (with no further DPCR5 intervention) |  |  | LOAD INDEX - 31 March 2015 (with further DPCR5 intervention) | [7 empty] | RISK MANAGEMENT | P2/6 COMPLIANCE | Changes to FIRM CAPACITY from Previous Year | [5 empty] | Changes to MAXIMUM DEMAND from Previous Year | [5 empty] | Changes to HOURS / ENERGY AT RISK from Previous Year
|  | Substation | Category | No. of customers | Percentage of customers supplied by substation | Current substation firm capacity under single circuit outage conditions | Season of Most Onerous Demand, and Limiting Factor (see conditions below) | Substation current Maximum Demand | Substation current Maximum Demand as % of Substation Firm Capacity | Current hours / energy at risk | Load Index ranking | Historic and forecast max demand (MVA) - excluding forecast intervention | [9 empty] | 31 March 2015 Substation Maximum Demand as % of Substation firm capacity (with no further DPCR5 intervention) | 31 March 2015 forecast hours / energy at risk (with no further DPCR5 intervention) | Load Index ranking | Is there expenditure contained within the FBPQ relating to a general reinforcement scheme which will increase firm capacity for this demand group over DPCR5? | Is a reinforcement to increase firm capacity for this demand group underway or planned over DPCR5 (i.e. after reprioritisation)? | 31 March 2015 substation firm capacity under single circuit outage conditions (with further DPCR5 intervention) | Substation Maximum Demand for year ending 31 March 2015 after permanent load transfers, DSR, DG (if any) | 31 March 2015 Substation Maximum Demand as % of Substation firm capacity (with further DPCR5 intervention) | 31 March 2015 forecast of hours / energy at risk (with further DPCR5 intervention) | Load Index ranking | For those demand groups in which a reinforcement to increase firm capacity is underway or planned over DPCR5, please indicate the demand driver for the project | Risk management / operational measures in place as at 31 March 2015 - may include manual transfers in operation or planned, DG, DSR, etc. | Is a derogation or self-derogation against P2/6 in place, or planned? | Previous year substation firm capacity (as at 31 March) | Previous year substation firm capacity (as at 31 March) - after accounting for Material Changes | Current substation firm capacity under single circuit outage conditions - as at 31 March | Change in substation firm capacity from previous year due to Material Changes | Change in substation firm capacity from previous year due to intervention | Briefly explain the nature / category of any Material Change affecting Firm Capacity for this Demand Group (detail in commentary accompanying the submission) | Forecast of current substation maximum demand from previous year | Current substation maximum demand - after accounting for Material Changes (before intervention) | Substation current maximum demand | Change in substation maximum demand from previous year due to Material Changes | Change in substation maximum demand from previous year due to intervention (permanent load transfers, DSR, DG) | Briefly explain the nature / category of any Material Change affecting maximum demand for this Demand Group (detail in commentary accompanying the submission) | Hours / energy at risk from previous year | Current hours / energy at risk | Change in hours / energy at risk from previous year due to Material Changes | Briefly explain the nature / category of any Material Change affecting hours / energy at risk for this Demand Group (detail in commentary accompanying the submission)
| No. | Substation Name | Voltage | # | % | MVA | Season; (a-k) | MVA | % |  | LI1 - LI5 | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | % |  | LI1 - LI5 | Yes/No | Yes/No | MVA | MVA | % |  | LI1 - LI5 | Organic load growth / One-off customer connection | Commentary | Yes, in place / Yes, planned / No | MVA | MVA | MVA | MVA | MVA | Commentary | MVA | MVA | MVA | MVA | MVA | Commentary | 0 | 0 | 0 | Commentary
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175
176
177
178
179
180
181
182
183
184
185
186
187
188
189
190
191
192
193
194
195
196
197
198
199
200
201
202
203
204
205
206
207
208
209
210
211
212
213
214
215
216
217
218
219
220
221
222
223
224
225
226
227
228
229
230
231
232
233
234
235
236
237
238
239
240
241
242
243
244
245
246
247
248
249
250
251
252
253
254
255
256
257
258
259
260
261
262
263
264
265
266
267
268
269
270
271
272
273
274
275
276
277
278
279
280
281
282
283
284
285
286
287
288
289
290
291
292
293
294
295
296
297
298
299
300
301
302
303
304
305
306
307
308
309
310
311
312
313
314
315
316
317
318
319
320
321
322
323
324
325
326
327
328
329
330
331
332
333
334
335
336
337
338
339
340
341
342
343
344
345
346
347
348
349
350
351
352
353
354
355
356
357
358
359
360
361
362
363
364
365
366
367
368
369
370
371
372
373
374
375
376
377
378
379
380
381
382
383
384
385
386
387
388
389
390
391
392
393
394
395
396
397
398
399
400
401
402
403
404
405
406
407
408
409
410
411
412
413
414
415
416
417
418
419
420
421
422
423
424
425
426
427
428
429
430
431
432
433
434
435
436
437
438
439
440
441
442
443
444
445
446
447
448
449
450
451
452
453
454
455
456
457
458
459
460
461
462
463
464
465
466
467
468
469
470
471
472
473
474
475
476
477
478
479
480
481
482
483
484
485
486
487
488
489
490
491
492
493
494
495
496
497
498
499
500
501
502
503
504
505
506
507
508
509
510
511
512
513
514
515
516
517
518
519
520
521
522
523
524
525
526
527
528
529
530
531
532
533
534
535
536
537
538
539
540
541
542
543
544
545
546
547
548
549
550
551
552
553
554
555
556
557
558
559
560
561
562
563
564
565
566
567
568
569
570
571
572
573
574
575
576
577
578
579
580
581
582
583
584
585
586
587
588
589
590
591
592
593
594
595
596
597
598
599
600
601
602
603
604
605
606
607
608
609
610
611
612
613
614
615
616
617
618
619
620
621
622
623
624
625
626
627
628
629
630
631
632
633
634
635
636
637
638
639
640
641
642
643
644
645
646
647
648
649
650
651
652
653
654
655
656
657
658
659
660
661
662
663
664
665
666
667
668
669
670
671
672
673
674
675
676
677
678
679
680
681
682
683
684
685
686
687
688
689
690
691
692
693
694
695
696
697
698
699
700
701
702
703
704
705
706
707
708
709
710
711
712
713
714
715
716
717
718
719
720
721
722
723
724
725
726
727
728
729
730
731
732
733
734
735
736
737
738
739
740
741
742
743
744
745
746
747
748
749
750
751
752
753
754
755
756
757
758
759
760
761
762
763
764
765
766
767
768
769
770
771
772
773
774
775
776
777
778
779
780
781
782
783
784
785
786
787
788
789
790
791
792
793
794
795
796
797
798
799
800
| TOTAL |  |  | 0 | 0%
Demand Group: Substation Groups
| DEMAND GROUP DESCRIPTION |  |  |  |  | LOAD INDEX - CURRENT (as at 31 March) | [5 empty] | Historic and forecast max demand (MVA) - excluding forecast intervention 2005/06: FORECAST LOAD INFORMATION | LOAD INDEX - 31 March 2015 (with no further DPCR5 intervention) |  |  | LOAD INDEX - 31 March 2015 (with DPCR5 further intervention) | [7 empty] | RISK MANAGEMENT | P2/6 COMPLIANCE | Changes to FIRM CAPACITY from Previous Year | [5 empty] | Changes to MAXIMUM DEMAND from Previous Year | [5 empty] | Changes to HOURS / ENERGY AT RISK from Previous Year
|  | Substation group | Category | No. of customers | Percentage of customers supplied by substation group | Current substation group firm capacity under single circuit outage conditions | Limiting Factor (see conditions below) | Substation group current Maximum Demand | Substation group current Maximum Demand as % of Substation Firm Capacity | Current hours / energy at risk | Load Index ranking | Historic and forecast max demand (MVA) - excluding forecast intervention 2005/06: Historic and forecast max demand (MVA) - excluding forecast intervention | 31 March 2015 Substation group Maximum Demand as % of Substation firm capacity (with no further DPCR5 intervention) | 31 March 2015 forecast hours / energy at risk (with no further DPCR5 intervention) | Load Index ranking | Is there expenditure contained within the FBPQ relating to a general reinforcement scheme which will increase firm capacity for this demand group over DPCR5? | Is a reinforcement to increase firm capacity for this demand group underway or planned over DPCR5 (i.e. after reprioritisation)? | 31 March 2015 substation group firm capacity under single circuit outage conditions (with further DPCR5 intervention) | 31 March 2015 Substation group Maximum Demand after permanent load transfers (if any) | 31 March 2015 Substation group Maximum Demand as % of Substation firm capacity (with further DPCR5 intervention) | 31 March 2015 forecast of hours / energy at risk (with further DPCR5 intervention) | Load Index ranking | For those demand groups in which a reinforcement to increase firm capacity is underway or planned over DPCR5, please indicate the demand driver for the project | Risk management / operational measures in place as at 31 March 2015 - may include manual transfers in operation or planned, DG, DSR, etc. | Is a derogation or self-derogation against P2/6 in place, or planned? | Previous year substation firm capacity (as at 31 March) | Previous year substation firm capacity (as at 31 March) - after accounting for Material Changes | Current substation firm capacity (as at 31 March) | Change in substation firm capacity from previous year due to Material Changes | Change in substation firm capacity from previous year due to intervention | Briefly explain the nature / category of any Material Change affecting Firm Capacity for this Demand Group (detail in commentary accompanying the submission) | Forecast of current substation maximum demand from previous year | Current substation maximum demand - after accounting for Material Changes (before intervention) | Current substation maximum demand | Change in substation maximum demand from previous year due to Material Changes | Change in substation maximum demand from previous year due to intervention (permanent load transfers, DSR, DG) | Briefly explain the nature / category of any Material Change affecting maximum demand for this Demand Group (detail in commentary accompanying the submission) | Hours / energy at risk from previous year | Current hours / energy at risk | Change in current hours / energy at risk from previous year due to Material Changes | Briefly explain the nature / category of any Material Change affecting hours / energy at risk for this Demand Group (detail in commentary accompanying the submission)
| No. | Substation Group Name | Voltage | # | % | MVA | (a-j) | MVA | % |  | LI1 - LI5 | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | % |  | LI1 - LI5 | Yes/No | Year | MVA | MVA | % |  | LI1 - LI5 | Organic load growth / One-off customer connection | Commentary | Yes, in place / Yes, planned / No | MVA | MVA |  | MVA | MVA | Commentary | MVA | MVA | MVA | MVA | MVA | Commentary |  |  |  | Commentary
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175
176
177
178
179
180
181
182
183
184
185
186
187
188
189
190
191
192
193
194
195
196
197
198
199
200
201
202
203
204
205
206
207
208
209
210
211
212
213
214
215
216
217
218
219
220
221
222
223
224
225
226
227
228
229
230
231
232
233
234
235
236
237
238
239
240
241
242
243
244
245
246
247
248
249
250
251
252
253
254
255
256
257
258
259
260
261
262
263
264
265
266
267
268
269
270
271
272
273
274
275
276
277
278
279
280
281
282
283
284
285
286
287
288
289
290
291
292
293
294
295
296
297
298
299
300
301
302
303
304
305
306
307
308
309
310
311
312
313
314
315
316
317
318
319
320
321
322
323
324
325
326
327
328
329
330
331
332
333
334
335
336
337
338
339
340
341
342
343
344
345
346
347
348
349
350
351
352
353
354
355
356
357
358
359
360
361
362
363
364
365
366
367
368
369
370
371
372
373
374
375
376
377
378
379
380
381
382
383
384
385
386
387
388
389
390
391
392
393
394
395
396
397
398
399
400
| TOTAL |  |  | 0 | 0%
Load Index Definitions
| LI1 | Significant spare capacity
| LI2 | Adequate spare capacity
| LI3 | Highly utilised
| LI4 | Fully utilised, mitigation requires consideration
| LI5 | Fully utilised, mitigation required
Definitions and Guidance
| Cyclic Rating of transformer(s): |  | Should be the transformer cyclic rating(s) normally used by the DNO for network design purposes.
| Substation Firm Capacity Under Single Circuit Outage Conditions |  | Should consider the cyclic rating of the remaining transformer(s), normally connected secondary interconnection following the fault, and any additional capacity made available under auto transfer schemes (i.e.. the capacity that is immediately available post an n-1 incident), and excludes manual transfers * Please note that for 'single transformer substation' the firm capacity includes the available transfer capacity on the secondary voltage network (e.g. manual transfer).
| Limiting Factor |  | Should be categorised as either: (a) Cyclic rating of a transformer (b) Rating of the incoming circuit(s) (c) Capacity of normally connected secondary interconnection (d) Rating of the secondary switchboard (e) Rating of any ancillary equipment (f) Voltage regulation (g) Substation or network configuration (h) Rating of the primary switchgear or busbars (i) Redundant substation (j) Meshed network circuit capacity (k) Customer connection agreement
| Substation Maximum Demand (corrected for weather and abnormal running) |  | Should be the gross maximum demand for a substation after: - The load that has been met by metered distributed generation has been added back; - High demands experienced during abnormal running conditions have been eliminated; and - Demands have been weather corrected (if correction applied)
| Substation Demand as % of Substation Capacity |  | Should be the "Substation Maximum Demand" expressed as a percentage of the "Substation Capacity under Single Circuit Outage Conditions"
Note on C819: Ofgem: Include Substation Group Name and the Substation No. from column B above (e.g. "North West Group - Substations 16, 76, 234")
Note on K9: Ofgem: Insert whether driver is based on Duration or MVAh
Duration
MVAh
Duration
MVAh
Duration
MVAh
Duration
MVAh

## LI charts
Network Outputs DPCR5
0
Load Index (LI)
| SUBSTATIONS (132kV - EHV) | [5 empty] | SUBSTATIONS (132kV - EHV)
| LI | Year 0 | Year 5 (no intervention | Year 5 (with Investment)
Number of Substations
| LI1 | 0 | 0 | 0
| LI2 | 0 | 0 | 0
| LI3 | 0 | 0 | 0
| LI4 | 0 | 0 | 0
| LI5 | 0 | 0 | 0
| Total | 0 | 0 | 0
Percentage of customers supplied
| LI1 | 0% | 0% | 0%
| LI2 | 0% | 0% | 0%
| LI3 | 0% | 0% | 0%
| LI4 | 0% | 0% | 0%
| LI5 | 0% | 0% | 0%
| Total* | 0% | 0% | 0%
| LI1 - LI3 | 0% | 0% | 0%
| LI4 | 0% | 0% | 0%
| LI5 | 0% | 0% | 0%
| Total | 0% | 0% | 0% | Maximum | 0
*Note total may add to greater than 100% as a single customer may be supplied by more than one substation (i.e. at different voltage levels)
Substations - by voltage levels
Substation groups
ALL SUBSTATIONS
SUBSTATION GROUPS
132kV - EHV
EHV - EHV
EHV - HV
132kV - HV

## HI data
Network Outputs DPCR5
0
Health Index (HI)
| ASSET CATEGORIES | ASSET REGISTER |  | HEALTH INDEX - CURRENT (as at 31 March) |  |  |  |  | HEALTH INDEX - 31 March 2015 (with no further DPCR5 intervention) |  |  |  |  | HEALTH INDEX - 31 March 2015 (with DPCR5 actual & forecast intervention) |  |  |  |  | DATA QUALITY - CURRENT (as at 31 March)
[19 empty] | Number of assets included for HI output measure | Primary form of measure | Number of assets actually observed | Average age of data used | Description of the form of measure used to assign a HI, the quality of data used, and any other relevant information | Degradation assumption adopted
|  | Current (as at 31 March) | Forecast (as at 31 March 2015) | HI 1 | HI 2 | HI 3 | HI 4 | HI 5 | HI 1 | HI 2 | HI 3 | HI 4 | HI 5 | HI 1 | HI 2 | HI 3 | HI 4 | HI 5 | Assets | Health Condition Age Other | % | Years | Commentary | Description
LV Network
LV Switchgear and Other
LV UGB
LV OHL Support
HV Network
HV Switchgear (GM) - Primary
HV Switchgear (GM) - Distribution
HV Transformer (GM)
HV UG Cable
HV OHL Support - Poles
EHV Network
EHV Switchgear (GM)
EHV Transformer
EHV UG Cable (Gas)
EHV UG Cable (Oil)
EHV UG Cable (Non Pressurised)
EHV OHL Support - Towers
EHV OHL Support - Poles
EHV OHL Fittings and Conductors (Tower Lines)
132kV Network
132kV CBs
132kV Transformer
132kV UG Cable (Gas)
132kV UG Cable (Oil)
132kV UG Cable (Non Pressurised)
132kV OHL Support - Tower
132kV OHL Fittings and Conductors (Tower Lines)
Other
Submarine Cables
| TOTAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Health Index Definitions
|  | HI1 | New or as new
|  | HI2 | Good or seviceable condition
|  | HI3 | Deterioration requires assessment and monitoring
|  | HI4 | Material deterioration, intervention requires consideration
|  | HI5 | End of serviceable life, intervention required
Note on U7: Ofgem: Insert one of the following: Health; Condition; Age; or Other.

## HI charts
Network Outputs DPCR5
0
Health Index (HI)
| HV OHL Support - Poles | [6 empty] | HV OHL Support - Poles
| HI | Year 0 | Year 5 (no intervention) | Year 5 (with investment)
Number of assets
| HI1 | 0 | 0 | 0
| HI2 | 0 | 0 | 0
| HI3 | 0 | 0 | 0
| HI4 | 0 | 0 | 0
| HI5 | 0 | 0 | 0
| Total | 0 | 0 | 0
| HI1 - HI3 | 0 | 0 | 0
| HI4 | 0 | 0 | 0
| HI5 | 0 | 0 | 0 | Maximum | 0
| 132kV Network |  | EHV Network |  |  | HV Network | LV Network
132kV UGC (Gas)
132kV UGC (Oil)
132kV UGC (Solid)
132kV OHL - Towers
132kV CBs
132kV Transformer
132kV OHL - F & C
EHV Switchgear (GM)
EHV UGC (Gas)
EHV UGC (Oil)
EHV UGC (Solid)
EHV OHL - Towers
EHV OHL - Poles
EHV OHL - F & C
HV Switchgear (GM) - Primary
HV Switchgear (GM) - Distribution
EHV Transformer
HV Transformer (GM)
HV UGC
HV OHL - Poles
LV OHL Support
LV Switchgear
LV UGB

## Fault rate data
Network Outputs DPCR5
0
Fault rates
|  | 2001/02 | 2002/03 | 2003/04 | 2004/05 | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15
TOTAL FAULT RATES
ALL INCIDENTS
LV Network
| LV Main OHL | 2001/02: 0; 2002/03: 0; 2003/04: 0; 2004/05: 0; 2005/06: 0; 2006/07: 0; 2007/08: 0
| LV Main (UG non-Consac) | 2001/02: 0; 2002/03: 0; 2003/04: 0; 2004/05: 0; 2005/06: 0; 2006/07: 0; 2007/08: 0
| LV Main (UG Consac) | 2001/02: 0; 2002/03: 0; 2003/04: 0; 2004/05: 0; 2005/06: 0; 2006/07: 0; 2007/08: 0
| LV Switchgear | 2001/02: 0; 2002/03: 0; 2003/04: 0; 2004/05: 0; 2005/06: 0; 2006/07: 0; 2007/08: 0
| LV Service OHL | 2001/02: 0; 2002/03: 0; 2003/04: 0; 2004/05: 0; 2005/06: 0; 2006/07: 0; 2007/08: 0
| LV Service (UG) | 2001/02: 0; 2002/03: 0; 2003/04: 0; 2004/05: 0; 2005/06: 0; 2006/07: 0; 2007/08: 0
HV Network
| HV OHL | 2001/02: 0; 2002/03: 0; 2003/04: 0; 2004/05: 0; 2005/06: 0; 2006/07: 0; 2007/08: 0
| HV UG Cable | 2001/02: 0; 2002/03: 0; 2003/04: 0; 2004/05: 0; 2005/06: 0; 2006/07: 0; 2007/08: 0
| HV Switchgear (PM) - CBs | 2001/02: 0; 2002/03: 0; 2003/04: 0; 2004/05: 0; 2005/06: 0; 2006/07: 0; 2007/08: 0
| HV Transformer (PM) | 2001/02: 0; 2002/03: 0; 2003/04: 0; 2004/05: 0; 2005/06: 0; 2006/07: 0; 2007/08: 0
EHV Network
| EHV OHL Fittings and Conductors | 2001/02: #DIV/0!; 2002/03: #DIV/0!; 2003/04: #DIV/0!; 2004/05: #DIV/0!; 2005/06: #DIV/0!; 2006/07: #DIV/0!; 2007/08: #DIV/0!
| EHV UG Cable | 2001/02: #DIV/0!; 2002/03: #DIV/0!; 2003/04: #DIV/0!; 2004/05: #DIV/0!; 2005/06: #DIV/0!; 2006/07: #DIV/0!; 2007/08: #DIV/0!
132kV Network
| 132kV UG Cable | 2001/02: 0; 2002/03: 0; 2003/04: 0; 2004/05: 0; 2005/06: 0; 2006/07: 0; 2007/08: 0
132kV UG Cable (Non pressurised)
132kV UG Cable (Pressurised)
Other
| Submarine Cables | 2001/02: N/A; 2002/03: N/A; 2003/04: N/A; 2004/05: N/A; 2005/06: N/A; 2006/07: N/A; 2007/08: N/A
EXCLUDING EXCEPTIONAL EVENTS
LV Network
| LV Main OHL | 2001/02: 0; 2002/03: 0; 2003/04: 0; 2004/05: 0; 2005/06: 0; 2006/07: 0; 2007/08: 0
| LV Main (UG non-Consac) | 2001/02: 0; 2002/03: 0; 2003/04: 0; 2004/05: 0; 2005/06: 0; 2006/07: 0; 2007/08: 0
| LV Main (UG Consac) | 2001/02: 0; 2002/03: 0; 2003/04: 0; 2004/05: 0; 2005/06: 0; 2006/07: 0; 2007/08: 0
| LV Switchgear | 2001/02: 0; 2002/03: 0; 2003/04: 0; 2004/05: 0; 2005/06: 0; 2006/07: 0; 2007/08: 0
| LV Service OHL | 2001/02: 0; 2002/03: 0; 2003/04: 0; 2004/05: 0; 2005/06: 0; 2006/07: 0; 2007/08: 0
| LV Service (UG) | 2001/02: 0; 2002/03: 0; 2003/04: 0; 2004/05: 0; 2005/06: 0; 2006/07: 0; 2007/08: 0
HV Network
| HV OHL | 2001/02: 0; 2002/03: 0; 2003/04: 0; 2004/05: 0; 2005/06: 0; 2006/07: 0; 2007/08: 0
| HV UG Cable | 2001/02: 0; 2002/03: 0; 2003/04: 0; 2004/05: 0; 2005/06: 0; 2006/07: 0; 2007/08: 0
| HV Switchgear (PM) - CBs | 2001/02: 0; 2002/03: 0; 2003/04: 0; 2004/05: 0; 2005/06: 0; 2006/07: 0; 2007/08: 0
| HV Transformer (PM) | 2001/02: 0; 2002/03: 0; 2003/04: 0; 2004/05: 0; 2005/06: 0; 2006/07: 0; 2007/08: 0
EHV Network
| EHV OHL Fittings and Conductors | 2001/02: #DIV/0!; 2002/03: #DIV/0!; 2003/04: #DIV/0!; 2004/05: #DIV/0!; 2005/06: #DIV/0!; 2006/07: #DIV/0!; 2007/08: #DIV/0!
| EHV UG Cable | 2001/02: #DIV/0!; 2002/03: #DIV/0!; 2003/04: #DIV/0!; 2004/05: #DIV/0!; 2005/06: #DIV/0!; 2006/07: #DIV/0!; 2007/08: #DIV/0!
132kV Network
| 132kV UG Cable | 2001/02: 0; 2002/03: 0; 2003/04: 0; 2004/05: 0; 2005/06: 0; 2006/07: 0; 2007/08: 0
132kV UG Cable (Non pressurised)
132kV UG Cable (Pressurised)
Other
| Submarine Cables | 2001/02: N/A; 2002/03: N/A; 2003/04: N/A; 2004/05: N/A; 2005/06: N/A; 2006/07: N/A; 2007/08: N/A
DAMAGE FAULT RATES
ALL INCIDENTS
LV Network
LV Main OHL
LV Main (UG non-Consac)
LV Main (UG Consac)
LV Switchgear
LV Service OHL
LV Service (UG)
HV Network
HV OHL
HV UG Cable
HV Switchgear (PM) - CBs
HV Transformer (PM)
EHV Network
EHV OHL Fittings and Conductors
EHV UG Cable
132kV Network
132kV UG Cable
132kV UG Cable (Non pressurised)
132kV UG Cable (Pressurised)
Other
Submarine Cables
EXCLUDING EXCEPTIONAL EVENTS
LV Network
LV Main OHL
LV Main (UG non-Consac)
LV Main (UG Consac)
LV Switchgear
LV Service OHL
LV Service (UG)
HV Network
HV OHL
HV UG Cable
HV Switchgear (PM) - CBs
HV Transformer (PM)
EHV Network
EHV OHL Fittings and Conductors
EHV UG Cable
132kV Network
132kV UG Cable
132kV UG Cable (Non pressurised)
132kV UG Cable (Pressurised)
Other
Submarine Cables

## MTP all incidents
MTP all incidents
UNPLANNED INCIDENTS ON POWER SYSTEM VOLTAGE EQUIPMENT - TOTAL |  | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
LV Services (excluding cut out incidents) | Overhead
LV Services (excluding cut out incidents) | Underground
LV Network | Supply Restoration by Switching Only (Non Damage Fault)
LV Network | UG Cables (Non CONSAC) - Asset Repair/Replacement Required
LV Network | UG Cables (CONSAC) - Asset Repair/Replacement Required
LV Network | OH Lines - Asset Repair/Replacement Required
LV Network | All Other Switchgear, Plant & Equipment - Asset Repair/Replacement Required
HV Network (11 kV & 20 kV) | Supply Restoration by Switching Only (Non Damage Fault)
HV Network (11 kV & 20 kV) | UG Cables - Asset Repair/Replacement Required
HV Network (11 kV & 20 kV) | OH Lines - Asset Repair/Replacement Required
HV Network (11 kV & 20 kV) | Pole Mounted Switchgear Circuit Breakers - Asset Repair/Replacement Required
HV Network (11 kV & 20 kV) | Pole Mounted Switchgear (All Types ex CB) Asset Repair/Replacement Required
HV Network (11 kV & 20 kV) | Pole Mounted Transformers - Asset Repair/Replacement Required
HV Network (11 kV & 20 kV) | All Other Plant and Equipment (inc GM transformers) - Asset Repair/Replacement Required
EHV Network (22 kV, 33 kV & 66 kV) | Supply Restoration by Switching Only (Non Damage Fault)
EHV Network (22 kV, 33 kV & 66 kV) | UG Cables (Pressure Assisted) - Asset Repair/Replacement Required
EHV Network (22 kV, 33 kV & 66 kV) | UG Cables (Non Pressure Assisted) - Asset Repair/Replacement Required
EHV Network (22 kV, 33 kV & 66 kV) | OH Lines - Asset Repair/Replacement Required
EHV Network (22 kV, 33 kV & 66 kV) | All Other Plant and Equipment - Asset Repair/Replacement Required
132 kV Network | Supply Restoration by onsite switching only
132 kV Network | UG Cables (Pressure Assisted) - Asset Repair/Replacement Required
132 kV Network | UG Cables (Non Pressure Assisted) - Asset Repair/Replacement Required
132 kV Network | OH Lines - Asset Repair/Replacement Required
132 kV Network | All Other Plant and Equipment - Asset Repair/Replacement Required
HV Network (11 kV & 20 kV) | Submarine Cables - Asset Repair/Replacement Required
EHV Network (22 kV, 33 kV & 66 kV) | Submarine Cables - Asset Repair/Replacement Required
132 kV Network | Submarine Cables - Asset Repair/Replacement Required

## MTP one-off ee's only
MTP one-off ee's only
UNPLANNED INCIDENTS ON POWER SYSTEM VOLTAGE EQUIPMENT - TOTAL |  | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
LV Services (excluding cut out incidents) | Overhead
LV Services (excluding cut out incidents) | Underground
LV Network | Supply Restoration by Switching Only (Non Damage Fault)
LV Network | UG Cables (Non CONSAC) - Asset Repair/Replacement Required
LV Network | UG Cables (CONSAC) - Asset Repair/Replacement Required
LV Network | OH Lines - Asset Repair/Replacement Required
LV Network | All Other Switchgear, Plant & Equipment - Asset Repair/Replacement Required
HV Network (11 kV & 20 kV) | Supply Restoration by Switching Only (Non Damage Fault)
HV Network (11 kV & 20 kV) | UG Cables - Asset Repair/Replacement Required
HV Network (11 kV & 20 kV) | OH Lines - Asset Repair/Replacement Required
HV Network (11 kV & 20 kV) | Pole Mounted Switchgear Circuit Breakers - Asset Repair/Replacement Required
HV Network (11 kV & 20 kV) | Pole Mounted Switchgear (All Types ex CB) Asset Repair/Replacement Required
HV Network (11 kV & 20 kV) | Pole Mounted Transformers - Asset Repair/Replacement Required
HV Network (11 kV & 20 kV) | All Other Plant and Equipment (inc GM transformers) - Asset Repair/Replacement Required
EHV Network (22 kV, 33 kV & 66 kV) | Supply Restoration by Switching Only (Non Damage Fault)
EHV Network (22 kV, 33 kV & 66 kV) | UG Cables (Pressure Assisted) - Asset Repair/Replacement Required
EHV Network (22 kV, 33 kV & 66 kV) | UG Cables (Non Pressure Assisted) - Asset Repair/Replacement Required
EHV Network (22 kV, 33 kV & 66 kV) | OH Lines - Asset Repair/Replacement Required
EHV Network (22 kV, 33 kV & 66 kV) | All Other Plant and Equipment - Asset Repair/Replacement Required
132 kV Network | Supply Restoration by onsite switching only
132 kV Network | UG Cables (Pressure Assisted) - Asset Repair/Replacement Required
132 kV Network | UG Cables (Non Pressure Assisted) - Asset Repair/Replacement Required
132 kV Network | OH Lines - Asset Repair/Replacement Required
132 kV Network | All Other Plant and Equipment - Asset Repair/Replacement Required
HV Network (11 kV & 20 kV) | Submarine Cables - Asset Repair/Replacement Required
EHV Network (22 kV, 33 kV & 66 kV) | Submarine Cables - Asset Repair/Replacement Required
132 kV Network | Submarine Cables - Asset Repair/Replacement Required

## MTP severe weather ee's only
MTP severe weather ee's only
UNPLANNED INCIDENTS ON POWER SYSTEM VOLTAGE EQUIPMENT - TOTAL |  | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
LV Services (excluding cut out incidents) | Overhead
LV Services (excluding cut out incidents) | Underground
LV Network | Supply Restoration by Switching Only (Non Damage Fault)
LV Network | UG Cables (Non CONSAC) - Asset Repair/Replacement Required
LV Network | UG Cables (CONSAC) - Asset Repair/Replacement Required
LV Network | OH Lines - Asset Repair/Replacement Required
LV Network | All Other Switchgear, Plant & Equipment - Asset Repair/Replacement Required
HV Network (11 kV & 20 kV) | Supply Restoration by Switching Only (Non Damage Fault)
HV Network (11 kV & 20 kV) | UG Cables - Asset Repair/Replacement Required
HV Network (11 kV & 20 kV) | OH Lines - Asset Repair/Replacement Required
HV Network (11 kV & 20 kV) | Pole Mounted Switchgear Circuit Breakers - Asset Repair/Replacement Required
HV Network (11 kV & 20 kV) | Pole Mounted Switchgear (All Types ex CB) Asset Repair/Replacement Required
HV Network (11 kV & 20 kV) | Pole Mounted Transformers - Asset Repair/Replacement Required
HV Network (11 kV & 20 kV) | All Other Plant and Equipment (inc GM transformers) - Asset Repair/Replacement Required
EHV Network (22 kV, 33 kV & 66 kV) | Supply Restoration by Switching Only (Non Damage Fault)
EHV Network (22 kV, 33 kV & 66 kV) | UG Cables (Pressure Assisted) - Asset Repair/Replacement Required
EHV Network (22 kV, 33 kV & 66 kV) | UG Cables (Non Pressure Assisted) - Asset Repair/Replacement Required
EHV Network (22 kV, 33 kV & 66 kV) | OH Lines - Asset Repair/Replacement Required
EHV Network (22 kV, 33 kV & 66 kV) | All Other Plant and Equipment - Asset Repair/Replacement Required
132 kV Network | Supply Restoration by onsite switching only
132 kV Network | UG Cables (Pressure Assisted) - Asset Repair/Replacement Required
132 kV Network | UG Cables (Non Pressure Assisted) - Asset Repair/Replacement Required
132 kV Network | OH Lines - Asset Repair/Replacement Required
132 kV Network | All Other Plant and Equipment - Asset Repair/Replacement Required
HV Network (11 kV & 20 kV) | Submarine Cables - Asset Repair/Replacement Required
EHV Network (22 kV, 33 kV & 66 kV) | Submarine Cables - Asset Repair/Replacement Required
132 kV Network | Submarine Cables - Asset Repair/Replacement Required

## MTP excluding all ee's
MTP excluding all ee's
UNPLANNED INCIDENTS ON POWER SYSTEM VOLTAGE EQUIPMENT - TOTAL |  | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
LV Services (excluding cut out incidents) | Overhead
LV Services (excluding cut out incidents) | Underground
LV Network | Supply Restoration by Switching Only (Non Damage Fault)
LV Network | UG Cables (Non CONSAC) - Asset Repair/Replacement Required
LV Network | UG Cables (CONSAC) - Asset Repair/Replacement Required
LV Network | OH Lines - Asset Repair/Replacement Required
LV Network | All Other Switchgear, Plant & Equipment - Asset Repair/Replacement Required
HV Network (11 kV & 20 kV) | Supply Restoration by Switching Only (Non Damage Fault)
HV Network (11 kV & 20 kV) | UG Cables - Asset Repair/Replacement Required
HV Network (11 kV & 20 kV) | OH Lines - Asset Repair/Replacement Required
HV Network (11 kV & 20 kV) | Pole Mounted Switchgear Circuit Breakers - Asset Repair/Replacement Required
HV Network (11 kV & 20 kV) | Pole Mounted Switchgear (All Types ex CB) Asset Repair/Replacement Required
HV Network (11 kV & 20 kV) | Pole Mounted Transformers - Asset Repair/Replacement Required
HV Network (11 kV & 20 kV) | All Other Plant and Equipment (inc GM transformers) - Asset Repair/Replacement Required
EHV Network (22 kV, 33 kV & 66 kV) | Supply Restoration by Switching Only (Non Damage Fault)
EHV Network (22 kV, 33 kV & 66 kV) | UG Cables (Pressure Assisted) - Asset Repair/Replacement Required
EHV Network (22 kV, 33 kV & 66 kV) | UG Cables (Non Pressure Assisted) - Asset Repair/Replacement Required
EHV Network (22 kV, 33 kV & 66 kV) | OH Lines - Asset Repair/Replacement Required
EHV Network (22 kV, 33 kV & 66 kV) | All Other Plant and Equipment - Asset Repair/Replacement Required
132 kV Network | Supply Restoration by onsite switching only
132 kV Network | UG Cables (Pressure Assisted) - Asset Repair/Replacement Required
132 kV Network | UG Cables (Non Pressure Assisted) - Asset Repair/Replacement Required
132 kV Network | OH Lines - Asset Repair/Replacement Required
132 kV Network | All Other Plant and Equipment - Asset Repair/Replacement Required
HV Network (11 kV & 20 kV) | Submarine Cables - Asset Repair/Replacement Required
EHV Network (22 kV, 33 kV & 66 kV) | Submarine Cables - Asset Repair/Replacement Required
132 kV Network | Submarine Cables - Asset Repair/Replacement Required

## Fault rate charts
Network Outputs DPCR5
0
Fault rates
|  | 2001/02 | 2002/03 | 2003/04 | 2004/05 | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15
| Damage (DPCR5) | 2009/10: #DIV/0!; 2010/11: #DIV/0!; 2011/12: #DIV/0!; 2012/13: #DIV/0!; 2013/14: #DIV/0!; 2014/15: #DIV/0!
| Damage excl. ee's (DPCR5) | 2009/10: #DIV/0!; 2010/11: #DIV/0!; 2011/12: #DIV/0!; 2012/13: #DIV/0!; 2013/14: #DIV/0!; 2014/15: #DIV/0!
| Damage (A) | 2001/02: 0; 2002/03: #DIV/0!; 2003/04: #DIV/0!; 2004/05: #DIV/0!; 2005/06: #DIV/0!; 2006/07: #DIV/0!; 2007/08: #DIV/0!; 2008/09: #DIV/0!
| Damage (F) | 2009/10: #DIV/0!; 2010/11: #DIV/0!; 2011/12: #DIV/0!; 2012/13: #DIV/0!; 2013/14: #DIV/0!; 2014/15: #DIV/0!
| Damage excl. ee's (A) | 2001/02: 0; 2002/03: #DIV/0!; 2003/04: #DIV/0!; 2004/05: #DIV/0!; 2005/06: #DIV/0!; 2006/07: #DIV/0!; 2007/08: #DIV/0!; 2008/09: #DIV/0!
| Damage excl. ee's (F) | 2009/10: #DIV/0!; 2010/11: #DIV/0!; 2011/12: #DIV/0!; 2012/13: #DIV/0!; 2013/14: #DIV/0!; 2014/15: #DIV/0!
| LV Network | 2002/03: Damage; 2005/06: HV UGC (per 100km) - Damage faults
| LV Main OHL | 2012/13: =IF('Fault rate data'!N94="",AVERAGE('Fault rate data'!J94:$J$94,'Fault rate data'!$K$95:N95),AVERAGE('Fault rate data'!J94:N94))
=IF('Fault rate data'!O94="",AVERAGE('Fault rate data'!K95:O95),AVERAGE('Fault rate data'!K94:O94))
LV Main (UG non-Consac)
LV Main (UG Consac)
LV Switchgear
LV Service OHL
LV Service (UG)
HV Network
HV OHL
HV UG Cable
HV Switchgear (PM)
HV Transformer (PM)
EHV Network
EHV OHL Fittings and Conductors
EHV UG Cable
132kV Network
132kV UG Cable
Other
Submarine Cables
Chart
Chart
Chart
Chart
Chart
Chart
Chart
Chart
Chart
Chart
Chart
Chart
Chart
Chart

## Volume Reconciliation
Network Outputs DPCR5
0
Volume reconciliation
Asset categories
| FBPQ / RRP | Network Outputs
|  | Health Index (HI) | Fault Rates
LV Network
Overhead lines - Conductor
| LV Main (OHL) |  | LV Main (OHL)
| LV Service (OHL) |  | LV Service (OHL)
Overhead lines - Support
| LV Support | LV OHL Support
Underground cables
| LV Main (UG Consac) |  | LV Main (UG Consac)
| LV Main (UG Plastic) |  | LV Main (UG non-Consac)
| LV Main (UG Paper) |  | LV Main (UG non-Consac)
| LV Service (UG) |  | LV Service (UG)
Switchgear
| LV Pillar (ID) | LV Switchgear and Other | LV Switchgear
| LV Pillar (OD) | LV Switchgear and Other | LV Switchgear
| LV Board (WM) | LV Switchgear and Other | LV Switchgear
| LV UGB | LV UGB | LV Switchgear
| LV Fuses (PM) |  | LV Switchgear
| LV Fuses (TM) |  | LV Switchgear
HV network
Overhead lines - Conductor
| 6.6/11 kV OHL (Open) |  | HV OHL
| 6.6/11 kV OHL (Covered) |  | HV OHL
| 20 kV OHL (Open) |  | HV OHL
| 20 kV OHL (Covered) |  | HV OHL
Overhead lines - Support
| 6.6/11 kV Support | HV OHL Support - Poles
| 20 kV Support | HV OHL Support - Poles
Underground cables (kms)
| 6.6/11kV UG Cable | HV UG Cable | HV UG Cable
| 20kV UG Cable | HV UG Cable | HV UG Cable
Submarine cables (kms)
| HV Sub Cable | Submarine Cables | Submarine Cables
Switchgear
| 6.6/11 kV CB (PM) |  | HV Switchgear (PM)
| 6.6/11 kV CB (GM) | HV Switchgear (GM) - Primary
HV Switchgear (GM) - Distribution
6.6/11 kV Switch (PM)
| 6.6/11 kV Switch (GM) | HV Switchgear (GM) - Distribution
| 6.6/11 kV RMU | HV Switchgear (GM) - Distribution
6.6/11 kV Switchgear - Other (PM)
6.6/11 kV Switchgear - Other (GM)
| 20 kV CB (PM) |  | HV Switchgear (PM)
| 20 kV CB (GM) | HV Switchgear (GM) - Primary
HV Switchgear (GM) - Distribution
20 kV Switch (PM)
| 20 kV Switch (GM) | HV Switchgear (GM) - Distribution
| 20 kV RMU | HV Switchgear (GM) - Distribution
20 kV Switchgear - Other (PM)
20 kV Switchgear - Other (GM)
Transformers
| 6.6/11 kV Transformer (PM) |  | HV Transformer (PM)
| 6.6/11 kV Transformer (GM) | HV Transformer (GM)
| 20 kV Transformer (PM) |  | HV Transformer (PM)
| 20 kV Transformer (GM) | HV Transformer (GM)
EHV Network
Overhead lines - Conductor
| 33kV OHL (Pole Line) |  | EHV OHL Fittings and Conductors
| 33kV OHL (Tower Line) | EHV OHL Fittings and Conductors (Tower Lines) | EHV OHL Fittings and Conductors
| 66kV OHL (Pole Line) |  | EHV OHL Fittings and Conductors
| 66kV OHL (Tower Line) | EHV OHL Fittings and Conductors (Tower Lines) | EHV OHL Fittings and Conductors
Overhead lines - Support
| 33kV Pole | EHV OHL Support - Poles
| 33kV Tower | EHV OHL Support - Towers
| 66kV Pole | EHV OHL Support - Poles
| 66kV Tower | EHV OHL Support - Towers
Underground cables (kms)
| 33kV UG Cable (Non Pressurised) | EHV UG Cable (Non pressurised) | EHV UG Cable
| 33kV UG Cable (Oil) | EHV UG Cable (Oil) | EHV UG Cable
| 33kV UG Cable (Gas) | EHV UG Cable (Gas) | EHV UG Cable
| 66kV UG Cable (Non Pressurised) | EHV UG Cable (Non pressurised) | EHV UG Cable
| 66kV UG Cable (Oil) | EHV UG Cable (Oil) | EHV UG Cable
| 66kV UG Cable (Gas) | EHV UG Cable (Gas) | EHV UG Cable
Submarine cables (kms)
| EHV Sub Cable | Submarine Cables | Submarine Cables
Switchgear
| 33 KV CB (ID) | EHV Switchgear (GM)
| 33 kV CB (OD) | EHV Switchgear (GM)
| 33 kV Switch (GM) | EHV Switchgear (GM)
33 kV Switch (PM)
| 33 kV RMU | EHV Switchgear (GM)
33 kV Switchgear - Other
| 66 KV CB (ID & OD) | EHV Switchgear (GM)
66 KV Switchgear - Other
Transformers
33 kV Transformer (PM)
| 33 kV Transformer (GM) | EHV Transformer
33 kV AuxiliaryTransfomer
| 66 kV Transformer | EHV Transformer
66 kV AuxiliaryTransfomer
132kV Network
Overhead lines - Conductor
132kV OHL Conductor (Pole Line)
| 132kV OHL Conductor (Tower Line) | 132kV OHL Fittings and Conductors (Tower Lines)
Overhead lines - Support
132kV Pole
| 132kV Tower | 132kV OHL Support - Tower
132kV Fittings (Tower Line)
Underground cables (kms)
| 132kV UG Cable (Non Pressurised) | 132kV UG Cable (Non pressurised) | 132kV UG Cable
| 132kV UG Cable (Oil) | 132kV UG Cable (Oil) | 132kV UG Cable
| 132kV UG Cable (Gas) | 132kV UG Cable (Gas) | 132kV UG Cable
Submarine cables (kms)
| 132 kV Sub Cable | Submarine Cables | Submarine Cables
Switchgear
| 132 kV CB (ID & OD) | 132kV CBs
132 kV Switchgear (other)
Transformers
| 132 kV Transformer | 132kV Transformer
132 kV AuxiliaryTransfomer
Tele-control / SCADA
Primary substation
132 kV/EHV RTU (PM)
132 kV/EHV RTU (GM)
Secondary substation
HV RTU (PM)
HV RTU (GM)