## SSE Notes to Ofgem
The data in this submission is unchanged from that provided in the october 2012 submission.

## Notes
This spreadsheet has been published alongside the Ofgem document: Decision on the process to follow for closing out the losses incentive mechanism for the fourth distribution price control (DPCR4) (July 2013)
All DNOs should fill in the relevant cells in the close out, fully-reconciled and annual incentive sheets
All DNOs should fill in the clear cells
DNOs applying for restatement should also fill in the yellow cells
DNOs applying for restatement should fill in the yellow cells on the Approach C and statistical analysis sheets
The Statistical analysis sheet may be edited for analysis

## Close out - all DNOs
Fully-reconciled 2009-10 data for close out
| All DNOs | Restatement application
| Un-restated | Approach C
Reconciliation run | DF
Units entering (GWh) | 9108.8774
Units exiting (GWh) | 8457.1337
Annual losses on fully-reconciled basis (%)
Reconciliation run | DF
2005-06 | 7.802%
2006-07 | 8.143%
2007-08 | 7.751%
2008-09 | 7.771%
2009-10 | 7.706%
Date stamp | 2013-07-17
All DNOs should fill in the clear cells
DNOs applying for restatement should also complete the yellow cells

## Revised fully-reconciled - all
Monthly Units (NHH) | time axis 2005-04-01 to 2010-03-01
SF
R1
R2
R3
RF | 2009-04-01: 450.2599; 2009-05-01: 394.9354; 2009-06-01: 348.488; 2009-07-01: 348.2391; 2009-08-01: 345.1613; 2009-09-01: 367.3869; 2009-10-01: 456.1434; 2009-11-01: 541.2008; 2009-12-01: 621.5964; 2010-01-01: 630.0091; 2010-02-01: 568.5116; 2010-03-01: 551.2051
DF | 2009-04-01: 450.2599; 2009-05-01: 394.9354; 2009-06-01: 348.488; 2009-07-01: 348.2391; 2009-08-01: 345.1613; 2009-09-01: 367.3869; 2009-10-01: 456.1434; 2009-11-01: 541.2008; 2009-12-01: 621.5964; 2010-01-01: 630.0091; 2010-02-01: 568.5116; 2010-03-01: 551.2051
Latest | 2009-04-01: 450.2599; 2009-05-01: 394.9354; 2009-06-01: 348.488; 2009-07-01: 348.2391; 2009-08-01: 345.1613; 2009-09-01: 367.3869; 2009-10-01: 456.1434; 2009-11-01: 541.2008; 2009-12-01: 621.5964; 2010-01-01: 630.0091; 2010-02-01: 568.5116; 2010-03-01: 551.2051
 | time axis 2005-04-01 to 2010-03-01
Monthly Total Sales | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 678.5441 | 622.0133 | 568.2221 | 571.7142 | 567.7179 | 593.1538 | 700.1703 | 780.877 | 863.5953 | 885.0146 | 811.2407 | 814.8703
Monthly Purchases | 2009-04-01: 719.3152; 2009-05-01: 679.267; 2009-06-01: 601.2226; 2009-07-01: 595.2411; 2009-08-01: 617.3268; 2009-09-01: 638.9765; 2009-10-01: 746.9067; 2009-11-01: 813.7677; 2009-12-01: 946.9321; 2010-01-01: 992.7685; 2010-02-01: 876.8397; 2010-03-01: 880.3134
Monthly Sales (HH) | 2009-04-01: 228.2842; 2009-05-01: 227.0779; 2009-06-01: 219.7341; 2009-07-01: 223.4751; 2009-08-01: 222.5566; 2009-09-01: 225.7669; 2009-10-01: 244.027; 2009-11-01: 239.6762; 2009-12-01: 241.9989; 2010-01-01: 255.0055; 2010-02-01: 242.7291; 2010-03-01: 263.6652
Fully-reconciled data in response to July 2013 data request
All DNOs should fill in the clear cells (for 2009-10)
DNOs applying for restatement should also complete the yellow cells
Note on BG7: Settlement errors 31/12/2009 to 3/1/2010 (See Elexon Circular EL01866) adjusted here by using DF as source data
Note on BH7: Settlement errors 31/12/2009 to 3/1/2010 (See Elexon Circular EL01866) adjusted here by using DF as source data

## Orig. fully-reconciled - all
Monthly Units (NHH) | time axis 2005-04-01 to 2010-03-01
SF
R1
R2
R3
RF | 2009-04-01: 450.2599; 2009-05-01: 394.9354; 2009-06-01: 348.488; 2009-07-01: 348.2391; 2009-08-01: 345.1613; 2009-09-01: 367.3869; 2009-10-01: 456.1434; 2009-11-01: 541.2008; 2009-12-01: 621.5964; 2010-01-01: 630.0091; 2010-02-01: 568.5116; 2010-03-01: 551.2051
DF | 2009-04-01: 450.2599; 2009-05-01: 394.9354; 2009-06-01: 348.488; 2009-07-01: 348.2391; 2009-08-01: 345.1613; 2009-09-01: 367.3869; 2009-10-01: 456.1434; 2009-11-01: 541.2008; 2009-12-01: 621.5964; 2010-01-01: 630.0091; 2010-02-01: 568.5116; 2010-03-01: 551.2051
Latest | 2009-04-01: 450.2599; 2009-05-01: 394.9354; 2009-06-01: 348.488; 2009-07-01: 348.2391; 2009-08-01: 345.1613; 2009-09-01: 367.3869; 2009-10-01: 456.1434; 2009-11-01: 541.2008; 2009-12-01: 621.5964; 2010-01-01: 630.0091; 2010-02-01: 568.5116; 2010-03-01: 551.2051
 | time axis 2005-04-01 to 2010-03-01
Monthly Total Sales | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 678.5441 | 622.0133 | 568.2221 | 571.7142 | 567.7179 | 593.1538 | 700.1703 | 780.877 | 863.5953 | 885.0146 | 811.2407 | 814.8703
Monthly Purchases | 2009-04-01: 719.3152; 2009-05-01: 679.267; 2009-06-01: 601.2226; 2009-07-01: 595.2411; 2009-08-01: 617.3268; 2009-09-01: 638.9765; 2009-10-01: 746.9067; 2009-11-01: 813.7677; 2009-12-01: 946.9321; 2010-01-01: 992.7685; 2010-02-01: 876.8397; 2010-03-01: 880.3134
Monthly Sales (HH) | 2009-04-01: 228.2842; 2009-05-01: 227.0779; 2009-06-01: 219.7341; 2009-07-01: 223.4751; 2009-08-01: 222.5566; 2009-09-01: 225.7669; 2009-10-01: 244.027; 2009-11-01: 239.6762; 2009-12-01: 241.9989; 2010-01-01: 255.0055; 2010-02-01: 242.7291; 2010-03-01: 263.6652
Fully-reconciled data used in November 2013 consultation
All DNOs should fill in the clear cells (for 2009-10)
DNOs applying for restatement should also complete the yellow cells
Note on BG7: Settlement errors 31/12/2009 to 3/1/2010 (See Elexon Circular EL01866) adjusted here by using DF as source data
Note on BH7: Settlement errors 31/12/2009 to 3/1/2010 (See Elexon Circular EL01866) adjusted here by using DF as source data

## Fully-reconciled delta
Monthly Units (NHH) | time axis 2005-04-01 to 2013-07-01
|  | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | R1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | R2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | R3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | RF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | DF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Latest | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
 | time axis 2005-04-01 to 2013-07-01
|  | Monthly Total Sales | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Monthly Purchases | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Monthly Sales (HH) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Commentary By Year | 2005-04-01: Deltas (Positive change increases losses); 2005-06-01: DNO Explanation
Start Col | #Cols |  | 2005-04-01: Units Entering; 2005-05-01: Units Exiting
1 | 12 | 2005-06 | 2005-04-01: 0; 2005-05-01: 0
13 | 12 | 2006-07 | 2005-04-01: 0; 2005-05-01: 0
25 | 12 | 2007-08 | 2005-04-01: 0; 2005-05-01: 0
37 | 12 | 2008-09 | 2005-04-01: 0; 2005-05-01: 0
49 | 12 | 2009-10 | 2005-04-01: 0; 2005-05-01: 0
This sheet identifies the deltas between the original and revised submission of fully-reconciled data
DNOs should provide an explanation for the deltas

## Annual incentive - all
Data for annual incentive
| Original revenue return |  | Revised revenue return (addressing data issues) |  | Restatement application
| Units entering | Units distributed (un-restated) | Units entering | Units distributed (un-restated) | Units distributed
2009-10
EHV |  | 229.908
HV |  | 1269.153
LV1 |  | 1857.528
LV2 |  | 1702.539
LV3 |  | 3324.721
Total | 9087.953 | 8383.849 |  | 0 | 0
2008-09
EHV |  | 232.059
HV |  | 1330.943
LV1 |  | 1829.804
LV2 |  | 1756.201
LV3 |  | 3359.077
Total | 9227.841 | 8508.084 |  | 0
2007-08
EHV |  | 281.841
HV |  | 1405.267
LV1 |  | 1827.961
LV2 |  | 1750.033
LV3 |  | 3380.303
Total | 9402.385 | 8645.405 |  | 0
2006-07
EHV |  | 251.765
HV |  | 1360.278
LV1 |  | 1799.268
LV2 |  | 1760.471
LV3 |  | 3321.968
Total | 9237.187 | 8493.75 |  | 0
2005-06
EHV |  | 310.331
HV |  | 1319.571
LV1 |  | 1887.963
LV2 |  | 1928.882
LV3 |  | 3340.368
Total | 9556.768 | 8787.115 |  | 0
All DNOs should fill in the clear cells.
DNOs should fill in the revised data columns where their annual incentive data has changed following the data audit.
The explanation for such changes should be provided in the table below.
DNOs applying for restatement of 2009-10 annual incentive data should fill in the yellow cells.
Commentary By Year | Deltas (Positive change increases losses) |  | DNO Explanation
| Units Entering | Units Exiting
2009-10 | -9087.953 | 8383.849
2008-09 | -9227.841 | 8508.084
2007-08 | -9402.385 | 8645.405
2006-07 | -9237.187 | 8493.75
2005-06 | -9556.768 | 8787.115

## Revised App C - restatement
Monthly Units (NHH) | time axis 2005-04-01 to 2013-07-01
SF
R1
R2
R3
RF
DF
Latest
 | time axis 2005-04-01 to 2013-07-01
Monthly Total Sales | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Monthly Purchases
Monthly Sales (HH)
Approach C data for restatement in response to July 2013 data request
DNOs applying for restatement should fill in the yellow cells

## Orig. App C - restatement
Monthly Units (NHH) | time axis 2005-04-01 to 2013-07-01
SF
R1
R2
R3
RF
DF
Latest
 | time axis 2005-04-01 to 2013-07-01
Monthly Total Sales | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Monthly Purchases
Monthly Sales (HH)
Approach C data for restatement used in November 2013 consultation
DNOs applying for restatement should fill in the yellow cells

## App C delta
Monthly Units (NHH) | time axis 2005-04-01 to 2013-07-01
|  | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | R1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | R2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | R3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | RF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | DF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Latest | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
 | time axis 2005-04-01 to 2013-07-01
|  | Monthly Total Sales | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Monthly Purchases | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Monthly Sales (HH) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Commentary By Year | 2005-04-01: Deltas (Positive change increases losses); 2005-06-01: DNO Explanation
Start Col | #Cols |  | 2005-04-01: Units Enter; 2005-05-01: Units Exit
1 | 12 | 2005-06 | 2005-04-01: 0; 2005-05-01: 0
13 | 12 | 2006-07 | 2005-04-01: 0; 2005-05-01: 0
25 | 12 | 2007-08 | 2005-04-01: 0; 2005-05-01: 0
37 | 12 | 2008-09 | 2005-04-01: 0; 2005-05-01: 0
49 | 12 | 2009-10 | 2005-04-01: 0; 2005-05-01: 0
61 | 12 | 2010-11 | 2005-04-01: 0; 2005-05-01: 0
73 | 12 | 2011-12 | 2005-04-01: 0; 2005-05-01: 0
85 | 12 | 2012-13 | 2005-04-01: 0; 2005-05-01: 0
97 | 4 | 2013 Part | 2005-04-01: 0; 2005-05-01: 0
This sheet identifies the deltas between the original and revised submission of data for Approach C restatement
DNOs should provide an explanation for the deltas

## Statistical analysis
INPUT DATA after adjustments for abnormal SF | SF to RF or DF | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Total
| 2005-06 | [12 empty] | 0
| 2006-07 | [12 empty] | 0
| 2007-08 | [12 empty] | 0
| 2008-09 | [12 empty] | 0
| 2009-10 | [12 empty] | 0
| 2010-11 | [12 empty] | 0
| 2011-12 | [12 empty] | 0
| 2012-13 | [12 empty] | 0
DNOs applying for restatement should fill in the yellow cells
Test of whether the observed 2009-10 mean lies within the interval estimate of the control group mean |  | Apr: Annual average; May: standard deviation; Jun: Sample size; Jul: Scaling factor to calculate 95% confidence interval; Aug: Fixed Lower bound; Sep: Fixed Upper bound; Nov: Hypothesis test results
| 2005-06 | Apr: #DIV/0!; Aug: #DIV/0!; Sep: #DIV/0!; Nov: Is 2009-10 abnormal?; Feb: #DIV/0!
| 2006-07 | Apr: #DIV/0!; Aug: #DIV/0!; Sep: #DIV/0!; Nov: Is 2010-11 abnormal?; Feb: #DIV/0!
| 2007-08 | Apr: #DIV/0!; Aug: #DIV/0!; Sep: #DIV/0!; Nov: Is 2011-12 abnormal?; Feb: #DIV/0!
| 2008-09 | Apr: #DIV/0!; Aug: #DIV/0!; Sep: #DIV/0!; Nov: Is 2012-13 abnormal?; Feb: #DIV/0!
| 2009-10 | Apr: #DIV/0!; Aug: #DIV/0!; Sep: #DIV/0!
| 2010-11 | Apr: #DIV/0!; Aug: #DIV/0!; Sep: #DIV/0!
| 2011-12 | Apr: #DIV/0!; Aug: #DIV/0!; Sep: #DIV/0!
| 2012-13 | Apr: #DIV/0!; Aug: #DIV/0!; Sep: #DIV/0!
| Control group (first 4 years) | Apr: #DIV/0!; May: #DIV/0!; Jun: 0; Jul: #DIV/0!; Aug: #DIV/0!; Sep: #DIV/0!
CUSUM: can be used by DNOs as additional evidence to support abnormality if they do not identify abnormality in the statistical test above | time axis 2005-04-01 to 2013-03-01
| CUSUM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note on B21: Some months from 2011-12 may be used to ensure a full 12 months' worth of data is included.

## SF mapping
SF Normalisation Mapping (SF adjustments to be made on data to be used for the statistical test)
 | time axis 2005-04-01 to 2012-08-01
| DUMMY DATA (DNO to input its own data) | SF* (Initial SF unadjusted) | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
| Reported data | R1 | bar: 2005-04-01 to 2012-06-01
|  | R2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
|  | R3 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
|  | RF | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
|  | DF | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
|  | Normalised SF (calculated using SP methodology) | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
Reconciliation Movements
|  |  | 200504 | 200505 | 200506 | 200507 | 200508 | 200509 | 200510 | 200511 | 200512 | 200601 | 200602 | 200603 | 200604 | 200605 | 200606 | 200607 | 200608 | 200609 | 200610 | 200611 | 200612 | 200701 | 200702 | 200703 | 200704 | 200705 | 200706 | 200707 | 200708 | 200709 | 200710 | 200711 | 200712 | 200801 | 200802 | 200803 | 200804 | 200805 | 200806 | 200807 | 200808 | 200809 | 200810 | 200811 | 200812 | 200901 | 200902 | 200903 | 200904 | 200905 | 200906 | 200907 | 200908 | 200909 | 200910 | 200911 | 200912 | 201001 | 201002 | 201003 | 201004 | 201005 | 201006 | 201007 | 201008 | 201009 | 201010 | 201011 | 201012 | 201101 | 201102 | 201103 | 201104 | 201105 | 201106 | 201107 | 201108 | 201109 | 201110 | 201111 | 201112 | 201201 | 201202 | 201203 | 201204 | 201205 | 201206 | 201207 | 201208 | 201209 | 201210 | 201211 | 201212 | 201301 | 201302 | 201303
|  | R1-SF* | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | R2-R1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | R3-R2 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | RF-R3 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | DR-RF | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| OV (observed variations) | Total Movement SF*-RF/DF (GWh) | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
 | time axis 2005-04-01 to 2012-08-01
This corresponds to the adjusted SF after application of the SP methodology |  | Normalised SF | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 0 | 0
Subtract the normalised SF from the initial SF |  | SF* - Normalised SF | bar: 2005-04-01 to 2010-03-01
This corresponds to the number of days in the month |  | DAYS | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31 | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31 | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31 | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31 | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31 | 31 | 28 | 31
This apportions the difference in initial SF and normalised SF between different months in a year depending upon the number of days in that month |  | Month | -0.9863 | -1.0192 | -0.9863 | -1.0192 | -1.0192 | -0.9863 | -1.0192 | -0.9863 | -1.0192 | -1.0192 | -0.92055 | -1.0192 | -0.9863 | -1.0192 | -0.9863 | -1.0192 | -1.0192 | -0.9863 | -1.0192 | -0.9863 | -1.0192 | -1.0192 | -0.92055 | -1.0192 | -0.9863 | -1.0192 | -0.9863 | -1.0192 | -1.0192 | -0.9863 | -1.0192 | -0.9863 | -1.0192 | -1.0192 | -0.92055 | -1.0192 | -0.9863 | -1.0192 | -0.9863 | -1.0192 | -1.0192 | -0.9863 | -1.0192 | -0.9863 | -1.0192 | -1.0192 | -0.92055 | -1.0192 | -0.9863 | -1.0192 | -0.9863 | -1.0192 | -1.0192 | -0.9863 | -1.0192 | -0.9863 | -1.0192 | -1.0192 | -0.92055 | -1.0192
These rows map the difference across different reconciliation rounds according to the percentage breakdown given in column B | 31% | R1 SF |  |  | -0.30575 | -0.31595 | -0.30575 | -0.31595 | -0.31595 | -0.30575 | -0.31595 | -0.30575 | -0.31595 | -0.31595 | -0.28537 | -0.31595 | -0.30575 | -0.31595 | -0.30575 | -0.31595 | -0.31595 | -0.30575 | -0.31595 | -0.30575 | -0.31595 | -0.31595 | -0.28537 | -0.31595 | -0.30575 | -0.31595 | -0.30575 | -0.31595 | -0.31595 | -0.30575 | -0.31595 | -0.30575 | -0.31595 | -0.31595 | -0.28537 | -0.31595 | -0.30575 | -0.31595 | -0.30575 | -0.31595 | -0.31595 | -0.30575 | -0.31595 | -0.30575 | -0.31595 | -0.31595 | -0.28537 | -0.31595 | -0.30575 | -0.31595 | -0.30575 | -0.31595 | -0.31595 | -0.30575 | -0.31595 | -0.30575 | -0.31595 | -0.31595 | -0.28537 | -0.31595 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 37% | R2 SF |  |  |  |  | -0.36493 | -0.3771 | -0.36493 | -0.3771 | -0.3771 | -0.36493 | -0.3771 | -0.36493 | -0.3771 | -0.3771 | -0.3406 | -0.3771 | -0.36493 | -0.3771 | -0.36493 | -0.3771 | -0.3771 | -0.36493 | -0.3771 | -0.36493 | -0.3771 | -0.3771 | -0.3406 | -0.3771 | -0.36493 | -0.3771 | -0.36493 | -0.3771 | -0.3771 | -0.36493 | -0.3771 | -0.36493 | -0.3771 | -0.3771 | -0.3406 | -0.3771 | -0.36493 | -0.3771 | -0.36493 | -0.3771 | -0.3771 | -0.36493 | -0.3771 | -0.36493 | -0.3771 | -0.3771 | -0.3406 | -0.3771 | -0.36493 | -0.3771 | -0.36493 | -0.3771 | -0.3771 | -0.36493 | -0.3771 | -0.36493 | -0.3771 | -0.3771 | -0.3406 | -0.3771 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 21% | R3 SF | [7 empty] | -0.20712 | -0.21403 | -0.20712 | -0.21403 | -0.21403 | -0.20712 | -0.21403 | -0.20712 | -0.21403 | -0.21403 | -0.19332 | -0.21403 | -0.20712 | -0.21403 | -0.20712 | -0.21403 | -0.21403 | -0.20712 | -0.21403 | -0.20712 | -0.21403 | -0.21403 | -0.19332 | -0.21403 | -0.20712 | -0.21403 | -0.20712 | -0.21403 | -0.21403 | -0.20712 | -0.21403 | -0.20712 | -0.21403 | -0.21403 | -0.19332 | -0.21403 | -0.20712 | -0.21403 | -0.20712 | -0.21403 | -0.21403 | -0.20712 | -0.21403 | -0.20712 | -0.21403 | -0.21403 | -0.19332 | -0.21403 | -0.20712 | -0.21403 | -0.20712 | -0.21403 | -0.21403 | -0.20712 | -0.21403 | -0.20712 | -0.21403 | -0.21403 | -0.19332 | -0.21403 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 11% | RF SF | [14 empty] | -0.10849 | -0.11211 | -0.10849 | -0.11211 | -0.11211 | -0.10849 | -0.11211 | -0.10849 | -0.11211 | -0.11211 | -0.10126 | -0.11211 | -0.10849 | -0.11211 | -0.10849 | -0.11211 | -0.11211 | -0.10849 | -0.11211 | -0.10849 | -0.11211 | -0.11211 | -0.10126 | -0.11211 | -0.10849 | -0.11211 | -0.10849 | -0.11211 | -0.11211 | -0.10849 | -0.11211 | -0.10849 | -0.11211 | -0.11211 | -0.10126 | -0.11211 | -0.10849 | -0.11211 | -0.10849 | -0.11211 | -0.11211 | -0.10849 | -0.11211 | -0.10849 | -0.11211 | -0.11211 | -0.10126 | -0.11211 | -0.10849 | -0.11211 | -0.10849 | -0.11211 | -0.11211 | -0.10849 | -0.11211 | -0.10849 | -0.11211 | -0.11211 | -0.10126 | -0.11211 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
This maps the difference between adjusted SF and initial SF to reported data |  | Total difference (mapping to reported data) | 0 | 0 | -0.30575 | -0.31595 | -0.67068 | -0.69304 | -0.68088 | -0.88997 | -0.90707 | -0.87781 | -0.90707 | -0.8949 | -0.86959 | -0.90707 | -0.96197 | -1.0192 | -0.99321 | -0.99847 | -1.007 | -0.99847 | -1.0192 | -0.9863 | -1.0192 | -1.007 | -0.97085 | -1.0192 | -0.96197 | -1.0192 | -0.99321 | -0.99847 | -1.007 | -0.99847 | -1.0192 | -0.9863 | -1.0192 | -1.007 | -0.97085 | -1.0192 | -0.96197 | -1.0192 | -0.99321 | -0.99847 | -1.007 | -0.99847 | -1.0192 | -0.9863 | -1.0192 | -1.007 | -0.97085 | -1.0192 | -0.96197 | -1.0192 | -0.99321 | -0.99847 | -1.007 | -0.99847 | -1.0192 | -0.9863 | -1.0192 | -1.007 | -0.97085 | -1.0192 | -0.65622 | -0.70323 | -0.32252 | -0.30542 | -0.32614 | -0.10849 | -0.11211 | -0.10849 | -0.11211 | -0.11211 | -0.10126 | -0.11211 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
This is now the normalised SF for reporting date data for all years after April 2008 and simply the initial SF for years before April 2008. This is referred to as Normalised SF2 |  | Normalised SF2 (mapping to reported data) | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5.9708 | 6.0192 | 5.962 | 6.0192 | 5.9932 | 5.9985 | 6.007 | 5.9985 | 6.0192 | 5.9863 | 6.0192 | 6.007 | 5.9708 | 6.0192 | 5.962 | 6.0192 | 5.9932 | 5.9985 | 6.007 | 5.9985 | 6.0192 | 5.9863 | 6.0192 | 6.007 | 5.9708 | 6.0192 | 5.6562 | 5.7032 | 5.3225 | 5.3054 | 5.3261 | 5.1085 | 5.1121 | 5.1085 | 5.1121 | 5.1121 | 5.1013 | 5.1121 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 0 | 0
This estimates the new total reconciliations for each month corresponding to reporting date data to be used for abnormality testing |  | DF-Normalised SF2 (mapping to reported data) | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1.9708 | -2.0192 | -1.962 | -2.0192 | -1.9932 | -1.9985 | -2.007 | -1.9985 | -2.0192 | -1.9863 | -2.0192 | -2.007 | -1.9708 | -2.0192 | -1.962 | -2.0192 | -1.9932 | -1.9985 | -2.007 | -1.9985 | -2.0192 | -1.9863 | -2.0192 | -2.007 | -1.9708 | -2.0192 | -1.6562 | -1.7032 | -1.3225 | -1.3054 | -1.3261 | -1.1085 | -1.1121 | -1.1085 | -1.1121 | -1.1121 | -1.1013 | -1.1121 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0 | 0