## Sheet1
|  | Reconciliation Runs (time-shifted to match reported date) | [12 empty] | % Variance Normal (PNV) |  |  |  |  | % Variance adjustment by reported month |  |  |  |  | Normalised Variance (NHHrun * 1+PNV) |  |  |  |  | Time-shift Normalised Variance |  |  |  |  | Fully Reconciled (by run -still includes provisions + SF open/close)
| Reported Date | SF | R1 | R2 | R3 | RF | DF | [7 empty] | R1 | R2 | R3 | RF | DF | R1 | R2 | R3 | RF | DF | R1 | R2 | R3 | RF | DF | R1 | R2 | R3 | RF | DF | R1 | R2 | R3 | RF | DF
Normal | 2005-04-01 | 1781942594 | 1789137514 | 1796874682 | 1794014743 | 1797561169 | 1787917895
Normal | 2005-05-01 | 1668709058 | 1676211051 | 1693504446 | 1701202193 | 1710631267 | 1693402644
Normal | 2005-06-01 | 1459124616 | 1461332487 | 1470203500 | 1480259911 | 1487247024 | 1475715190
Normal | 2005-07-01 | 1506066071 | 1510885477 | 1506610006 | 1509678707 | 1514976552 | 1508225681
Normal | 2005-08-01 | 1506444006 | 1516379567 | 1516600678 | 1506445477 | 1520105936 | 1512319189
Normal | 2005-09-01 | 1534860301 | 1548432367 | 1562301563 | 1554499691 | 1570560445 | 1562337363
Normal | 2005-10-01 | 1867095126 | 1879241978 | 1898188827 | 1892449230 | 1905770037 | 1894579609
Normal | 2005-11-01 | 2313300275 | 2325793674 | 2342402208 | 2342096274 | 2349421113 | 2337391194
Normal | 2005-12-01 | 2560280176 | 2575424926 | 2600434355 | 2611938794 | 2623232877 | 2611363944
Normal | 2006-01-01 | 2521065768 | 2515095185 | 2533582757 | 2543155872 | 2557028444 | 2543462669
Normal | 2006-02-01 | 2267057495 | 2252829645 | 2250485118 | 2259196393 | 2272359201 | 2254832876
Normal | 2006-03-01 | 2371210804 | 2349367092 | 2325199879 | 2324670581 | 2337757670 | 2321531716
Normal | 2006-04-01 | 1807063869 | 1790918464 | 1750242328 | 1743482725 | 1753321466 | 1757984914
Normal | 2006-05-01 | 1580365009 | 1568738526 | 1528256597 | 1520403037 | 1532447273 | 1544610149
Normal | 2006-06-01 | 1479993907 | 1474230547 | 1448463433 | 1436483633 | 1440823534 | 1450495156
Normal | 2006-07-01 | 1495594496 | 1495741371 | 1478499839 | 1461328158 | 1459473909 | 1463965022
Normal | 2006-08-01 | 1521999235 | 1532648163 | 1528646325 | 1510538251 | 1509603304 | 1508618873
Normal | 2006-09-01 | 1535981538 | 1546754791 | 1558771763 | 1545035169 | 1542975600 | 1543991619
Normal | 2006-10-01 | 1870841793 | 1875367141 | 1888523633 | 1878476402 | 1876743588 | 1877234750
Normal | 2006-11-01 | 2161802490 | 2165752016 | 2175626646 | 2173521688 | 2173787307 | 2173636028 | [26 empty] | -3.7956
Normal | 2006-12-01 | 2381565159 | 2377972742 | 2383456141 | 2384238798 | 2384206254 | 2382494084 | [26 empty] | -1.4543
Normal | 2007-01-01 | 2307943625 | 2295845664 | 2292488962 | 2294302046 | 2293609991 | 2292819675 | [26 empty] | -1.903
Normal | 2007-02-01 | 2059446797 | 2046152064 | 2033189877 | 2033215661 | 2032370356 | 2025929445 | [26 empty] | -5.2869
Normal | 2007-03-01 | 2085779129 | 2068222025 | 2042955564 | 2039796256 | 2038812305 | 2026653119 | [26 empty] | -6.7235
Normal | 2007-04-01 | 1728252529 | 1718632803 | 1692815375 | 1687150597 | 1688049601 | 1675312940 | [26 empty] | -4.442
Normal | 2007-05-01 | 1594580394 | 1590976663 | 1575661936 | 1570055561 | 1572573430 | 1557396181 | [26 empty] | -3.5926
Normal | 2007-06-01 | 1422890238 | 1416360123 | 1409457534 | 1402860777 | 1405109582 | 1391507292 | [26 empty] | -2.2809
Normal | 2007-07-01 | 1471751215 | 1470108962 | 1458290567 | 1450469706 | 1454301339 | 1438893449 | [26 empty] | -2.785
Normal | 2007-08-01 | 1458096289 | 1465101799 | 1458855205 | 1452220318 | 1455905907 | 1442852025 | [26 empty] | -3.1604
Normal | 2007-09-01 | 1535493644 | 1546701019 | 1552591218 | 1548490260 | 1551805701 | 1541624662 | [26 empty] | -6.0054
Normal | 2007-10-01 | 1817225368 | 1834801106 | 1857998304 | 1860375123 | 1866020296 | 1858122605 | [26 empty] | -8.8839
Normal | 2007-11-01 | 2221706385 | 2233723748 | 2262198581 | 2264696455 | 2269388004 | 2264603410 | [26 empty] | -3.8949
Normal | 2007-12-01 | 2400473012 | 2412141090 | 2437544404 | 2441366990 | 2443655529 | 2439817813 | [25 empty] | 0 | -1.4986
Normal | 2008-01-01 | 2340396113 | 2348085175 | 2366331885 | 2372740010 | 2374260465 | 2369164001 | [25 empty] | 1.7669 | -1.8626
Normal | 2008-02-01 | 2128543253 | 2125648133 | 2133820085 | 2137491733 | 2138177332 | 2132941764 | [25 empty] | 5.7403 | -5.1383
Normal | 2008-03-01 | 2236184859 | 2226203994 | 2219799016 | 2222514106 | 2222466577 | 2216119076 | [25 empty] | 5.683 | -6.6946
Normal | 2008-04-01 | 1835440340 | 1827209263 | 1806694127 | 1805433113 | 1805234609 | 1798569179 | [7 empty] | -0.7288% | -2.61% | -2.961% | -2.657% | -2.886% | [13 empty] | 2.4086 | -4.4482
Normal | 2008-05-01 | 1543736441 | 1535183678 | 1511271996 | 1505799699 | 1504196994 | 1497869844 | [7 empty] | -0.4797% | -2.237% | -2.661% | -2.202% | -2.297% | [13 empty] | 1.0835 | -3.4992
Normal | 2008-06-01 | 1417395375 | 1406291653 | 1384100999 | 1376515180 | 1373598369 | 1367676846 | [7 empty] | -0.4235% | -1.549% | -2.189% | -1.962% | -2.097% | [13 empty] | 1.0693 | -2.4412
Normal | 2008-07-01 | 1466584970 | 1465395938 | 1443338023 | 1430013162 | 1428540848 | 1420377531 | [7 empty] | -0.05039% | -1.03% | -1.872% | -1.805% | -2.173% | [12 empty] | -5.2572 | 1.0599 | -2.9686
Normal | 2008-08-01 | 1453985991 | 1462620979 | 1452183026 | 1440670016 | 1439667910 | 1431518771 | [7 empty] | 0.5924% | 0.2485% | -0.5818% | -0.4895% | -0.9605% | [12 empty] | -6.4285 | 2.0353 | -2.9176
Normal | 2008-09-01 | 1554298484 | 1569049031 | 1580622322 | 1576054764 | 1578489199 | 1572030052 | [7 empty] | 0.7156% | 1.299% | 0.7179% | 0.7588% | 0.4604% | [12 empty] | -8.7436 | 1.8852 | -5.4742
Normal | 2008-10-01 | 1881083262 | 1897262403 | 1921717952 | 1923117857 | 1922952171 | 1918381650 | [7 empty] | 0.5993% | 1.585% | 1.377% | 1.483% | 1.282% | [11 empty] | -4.6893 | -11.7926 | 0.89152 | -8.7879
Normal | 2008-11-01 | 2216153223 | 2228755321 | 2251620830 | 2257849719 | 2256243686 | 2252192792 | [7 empty] | 0.3642% | 1.239% | 1.248% | 1.361% | 1.249% | [11 empty] | -30.6106 | -11.8758 | 0.26033 | -3.5197
Normal | 2008-12-01 | 2498856070 | 2505445184 | 2525241260 | 2532144120 | 2510304098 | 2504341413 | [7 empty] | 0.1689% | 0.8148% | 0.9111% | 0.9582% | 0.8422% | [10 empty] | 0 | -25.2536 | -8.9659 | -0.22669 | -1.4191
Normal | 2009-01-01 | 2532631329 | 2536194221 | 2544836962 | 2549097158 | 2519639876 | 2519639876 | [7 empty] | -0.09485% | 0.2255% | 0.4023% | 0.4202% | 0.2935% | [10 empty] | -4.2397 | -15.5551 | -4.2131 | 1.4913 | -1.8952
Normal | 2009-02-01 | 2139359593 | 2121860998 | 2115421844 | 2118394290 | 2087044289 | 2087044289 | [7 empty] | -0.3866% | -0.501% | -0.4127% | -0.4165% | -0.6953% | [10 empty] | -10.4455 | -12.6987 | -0.20865 | 5.901 | -5.2978
Abnormal | 2009-03-01 | 2064111397 | 2030160173 | 2005400204 | 2006745516 | 1982144745 | 1982144745 | [7 empty] | -0.6372% | -1.37% | -1.38% | -1.404% | -1.832% | [10 empty] | -6.8592 | -2.8703 | 2.098 | 5.7983 | -6.7398
Abnormal | 2009-04-01 | 1662133905 | 1631182232 | 1576677537 | 1575326175 | 1563937514 | 1544922658 | [12 empty] | -0.7288% | -2.61% | -2.961% | -2.657% | -2.886% | -12.1135 | -31.262 | -5.8413 | 5.0484 | -3.7956 | -4.1221 | 10.0223 | 4.2034 | 2.3551 | -4.3109 | 1658011816.8085 | 1668034119.0465 | 1672237497.3102 | 1674592615.7437 | 1670281668.4354
Abnormal | 2009-05-01 | 1531744953 | 1503613388 | 1435398425 | 1423696609 | 1402208332 | 1383736916 | [12 empty] | -0.4797% | -2.237% | -2.661% | -2.202% | -2.297% | -7.3478 | -26.919 | -6.4937 | 7.0255 | -1.4543 | 2.4887 | 17.6468 | 2.1528 | 1.0641 | -3.3646 | 1534233635.231 | 1551880480.0873 | 1554033316.3151 | 1555097379.0197 | 1551732777.2862
Abnormal | 2009-06-01 | 1405392687 | 1396659490 | 1342379254 | 1321977113 | 1292403116 | 1272290372 | [12 empty] | -0.4235% | -1.549% | -2.189% | -1.962% | -2.097% | -5.9517 | -15.8166 | -8.9936 | 3.1898 | -1.903 | 9.2247 | 17.388 | -0.0017527 | 1.066 | -2.1063 | 1414617426.7373 | 1432005472.7349 | 1432003720.0498 | 1433069675.4288 | 1430963403.9707
Abnormal | 2009-07-01 | 1437055743 | 1432006720 | 1403379288 | 1369268163 | 1330859112 | 1306358636 | [12 empty] | -0.05039% | -1.03% | -1.872% | -1.805% | -2.173% | -0.7242 | -14.0734 | -12.1036 | 0.95763 | -5.2869 | 10.6768 | 14.3736 | -5.416 | 1.0431 | -2.5419 | 1447732576.652 | 1462106136.9826 | 1456690163.5989 | 1457733284.8335 | 1455191394.1907
Abnormal | 2009-08-01 | 1427293801 | 1428157358 | 1412926599 | 1381739504 | 1336598402 | 1310811140 | [12 empty] | 0.5924% | 0.2485% | -0.5818% | -0.4895% | -0.9605% | 8.4555 | -4.9084 | -11.8505 | 1.3174 | -6.7235 | 9.5506 | 6.4252 | -6.6217 | 2.0596 | -2.7597 | 1436844433.9354 | 1443269665.2048 | 1436647943.705 | 1438707496.9117 | 1435947774.439
Abnormal | 2009-09-01 | 1488659769 | 1496555567 | 1495072511 | 1470972861 | 1422528421 | 1396574296 | [12 empty] | 0.7156% | 1.299% | 0.7179% | 0.7588% | 0.4604% | 10.6534 | 8.6791 | -8.6454 | 0.60869 | -4.442 | 6.2143 | -4.3746 | -8.5915 | 2.016 | -5.9177 | 1494874045.8636 | 1490499409.7208 | 1481907881.66 | 1483923867.4752 | 1478006159.2846
Abnormal | 2009-10-01 | 1788931633 | 1799940690 | 1812317307 | 1789514742 | 1740822982 | 1712572816 | [12 empty] | 0.5993% | 1.585% | 1.377% | 1.483% | 1.282% | 10.7203 | 17.6337 | -3.7206 | 1.8977 | -3.5926 | 1.8057 | -17.7348 | -11.4673 | 0.92806 | -8.2562 | 1790737307.7588 | 1773002513.2213 | 1761535211.5105 | 1762463270.035 | 1754207050.6117
Abnormal | 2009-11-01 | 2025625336 | 2034487209 | 2049389674 | 2036048157 | 1992464401 | 1961378111 | [12 empty] | 0.3642% | 1.239% | 1.248% | 1.361% | 1.249% | 7.3783 | 17.7213 | 0.18157 | 2.2907 | -2.2809 | -4.4529 | -31.4283 | -11.7958 | 0.24066 | -3.8015 | 2021172483.6864 | 1989744229.6813 | 1977948419.2668 | 1978189081.5782 | 1974387592.9994
Abnormal | 2009-12-01 | 2399694386 | 2409439409 | 2429559599 | 2423423553 | 2388642168 | 2348456332 | [12 empty] | 0.1689% | 0.8148% | 0.9111% | 0.9582% | 0.8422% | 4.0525 | 15.4994 | 2.311 | 1.1321 | -2.785 | -10.039 | -25.9 | -8.9715 | -0.2201 | -1.4628 | 2389655351.2074 | 2363755329.721 | 2354783827.7738 | 2354563731.1363 | 2353100958.2913
Abnormal | 2010-01-01 | 2495511579 | 2488537661 | 2499867367 | 2497971405 | 2460943693 | 2427619042 | [12 empty] | -0.09485% | 0.2255% | 0.4023% | 0.4202% | 0.2935% | -2.367 | 7.9939 | 4.4136 | 0.44474 | -3.1604 | -12.943 | -15.2103 | -4.1272 | 1.3201 | -1.9109 | 2482568532.5063 | 2467358188.9926 | 2463231004.9211 | 2464551131.9705 | 2462640260.0169
Abnormal | 2010-02-01 | 2153935336 | 2140944640 | 2132639605 | 2131987986 | 2098650483 | 2098650483 | [12 empty] | -0.3866% | -0.501% | -0.4127% | -0.4165% | -0.6953% | -8.3266 | -2.4637 | 1.9016 | -0.082139 | -6.0054 | -10.7297 | -12.3592 | -0.18749 | 5.4424 | -5.264 | 2143205664.3574 | 2130846450.4057 | 2130658964.5186 | 2136101383.9996 | 2130837389.3499
Abnormal | 2010-03-01 | 2074694411 | 2052577441 | 2030080578 | 2023608277 | 1979609186 | 1943927881 | [12 empty] | -0.6372% | -1.37% | -1.38% | -1.404% | -1.832% | -13.2192 | -15.2034 | -0.21324 | -0.49515 | -8.8839 | -6.9604 | -2.8505 | 2.2364 | 5.5681 | -6.6367 | 2067734035.9913 | 2064883519.4462 | 2067119919.5373 | 2072688036.6501 | 2066051307.533
Abnormal | 2010-04-01 | 1705588422 | 1688836311 | 1658310856 | 1644838240 | 1603292946 | 1560769882 | [12 empty] | -0.7288% | -2.61% | -2.961% | -2.657% | -2.886% | -12.4302 | -32.0794 | -5.9941 | 5.1803 | -3.8949 | -4.0328 | 9.9637 | 3.9134 | 2.4008 | 0
Abnormal | 2010-05-01 | 1578390035 | 1566251596 | 1529471275 | 1519633201 | 1489787907 | 1445124836 | [12 empty] | -0.4797% | -2.237% | -2.661% | -2.202% | -2.297% | -7.5715 | -27.7387 | -6.6915 | 7.2394 | -1.4986 | 2.4892 | 17.4439 | 1.9675 | 1.086
Abnormal | 2010-06-01 | 1375554303 | 1369024244 | 1336754988 | 1324622915 | 1300168092 | 1257489307 | [12 empty] | -0.4235% | -1.549% | -2.189% | -1.962% | -2.097% | -5.8254 | -15.4808 | -8.8026 | 3.1221 | -1.8626 | 9.2062 | 18.6002 | -0.0165 | 1.0651
Abnormal | 2010-07-01 | 1396656607 | 1389217779 | 1362213757 | 1333823316 | 1310910846 | 1276670493 | [12 empty] | -0.05039% | -1.03% | -1.872% | -1.805% | -2.173% | -0.70384 | -13.6778 | -11.7634 | 0.93071 | -5.1383 | 10.5888 | 15.1498 | -4.8962 | 1.006
Abnormal | 2010-08-01 | 1421146889 | 1424123306 | 1404363168 | 1371104333 | 1353990697 | 1329253079 | [12 empty] | 0.5924% | 0.2485% | -0.5818% | -0.4895% | -0.9605% | 8.419 | -4.8873 | -11.7994 | 1.3117 | -6.6946 | 9.5509 | 5.9359 | -6.2448 | 1.8956
Abnormal | 2010-09-01 | 1490711825 | 1500903608 | 1500745473 | 1471459123 | 1455799075 | 1435679116 | [12 empty] | 0.7156% | 1.299% | 0.7179% | 0.7588% | 0.4604% | 10.6681 | 8.6911 | -8.6573 | 0.60953 | -4.4482 | 6.6449 | -4.1648 | -8.695 | 1.7366
Abnormal | 2010-10-01 | 1742404674 | 1756680424 | 1772340975 | 1752031482 | 1732199337 | 1719269406 | [12 empty] | 0.5993% | 1.585% | 1.377% | 1.483% | 1.282% | 10.4415 | 17.1751 | -3.6238 | 1.8484 | -3.4992 | 2.0429 | -17.1317 | -11.8115 | 0.80754
Abnormal | 2010-11-01 | 2168026315 | 2179084524 | 2200586133 | 2197247147 | 2179363915 | 2157500718 | [12 empty] | 0.3642% | 1.239% | 1.248% | 1.361% | 1.249% | 7.897 | 18.9671 | 0.19433 | 2.4518 | -2.4412 | -4.0769 | -28.5815 | -11.9041 | 0.2241
Abnormal | 2010-12-01 | 2557862543 | 2568146560 | 2589316543 | 2593425840 | 2572058534 | 2548671846 | [12 empty] | 0.1689% | 0.8148% | 0.9111% | 0.9582% | 0.8422% | 4.3196 | 16.521 | 2.4633 | 1.2067 | -2.9686 | -9.5103 | -24.6911 | -8.7391 | -0.21367
Abnormal | 2011-01-01 | 2303779243 | 2309238082 | 2324606846 | 2332754721 | 2308754251 | 2295507189 | [12 empty] | -0.09485% | 0.2255% | 0.4023% | 0.4202% | 0.2935% | -2.1851 | 7.3797 | 4.0745 | 0.41057 | -2.9176 | -12.4312 | -15.5048 | -3.9751 | 1.4705
Abnormal | 2011-02-01 | 1963411712 | 1955200884 | 1961512437 | 1965898457 | 1948897231 | 1933408426 | [12 empty] | -0.3866% | -0.501% | -0.4127% | -0.4165% | -0.6953% | -7.5901 | -2.2458 | 1.7334 | -0.074873 | -5.4742 | -9.811 | -12.7252 | -0.19755 | 5.7598
Abnormal | 2011-03-01 | 2052279762 | 2041195692 | 2034289107 | 2034466950 | 2017414089 | 1989395255 | [12 empty] | -0.6372% | -1.37% | -1.38% | -1.404% | -1.832% | -13.0764 | -15.0391 | -0.21094 | -0.4898 | -8.7879 | -6.7353 | -2.9188 | 1.9151 | 5.7143
Abnormal | 2011-04-01 | 1541318266 | 1528836970 | 1500673285 | 1497653639 | 1479586833 | 1454211961 | [12 empty] | -0.7288% | -2.61% | -2.961% | -2.657% | -2.886% | -11.233 | -28.9897 | -5.4168 | 4.6814 | -3.5197 | -4.1069 | 9.6367 | 3.6796 | 2.4157
Abnormal | 2011-05-01 | 1494737011 | 1490348727 | 1465878474 | 1459230482 | 1442616766 | 1425147610 | [12 empty] | -0.4797% | -2.237% | -2.661% | -2.202% | -2.297% | -7.1703 | -26.2686 | -6.3368 | 6.8557 | -1.4191 | 2.4949 | 16.4921 | 2.0719 | 1.0749
Abnormal | 2011-06-01 | 1399679058 | 1391101171 | 1371168101 | 1358717852 | 1345722249 | 1332082303 | [12 empty] | -0.4235% | -1.549% | -2.189% | -1.962% | -2.097% | -5.9275 | -15.7523 | -8.957 | 3.1769 | -1.8952 | 9.128 | 16.032 | 0.0090306 | 0.84525
Abnormal | 2011-07-01 | 1440027720 | 1439783546 | 1417258356 | 1400008854 | 1388700006 | 1371502021 | [12 empty] | -0.05039% | -1.03% | -1.872% | -1.805% | -2.173% | -0.72569 | -14.1025 | -12.1287 | 0.95961 | -5.2978 | 10.2344 | 13.0715 | -5.2851
Abnormal | 2011-08-01 | 1430755571 | 1434039254 | 1414632970 | 1394480920 | 1385672982 | 1369924446 | [12 empty] | 0.5924% | 0.2485% | -0.5818% | -0.4895% | -0.9605% | 8.476 | -4.9203 | -11.8792 | 1.3206 | -6.7398 | 8.9107 | 5.5692 | -6.4635
Abnormal | 2011-09-01 | 1444728726 | 1448206919 | 1444679494 | 1423030054 | 1416023064 | 1406086310 | [12 empty] | 0.7156% | 1.299% | 0.7179% | 0.7588% | 0.4604% | 10.339 | 8.423 | -8.3902 | 0.59072 | -4.3109 | 5.7233 | -4.183 | -8.781
Abnormal | 2011-10-01 | 1675397094 | 1684355139 | 1689721872 | 1679358920 | 1671286982 | 1664321590 | [12 empty] | 0.5993% | 1.585% | 1.377% | 1.483% | 1.282% | 10.04 | 16.5146 | -3.4845 | 1.7773 | -3.3646 | 1.6808 | -16.7064 | -11.7492
Abnormal | 2011-11-01 | 1870562640 | 1875181882 | 1883221677 | 1876384410 | 1868715192 | 1862793784 | [12 empty] | 0.3642% | 1.239% | 1.248% | 1.361% | 1.249% | 6.8135 | 16.3648 | 0.16767 | 2.1154 | -2.1063 | -4.2153 | -30.6752 | -11.7328
Abnormal | 2011-12-01 | 2190210408 | 2194920089 | 2203102893 | 2200584646 | 2191163031 | 2185417680 | [12 empty] | 0.1689% | 0.8148% | 0.9111% | 0.9582% | 0.8422% | 3.6987 | 14.1464 | 2.1092 | 1.0333 | -2.5419 | -9.6332 | -25.3971 | -1.1697
Abnormal | 2012-01-01 | 2179141676 | 2177435686 | 2182263133 | 2179772516 | 2170901288 | 2166683598 | [12 empty] | -0.09485% | 0.2255% | 0.4023% | 0.4202% | 0.2935% | -2.0669 | 6.9804 | 3.8541 | 0.38835 | -2.7597 | -12.2317 | -15.6017
Abnormal | 2012-02-01 | 2122497974 | 2120432673 | 2123260597 | 2119180632 | 2106398086 | 2103005493 | [12 empty] | -0.3866% | -0.501% | -0.4127% | -0.4165% | -0.6953% | -8.2051 | -2.4277 | 1.8739 | -0.08094 | -5.9177 | -10.4727 | -12.6374
Abnormal | 2012-03-01 | 1928118362 | 1914029016 | 1903352663 | 1902281544 | 1888472159 | 1882927622 | [12 empty] | -0.6372% | -1.37% | -1.38% | -1.404% | -1.832% | -12.2853 | -14.1293 | -0.19817 | -0.46016 | -8.2562 | -6.8957 | -4.1183
Abnormal | 2012-04-01 | 1664698418 | 1649588694 | 1629480082 | 1624561128 | 1613008688 | 1607263710 | [12 empty] | -0.7288% | -2.61% | -2.961% | -2.657% | -2.886% | -12.1322 | -31.3103 | -5.8504 | 5.0562 | -3.8015 | -4.137
Abnormal | 2012-05-01 | 1540693179 | 1523957024 | 1499614930 | 1492284909 | 1481456176 | 1474769890 | [12 empty] | -0.4797% | -2.237% | -2.661% | -2.202% | -2.297% | -7.3907 | -27.0762 | -6.5316 | 7.0665 | -1.4628 | 2.4525
Abnormal | 2012-06-01 | 1411220662 | 1402285589 | 1371871177 | 1356861149 | 1348079239 | 1342258302 | [12 empty] | -0.4235% | -1.549% | -2.189% | -1.962% | -2.097% | -5.9764 | -15.8822 | -9.0309 | 3.2031 | -1.9109 | 5.4251
Abnormal | 2012-07-01 | 1430833656 | 1436080550 | 1410836674 | 1391870543 | 1385343350 | 1381899456 | [12 empty] | -0.05039% | -1.03% | -1.872% | -1.805% | -2.173% | -0.72106 | -14.0125 | -12.0512 | 0.95348 | -5.264
Abnormal | 2012-08-01 | 1408864921 | 1413840048 | 1408085495 | 1388011334 | 1380478973 | 1377268340 | [12 empty] | 0.5924% | 0.2485% | -0.5818% | -0.4895% | -0.9605% | 8.3463 | -4.845 | -11.6974 | 1.3004 | -6.6367
2009/10 SF run as reported |  | 21890673539
(includes prov + open/close)
2009/10 SF run - only run data |  | 21890673539
To remove to get fully |  | 0 | [34 empty] | Fully reconcile the SF data Used |  | 0
reconciled data
[37 empty] | Revised 2009/10 GWh |  | 21763.3477
[37 empty] | SF Adj |  | 85.2833
| 2005/06 | 23357156290 | 23400130963 | 23496388019 | 23519607866 | 23646651735 | 23503079970 | 145923680 | [28 empty] | Revised NHH |  | 21848.6311
| 2006/07 | 22288377047 | 22238343514 | 22109121108 | 22020821824 | 22038174887 | 22048432834 | -239944213
| 2007/08 | 22355593299 | 22388484615 | 22425364110 | 22410431636 | 22441713763 | 22328355218 | -27238081
| 2008/09 | 22603636475 | 22585428842 | 22542449545 | 22521834594 | 22408056794 | 22351786988 | -251849487
| 2009/10 | 21890673539 | 21814101805 | 21619687744 | 21445534545 | 21009667810 | 20707298683 | -1183374856
| 2010/11 | 21755812330 | 21747903010 | 21674511558 | 21541305725 | 21272636920 | 20948739553 | -807072777
| 2011/12 | 20717174506 | 20698671072 | 20599213515 | 20490684469 | 20355258638 | 20224104418 | -493070088
| 2012/13 | 7456310836 | 7425751905 | 7319888358 | 7253589063 | 7208366426 | 7183459698 | -272851138
|  | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12
Check to Data Model |  | 23357156290 | 22288377047 | 22355593299 | 22603636475 | 21890673539 | 21755812330 | 20717174506 | 21415365120 | 176383788606 | 0 | 0 | 0 | 0
|  | 23400130963 | 22238343514 | 22388484615 | 22585428842 | 21814101805 | 21747903010 | 20698671072 | 21359852831 | 176232916652 | 0 | 0 | 0 | 0
|  | 23496388019 | 22109121108 | 22425364110 | 22542449545 | 21619687744 | 21674511558 | 20599213515 | 21256447380 | 175723182979 | 0 | 0 | 0 | 0
|  | 23519607866 | 22020821824 | 22410431636 | 22521834594 | 21445534545 | 21541305725 | 20490684469 | 21157450289 | 175107670948 | 0 | 0 | 0 | 0
|  | 23646651735 | 22038174887 | 22441713763 | 22408056794 | 21009667810 | 21272636920 | 20355258638 | 21054010284 | 174226170831 | 0 | 0 | 0 | 0
|  | 23503079970 | 22048432834 | 22328355218 | 22351786988 | 20707298683 | 20948739553 | 20224104418 | 21018013062 | 173129810726 | 0 | 0 | 0 | 0
|  | 23503079970 | 22048432834 | 22328355218 | 22351786988 | 20707298683 | 20948739553 | 20224104418 | 21018013062 | 173129810726 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reconciliation Mar 10 |  | From | 2009-12-12 | 2009-10-05 | 2009-06-28 | 2008-12-12 | 2007-10-01
|  | To | 2010-01-11 | 2009-11-04 | 2009-07-28 | 2009-01-11 | 2007-10-31