## Summary
Licensee | Reference Number | Project Name
NGET | NGET EN 01 | Mobile Substation Bay
SHE Transmission | SSE EN 01 | MTTE
SPT | SPT EN 01 | VISOR
Question Originator
initials | name
GE | Gareth
DG | Dora
SC | Sam
NC | Neil
AW | Andy
GB | Giulia
AP | Arun
JW | Julian
Co | Consultants

## SPT EN 01
Question No. | Question asked by | Proforma section | Topic | Question | Date question asked | Date response required | Date received | Follow up to Question # | Confidential (y/n) | Attachments
1 | Co | Section 5 | Knowledge dissemination | How does SP propose to ensure that software developed (and potentially paid for) by Suppliers will be available to Licensees after the project on fair and reasonable terms? | 2013-08-15 | 2013-08-19 | 2013-08-19 |  | N
2 | Co | Section 4 (d) | Evaluation criteria - innovative | SP states that "Oscillation source location is a new invention". What evidence do you have that this can be implemented as part of VISOR? | 2013-08-15 | 2013-08-19 | 2013-08-19 |  | N
3 | Co | Section 2.5 | Technical Description of project | Can SP explain the operation of their existing WAM server, how the data is used and the benefits it provides? | 2013-08-15 | 2013-08-19 | 2013-08-19 |  | N
4 | Co | Section 2.5 | Technical Description of project | SP states that "SSO has been dealt with so far by local observation" with SSO devices. Can SP explain this in greater detail? | 2013-08-15 | 2013-08-19 | 2013-08-19 |  | N
5 | Co | Appendix A12 | Equipment Technical Specification | Can SP provide evidence of both continuous and discontinuous SSO successful implementation elsewhere? | 2013-08-15 | 2013-08-19 | 2013-08-19 |  | N
6 | Co | FSP spreadsheet | Project cost summary / Whole project cost | Have the contributions in-kind from partners been accounted for in the FSP spreadsheet? | 2013-08-15 | 2013-08-19 | 2013-08-19 |  | N
7 | Co | Appendix A5 | Cost breakdowns of project delivery | How were the costs for the WAMS Supplier and Hybrid State Estimator Vendor derived? | 2013-08-15 | 2013-08-19 | 2013-08-19 |  | Y
8 | Co | Appendix A5 | Cost breakdowns of project delivery | What do the contractor costs for the TOs represent (£12k for SHET, £172k for SP and £16k for NGET)? | 2013-08-15 | 2013-08-19 | 2013-08-19 |  | Y
9 | Co | Section 2.5 | Technical Description of project | Please explain whether any power system simulations have been carried out to demonstrate the potential forms of SSO arising from interactions between the control system and HVDC systems or wind farm controllers, and if so, describe the findings of this work. | 2013-08-20 | 2013-08-26 | 2013-08-23 |  | N
10 | Co | Section 2.5 | Technical Description of project | Please confirm that investigations of both SSO and changes in transient stability margins on the England-Scotland interconnections are envisaged as part of the project, and explain the extent to which each is likely to contribute to enhanced transfer capacity on constrained transmission routes. | 2013-08-20 | 2013-08-26 | 2013-08-23 |  | N
11 | Co | Section 3.4 | Technical Description of project | Please explain how the figure of an incremental capacity of at least 50MW on the B6 boundary with VISOR shown in Table 3.1 has been derived. | 2013-08-20 | 2013-08-26 | 2013-08-23 |  | N
12 | Co | Section 3.4 | Technical Description of project | Please explain how the avoided cost figure of £45m per 100MW of capacity released is calculated from the figures shown in Table 3.1. | 2013-08-20 | 2013-08-26 | 2013-08-23 |  | N
13 | Co | Section 3.4 | Technical Description of project | Please provide a reference and/or further information regarding the ERCOT example of sub-synchronous oscillations between wind farms and series compensation. | 2013-08-20 | 2013-08-26 | 2013-08-23 |  | N
14 | Co | Section 4 a) | Evaluation criteria a) | Please provide supporting information regarding the "more recent experience unstable oscillations" in the GB system referred to in this section. | 2013-08-20 | 2013-08-26 | 2013-08-23 |  | Y
15 | Co | Section 4 e) | Evaluation criteria e) | Please explain the process by which the University of Manchester was selected as a Project Partner. | 2013-08-20 | 2013-08-26 | 2013-08-23 |  | N
16 | Co | Section 5.3 | Knowledge dissemination | It is stated that the VISOR project "raises market and regulation issues with respect to the ownership of the collected data, their value and secure transmission". Please explain the extent to which these issues will be addressed within the project and whether they could place any constraints on the overall effectiveness and delivery of the project. | 2013-08-20 | 2013-08-26 | 2013-08-23 |  | N
17 | Co | FSP spreadsheet | Project cost summary / Whole project cost | A daily cost rate of £515 has been assumed for TO labour costs. Please describe those costs that are covered by the £515 daily rate and provide a detailed explanation of its calculation showing the values and their derivation for its constituent parts. | 2013-08-22 | 2013-08-26 | 2013-08-23 |  | Y
18 | Co | FSP spreadsheet | Project cost summary / Whole project cost | What is the nature of the in-kind support from the project partners? How important are these to the success of the project, and what is their level of commitment? How have these contributions been accounted for in the FSP spreadsheet? | 2013-08-22 | 2013-08-26 | 2013-08-23 |  | N
19 | Co | Response to Q3 | Technical Description of project | What enhancements, physical or otherwise, are required to enable existing PMUs to communicate to the proposed VISOR server? | 2013-08-22 | 2013-08-26 | 2013-08-23 |  | N
20 | Co | Appendix 2 | Technical Description of project | Please clarify whether SSO monitoring is conducted by the PMUs or by separate standalone devices, and whether any of the existing 8 PMUs could be used for SSO monitoring. | 2013-08-22 | 2013-08-26 | 2013-08-23 |  | N
21 | Co | Section 4 | Evaluation criteria e) | Please explain clearly the rationale for this project being led by SP as a TO, rather than by NGET in its capacity as the GBSO. Please highlight any challenges that you consider are overcome by this approach, and point out any issues that are likely to require resolution in running the project this way. | 2013-09-03 | 2013-09-03 | 2013-09-05 |  | N
22 | Co | Section 4 | Evaluation criteria b) | Please explain why it is necessary to allocate full time project managers to this project from each of the three partners. | 2013-09-03 | 2013-09-03 | 2013-09-05 |  | N
23 | Co | Section 4 | Evaluation criteria e) and answer 6 | Please explain how the level of in-kind contribution from the project partners was decided, and whether any additional in-kind contributions are envisaged from any of the contractors involved in the project. | 2013-09-03 | 2013-09-03 | 2013-09-05 |  | N
24 | Co | Section 2.5 | Technical Description of project | Please explain how the project outcomes will be accommodated into the business processes adopted by the TOs and the GBSO associated with system planning and operation. What are the key areas of activity that are expected to change and how and when will these changes be implemented? | 2013-09-03 | 2013-09-03 | 2013-09-05 |  | N
25 | Co | Section 2.5 | Technical Description of project | Please clarify whether SCADA manufacturers will be involved in the hybrid state estimation aspect of the project and if so, at what stage. | 2013-09-03 | 2013-09-03 | 2013-09-05 |  | N
26 | Co | Section 2.5 | Technical Description of project | Please explain the extent to which new hardware will be developed as part of the SSO monitoring activities. | 2013-09-03 | 2013-09-03 | 2013-09-05 |  | N
27 | Co | Section 4 | Evaluation criteria e) | Please clarify the role of Manchester University in relation to the analysis of data from PMUs and/or the SSO devices in the project. | 2013-09-03 | 2013-09-03 | 2013-09-05 |  | N
28 | Co | Section 3.4 | Project business case | Please explain the calculation of the annual saving of £4m arising from reduced constraint costs. | 2013-09-05 | 2013-09-09 | 2013-09-09 |  | N
29 | Co | Section 2.5 | Technical Description of project | Please clarify the extent of the GB system for which transient stability and SSO assessment will be possible after the deployment of the proposed additional PMUs, and indicate the scale of any further deployment that may be necessary to give system wide coverage. | 2013-09-05 | 2013-09-09 | 2013-09-09 |  | N
30 | Co | FSP spreadsheet | Whole project cost, line item 2.3.1 | Please explain the source of the cost estimate for the hybrid state estimator of £331k. Has this been derived with reference to more than one EMS contractor? | 2013-09-05 | 2013-09-09 | 2013-09-09 |  | Y
31 | Co | FSP spreadsheet | Contractor costs | Please explain the basis for the person day estimates for the WAMS supplier - what degree of confidence can be attached to these, given the significant scale of the contractor costs in the project as a whole? | 2013-09-05 | 2013-09-09 | 2013-09-09 |  | Y
32 | Co | FSP spreadsheet | Whole project cost, line item 6.1 | Please explain the justification for a full time equivalent knowledge dissemination coordinator throughout the project, given the international experience that exists in PMU and WAMS deployment. | 2013-09-05 | 2013-09-09 | 2013-09-09 |  | N
33 | Co | Section 6.5 | Project Readiness | Please provide more details about the way that the potential cost variation of £30k - £350k for Phasor Data Concentrator equipment will be handled within the project and the potential financial implications if equipment at the higher end of the cost range is selected. | 2013-09-05 | 2013-09-09 | 2013-09-09 |  | Y
34 | Co | Appendix A4 | Project Programme | Please provide a more detailed version of the Gantt chart shown in Appendix A4, indicating a further level of sub-task definition and the dependencies that exist between key activities. | 2013-09-10 | 2013-09-12 | 2013-09-12 |  | N
35 | Co | Answer 28 and Answer 11 | Cost saving calculation | Please explain the basis for the assumption that the B6 boundary is constrained for 50% of the time, and explain the difference between the 2300MW capacity limit stated in Answer 28 and the 3500MW figure given in Answer 11. | 2013-09-12 | 2013-09-16 | 2013-09-16 |  | Y
36 | EP | Bilateral Meeting | Project Readiness | Can you list the likely activities planned for each of the three project co-leads. Please confirm that you are you convinced that this requires three full time roles over the project’s life. | 2013-09-24 | 2013-09-26 | 2013-09-26 |  | N
37 | EP | Bilateral Meeting | Contractor costs | We want to know exactly what the University of Manchester will do and what each of the elements will cost. What is your previous experience of using a university to do parallel development/ testing for TOs or the SO? | 24 Setpember 2013 | 2013-09-26 | 2013-09-26 |  | N