## Option 1
Smart grid option evaluation for Generators
Customer Types (defined by main technology) |  | Applicable Tariff | Assumptions on physical attributes of customer | Supplier Commissioned Services |  |  |  | TSO Commissioned Services | [6 empty] | DNO Commissioned Services | [6 empty] | TO Commissioned Services | DECC Commissioned Services |  | Summary of the Opportunities and Risks for this customer type | Baseline Commercial/Subsidy Arrangements per customer type | Impact/Risks for the network in relation this Customer Type
|  |  |  | Triads Management (values vary by location; depends on supplier tarriff) | Supplier cost management (medium and short term) | Supplier imbalance management (short term pre- and post-gate closure) | Energy Efficiency | STOR (3MW minimum) | Fast Reserve | Frequency Response FFR (10 MW minimum) | Frequency Response FCDM (3 MW minimum) | Energy Efficiency | Reactive Power and Voltage Stabilisation | Black Start | Peak load management | Active Network Management | Post-fault | Energy Efficiency | Demand Side Response in return for Avoided Connection Charges | Reactive Power and Voltage Stabilisation | Black Start | Demand Side Response in return for Avoided Connection Charges | Demand-Side Balancing Reserve | Supplementary Balancing Reserve |  | Baseline Commercial/Subsidy Arrangements per customer type | Impact/Risks of the Option X on Customer Type and the network | Key
Wind | wind <50kW | LV Generation Non Half Hourly | maybe FITs supported generation - e.g. Farmers, Land Owners | ?? | ?? | ?? | [19 empty] | 1. Unit rate 1 |  | No Constraints
| wind 50-500kW | LV (Substation) Non Half Hourly | [23 empty] | 1. Unit rate 1 |  | Scale Constraint (Aggregated responses possible)
| wind 50-500kW | LV Generation Intermittent | [23 empty] | 1. Unit rate 1 |  | Scale Constraint (No aggregation possible)
| wind 50-500kW | LV (Substation) Generation Intermittent | [23 empty] | 1. Unit rate 1 |  | Commercial Constraint e.g. credit rating, complex tender process
| wind >500kW | HV Generation Intermittent | [10 empty] | ?? | ?? | [11 empty] | 1. Unit 1 2. Fixed charge p/MPAM/ day 3. Reactive Power Charge p/kVArh |  | Regulatory Constraint
| wind >500kW | HV (Substation) Generation Intermittent | [10 empty] | ?? | ?? | [11 empty] | 1. Unit 1 2. Fixed charge p/MPAM/ day 3. Reactive Power Charge p/kVArh |  | Physical/Technical Constraint
| wind >500kW | Grid Connected Generation Intermittent | [11 empty] | ?? | [13 empty] | Non Applicable
Control Group - Customer types with no technology
Biomass |  | LV Generation Non Half Hourly | [23 empty] | 1. Unit rate 1
|  | LV (Substation) Non Half Hourly | [23 empty] | 1. Unit rate 1
|  | LV Generation Non-Intermittent | [23 empty] | 1. Unit Rates 1, 2 & 3 (Red, Amber and Green)
|  | LV (Substation) Generation Non Intermittent | [23 empty] | 1. Unit Rates 1, 2 & 3 (Red, Amber and Green)
|  | HV Generation Non-Intermittent | [10 empty] | ?? | ?? | [11 empty] | 1. Unit 1 2. Fixed charge p/MPAM/ day 3. Reactive Power Charge p/kVArh
|  | HV (Substation) Generation Non Intermittent | [10 empty] | ?? | ?? | [11 empty] | 1. Unit Rates 1, 2 & 3 (Red, Amber and Green) 2. Fixed charge p/MPAM/ day 3. Reactive Power Charge p/kVArh
Grid Connected Generation Non Intermittent
|  | Control Group - Customer types with no technology | [23 empty] | 1. Unit rates 1 & 2 plus fixed charge
Wave |  | LV Generation Intermittent | [23 empty] | 1. Unit rate 1
|  | LV (Substation) Generation Intermittent | [23 empty] | 1. Unit rate 1
|  | HV Generation Intermittent | [10 empty] | ?? | ?? | [11 empty] | 1. Unit 1 2. Fixed charge p/MPAM/ day 3. Reactive Power Charge p/kVArh
|  | HV (Substation) Generation Intermittent | [10 empty] | ?? | ?? | [11 empty] | 1. Unit 1 2. Fixed charge p/MPAM/ day 3. Reactive Power Charge p/kVArh
|  | Grid Connected Generation Intermittent | [10 empty] | ?? | ??
Control Group - Customer types with no technology
Tidal Stream |  | LV Generation Non-Intermittent | [23 empty] | 1. Unit Rates 1, 2 & 3 (Red, Amber and Green)
|  | LV (Substation) Generation Non Intermittent | [23 empty] | 1. Unit Rates 1, 2 & 3 (Red, Amber and Green)
|  | HV Generation Non-Intermittent | [10 empty] | ?? | ?? | [11 empty] | 1. Unit 1 2. Fixed charge p/MPAM/ day 3. Reactive Power Charge p/kVArh
|  | HV (Substation) Generation Non Intermittent | [10 empty] | ?? | ?? | [11 empty] | 1. Unit Rates 1, 2 & 3 (Red, Amber and Green) 2. Fixed charge p/MPAM/ day 3. Reactive Power Charge p/kVArh
Grid Connected Generation Non Intermittent
|  | Control Group - Customer types with no technology | [23 empty] | 1. Unit rates 1 & 2 plus fixed charge
Tidal Barrage |  | HV Generation Non-Intermittent | [10 empty] | ?? | ?? | [11 empty] | 1. Unit 1 2. Fixed charge p/MPAM/ day 3. Reactive Power Charge p/kVArh
|  | HV (Substation) Generation Non Intermittent | [10 empty] | ?? | ?? | [11 empty] | 1. Unit Rates 1, 2 & 3 (Red, Amber and Green) 2. Fixed charge p/MPAM/ day 3. Reactive Power Charge p/kVArh
Grid Connected Generation Non Intermittent
|  | Control Group - Customer types with no technology | [23 empty] | 1. Unit rates 1 & 2 plus fixed charge
PV Individual |  | LV Generation Non Half Hourly | [23 empty] | 1. Unit rate 1
|  | LV (Substation) Non Half Hourly | [23 empty] | 1. Unit rate 1
|  | LV Generation Intermittent | [23 empty] | 1. Unit rate 1
|  | LV (Substation) Generation Intermittent | [23 empty] | 1. Unit rate 1
|  | Control Group - Customer types with no technology | [23 empty] | 1. Unit rate 1
PV Farm |  | HV Generation Intermittent | [23 empty] | 1. Unit 1 2. Fixed charge p/MPAM/ day 3. Reactive Power Charge p/kVArh
|  | HV (Substation) Generation Intermittent | [23 empty] | 1. Unit 1 2. Fixed charge p/MPAM/ day 3. Reactive Power Charge p/kVArh
Grid Connected Generation Intermittent
|  | Control Group - Customer types with no technology | [23 empty] | 1. Unit 1 2. Fixed charge p/MPAM/ day 3. Reactive Power Charge p/kVArh
Run of River Hydro |  | LV Generation Non Half Hourly | [23 empty] | 1. Unit rate 1
|  | LV (Substation) Non Half Hourly | [23 empty] | 1. Unit rate 1
|  | LV Generation Non-Intermittent | [23 empty] | 1. Unit Rates 1, 2 & 3 (Red, Amber and Green)
|  | LV (Substation) Generation Non Intermittent | [23 empty] | 1. Unit Rates 1, 2 & 3 (Red, Amber and Green)
|  | HV Generation Non-Intermittent | [23 empty] | 1. Unit 1 2. Fixed charge p/MPAM/ day 3. Reactive Power Charge p/kVArh
|  | HV (Substation) Generation Non Intermittent | [23 empty] | 1. Unit Rates 1, 2 & 3 (Red, Amber and Green) 2. Fixed charge p/MPAM/ day 3. Reactive Power Charge p/kVArh
|  | Control Group - Customer types with no technology | [23 empty] | 1. Unit rates 1 & 2 plus fixed charge
Pumped Hydro |  | HV Generation Intermittent | [23 empty] | 1. Unit 1 2. Fixed charge p/MPAM/ day 3. Reactive Power Charge p/kVArh
|  | HV (Substation) Generation Intermittent | [23 empty] | 1. Unit 1 2. Fixed charge p/MPAM/ day 3. Reactive Power Charge p/kVArh
Grid Connected Generation Intermittent
|  | Control Group - Customer types with no technology | [23 empty] | 1. Unit 1 2. Fixed charge p/MPAM/ day 3. Reactive Power Charge p/kVArh
Non Renewable Generation |  | LV Generation Non Half Hourly | [23 empty] | 1. Unit rate 1
|  | LV (Substation) Non Half Hourly | [23 empty] | 1. Unit rate 1
|  | LV Generation Non-Intermittent | [23 empty] | 1. Unit Rates 1, 2 & 3 (Red, Amber and Green)
|  | LV (Substation) Generation Non Intermittent | [23 empty] | 1. Unit Rates 1, 2 & 3 (Red, Amber and Green)
|  | HV Generation Non-Intermittent | [23 empty] | 1. Unit 1 2. Fixed charge p/MPAM/ day 3. Reactive Power Charge p/kVArh
|  | HV (Substation) Generation Non Intermittent | [23 empty] | 1. Unit Rates 1, 2 & 3 (Red, Amber and Green) 2. Fixed charge p/MPAM/ day 3. Reactive Power Charge p/kVArh
Grid Connected Generation Non Intermittent
|  | Control Group - Customer types with no technology | [23 empty] | 1. Unit rates 1 & 2 plus fixed charge
Non Renewable Generation | CHP | LV Generation Non Half Hourly | [23 empty] | 1. Unit rate 1
| CHP | LV (Substation) Non Half Hourly | [23 empty] | 1. Unit rate 1
| CHP | LV Generation Non-Intermittent | [23 empty] | 1. Unit Rates 1, 2 & 3 (Red, Amber and Green)
| CHP | LV (Substation) Generation Non Intermittent | [23 empty] | 1. Unit Rates 1, 2 & 3 (Red, Amber and Green)
| CHP | HV Generation Non-Intermittent | [23 empty] | 1. Unit 1 2. Fixed charge p/MPAM/ day 3. Reactive Power Charge p/kVArh
| CHP | HV (Substation) Generation Non Intermittent | [23 empty] | 1. Unit Rates 1, 2 & 3 (Red, Amber and Green) 2. Fixed charge p/MPAM/ day 3. Reactive Power Charge p/kVArh
| CHP | Grid Connected Generation Non Intermittent
|  | Control Group - Customer types with no technology | [23 empty] | 1. Unit rates 1 & 2 plus fixed charge