## Option 3
Smart grid option evaluation for Non-domestic customers
Customer Types | Assumptions on physical attributes of customer | Applicable Tariff | Supplier Commissioned Services |  |  |  | TSO Commissioned Services | [6 empty] | DNO Commissioned Services | [6 empty] | TO Commissioned Services | DECC Commissioned Services |  |  | Summary of the Opportunities and Risks for this customer type | Baseline Commercial/Subsidy Arrangements per customer type | Impact/Risks for the network in relation this Customer Type
| Assumptions on physical attributes of customer | Applicable Tariff | Triads Management (values vary by location; depends on supplier tarriff) | Supplier cost management (medium and short term) | Supplier imbalance management (short term pre- and post-gate closure) | Energy Efficiency | STOR (3MW minimum) | Fast Reserve | Frequency Response FFR (10 MW minimum) | Frequency Response FCDM (3 MW minimum) | Energy Efficiency | Reactive Power and Voltage Stabilisation | Black Start | Peak load management | Active Network Management | Post-fault | Energy Efficiency | Demand Side Response in return for Avoided Connection Charges | Reactive Power and Voltage Stabilisation | Black Start | Demand Side Response in return for Avoided Connection Charges | Demand-Side Balancing Reserve | Supplementary Balancing Reserve | Capacity Market |  | Baseline Commercial/Subsidy Arrangements per customer type | Impact/Risks of the Option X on Customer Type and the network | Key
Small Non Domestic Heat Pump | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >25kW 3)Customer may be owner-occupier or tenant | Small Non Domestic Unrestricted Small Non Domestic Two Rate Small Non Domestic Off Peak (related MPAN) | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rate 1 plus fixed charge |  | No Constraints
LV Medium Non Domestic Heat Pump | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >75kW 3)Customer may be owner-occupier or tenant | LV Medium Non-Domestic | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rates 1 & 2 plus fixed charge |  | Scale Constraint (Aggregated responses possible)
LV (Substation) Medium Non Domestic Heat Pump | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >300kW 3)Customer may be owner-occupier or tenant | LV Sub Medium Non-Domestic | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rates 1 & 2 plus fixed charge |  | Scale Constraint (No aggregation possible)
HV Medium Non Domestic Heat Pump | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >1MW 3)Customer may be owner-occupier or tenant | HV Medium Non-Domestic (preserved tariff) | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rates 1 & 2 plus fixed charge |  | Commercial Constraint e.g. credit rating, complex tender process
LV Half Hourly Non Domestic Heat Pump | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >300kW 3)Customer may be owner-occupier or tenant | LV HH Metered | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. 3 rate (Red, Amber and Green), Fixed Charge, Capacity Charge, Reactive Power, Excess capacity |  | Regulatory Constraint
HV Half Hourly Non Domestic Heat Pump | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >1MW 3)Customer may be owner-occupier or tenant | HV HH Metered | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. 3 rate (Red, Amber and Green), Fixed Charge, Capacity Charge, Reactive Power, Excess capacity |  | Physical/Technical Constraint
HV (Substation) Non Domestic Heat Pump | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >1MW 3)Customer may be owner-occupier or tenant | HV Sub HH Metered | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. 3 rate (Red, Amber and Green), Fixed Charge, Capacity Charge, Reactive Power, Excess capacity |  | Non Applicable
Small Non Domestic Heat Pump with storage | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >25kW 3)Customer may be owner-occupier or tenant | Small Non Domestic Unrestricted Small Non Domestic Two Rate Small Non Domestic Off Peak (related MPAN) | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rate 1 plus fixed charge
LV Medium Non Domestic Heat Pump with storage | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >25kW 3)Customer may be owner-occupier or tenant | LV Medium Non-Domestic | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rates 1 & 2 plus fixed charge
LV (Substation) Medium Non Domestic Heat Pump with storage | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >300kW 3)Customer may be owner-occupier or tenant | LV Sub Medium Non-Domestic | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rates 1 & 2 plus fixed charge
HV Medium Non Domestic Heat Pump with storage | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >1MW 3)Customer may be owner-occupier or tenant | HV Medium Non-Domestic (preserved tariff) | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rates 1 & 2 plus fixed charge
LV Half Hourly Non Domestic Heat Pump with storage | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >300W 3)Customer may be owner-occupier or tenant | LV HH Metered | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. 3 rate (Red, Amber and Green), Fixed Charge, Capacity Charge, Reactive Power, Excess capacity
HV Half Hourly Non Domestic Heat Pump with storage | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >1MW 3)Customer may be owner-occupier or tenant | HV HH Metered | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. 3 rate (Red, Amber and Green), Fixed Charge, Capacity Charge, Reactive Power, Excess capacity
HV (Substation) Non Domestic Heat Pump with storage | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >1MW 3)Customer may be owner-occupier or tenant | HV Sub HH Metered | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. 3 rate (Red, Amber and Green), Fixed Charge, Capacity Charge, Reactive Power, Excess capacity
Small Non Domestic Solar PV | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >25kW 3)Customer may be owner-occupier or tenant | Small Non Domestic Unrestricted Small Non Domestic Two Rate Small Non Domestic Off Peak (related MPAN) |  |  |  |  | Opportunity to look at in more detail - aggregate in a potfolio | [14 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rate 1 plus fixed charge
LV Medium Non Domestic Solar PV | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >25kW 3)Customer may be owner-occupier or tenant | LV Medium Non-Domestic | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rates 1 & 2 plus fixed charge
LV (Substation) Medium Non Domestic Solar PV | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >300kW 3)Customer may be owner-occupier or tenant | LV Sub Medium Non-Domestic | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rates 1 & 2 plus fixed charge
HV Medium Non Domestic Solar PV | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >1MW 3)Customer may be owner-occupier or tenant | HV Medium Non-Domestic (preserved tariff) | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rates 1 & 2 plus fixed charge
LV Half Hourly Non Domestic Solar PV | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >300W 3)Customer may be owner-occupier or tenant | LV HH Metered | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. 3 rate (Red, Amber and Green), Fixed Charge, Capacity Charge, Reactive Power, Excess capacity
HV Half Hourly Non Domestic Solar PV | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >1MW 3)Customer may be owner-occupier or tenant | HV HH Metered | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. 3 rate (Red, Amber and Green), Fixed Charge, Capacity Charge, Reactive Power, Excess capacity
HV (Substation) Non Domestic Solar PV | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >1MW 3)Customer may be owner-occupier or tenant | HV Sub HH Metered | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. 3 rate (Red, Amber and Green), Fixed Charge, Capacity Charge, Reactive Power, Excess capacity
Small Non Domestic Solar PV with storage | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >25kW 3)Customer may be owner-occupier or tenant | Small Non Domestic Unrestricted Small Non Domestic Two Rate Small Non Domestic Off Peak (related MPAN) |  |  |  |  | Dependent on the storage being sufficiently charged when needed | [14 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rate 1 plus fixed charge
LV Medium Non Domestic Solar PV with storage | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >25kW 3)Customer may be owner-occupier or tenant | LV Medium Non-Domestic |  |  |  |  | Dependent on the storage being sufficiently charged when needed | [14 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rates 1 & 2 plus fixed charge
LV (Substation) Medium Non Domestic Solar PV with storage | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >300kW 3)Customer may be owner-occupier or tenant | LV Sub Medium Non-Domestic |  |  |  |  | Dependent on the storage being sufficiently charged when needed | [14 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rates 1 & 2 plus fixed charge
HV Medium Non Domestic Solar PV with storage | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >1MW 3)Customer may be owner-occupier or tenant | HV Medium Non-Domestic (preserved tariff) |  |  |  |  | Dependent on the storage being sufficiently charged when needed | [14 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rates 1 & 2 plus fixed charge
LV Half Hourly Non Domestic Solar PV with storage | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >300W 3)Customer may be owner-occupier or tenant | LV HH Metered |  |  |  |  | Dependent on the storage being sufficiently charged when needed | [14 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. 3 rate (Red, Amber and Green), Fixed Charge, Capacity Charge, Reactive Power, Excess capacity
HV Half Hourly Non Domestic Solar PV with storage | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >1MW 3)Customer may be owner-occupier or tenant | HV HH Metered |  |  |  |  | Dependent on the storage being sufficiently charged when needed | [14 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. 3 rate (Red, Amber and Green), Fixed Charge, Capacity Charge, Reactive Power, Excess capacity
Hv(Substation) Non Domestic Solar PV with storage | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >1MW 3)Customer may be owner-occupier or tenant | HV Sub HH Metered |  |  |  |  | Dependent on the storage being sufficiently charged when needed | [14 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. 3 rate (Red, Amber and Green), Fixed Charge, Capacity Charge, Reactive Power, Excess capacity
Small Non Domestic Electric Vehicle charger - fast charge | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >25kW 3)Customer may be owner-occupier or tenant | Small Non Domestic Unrestricted Small Non Domestic Two Rate Small Non Domestic Off Peak (related MPAN) | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rate 1 plus fixed charge
LV Medium Non Domestic Electric Vehicle charger - fast charge | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >25kW 3)Customer may be owner-occupier or tenant | LV Medium Non-Domestic | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rates 1 & 2 plus fixed charge
LV (Substation) Medium Non Domestic Electric Vehicle charger - fast charge | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >300kW 3)Customer may be owner-occupier or tenant | LV Sub Medium Non-Domestic | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rates 1 & 2 plus fixed charge
HV Medium Non Domestic Electric Vehicle charger - fast charge | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >1MW 3)Customer may be owner-occupier or tenant | HV Medium Non-Domestic (preserved tariff) | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rates 1 & 2 plus fixed charge
LV Half Hourly Non Domestic Electric Vehicle charger - fast charge | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >300W 3)Customer may be owner-occupier or tenant | LV HH Metered | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. 3 rate (Red, Amber and Green), Fixed Charge, Capacity Charge, Reactive Power, Excess capacity
HV Half Hourly Non Domestic Electric Vehicle charger - fast charge | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >1MW 3)Customer may be owner-occupier or tenant | HV HH Metered |  |  |  |  | Needs to be half green and half orange - green where above the size threshold. Although I'm unclear whether you get Evs above 3MW | [14 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. 3 rate (Red, Amber and Green), Fixed Charge, Capacity Charge, Reactive Power, Excess capacity
HV (Substation) Non Domestic Electric Vehicle charger - fast charge | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >1MW 3)Customer may be owner-occupier or tenant | HV Sub HH Metered |  |  |  |  | Needs to be half green and half orange - green where above the size threshold. Although I'm unclear whether you get Evs above 3MW | [14 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. 3 rate (Red, Amber and Green), Fixed Charge, Capacity Charge, Reactive Power, Excess capacity
Small Non Domestic electric vehicle - slow charge | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >25kW 3)Customer may be owner-occupier or tenant | Small Non Domestic Unrestricted Small Non Domestic Two Rate Small Non Domestic Off Peak (related MPAN) | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rate 1 plus fixed charge
LV Non Domestic electric vehicle - slow charge | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >25kW 3)Customer may be owner-occupier or tenant | LV Medium Non-Domestic | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rates 1 & 2 plus fixed charge
LV (Substation) Non Domestic electric vehicle - slow charge | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >300kW 3)Customer may be owner-occupier or tenant | LV Sub Medium Non-Domestic LV Sub HH Metered | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rates 1 & 2 plus fixed charge
HV Non Domestic electric vehicle - slow charge | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >1MW 3)Customer may be owner-occupier or tenant | HV Medium Non-Domestic (preserved tariff) HV HH Metered | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rates 1 & 2 plus fixed charge
LV Half Hourly Non Domestic electric vehicle - slow charge | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >300W 3)Customer may be owner-occupier or tenant | LV HH Metered | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. 3 rate (Red, Amber and Green), Fixed Charge, Capacity Charge, Reactive Power, Excess capacity
HV Half Hourly Non Domestic electric vehicle - slow charge | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >1MW 3)Customer may be owner-occupier or tenant | HV HH Metered |  |  |  |  | Needs to be half green and half orange - green where above the size threshold. Although I'm unclear whether you get Evs above 3MW | [14 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. 3 rate (Red, Amber and Green), Fixed Charge, Capacity Charge, Reactive Power, Excess capacity
HV (Substation) Non Domestic electric vehicle - slow charge | 1) Nominal capacity threshold of xxx 2) Physical capacity c. >1MW 3)Customer may be owner-occupier or tenant | HV Sub HH Metered |  |  |  |  | Needs to be half green and half orange - green where above the size threshold. Although I'm unclear whether you get Evs above 3MW | [14 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. 3 rate (Red, Amber and Green), Fixed Charge, Capacity Charge, Reactive Power, Excess capacity
Non Domestic Micro Combined Heat and Power (CHP) | 1) Max XXX kW electrical power output 2)"generate-and-resell" or net metering model (building-generated power exceeding the building needs is sold back to the electricity supplier) 3)Customer may be owner-occupier or tenant | Small Non Domestic Unrestricted Small Non Domestic Two Rate Small Non Domestic Off Peak (related MPAN) | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rate 1 plus fixed charge
LV Medium Non Domestic Micro Combined Heat and Power (CHP) | 1) Max XXX kW electrical power output 2)"generate-and-resell" or net metering model (building-generated power exceeding the building needs is sold back to the electricity supplier) 3)Customer may be owner-occupier or tenant | LV Medium Non-Domestic | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rates 1 & 2 plus fixed charge
LV (Substation) Medium Non Domestic Micro Combined Heat and Power (CHP) | 1) Max XXX kW electrical power output 2)"generate-and-resell" or net metering model (building-generated power exceeding the building needs is sold back to the electricity supplier) 3)Customer may be owner-occupier or tenant | LV Sub Medium Non-Domestic | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rates 1 & 2 plus fixed charge
HV Medium Non Domestic Micro Combined Heat and Power (CHP) | 1) Max XXX kW electrical power output 2)"generate-and-resell" or net metering model (building-generated power exceeding the building needs is sold back to the electricity supplier) 3)Customer may be owner-occupier or tenant | HV Medium Non-Domestic (preserved tariff) | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rates 1 & 2 plus fixed charge
LV Half Hourly Non Domestic Micro Combined Heat and Power (CHP) | 1) Max XXX kW electrical power output 2)"generate-and-resell" or net metering model (building-generated power exceeding the building needs is sold back to the electricity supplier) 3)Customer may be owner-occupier or tenant | LV HH Metered | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. 3 rate (Red, Amber and Green), Fixed Charge, Capacity Charge, Reactive Power, Excess capacity
HV Half Hourly Non Domestic Micro Combined Heat and Power (CHP) | 1) Max XXX kW electrical power output 2)"generate-and-resell" or net metering model (building-generated power exceeding the building needs is sold back to the electricity supplier) 3)Customer may be owner-occupier or tenant | HV HH Metered |  |  |  |  | Needs to be half green and half orange - green where above the size threshold | [14 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. 3 rate (Red, Amber and Green), Fixed Charge, Capacity Charge, Reactive Power, Excess capacity
HV(Substation) Non Domestic Micro Combined Heat and Power (CHP) | 1) Max XXX kW electrical power output 2)"generate-and-resell" or net metering model (building-generated power exceeding the building needs is sold back to the electricity supplier) 3)Customer may be owner-occupier or tenant | HV Sub HH Metered |  |  |  |  | Needs to be half green and half orange - green where above the size threshold | [14 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. 3 rate (Red, Amber and Green), Fixed Charge, Capacity Charge, Reactive Power, Excess capacity
Non Domestic Off Peak with storage heater | 1) Customer may have no access to gas/building type restriction 2)Customer may be owner-occupier or tenant | Small Non Domestic Two Rate Small Non Domestic Off Peak (related MPAN) |  |  |  |  | All about managing the peak | Requirement across all of the day. Greater volumes and more value over the peak | [13 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rate 1 plus fixed charge
LV Medium Non Domestic Off Peak with storage heater | 1) Customer may have no access to gas/building type restriction 2)Customer may be owner-occupier or tenant | LV Medium Non-Domestic |  |  |  |  | All about managing the peak | Requirement across all of the day. Greater volumes and more value over the peak | [13 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rates 1 & 2 plus fixed charge
LV (Substation) Medium Non Domestic Off Peak with storage heater | 1) Customer may have no access to gas/building type restriction 2)Customer may be owner-occupier or tenant | LV Sub Medium Non-Domestic |  |  |  |  | All about managing the peak | Requirement across all of the day. Greater volumes and more value over the peak | [13 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rates 1 & 2 plus fixed charge
HV Medium Non Domestic Off Peak with storage heater | 1) Customer may have no access to gas/building type restriction 2)Customer may be owner-occupier or tenant | HV Medium Non-Domestic (preserved tariff) |  |  |  |  | All about managing the peak | Requirement across all of the day. Greater volumes and more value over the peak | [13 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rates 1 & 2 plus fixed charge
Non Domestic Energy Efficient Customer | 1)Assume customer uses gas to building 2)Assume that energy efficiency measures are buiding related i.e. Insulation as opposed to appliance related 3)Customer may be owner-occupier or tenant | Small Non Domestic Unrestricted Small Non Domestic Two Rate Small Non Domestic Off Peak (related MPAN) | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rate 1 plus fixed charge
LV Medium Non Domestic Energy Efficient Customer | 1)Assume customer uses gas to building 2)Assume that energy efficiency measures are buiding related i.e. Insulation as opposed to appliance related 3)Customer may be owner-occupier or tenant | LV Medium Non-Domestic | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rates 1 & 2 plus fixed charge
LV (Subsstation) MediumNon Domestic Energy Efficient Customer | 1)Assume customer uses gas to building 2)Assume that energy efficiency measures are buiding related i.e. Insulation as opposed to appliance related 3)Customer may be owner-occupier or tenant | LV Sub Medium Non-Domestic | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rates 1 & 2 plus fixed charge
HV MediumNon Domestic Energy Efficient Customer | 1)Assume customer uses gas to building 2)Assume that energy efficiency measures are buiding related i.e. Insulation as opposed to appliance related 3)Customer may be owner-occupier or tenant | HV Medium Non-Domestic (preserved tariff) | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. Unit rates 1 & 2 plus fixed charge
HV MediumNon Domestic Energy Efficient Customer | 1)Assume customer uses gas to building 2)Assume that energy efficiency measures are buiding related i.e. Insulation as opposed to appliance related 3)Customer may be owner-occupier or tenant | HV Medium Non-Domestic (preserved tariff) | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. 3 rate (Red, Amber and Green), Fixed Charge, Capacity Charge, Reactive Power, Excess capacity
HV Non Domestic Energy Efficient Customer | 1)Assume customer uses gas to building 2)Assume that energy efficiency measures are buiding related i.e. Insulation as opposed to appliance related 3)Customer may be owner-occupier or tenant | HV Medium Non-Domestic (preserved tariff) | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. 3 rate (Red, Amber and Green), Fixed Charge, Capacity Charge, Reactive Power, Excess capacity
HV(Substation) Non Domestic Energy Efficient Customer | 1)Assume customer uses gas to building 2)Assume that energy efficiency measures are buiding related i.e. Insulation as opposed to appliance related 3)Customer may be owner-occupier or tenant | HV Sub HH Metered | [19 empty] | Not offered a view as just for two years | Not offered a view as just for two years |  |  | 1. 3 rate (Red, Amber and Green), Fixed Charge, Capacity Charge, Reactive Power, Excess capacity
Control Group - Customer types with no technology | [21 empty] | Not offered a view as just for two years | Not offered a view as just for two years
Note on G5: Paul Bircham: limited packages available from suppliers at current time
Note on H5: Paul Bircham: no supplier offers a suitable tariff package yet
Note on R5: Paul Bircham: Without smart meters need half hourly metering
Note on S5: Paul Bircham: Domestic customers would require aggregation to provide viable service to DNOs
Note on U5: Paul Bircham: these customers will not face connection charges for their new technologies
Note on V9: Paul Bircham: Not possible if not HV connected
Note on V53: Paul Bircham: Micro CHP has no reactive power generation capability