**Table Appended to Question 41.**

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | **Estimated length (m) of below ground pipework, Estimated Complex below ground Pipework & Estimated below ground Complex features** | | | | | | | | |
| **Pipe Nominal Diameter** | **Bacton** | | | **Hatton** | | | **Lupton** | | |
|  | Below Ground Pipework | Below ground  Complex Pipework | Below ground  Complex features | Below Ground Pipework | Below ground  Complex Pipework | Below ground  Complex features | Below Ground Pipework | Below ground  Complex Pipework | Below ground  Complex features |
| 150mm (6”) | 540 | 490 | 110 | 0 | 0 | 0 | 0 | 0 | 0 |
| 200mm (8”) | 175 | 160 | 35 | 0 | 0 | 0 | 15 | 12 | 3 |
| 300mm (12”) | 490 | 440 | 100 | 60 | 45 | 9 | 15 | 12 | 3 |
| 450mm (18”) | 130 | 120 | 30 | 20 | 15 | 3 | 45 | 15 | 3 |
| 600mm (24”) | 3200 | 2900 | 640 | 0 | 0 | 0 | 0 | 0 | 0 |
| 750mm (30”) | 220 | 200 | 45 | 140 | 85 | 20 | 0 | 0 | 0 |
| 900mm (36”) | 3080 | 2800 | 630 | 410 | 300 | 70 | 175 | 130 | 30 |
| 1050mm (42”) | 190 | 170 | 40 | 300 | 200 | 45 | 230 | 170 | 40 |