## Appendix A kVA revised
High Voltage
Capacity released (MVA)
| Scale | Method | Method | Base Case Cost | Benefit |  |  | Notes | Cross-references
|  |  | Cost |  | 2020 | 2030 | 2050
| Post-trial solution (individual deployment) | Trial 1 | 23 | 23 | 23 | 23 | 23 | See explanation above and assumptions stated below | Appendix A2
|  | Trial 2 | 23 | 23 | 23 | 23 | 23
|  | Trial 3 | 23 | 23 | 23 | 23 | 23
| Licensee scale | Trial 1 | 23 | 23 | 667 | 1794 | 3726 | 29 | See explanation above and assumptions stated below
| If applicable, indicate the number of relevant sites on the Licensees’ network. | Trial 2 | 23 | 23 | 667 | 1794 | 3726 | 78
|  | Trial 3 | 23 | 23 | 667 | 1794 | 3726 | 162
| GB rollout scale | Trial 1 | 23 | 23 | 9752 | 23690 | 49013 | 424 | See explanation above and assumptions stated below
| If applicable, indicate the number of relevant sites on the GB network. | Trial 2 | 23 | 23 | 9752 | 23690 | 49013 | 1030
|  | Trial 3 | 23 | 23 | 9752 | 23690 | 49013 | 2131
Extra High Voltage
Capacity released (MVA)
| Scale | Method | Method | Base Case Cost | Benefit |  |  | Notes | Cross-references
|  |  | Cost |  | 2020 | 2030 | 2050
| Post-trial solution (individual deployment) | Trial 1 | 90 | 90 | 90 | 90 | 90 | See explanation above and assumptions stated below | Appendix A2
|  | Trial 2 | 90 | 90 | 90 | 90 | 90
|  | Trial 3 | 90 | 90 | 90 | 90 | 90
| Licensee scale | Trial 1 | 90 | 90 | 450 | 810 | 2070 | 5 | See explanation above and assumptions stated below
| If applicable, indicate the number of relevant sites on the Licensees’ network. | Trial 2 | 90 | 90 | 450 | 810 | 2070 | 9
|  | Trial 3 | 90 | 90 | 450 | 810 | 2070 | 23
| GB rollout scale | Trial 1 | 90 | 90 | 6030 | 10890 | 27900 | 67 | See explanation above and assumptions stated below
| If applicable, indicate the number of relevant sites on the GB network. | Trial 2 | 90 | 90 | 6030 | 10890 | 27900 | 121
|  | Trial 3 | 90 | 90 | 6030 | 10890 | 27900 | 310