*Innovation Competitions - Full Submission*

*Supplementary Answer Form*

Tick if this answer has been provided verbally:

|  |  |  |  |
| --- | --- | --- | --- |
| Project code | ENWT206 | Question Number | Q23 |
| Question date | 31 July 2014 | Answer date | 4 August 2014 |
| Submission section question relates to | Appendix D | | |
| Topic | Risks | | |
| Question | Are there any regulatory concerns regarding the use of Is-limiters? | | |
| Notes on question |  | | |
| Answer | Other than the known issues, described within the PB Report from 2004, we are unaware of any other regulatory concerns with the use of IS-limiters in UK distribution networks; and as part of the development of the FLARE Project we have discussed with the Health and Safety Executive the scope and use of IS-limiters within the FLARE Project. | | |
| Attachments |  | | |