*Innovation Competitions - Full Submission*

*Supplementary Answer Form*

Tick if this answer has been provided verbally:

|  |  |  |  |
| --- | --- | --- | --- |
| Project code | ENWT206 | Question Number | Q4 |
| Question date | 31 July 2014 | Answer date | 4 August 2014 |
| Submission section question relates to | Section 2 Project Description | | |
| Topic | NMS Software | | |
| Question | 2.2 – Network Management, Pg 9  NMS Software  What modifications are required to be made to the NMS? | | |
| Notes on question |  | | |
| Answer | The modifications required to our existing NMS includes:   * the creation of new symbology to display the Is-limiter and the Adaptive Protection relays for distribution networks and the FCL service; * the creation of the enable / disable functionalities; * the creation of new substations and communications routes to customers’ premises for the FCL service; * the capability to transfer data and commands from the Fault Level Assessment Tool to NMS via an ICCP; * the capability to transfer data and commands from the NMS to the correct devices on the network. | | |
| Attachments |  | | |