## Minded to Decision
Assignment of CACM obligations to GB TSOs
Ofgem minded to decision 20150325
*Indicates owner of an OFTOs (see Annex 1 for a list of individual OFTO licenses)
| Section | Description | Article | NGET | SHETL | SPT | NGIC | Britned | EirGrid Interconnector Limited | Moyle Interconnector Limited | Analysis
| General Provisions | Recitals | n/a | [7 empty] | No obligations for TSOs: We currently don't consider that these articles put direct obligations on TSOs.
| General Provisions | Subject Matter and Scope | 1 | [7 empty] | No obligations for TSOs: We currently don't consider that these articles put direct obligations on TSOs.
| General Provisions | Definitions | 2 | ü | ü | ü | ü | ü | ü | ü | CACM Regulation provision applicable to all TSOs
| General Provisions | Objectives of Capacity Calculation and Congestion Management Cooperation | 3 | ü | ü | ü | ü | ü | ü | ü | CACM Regulation provision applicable to all TSOs
| General Provisions | NEMOs designation and revocation of the designation | 4 | [7 empty] | No obligations for TSOs: We currently don't consider that these articles put direct obligations on TSOs.
| General Provisions | NEMOs designation in case of a national legal monopoly for trading services | 5 | [7 empty] | No obligations for TSOs: We currently don't consider that these articles put direct obligations on TSOs.
| General Provisions | NEMO Designation Criteria | 6 | [7 empty] | No obligations for TSOs: We currently don't consider that these articles put direct obligations on TSOs.
| General Provisions | NEMO Tasks | 7 | [7 empty] | No obligations for TSOs: We currently don't consider that these articles put direct obligations on TSOs.
| General Provisions | TSOs' tasks related to Single Day Ahead and Intraday Coupling | 8 (1) | ü | ü | ü | ü | ü | ü | ü | All TSO Obligation: Our view is that all TSOs play a role in both single day-ahead and single intraday coupling as set out in the TSO tasks because they will be required at a minmum to provide data and comply with the methodologies in the future.
|  |  | 8(2) | ü | ü | ü | ü | ü | ü | ü | CACM Regulation provision applicable to all TSOs: We consider that Article 8(2) cross references to all TSO tasks which have individual TSO obligations.
| General Provisions | Adoption of Terms Conditions and Methodologies | 9 | ü | ü | ü | ü | ü | ü | ü | CACM Regulation provision applicable to all TSOs: Confirms that a TSO and NEMO obligation will be developing methodologies and sets out the voting process to be applied (and lists exclusions to this process). It includes the process which will be followed if the TSOs fail to submit a methodology within the prescribed time, what should be included in the methodology and which entities will approve which methodology. We consider that this article cross references to TSO tasks which have individual TSO obligations.
| General Provisions | Day-to-Day Management of Single Day Ahead and Intraday Coupling | 10 | ü | ü | ü | ü | ü | ü | ü | Onshore TO and IC obligation: Our view is that onshore TOs and ICs play a role in the day to day running of single intraday and single day ahead coupling because these arrangements do not exist as yet and we see no reason to restrict potential TSO involvement.
| General Provisions | Stakeholder Involvement | 11 | [7 empty] | No obligations for TSOs: We currently don't consider that these articles put direct obligations on TSOs.
| General Provisions | Consultation | 12 | ü | ü | ü | ü | ü | ü | ü | CACM Regulation provision applicable to all TSOs: All TSOs need to folllow the consultative process set out in this article.
| General Provisions | Confidentiality Obligations | 13 | ü | ü | ü | ü | ü | ü | ü | CACM Regulation provision applicable to all TSOs: TSOs must adhere to the confidentiality obligations as set out in this article when dealing with data.
| Capacity Calculation | Capacity Calculation Timeframes | 14 | ü | ü | ü | ü | ü | ü | ü | CACM Regulation provision applicable to all TSOs: Calculation of the individual values for cross-zonal capacity for both the DA and ID market time frames. Recalculation of the ID timeframe to take into consideration efficiency and operational security by all TSOs. All TSOs need to follow the process set out in this article.
| Capacity Calculation | Capacity Calculation Regions (CCR) | 15 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: We consider that all TSOs should have the opportunity to develop a common proposal regarding the determination of capacity calculation regions because all TSOs will belong to a CCR.
| Capacity Calculation | Generation and Load Data Provision Methodology | 16 | ü | ü | ü |  |  |  |  | Onshore TO and OFTO obligation: We consider that since these TSOs will provide the data, they should have the opportunity to have a say in working out the methodology. ICs do not provide generation or load data.
| Capacity Calculation | Common Grid Model Methodology | 17 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: We consider that since all TSOs will provide the data, they should have the opportunity to contribute to the development of the methodology.
| Capacity Calculation | Scenarios | 18 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: We consider that since these scenarios plan for different situations for each capacity calculation timeframe. All TSOs should have the opportunity to be able to jointly develop the common scenarios for the common grid model because they will then be expected to provide data input for these different scenarios.
| Capacity Calculation | Individual Grid Model | 19 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: Individual grid models to be developed for each scenario in Article 18. We consider that all TSOs should have the opportunity of playing a role here due to data requirements and potential involvement in developing Scenarios (Article 18).
| Capacity Calculation | Introduction of flow based capacity calculation methodology | 20 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: 10 months after the approval of the Capacity Calculation Region proposal (Article 15), all GB TSOs to submit a proposal for a common coordinated capacity calculation methodology. We consider all TSOs have a role to play in calculating cross zonal capacity since TSOs will provide the data, they should have the opportunity to contribute to the development of the methdology.
| Capacity Calculation | Capacity Calculation Methodology | 21 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: The methodology for each timeframe must include methodologies for determining the reliability margin (Article 22), operational security limits relevant to capacity calculation and allocation constraints (Article 23), generation shift keys (Articles 24) and remedial actions (Article 25). We consider all TSOs have a role to play in calculating cross zonal capacity, since TSOs will provide the data, they should have the opportunity to contribute to the development of the methdology.
| Capacity Calculation | Reliability Margin Methodology | 22 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: Calculation of the reliability margin by calculating the probability distribution of the deviations between the expected power flows at the time of the capacity calculations and realised power flows in real time, specifying the uncertainties to be taken into account in the calculation. We consider all TSOs have a role to play in calculating cross zonal capacity, since TSOs will provide the data, they should have the opportunity to contribute to the development of the methodology.
| Capacity Calculation | Methodologies for Operational Security Limits, Contingencies and Allocation Constraints | 23 | ü | ü | ü | ü | ü | ü | ü | CACM Regulation provision applicable to all TSOs: All TSOs to respect the operational security limits and contingencies used in oeprational security analysis. All TSOs need to follow the process set out in this article.
| Capacity Calculation | Generation Shift Keys Methodologies | 24 | ü | ü | ü |  |  |  |  | Onshore TO and OFTO obligation: We consider that since these TSOs will provide the data, they should have the opportunity to contribute to the development of the methodology. ICs do not provide generation load data.
| Capacity Calculation | Methodology for Remedial Security Action in Capacity Calculation | 25 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: All TSOs in a CCR to define the available remedial actions, coordinate the use of and agree on those actions that require the action of more than one TSO. We consider that all TSOs have a role in defining available remedial actions because they will be required to provide data and comply with the methodologies in the future.
| Capacity Calculation | Cross Zonal Capacity Validation Methodology | 26 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: Our view is that all TSOs have a role in validating capacity as the validation will determine each TSOs capacity in the future.
| Capacity Calculation | General Provisions: Establishment of a European Merging Function and Establishment of a Coordinated Capacity Calculator | 27 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: Organising of the process to merge the individual grid models, inlcuding setting up the coordinated capacity calculators and establishing rules governing their operations. We consider that this article is applicable to all TSOs as it is unclear at this point in time as to who will perform the role of Coordinated Capacity Calculator.
| Capacity Calculation | Creation of a Common Grid Model | 28 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: linked to data provided by Articles 14, 16, 18 and 19. For each capacity calculation timeframe a single, Union-wide common grid model shall be created for each scenario (article 18) by merging inputs from all TSOs applying the capacity calculation process (Europe wide). We believe that all TSOs will have a role to play in this process due to their need to provide data.
| Capacity Calculation | Regional Calculation of Cross Zonal Capacity | 29 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: We consider that all TSOs have a role to play as there is a data requirement. The Article also sets out tasks for each coordinated capacity calculator, which have not yet been determined.
| Capacity Calculation | Validation and Delivery of Cross Zonal Capacity | 30 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: We consider that each TSO should have a role in validating capacity because the validation will determine each TSOs capacity.
| Capacity Calculation | Biennial Report on Capacity Calculation and Allocation | 31 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: ENTSOE to draft a Biennial report on capacity calculation and allocation based upon a minimum set of criteria. Our view is that all TSOs will be required to provide input.
| Capacity Calculation | Reviewing Existing Bidding Zone Configuration | 32 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: Can be launched by the Agency, several regulatory authorities, TSOs of a capacity calculation region or member states in a capacity calculation region. An individual TSO (with regulatory authority approval) or individual regulatory authority under certain circumstances can also launch a review. We consider there no reason to limit the specific TSOs that may be involved in launching a review.
| Capacity Calculation | Criteria for Reviewing Bidding Zone Configurations | 33 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: The review must include network security, overall market efficiency and the stability and robustness of bidding zones. We consider that this is applicable to all TSOs because any TSO can trigger a bidding zone review.
| Capacity Calculation | Regular Reporting on current Bidding Zone Configuration by ENTSO-E and ACER | 34 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: ENTSOE to draft a technical report on current bidding zone conifguration every three years which will include a list of structural congestion (including locations and frequency), an analysis of the expected evolution or removal of physical congestion, congestion incomes and firmness costs. We consider that this article is applicable to all TSOs as they may be required to provide data and analysis to allow the technical report to be produced in a timely manner.
| Capacity Calculation | Coordinated Redispatching and Countertrading | 35 | ü | [6 empty] | SO obligation: After the regulatory approval on CCRs, TSOs to develp a proposal for a common methodology for coordinated redispatching and countertrading which will allow TSOs to relieve physical congestion. We consider that it is the responsibility of the SO to balance the network so it is not appropriate for other TSOs to be involved in redispatching and countertrading.
| Capacity Calculation | General Provisions - All NEMO back up procedures | 36 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: By entry into force of this regualtion, all NEMOs shall in cooperation with TSOs develop a proposal for a back up methodology to comply with the obligations set out in Articles 39 and 52 respectively. We consider this article should apply to all TSOs because NEMOs may require cooperation by all TSOs in developing this methodology.
| Day Ahead and Intraday | Price Coupling Algorithm Development and Continuous Trading Matching Algorithm Development | 37 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: Link to capacity allocation articles (22,23,24 and 25) TSOs to provide all NEMOs with a proposal for a common set of requirements for efficient capacity allocation to enable the development of the price coupling algorithm and of the continuous trading matching algorithm. We consider that all TSOs should have the opportunity to be included in the development of this proposal asTSOs will have an ongoing role to play when the algortihm becomes operational.
| Day Ahead | Objectives of the Price Coupling Algorithm | 38 | [7 empty] | No obligations for TSOs: We currently don't consider that these articles put direct obligations on TSOs.
| Day Ahead | Inputs and Results of the Price Coupling Algorithm | 39 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: To produce results, the price coupling algorithm shall use the established allocation constraints, cross-zonal capacity results and orders submitted. We consider this to be an all TSO obligation due to data input required by TSOs.
| Day Ahead | Products Accommodated | 40 | [7 empty] | No obligations for TSOs: We currently don't consider that these articles put direct obligations on TSOs.
| Day Ahead | Maximum and Minimum Prices | 41 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: All NEMOs shall, in cooperation with the relevant TSOs, develop a proposal on harmonised maximum and minimum clearing prices to be applied in all bidding zones which participate in DA coupling and will take into account an estimation of the value of lost load. We consider this article should apply to all TSOs because NEMOs may require cooperation by all TSOs to develop this proposal.
| Day Ahead | Pricing of Day Ahead Cross Zonal Capacity | 42 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: We consider that this provision applies to all TSOs as 42(2) places restrictions on additional fees and charges.
| Day Ahead | Methodology for Calculating Scheduled Exchanges Resulting from Single Day Ahead Coupling | 43 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: TSOs which intend to calculate scheduled exchanges resulting from DA coupling shall develop a common proposal for a common methodology for this calculation. Once approved by the regulatory authorities, the methodology can be reviewed every two years upon request by the regulatory authorities. We consider that this article is applicable to all TSOs as it is unclear at this point in time as to who will perform the role of scheduled exchange operator.
| Day Ahead | Establishment of Fallback Procedures | 44 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: All TSOs in a capacity calculation regioin shall develop a proposal for a robust and timely fallback procedure in the event that the DA process does not produce results. We consider that all TSOs have a role in establishing and performing fallback procedures as all TSOs may need to apply them at some point in the future.
| Day Ahead | Arrangements Concerning more than one NEMO in one Bidding Zone and for Interconnectors which are not Certified | 45 | ü | ü | ü | ü | ü | ü | ü | Onshore TO and IC obligation: Develop a proposal for cross-zonal capacity allocation and other necessary arrangements in such a way as to allow additional TSOs and NEMOs to be able to join in the future. We consider that onshore TOs and ICs will have a role in ensuring the efficiency of the arrangements if there are two or more NEMOs because it will impact on their arrangements for cooperation.
| Day Ahead | Provision of Input Data | 46 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: Each coordinated capacity calculator shall ensure that cross-zonal capacity allocation constraints shall be provided to relevant NEMOs in time to ensure the publication to the market no later than 11:00 market time for DA. When unable to keep to this deadline, the relevant NEMOs should be notified and the information provided no later than 30 minutes before gate closure time. Our view is that we do not know as yet which TSOs will be the co-ordinated capacity calculator and so at this point, this article is applicable to all.
| Day Ahead | Operation of the Single Day Ahead Coupling | 47 | [7 empty] | No obligations for TSOs: We currently don't consider that these articles put direct obligations on TSOs.
| Day Ahead | Delivery of Results | 48 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: (linked to Article 39) TSOs to verify that the single day ahead coupling results of the DA price coupling algorithm have been calculated in accordance with the allocation constraints and validated cross-zonal capacity. We consider that all TSOs have a role in validating capacity as the validation will determine each TSOs capacity in the future.
| Day Ahead | Calculation of Scheduled Exchanges resulting from the Single Day Ahead Coupling | 49 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: Linked to Article 43. Scheduled exchange calculator shall calculate scheduled exchanges between bidding zones for each market time unit and notify the relevant NEMOs, central counter parties, shipping agents and TSOs of the agreed scheduled exchanges. Our view is that we do not know as yet which TSOs will be the scheduled exchange calculator and so at this point, this article is applicable to all.
| Day Ahead | Initiation of Fallback Procedures | 50 | [7 empty] | No obligations for TSOs: We currently don't consider that these articles put direct obligations on TSOs.
| Intraday | Objectives of the Continuous Trading Matching Algorithm | 51 | [7 empty] | No obligations for TSOs: We currently don't consider that these articles put direct obligations on TSOs.
| Intraday | Results of the Continuous Trading Matching Algorithm | 52 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: TSOs to verify that the results of the continuous trading matching algorithm are consistent with cross-zonal capacity and allocation constraints. Our view is that all TSOs have a role in validating capacity as the validation will determine each TSOs capacity in the future.
| Intraday | Products Accomodated | 53 | [7 empty] | No obligations for TSOs: We currently don't consider that these articles put direct obligations on TSOs.
| Intraday | Maximum and Minimum Prices | 54 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: All NEMOs shall, in cooperation with the relevant TSOs, develop a proposal on harmonised maximum and minimum clearing prices to be applied in all bidding zones with participate in DA coupling and will take into account an estimation of the value of lost load. We consider this article should apply to all TSOs because NEMOs may require cooperation by all TSOs to develop this proposal.
| Intraday | Pricing of Intraday Capacity | 55 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: All TSOs must develop a proposal for intraday cross zonal capacity. No charges such as imbalance fees or additional fees shall be applied. We consider that all TSOs should have the opportunity of developing this proposal as the article provides the opportunity for all TSOs to contribute and we see no reason to restrict potential TSO involvement.
| Intraday | Methodology for Calculating Scheduled Exchanges Resulting from Single Intraday Coupling | 56 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: TSOs which intend to calculate scheduled exchanges resulting from ID coupling shall develop a common proposal for a common methodology for this calculation. Once approved by the regulatory authorities, the methodology can be reviewed every two years upon request by the regulatory authorities. Our view is that this article is applicable to all TSOs as it is unclear at this point in time as to who will perform the role of scheduled exchange operator.
| Intraday | Arrangements Concerning more than one NEMO in one Bidding Zone and for Interconnectors which are not Certified | 57 |  |  |  | ü | ü | ü | ü | Onshore TO and IC obligation: Develop a proposal for cross-zonal capacity allocation and other necessary arrangements in such a way as to allow additional TSOs and NEMOs to be able to join in the future. We consider that onshore TOs and ICs will have a role in ensuring the efficiency of the arrangements if there are two or more NEMOs because it will impact on their arrangements for cooperation.
| Intraday | Provision of Input Data | 58 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: Each coordinated capacity calculator shall ensure that cross-zonal capacity allocation constraints shall be provided to relevant NEMOs no later than 15 minutes before ID cross-zonal gate opening time. When unable to keep to this deadline, the relevant NEMOs shall be notified and a notice published for all market participants by the NEMOs. Our view is that we do not know as yet which TSOs will be the co-ordinated capacity calculator and so at this point, this article is applicable to all.
| Intraday | Operation of the Single Intraday Coupling | 59 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: TSOs responsible for proposing the ID cross-zonal gate opening and ID cross-zonal gate closure times. The ID cross-zonal gate closure time shall provides TSOs and market participants with sufficient time for their scheduling and balancing processes in relation to network and operational security. Our view is that all TSOs play a role in single intraday coupling as set out in the TSO tasks.
| Intraday | Delivery of Results | 60 | [7 empty] | No obligations for TSOs: We currently don't consider that these articles put direct obligations on TSOs.
| Intraday | Calculation of Scheduled Exchanges resulting from the Single Intraday Coupling | 61 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: Our view is that this article is applicable to all TSOs as it is unclear at this point in time as to who will perform the role of scheduled exchange operator.
| Intraday | Publication of Market Information | 62 | [7 empty] | No obligations for TSOs: We currently don't consider that these articles put direct obligations on TSOs.
| Intraday | Complementary Regional Auctions | 63 |  |  |  | ü | ü | ü | ü | IC obligation: NEMOs and TSOs on bidding zone borders may jointly submit a common proposal fro the design and implementation of complementary regional ID auctions. These may occur within or between bidding zones in addition to the single ID coupling solution referred to in Article 51. We consider that ICs will be the only interested TSOs in this proposal. All other TSOs will have the opportunity to express views through the consultation requirement.
| Transitional Arrangements | Provisions relating to Explicit Allocation | 64 |  |  |  | ü | ü | ü | ü | IC obligation: Where jointly requested by regulatory authorities in each of the bidding zone borders concerned, the TSOs shall also provide explicit allocation, in addition to implicit allocation through jointly developing a proposal on the conditions that shall be fulfilled by market participants to participate in explicit allocation. We consider that ICs will be the only interested TSOs in this proposal, the regulatory authorities may include a consultation as part of their process.
| Transitional Arrangements | Removal of Explicit Allocation | 65 |  |  |  | ü | ü | ü | ü | IC obligation: NEMOs to cooperate closely with TSOs concerned and consult with market participants in order to translate the needs of the market participants linked to explicit capacity allocation rights into non standard ID products. We consider that ICs will be the only interested TSOs in developing this proposal. All other TSOs will have the opportunity to express views through the consultation requirement.
| Transitional Arrangements | Provisions relating to Intraday Arrangements | 66 |  |  |  | ü | ü | ü | ü | IC obligation: TSOs to publish the relevant information on the interconnections to which explicit allocation is applicable, including the cross-zonal capacity for explicit allocation. We consider that ICs will be the only applicable TSOs for this article.
| Transitional Arrangements | Explicit Requests for Capacity | 67 |  |  |  | ü | ü | ü | ü | IC obligation: When a market participant submits the volume and the price to the capacity management module on an interconnection where explicit allocation is applicable, the relevant TSO must make this information publicly available. We consider that this article is only applicable to ICs because it is only ICs who will deal in explicit cross-zonal capacity.
| Clearing and Settlement for Day Ahead and Intraday Coupling | Clearing and Settlement | 68 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: Our view is that this is applicable to all since TSOs can be a shipping agent.
| Firmness of Allocated Cross Zonal Capacity | Proposal for Day Ahead Firmness Deadline | 69 |  |  |  | ü | ü | ü | ü | IC obligation: TSOs to develop a common proposal for a single day ahead firmness deadline. We consider this an IC obligation as firmness refers to IC capacity only.
| Firmness of Allocated Cross Zonal Capacity | Firmness of Day Ahead Capacity and Allocation Constraints | 70 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: Prior to the DA firmness deadline, each coordinated capacity calculator may adjust cross-zonal capacity and allocation constraints provided to relevant NEMOs. Our view is that we do not know as yet which TSOs will be the co-ordinated capacity calculator and so at this point, this article is applicable to all.
| Firmness of Allocated Cross Zonal Capacity | Firmness of Intraday Capacity | 71 |  |  |  | ü | ü | ü | ü | IC obligation: Cross zonal ID capacity shall be firm as soon as it is allocated. We consider this an IC obligation as firmness refers to IC capacity only.
| Firmness of Allocated Cross Zonal Capacity | Firmness in the Event of Force Majeure or Emergency Situations | 72 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation: In such circumstances, each TSO shall have the right to curtail allocated cross-zonal capacity in a coordinated manner following liaison with all directly concerned TSOs. We consider this article applicable to all as all have a right to invoke Force Majeure or Emergency Situations.
| Costs | Congestion Income Distribution Methodology | 73 | ü | ü | ü | ü | ü | ü | ü | IC obligation: TSOs shall develop a proposal for a methodology for sharing congestion income. We consider that all TSOs may have a role in developing this methodology and we see no reason to restrict potential TSO involvement.
| Costs | Redispatching and Countertrading Cost Sharing Methodology | 74 | ü | [6 empty] | SO obligation: Link to article 16 and 35. TSOs in each capcity calculation region shall develop a proposal for a common methodology for redispatching and countertrading cost sharing which must include cost sharing solutions for acations of cross border relevance. We consider that it is the responsibility of the SO to balance the network so it is not appropriate for other TSOs to be involved in redispatching and countertrading.
| Costs | General Provisions on Cost Recovery | 75 | ü | ü | ü | ü | ü | ü | ü | CACM Regulation provision applicable to all TSOs: Costs relating to the obligations imposed on TSOs in accordance with Article 8 (TSO tasks) as well as Articles 74,76 and 79, if deemed reasonable, efficient and proportionate shall be recovered in a timely manner through network tariffs or other appropriate mechanisms as determined by the competent regulatory authorities. We consider that this article should be applicable to all TSOs.
| Costs | Costs of Establishing, Amending and Operating Single Day Ahead and Intraday Coupling | 76 | ü | ü | ü | ü | ü | ü | ü | CACM Regulation provision applicable to all TSOs: TSOs may make a contribution to NEMO costs provided that the relevant regulatory authority agrees. We consider that this may be applicable to all TSOs.
| Costs | Clearing and Settlement Costs | 77 | ü | ü | ü | ü | ü | ü | ü | All TSO cost recovery: Our view is that this is applicable to all since TSOs can be a shipping agent.
| Costs | Costs of Establishing and Operating Coordinated Capacity Calculation Processes | 78 | ü | ü | ü | ü | ü | ü | ü | All TSO cost recovery: Each TSO shall individually bear the costs of providing inputs to the capacity calculation process and jointly the costs of merging the individual grid models. All TSOs shall bear the costs of establishing and operating the coordinated capacity calculators. We consider that this article is applicable to all because it limits the costs which can be put forward for cost recovery.
| Costs | Costs of Ensuring Firmness | 79 |  |  |  | ü | ü | ü | ü | All TSO cost recovery: Costs of ensuring firmness shall be borne by the relevant TSOs and shall include the costs from compensation mechanisms associated with ensuring the firmness of cross zonal capacities as well as the costs of redispatching, countertrading and of impbalance costs associated with compensating market parties. We consider this an IC obligation as firmness refers to IC capacity only.
| Costs | Cost Sharing between NEMOs and TSOs in different Member States | 80 | ü | ü | ü | ü | ü | ü | ü | All TSO cost recovery: We consider this article applicable to all TSOs as it requires cost data to be provided to the Agency by TSOs.
| Delegation of Tasks and Monitoring | Delegation of Tasks | 81 | ü | ü | ü | ü | ü | ü | ü | CACM Regulation provision applicable to all TSOs: We consider this provision applicable to all because we see no reason to limit any particular TSO from being able to delegate tasks.
| Delegation of Tasks and Monitoring | Monitoring of the Implementation of Single Day Ahead and Intraday Coupling | 82 | ü | ü | ü | ü | ü | ü | ü | All TSO obligation:We consider this article applicable to all as there is a data provision on TSOs to provide data to ENTSOE.
| Transitional Arrangements and Final Provisions | Transitional Provisions for Ireland and Northern Ireland | 83 | [5 empty] | ü | ü | Island of Ireland TSO obligations: We consider that this article is only relevant to the TSOs for the Republic of Ireland and Northern Ireland due to their derogation.
| Transitional Arrangements and Final Provisions | Entry into Force | 84 | [7 empty] | No obligations for TSOs: We currently don't consider that these articles put direct obligations on TSOs.
`