## Information and version control
Version | Draft 0.5
This spreadsheet is complementary to the methodology (submit to Ofgem Jan 2016) and contains scenarios to help with understanding the calculation of the monetised risk
All data is dummy data
Fan Li
Version draft 0.1 is previously provided to Ofgem on 26082015
Update from Draft 0.1: corrected a mistake in a formula with system criticality
Update from Draft 0.2: put all asset groups' PoF info in the spreadsheets; summing up all HILP assets in the risk calculation sheet, and changed the cost of revoery values to be inline with the latest version of methodology
Assets which are exposed to HILP events are monetised for all other Criticality criteria, but monetisation values have not been provided for the HILP elements.
Update from Draft 0.3: update the asset health indices to align with Ofgem's reporting requirement

## Asset Risk Calculation
Asset type | Asset Id | site ID/nasap | Traffic Hub (£) | EKP(£) | Demand(£) | Security(£) | Overall System(£) | Safety(£) | Environmental(£) | HILP? | Length of Cables and OHL (km) | Monetisation of criticality (without HILP elements) (£) | Cost of recovery(£) | Asset group | Asset health 2015 | For lookup | Probability of failure 2015 | £ Risk 2015 (without HILP) | £ Risk 2015 (HILP assets exclude HILP elements) | Total £ Risk without HILP assets | Total £ Risk including HILP assets (exclude HILP elements)
Transformer | Transformer2 | site102 | 0 | 0 | 800000 | 241878 | 1041878 | 10000000 | 0 | Nuclear | n/a | 11041878 | 5600000 | Tgrp1 | 3 | Tgrp13 | 0.0080604 | 0 | 11041878 | 40936178.8792 | 137687309.8792
Transformer | Transformer3 | site103 | 0 | 0 | 1600000 | 241878 | 1841878 | 50000 | 0 | no | n/a | 1891878 | 5600000 | Tgrp1 | 1 | Tgrp11 | 0.0031243 | 23407.0774 | 0
Transformer | Transformer4 | site104 | 0 | 0 | 2400000 | 241878 | 2641878 | 10000 | 0 | no | n/a | 2651878 | 5600000 | Tgrp1 | 4a(2b) | Tgrp14a(2b) | 0.029258 | 241432.0627 | 0
Transformer | Transformer5 | site105 | 0 | 0 | 2400000 | 241878 | 2641878 | 10000000 | 0 | no | n/a | 12641878 | 5600000 | Tgrp1 | 1 | Tgrp11 | 0.0031243 | 56993.5937 | 0 |  | Assets which are exposed to HILP events are monetised for all other Criticality criteria, but monetisation values have not been provided for the HILP elements.
Transformer | Transformer6 | site106 | 0 | 0 | 2400000 | 241878 | 2641878 | 50000 | 0 | no | n/a | 2691878 | 5600000 | Tgrp1 | 1 | Tgrp11 | 0.0031243 | 25906.5391 | 0 |  | Total Risk with HILP assets including HILP elements will be the value above plus the HILP risk (will not be monetised) identified in Column K |  |  | Total £ Risk inclduing HILP assets including HILP elements will be the value above plus the HILP risk identified in Column K
Transformer | Transformer7 | site107 | 0 | 0 | 800000 | 2265429 | 3065429 | 50000 | 0 | no | n/a | 3115429 | 5600000 | Tgrp1 | 1 | Tgrp11 | 0.0031243 | 27229.8509 | 0
Transformer | Transformer8 | site108 | 0 | 0 | 800000 | 4449015 | 5249015 | 50000 | 0 | COMAH | n/a | 5299015 | 5600000 | Tgrp1 | 2 | Tgrp12 | 0.0031243 | 0 | 5299015
Transformer | Transformer9 | site109 | 1078000 | 843500 | 800000 | 2265429 | 4986929 | 50000 | 0 | Black start | n/a | 5036929 | 5600000 | Tgrp1 | 2 | Tgrp12 | 0.0031243 | 0 | 5036929
Transformer | Transformer10 | site110 | 1078000 | 843500 | 800000 | 2265429 | 4986929 | 10000000 | 0 | Nuclear | n/a | 14986929 | 5600000 | Tgrp1 | 2 | Tgrp12 | 0.0031243 | 0 | 14986929
Transformer | Transformer11 | site111 | 1078000 | 843500 | 800000 | 2265429 | 4986929 | 10000000 | 0 | COMAH | n/a | 14986929 | 5600000 | Tgrp1 | 2 | Tgrp12 | 0.0031243 | 0 | 14986929
Transformer | Transformer12 | site112 | 0 | 0 | 800000 | 241878 | 1041878 | 10000000 | 0 | no | n/a | 11041878 | 5600000 | Tgrp1 | 5 | Tgrp15 | 0.10952 | 1822535.9896 | 0
Transformer | Transformer13 | site113 | 0 | 0 | 800000 | 2265429 | 3065429 | 50000 | 0 | no | n/a | 3115429 | 5600000 | Tgrp1 | 3 | Tgrp13 | 0.0080604 | 70249.6628 | 0
Transformer | Transformer14 | site114 | 0 | 843500 | 800000 | 241878 | 1885378 | 1000000 | 0 | no | n/a | 2885378 | 5600000 | Tgrp1 | 2 | Tgrp12 | 0.0031243 | 26511.0964 | 0
Transformer | Transformer15 | site115 | 0 | 0 | 800000 | 4449015 | 5249015 | 10000000 | 0 | Black start | n/a | 15249015 | 5600000 | Tgrp1 | 4a(2c) | Tgrp14a(2c) | 0.0081177 | 0 | 15249015
Transformer | Transformer16 | site116 | 0 | 0 | 800000 | 241878 | 1041878 | 1000000 | 0 | no | n/a | 2041878 | 5600000 | Tgrp1 | 4b | Tgrp14b | 0.061032 | 466399.1396 | 0
Transformer | Transformer17 | site117 | 0 | 843500 | 800000 | 2265429 | 3908929 | 1000000 | 0 | no | n/a | 4908929 | 5600000 | Tgrp1 | 3 | Tgrp13 | 0.0080604 | 84705.9529 | 0
Transformer | Transformer18 | site118 | 0 | 843500 | 800000 | 2265429 | 3908929 | 1000000 | 0 | no | n/a | 4908929 | 5600000 | Tgrp1 | 2 | Tgrp12 | 0.0031243 | 32833.3316 | 0
Transformer | Transformer19 | site119 | 0 | 843500 | 800000 | 2265429 | 3908929 | 1000000 | 0 | no | n/a | 4908929 | 5600000 | Tgrp1 | 4a(2c) | Tgrp14a(2c) | 0.0081177 | 85308.3745 | 0
Transformer | Transformer20 | site120 | 0 | 0 | 800000 | 4449015 | 5249015 | 50000 | 0 | no | n/a | 5299015 | 5600000 | Tgrp1 | 4b | Tgrp14b | 0.061032 | 665188.7426 | 0
Transformer | Transformer21 | site121 | 0 | 0 | 800000 | 4449015 | 5249015 | 1000000 | 0 | no | n/a | 6249015 | 5600000 | Tgrp1 | 5 | Tgrp15 | 0.10952 | 1297645.3907 | 0
Switchgear | Switchgear22 | site122 | 0 | 0 | 800000 | 241878 | 1041878 | 50000 | 0 | no | n/a | 1091878 | 1871000 | Sgrp20 | 3 | Sgrp203 | 0.00010838 | 321.111 | 0
Switchgear | Switchgear23 | site123 | 0 | 0 | 800000 | 241878 | 1041878 | 10000 | 0 | Nuclear | n/a | 1051878 | 1871000 | Sgrp1 | 4b | Sgrp14b | 0.029871 | 0 | 1051878
Switchgear | Switchgear24 | site124 | 0 | 0 | 800000 | 241878 | 1041878 | 10000 | 0 | no | n/a | 1051878 | 1871000 | Sgrp20 | 5 | Sgrp205 | 0.15321 | 447824.65 | 0
Switchgear | Switchgear25 | site125 | 0 | 0 | 800000 | 241878 | 1041878 | 10000 | 0 | no | n/a | 1051878 | 1871000 | Sgrp20 | 4a | Sgrp204a | 0.0052644 | 15387.3424 | 0
Switchgear | Switchgear26 | site126 | 0 | 0 | 800000 | 241878 | 1041878 | 10000 | 0 | no | n/a | 1051878 | 1871000 | Sgrp20 | 4b | Sgrp204b | 0.036224 | 105878.1313 | 0
Switchgear | Switchgear27 | site127 | 0 | 0 | 800000 | 241878 | 1041878 | 10000 | 0 | no | n/a | 1051878 | 1871000 | Sgrp1 | 4a | Sgrp14a | 0.00053508 | 1563.9679 | 0
Switchgear | Switchgear28 | site128 | 0 | 0 | 800000 | 2265429 | 3065429 | 50000 | 0 | no | n/a | 3115429 | 1871000 | Sgrp20 | 1 | Sgrp201 | 2.0793e-11 | 0.00010368 | 0
Switchgear | Switchgear29 | site129 | 0 | 0 | 800000 | 4449015 | 5249015 | 10000 | 0 | COMAH | n/a | 5259015 | 1871000 | Sgrp1 | 2 | Sgrp12 | 4.3955e-14 | 0 | 5259015
Switchgear | Switchgear30 | site130 | 0 | 0 | 800000 | 241878 | 1041878 | 50000 | 0 | Black start | n/a | 1091878 | 1871000 | Sgrp1 | 3 | Sgrp13 | 8.0171e-08 | 0 | 1091878
Switchgear | Switchgear31 | site131 | 1078000 | 843500 | 800000 | 2265429 | 4986929 | 50000 | 0 | Nuclear | n/a | 5036929 | 1871000 | Sgrp20 | 3 | Sgrp203 | 0.00010838 | 0 | 5036929
Switchgear | Switchgear32 | site132 | 0 | 0 | 800000 | 241878 | 1041878 | 10000000 | 0 | no | n/a | 11041878 | 1871000 | Sgrp1 | 2 | Sgrp12 | 4.3955e-14 | 5.6758e-07 | 0
Switchgear | Switchgear33 | site133 | 0 | 0 | 800000 | 2265429 | 3065429 | 50000 | 0 | no | n/a | 3115429 | 1871000 | Sgrp20 | 3 | Sgrp203 | 0.00010838 | 540.4195 | 0
Switchgear | Switchgear34 | site134 | 0 | 0 | 800000 | 241878 | 1041878 | 10000 | 0 | no | n/a | 1051878 | 1871000 | Sgrp1 | 2 | Sgrp12 | 4.3955e-14 | 1.2847e-07 | 0
Switchgear | Switchgear35 | site135 | 0 | 843500 | 800000 | 241878 | 1885378 | 10000000 | 0 | no | n/a | 11885378 | 1871000 | Sgrp20 | 4a | Sgrp204a | 0.0052644 | 72419.7515 | 0
Switchgear | Switchgear36 | site136 | 0 | 843500 | 800000 | 241878 | 1885378 | 1000000 | 0 | no | n/a | 2885378 | 1871000 | Sgrp1 | 1 | Sgrp11 | 4.3955e-14 | 2.0906e-07 | 0
Switchgear | Switchgear37 | site137 | 0 | 0 | 800000 | 241878 | 1041878 | 10000 | 0 | no | n/a | 1051878 | 1871000 | Sgrp20 | 5 | Sgrp205 | 0.15321 | 447824.65 | 0
Switchgear | Switchgear38 | site138 | 1078000 | 843500 | 800000 | 4449015 | 7170515 | 50000 | 0 | no | n/a | 7220515 | 1871000 | Sgrp1 | 2 | Sgrp12 | 4.3955e-14 | 3.9961e-07 | 0
Switchgear | Switchgear39 | site139 | 1078000 | 0 | 800000 | 241878 | 2119878 | 1000000 | 0 | COMAH | n/a | 3119878 | 1871000 | Sgrp1 | 2 | Sgrp12 | 4.3955e-14 | 0 | 3119878
Switchgear | Switchgear40 | site140 | 1078000 | 0 | 800000 | 2265429 | 4143429 | 50000 | 0 | no | n/a | 4193429 | 1871000 | Sgrp1 | 2 | Sgrp12 | 4.3955e-14 | 2.6656e-07 | 0
Switchgear | Switchgear41 | site141 | 0 | 0 | 800000 | 241878 | 1041878 | 50000 | 0 | no | n/a | 1091878 | 1871000 | Sgrp1 | 3 | Sgrp13 | 8.0171e-08 | 0.23754 | 0
Cable | Cable42 | nasap142 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 25000 | no | 1 | 2300429 | 2824000 | Cgrp1 | 2 | Cgrp12 | 0.00070923 | 3634.3786 | 0
Cable | Cable43 | nasap143 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 25000 | no | 2 | 2300429 | 5648000 | Cgrp3 | 3 | Cgrp33 | 0.015907 | 126437.35 | 0
Cable | Cable44 | nasap144 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 500000 | no | 5 | 2775429 | 14120000 | Cgrp1 | 1 | Cgrp11 | 0.00070923 | 11982.6785 | 0
Cable | Cable45 | nasap145 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 500000 | no | 10 | 2775429 | 28240000 | Cgrp3 | 4a | Cgrp34a | 0.034696 | 1076110.5851 | 0
Cable | Cable46 | nasap146 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 25000 | no | 11 | 2300429 | 31064000 | Cgrp3 | 3 | Cgrp33 | 0.015907 | 530735.0655 | 0
Cable | Cable47 | nasap147 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 500000 | no | 12 | 2775429 | 33888000 | Cgrp1 | 2 | Cgrp12 | 0.00070923 | 26002.6593 | 0
Cable | Cable48 | nasap148 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 500000 | no | 15 | 2775429 | 42360000 | Cgrp3 | 3 | Cgrp33 | 0.015907 | 717978.865 | 0
Cable | Cable49 | nasap149 | 0 | 0 | 0 | 241878 | 241878 | 10000 | 500000 | no | 20 | 751878 | 56480000 | Cgrp3 | 3 | Cgrp33 | 0.015907 | 910399.651 | 0
Cable | Cable50 | nasap150 | 0 | 0 | 0 | 2265429 | 2265429 | 10000000 | 500000 | no | 21 | 12765429 | 59304000 | Cgrp1 | 2 | Cgrp12 | 0.00070923 | 51113.5172 | 0
Cable | Cable51 | nasap151 | 0 | 0 | 0 | 4449015 | 4449015 | 10000 | 500000 | no | 22 | 4959015 | 62128000 | Cgrp3 | 3 | Cgrp33 | 0.015907 | 1067167.4105 | 0
Cable | Cable52 | nasap152 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 500000 | no | 1 | 2775429 | 2824000 | Cgrp1 | 2 | Cgrp12 | 0.00070923 | 3971.261 | 0
Cable | Cable53 | nasap153 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 500000 | no | 2 | 2775429 | 5648000 | Cgrp3 | 4a | Cgrp34a | 0.034696 | 292259.0917 | 0
Cable | Cable54 | nasap154 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 25000 | no | 5 | 2300429 | 14120000 | Cgrp3 | 3 | Cgrp33 | 0.015907 | 261203.2551 | 0
Cable | Cable55 | nasap155 | 0 | 0 | 0 | 4449015 | 4449015 | 10000 | 500000 | no | 10 | 4959015 | 28240000 | Cgrp3 | 4a | Cgrp34a | 0.034696 | 1151872.2328 | 0
Cable | Cable56 | nasap156 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 500000 | no | 11 | 2775429 | 31064000 | Cgrp1 | 1 | Cgrp11 | 0.00070923 | 23999.8049 | 0
Cable | Cable57 | nasap157 | 0 | 0 | 0 | 241878 | 241878 | 10000 | 25000 | no | 12 | 276878 | 33888000 | Cgrp3 | 3 | Cgrp33 | 0.015907 | 543467.9779 | 0
Cable | Cable58 | nasap158 | 0 | 0 | 0 | 2265429 | 2265429 | 10000000 | 500000 | no | 15 | 12765429 | 42360000 | Cgrp3 | 5 | Cgrp35 | 0.067644 | 3728888.0799 | 0
Cable | Cable59 | nasap159 | 0 | 0 | 0 | 4449015 | 4449015 | 10000000 | 500000 | no | 20 | 14949015 | 56480000 | Cgrp1 | 3 | Cgrp13 | 0.016326 | 1166153.4017 | 0
Cable | Cable60 | nasap160 | 0 | 0 | 0 | 2265429 | 2265429 | 10000000 | 500000 | no | 21 | 12765429 | 59304000 | Cgrp1 | 4a | Cgrp14a | 0.032874 | 2369230.0107 | 0
Cable | Cable61 | nasap161 | 0 | 0 | 0 | 4449015 | 4449015 | 10000 | 500000 | no | 22 | 4959015 | 62128000 | Cgrp3 | 3 | Cgrp33 | 0.015907 | 1067167.4105 | 0
OHL conductor | OHL conductor62 | nasap162 | 0 | 0 | 0 | 241878 | 241878 | 50000 | 5000 | no | 10 | 296878 | 4760000 | Lgrp1 | 3 | Lgrp13 | 2.9678e-08 | 0.15008 | 0 |  |  | 2.9678e-08 | TRUE
OHL conductor | OHL conductor63 | nasap163 | 0 | 0 | 0 | 2265429 | 2265429 | 10000000 | 5000 | Nuclear | 20 | 12270429 | 9520000 | Lgrp1 | 4a | Lgrp14a | 0.0076709 | 0 | 12270429 |  |  | 0.0076709 | TRUE
OHL conductor | OHL conductor64 | nasap164 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | Nuclear | 50 | 2320429 | 23800000 | Lgrp1 | 4a | Lgrp14a | 0.0076709 | 0 | 2320429 |  |  | 0.0076709 | TRUE
OHL conductor | OHL conductor65 | nasap165 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 100 | 2320429 | 47600000 | Lgrp1 | 3 | Lgrp13 | 2.9678e-08 | 1.4815 | 0 |  |  | 2.9678e-08 | TRUE
OHL conductor | OHL conductor66 | nasap166 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 150 | 2320429 | 71400000 | Lgrp1 | 1 | Lgrp11 | 5.1699e-35 | 3.8112e-27 | 0 |  |  | 5.1699e-35 | TRUE
OHL conductor | OHL conductor67 | nasap167 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 5000 | no | 10 | 2280429 | 4760000 | Lgrp1 | 2 | Lgrp12 | 5.1699e-35 | 3.6398e-28 | 0 |  |  | 5.1699e-35 | TRUE
OHL conductor | OHL conductor68 | nasap168 | 0 | 0 | 0 | 4449015 | 4449015 | 10000 | 5000 | no | 20 | 4464015 | 9520000 | Lgrp1 | 5 | Lgrp15 | 0.13552 | 1895172.8499 | 0 |  |  | 0.13552 | TRUE
OHL conductor | OHL conductor69 | nasap169 | 0 | 0 | 0 | 241878 | 241878 | 50000 | 5000 | no | 50 | 296878 | 23800000 | Lgrp1 | 4a | Lgrp14a | 0.0076709 | 184845.8683 | 0 |  |  | 0.0076709 | TRUE
OHL conductor | OHL conductor70 | nasap170 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 100 | 2320429 | 47600000 | Lgrp1 | 5 | Lgrp15 | 0.13552 | 6765427.6468 | 0 |  |  | 0.13552 | TRUE
OHL conductor | OHL conductor71 | nasap171 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 150 | 2320429 | 71400000 | Lgrp1 | 4a | Lgrp14a | 0.0076709 | 565505.4864 | 0 |  |  | 0.0076709 | TRUE
OHL conductor | OHL conductor72 | nasap172 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 10 | 2320429 | 4760000 | Lgrp1 | 5 | Lgrp15 | 0.13552 | 959569.6805 | 0 |  |  | 0.13552 | TRUE
OHL conductor | OHL conductor73 | nasap173 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 5000 | no | 20 | 2280429 | 9520000 | Lgrp1 | 2 | Lgrp12 | 5.1699e-35 | 6.1006e-28 | 0 |  |  | 5.1699e-35 | TRUE
OHL conductor | OHL conductor74 | nasap174 | 0 | 0 | 0 | 4449015 | 4449015 | 10000 | 5000 | no | 50 | 4464015 | 23800000 | Lgrp1 | 3 | Lgrp13 | 2.9678e-08 | 0.83881 | 0 |  |  | 2.9678e-08 | TRUE
OHL conductor | OHL conductor75 | nasap175 | 0 | 0 | 0 | 2265429 | 2265429 | 10000000 | 5000 | no | 100 | 12270429 | 47600000 | Lgrp1 | 4a | Lgrp14a | 0.0076709 | 459262.8737 | 0 |  |  | 0.0076709 | TRUE
OHL conductor | OHL conductor76 | nasap176 | 0 | 0 | 0 | 241878 | 241878 | 50000 | 5000 | no | 150 | 296878 | 71400000 | Lgrp1 | 4a | Lgrp14a | 0.0076709 | 549982.9344 | 0 |  |  | 0.0076709 | TRUE
OHL conductor | OHL conductor77 | nasap177 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 5000 | no | 10 | 2280429 | 4760000 | Lgrp1 | 5 | Lgrp15 | 0.13552 | 954148.7114 | 0 |  |  | 0.13552 | TRUE
OHL conductor | OHL conductor78 | nasap178 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 20 | 2320429 | 9520000 | Lgrp1 | 4a | Lgrp14a | 0.0076709 | 90827.3005 | 0 |  |  | 0.0076709 | TRUE
OHL conductor | OHL conductor79 | nasap179 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 50 | 2320429 | 23800000 | Lgrp1 | 3 | Lgrp13 | 2.9678e-08 | 0.77519 | 0 |  |  | 2.9678e-08 | TRUE
OHL conductor | OHL conductor80 | nasap180 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 100 | 2320429 | 47600000 | Lgrp1 | 1 | Lgrp11 | 5.1699e-35 | 2.5808e-27 | 0 |  |  | 5.1699e-35 | TRUE
OHL fittings | OHL fittings81 | nasap181 | 0 | 0 | 0 | 2265429 | 2265429 | 1000000 | 5000 | no | 150 | 3270429 | 71400000 | Igrp9 | 2 | Igrp92 | 2.0174e-06 | 150.6431 | 0 |  |  | 2.0174e-06 | TRUE
OHL fittings | OHL fittings82 | nasap182 | 0 | 0 | 0 | 2265429 | 2265429 | 10000000 | 5000 | no | 10 | 12270429 | 4760000 | Igrp9 | 2 | Igrp92 | 2.0174e-06 | 34.3579 | 0 |  |  | 2.0174e-06 | TRUE
OHL fittings | OHL fittings83 | nasap183 | 0 | 0 | 0 | 2265429 | 2265429 | 1000000 | 5000 | no | 20 | 3270429 | 9520000 | Igrp9 | 2 | Igrp92 | 2.0174e-06 | 25.8039 | 0 |  |  | 2.0174e-06 | TRUE
OHL fittings | OHL fittings84 | nasap184 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 5000 | no | 50 | 2280429 | 23800000 | Igrp9 | 2 | Igrp92 | 2.0174e-06 | 52.6157 | 0 |  |  | 2.0174e-06 | TRUE
OHL fittings | OHL fittings85 | nasap185 | 0 | 0 | 0 | 241878 | 241878 | 50000 | 5000 | no | 100 | 296878 | 47600000 | Igrp9 | 1 | Igrp91 | 2.0174e-06 | 96.6291 | 0 |  |  | 2.0174e-06 | TRUE
OHL fittings | OHL fittings86 | nasap186 | 0 | 0 | 0 | 4449015 | 4449015 | 50000 | 5000 | no | 150 | 4504015 | 71400000 | Igrp9 | 1 | Igrp91 | 2.0174e-06 | 153.1318 | 0 |  |  | 2.0174e-06 | TRUE
OHL fittings | OHL fittings87 | nasap187 | 0 | 0 | 0 | 4449015 | 4449015 | 10000000 | 5000 | no | 10 | 14454015 | 4760000 | Igrp9 | 2 | Igrp92 | 2.0174e-06 | 38.7631 | 0 |  |  | 2.0174e-06 | TRUE
OHL fittings | OHL fittings88 | nasap188 | 0 | 0 | 0 | 4449015 | 4449015 | 10000000 | 5000 | no | 20 | 14454015 | 9520000 | Igrp9 | 2 | Igrp92 | 2.0174e-06 | 48.3661 | 0 |  |  | 2.0174e-06 | TRUE
OHL fittings | OHL fittings89 | nasap189 | 0 | 0 | 0 | 4449015 | 4449015 | 10000000 | 5000 | no | 50 | 14454015 | 23800000 | Igrp9 | 2 | Igrp92 | 2.0174e-06 | 77.1752 | 0 |  |  | 2.0174e-06 | TRUE
OHL fittings | OHL fittings90 | nasap190 | 0 | 0 | 0 | 4449015 | 4449015 | 50000 | 5000 | no | 100 | 4504015 | 47600000 | Igrp8 | 5 | Igrp85 | 0.099559 | 5187442.3409 | 0 |  |  | 0.099559 | TRUE
OHL fittings | OHL fittings91 | nasap191 | 0 | 0 | 0 | 4449015 | 4449015 | 50000 | 5000 | no | 150 | 4504015 | 71400000 | Igrp9 | 2 | Igrp92 | 2.0174e-06 | 153.1318 | 0 |  |  | 2.0174e-06 | TRUE
OHL fittings | OHL fittings92 | nasap192 | 0 | 0 | 0 | 4449015 | 4449015 | 50000 | 5000 | no | 10 | 4504015 | 4760000 | Igrp9 | 1 | Igrp91 | 2.0174e-06 | 18.6896 | 0 |  |  | 2.0174e-06 | TRUE
OHL fittings | OHL fittings93 | nasap193 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 20 | 2320429 | 9520000 | Igrp8 | 5 | Igrp85 | 0.099559 | 1178825.5229 | 0 |  |  | 0.099559 | TRUE
OHL fittings | OHL fittings94 | nasap194 | 0 | 0 | 0 | 4449015 | 4449015 | 1000000 | 5000 | no | 50 | 5454015 | 23800000 | Igrp9 | 2 | Igrp92 | 2.0174e-06 | 59.0182 | 0 |  |  | 2.0174e-06 | TRUE
OHL fittings | OHL fittings95 | nasap195 | 0 | 0 | 0 | 4449015 | 4449015 | 10000000 | 5000 | no | 100 | 14454015 | 47600000 | Igrp9 | 2 | Igrp92 | 2.0174e-06 | 125.1902 | 0 |  |  | 2.0174e-06 | TRUE
OHL fittings | OHL fittings96 | nasap196 | 0 | 0 | 0 | 241878 | 241878 | 50000 | 5000 | no | 150 | 296878 | 71400000 | Igrp9 | 4a | Igrp94a | 0.013817 | 990634.0832 | 0 |  |  | 0.013817 | TRUE
OHL fittings | OHL fittings97 | nasap197 | 0 | 0 | 0 | 241878 | 241878 | 50000 | 5000 | no | 10 | 296878 | 4760000 | Igrp9 | 3 | Igrp93 | 0.0010674 | 5397.6245 | 0 |  |  | 0.0010674 | TRUE
OHL fittings | OHL fittings98 | nasap198 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 20 | 2320429 | 9520000 | Igrp9 | 1 | Igrp91 | 2.0174e-06 | 23.8874 | 0 |  |  | 2.0174e-06 | TRUE
OHL fittings | OHL fittings99 | nasap199 | 0 | 0 | 0 | 2265429 | 2265429 | 10000000 | 5000 | no | 50 | 12270429 | 23800000 | Igrp9 | 2 | Igrp92 | 2.0174e-06 | 72.7699 | 0 |  |  | 2.0174e-06 | TRUE
OHL fittings | OHL fittings100 | nasap200 | 0 | 0 | 0 | 2265429 | 2265429 | 10000000 | 5000 | no | 100 | 12270429 | 47600000 | Igrp9 | 2 | Igrp92 | 2.0174e-06 | 120.785 | 0 |  |  | 2.0174e-06 | TRUE

## Scenario 1
Scenario 1 assumes we invest in all Transformer and OHL assets, but we do no investment for Cable and switchgear. This scenario also assumes there is no asset deterioration.
Asset type | Asset Id | site ID/nasap | Traffic Hub (£) | EKP(£) | Demand(£) | Security(£) | Overall System(£) | Safety(£) | Environmental(£) | HILP? | Monetisation of criticality | Cost of recovery | Asset group | Asset health end of T1 | For lookup | Probability of failure end of T1 | £ Risk (without HILP) | £ Risk 2015 (HILP assets exclude HILP elements) | Total £ Risk (without HILP assets) | Total £ Risk including HILP assets (exclude HILP elements)
Transformer | Transformer2 | site102 | 0 | 0 | 800000 | 241878 | 1041878 | 10000000 | 0 | Nuclear | 11041878 | 5600000 | Tgrp1 | 1 | Tgrp11 | 0.0031243 | 0 | 5600000 | 16781480.8962 | 93056480.8962
Transformer | Transformer3 | site103 | 0 | 0 | 1600000 | 241878 | 1841878 | 50000 | 0 | no | 1891878 | 5600000 | Tgrp1 | 1 | Tgrp11 | 0.0031243 | 23407.0774 | 0
Transformer | Transformer4 | site104 | 0 | 0 | 2400000 | 241878 | 2641878 | 10000 | 0 | no | 2651878 | 5600000 | Tgrp1 | 1 | Tgrp11 | 0.0031243 | 25781.566 | 0
Transformer | Transformer5 | site105 | 0 | 0 | 2400000 | 241878 | 2641878 | 10000000 | 0 | no | 12641878 | 5600000 | Tgrp1 | 1 | Tgrp11 | 0.0031243 | 56993.5937 | 0 |  | Assets which are exposed to HILP events are monetised for all other Criticality criteria, but monetisation values have not been provided for the HILP elements.
Transformer | Transformer6 | site106 | 0 | 0 | 2400000 | 241878 | 2641878 | 50000 | 0 | no | 2691878 | 5600000 | Tgrp1 | 1 | Tgrp11 | 0.0031243 | 25906.5391 | 0 |  | Total Risk with HILP assets including HILP elements will be the value above plus the HILP risk (will not be monetised) identified in Column K
Transformer | Transformer7 | site107 | 0 | 0 | 800000 | 2265429 | 3065429 | 50000 | 0 | no | 3115429 | 5600000 | Tgrp1 | 1 | Tgrp11 | 0.0031243 | 27229.8509 | 0
Transformer | Transformer8 | site108 | 0 | 0 | 800000 | 4449015 | 5249015 | 50000 | 0 | COMAH | 5299015 | 5600000 | Tgrp1 | 1 | Tgrp11 | 0.0031243 | 0 | 5600000
Transformer | Transformer9 | site109 | 1078000 | 843500 | 800000 | 2265429 | 4986929 | 50000 | 0 | Black start | 5036929 | 5600000 | Tgrp1 | 1 | Tgrp11 | 0.0031243 | 0 | 5600000
Transformer | Transformer10 | site110 | 1078000 | 843500 | 800000 | 2265429 | 4986929 | 10000000 | 0 | Nuclear | 14986929 | 5600000 | Tgrp1 | 1 | Tgrp11 | 0.0031243 | 0 | 5600000
Transformer | Transformer11 | site111 | 1078000 | 843500 | 800000 | 2265429 | 4986929 | 10000000 | 0 | COMAH | 14986929 | 5600000 | Tgrp1 | 1 | Tgrp11 | 0.0031243 | 0 | 5600000
Transformer | Transformer12 | site112 | 0 | 0 | 800000 | 241878 | 1041878 | 10000000 | 0 | no | 11041878 | 5600000 | Tgrp1 | 1 | Tgrp11 | 0.0031243 | 51994.6703 | 0
Transformer | Transformer13 | site113 | 0 | 0 | 800000 | 2265429 | 3065429 | 50000 | 0 | no | 3115429 | 5600000 | Tgrp1 | 1 | Tgrp11 | 0.0031243 | 27229.8509 | 0
Transformer | Transformer14 | site114 | 0 | 843500 | 800000 | 241878 | 1885378 | 1000000 | 0 | no | 2885378 | 5600000 | Tgrp1 | 1 | Tgrp11 | 0.0031243 | 26511.0964 | 0
Transformer | Transformer15 | site115 | 0 | 0 | 800000 | 4449015 | 5249015 | 10000000 | 0 | Black start | 15249015 | 5600000 | Tgrp1 | 1 | Tgrp11 | 0.0031243 | 0 | 5600000
Transformer | Transformer16 | site116 | 0 | 0 | 800000 | 241878 | 1041878 | 1000000 | 0 | no | 2041878 | 5600000 | Tgrp1 | 1 | Tgrp11 | 0.0031243 | 23875.7265 | 0
Transformer | Transformer17 | site117 | 0 | 843500 | 800000 | 2265429 | 3908929 | 1000000 | 0 | no | 4908929 | 5600000 | Tgrp1 | 1 | Tgrp11 | 0.0031243 | 32833.3316 | 0
Transformer | Transformer18 | site118 | 0 | 843500 | 800000 | 2265429 | 3908929 | 1000000 | 0 | no | 4908929 | 5600000 | Tgrp1 | 1 | Tgrp11 | 0.0031243 | 32833.3316 | 0
Transformer | Transformer19 | site119 | 0 | 843500 | 800000 | 2265429 | 3908929 | 1000000 | 0 | no | 4908929 | 5600000 | Tgrp1 | 1 | Tgrp11 | 0.0031243 | 32833.3316 | 0
Transformer | Transformer20 | site120 | 0 | 0 | 800000 | 4449015 | 5249015 | 50000 | 0 | no | 5299015 | 5600000 | Tgrp1 | 1 | Tgrp11 | 0.0031243 | 34052.0878 | 0
Transformer | Transformer21 | site121 | 0 | 0 | 800000 | 4449015 | 5249015 | 1000000 | 0 | no | 6249015 | 5600000 | Tgrp1 | 1 | Tgrp11 | 0.0031243 | 37020.1986 | 0
Switchgear | Switchgear22 | site122 | 0 | 0 | 800000 | 241878 | 1041878 | 50000 | 0 | no | 1091878 | 1871000 | Sgrp20 | 3 | Sgrp203 | 0.00010838 | 321.111 | 0
Switchgear | Switchgear23 | site123 | 0 | 0 | 800000 | 241878 | 1041878 | 10000 | 0 | Nuclear | 1051878 | 1871000 | Sgrp1 | 4b | Sgrp14b | 0.029871 | 0 | 1871000
Switchgear | Switchgear24 | site124 | 0 | 0 | 800000 | 241878 | 1041878 | 10000 | 0 | no | 1051878 | 1871000 | Sgrp20 | 5 | Sgrp205 | 0.15321 | 447824.65 | 0
Switchgear | Switchgear25 | site125 | 0 | 0 | 800000 | 241878 | 1041878 | 10000 | 0 | no | 1051878 | 1871000 | Sgrp20 | 4a | Sgrp204a | 0.0052644 | 15387.3424 | 0
Switchgear | Switchgear26 | site126 | 0 | 0 | 800000 | 241878 | 1041878 | 10000 | 0 | no | 1051878 | 1871000 | Sgrp20 | 4b | Sgrp204b | 0.036224 | 105878.1313 | 0
Switchgear | Switchgear27 | site127 | 0 | 0 | 800000 | 241878 | 1041878 | 10000 | 0 | no | 1051878 | 1871000 | Sgrp1 | 4a | Sgrp14a | 0.00053508 | 1563.9679 | 0
Switchgear | Switchgear28 | site128 | 0 | 0 | 800000 | 2265429 | 3065429 | 50000 | 0 | no | 3115429 | 1871000 | Sgrp20 | 1 | Sgrp201 | 2.0793e-11 | 0.00010368 | 0
Switchgear | Switchgear29 | site129 | 0 | 0 | 800000 | 4449015 | 5249015 | 10000 | 0 | COMAH | 5259015 | 1871000 | Sgrp1 | 2 | Sgrp12 | 4.3955e-14 | 0 | 1871000
Switchgear | Switchgear30 | site130 | 0 | 0 | 800000 | 241878 | 1041878 | 50000 | 0 | Black start | 1091878 | 1871000 | Sgrp1 | 3 | Sgrp13 | 8.0171e-08 | 0 | 1871000
Switchgear | Switchgear31 | site131 | 1078000 | 843500 | 800000 | 2265429 | 4986929 | 50000 | 0 | Nuclear | 5036929 | 1871000 | Sgrp20 | 3 | Sgrp203 | 0.00010838 | 0 | 1871000
Switchgear | Switchgear32 | site132 | 0 | 0 | 800000 | 241878 | 1041878 | 10000000 | 0 | no | 11041878 | 1871000 | Sgrp1 | 2 | Sgrp12 | 4.3955e-14 | 5.6758e-07 | 0
Switchgear | Switchgear33 | site133 | 0 | 0 | 800000 | 2265429 | 3065429 | 50000 | 0 | no | 3115429 | 1871000 | Sgrp20 | 3 | Sgrp203 | 0.00010838 | 540.4195 | 0
Switchgear | Switchgear34 | site134 | 0 | 0 | 800000 | 241878 | 1041878 | 10000 | 0 | no | 1051878 | 1871000 | Sgrp1 | 2 | Sgrp12 | 4.3955e-14 | 1.2847e-07 | 0
Switchgear | Switchgear35 | site135 | 0 | 843500 | 800000 | 241878 | 1885378 | 10000000 | 0 | no | 11885378 | 1871000 | Sgrp20 | 4a | Sgrp204a | 0.0052644 | 72419.7515 | 0
Switchgear | Switchgear36 | site136 | 0 | 843500 | 800000 | 241878 | 1885378 | 1000000 | 0 | no | 2885378 | 1871000 | Sgrp1 | 1 | Sgrp11 | 4.3955e-14 | 2.0906e-07 | 0
Switchgear | Switchgear37 | site137 | 0 | 0 | 800000 | 241878 | 1041878 | 10000 | 0 | no | 1051878 | 1871000 | Sgrp20 | 5 | Sgrp205 | 0.15321 | 447824.65 | 0
Switchgear | Switchgear38 | site138 | 1078000 | 843500 | 800000 | 4449015 | 7170515 | 50000 | 0 | no | 7220515 | 1871000 | Sgrp1 | 2 | Sgrp12 | 4.3955e-14 | 3.9961e-07 | 0
Switchgear | Switchgear39 | site139 | 1078000 | 0 | 800000 | 241878 | 2119878 | 1000000 | 0 | COMAH | 3119878 | 1871000 | Sgrp1 | 2 | Sgrp12 | 4.3955e-14 | 0 | 1871000
Switchgear | Switchgear40 | site140 | 1078000 | 0 | 800000 | 2265429 | 4143429 | 50000 | 0 | no | 4193429 | 1871000 | Sgrp1 | 2 | Sgrp12 | 4.3955e-14 | 2.6656e-07 | 0
Switchgear | Switchgear41 | site141 | 0 | 0 | 800000 | 241878 | 1041878 | 50000 | 0 | no | 1091878 | 1871000 | Sgrp1 | 3 | Sgrp13 | 8.0171e-08 | 0.23754 | 0
Cable | Cable42 | nasap142 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 25000 | no | 2300429 | 2824000 | Cgrp1 | 2 | Cgrp12 | 0.00070923 | 3634.3786 | 0
Cable | Cable43 | nasap143 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 25000 | no | 2300429 | 5648000 | Cgrp3 | 3 | Cgrp33 | 0.015907 | 126437.35 | 0
Cable | Cable44 | nasap144 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 500000 | no | 2775429 | 14120000 | Cgrp1 | 1 | Cgrp11 | 0.00070923 | 11982.6785 | 0
Cable | Cable45 | nasap145 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 500000 | no | 2775429 | 28240000 | Cgrp3 | 4a | Cgrp34a | 0.034696 | 1076110.5851 | 0
Cable | Cable46 | nasap146 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 25000 | no | 2300429 | 31064000 | Cgrp3 | 3 | Cgrp33 | 0.015907 | 530735.0655 | 0
Cable | Cable47 | nasap147 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 500000 | no | 2775429 | 33888000 | Cgrp1 | 2 | Cgrp12 | 0.00070923 | 26002.6593 | 0
Cable | Cable48 | nasap148 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 500000 | no | 2775429 | 42360000 | Cgrp3 | 3 | Cgrp33 | 0.015907 | 717978.865 | 0
Cable | Cable49 | nasap149 | 0 | 0 | 0 | 241878 | 241878 | 10000 | 500000 | no | 751878 | 56480000 | Cgrp3 | 3 | Cgrp33 | 0.015907 | 910399.651 | 0
Cable | Cable50 | nasap150 | 0 | 0 | 0 | 2265429 | 2265429 | 10000000 | 500000 | no | 12765429 | 59304000 | Cgrp1 | 2 | Cgrp12 | 0.00070923 | 51113.5172 | 0
Cable | Cable51 | nasap151 | 0 | 0 | 0 | 4449015 | 4449015 | 10000 | 500000 | no | 4959015 | 62128000 | Cgrp3 | 3 | Cgrp33 | 0.015907 | 1067167.4105 | 0
Cable | Cable52 | nasap152 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 500000 | no | 2775429 | 2824000 | Cgrp1 | 2 | Cgrp12 | 0.00070923 | 3971.261 | 0
Cable | Cable53 | nasap153 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 500000 | no | 2775429 | 5648000 | Cgrp3 | 4a | Cgrp34a | 0.034696 | 292259.0917 | 0
Cable | Cable54 | nasap154 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 25000 | no | 2300429 | 14120000 | Cgrp3 | 3 | Cgrp33 | 0.015907 | 261203.2551 | 0
Cable | Cable55 | nasap155 | 0 | 0 | 0 | 4449015 | 4449015 | 10000 | 500000 | no | 4959015 | 28240000 | Cgrp3 | 4a | Cgrp34a | 0.034696 | 1151872.2328 | 0
Cable | Cable56 | nasap156 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 500000 | no | 2775429 | 31064000 | Cgrp1 | 1 | Cgrp11 | 0.00070923 | 23999.8049 | 0
Cable | Cable57 | nasap157 | 0 | 0 | 0 | 241878 | 241878 | 10000 | 25000 | no | 276878 | 33888000 | Cgrp3 | 3 | Cgrp33 | 0.015907 | 543467.9779 | 0
Cable | Cable58 | nasap158 | 0 | 0 | 0 | 2265429 | 2265429 | 10000000 | 500000 | no | 12765429 | 42360000 | Cgrp3 | 5 | Cgrp35 | 0.067644 | 3728888.0799 | 0
Cable | Cable59 | nasap159 | 0 | 0 | 0 | 4449015 | 4449015 | 10000000 | 500000 | no | 14949015 | 56480000 | Cgrp1 | 3 | Cgrp13 | 0.016326 | 1166153.4017 | 0
Cable | Cable60 | nasap160 | 0 | 0 | 0 | 2265429 | 2265429 | 10000000 | 500000 | no | 12765429 | 59304000 | Cgrp1 | 4a | Cgrp14a | 0.032874 | 2369230.0107 | 0
Cable | Cable61 | nasap161 | 0 | 0 | 0 | 4449015 | 4449015 | 10000 | 500000 | no | 4959015 | 62128000 | Cgrp3 | 3 | Cgrp33 | 0.015907 | 1067167.4105 | 0
OHL conductor | OHL conductor62 | nasap162 | 0 | 0 | 0 | 241878 | 241878 | 50000 | 5000 | no | 296878 | 4760000 | Lgrp1 | 1 | Lgrp11 | 5.1699e-35 | 2.6143e-28 | 0
OHL conductor | OHL conductor63 | nasap163 | 0 | 0 | 0 | 2265429 | 2265429 | 10000000 | 5000 | Nuclear | 12270429 | 9520000 | Lgrp1 | 1 | Lgrp11 | 5.1699e-35 | 0 | 9520000
OHL conductor | OHL conductor64 | nasap164 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | Nuclear | 2320429 | 23800000 | Lgrp1 | 1 | Lgrp11 | 5.1699e-35 | 0 | 23800000
OHL conductor | OHL conductor65 | nasap165 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 2320429 | 47600000 | Lgrp1 | 1 | Lgrp11 | 5.1699e-35 | 2.5808e-27 | 0
OHL conductor | OHL conductor66 | nasap166 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 2320429 | 71400000 | Lgrp1 | 1 | Lgrp11 | 5.1699e-35 | 3.8112e-27 | 0
OHL conductor | OHL conductor67 | nasap167 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 5000 | no | 2280429 | 4760000 | Lgrp1 | 1 | Lgrp11 | 5.1699e-35 | 3.6398e-28 | 0
OHL conductor | OHL conductor68 | nasap168 | 0 | 0 | 0 | 4449015 | 4449015 | 10000 | 5000 | no | 4464015 | 9520000 | Lgrp1 | 1 | Lgrp11 | 5.1699e-35 | 7.2295e-28 | 0
OHL conductor | OHL conductor69 | nasap169 | 0 | 0 | 0 | 241878 | 241878 | 50000 | 5000 | no | 296878 | 23800000 | Lgrp1 | 1 | Lgrp11 | 5.1699e-35 | 1.2458e-27 | 0
OHL conductor | OHL conductor70 | nasap170 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 2320429 | 47600000 | Lgrp1 | 1 | Lgrp11 | 5.1699e-35 | 2.5808e-27 | 0
OHL conductor | OHL conductor71 | nasap171 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 2320429 | 71400000 | Lgrp1 | 1 | Lgrp11 | 5.1699e-35 | 3.8112e-27 | 0
OHL conductor | OHL conductor72 | nasap172 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 2320429 | 4760000 | Lgrp1 | 1 | Lgrp11 | 5.1699e-35 | 3.6605e-28 | 0
OHL conductor | OHL conductor73 | nasap173 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 5000 | no | 2280429 | 9520000 | Lgrp1 | 1 | Lgrp11 | 5.1699e-35 | 6.1006e-28 | 0
OHL conductor | OHL conductor74 | nasap174 | 0 | 0 | 0 | 4449015 | 4449015 | 10000 | 5000 | no | 4464015 | 23800000 | Lgrp1 | 1 | Lgrp11 | 5.1699e-35 | 1.4612e-27 | 0
OHL conductor | OHL conductor75 | nasap175 | 0 | 0 | 0 | 2265429 | 2265429 | 10000000 | 5000 | no | 12270429 | 47600000 | Lgrp1 | 1 | Lgrp11 | 5.1699e-35 | 3.0952e-27 | 0
OHL conductor | OHL conductor76 | nasap176 | 0 | 0 | 0 | 241878 | 241878 | 50000 | 5000 | no | 296878 | 71400000 | Lgrp1 | 1 | Lgrp11 | 5.1699e-35 | 3.7066e-27 | 0
OHL conductor | OHL conductor77 | nasap177 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 5000 | no | 2280429 | 4760000 | Lgrp1 | 1 | Lgrp11 | 5.1699e-35 | 3.6398e-28 | 0
OHL conductor | OHL conductor78 | nasap178 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 2320429 | 9520000 | Lgrp1 | 1 | Lgrp11 | 5.1699e-35 | 6.1213e-28 | 0
OHL conductor | OHL conductor79 | nasap179 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 2320429 | 23800000 | Lgrp1 | 1 | Lgrp11 | 5.1699e-35 | 1.3504e-27 | 0
OHL conductor | OHL conductor80 | nasap180 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 2320429 | 47600000 | Lgrp1 | 1 | Lgrp11 | 5.1699e-35 | 2.5808e-27 | 0
OHL fittings | OHL fittings81 | nasap181 | 0 | 0 | 0 | 2265429 | 2265429 | 1000000 | 5000 | no | 3270429 | 71400000 | Igrp9 | 1 | Igrp91 | 2.0174e-06 | 150.6431 | 0
OHL fittings | OHL fittings82 | nasap182 | 0 | 0 | 0 | 2265429 | 2265429 | 10000000 | 5000 | no | 12270429 | 4760000 | Igrp9 | 1 | Igrp91 | 2.0174e-06 | 34.3579 | 0
OHL fittings | OHL fittings83 | nasap183 | 0 | 0 | 0 | 2265429 | 2265429 | 1000000 | 5000 | no | 3270429 | 9520000 | Igrp9 | 1 | Igrp91 | 2.0174e-06 | 25.8039 | 0
OHL fittings | OHL fittings84 | nasap184 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 5000 | no | 2280429 | 23800000 | Igrp9 | 1 | Igrp91 | 2.0174e-06 | 52.6157 | 0
OHL fittings | OHL fittings85 | nasap185 | 0 | 0 | 0 | 241878 | 241878 | 50000 | 5000 | no | 296878 | 47600000 | Igrp9 | 1 | Igrp91 | 2.0174e-06 | 96.6291 | 0
OHL fittings | OHL fittings86 | nasap186 | 0 | 0 | 0 | 4449015 | 4449015 | 50000 | 5000 | no | 4504015 | 71400000 | Igrp9 | 1 | Igrp91 | 2.0174e-06 | 153.1318 | 0
OHL fittings | OHL fittings87 | nasap187 | 0 | 0 | 0 | 4449015 | 4449015 | 10000000 | 5000 | no | 14454015 | 4760000 | Igrp9 | 1 | Igrp91 | 2.0174e-06 | 38.7631 | 0
OHL fittings | OHL fittings88 | nasap188 | 0 | 0 | 0 | 4449015 | 4449015 | 10000000 | 5000 | no | 14454015 | 9520000 | Igrp9 | 1 | Igrp91 | 2.0174e-06 | 48.3661 | 0
OHL fittings | OHL fittings89 | nasap189 | 0 | 0 | 0 | 4449015 | 4449015 | 10000000 | 5000 | no | 14454015 | 23800000 | Igrp9 | 1 | Igrp91 | 2.0174e-06 | 77.1752 | 0
OHL fittings | OHL fittings90 | nasap190 | 0 | 0 | 0 | 4449015 | 4449015 | 50000 | 5000 | no | 4504015 | 47600000 | Igrp8 | 1 | Igrp81 | 0.0015645 | 81514.1315 | 0
OHL fittings | OHL fittings91 | nasap191 | 0 | 0 | 0 | 4449015 | 4449015 | 50000 | 5000 | no | 4504015 | 71400000 | Igrp9 | 1 | Igrp91 | 2.0174e-06 | 153.1318 | 0
OHL fittings | OHL fittings92 | nasap192 | 0 | 0 | 0 | 4449015 | 4449015 | 50000 | 5000 | no | 4504015 | 4760000 | Igrp9 | 1 | Igrp91 | 2.0174e-06 | 18.6896 | 0
OHL fittings | OHL fittings93 | nasap193 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 2320429 | 9520000 | Igrp8 | 1 | Igrp81 | 0.0015645 | 18523.7603 | 0
OHL fittings | OHL fittings94 | nasap194 | 0 | 0 | 0 | 4449015 | 4449015 | 1000000 | 5000 | no | 5454015 | 23800000 | Igrp9 | 1 | Igrp91 | 2.0174e-06 | 59.0182 | 0
OHL fittings | OHL fittings95 | nasap195 | 0 | 0 | 0 | 4449015 | 4449015 | 10000000 | 5000 | no | 14454015 | 47600000 | Igrp9 | 1 | Igrp91 | 2.0174e-06 | 125.1902 | 0
OHL fittings | OHL fittings96 | nasap196 | 0 | 0 | 0 | 241878 | 241878 | 50000 | 5000 | no | 296878 | 71400000 | Igrp9 | 1 | Igrp91 | 2.0174e-06 | 144.6441 | 0
OHL fittings | OHL fittings97 | nasap197 | 0 | 0 | 0 | 241878 | 241878 | 50000 | 5000 | no | 296878 | 4760000 | Igrp9 | 1 | Igrp91 | 2.0174e-06 | 10.2019 | 0
OHL fittings | OHL fittings98 | nasap198 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 2320429 | 9520000 | Igrp9 | 1 | Igrp91 | 2.0174e-06 | 23.8874 | 0
OHL fittings | OHL fittings99 | nasap199 | 0 | 0 | 0 | 2265429 | 2265429 | 10000000 | 5000 | no | 12270429 | 23800000 | Igrp9 | 1 | Igrp91 | 2.0174e-06 | 72.7699 | 0
OHL fittings | OHL fittings100 | nasap200 | 0 | 0 | 0 | 2265429 | 2265429 | 10000000 | 5000 | no | 12270429 | 47600000 | Igrp9 | 1 | Igrp91 | 2.0174e-06 | 120.785 | 0

## Scenario 2
Scenario 2 assumes we invest in all switchgear and Cable assets, but we do no investment for Transformer and OHL. This scenario also assumes there is no asset deterioration.
Asset type | Asset Id | site ID/nasap | Traffic Hub (£) | EKP(£) | Demand(£) | Security(£) | Overall System(£) | Safety(£) | Environmental(£) | HILP? | Monetisation of criticality | Cost of recovery | Asset group | Asset health end of T1 | For lookup | Probability of failure end of T1 | £ Risk (without HILP) | £ Risk 2015 (HILP assets exclude HILP elements) | Total £ Risk (without HILP assets) | Total £ Risk including HILP assets (exclude HILP elements)
Transformer | Transformer2 | site102 | 0 | 0 | 800000 | 241878 | 1041878 | 10000000 | 0 | Nuclear | 11041878 | 5600000 | Tgrp1 | 3 | Tgrp13 | 0.0080604 | 0 | 5600000 | 25163801.5786 | 101438801.5786
Transformer | Transformer3 | site103 | 0 | 0 | 1600000 | 241878 | 1841878 | 50000 | 0 | no | 1891878 | 5600000 | Tgrp1 | 1 | Tgrp11 | 0.0031243 | 23407.0774 | 0
Transformer | Transformer4 | site104 | 0 | 0 | 2400000 | 241878 | 2641878 | 10000 | 0 | no | 2651878 | 5600000 | Tgrp1 | 4a(2b) | Tgrp14a(2b) | 0.029258 | 241432.0627 | 0 |  | Assets which are exposed to HILP events are monetised for all other Criticality criteria, but monetisation values have not been provided for the HILP elements.
Transformer | Transformer5 | site105 | 0 | 0 | 2400000 | 241878 | 2641878 | 10000000 | 0 | no | 12641878 | 5600000 | Tgrp1 | 1 | Tgrp11 | 0.0031243 | 56993.5937 | 0 |  | Total Risk with HILP assets including HILP elements will be the value above plus the HILP risk (will not be monetised) identified in Column K
Transformer | Transformer6 | site106 | 0 | 0 | 2400000 | 241878 | 2641878 | 50000 | 0 | no | 2691878 | 5600000 | Tgrp1 | 1 | Tgrp11 | 0.0031243 | 25906.5391 | 0
Transformer | Transformer7 | site107 | 0 | 0 | 800000 | 2265429 | 3065429 | 50000 | 0 | no | 3115429 | 5600000 | Tgrp1 | 1 | Tgrp11 | 0.0031243 | 27229.8509 | 0
Transformer | Transformer8 | site108 | 0 | 0 | 800000 | 4449015 | 5249015 | 50000 | 0 | COMAH | 5299015 | 5600000 | Tgrp1 | 2 | Tgrp12 | 0.0031243 | 0 | 5600000
Transformer | Transformer9 | site109 | 1078000 | 843500 | 800000 | 2265429 | 4986929 | 50000 | 0 | Black start | 5036929 | 5600000 | Tgrp1 | 2 | Tgrp12 | 0.0031243 | 0 | 5600000
Transformer | Transformer10 | site110 | 1078000 | 843500 | 800000 | 2265429 | 4986929 | 10000000 | 0 | Nuclear | 14986929 | 5600000 | Tgrp1 | 2 | Tgrp12 | 0.0031243 | 0 | 5600000
Transformer | Transformer11 | site111 | 1078000 | 843500 | 800000 | 2265429 | 4986929 | 10000000 | 0 | COMAH | 14986929 | 5600000 | Tgrp1 | 2 | Tgrp12 | 0.0031243 | 0 | 5600000
Transformer | Transformer12 | site112 | 0 | 0 | 800000 | 241878 | 1041878 | 10000000 | 0 | no | 11041878 | 5600000 | Tgrp1 | 5 | Tgrp15 | 0.10952 | 1822535.9896 | 0
Transformer | Transformer13 | site113 | 0 | 0 | 800000 | 2265429 | 3065429 | 50000 | 0 | no | 3115429 | 5600000 | Tgrp1 | 3 | Tgrp13 | 0.0080604 | 70249.6628 | 0
Transformer | Transformer14 | site114 | 0 | 843500 | 800000 | 241878 | 1885378 | 1000000 | 0 | no | 2885378 | 5600000 | Tgrp1 | 2 | Tgrp12 | 0.0031243 | 26511.0964 | 0
Transformer | Transformer15 | site115 | 0 | 0 | 800000 | 4449015 | 5249015 | 10000000 | 0 | Black start | 15249015 | 5600000 | Tgrp1 | 4a(2c) | Tgrp14a(2c) | 0.0081177 | 0 | 5600000
Transformer | Transformer16 | site116 | 0 | 0 | 800000 | 241878 | 1041878 | 1000000 | 0 | no | 2041878 | 5600000 | Tgrp1 | 4b | Tgrp14b | 0.061032 | 466399.1396 | 0
Transformer | Transformer17 | site117 | 0 | 843500 | 800000 | 2265429 | 3908929 | 1000000 | 0 | no | 4908929 | 5600000 | Tgrp1 | 3 | Tgrp13 | 0.0080604 | 84705.9529 | 0
Transformer | Transformer18 | site118 | 0 | 843500 | 800000 | 2265429 | 3908929 | 1000000 | 0 | no | 4908929 | 5600000 | Tgrp1 | 2 | Tgrp12 | 0.0031243 | 32833.3316 | 0
Transformer | Transformer19 | site119 | 0 | 843500 | 800000 | 2265429 | 3908929 | 1000000 | 0 | no | 4908929 | 5600000 | Tgrp1 | 4a(2c) | Tgrp14a(2c) | 0.0081177 | 85308.3745 | 0
Transformer | Transformer20 | site120 | 0 | 0 | 800000 | 4449015 | 5249015 | 50000 | 0 | no | 5299015 | 5600000 | Tgrp1 | 4b | Tgrp14b | 0.061032 | 665188.7426 | 0
Transformer | Transformer21 | site121 | 0 | 0 | 800000 | 4449015 | 5249015 | 1000000 | 0 | no | 6249015 | 5600000 | Tgrp1 | 5 | Tgrp15 | 0.10952 | 1297645.3907 | 0
Switchgear | Switchgear22 | site122 | 0 | 0 | 800000 | 241878 | 1041878 | 50000 | 0 | no | 1091878 | 1871000 | Sgrp20 | 1 | Sgrp201 | 2.0793e-11 | 6.1608e-05 | 0
Switchgear | Switchgear23 | site123 | 0 | 0 | 800000 | 241878 | 1041878 | 10000 | 0 | Nuclear | 1051878 | 1871000 | Sgrp1 | 1 | Sgrp11 | 4.3955e-14 | 0 | 1871000
Switchgear | Switchgear24 | site124 | 0 | 0 | 800000 | 241878 | 1041878 | 10000 | 0 | no | 1051878 | 1871000 | Sgrp20 | 1 | Sgrp201 | 2.0793e-11 | 6.0776e-05 | 0
Switchgear | Switchgear25 | site125 | 0 | 0 | 800000 | 241878 | 1041878 | 10000 | 0 | no | 1051878 | 1871000 | Sgrp20 | 1 | Sgrp201 | 2.0793e-11 | 6.0776e-05 | 0
Switchgear | Switchgear26 | site126 | 0 | 0 | 800000 | 241878 | 1041878 | 10000 | 0 | no | 1051878 | 1871000 | Sgrp20 | 1 | Sgrp201 | 2.0793e-11 | 6.0776e-05 | 0
Switchgear | Switchgear27 | site127 | 0 | 0 | 800000 | 241878 | 1041878 | 10000 | 0 | no | 1051878 | 1871000 | Sgrp1 | 1 | Sgrp11 | 4.3955e-14 | 1.2847e-07 | 0
Switchgear | Switchgear28 | site128 | 0 | 0 | 800000 | 2265429 | 3065429 | 50000 | 0 | no | 3115429 | 1871000 | Sgrp20 | 1 | Sgrp201 | 2.0793e-11 | 0.00010368 | 0
Switchgear | Switchgear29 | site129 | 0 | 0 | 800000 | 4449015 | 5249015 | 10000 | 0 | COMAH | 5259015 | 1871000 | Sgrp1 | 1 | Sgrp11 | 4.3955e-14 | 0 | 1871000
Switchgear | Switchgear30 | site130 | 0 | 0 | 800000 | 241878 | 1041878 | 50000 | 0 | Black start | 1091878 | 1871000 | Sgrp1 | 1 | Sgrp11 | 4.3955e-14 | 0 | 1871000
Switchgear | Switchgear31 | site131 | 1078000 | 843500 | 800000 | 2265429 | 4986929 | 50000 | 0 | Nuclear | 5036929 | 1871000 | Sgrp20 | 1 | Sgrp201 | 2.0793e-11 | 0 | 1871000
Switchgear | Switchgear32 | site132 | 0 | 0 | 800000 | 241878 | 1041878 | 10000000 | 0 | no | 11041878 | 1871000 | Sgrp1 | 1 | Sgrp11 | 4.3955e-14 | 5.6758e-07 | 0
Switchgear | Switchgear33 | site133 | 0 | 0 | 800000 | 2265429 | 3065429 | 50000 | 0 | no | 3115429 | 1871000 | Sgrp20 | 1 | Sgrp201 | 2.0793e-11 | 0.00010368 | 0
Switchgear | Switchgear34 | site134 | 0 | 0 | 800000 | 241878 | 1041878 | 10000 | 0 | no | 1051878 | 1871000 | Sgrp1 | 1 | Sgrp11 | 4.3955e-14 | 1.2847e-07 | 0
Switchgear | Switchgear35 | site135 | 0 | 843500 | 800000 | 241878 | 1885378 | 10000000 | 0 | no | 11885378 | 1871000 | Sgrp20 | 1 | Sgrp201 | 2.0793e-11 | 0.00028604 | 0
Switchgear | Switchgear36 | site136 | 0 | 843500 | 800000 | 241878 | 1885378 | 1000000 | 0 | no | 2885378 | 1871000 | Sgrp1 | 1 | Sgrp11 | 4.3955e-14 | 2.0906e-07 | 0
Switchgear | Switchgear37 | site137 | 0 | 0 | 800000 | 241878 | 1041878 | 10000 | 0 | no | 1051878 | 1871000 | Sgrp20 | 1 | Sgrp201 | 2.0793e-11 | 6.0776e-05 | 0
Switchgear | Switchgear38 | site138 | 1078000 | 843500 | 800000 | 4449015 | 7170515 | 50000 | 0 | no | 7220515 | 1871000 | Sgrp1 | 1 | Sgrp11 | 4.3955e-14 | 3.9961e-07 | 0
Switchgear | Switchgear39 | site139 | 1078000 | 0 | 800000 | 241878 | 2119878 | 1000000 | 0 | COMAH | 3119878 | 1871000 | Sgrp1 | 1 | Sgrp11 | 4.3955e-14 | 0 | 1871000
Switchgear | Switchgear40 | site140 | 1078000 | 0 | 800000 | 2265429 | 4143429 | 50000 | 0 | no | 4193429 | 1871000 | Sgrp1 | 1 | Sgrp11 | 4.3955e-14 | 2.6656e-07 | 0
Switchgear | Switchgear41 | site141 | 0 | 0 | 800000 | 241878 | 1041878 | 50000 | 0 | no | 1091878 | 1871000 | Sgrp1 | 1 | Sgrp11 | 4.3955e-14 | 1.3023e-07 | 0
Cable | Cable42 | nasap142 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 25000 | no | 2300429 | 2824000 | Cgrp1 | 1 | Cgrp11 | 0.00070923 | 3634.3786 | 0
Cable | Cable43 | nasap143 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 25000 | no | 2300429 | 5648000 | Cgrp3 | 1 | Cgrp31 | 0.00049689 | 3949.4583 | 0
Cable | Cable44 | nasap144 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 500000 | no | 2775429 | 14120000 | Cgrp1 | 1 | Cgrp11 | 0.00070923 | 11982.6785 | 0
Cable | Cable45 | nasap145 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 500000 | no | 2775429 | 28240000 | Cgrp3 | 1 | Cgrp31 | 0.00049689 | 15411.1137 | 0
Cable | Cable46 | nasap146 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 25000 | no | 2300429 | 31064000 | Cgrp3 | 1 | Cgrp31 | 0.00049689 | 16578.2975 | 0
Cable | Cable47 | nasap147 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 500000 | no | 2775429 | 33888000 | Cgrp1 | 1 | Cgrp11 | 0.00070923 | 26002.6593 | 0
Cable | Cable48 | nasap148 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 500000 | no | 2775429 | 42360000 | Cgrp3 | 1 | Cgrp31 | 0.00049689 | 22427.1355 | 0
Cable | Cable49 | nasap149 | 0 | 0 | 0 | 241878 | 241878 | 10000 | 500000 | no | 751878 | 56480000 | Cgrp3 | 1 | Cgrp31 | 0.00049689 | 28437.6844 | 0
Cable | Cable50 | nasap150 | 0 | 0 | 0 | 2265429 | 2265429 | 10000000 | 500000 | no | 12765429 | 59304000 | Cgrp1 | 1 | Cgrp11 | 0.00070923 | 51113.5172 | 0
Cable | Cable51 | nasap151 | 0 | 0 | 0 | 4449015 | 4449015 | 10000 | 500000 | no | 4959015 | 62128000 | Cgrp3 | 1 | Cgrp31 | 0.00049689 | 33334.558 | 0
Cable | Cable52 | nasap152 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 500000 | no | 2775429 | 2824000 | Cgrp1 | 1 | Cgrp11 | 0.00070923 | 3971.261 | 0
Cable | Cable53 | nasap153 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 500000 | no | 2775429 | 5648000 | Cgrp3 | 1 | Cgrp31 | 0.00049689 | 4185.4789 | 0
Cable | Cable54 | nasap154 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 25000 | no | 2300429 | 14120000 | Cgrp3 | 1 | Cgrp31 | 0.00049689 | 8159.0714 | 0
Cable | Cable55 | nasap155 | 0 | 0 | 0 | 4449015 | 4449015 | 10000 | 500000 | no | 4959015 | 28240000 | Cgrp3 | 1 | Cgrp31 | 0.00049689 | 16496.1057 | 0
Cable | Cable56 | nasap156 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 500000 | no | 2775429 | 31064000 | Cgrp1 | 1 | Cgrp11 | 0.00070923 | 23999.8049 | 0
Cable | Cable57 | nasap157 | 0 | 0 | 0 | 241878 | 241878 | 10000 | 25000 | no | 276878 | 33888000 | Cgrp3 | 1 | Cgrp31 | 0.00049689 | 16976.0289 | 0
Cable | Cable58 | nasap158 | 0 | 0 | 0 | 2265429 | 2265429 | 10000000 | 500000 | no | 12765429 | 42360000 | Cgrp3 | 1 | Cgrp31 | 0.00049689 | 27391.0206 | 0
Cable | Cable59 | nasap159 | 0 | 0 | 0 | 4449015 | 4449015 | 10000000 | 500000 | no | 14949015 | 56480000 | Cgrp1 | 1 | Cgrp11 | 0.00070923 | 50659.3189 | 0
Cable | Cable60 | nasap160 | 0 | 0 | 0 | 2265429 | 2265429 | 10000000 | 500000 | no | 12765429 | 59304000 | Cgrp1 | 1 | Cgrp11 | 0.00070923 | 51113.5172 | 0
Cable | Cable61 | nasap161 | 0 | 0 | 0 | 4449015 | 4449015 | 10000 | 500000 | no | 4959015 | 62128000 | Cgrp3 | 1 | Cgrp31 | 0.00049689 | 33334.558 | 0
OHL conductor | OHL conductor62 | nasap162 | 0 | 0 | 0 | 241878 | 241878 | 50000 | 5000 | no | 296878 | 4760000 | Lgrp1 | 3 | Lgrp13 | 2.9678e-08 | 0.15008 | 0
OHL conductor | OHL conductor63 | nasap163 | 0 | 0 | 0 | 2265429 | 2265429 | 10000000 | 5000 | Nuclear | 12270429 | 9520000 | Lgrp1 | 4a | Lgrp14a | 0.0076709 | 0 | 9520000
OHL conductor | OHL conductor64 | nasap164 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | Nuclear | 2320429 | 23800000 | Lgrp1 | 4a | Lgrp14a | 0.0076709 | 0 | 23800000
OHL conductor | OHL conductor65 | nasap165 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 2320429 | 47600000 | Lgrp1 | 3 | Lgrp13 | 2.9678e-08 | 1.4815 | 0
OHL conductor | OHL conductor66 | nasap166 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 2320429 | 71400000 | Lgrp1 | 1 | Lgrp11 | 5.1699e-35 | 3.8112e-27 | 0
OHL conductor | OHL conductor67 | nasap167 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 5000 | no | 2280429 | 4760000 | Lgrp1 | 2 | Lgrp12 | 5.1699e-35 | 3.6398e-28 | 0
OHL conductor | OHL conductor68 | nasap168 | 0 | 0 | 0 | 4449015 | 4449015 | 10000 | 5000 | no | 4464015 | 9520000 | Lgrp1 | 5 | Lgrp15 | 0.13552 | 1895172.8499 | 0
OHL conductor | OHL conductor69 | nasap169 | 0 | 0 | 0 | 241878 | 241878 | 50000 | 5000 | no | 296878 | 23800000 | Lgrp1 | 4a | Lgrp14a | 0.0076709 | 184845.8683 | 0
OHL conductor | OHL conductor70 | nasap170 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 2320429 | 47600000 | Lgrp1 | 5 | Lgrp15 | 0.13552 | 6765427.6468 | 0
OHL conductor | OHL conductor71 | nasap171 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 2320429 | 71400000 | Lgrp1 | 4a | Lgrp14a | 0.0076709 | 565505.4864 | 0
OHL conductor | OHL conductor72 | nasap172 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 2320429 | 4760000 | Lgrp1 | 5 | Lgrp15 | 0.13552 | 959569.6805 | 0
OHL conductor | OHL conductor73 | nasap173 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 5000 | no | 2280429 | 9520000 | Lgrp1 | 2 | Lgrp12 | 5.1699e-35 | 6.1006e-28 | 0
OHL conductor | OHL conductor74 | nasap174 | 0 | 0 | 0 | 4449015 | 4449015 | 10000 | 5000 | no | 4464015 | 23800000 | Lgrp1 | 3 | Lgrp13 | 2.9678e-08 | 0.83881 | 0
OHL conductor | OHL conductor75 | nasap175 | 0 | 0 | 0 | 2265429 | 2265429 | 10000000 | 5000 | no | 12270429 | 47600000 | Lgrp1 | 4a | Lgrp14a | 0.0076709 | 459262.8737 | 0
OHL conductor | OHL conductor76 | nasap176 | 0 | 0 | 0 | 241878 | 241878 | 50000 | 5000 | no | 296878 | 71400000 | Lgrp1 | 4a | Lgrp14a | 0.0076709 | 549982.9344 | 0
OHL conductor | OHL conductor77 | nasap177 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 5000 | no | 2280429 | 4760000 | Lgrp1 | 5 | Lgrp15 | 0.13552 | 954148.7114 | 0
OHL conductor | OHL conductor78 | nasap178 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 2320429 | 9520000 | Lgrp1 | 4a | Lgrp14a | 0.0076709 | 90827.3005 | 0
OHL conductor | OHL conductor79 | nasap179 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 2320429 | 23800000 | Lgrp1 | 3 | Lgrp13 | 2.9678e-08 | 0.77519 | 0
OHL conductor | OHL conductor80 | nasap180 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 2320429 | 47600000 | Lgrp1 | 1 | Lgrp11 | 5.1699e-35 | 2.5808e-27 | 0
OHL fittings | OHL fittings81 | nasap181 | 0 | 0 | 0 | 2265429 | 2265429 | 1000000 | 5000 | no | 3270429 | 71400000 | Igrp9 | 2 | Igrp92 | 2.0174e-06 | 150.6431 | 0
OHL fittings | OHL fittings82 | nasap182 | 0 | 0 | 0 | 2265429 | 2265429 | 10000000 | 5000 | no | 12270429 | 4760000 | Igrp9 | 2 | Igrp92 | 2.0174e-06 | 34.3579 | 0
OHL fittings | OHL fittings83 | nasap183 | 0 | 0 | 0 | 2265429 | 2265429 | 1000000 | 5000 | no | 3270429 | 9520000 | Igrp9 | 2 | Igrp92 | 2.0174e-06 | 25.8039 | 0
OHL fittings | OHL fittings84 | nasap184 | 0 | 0 | 0 | 2265429 | 2265429 | 10000 | 5000 | no | 2280429 | 23800000 | Igrp9 | 2 | Igrp92 | 2.0174e-06 | 52.6157 | 0
OHL fittings | OHL fittings85 | nasap185 | 0 | 0 | 0 | 241878 | 241878 | 50000 | 5000 | no | 296878 | 47600000 | Igrp9 | 1 | Igrp91 | 2.0174e-06 | 96.6291 | 0
OHL fittings | OHL fittings86 | nasap186 | 0 | 0 | 0 | 4449015 | 4449015 | 50000 | 5000 | no | 4504015 | 71400000 | Igrp9 | 1 | Igrp91 | 2.0174e-06 | 153.1318 | 0
OHL fittings | OHL fittings87 | nasap187 | 0 | 0 | 0 | 4449015 | 4449015 | 10000000 | 5000 | no | 14454015 | 4760000 | Igrp9 | 2 | Igrp92 | 2.0174e-06 | 38.7631 | 0
OHL fittings | OHL fittings88 | nasap188 | 0 | 0 | 0 | 4449015 | 4449015 | 10000000 | 5000 | no | 14454015 | 9520000 | Igrp9 | 2 | Igrp92 | 2.0174e-06 | 48.3661 | 0
OHL fittings | OHL fittings89 | nasap189 | 0 | 0 | 0 | 4449015 | 4449015 | 10000000 | 5000 | no | 14454015 | 23800000 | Igrp9 | 2 | Igrp92 | 2.0174e-06 | 77.1752 | 0
OHL fittings | OHL fittings90 | nasap190 | 0 | 0 | 0 | 4449015 | 4449015 | 50000 | 5000 | no | 4504015 | 47600000 | Igrp8 | 5 | Igrp85 | 0.099559 | 5187442.3409 | 0
OHL fittings | OHL fittings91 | nasap191 | 0 | 0 | 0 | 4449015 | 4449015 | 50000 | 5000 | no | 4504015 | 71400000 | Igrp9 | 2 | Igrp92 | 2.0174e-06 | 153.1318 | 0
OHL fittings | OHL fittings92 | nasap192 | 0 | 0 | 0 | 4449015 | 4449015 | 50000 | 5000 | no | 4504015 | 4760000 | Igrp9 | 1 | Igrp91 | 2.0174e-06 | 18.6896 | 0
OHL fittings | OHL fittings93 | nasap193 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 2320429 | 9520000 | Igrp8 | 5 | Igrp85 | 0.099559 | 1178825.5229 | 0
OHL fittings | OHL fittings94 | nasap194 | 0 | 0 | 0 | 4449015 | 4449015 | 1000000 | 5000 | no | 5454015 | 23800000 | Igrp9 | 2 | Igrp92 | 2.0174e-06 | 59.0182 | 0
OHL fittings | OHL fittings95 | nasap195 | 0 | 0 | 0 | 4449015 | 4449015 | 10000000 | 5000 | no | 14454015 | 47600000 | Igrp9 | 2 | Igrp92 | 2.0174e-06 | 125.1902 | 0
OHL fittings | OHL fittings96 | nasap196 | 0 | 0 | 0 | 241878 | 241878 | 50000 | 5000 | no | 296878 | 71400000 | Igrp9 | 4a | Igrp94a | 0.013817 | 990634.0832 | 0
OHL fittings | OHL fittings97 | nasap197 | 0 | 0 | 0 | 241878 | 241878 | 50000 | 5000 | no | 296878 | 4760000 | Igrp9 | 3 | Igrp93 | 0.0010674 | 5397.6245 | 0
OHL fittings | OHL fittings98 | nasap198 | 0 | 0 | 0 | 2265429 | 2265429 | 50000 | 5000 | no | 2320429 | 9520000 | Igrp9 | 1 | Igrp91 | 2.0174e-06 | 23.8874 | 0
OHL fittings | OHL fittings99 | nasap199 | 0 | 0 | 0 | 2265429 | 2265429 | 10000000 | 5000 | no | 12270429 | 23800000 | Igrp9 | 2 | Igrp92 | 2.0174e-06 | 72.7699 | 0
OHL fittings | OHL fittings100 | nasap200 | 0 | 0 | 0 | 2265429 | 2265429 | 10000000 | 5000 | no | 12270429 | 47600000 | Igrp9 | 2 | Igrp92 | 2.0174e-06 | 120.785 | 0

## Asset Info
Asset type | Asset Id | site ID/nasap | Nuclear | Traffic Hub | COMAH | EKP | Black Start | Demand | Demand Cat | Security | Safety | Environmental | Asset group | Asset health 2015 | HILP? | Length of Cables and OHL (km)
Transformer | Transformer2 | site102 | Yes | No | No | No | No | 276.8 | low | Low | Very High |  | Tgrp1 | 3 | Nuclear | n/a
Transformer | Transformer3 | site103 | No | No | No | No | No | 240 | medium | Low | Medium |  | Tgrp1 | 1 | no | n/a
Transformer | Transformer4 | site104 | No | No | No | No | No | 0 | high | Low | Low |  | Tgrp1 | 4a(2b) | no | n/a
Transformer | Transformer5 | site105 | No | No | No | No | No | 124 | high | Low | Very High |  | Tgrp1 | 1 | no | n/a
Transformer | Transformer6 | site106 | No | No | No | No | No | 203 | high | Low | Medium |  | Tgrp1 | 1 | no | n/a
Transformer | Transformer7 | site107 | No | No | No | No | No | 121 | low | Medium | Medium |  | Tgrp1 | 1 | no | n/a
Transformer | Transformer8 | site108 | No | No | Yes | No | No | 225.8 | low | High | Medium |  | Tgrp1 | 2 | COMAH | n/a
Transformer | Transformer9 | site109 | No | Yes | No | Yes | Yes | 492.4 | low | Medium | Medium |  | Tgrp1 | 2 | Black start | n/a
Transformer | Transformer10 | site110 | Yes | Yes | No | Yes | No | 492.4 | low | Medium | Very High |  | Tgrp1 | 2 | Nuclear | n/a
Transformer | Transformer11 | site111 | No | Yes | Yes | Yes | No | 492.4 | low | Medium | Very High |  | Tgrp1 | 2 | COMAH | n/a
Transformer | Transformer12 | site112 | No | No | No | No | No | 714.3 | low | Low | Very High |  | Tgrp1 | 5 | no | n/a
Transformer | Transformer13 | site113 | No | No | No | No | No | 395.2 | low | Medium | Medium |  | Tgrp1 | 3 | no | n/a
Transformer | Transformer14 | site114 | No | No | No | Yes | No | 283 | low | Low | High |  | Tgrp1 | 2 | no | n/a
Transformer | Transformer15 | site115 | No | No | No | No | Yes | 782.7 | low | High | Very High |  | Tgrp1 | 4a(2c) | Black start | n/a
Transformer | Transformer16 | site116 | No | No | No | No | No | 287.6 | low | Low | High |  | Tgrp1 | 4b | no | n/a
Transformer | Transformer17 | site117 | No | No | No | Yes | No | 245 | low | Medium | High |  | Tgrp1 | 3 | no | n/a
Transformer | Transformer18 | site118 | No | No | No | Yes | No | 245 | low | Medium | High |  | Tgrp1 | 2 | no | n/a
Transformer | Transformer19 | site119 | No | No | No | Yes | No | 245 | low | Medium | High |  | Tgrp1 | 4a(2c) | no | n/a
Transformer | Transformer20 | site120 | No | No | No | No | No | 373.4 | low | High | Medium |  | Tgrp1 | 4b | no | n/a
Transformer | Transformer21 | site121 | No | No | No | No | No | 138.5 | low | High | High |  | Tgrp1 | 5 | no | n/a
Switchgear | Switchgear22 | site122 | No | No | No | No | No | 240 | low | Low | Medium |  | Sgrp20 | 3 | no | n/a
Switchgear | Switchgear23 | site123 | Yes | No | No | No | No | 276.8 | low | Low | Low |  | Sgrp1 | 4b | Nuclear | n/a
Switchgear | Switchgear24 | site124 | No | No | No | No | No | 0 | low | Low | Low |  | Sgrp20 | 5 | no | n/a
Switchgear | Switchgear25 | site125 | No | No | No | No | No | 0 | low | Low | Low |  | Sgrp20 | 4a | no | n/a
Switchgear | Switchgear26 | site126 | No | No | No | No | No | 124 | low | Low | Low |  | Sgrp20 | 4b | no | n/a
Switchgear | Switchgear27 | site127 | No | No | No | No | No | 203 | low | Low | Low |  | Sgrp1 | 4a | no | n/a
Switchgear | Switchgear28 | site128 | No | No | No | No | No | 121 | low | Medium | Medium |  | Sgrp20 | 1 | no | n/a
Switchgear | Switchgear29 | site129 | No | No | Yes | No | No | 225.8 | low | High | Low |  | Sgrp1 | 2 | COMAH | n/a
Switchgear | Switchgear30 | site130 | No | No | No | No | Yes | 27 | low | Low | Medium |  | Sgrp1 | 3 | Black start | n/a
Switchgear | Switchgear31 | site131 | Yes | Yes | No | Yes | No | 492.4 | low | Medium | Medium |  | Sgrp20 | 3 | Nuclear | n/a
Switchgear | Switchgear32 | site132 | No | No | No | No | No | 714.3 | low | Low | Very High |  | Sgrp1 | 2 | no | n/a
Switchgear | Switchgear33 | site133 | No | No | No | No | No | 395.2 | low | Medium | Medium |  | Sgrp20 | 3 | no | n/a
Switchgear | Switchgear34 | site134 | No | No | No | No | No | 103 | low | Low | Low |  | Sgrp1 | 2 | no | n/a
Switchgear | Switchgear35 | site135 | No | No | No | Yes | No | 283 | low | Low | Very High |  | Sgrp20 | 4a | no | n/a
Switchgear | Switchgear36 | site136 | No | No | No | Yes | No | 173.8 | low | Low | High |  | Sgrp1 | 1 | no | n/a
Switchgear | Switchgear37 | site137 | No | No | No | No | No | 751.4 | low | Low | Low |  | Sgrp20 | 5 | no | n/a
Switchgear | Switchgear38 | site138 | No | Yes | No | Yes | No | 644.7 | low | High | Medium |  | Sgrp1 | 2 | no | n/a
Switchgear | Switchgear39 | site139 | No | Yes | Yes | No | No | 958.4 | low | Low | High |  | Sgrp1 | 2 | COMAH | n/a
Switchgear | Switchgear40 | site140 | No | Yes | No | No | No | 185.2 | low | Medium | Medium |  | Sgrp1 | 2 | no | n/a
Switchgear | Switchgear41 | site141 | No | No | No | No | No | 795.4 | low | Low | Medium |  | Sgrp1 | 3 | no | n/a
Cable | Cable42 | nasap142 | No | [6 empty] | Medium | Low | Medium | Cgrp1 | 2 | no | 1
Cable | Cable43 | nasap143 | No | [6 empty] | Medium | Low | Medium | Cgrp3 | 3 | no | 2
Cable | Cable44 | nasap144 | No | [6 empty] | Medium | Low | High | Cgrp1 | 1 | no | 5
Cable | Cable45 | nasap145 | No | [6 empty] | Medium | Low | High | Cgrp3 | 4a | no | 10
Cable | Cable46 | nasap146 | No | [6 empty] | Medium | Low | Medium | Cgrp3 | 3 | no | 11
Cable | Cable47 | nasap147 | No | [6 empty] | Medium | Low | High | Cgrp1 | 2 | no | 12
Cable | Cable48 | nasap148 | No | [6 empty] | Medium | Low | High | Cgrp3 | 3 | no | 15
Cable | Cable49 | nasap149 | No | [6 empty] | Low | Low | High | Cgrp3 | 3 | no | 20
Cable | Cable50 | nasap150 | No | [6 empty] | Medium | Very High | High | Cgrp1 | 2 | no | 21
Cable | Cable51 | nasap151 | No | [6 empty] | High | Low | High | Cgrp3 | 3 | no | 22
Cable | Cable52 | nasap152 | No | [6 empty] | Medium | Low | High | Cgrp1 | 2 | no | 1
Cable | Cable53 | nasap153 | No | [6 empty] | Medium | Low | High | Cgrp3 | 4a | no | 2
Cable | Cable54 | nasap154 | No | [6 empty] | Medium | Low | Medium | Cgrp3 | 3 | no | 5
Cable | Cable55 | nasap155 | No | [6 empty] | High | Low | High | Cgrp3 | 4a | no | 10
Cable | Cable56 | nasap156 | No | [6 empty] | Medium | Low | High | Cgrp1 | 1 | no | 11
Cable | Cable57 | nasap157 | No | [6 empty] | Low | Low | Medium | Cgrp3 | 3 | no | 12
Cable | Cable58 | nasap158 | No | [6 empty] | Medium | Very High | High | Cgrp3 | 5 | no | 15
Cable | Cable59 | nasap159 | No | [6 empty] | High | Very High | High | Cgrp1 | 3 | no | 20
Cable | Cable60 | nasap160 | No | [6 empty] | Medium | Very High | High | Cgrp1 | 4a | no | 21
Cable | Cable61 | nasap161 | No | [6 empty] | High | Low | High | Cgrp3 | 3 | no | 22
OHL conductor | OHL conductor62 | nasap162 | No | [6 empty] | Low | Medium | Low | Lgrp1 | 3 | no | 10
OHL conductor | OHL conductor63 | nasap163 | Yes | [6 empty] | Medium | Very High | Low | Lgrp1 | 4a | Nuclear | 20
OHL conductor | OHL conductor64 | nasap164 | Yes | [6 empty] | Medium | Medium | Low | Lgrp1 | 4a | Nuclear | 50
OHL conductor | OHL conductor65 | nasap165 | No | [6 empty] | Medium | Medium | Low | Lgrp1 | 3 | no | 100
OHL conductor | OHL conductor66 | nasap166 | No | [6 empty] | Medium | Medium | Low | Lgrp1 | 1 | no | 150
OHL conductor | OHL conductor67 | nasap167 | No | [6 empty] | Medium | Low | Low | Lgrp1 | 2 | no | 10
OHL conductor | OHL conductor68 | nasap168 | No | [6 empty] | High | Low | Low | Lgrp1 | 5 | no | 20
OHL conductor | OHL conductor69 | nasap169 | No | [6 empty] | Low | Medium | Low | Lgrp1 | 4a | no | 50
OHL conductor | OHL conductor70 | nasap170 | No | [6 empty] | Medium | Medium | Low | Lgrp1 | 5 | no | 100
OHL conductor | OHL conductor71 | nasap171 | No | [6 empty] | Medium | Medium | Low | Lgrp1 | 4a | no | 150
OHL conductor | OHL conductor72 | nasap172 | No | [6 empty] | Medium | Medium | Low | Lgrp1 | 5 | no | 10
OHL conductor | OHL conductor73 | nasap173 | No | [6 empty] | Medium | Low | Low | Lgrp1 | 2 | no | 20
OHL conductor | OHL conductor74 | nasap174 | No | [6 empty] | High | Low | Low | Lgrp1 | 3 | no | 50
OHL conductor | OHL conductor75 | nasap175 | No | [6 empty] | Medium | Very High | Low | Lgrp1 | 4a | no | 100
OHL conductor | OHL conductor76 | nasap176 | No | [6 empty] | Low | Medium | Low | Lgrp1 | 4a | no | 150
OHL conductor | OHL conductor77 | nasap177 | No | [6 empty] | Medium | Low | Low | Lgrp1 | 5 | no | 10
OHL conductor | OHL conductor78 | nasap178 | No | [6 empty] | Medium | Medium | Low | Lgrp1 | 4a | no | 20
OHL conductor | OHL conductor79 | nasap179 | No | [6 empty] | Medium | Medium | Low | Lgrp1 | 3 | no | 50
OHL conductor | OHL conductor80 | nasap180 | No | [6 empty] | Medium | Medium | Low | Lgrp1 | 1 | no | 100
OHL fittings | OHL fittings81 | nasap181 | No | [6 empty] | Medium | High | Low | Igrp9 | 2 | no | 150
OHL fittings | OHL fittings82 | nasap182 | No | [6 empty] | Medium | Very High | Low | Igrp9 | 2 | no | 10
OHL fittings | OHL fittings83 | nasap183 | No | [6 empty] | Medium | High | Low | Igrp9 | 2 | no | 20
OHL fittings | OHL fittings84 | nasap184 | No | [6 empty] | Medium | Low | Low | Igrp9 | 2 | no | 50
OHL fittings | OHL fittings85 | nasap185 | No | [6 empty] | Low | Medium | Low | Igrp9 | 1 | no | 100
OHL fittings | OHL fittings86 | nasap186 | No | [6 empty] | High | Medium | Low | Igrp9 | 1 | no | 150
OHL fittings | OHL fittings87 | nasap187 | No | [6 empty] | High | Very High | Low | Igrp9 | 2 | no | 10
OHL fittings | OHL fittings88 | nasap188 | No | [6 empty] | High | Very High | Low | Igrp9 | 2 | no | 20
OHL fittings | OHL fittings89 | nasap189 | No | [6 empty] | High | Very High | Low | Igrp9 | 2 | no | 50
OHL fittings | OHL fittings90 | nasap190 | No | [6 empty] | High | Medium | Low | Igrp8 | 5 | no | 100
OHL fittings | OHL fittings91 | nasap191 | No | [6 empty] | High | Medium | Low | Igrp9 | 2 | no | 150
OHL fittings | OHL fittings92 | nasap192 | No | [6 empty] | High | Medium | Low | Igrp9 | 1 | no | 10
OHL fittings | OHL fittings93 | nasap193 | No | [6 empty] | Medium | Medium | Low | Igrp8 | 5 | no | 20
OHL fittings | OHL fittings94 | nasap194 | No | [6 empty] | High | High | Low | Igrp9 | 2 | no | 50
OHL fittings | OHL fittings95 | nasap195 | No | [6 empty] | High | Very High | Low | Igrp9 | 2 | no | 100
OHL fittings | OHL fittings96 | nasap196 | No | [6 empty] | Low | Medium | Low | Igrp9 | 4a | no | 150
OHL fittings | OHL fittings97 | nasap197 | No | [6 empty] | Low | Medium | Low | Igrp9 | 3 | no | 10
OHL fittings | OHL fittings98 | nasap198 | No | [6 empty] | Medium | Medium | Low | Igrp9 | 1 | no | 20
OHL fittings | OHL fittings99 | nasap199 | No | [6 empty] | Medium | Very High | Low | Igrp9 | 2 | no | 50
OHL fittings | OHL fittings100 | nasap200 | No | [6 empty] | Medium | Very High | Low | Igrp9 | 2 | no | 100

## PoF Tx
Tgrp1 | AH1or2 | AH3 | AH4a (2c) | AH4a (2b) | AH4b | AHI 5
| 0.0031243 | 0.0080604 | 0.0081177 | 0.029258 | 0.061032 | 0.10952
| Tgrp11 | 0.0031243
For look up | Tgrp12 | 0.0031243
| Tgrp13 | 0.0080604
| Tgrp14a(2c) | 0.0081177
| Tgrp14a(2b) | 0.029258
| Tgrp14b | 0.061032
| Tgrp15 | 0.10952
An average value is used for Probability of Failure at a particular Asset Health Index for each asset type, with sub-groups depending on asset design. An example of Probability of Failures for different asset groups can be found in Figure 18 of the methodology

## PoF Cables
Cgrp1 | AH1or2 | AH3 | AH4a | AH5 | Cgrp11 | 0.00070923
| 0.00070923 | 0.016326 | 0.032874 | 0.070463 | Cgrp12 | 0.00070923
[5 empty] | Cgrp13 | 0.016326
[5 empty] | Cgrp14a | 0.032874
[5 empty] | Cgrp15 | 0.070463
Cgrp2 | AH1or2 | AH3 | AH4a | AH5 | Cgrp21 | 0
| 0 | 0.0079611 | 0.058649 | 0.10174 | Cgrp22 | 0
[5 empty] | Cgrp23 | 0.0079611
[5 empty] | Cgrp24a | 0.058649
[5 empty] | Cgrp25 | 0.10174
Cgrp3 | AH1or2 | AH3 | AH4a | AH5 | Cgrp31 | 0.00049689
| 0.00049689 | 0.015907 | 0.034696 | 0.067644 | Cgrp32 | 0.00049689
[5 empty] | Cgrp33 | 0.015907
[5 empty] | Cgrp34a | 0.034696
[5 empty] | Cgrp35 | 0.067644
Cgrp5 | AH1or2 | AH3 | AH4a | AH5 | Cgrp41 | 0.00066055
| 0.00066055 | 0.013124 | 0.026087 | 0.11462 | Cgrp42 | 0.00066055
[5 empty] | Cgrp43 | 0.013124
[5 empty] | Cgrp44a | 0.026087
[5 empty] | Cgrp45 | 0.11462
An average value is used for Probability of Failure at a particular Asset Health Index for each asset type, with sub-groups depending on asset design. An example of Probability of Failures for different asset groups can be found in Figure 18 of the methodology

## PoF OHL
lgrp1 | AH1or2 | AH3 | AH4a | AH5 | lgrp11 | 5.1699e-35
| 5.1699e-35 | 2.9678e-08 | 0.0076709 | 0.13552 | lgrp12 | 5.1699e-35
[5 empty] | lgrp13 | 2.9678e-08
[5 empty] | lgrp14a | 0.0076709
[5 empty] | lgrp15 | 0.13552
lgrp5 | AH1or2 | AH3 | AH4a | AH5 | lgrp51 | 8.0768e-06
| 8.0768e-06 | 0.0011982 | 0.0123 | 0.13204 | lgrp52 | 8.0768e-06
[5 empty] | lgrp53 | 0.0011982
[5 empty] | lgrp54a | 0.0123
[5 empty] | lgrp55 | 0.13204
igrp8 | AH1or2 | AH3 | AH4a | AH5 | igrp81 | 0.0015645
| 0.0015645 | 0.0085874 | 0.053497 | 0.099559 | igrp82 | 0.0015645
[5 empty] | igrp83 | 0.0085874
[5 empty] | igrp84a | 0.053497
[5 empty] | igrp85 | 0.099559
igrp9 | AH1or2 | AH3 | AH4a | AH5 | igrp91 | 2.0174e-06
| 2.0174e-06 | 0.0010674 | 0.013817 | 0.13941 | igrp92 | 2.0174e-06
[5 empty] | igrp93 | 0.0010674
[5 empty] | igrp94a | 0.013817
[5 empty] | igrp95 | 0.13941
lgrp20 | AH1or2 | AH3 | AH4a | AH5 | lgrp201 | 6.1772e-08
| 6.1772e-08 | 0.0013206 | 0.020638 | 0.11551 | lgrp202 | 6.1772e-08
[5 empty] | lgrp203 | 0.0013206
[5 empty] | lgrp204a | 0.020638
[5 empty] | lgrp205 | 0.11551
lgrp23 | AH1or2 | AH3 | AH4a | AH5 | lgrp231 | 4.2056e-11
| 4.2056e-11 | 0.00073415 | 0.013929 | 0.13628 | lgrp232 | 4.2056e-11
[5 empty] | lgrp233 | 0.00073415
[5 empty] | lgrp234a | 0.013929
[5 empty] | lgrp235 | 0.13628
lgrp4 | AH1or2 | AH3 | AH4a | AH5 | lgrp41 | 1.1594e-20
| 1.1594e-20 | 0.00014005 | 0.043544 | 0.19022 | lgrp42 | 1.1594e-20
[5 empty] | lgrp43 | 0.00014005
[5 empty] | lgrp44a | 0.043544
[5 empty] | lgrp45 | 0.19022
lgrp6 | AH1or2 | AH3 | AH4a | AH5 | lgrp61 | 1.3066e-34
| 1.3066e-34 | 0.00049179 | 0.10487 | 0.26472 | lgrp62 | 1.3066e-34
[5 empty] | lgrp63 | 0.00049179
[5 empty] | lgrp64a | 0.10487
[5 empty] | lgrp65 | 0.26472
lgrp7 | AH1or2 | AH3 | AH4a | AH5 | lgrp71 | 1.0192e-34
| 1.0192e-34 | 1.9893e-08 | 0.0076556 | 0.13775 | lgrp72 | 1.0192e-34
[5 empty] | lgrp73 | 1.9893e-08
[5 empty] | lgrp74a | 0.0076556
[5 empty] | lgrp75 | 0.13775
lgrp11 | AH1or2 | AH3 | AH4a | AH5 | lgrp111 | 4.2767e-06
| 4.2767e-06 | 0.00062837 | 0.0043541 | 0.13131 | lgrp112 | 4.2767e-06
[5 empty] | lgrp113 | 0.00062837
[5 empty] | lgrp114a | 0.0043541
[5 empty] | lgrp115 | 0.13131
lgrp12 | AH1or2 | AH3 | AH4a | AH5 | lgrp121 | 2.505e-37
| 2.505e-37 | 1.0452e-10 | 0.0025919 | 0.19722 | lgrp122 | 2.505e-37
[5 empty] | lgrp123 | 1.0452e-10
[5 empty] | lgrp124a | 0.0025919
[5 empty] | lgrp125 | 0.19722
lgrp13 | AH1or2 | AH3 | AH4a | AH5 | lgrp131 | 2.182e-34
| 2.182e-34 | 9.4226e-05 | 0.10334 | 0.21411 | lgrp132 | 2.182e-34
[5 empty] | lgrp133 | 9.4226e-05
[5 empty] | lgrp134a | 0.10334
[5 empty] | lgrp135 | 0.21411
lgrp14 | AH1or2 | AH3 | AH4a | AH5 | lgrp141 | 1.4692e-25
| 1.4692e-25 | 1.6133e-06 | 0.001631 | 0.22725 | lgrp142 | 1.4692e-25
[5 empty] | lgrp143 | 1.6133e-06
[5 empty] | lgrp144a | 0.001631
[5 empty] | lgrp145 | 0.22725
lgrp15 | AH1or2 | AH3 | AH4a | AH5 | lgrp151 | 2.7764e-08
| 2.7764e-08 | 0.00090982 | 0.015665 | 0.12736 | lgrp152 | 2.7764e-08
[5 empty] | lgrp153 | 0.00090982
[5 empty] | lgrp154a | 0.015665
[5 empty] | lgrp155 | 0.12736
lgrp16 | AH1or2 | AH3 | AH4a | AH5 | lgrp161 | 3.3722e-09
| 3.3722e-09 | 0.044881 | 0.16425 | 0.26385 | lgrp162 | 3.3722e-09
[5 empty] | lgrp163 | 0.044881
[5 empty] | lgrp164a | 0.16425
[5 empty] | lgrp165 | 0.26385
lgrp18 | AH1or2 | AH3 | AH4a | AH5 | lgrp181 | 1.3218e-05
| 1.3218e-05 | 0.0033164 | 0.02878 | 0.1325 | lgrp182 | 1.3218e-05
[5 empty] | lgrp183 | 0.0033164
[5 empty] | lgrp184a | 0.02878
[5 empty] | lgrp185 | 0.1325
lgrp19 | AH1or2 | AH3 | AH4a | AH5 | lgrp191 | 0.00013397
| 0.00013397 | 0.0054461 | 0.022653 | 0.1086 | lgrp192 | 0.00013397
[5 empty] | lgrp193 | 0.0054461
[5 empty] | lgrp194a | 0.022653
[5 empty] | lgrp195 | 0.1086
An average value is used for Probability of Failure at a particular Asset Health Index for each asset type, with sub-groups depending on asset design. An example of Probability of Failures for different asset groups can be found in Figure 18 of the methodology

## PoF SWGR
sgrp1 | AH1or2 | AH3 | AH4a | AH4b | AHI 5 | Sgrp11 | 4.3955e-14
| 4.3955e-14 | 8.0171e-08 | 0.00053508 | 0.029871 | 0.18327 | Sgrp12 | 4.3955e-14
[6 empty] | Sgrp13 | 8.0171e-08
[6 empty] | Sgrp14a | 0.00053508
[6 empty] | Sgrp14b | 0.029871
[6 empty] | Sgrp15 | 0.18327
sgrp20 | AH1or2 | AH3 | AH4a | AH4b | AHI 5 | Sgrp201 | 2.0793e-11
| 2.0793e-11 | 0.00010838 | 0.0052644 | 0.036224 | 0.15321 | Sgrp202 | 2.0793e-11
[6 empty] | Sgrp203 | 0.00010838
[6 empty] | Sgrp204a | 0.0052644
[6 empty] | Sgrp204b | 0.036224
[6 empty] | Sgrp205 | 0.15321
Sgrp11 | AH1or2 | AH3 | AH4a | AH4b | AHI 5 | Sgrp111 | 2.5769e-07
| 2.5769e-07 | 4.0891e-05 | 0.0021962 | 0.092491 | 0.34905 | Sgrp112 | 2.5769e-07
[6 empty] | Sgrp113 | 4.0891e-05
[6 empty] | Sgrp114a | 0.0021962
[6 empty] | Sgrp114b | 0.092491
[6 empty] | Sgrp115 | 0.34905
Sgrp12 | AH1or2 | AH3 | AH4a | AH4b | AHI 5 | Sgrp121 | 5.6602e-13
| 5.6602e-13 | 8.2509e-06 | 0.0021835 | 0.098909 | 0.34749 | Sgrp122 | 5.6602e-13
[6 empty] | Sgrp123 | 8.2509e-06
[6 empty] | Sgrp124a | 0.0021835
[6 empty] | Sgrp122b | 0.098909
[6 empty] | Sgrp125 | 0.34749
Sgrp13 | AH1or2 | AH3 | AH4a | AH4b | AHI 5 | Sgrp131 | 0.00022217
| 0.00022217 | 0.0058687 | 0.014373 | 0.052075 | 0.15477 | Sgrp132 | 0.00022217
[6 empty] | Sgrp133 | 0.0058687
[6 empty] | Sgrp133a | 0.014373
[6 empty] | Sgrp13b | 0.052075
[6 empty] | Sgrp135 | 0.15477
Sgrp14 | AH1or2 | AH3 | AH4a | AH4b | AHI 5 | Sgrp141 | 5.1802e-05
| 5.1802e-05 | 0.0055741 | 0.016341 | 0.052077 | 0.15659 | Sgrp142 | 5.1802e-05
[6 empty] | Sgrp143 | 0.0055741
[6 empty] | Sgrp144a | 0.016341
[6 empty] | Sgrp144b | 0.052077
[6 empty] | Sgrp145 | 0.15659
Sgrp15 | AH1or2 | AH3 | AH4a | AH4b | AHI 5 | Sgrp151 | 9.7919e-21
| 9.7919e-21 | 2.2064e-08 | 0.00022484 | 0.039694 | 0.27919 | Sgrp152 | 9.7919e-21
[6 empty] | Sgrp153 | 2.2064e-08
[6 empty] | Sgrp154a | 0.00022484
[6 empty] | Sgrp154b | 0.039694
[6 empty] | Sgrp155 | 0.27919
Sgrp19 | AH1or2 | AH3 | AH4a | AH4b | AHI 5 | Sgrp191 | 0.0029598
| 0.0029598 | 0.042151 | 0.12166 | 0.19768 | 0.35073 | Sgrp192 | 0.0029598
[6 empty] | Sgrp193 | 0.042151
[6 empty] | Sgrp194a | 0.12166
[6 empty] | Sgrp194b | 0.19768
[6 empty] | Sgrp195 | 0.35073
Sgrp2 | AH1or2 | AH3 | AH4a | AH4b | AHI 5 | Sgrp21 | 5.5154e-69
| 5.5154e-69 | 3.4107e-10 | 0.0010936 | 0.098054 | 0.35183 | Sgrp22 | 5.5154e-69
[6 empty] | Sgrp23 | 3.4107e-10
[6 empty] | Sgrp24a | 0.0010936
[6 empty] | Sgrp24b | 0.098054
[6 empty] | Sgrp21 | 0.35183
Sgrp3 | AH1or2 | AH3 | AH4a | AH4b | AHI 5 | Sgrp31 | 0.0001778
| 0.0001778 | 0.015552 | 0.051406 | 0.10093 | 0.20173 | Sgrp32 | 0.0001778
[6 empty] | Sgrp33 | 0.015552
[6 empty] | Sgrp34a | 0.051406
[6 empty] | Sgrp34b | 0.10093
[6 empty] | Sgrp35 | 0.20173
Sgrp4 | AH1or2 | AH3 | AH4a | AH4b | AHI 5 | Sgrp41 | 9.2815e-13
| 9.2815e-13 | 2.7598e-05 | 0.026024 | 0.2013 | 0.34786 | Sgrp42 | 9.2815e-13
[6 empty] | Sgrp43 | 2.7598e-05
[6 empty] | Sgrp44a | 0.026024
[6 empty] | Sgrp44b | 0.2013
[6 empty] | Sgrp45 | 0.34786
Sgrp21 | AH1or2 | AH3 | AH4a | AH4b | AHI 5 | Sgrp211 | 1.4289e-11
| 1.4289e-11 | 0.00010537 | 0.090029 | 0.22286 | 0.34692 | Sgrp212 | 1.4289e-11
[6 empty] | Sgrp213 | 0.00010537
[6 empty] | Sgrp214a | 0.090029
[6 empty] | Sgrp214b | 0.22286
[6 empty] | Sgrp215 | 0.34692
Sgrp22 | AH1or2 | AH3 | AH4a | AH4b | AHI 5 | Sgrp221 | 6.4496e-12
| 6.4496e-12 | 0.00010522 | 0.0085585 | 0.06028 | 0.18004 | Sgrp222 | 6.4496e-12
[6 empty] | Sgrp223 | 0.00010522
[6 empty] | Sgrp224a | 0.0085585
[6 empty] | Sgrp224b | 0.06028
[6 empty] | Sgrp225 | 0.18004
Sgrp23 | AH1or2 | AH3 | AH4a | AH4b | AHI 5 | Sgrp231 | 0.00072858
| 0.00072858 | 0.057008 | 0.17099 | 0.21433 | 0.34991 | Sgrp232 | 0.00072858
[6 empty] | Sgrp233 | 0.057008
[6 empty] | Sgrp234a | 0.17099
[6 empty] | Sgrp234b | 0.21433
[6 empty] | Sgrp235 | 0.34991
An average value is used for Probability of Failure at a particular Asset Health Index for each asset type, with sub-groups depending on asset design. An example of Probability of Failures for different asset groups can be found in Figure 18 of the methodology

## Criticality
Column1 | Column2 | Column3 | Column4 | Column5 | Column6
|  | Very High | High | Medium | Low
SYSTEM
Transport |  |  | 1078000
EKP |  |  | 843500
Substation Demand | Demand |  | 2400000 | 1600000 | 800000
System Security | Generation compensation |  | 2691015 | 1183429 | 42878
| Constraints |  | 1758000 | 1082000 | 199000
| Total System Security |  | 4449015 | 2265429 | 241878
SAFETY
|  | 10000000 | 1000000 | 50000 | 10000
ENVIRONMENTAL
|  |  | 500000 | 25000 | 5000

## Cost of recovery
Tx | 5600000 |  | Those numbers are TO specific and for illustration purpose only
SWGR | 1871000
Cables | 2824000 | per km
OHL | 476000 | per km
Reactor | 2200000