## Overview
Overview
No. | Reference (Paragraph number, glossary term or table name) | Change | Reason for change | Raised when | Raised by | Response from consultation | Ofgem response | Status
1 | Table 2.1 of Overview - RIGs annexes, reporting packs, commentaries and timeframes | Annex D – Secondary Deliverables footnote added to submission deadline. The submission date of the Secondary Deliverables for 2015/2016 is due on the 30th December 2016. | We have decided to extend the deadline for submitting the Secondary Deliverables for the 15/16 period to 30th December 2016. This allows the DNO’s time to implement the Common Network Asset Indices Methodology (CNAIM) that was accepted on 1st February 2016 (link to decision) and aligns the submission date with the Network Asset Workbook. | Pre-consultation | N/A |  |  | Closed - RIGs changed
2 | Paragraph 2.11 | Remove | This paragraph is no longer required because it has been superceeded by the inclusion of table SI1 in the cost and volume pack | Consultation | WPD NPg |  | Agree - paragraph removed | Closed - RIGs changed
3 | RIGs Overview | Tolerances - in accordance with other Ofgem reporting packs the tolerances for error checks in the ED1 reporting packs should be 0.1 not 0.01 as currently drafted | No change | Consultation | UKPN WPD |  | Tolerances to be left as 0.01. We understand that there may be error flags as a result for DPCR5. The reconciliation sheet should help check the data is correct for DPCR5, by cost and by activity. It will help identify the errors. | Closed - no change

## Annex A
Annex A - Glossary
No. | Reference (Paragraph number, glossary term or table name) | Change | Reason for change | Raised when | Raised by | Response from consultation | Ofgem response | Status
1 | Glossary term: Operational Training | Amending current definition of Operational Training exclusion to the following: "EXCLUDES: • Time of Operational Staff attending Non-Operational training such as line management training (include as labour cost under the relevant activity of that employee) • Time of Non-Operational Staff attending operational training (include as labour cost under the relevant activity of that employee) • Recruitment costs of Operational Staff (include under HR in the Core Business Support worksheet) • Costs of training Contractors undertaking training within DNO training facilities where costs are recovered (include in C18 Non Price Control De-Minimis) • Costs of training Contractors undertaking training within DNO training facilities where costs are not recovered (included in the contractor cost for the relevant activity) • Costs of assessing capability of Contractors (include in C18 Non Price Control De-Minimis)." | Terms undefined and unclear | Pre-consultation | N/A | •WPD - definition to be made clearer | Definition updated. | Closed - RIGs changed
2 | Glossary term: Stores | Addition of point to Stores exclusion definition "• Delivery of materials by store staff to site (include in Labour as part of the direct cost)." in Stores exclusion definition. | Point missing from definition. | Pre-consultation | N/A |  |  | Closed - RIGs changed
3 | Glossary term : Small Tools, Equipment, Plant and Machinery (Non-Operational) (STEPM) | Amending current definition of Small Tools, Equipment, Plant and Machinery (Non-Operational) (STEPM) to include the following line - "(Any of the listed equipment below is not considered to be permanently connected to the network)", line "They are not system assets and are not permanently attached to one system asset at one location, irrespective of when they were bought or for what purpose. " will be removed. | To give clarity on reporting requirement | Pre-consultation | N/A | •WPD - amendment of "Any of the listed equipment below is not considered" with "These items are not considered" | Agree - updated. | Closed - RIGs changed
4 | Smart Meter Interventions | Definintions amended and updated for this term. | For clarification. | Pre-consultation | N/A | •WPD - The MOCOPA Codes should be deleted from the definitions for Smart Meter Interventions Category A, Category B and Category C. The codes are not required for the definition and deletion would remove the requirement to update the glossary every time MOCOPA coding changes. • ENWL - All of these definitions have been added in and duplicate the list of codes for each category. As these may be subject to change, we suggest that we signpost to the MOCOPA Guidance for Service Termination Issue Reporting document for the codes, or we may need to revise this document in the future if the reporting code change. The second suggestion is to change the title from ‘Intervention’ to ‘Situation’ ie Category A Situation as this aligns with the DCUSA definition and it is only on Intervention when work is carried out. It is a Situation when it is reported. •SSE - With regard to the definition for Smart Meter Interventions, we support the inclusion of the new definitions for Category A, B and C Smart Meter Interventions. We would, however, like to point out that the codes used are not defined in the MOCOPA. They are defined in the MRA and are referenced in the DCUSA. •NPg - 4a. Page 168-169: When referring to MOCOPA defect codes it would be prudent to include a cross reference to the relevant document in case the codes change 4b. Page 170: Delete "the volumes relate to the number of defects rectified"; volumes do not relate to the number of defects rectified. 4c. Page 170: Delete "(costs only)" after inspections as an inspection does count as an activity under the licence condition (although an inspection would typically also be associated with another activity so may not add to the volume count). 4d. Page 170: This needs some minor re-drafting to recognise the fact that some interventions can now be identified and reported immediately, without waiting for a smart meter to be installed. | Definition updated to show change suggested by NPg | Closed - RIGs changed
5 | Glossary terms: Capacity constraint affecting single substation (N-1) or (N-2) Capacity constraint affecting substation groups (N-1) or (N-2) | Definitions added for the following: Capacity constraint affecting single substation (N-1) or (N-2) Capacity constraint affecting substation groups (N-1) or (N-2) | Undefined in the glossary. | Pre-consultation | N/A | •WPD - formatting error when update the contents page | Agreed - contents page updated. | Closed - RIGs changed
6 | Glossary term: Controllable Opex | Footnote from glossary term Controllable Opex removed. | The footnote was for an exception for WPD, previously agreed that exception was incorrect. Glossary amended to be in line with RIGs tables. | Pre-consultation | N/A |  |  | Closed - RIGs changed
7 | Glossary term: Non Load Related Capex - Other | Footnote from glossary term Non Load Related Capex removed. | The footnote was for an exception for WPD, previously agreed that exception was incorrect. Glossary amended to be in line with RIGs tables. | Pre-consultation | N/A |  |  | Closed - RIGs changed
8 | Annex A Glossary | LV Underground Service Transfers definition removed from glossary. | Not included in RIGs packs | Pre-consultation | N/A | •WPD - term to be uncapitalised in section 4 LV service | Agreed | Closed - RIGs changed
9 | Glossary term: LV Main (UG Plastic) | Table LV Main (UG Plastic) amended. | In the Asset Replacement scope section for LV Main (UG Cable) the categories which are shown as should be reported as Consequential Assets, should be reported as Prime Assets | Pre-consultation | N/A | •WPD - agree •SSE - In chapter 5 Asset Replacement Scope of Works, in the table for 33kV CB (Gas Insulated Busbars) (OD) (GM), Costs Outside Scope of Replacing Prime Asset it would seem that the added sentence is not complete. We assume this is a minor omission, but knowing the full sentence would be of benefit to us. | Agreed - annex updated | Closed - RIGs changed
10 | Glossary term: Protection Enhancements | Definition added for Protection Enhancements | Undefined in glossary. | Pre-consultation | N/A |  |  | Closed - RIGs changed
11 | Glossary term: Power Quality | Definition added for Power Quality | Undefined in glossary. | Pre-consultation | N/A |  |  | Closed - RIGs changed
12 | Glossary term: BT21CN Infrastructure Enabling | fibre optice cables' removed from definition. | Removed from definition, term makes unclear where these costs are included. | Pre-consultation | N/A |  |  | Closed - RIGs changed
13 | Glossary term: Parking Bay Suspensions | Definition added for Parking Bay Suspensions | Undefined in glossary. | Pre-consultation | N/A | •WPD - The term included in table M9a to which this relates is 'Suspensions and Closures' - it is this term that should be referenced in the Glossary. The road closures element is currently not defined in the Glossary. This definition should be included, and it should also be confirmed whether lane closures are included as part of road closures. The term 'Street Works' in the Glossary should include a reference to Suspensions and Closures All Street Works related terms should have the prefix 'Street Works' in the Glossary •NPg -Glossary term added and added to Streetworks tables however the wording in Annex B needs updating to reflect this. | We will review as a future RIGs change. | Closed - no change, we will review as a future change.
14 | Asset Replacement | Tables in glossary updated to show: - 'Civil works Driven by Asset Replacement' - 'LV Services UG Refurbishment no SD' replaces reference to 'LV underground service transfers' - References to 'LV Pole refurbishment' expanded to include 'Pole Repair & Maintenance' | For clarification. | Pre-consultation | N/A |  |  | Closed - RIGs changed
15 | Asset Replacement Scope of Works | Addition of "The column ‘Report As Prime Asset’ is marked only as ‘Yes’ where asset volumes are required to be reported. " to initial paragraph of this section. | For clarification. | Pre-consultation | N/A | •WPD - addition of "on the Asset Replacement Costs and Volumes table." | Agree - change made | Closed - RIGs changed
16 | Glossary term: Exceptional Events Severe Weather Exceptional Event | Addition of "For clarity, the Severe Weather 1-in-20 Event threshold applies to a 24 hour period within the event, rather than across the entirety of the event." | Updated for clarification | Pre-consultation | N/A | •WPD - We are not clear on the history of whether the threshold should apply to a 24 hour period or across the whole period. We acknowledge that the threshold is calculated based upon 42x a normal days HV faults, but cannot find any legacy documentation that clearly defines how this is applied. •UKPN - on page 77 the track change indicates that Ofgem have expanded the definition on a Severe Weather 1 in 20 Event with the following statement: “for clarity, the Severe Weather 1-in-20 Event threshold applies to a 24 hour period within the event, rather than across the entirety of the event”. This additional text needs to be removed from the definition. In order to align with the reporting of severe weather 1 in 20 Events in DPCR5, the threshold should apply to the entirety of the event. In EPN’s 2013/14 submission the October St Jude storm qualified as a 1 in 20 Event due to the 751 HV incidents incurred for the entirety of the event, breaching the DPCR5 threshold of 448 HV incidents. Ofgem’s IIS direction states the claim met the IIS severe weather exceptional event threshold due to 99 HV and above incidents occurring in a 24 hour period. If the suggested alternative definition for RIIO-ED1 applied, the St Jude storm would no longer qualify as 1 in 20 event which we do not believe would be a correct outcome | We will review in future after discussion with DNOs. Our view is that the SW 1-in-20 threshold should apply to a 24 hour period otherwise we are not comparing like-with-like. | Closed - no change, we will review as a future change.
17 | Annex A: Glossary ONI - Cut Outs (Metered Services) | Addition of "CV28 includes both instances where cut outs have been replaced and cut outs being repaired." | Added for clarity | Pre-consultation | N/A | •WPD - move definition to Annex B, after point 4.223. Or amend definition in glossary A to be "An ONI that affects a cut out which is associated with a metered LV service connection. The rectification includes instances both where cut outs have been replaced and cut outs have been repaired." | Agree - Annex A updated to show change. | Closed - RIGs changed
18 | Glossary term: Network-wide peak demand | Definition added for Network-wide peak demand | Undefined in glossary. | Pre-consultation | N/A |  |  | Closed - RIGs changed
19 | Glossary term: Customer contributions | Definition amended | Updated for clarification | Pre-consultation | N/A | • WPD - agreed but extra 'connection' inlcuded at end of sentence. Formatting error. | Agreed - 'connection' removed | Closed - RIGs changed
20 | Glossary term : Asset register - Other Movements | Incorrect definition | Other Movements on p.29 is incorrect. It should replicate the definition for V4 – Other Movements paragraph 5.11 of Annex B | Consultation | UKPN |  | Agreed - glossary updated to replacted Annex B | Closed - RIGs changed
21 | Glosary term: Renewable Generation | Addition of term for clarity | the term ‘Renewable Generation’ is used on page 106 of the RIGs glossary to define the term ‘Low Carbon Technologies’ but is not itself defined in the glossary. Therefore, for the purposes of the RIGs LCT table (E7) it has been taken to refer to all generation technologies for which financial support is available under either or both of the FiT and RO schemes. An addition to the glossary to reflect this would be beneficial for clarity | Consultation | UKPN |  | We will review as a future RIGs change. | Closed - no change, we will review as a future change.
22 | Glossary term: Meter Operator Hotline’ | Undefined | Meter Operator Hotline needs definition | Consultation | ENWL |  | We will review as a future RIGs change. | Closed - no change, we will review as a future change.

## Annex B
Annex B - Costs and Volumes
No. | Reference (Paragraph number, glossary term or table name) | Change | Reason for change | Raised when | Raised by | Response from consultation | Ofgem response | Status
1 | New tab SI1- Key Summary Information inserted. | New tab added to pack - summary spreadsheet. Annex B also updated to show addition. | Following on from Performance Reporting Consultation. | Pre-consultation | N/A | •WPD - 1. The guidance states that some of the data reported in this table comes from other packs, but no links have yet been included in this draft of the table. Will Ofgem be setting up this links, or will DNOs set up the links themselves (note that in the previous version of the RIGs, Ofgem did not want links set up between packs to avoid spreadsheet version issues)? 2. Total Expenditure (TOTEX) Total Expenditure (actual) - row 18 - the guidance states that this is to be populated from the PCFM model. We suggest that this should be populated direct from within the C&V pack, table I1 PCFM Inputs 12-13, as it is this table which updates the actual expenditure in the PCFM. 3. RIIO-ED1 Allowed - row 19 - we do not believe it is practical to use the PCFM to link to for allowances. The Guidance states that SI1 should be linked to the Input sheet in the PCFM. The Inputs tab in the PCFM brings in data using “if” formulae depending upon which licensee has been selected on the UserInterface worksheet of the PCFM. It is therefore not possible to create links to the Input sheet to bring in each DNO’s data to worksheet SI1. If this approach is taken, links would need to be to the DNO specific input sheets. Further, it would be difficult to ensure the links created are linked to the latest version of the PCFM. It is anticipated that the PCFM working group will convene annually in June, with potential for an updated PCFM to be issued soon after this with any agreed amendments. This would not fit well with issuing a new RRP pack with updated links close to the finalisation of the RRP. Further, another update of the PCFM would then be published each November after the AIP. Rather, we suggest having an “Ofgem data input” worksheet within the C&V tables, containing hard coded allowances populated by Ofgem. 4. It is also unclear from paragraph 3.5 in the Guidance whether Ofgem would want Opening Totex allowances or revised (i.e. post-TIM) Totex allowance. If the latter is presented, this would have to be restated on a 2-year lag basis, given that this is only calculated in the AIP in the regulatory year following the year of expenditure. This information is not contained in the Input sheet of the PCFM. 5. Unrestricted Domestic Tariff The only part of this table that is to be manually input as per the Guidance is row 27 Unrestricted Domestic Tariff. We suggest that para 3.7 in the Guidance should state 3100 kWh (not just 3100) to improve clarity. The unit of measure stated in cell G27 of the table is £/kWh. If we have interpreted the Guidance correctly, we believe the unit of measure should be £ instead. Unrestricted Domestic Tariff is written with capitals in the SI1 table and Guidance. This would suggest that it is a defined term in the Glossary; however no definition has been included. 6. TIME TO CONNECT/TIME TO QUOTE The current proposal is to average the values included in CR13 Column E, but this will create a false average because it is combining existing dissimilar averages. Take for example the following hypothetical values. TTQ LVSSA - 3,4,5,6,7 TTQ LVSSB - 20,25,30 Average LVSSA = 5 Average LVSSB = 25 Proposed approach average of the averages = (5+25)/2 = 15 True average is (3+4+5+6+7+20+25+30)/8 = 12.5 It is therefore invalid to average the averages. We suggest that all values are shown separately with no averaging. This will lead to TTC for both LVSSA and LVSSB and TTQ for both LVSSA and LVSSB. •ENWL - 1. We suggest that table SI1 should include an additional row to separate out the exceptional events in the year. This would allow stakeholders to understand the baseline performance and the issues out of the control of the networks. We also note that CIs and CMLs are also required on the ‘M14 – Drivers’ table (a year in arrears to agree to numbers confirmed by Ofgem)– however it doesn’t state whether these also include or exclude exceptional events? •NPg - 1. There are links that need establishing in the tables. | WPD 1: We are not setting up links between packs as this could create. This has been clarified where necessary. WPD 2: Agreed. Change made. WPD 3: Disagree. We have now clarified that DNOs are to hard code in allowance every year and data source. WPD 4: Agreed. this has been clarified. WPD 5: term added to Glossary. WPD 6: Agreed. Reverted back to just using LVSSA. ENWL 1: Agreed. Change made and link to M14 NPg 1: See comment to WPD 1 on linking. | Closed - RIGs changed
2 | Annex B guidance : CV1 Primary Reinforcement | 4.9 Amended to "This worksheet collects reinforcement activity undertaken to resolve capacity restraints on the on the Primary Network (33kV and above)." | Clarification of Activity | Pre-consultation | N/A |  |  | Closed - RIGs changed
3 | Annex B guidance: Tabs CV8 | Table in 4.82 units amended, further definition added. | Inconsistency between RIGs packs and guidance. Additional note added for clarification. | Pre-consultation | N/A | •WPD - The proposed amendment of the units for reporting Refurbishment (no SDI) for submarine cable and non-pressurised cable should not be adopted. The units should be retained as 'No. of Refurbishments' . The reason for this is explained in our comments on item 4, below. Also, the additional note of clarification (i.e. the footnote "*** for non-pressurised cables: we assume.....") is confusing. Firstly it makes reference to 'catastrophic failure'. 'Catastrophic failures' would result in a fault and consequently the remedial works would be reported on CV26 (not CV8). Secondly it refers to reporting the lengths of new cable, which would actually be an asset replacement activity. For these reasons, the footnote should be removed. | Agree - updated | Closed - RIGs changed
4 | Tab CV8 Refurbishment no SDI | Rows 54, 91 and 118 units updated from refurbishments to km | Amended to be in line with change to annex B | Pre-consultation | N/A | •WPD - The proposed amendment to the units for the reporting of volumes for Refurbishment (no SDI) (from No. of refurbishments to km) for the non-pressurised and submarine cable categories is inappropriate - the unit should be retained as No. of Refurbishments in order to facilitate cost benchmarking. This is explained below:- The activities that are reported as Refurbishment (no SDI) for these categories are limited to 'Replacement of cable joints and terminations' as shown in the 'Refurbishment and Repairs & Maintenance Task Allocation Tables' in part 4 of the Annex A glossary. These are discrete activities and not activities that can be measured in terms of a length of cable (note: replacement of lengths of cable is Asset Replacement not Refurbishment). At best, any attempt to report these activities in units of 'km'would need an estimate of 'length of cable system associated with the joint' to be derived (almost literally a 'how long is a piece of string' question) - which will be an entirely subjective judgement and hence will be unsuitable for use in benchmarking of the Refurbishment (no SDI) costs. It should be noted that the activity of 'Replacement of cable joints and terminations' for fluid filled cables is regarded as Refurbishment (SDI) and the units specified for CV9 are km. The use of 'km' in this case is necessary because the reporting of Network Asset Indices for cables (in the Secondary Deliverables pack) use units of km. This is required if CV9 and the Secondary Deliverables pack are to be reconcilable (however, the ability to perform cost benchmarking in this area is accordingly compromised). These different requirements (in the reporting of CV8 and CV9) have led to the apparent inconsistency of units across the tables - but this inconsistency is necessary in order to facilitate analysis of the reported cost and volumes. For this reason, it is appropriate for the Refurbishment (SDI) activity to be reported in units of 'km' and the Refurbishment (no SDI) activity to be reported in units of 'No. of Refurbishments' •SSE - We would question the change in the refurbishment table from no. of refurbishments to km. The most common activity here would be the refurbishment of the termination. We feel that counting the number of units refurbished is more appropriate than the length of cable replaced, which we would interpret as asset replacement. | Agree - updated | Closed - RIGs changed
5 | C15 - Atypicals (2012 - 2015) | Atypical tables C15 for 2012-2015: cells Q61 to R72 updated to match Ofgem change in 2011 C15 table. | Cells Q61 to R72 in 2012-2015 were picking up the incorrect cell in she spreadsheet. | Pre-consultation | N/A |  |  | Closed - RIGs changed
6 | M16 - Forecasts | Formula in cells E57 to E62 on table M16 linked to wrong cells in table S2, updated to link to table S2 cells E62 to E67. | Incorrect links | Pre-consultation | N/A |  |  | Closed - RIGs changed
7 | C1 - Cost Matrix (All years) | C1s Cost Matrix tables - cells AL85:AL91 and AN94:AN100 formula added. Cells BO85:BO91 and BO94:BO100 reference these cells. | Formula in rows BO include additional cells added. | Pre-consultation | N/A |  |  | Closed - RIGs changed
8 | C1 - Cost Matrix (All years) | C1s Cost Matrix tables - cells AL85:AL91 and AN94:AN100 formula added. Cells BO85:BO91 and BO94:BO100 reference these cells. | Formula in rows BO include additional cells added. | Pre-consultation | N/A |  | Same point as aboue | Closed - RIGs changed
9 | I2 - PCFM Inputs Nominal | I2 - PCFM Inputs Nominal tab - row 113, formula in cells AK:AQ updated. Formula picking up incorrect cells in tab C12 - Core BS. | Formula picking up incorrect cells in tab C12 - Core BS. | Pre-consultation | N/A |  |  | Closed - RIGs changed
10 | CV7 - Asset Replacement | Cells N185:Y191 formula updated in alignment with cells M185:M191. | Formula checks to a blank row. | Pre-consultation | N/A |  |  | Closed - RIGs changed
11 | CV26 - Faults | Formula in cells CA135 to CM135 on table CV26 Faults updated to add brackets around denominator items from V1 table. | Missing bracket from denominator | Pre-consultation | N/A |  |  | Closed - RIGs changed
12 | CV24 - HVPs DPCR5 | Tab CV24-HVPs DPCR5, Investment driver drop down list from cell F135 copied to cells F136:145. | Drop down list missing from cells. | Pre-consultation | N/A |  |  | Closed - RIGs changed
13 | CV25 - Moorside | Tab CV25 Moorside, 'Diversions' added under Expenditure breakdown, Customer Contributions, Cost Reoveries and Net Costs. | Diversions was not included. | Pre-consultation | N/A |  |  | Closed - RIGs changed
14 | I2 -PCFM Inputs Nominal | Tab I2 -PCFM Inputs Nominal updated to reflect previous change noted for CV25 - Moorside 'Diversions' - additional rows added. | Added to be consistent with addition for CV25 Moorside. | Pre-consultation | N/A |  |  | Closed - RIGs changed
15 | Check Sheet - row 100 | Tab Check sheet - row 100 'C3 Physical Security' cells M100:Y100 linked to cells M22:Y22 in tab C3 Physical Security. | Incorrect link | Pre-consultation | N/A |  |  | Closed - RIGs changed
16 | Table C3 Physical Security | Tab C3 Physical Security - cells D23 and D23, text updated from 'Total Gross Costs' to 'Total Gross Costs to scheme totals' and 'Total net costs to scheme totals' to 'Total net costs'. | Changed for clarity | Pre-consultation | N/A |  |  | Closed - RIGs changed
17 | Check sheet - rows 166, 168, 173 | Rows 166, 168 and 173 removed from Check sheet tab. These were noted as C17 - Legacy Meters, C18 - De minimis and C21 - Out of Area Networks | Linked to blank cells in other spreadsheets. | Pre-consultation | N/A |  |  | Closed - RIGs changed
18 | C1 Cost Matrix 2016-2023 | Tabs C1 Cost Matrix 2016-2023, check formula added to cells BK40:BL40. | Formula missing. | Pre-consultation | N/A |  |  | Closed - RIGs changed
19 | CV35 - Op Training (CAI) | Tab CV 35 - Op Training (CAI) New row inserted under 'By category type, Learner costs, new recruits' to include Other Operational Employee. Annex B also updated to show change. | To be consistent with rest of tab | Pre-consultation | N/A |  |  | Closed - RIGs changed
20 | CV35 - Op Training (CAI) | Tab CV 35 - Op Training (CAI) Under 'By category type' addition of (in year and previous years) has been included for Operational Up -skilling - row 35. Annex B also updated to show change. | To be consistent with rest of tab | Pre-consultation | N/A | •WPD - no issues •NPg - We disagree with this change as the year of appointment or recruitment is irrelevant for this category. All that is relevant here is whether the individual in the current year is receiving up-skilling training. We would suggest removing the text. | Agree with NPg comment - change made | Closed - RIGs changed
21 | CV1 - Primary Reinforcement | Tab CV1 - Primary reinforcement, under table 'Other reinforcement activities', 'Protection enhancements' row (302) has been made yellow for input. Formula in row 309 has been amended to include 302. | Changed to yellow to allow input | Pre-consultation | N/A |  |  | Closed - RIGs changed
22 | CV1 - Primary Reinforcement | Tab CV1 - Primary Reinforcement, cells D215:D250 and D255:D290 updated to say 'Substation Groups' rather than 'Substations'. | Incorrect wording | Pre-consultation | N/A |  |  | Closed - RIGs changed
23 | Annex B : Guidance Document para 4.13 | Additional wording added to 4.13: " If a circuit constraint affects a number of substations, it should be reported under the related substation. E.g if two 33/11 kV substations are supplied by a common cable and the cable is restricting the capacity of the substation group and only circuit works are carried out on the 33kV cable causing the constraint, this should be classified as 33kV:11kV (related to the substations affected by the constraint) and not as 33kV:33kV work (based on the cable constraint)." | Added for clarity | Pre-consultation | N/A | •This added guidance is useful, but appears to confuse substations and substation groups. For example it states that 'If a circuit constraint affects a number of substations, it should be reported under the related substation.' This mixes plural with singular. We suggest that this should be 'If a circuit constraint affects a number of substations, it should be reported under the related substation group.' | Agree - change made | Closed - RIGs changed
24 | CV1 - Primary Reinforcement | Tab CV1 - Primary Reinforcements, rows 295-297 units changed from MVA to schemes. | Incorrect units | Pre-consultation | N/A |  |  | Closed - RIGs changed
25 | CV28 - ONIs | CV28 -ONIs tab updated. Rows 137 and 139, the word 'system' has been added to the description cell. | Added for clarity | Pre-consultation | N/A | N/A | Annex A updated to show change. | Closed - RIGs changed
26 | Annex B guidance: Paragraph 4.278 | Addition of "a defect with DNO equipment identified at the time of installing or attempting to install a smart meter." | Added for clarity | Pre-consultation | N/A |  |  | Closed - RIGs changed
27 | CV30 31 and 32 | CV30 Inspections tab - Rows 31 (Rising and Lateral Mains (RLM)) and 32 9LV Services Associated With RLM) greyed out | Covered in other tab CV17 | Pre-consultation | N/A | •WPD - CV17 only covers Inspection and Repair/Maintenance. It does not cover dismantlement. Either add dismantlement activities as two new activity rows into CV17 or un-grey the rows in CV32 •NPg - It is not clear why this change has been made as there is as much reason to report all inspections costs together as there is to report all RLM costs together. Instead, we could memo the inspections (and maintenance) costs of RLMs in Table CV17 rather than making RLMs an exception in this way. | CV17 left as it is. No additional change made. | Closed - RIGs changed
28 | CV2 rows 128 and 129 | Tab CV2 - Secondary Reinforcement, cells AU128:BG129 changed from greyed out to yellow to allow for input. Formula added to cells BH128:BI129. | Changed to yellow to allow input and to be consistent with rest of table. | Pre-consultation | N/A |  |  | Closed - RIGs changed
29 | CV31 85, 88 & 115 | Tab CV31 Repairs and Maint, units for rows 85, 88 and 115 change from km to Each. | The three lines for Non-Pressurised cable have a unit of measure of "km", this is not consistent with the other R&M cable lines | Pre-consultation | N/A | •WPD - The unit for these rows should be 'no. of repairs' (and not 'Each') for consistency with other cable types (and also to correctly describe the unit of activity being undertaken). This should be amended in both the cost and volumes reporting pack and also the associated table in the Annex B guidance document (p59). | Agree - change made | Closed - RIGs changed
30 | CV14 56, 57, 71 & 72 | Tab CV14 - Legal and Safety - Asset type amended in rows 56,57,64,65,71 and 72 to match other tabs in the pack. | To be consistent with rest of pack | Pre-consultation | N/A |  |  | Closed - RIGs changed
31 | CV8 and CV9 74, 108, 109, 125 | Tabs CV8 - Refurbishment no SDI and CV9 - Refurbishment SDI, rows 108 and 109 greyed out. | To be consistent with glosary | Pre-consultation | N/A |  |  | Closed - RIGs changed
32 | CV36, CV37 and CV38 row 22 | Tabs CV36, CV37 and CV38, forumla updated in row 22 to check from BK78, BL78 and BM78 of C1 tabs, this was previously using row 79. | Checking incorrect row | Pre-consultation | N/A |  |  | Closed - RIGs changed
33 | Tab M9a - Traditional Street Works (ex ante) | Additional rows added (24-26) for Suspensions and closures. | To be consitent with addition to glossary | Pre-consultation | N/A | • WPD - The guidance for this table has not been updated to reflect this change. Suspensions and Closures is not defined in the Glossary (see comment on Annex A ref.13 ) Note that for WPD, as these costs were not previously included in the definition of Streetwork costs, the costs were booked on individual projects only and therefore not reported in the Streetworks tables. We agree that it would be sensible to consider the reporting of these costs going forward, but we do not regard this as a minor change and any retrospective data would be populated in the table using assumptions only. Costs incurred by WPD to date have been minimal. • ENWL - Streetworks definitions need adding to the Glossary for the new rows added on the tables i.e. “Tab M9a - Traditional Street Works (ex ante), additional rows added (24-26) for Suspensions and closures.” Also need noting in Annex B for table ‘M9a Traditional Streetworks’ in section 6.78. We also suggest that the definition of streetworks administration should include any additional IT costs which are solely required to support streetworks activities. At present these would fall under general IT&T and we suggest this fails to appropriately recognise the costs associated with streetworks activities. •ENWL - We note the new requirements to report numbers of suspensions and road closures. As this was not a requirement for DPCR5, we did not collect this data and are therefore unable to break this down retrospectively. •NPg - Glossary term added and added to Streetworks tables however the wording in Annex B needs updating to reflect this. | We will review as a future RIGs change. | Closed - no change, we will review as a future change.
34 | M9c - Permit & Lane (reopener) | Tab M9c - Permit & Lane Rentals , DPCR5 tables Total Direct Costs and Activity volumes changed to yellow to allow input of DPCR5 data. Annex B also updated for spelling mistake. | To allow for input | Pre-consultation | N/A |  |  | Closed - RIGs changed
35 | CV34 – Smart Meter Intervention DNO (Annex B guidance) | Definition for CV34 updated. | To reflect changes to the glossary and to provide clarification. | Pre-consultation | N/A | •SSE - We fully support the inclusion of Process B (Only applies to category B defect notifications) and believe there is merit in introducing a similar process to identify reported Category A defects. The current process A relies on a comparison of datasets, i.e. the cross referencing of the reporting of resolved defects against a report of smart meter installations. The new Process B requires a positive action to be undertaken on the part of the meter operative to report a defect in a smart meter to the relevant DNO and we would like to see a similar approach taken for the reporting of Category A defects. We include the following text for consideration, which follows the process proposed for Category B defect notifications: ‘Process X (Only applies to category A defect notifications). When a Meter Operator notifies a DNO of a category A defect via telephone it is mandatory for them to confirm whether the defect driver is in relation to a smart/non smart meter visit. This is confirmed during the reporting process and the information is recorded by the DNO in their defect management system. The requirement to report this information is detailed in the MOCOPA guidance document. Where a DNO has received positive indication that the defect is smart meter installation driven then this is sufficient to allow subsequent rectification works to count as a ‘smart meter intervention’ in the year that the rectification works are undertaken, rather than in the year the smart meter is installed where the two are different. Extra care will be required to avoid double counting. Note, for the avoidance of doubt and based on the licence definitions of a smart meter intervention, if you do one or more activities in a regulatory year as part of the same smart meter installation, this counts as one intervention in the year. If work is carried out in subsequent regulatory years as part of Page 3 of 4 the same smart meter installation, this is not counted, as the intervention will have been recorded in a previous year.’ •ENWL - 4.272. Given the possible delay between defect rectification and meter installation, it will be necessary to reconcile activity across reporting years as a defect report may have been resolved in the previous regulatory year to the subsequent Smart Meter installation. , and this information would not necessarily be available at the relevant regulatory reporting date. When the licensee reports an initial figure for each year, it should also review the prior year to identify any additional Smart Meter Interventions which took place in that year (‘Smart Meter Interventions’ is defined in CRC3E). Any additional Smart eter Interventions not originally reported against the prior year should be reported as a restatement against that prior year (ie Smart Meter Interventions – prior year restatement). The total number of Smart Meter Interventions reported in any given regulatory year, including the initial figure plus any subsequent prior year restatement, must accord with the definition given in CRC3E. Where one or Page 3 of 5 more activities took place in a regulatory year in respect of a given Smart Meter Installation, these constitute only one Smart Meter Intervention. If work is carried out in subsequent regulatory years as part of the same sSmart mMeter installation, this is not counted, as the intervention will have been recorded in a previous year. Defects from reporting year -1 should be compared against the data used for reporting the previous year. Any defects now identified as associated with Smart Meter installation should be reported as an adjustment in both the Smart Meter and ONIs tables. We also note the inconsistency in the headings ‘Process A’ and ‘Process B (applies only to category B defect notifications)’. This should be amended ie ‘Category A process’ and ‘Category B process’. We suggest the following amendments Text from new paragraph are replicated below – the suggested amendments are shown below. We believe that this improves the clarity of the reporting requirement. 4.273. Where a Meter Operator notifies a DNO of a category B defect via Asset Condition Report (D0135 dataflow), it is mandatory for them to confirm whether the defect driver is in relation to a smart/non smart meter visit. Where the defect notification is in response to a smart meter visit then the Meter Operator must identify this via the following means: Item Reference J2062 (Indicator for when a site visit is to install a Smart Meter) F Not a visit to install a SMETS Meter T Visit to install a SMETS Meter (exchange from Non-SMETS meter). 4.274. Where a DNO has received positive indication that the defect is sSmart mMeter installation driven, then this is sufficient to allow subsequent rectification works activities to count as a ‘sSmart mMeter iIntervention’ in the year that the rectification works activities are undertaken, rather than in the year the sSmart mMeter is installed, where the two Page 4 of 5 are different. Extra care will be required to avoid double counting. 4.275. Note, for the avoidance of doubt and based on the licence definitions of a sSmart mMeter iIntervention, if you do one or more activities in a regulatory year as part of the same sSmart mMeter installation, this counts as one intervention in the year. If work is carried out in subsequent regulatory years as part of the same Smart mMeter installation, this is not counted, as the intervention will have been recorded in a previous year. 4.276. Proactive Interventions: Proactive Interventions are instances where the DNOs become aware of defects that would prevent the installation of a Smart Meter (for example, where the DNO receives one category B notification from a supplier, but can identify other properties on the same street that will have the same issue). DNOs should undertake the work and record the multiple interventions if it is the efficient way of managing the network. DNOs will need to maintain records of these instances and be able to provide details of the work completed and justification for inclusion as a proactive intervention. [we suggest that proactive interventions should be defined in the Glossary] 4.277. Proactive interventions would need to be one or more of the activities listed in Appendix 2 of CRC 3E defined in CRC 3E.19 to qualify. Extra care will be required to avoid double counting if a subsequent defect is reported via a supplier mechanism. One or more activities at the same sSmart mMeter installation should be counted as one sSmart mMeter iIntervention. 4.278. Following the end of the Smart Meter Roll Out, a defect with DNO equipment identified at the time of installing or attempting to install a sSmart mMeter. should be reported under ONIs. | Clarifications made. We can discuss further clarifications in future review. | Closed - RIGs changed
36 | CV15 - QoS & North of Scotland resilience tab | Row 140 amended to say 'North of Scotland resilience' rather than 'QoS & North of Scotland resilience' | Incorrect title. | Pre-consultation | N/A |  |  | Closed - RIGs changed
37 | SI1 - Performance Summary | Guidance document uses a number of terms that are capitalised. There is an unwritten convention within the RIGs where capitalised terms are associated with definitions in Annex A -Glossary. Either provide definitions or remove the capitalisation | Consistency with RIGs | Pre-consultation | WPD |  | Clarifications made. | Closed - RIGs changed
38 | M2 - DPCR5 WSC Schemes | Additional columns | This worksheet collects data on the number of Worst Served Customers (as defined for the DPCR5 WSC mechanism) for Regulatory Years in DPCR5. However the M2 table does not contain columns for schemes which continue to incur costs and that result in HV+ Incidents in ED1. The primary driver for these schemes is Worst Served Customers, therefore unless the table is expanded on this basis, please notify us where to place the costs incurred in ED1 on the DPCR5 schemes | Consultation | UKPN |  | Clarifications made. | No change - clarified directly with UKPN.
39 | ONIs (CV28) and Smart Metering (CV34) |  | although we concede that it is too late in the process to apply to the 2015/16 return, we would like to propose an extension to the true up mechanism between ONIs (CV28) and Smart Metering (CV34) of the restatement of intervention volumes. Given the possible delay between defect rectification and meter installation, and the dependency on suppliers following up interventions with a smart meter installation (no SLA in place), we believe the restatement each regulatory year should not only apply to the prior regulatory year notifications, but extend to the all prior years within the RIIO-ED1 period. Extending the restatement period would provide a closer reflection of smart meter installation volumes as we move through the roll out period, and recognise the current trend estimated by us where 30+% of smart meter interventions in 2015 have not been followed up with a smart meter change in year by the supplier | Consultation | UKPN |  | We will note this as a possible future review. | No change - to be considered in future review.
40 | CV28 - ONIs - Table | As per the May 2015 log, we requested input cells for "M137:Y137" & "M139:Y139" However Ofgem stated "At the working group DNOs said they are unable to provide cost associated with them, only volumes. Therefore these cells are non-entry cells." Therefore, do we have to enter the costs into Streetlights/Street Furniture/Unmetered Services/Unmetered Cut Outs input cells "M136:Y136" & Cut Outs (Metered Services) input cells "M138:Y138"? If yes - This will impact the unit cost for rows "BL136:BX136" and "BX138:AP138" because, there will be volumes recorded in two separate rows for street lighting and cut outs but costs recorded in one row. |  | Consultation | WPD | Clarification given by Ofgem - "Yes, as a number of DNOs were unable to split them out, the costs do need to be entered into Streetlights/Street Furniture/Unmetered Services/Unmetered Cut Outs input cells "M136:Y136" & Cut Outs (Metered Services) input cells "M138:Y138". An explanation should be provided in the accompanying commentary about any issues or distortions this may give to unit costs."The Ofgem response specifies the requirements of the commentary. This requirement should be specified within Annex B. | Agree - Annex B updated | Closed - RIGs changed
41 | CV13, CV24 | For the reporting of BT21CN it is unclear whether we should report as a named HVP therefore in CV24 or should we report under CV13. Should the reporting be consistent with other named HVPs or do we treat BT21CN differently? Also do we treat the reporting consistently for DPCR5 and ED1? | In line with the BPDT we should report all BT21CN costs in CV13 | Consultation | WPD | The Ofgem response ("It is appropriate to have all BT21C costs reported together under CV13 for both DPCR5 and RIIO-ED1")only answers part of the query. In DPCR5 some DNOs had BT21CN classified as HVP. In DPCR5 these have been reported as HVP on DPCR5 CV9 with a summary link through to BT21CN on DPCR5 CV10. It follows that the same approach should be used for ED1 where BT21CN HVPs are reported as HVP costs on ED1 CV24. This would mean that the BT21CN worksheet would be blank for those licencees. | No change - report under CV13 | Closed - no change
42 | CV1/ CV2/ CV3 | It is unclear in the guidance at what stage within the commissioning process we should report the MVA of capacity released in the three Reinforcement tables: installation, comminssioning, energisation? | Ofgem to add a section to the relevant guidance sections about achievement timings for capacity released | Consultation | WPD | This additional guidance should be included for each table in Annex B | Agree - Annex B updated | Closed - RIGs changed

## Annex C
Annex C - Revenue and Financial Issues
No. | Reference (Paragraph number, glossary term or table name) | Change | Reason for change | Raised when | Raised by | Response from consultation | Ofgem response | Status
1 | Revenue Reporting pack - Licence Values table | Values updated in Licence Values tab | License tables are based on the license at Final Determinations. Some of these need updated following the ruling of the CMA. | Pre-consultation | N/A | •WPD - The base revenue values for WPD are not the Post Fast Track update and re-profiled figures and are therefore incorrect. This sheet therefore requires updating. | Agree - table updated | Closed - RIGs changed
2 | F8 - Reconciliation to Reg Accs | Cell B18 in "F8 - Reconciliation to Reg Accs" linked to cell C109 in "F1b - SOFP" | Incorrect link | Pre-consultation | N/A | •WPD - Cell 109 in F1b links through to customer contributions value per the RIGs. For the purposes of the reconciliation, I think it would be more correct to link through to cell C108, which is the Reg Accounts value | Agree - now linked to row 108, the Reg Accounts value. | Closed - RIGs changed
3 | F9 - Links Page | All links to Cost + Volume pack need adding | Links missing | Pre-consultation | N/A | •WPD - F9 has been linked to a version of the C&V pack called "costs_and_volumes_reporting_pack_29012016.xlsx" - this is not the version issued by Ofgem on the 23rd Feb (costs_and_volumes_reporting_pack_23022016.xlsx). However, I have been able to verify the cell references. Per RIGS Annex C guidance, para 3.71. “The relevant values for regulatory years 2015-16 onwards in worksheet I4 – Revenue and Financial Issues Inputs of the Costs and Volumes Reporting Pack must be copied and pasted into this worksheet"; thus, there does not need to be links per the previously issued RIGs and this was a specific decision at the time of drafting to avoid issues with versions of the files (as illustrated in the paragraph above). The guidance has not been updated to reflect the decision to include links. Links from other packs in table F5a Revenue Reporting pack have not been similarly added, which appears inconsistent. | Links have been removed. The guidance in paa 3.71 has been expanded to show where to get the values from. | Closed - RIGs changed
4 | ‘Licence values’ tab | Licence value cells protected. | To avoid change in values | Pre-consultation | N/A | •NPg - It is difficult for DNOs to check the figures if they are not able to copy them. It would make sense to protect this sheet, but enable copying of the information for ease. | Agree - table updated | Closed - RIGs changed
5 | Revenue Return | Fix sheet lengths so workbook is not 10MB in size. | Reduce size | Pre-consultation | N/A |  |  | Closed - RIGs changed
6 | F5 - Allocation to Tax Pools & F9 | Tax Pool Alloactions will need to be done on Totex net of Disposals, Theft & DRS8. Links on F9 will capture this. |  | Pre-consultation | N/A | •WPD - We agree that tax pool allocations will need to be reconciled back to Totex pre adjustments for disposals, theft and DRS8. This wording used in F9 is misleading and it may be better to say values gross of disposals, theft and DRS8. F9 calculates these values, however we think it may be better to link directly back to I2 in the Cost and Volumes pack (via I4 in the Costs and Volumes pack) which provides these values before adjustments. This prevents any issues caused by signage of the adjustments. | For clarification, the change only refers to the check cells in H26 and H50. We belive these should be computed post adjustment, so Totex totals match those reported elsewhere (for example Actual Expenditure in the PCFM). | Closed - No change
7 | F1 | The Statutory Accounts for the WPD DNOs for the Regulatory Year 2015/16 will be prepared under FRS101. In the statutory accounts the prior year (i.e. 2014/15) comparatives, which were prepared under UK GAAP, will also be restated for FRS101. As the Regulatory Accounts have to be consistent with the Statutory Accounts, the Regulatory Accounts for 2015/16 will also be prepared on this basis. It is unclear from the RIGS whether the information reported in the 2015 column in tables F1, F1a, F1b and F1c should be what was submitted in the 2014/15 column in the 2014/15 RRP submission or the (restated for FRS101) comparative information included in the 2015/16 Regulatory Accounts. Paragraph 3.31 states that; “The prior year columns must reflect the final figures submitted to Ofgem for those years reflecting any agreed restatement(s).” However, paragraph 3.14 which covers F1 and the Financial Statements states: “3.14 This worksheet must agree to the entity’s audited Regulatory Accounts for the relevant year.” and the Regulatory Accounts also include comparative data for the prior year. For the benefit of comparative analysis we believe it should be the restated FRS101 comparative information included for the prior year in the 2015 column. This also fits with cell C12 on table F1 only allowing FRS101, FRS102 or EU-IFRS as options, and not UK-GAAP. | Ofgem clarification (Happy for you to use restated FRS101 numbers in the 2015 column.)could result in a breach of para 3.31 of the RIGs and differences in approach between DNOs. RIGS change therefore required - WPD propose an additional bullet to those in para 3.14: "If prior year values have been restated in the Regulatory Accounts due to the transition to new UK GAAP or Internationational Accounting Standards, restated prior year values from the Regulatory Accounts should be input. ". A change to para 3.31 is also required: "3.31. With the exception of any restatement under paragraph 3.14, the prior year columns must reflect the final figures submitted to Ofgem for those years reflecting any agreed restatement(s). The restated cells must be highlighted in yellow and comments should be inserted to explain the nature of the restatement(s). | Consultation | WPD |  | Agree - The two WPD suggestions have been incorparetd into the guidance. | Closed - RIGs changed
8 | F1, F1a | In table F1 and F1a, under the Statement of Comprehensive Income, the RIGs states that : “3.20 Any dividends paid during the regulatory year must also be disclosed in this section.” It does not appear that dividends paid are required to be reported in the SOCI under FRS101 and they will therefore not be reported in the SOCI in the WPD DNOs’ Regulatory Accounts. If we report dividends paid under the SOCI heading in table F1 and F1a, this will mean the SOCI section does not agree to the Regulatory Accounts. There is no specific requirement under the SOCI heading in the RIGS that values reported in the SOCI section have to agree to the RIGS but the paragraph 3.14 which covers F1 and the Financial Statements states: “3.14 This worksheet must agree to the entity’s audited Regulatory Accounts for the relevant year.” | Ofgem clarification ( If dividends are not required in the main accounts under the chosen reporting standard, they can be left out of the table. Continue on the basis of 3.14, so the F1 table reconciles to the reg accounts.) could result in a breach of para 3.20 of the RIGs. RIGS change therefore required - WPD propose the removal of paragraph 3.20. | Consultation | WPD |  | To cover the different standards, the phrase "if required under the applocable accounting standards" has been added to para 3.2. | Closed - RIGs changed
9 | F1 | Note that WPD does not include the cash proceeds on sale of scrap as part of the profit and loss on disposal reported as an exception item in the profit and loss account (cell C27 and D27 in table F1). There will therefore be a change to the (Ofgem) formula required in these cells to remove cash proceeds on sale of scrap to ensure exception items reported in F1 agree to the Regulatory Accounts. Alternatively it could be added back in cell C28 and D28. | RIGs change required - WPD propose an insertion of a new paragraph after 3.16: "3.17 Exceptional items: (Profit)/Loss on disposal of fixed assets is linked to analysis in cells F94:H102 and agrees to information reported in the Cost and Volumes tables. Any adjustments or reconciling items between this and the value reported in the Regulatory Accounts for (Profit)/Loss on disposal of fixed assts should be reported in cells C28:D30." | Consultation | WPD |  | Agree - para added. | Closed - RIGs changed

## Annex D
Annex D - Secondary Deliverables
No. | Reference (Paragraph number, glossary term or table name) | Change | Reason for change | Raised when | Raised by | Response from consultation | Ofgem response | Status
1 | Secondary Deliverables pack : Summary by Asset tab | Summary_by_Asset tab, cells H7:I8 updated. | The formulas in cells H7, H8, I7 and I8 are picking up the wrong columns | Pre-consultation | N/A |  |  | Closed - RIGs changed
2 | Secondary Deliverables pack | Tabs : HCT_LV, HCT_HV,HCT_EHV, HCT_132kV and HCT_Other Assets, in row 2 columns S:X and DD:DI "(before matieral changes)" has been removed. | Changed for clarity | Pre-consultation | N/A |  |  | Closed - RIGs changed
3 | Annex D: Secondary Deliverables | Impact of deterioration 2.33 and 2.48 amended in glossary. | Ameded for clarity | Pre-consultation | N/A | •WPD - OK - however:- 1) for clarity, it is suggested that the wording in clause 2.33 should include reference to the 'order' in which Deterioration and Material Changes are reported (noting that in clause 2.34 there is explicit reference to Material Changes being reported relative to the prior years profile adjusted to reflect any actual deterioration and Data Cleansing in the year - so Deterioration is reported with respect to the prior year profile, before Material Changes are considered, but after Data Cleansing has been accounted for);and 2) there needs to be an amendment to the definition of Material Changes in Annex A, to remove reference to deterioration being considered within Material Changes. Proposed wording changes to address each of the above are given below:- Proposed wording for clause 2.33 2.33. In these columns, please enter the movements to the health and criticality due to the actual deterioration that has occurred during the year. Movements should be reported with respect to the Start of Year profile following any adjustments reported for Data Cleansing, but before accounting for the impact of any Material Changes. Proposed amendment to Annex A glossary term 'Material Changes' ...Changes to input data may be due, (but are not limited), to: - changes arising from implementation of the Common Network Asset Indices Methodology (this does not include the full changes made as part of DNOs’ submission of their Rebased Network Asset Secondary Deliverables) - other exogenous changes in data (eg due to a type fault identified) - unexpected changes in data (eg asset health degradation being better or worse than forecast) - a conscious business decision regarding the data collection methodology which causes a change in data accuracy for the relevant measure. | Agree - annex updated. | Closed - RIGs changed
4 | Annex D: Page 18 Asset Count check paragraph 2.83 | Change (N to W) and (Y to AH) to (O to X) and (AA to AJ) respectively | Incorrect | Consultation | UKPN |  | Agree - annex references incorrect columns. Change made in annex. | Closed - RIGs changed

## Annex E
Annex E - Reinforcement
No. | Reference (Paragraph number, glossary term or table name) | Change | Reason for change

## Annex F
Annex F - Interruptions
No. | Reference (Paragraph number, glossary term or table name) | Change | Reason for change | Raised when | Raised by | Response from consultation | Ofgem response | Status
1 | QoS Interruptions Data Reporting Pack | Revenue Link Table tab added from QoS Interuptions Reporting Pack This is because the fi, so it makes sense to keep this all in one place. Annex F guidance amended. | Finalised performance values should be/are being calculated in the Stage Data pack, should be in the same pack. | Pre-consultation | N/A | •WPD - The comments here are confusing as the revenue link table has been removed from the Interruptions pack not added. See impact on formatting new 1 comment below. •SP - The revenue link tab is picking up the unadjusted values (before Exceptional Events). This will be fine if there are no Exceptional Events, but may be confusing if there are. Perhaps an explanatory note in the tab may be helpful and avoid future confusion? •NPG - We can see that the formula is correct, however, the reasons for this change are not clear as we cannot see how Ofgem will use this data (i.e. what is the modelling purpose?). Until Ofgem provides DNOs with the directions for any severe weather exceptional event claims, or one-off exception claims (under Part F of special condition CRC 2D) then this data does not represent the final performance for IIS at the point of submission. | Revenue Link table has been moved to the Stage data pack from the Interruptions pack. No further change needed. Agree with SP's point. Formula updated to link to 'EE Impact' tab, taking the unweighted values without exceptional events. | Closed - RIGs changed
2 | QoS Interruptions Stage Data Reporting Pack | Tab 'Interruptions Sheet' - Updated formulae in cells D15:E20 to make sure they are picking up the correct values | Incorrect link/formula | Pre-consultation | N/A |  |  | Closed - RIGs changed
3 | QoS Interruptions Stage Data Reporting Pack - EE tab | EE impact tab - cells K48:P54 (other events) removed and R48:W45 (severe weather events) removed. Formulae in cells F49:G54 to reflect this change. | Duplicate table | Pre-consultation | N/A | •WPD - This causes a problem, see NEW 6, NEW 7 and NEW 8 comments below. •Npg - The Formula looks correct but we are unsure how 'one off' events thresholds will be considered, or how 10% of CML is added back in for National Grid faults. We assume that 'unweighted' means that these factors have not been considered. We believe Ofgem needs to clarify these issues in order for the tables to be completed consistently. | See comments below. NPg concerns addressed by rework outlined below. | Closed - RIGs changed
4 | Annex F Interruptions - 1.8 | Add reference to QoS Interruptions 'Stage Data' Reporting Pack | Clarification | Pre-consultation | N/A |  |  | Closed - RIGs changed
5 | Annex F Interruptions - Clock Stopping, para 2.44 | Clock Stopping 2.44 in Annex F guidance changed. | Clarification | Pre-consultation | N/A | •UKPN - we support the introduction of the new paragraph 2.44 which gives more details of the handling of access issues due to environmental factors. However, we do not support the deletion of the existing paragraph 2.44 as this covers a different and valid scenario for a clock stop under IIS. Furthermore the removal of this paragraph would change the rules for IIS at the end of the year after any such incidents had been recorded against the existing rules (Issue 5 on the log) • SSE - Clock stopping – We support the proposed new text, which elaborates on the environmental factors determining when the clock can be stopped with regard to length of interruptions. However, by proposing to delete the existing text, there is now no allowance for when required access to a customer’s premises is unavailable. This needs to be accommodated within the revised drafting and not lost, as is the currently the case. We would also like to raise an additional point about factors affecting access. We believe we are the only DNO that would be affected by this. As we have approximately 40 inhabited islands as part of our distribution area we largely rely on scheduled ferries to gain access. If a fault is reported at a time when we cannot gain access or get the necessary equipment to an island because either the ferries are not running due to bad weather or just because of the time of day, we would like to be able to stop the clock until we can gain access to the island. •NPg- We believe that Ofgem has misinterpreted a previously offered amendment to this paragraph. We agree with the introduction of the new 'environmental factors' clock stop and Ofgem’s wording but this should be in addition to the 'customers' premises access' clock stop comments, not in place of them. We therefore recommend that two lack of access clock stops are defined in the RIGs; one covering the traditional lack of access to 'customers' premises' (re-introduce what was originally in the ED1 RIGS) and the second covering the new 'environmental factors'. | Agree that the amendment means it only covers restriction of access due to environmental factors. Update made to highlight that environmental factors are not the only ones that apply in to this situation. SSE - point about clock stopping for islands. Since we have removed the highlands and Islands exemption from the GS for ED1, allowing clock stopping in such a circumstance would mean SSE have no incentive to restore supplies as quickly as they can. They could use mobile generation on these islands or alternative means of getting to the island. | Closed - RIGs changed
6 | Annex F Interruptions - 2.86 | 2.86 of annex F guidance - updated. | Changed for clarification. | Pre-consultation | N/A |  |  | Closed - RIGs changed
7 | QoS Interruptions Stage Data Reporting Pack | Headings updated from 18 to 12 hours. Tabs updated are: Interruptions Sheet, Any other connected syst, Distributed generators, 132kV non-damage, 132kV damage, EHV non-damage, EHV damage, HV non-damage, HV damage, LV non-damage, LV Overhead mains damage, LV Underground mains damage, LV All other Switchgear P&E, LV P&E link boxes only, LV services overhead, LV services underground | To reflect Guaranteed Standards times | Pre-consultation | N/A | •SP - The table in the QoS_Interruptions_Stage template has been corrected to align with the guaranteed standards, however, the underlying calculations within the sheets have not changed •Npg - Further changes required - The headings have been changed but the formula below the headings are still looking at 1080 minutes (18 hours) instead of 720 minutes (12 Hours) | Formulae also updated in all input sheets to reflect the change from 18 to 12 hours. | Closed - RIGs changed
8 | QoS Interruptions Data Reporting Pack - Cover Sheet | Formatting of data blocks from rows 43 down has gone awry |  | Consultation | WPD |  | Formatting updated | Closed - RIGs changed
9 | QoS Interruptions Stage Data Reporting Pack - Interruptions sheet | Cell E20 has a negative sign included which generates negative customer minutes lost for all HV damage incidents |  | Consultation | WPD |  | Negative removed | Closed - RIGs changed
10 | QoS Interruptions Stage Data Reporting Pack - all input sheets | Column A generates an additional count of incidents because it only looks for differences between the entries in the incident ref column. This means that if a blank entry follows a real entry it generates a count. There should be an additional test within the IF statement to check whether the incident ref is blank. Change the formula from cells A4 down (the formula is cell A3 is OK) from =IF(B4=B3,0,1) to =IF(B4="",0,IF(B4=B3,0,1)) |  | Consultation | WPD |  | Formula updated - though worth noting that there shouldn't be a break in the entries. | Closed - RIGs changed
11 | QoS Interruptions Stage Data Reporting Pack - 132kV damage | The Exceptional Event categories are missing from cells AJ2:AJ6, which means that the calculations in cells AE3 to AG3 always return zeros |  | Consultation | WPD |  | Categories entered | Closed - RIGs changed
12 | QoS Interruptions Stage Data Reporting Pack - NGET of transmission co, Any other connected systems, distributed generators | These three worksheets only have the calculations built in for the first two rows. Is this deliberate or an omission. Is it expected that the DNOs will extend the calculations if there are incidents in these categories? |  | Consultation | WPD |  | Deliberate omission to keep the size of the template manageable. Expectation is that DNOs will extend the formulae to the relevant rows. | Closed -no change
13 | QoS Interruptions Stage Data Reporting Pack - EE impact | This comment relates to part of the action carried out under change 3. The 'other event' data block in cells K48:P54 should not have been removed. This block of data is required to calculate the net CI and CML impact after the subtraction of the threshold amount of customer interruptions and customer minutes lost for other events. It is only the net amount that is incorporated into the penalties and rewards. Note that the amount that is subtracted depends on the number of other events that have been claimed (this is not clear in the guidance). This net position is referenced within para 2.62 of Annex J We suggest changing the title of this block of data to 'Other events (net position after removal of threshold values)' to make it clear that the data is not a duplicate of the block of data above it. |  | Consultation | WPD |  | Block reinstated, with update to the formulae to remove the threshold for One Off Events. This is done via the new area added in cells L1:N4, which calculates the threshold values in number of customers interrupted and the number of minutes of supply lost, multiplied by the number of events that DNOs has had in the year. | Closed - RIGs changed
14 | QoS Interruptions Stage Data Reporting Pack - EE impact | Calculations in cells C54 to E54 are referencing the wrong values. Under change 3 the source data has been deleted. This means that these calculations need to link to totals in row 45. However, if the block of data for net position for other events is reinstated the calculation will need to reference the relevant totals for this net other event position in row 54 and reference row 45 for severe weather events. |  | Consultation | WPD |  | Calculations updated accordingly to account for changes made as described above. | Closed - RIGs changed
15 | QoS Interruptions Stage Data Reporting Pack - EE impact | If the other events data block removed under change 3 is reinstated, the calculations in cells F49:G53 should reference the values in the reinstated block for other events. |  | Consultation | WPD |  | As above | Closed - RIGs changed
16 | QoS Interruptions Stage Data Reporting Pack - EE impact | The data population for cells L15 to n27 and L33 to N35 can be automated as per the severe weather calculations. These need to link to cells AE6 to AG6 in each reporting category. |  | Consultation | WPD |  | We will leave this to be manually populated for this year, and consider the options for making this automatic in the future. | Closed - no change
17 | QoS Interruptions Stage Data Reporting Pack - Planned HV pole mounted or oh, Planned HV ground mtd or ug, Planned LV pole mtd or oh, | Column N contains cells that have data validation. This validation is pointing to cells $Q$13:$Q$19, but it should be $V$3:$V$9 as per the validation in sheet 'Planned LV ground mtd or ug' |  | Consultation | WPD |  | Data validation updated | Closed - RIGs changed
18 | Interruption sheet in data pack - E20 | Negative sign in cell E20 to be updated. |  | Consultation | UKPN |  | Agree - change made | Closed - RIGs changed
19 | Stage workbook | formulas for calculating the number of customers of for 12 hours need amending from 1080 to 720 hours | to line up with the amended heading | Consultation | UKPN |  | Agree - change made | Closed - RIGs changed
20 | Annex F Interruptions - Appendix 6 | Population of the new tab ‘LV plant & equipment link boxes only – damage’. In Appendix 6, MEI Codes identifies how the MEI code cross reference to all the tables, but there is no mention of the new tab. Can Ofgem please confirm that it only wishes: 67 Switchgear - Linkbox to be included in the new tab? |  | Consultation | SP |  | LV plant and equipment link boxes only - damage' should be populated only with MEI 67 (Switchgear - linkbox) | Closed - no change
21 | Annex F Interruptions - Appendix 4 | In Appendix 4, the RRP 'Plant & Equipment LV link boxes only' should align to IIS ' LV P&E link boxes only' tab only. It currently shows that it also aligns to the IIS 'LV all other switchgear, P&E' tab. |  | Consultation | SP |  | Agree. Remove the alignment of LV P&E link boxes to LV all other switchgear | Closed - RIGs changed
22 | QoS Interruptions Stage Data Reporting Pack | QoS Interruptions Stage template is now 23MB before any data is loaded (it is 5MB in the compressed version), making it difficult to data share/exchange. Is it possible to consider the level of detail, in particular the interlinked cells, with a view to reducing the size? |  | Consultation | SP |  | Agree this should be reduced in size. Size is due to each tab being formatted down to row 10,000. Suggest remove this formatting from row 1,000 onwards and DNOs should extend the rows (formatting and formulae) as required) | Closed - no change
23 | Annex F Interruptions guidance document – Guaranteed Standards (Regulation 5)paragraph 3.70 (page36) |  |  | Consultation | NPg | Unfinished sentence. The following words need to be added to the end of the final sentence in this paragraph “…by the relevant operator before the contravention time may be treated as the taking by the relevant operator of the action required by the regulation and, where the action take includes a promise of further action, the relevant operator duly performs that promise.” | Agree - text added. | Closed - RIGs changed
24 | QoS Interruptions Stage Data Reporting Pack/ Cost and Volumes (table M5) | It is unclear from the template how the total number of 'other' events is entered. Clarity is required on how a 'one off event' (comprising a number of incidents) should be represented in the table. Where the claim results from the amount of CI & CML breaching a threshold (rather than other event relates only to one specific incident) it is not possible to allocate the amount of CI & CML exceeding a threshold for a combined number of incidents to individual incidents. Clarity required on how a one off event should be represented in the table and how these events should be declared in the Cost and Volume reporting pack since there is no place for them in table M5 since it is not strinctly a CAT 1-3 event but is still has an exceptional weather driver. | Additional guidance is required on how to treat other events within the EE Impact tab of the stage data template. There is a requirement to generate a value of impact that is above the threshold values. The amount of the threshold value is dependent upon the number of 'other' exceptional events. | Consultation | WPD | Additional guidance is required on how to treat other events within the EE Impact tab of the stage data template. There is a requirement to generate a value of impact that is above the threshold values. The amount of the threshold value is dependent upon the number of 'other' exceptional events. | This has been addressed by the changes addressed in point 13. | Closed - RIGs changed

## Annex G
Annex G - Connections
No. | Reference (Paragraph number, glossary term or table name) | Change | Reason for change | Raised when | Raised by | Response from consultation | Ofgem response | Status
1 | Connections Reporting Pack Tab CR11 | Tab CR11 - Section 22 connections, 3 rows in table added to allow the value to be split by sole use, customer funded-reinforcement and DUoS funded-reinforcement. | To be in line with guidance | Pre-consultation | N/A | •WPD -We now have two rows titled - Subject to Apportionment Rules - Customer Funded. One should refer to DUOS funded | Agree - cell B10 of tab CR11 updated. | Closed - RIGs changed
2 | 2.148 of Annex G Connections | Sole Use Metered and Sole Use DG should separated into two bullet points | Formatting error | Pre-consultation | N/A |  |  | Closed - RIGs changed
3 | Connections Pack Tables CR4 Completed Summary and CR5 Mtd Conns Completed inc DG, RIG's Annex G wef Page 12 | Tab CR4 - Completed summary, 3 tables have been updated to include the following connections: LV metered DPCR4 Connection projects, HV metered DPCR4 Connection projects, EHV metered DPCR4 Connection projects, 132kV metered DPCR4 Connection projects | To be in line with guidance, DPCR4 projects to be reported. | Pre-consultation | N/A | •WPD - Don't agree with this change. During DR5 completed projects analysis was always DR5 completed projects. Why start now when the majority of DR4 projects will have been completed durting the DR5 period. Data on DR4 connections projects may not have been captured in the required format for reporting in DR5 as systems were required to be ready for 1st October 2010. It would be more appropriate to amend the RIGS to specify DR5 Connections projects only need to be reported. • UKPN - CR4 – Completed Summary has been updated to include DPCR4 Connection projects, however the definition of a Connections Project states on p.48 of Annex A (Glossary): Where a quotation was offered to the connecting party after the required systems and processes were in place to provide the level of project specific detail required for a RIIO-ED1 project. DPCR4 projects do not hit the criteria outlined by this definition therefore should not be included in the CR5 and CR6 tables, and summarised on CR4 • CR2 & CR3 Metered/Unmetered In-year: following the same logic as above counting MPANs/POCs for DPCR4 projects pre-dates system changes and therefore the DPCR4 Connections Projects rows, columns AN to AQ should be greyed out • SP - We note that in relation to the connections RIGS Tab CR4 - Completed summary, 3 tables have been updated to include DPCR4 connections. We believe this may be an error as it would seem inappropriate to require DNOs to report on DPCR4 performance 2 price controls later. •ENWL - Proposed change is superflous. Propose to delete the rows. | Agree - Extra rows added have been removed. | Closed - RIGs changed
4 | SLC 12 and15 reporting pack. Tab SLC15 Final con & phased energy | Tab SLC15 Final con & phased energy - A51:A54 updated removing 'of HV'. Eg. 'Number of partial energisations of HV completed within timescale' now reads 'Number of partial energisations completed within timescale' | Titled incorrectly | Pre-consultation | N/A | •WPD - Title still incorrect – cells A51-54. This is the total of final works, partial energisations and dates issued. Suggest delete “partial energisations” from each of cells A51-54. | Agree - Partial energistation removed | Closed - RIGs changed
5 | SLC 12 and15 reporting pack. SLC15 Design Approval tab | Tab SLC Design Approval - cells B12:E12 changed from format percentage to value. | Should not be in % | Pre-consultation | N/A |  |  | Closed - RIGs changed
6 | SLC 12 and15 reporting pack. SLC15 Final Connection and Phased Energisation tab | Tab SLC Final con &phased energy - cells B10:E10, B19:E19, B37:E37 and B46:E46 changed from format percentage to general. | Should not be in % | Pre-consultation | N/A |  |  | Closed - RIGs changed
7 | SLC15 Annex G 'Connections' page 72 | Table of SLC 15 Standards updated. | Changed for clarity | Pre-consultation | N/A |  |  | Closed - RIGs changed
8 | 5.22 of the Annex G Connections RIGs | Change to annex to make the following into two separate points " • Technical details of any Customer owned equipment that is likely to cause disturbance to the electricity supply (ie large motors, welders etc). Any other information that the Electricity Distributor may reasonably request." | Formatting error | Pre-consultation | N/A |  |  | Closed - RIGs changed
9 | Connections Reporting Pack Tab CR2 | Cells amended in tab CR2, greyed out cells in columns AN-AP, rows 8-25. | Incorrect cells greyed out | Pre-consultation | N/A |  |  | Closed - RIGs changed
10 | SLC 12 & SLC 15 Reporting pack: SLC 15 Providing Quotes | cells B79: E79 are formatted to ‘general’ and require changing to ‘percentage’ | Incorrect format | Consultation | UKPN |  | Agree - change made | Closed - RIGs changed
11 | Annex G: paragraph 2.10 | the example provided on page 8 paragraph 2.10 “For example, if an HV and an LV connection are made as part of a project, this should be recorded under HV Category 9: HV end connection involving HV work” appears to contradict table 2.1 “Metered Connection Categories and Market Segments”. The way it is written does not match table 2.1 where it is defined on page 7 (the word “only” is missing). Additionally, the example given should be recorded as Category 8: LV end connections involving HV work, not Category 9 which according to table 2.1 is for “HV connections involving only HV work” |  | Consultation | UKPN |  | Review as a future change -this will have a significant impact on reporting | Closed - no change, we will review as a future change.
12 | Glossary Annex A | The Glossary to the RIGS, Annex A, sets out the following two definitions: “Quotation Issued Date - The Working Day on which the information was issued to the applicant, either electronically or in hard copy.” and “Quotation Offer date - The date on which the DNO dispatched the first quotation that is subsequently accepted by the connecting party. This must be assigned to the nearest working day with quotations offered after 5pm rolling into the next working day.” The need for these two definitions is not particularly apparent. Furthermore, under Annex G of the RIGs, paragraph 3.13 states that: “The issue date shall be recorded as the Working Day on which the information was issued to the Customer, either electronically or in hard copy. If it has been issued before 23:59 on a Working Day then it will have been deemed to have been sent on that Working Day.” The ‘issue date’ being the date that the relevant information or service is issued to the Customer (paragraph 3.12). Taken together with the definition of ‘Quotation Issued Date’ in the Glossary, this appears to push the Working Day out to 23:59 for the purposes of issuing quotes, which is clearly at odds with the definition of ‘Quotation Offer Date’. We would welcome a clear steer from Ofgem as to what timeframes apply in what instances. |  | Consultation | SSE |  | We will review as a potential future RIGs change. | Closed - no change, we will review as a future change.
13 | Annex G | On pg. 67 of Annex G 10A we suggest that the wording is changed from ‘prescribed period’ to ‘agreed date’. In the ‘payment to customer’ column the wording reads as ‘prescribed period’ |  | Consultation | SSE |  | Agreed - change made | Closed - RIGs changed
14 | Definition 'New Works order' | Extensions of time for completion of works on adopted highways Annex G differs from the Statutory Instrument (SI)1: · In Annex G (pg. 51) under ‘New works order – completion of works on adopted highways’, it states that extensions of time apply. · In the SI under unmetered on adopted land (section 12(3)) it does not state if extensions of time apply. In comparison, for unmetered on new land (section 12 (2)) the SI does state that extensions of time apply. · However section 12(3) (unmetered on adopted land) then refers to exceptional circumstances (under 12(4)), which then refers to extensions of time (section 16), which would then suggest that extensions of time do apply. We would welcome clarification on whether extensions of time can be applied to ‘New works order – completion of works on adopted highways’. We believe it makes sense that they can, but we would appreciate a definitive view. |  | Consultation | SSE |  | There is no inconsistency between the SI and the Connection RIGs. Extensions of time can be applied to “New Works order – completion of works on adopted highways”. | Closed - no change
15 | Definition 'Demand Connection' | ‘Demand Connection’ Annex A differs slightly from the SI: a. Annex A (pg. 60): “A new or modified connection (excluding any modification comprising only an alteration as a result of an alteration to the position of the meter) the purpose of which is to enable the premises to receive a supply of electricity from an Electricity Distributor’s distribution system.” b. Statutory Instrument (pg. 3): “A new or modified connection (including, for the purposes of regulations 4 to 7, any modification carried out solely to facilitate an alteration to the position of a meter) the purpose of which is to enable premises to receive a supply of electricity from an electricity distributor’s distribution system”. |  | Consultation | SSE |  | We will review as a potential future RIGs change. | Closed - no change, we will review as a future change.
17 | SLC 12 &15 percentage performance | Calculation incorrect. It takes no account of exemptions; in the GSoP tables these are included in the demoninator ie. Essesntially as a pass. The same treatment should be there for SLC15. |  | Consultation | ENWL |  | We consider that SLC 12 and SLC 15 reporting packs correctly calculate the percentage performance. We do not consider that any changes are required. | Closed - no change
18 | Connections reporting pack : CR1, CR2 and CR3 | There are formulae error in the Connections table plus the calculation fields are not ‘ locked down’ on this template. The sign convention would need to different on CR2 & CR3 and they give wrong total on CR1 (Indicative Margin Columns CR2: Deducts costs from income; CR3 : adds income to costs) |  | Consultation | SPEN |  | We will review as a potential future RIGs change. | Closed - no change, we will review as a future change.

## Annex H
Annex H - Customer service
No. | Reference (Paragraph number, glossary term or table name) | Change | Reason for change

## Annex J
Annex J - Environment and Innovation
No. | Reference (Paragraph number, glossary term or table name) | Change | Reason for change | Raised when | Raised by | Response from consultation | Ofgem response | Status
1 | Annex J Environment and Innocation Guidance - 2.45 | 2.45 amended to : This is to consider DNOs’ responsibility towards losses as a Scope 2 emission. DNOs should apply the most relevant DEFRA conversion factor for electricity generation to their reported losses levels to derive the associated emissions in terms of tCO2e. The Scope 3 conversion factor for Transmission and Distribution Losses should not be used." | This change is to clarify that DNOs should apply the relevant generation conversion factor to their specific reported losses levels and not use the conversion factor labelled ‘T&D losses’ as this already incorporates a factor associated with % losses levels. | Pre-consultation | N/A |  | Agree | Closed - RIGs changed
2 | Environment and Innocation reporting pack : E5 - Smart Metering | Cells M12:W12 greyed out | Data not to be input | Pre-consultation | N/A |  | Agree | Closed - RIGs changed
3 | Environment and Innocation reporting pack : E7 | E7 - LCTs, Tables for DPCR5 data greyed out. | Data not to be input | Pre-consultation | N/A |  | Agree | Closed - RIGs changed
4 | Environment and Innocation reporting pack : E6 - Innovative Solutions | E6 - Innovative Solutions, all tables in this tab have had the DPRC5 data ungreyed to yellow. | To allow DNOs to report | Pre-consultation | N/A | •WPD - No issues • UKPN - all tables in this tab have had the DPRC5 data un-greyed to yellow: As previously communicated to Ofgem, UK Power Networks does not support the reporting of historic data for Innovative Solutions which were not required under DPCR5. A change of this scale at this late stage is not acceptable as outlined in our covering letter | DPCR5 tables in tab E6 - Innovative Solutions have been changed back to grey. No input needed. | Closed - RIGs changed
5 | BCF Harmonisation of tables between RIIO T1 and ED1 | BCF Reporting for distribution will require the new E3 table to be used for distribution but not for RIIO T1. This will involve a duplication of method as ED1 requires volumes and conversion rates to be provided, whilst T1 will require only carbon emissions to be stated. We would be very grateful if Ofgem could provide its view on this matter. |  | Consultation | SP |  | Future review | No change - to be developed through working group.
6 | Paragraph 4.9 | Delete “be used to inform on potential savings and costs during the RIIO-ED2 price control period, as well as allowing” and replace with "allow" | The Competition and Markets Authority (CMA) Final Determination in the Northern Powergrid Appeal noted that “We assume that the effect of our Order will be that …, where appropriate, any future changes to GEMA’s DPCR5 Regulatory Instructions and Guidance (RIGs) will be implemented to be consistent with our determination.” At a minimum the conclusions of the CMA on the smart grids ground of appeal strongly steer Ofgem to delete the statement in the innovative solutions section of annex J that the reported information will be “used to inform on potential savings and costs during the RIIO-ED2 price control period”. Ofgem should also take into account the findings of the CMA during any more substantive review in future of reporting on innovative solutions. | Consultation | NPg |  | Agree | Closed - RIGs changed
7 | E7 | What should be considered as “renewable technology”? The glossary does not include such definition and consensus does not exist at the industry level. DG technologies connected on our network include: • Onshore Wind • PV • Tidal Stream and Wave • Biomass • Hydro • Offshore Wind • Landfill, Sewage Gas, Biogas - does this qualify as renewable? • Waste incineration (Energy from waste) - does this qualify as renewable? • CHP – this probably depends on fuel • Coal – I would not expect this to qualify | This should be the subject for a working group. It is not appropriate to provide a definition in the commentary. | Consultation | WPD |  | Future review | No change - to be developed through working group.
8 | E7 | Recently adopted technologies accepted on the distribution network are Export Limiting Devices, these devises limit the energy exported to the network, and thus allowing larger generating units to be connected than can be accommodated by the connection. For G83 and G59, what would constitute the ‘size’? (i.e. installed capacity, maximum export allowed?) | This is an important point that needs to be included in Annex J. | Consultation | WPD |  | Future review | No change - to be developed through working group.
9 | E7 | Which “capacity” should we provide on the MW information for EV? Is “maximum capacity” OK? | This guidance should be included in Annex J | Consultation | WPD |  | Future review | No change - to be developed through working group.